## Sheet1
Question Number | Topic Title | Topic Importance | K/A Category | System
1 | (065AA1.01) Ability to operate and/or monitor the following as they apply to (APE 65) LOSS OF Instrument Air (CFR: 41.7 / 45.5 / 45.6): Remote manual loaders | 2.9 | A1 | 395019
2 | (058AK1.06) Knowledge of the operational implications and/or cause and effect relationships of the following concepts as they apply to (APE 58) LOSS OF DC Power (CFR: 41.8 / 41.10 / 45.3 ): Loss of remote or automatic operation | 3.7 | K1 | 395017
3 | (054AK2.11) Knowledge of the relationship between (APE 54) LOSS OF Main Feedwater and the following systems or components (CFR: 41.7 / 45.7): SGS | 3.7 | K2 | 395013
4 | (062AK3.01) Knowledge of the reasons for the following responses and/or actions as they apply to (APE 62) LOSS OF SERVICE WATER (CFR: 41.4 / 41.8 / 45.7): The conditions that will initiate the automatic opening and closing of the SWS isolation valves to the service water coolers | 3.5 | K3 | 395018
5 | (395007) 000025 (APE 25) Loss of Residual Heat Removal System (G2.1.29) CONDUCT OF OPERATIONS: Knowledge of how to conduct system lineups, such as valves, breakers, or switches (CFR: 41.10 / 45.1 / 45.12) | 4.1 | G | 395007
6 | (CE05EA2.12) Ability to determine and/or interpret the following as they apply to (CE E05) EXCESS STEAM DEMAND (CFR: 43.5 / 45.13): Containment temperature and pressure | 3.3 | A2 | 395012
7 | (038EA1.10) Ability to operate and/or monitor the following as they apply to (EPE 38) STEAM GENERATOR Tube Rupture (CFR: 41.7 / 45.5 / 45.6): RMS | 3.6 | A1 | 395011
8 | (077AK1.04) Knowledge of the operational implications and/or cause and effect relationships of the following concepts as they apply to (APE 77) GENERATOR VOLTAGE AND ELECTRIC Grid Disturbances (CFR: 41.4 / 41.5 / 41.7 / 41.10 / 45.8): Declining grid frequency or voltage | 3.6 | K1 | 395020
9 | (057AK2.11) Knowledge of the relationship between (APE 57) LOSS OF VITAL AC ELECTRICALINSTRUMENT BUS and the following systems or components (CFR: 41.7 / 45.7): CVCS instrumentation | 3.6 | K2 | 395016
10 | (WE05EK3.07) Knowledge of the reasons for the following responses and/or actions as they apply to (W E05) Loss of Secondary Heat Sink (CFR: 41.5 / 41.10 / 45.6 / 45.13): Stopping all RCPs | 4 | K3 | 395023
11 | (395008) 000026 (APE 26) Loss of Component Cooling Water (G2.4.43) EMERGENCY PROCEDURES/PLAN: Knowledge of emergency communications systems and techniques (CFR: 41.10 / 43.5 / 45.13) | 3.2 | G | 395008
12 | (008AA2.03) Ability to determine and/or interpret the following as they apply to (APE 8) PRESSURIZER VAPOR Space Accident (CFR: 43.5 / 45.13): PZR PORV and/or safety valve position | 3.5 | A2 | 395002
13 | (007EA1.09) Ability to operate and/or monitor the following as they apply to (EPE 7) REACTOR TRIP, STABILIZATION, RECOVERY (CFR: 41.7 / 45.5 / 45.6): CVCS | 3.5 | A1 | 395001
14 | (009EK1.01) Knowledge of the operational implications and/or cause and effect relationships of the following concepts as they apply to (EPE 9) SMALL-Break LOCA (CFR: 41.8 / 41.10 / 45.3): Natural circulation and cooling, including reflux boiling | 3.8 | K1 | 395003
15 | (WE04EK2.04) Knowledge of the relationship between (W E04) LOCA Outside Containment and the following systems or components (CFR: 41.7 / 41.8 / 45.2 / 45.4): RHRS | 3.9 | K2 | 395021
16 | (022AK3.02) Knowledge of the reasons for the following responses and/or actions as they apply to (APE 22) LOSS OF REACTOR Coolant Makeup (CFR: 41.5 / 41.10 / 45.6 / 45.13): Actions contained in AOPs | 3.7 | K3 | 395006
17 | (395009) 000027 (APE 27) Pressurizer Pressure Control System Malfunction (G2.4.45) EMERGENCY PROCEDURES/PLAN: Ability to prioritize and interpret the significance of each annunciator or alarm (CFR: 41.10 / 43.5 / 45.3 / 45.12) | 4.1 | G | 395009
18 | (015AA2.12) Ability to determine and/or interpret the following as they apply to (APE 15) REACTOR COOLANT Pump Malfunctions (CFR: 43.5 / 45.13): RCS flow | 3.8 | A2 | 395005
19 | (078AA1.06) Ability to operate and/or monitor the following as they apply to (APE 78) REACTOR COOLANT SYSTEM LEAK (CFR: 41.7 / 45.5 / 45.6): Containment or reactor building sump level | 3.6 | A1 | 395042
20 | (069AK1.01) Knowledge of the operational implications and/or cause and effect relationships of the following concepts as they apply to (APE 69) LOSS OF Containment Integrity (CFR: 41.8 / 41.10 / 45.3): Effect of pressure on leak rate | 3.3 | K1 | 395039
21 | (BE09EK2.10) Knowledge of the relationship between (BW E09) NATURAL CIRCULATION COOLDOWN and the following systems or components (CFR: 41.8 / 41.10 / 45.3): Decay heat removal system | 3.6 | K2 | 395054
22 | (061AK3.01) Knowledge of the reasons for the following responses and/or actions as they apply to (APE 61) AREA RADIATION MONITORING (ARM) System Alarms (CFR: 41.5 / 41.10 / 45.6 / 45.13): Effect of temperature inversion on the ARM system channel indications | 2.5 | K3 | 395036
23 | (395043) (W E01 & E02) Rediagnosis & SI Termination (G2.4.20) EMERGENCY PROCEDURES/PLAN: Knowledge of the operational implications of emergency and abnormal operating procedures warnings, cautions, and notes (CFR: 41.10 / 43.5 / 45.13) | 3.8 | G | 395043
24 | (076AA2.05) Ability to determine and/or interpret the following as they apply to (APE 76) HIGH REACTOR COOLANT ACTIVITY (CFR: 43.5 / 45.13): CVCS letdown flow rate | 2.8 | A2 | 395041
25 | (036AA1.06) Ability to operate and/or monitor the following as they apply to (APE 36) FUEL HANDLING INCIDENTS (CFR: 41.7 / 45.5 / 45.6): Containment isolation valves and/or hatches | 3.6 | A1 | 395031
26 | (032AK1.02) Knowledge of the operational implications and/or cause and effect relationships of the following concepts as they apply to (APE 32) LOSS OF SOURCE RANGE Nuclear Instrumentation (CFR: 41.8 / 41.10 / 45.3): Expected change in source range count rate when rods are moved | 3.7 | K1 | 395029
27 | (007K1.02) Knowledge of the physical connections and/or cause and effect relationships between the (SF5 PRTS) PRESSURIZER RELIEF/QUENCH TANK SYSTEM and the following systems (CFR: 41.2 to 41.9 / 45.7 / 45.8): WGS | 2.7 | K1 | 400007
28 | (008K6.09) Knowledge of the effect of the following plant conditions, system malfunctions, or component malfunctions on the (SF8 CCW) COMPONENT COOLING WATER SYSTEM (CFR: 41.7 / 45.7): SWS | 3.8 | K6 | 400008
29 | (005K5.10) Knowledge of the operational implications or cause and effect relationships of the following concepts as they apply to the (SF4P RHR) RESIDUAL HEAT REMOVAL SYSTEM (CFR: 41.5 / 45.7): RHRS suction vortexing during reduced RCS inventory | 4.2 | K5 | 400005
30 | (064A4.01) Ability to manually operate and/or monitor the (SF6 EDG) EMERGENCY DIESEL GENERATOR SYSTEM in the control room (CFR: 41.7 / 45.5 to 45.8): Local and remote operation of the EDG | 4 | A4 | 400064
31 | (063K4.04) Knowledge of (SF6 ED DC) DC ELECTRICAL DISTRIBUTION SYSTEM design features and/or interlocks that provide for the following (CFR: 41.7): Battery charger trip/shutdown (high voltage) | 3.1 | K4 | 400063
32 | (400006) 006 (SF2; SF3 ECCS) EMERGENCY CORE COOLING SYSTEM (G2.2.41) EQUIPMENT CONTROL: Ability to obtain and interpret station electrical and mechanical drawings (reference potential) (CFR: 41.10 / 45.12 / 45.13) | 3.5 | G | 400006
33 | (039A3.02) Ability to monitor automatic features of the (SF4S MSS) MAIN AND REHEAT STEAM SYSTEM, including (CFR: 41.5 / 45.5): Isolation of the MRSS | 3.3 | A3 | 400039
34 | (061A2.01) Ability to (a) predict the impacts of the following on the (SF4S AFW) AUXILIARY/EMERGENCY FEEDWATER SYSTEM and (b) based on those predictions, use procedures to correct, control, or mitigate the consequences of those abnormal operations (CFR: 41.5 / 45.6): Inadvertent actuation of AFW at power | 3.9 | A2 | 400061
35 | (022K3.04) Knowledge of the effect that a loss or malfunction of the (SF5 CCS) CONTAINMENT COOLING SYSTEM will have on the following systems or system parameters (CFR: 41.7 / 45.6): CNT | 3.9 | K3 | 400022
36 | (078A1.01) Ability to predict and/or monitor changes in parameters associated with operation of the (SF8 IAS) INSTRUMENT AIR SYSTEM, including (CFR: 41.5 / 45.5): Instrument air pressure | 3.5 | A1 | 400078
37 | (013K2.01) Knowledge of electrical power supplies to the following (CFR: 41.7): (SF2 ESFAS) ENGINEERED SAFETY FEATURES ACTUATION SYSTEM ESFAS/safeguards train power supplies | 4 | K2 | 400013
38 | (012K1.03) Knowledge of the physical connections and/or cause and effect relationships between the (SF7 RPS) REACTOR PROTECTION SYSTEM and the following systems (CFR: 41.2 to 41.9 / 45.7 / 45.8): CRDS | 4.1 | K1 | 400012
39 | (062K6.08) Knowledge of the effect of the following plant conditions, system malfunctions, or component malfunctions on the (SF6 ED AC) AC ELECTRICAL DISTRIBUTION SYSTEM (CFR: 41.7 / 45.7): Vital AC electrical instrument buses | 4 | K6 | 400062
40 | (076K5.03) Knowledge of the operational implications or cause and effect relationships of the following concepts as they apply to the (SF4S SW) SERVICE WATER SYSTEM (CFR: 41.4 / 41.7 / 45.5): Pump cavitation | 3.1 | K5 | 400076
41 | (003A4.07) Ability to manually operate and/or monitor the (SF4P RCP) REACTOR COOLANT PUMP SYSTEM in the control room (CFR: 41.7 / 45.5 to 45.8): RCP seal bypass | 2.9 | A4 | 400003
42 | (059K4.16) Knowledge of (SF4S MFW) MAIN FEEDWATER SYSTEM design features and/or interlocks that provide for the following (CFR: 41.7): Automatic trips for MFW pumps | 3.5 | K4 | 400059
43 | (400103) 103 (SF5 CNT) CONTAINMENT SYSTEM (191002K1.12) SENSORS AND DETECTORS (CFR: 41.7): (PRESSURE) Modes of failure | 2.9 | C | 400103
44 | (010A3.04) Ability to monitor automatic features of the (SF3 PZR PCS) PRESSURIZER PRESSURE CONTROL SYSTEM, including (CFR: 41.7 / 45.5): PZR normal spray valve operation | 3.6 | A3 | 400010
45 | (026A2.07) Ability to (a) predict the impacts of the following on the (SF5 CSS) CONTAINMENT SPRAY SYSTEM and (b) based on those predictions, use procedures to correct, control, or mitigate the consequences of those abnormal operations (CFR: 41.5 / 43.5 / 45.3 / 45.13): Loss of containment spray pump suction when in recirculation mode | 4 | A2 | 400026
46 | (004K3.06) Knowledge of the effect that a loss or malfunction of the (SF1; SF2 CVCS) CHEMICAL AND VOLUME CONTROL SYSTEM will have on the following systems or system parameters (CFR: 41.5 to 41.7): RCS | 3.9 | K3 | 400004
47 | (073A1.02) Ability to predict and/or monitor changes in parameters associated with operation of the (SF7 PRM) PROCESS RADIATION MONITORING SYSTEM, including (CFR: 41.5 / 8-9): Lights and alarms | 3.2 | A1 | 400073
48 | (007A1.02) Ability to predict and/or monitor changes in parameters associated with operation of the (SF5 PRTS) PRESSURIZER RELIEF/QUENCH TANK SYSTEM, including (CFR: 41.5 / 45.5): PRT/quench tank pressure | 3.1 | K2 | 400007
49 | (008K1.08) Knowledge of the physical connections and/or cause and effect relationships between the (SF8 CCW) COMPONENT COOLING WATER SYSTEM and the following systems (CFR: 41.2 (BW) / 41.3 to 41.9 / 45.7 to 45.9): RHRS | 4.3 | K1 | 400008
50 | (005K6.03) Knowledge of the effect of the following plant conditions, system malfunctions, or component malfunctions on the (SF4P RHR) RESIDUAL HEAT REMOVAL SYSTEM (CFR: 41.7 / 45.7): RHR heat exchanger | 3.7 | K6 | 400005
51 | (064K5.05) Knowledge of the operational implications or cause and effect relationships of the following concepts as they apply to the (SF6 EDG) EMERGENCY DIESEL GENERATOR SYSTEM (CFR: 41.5 / 45.7): Parallel operation of EDGs | 3.9 | K5 | 400064
52 | (063A4.03) Ability to manually operate and/or monitor the (SF6 ED DC) DC ELECTRICAL DISTRIBUTION SYSTEM in the control room (CFR: 41.7 / 45.5 to 45.8): Battery discharge rate | 3.5 | A4 | 400063
53 | (006K4.17) Knowledge of (SF2; SF3 ECCS) EMERGENCY CORE COOLING SYSTEM design features and/or interlocks that provide for the following (CFR: 41.7 / 41.8): ECCS valve interlocks | 3.8 | K4 | 400006
54 | (400039) 039 (SF4S MSS) MAIN AND REHEAT STEAM SYSTEM (G2.4.49) EMERGENCY PROCEDURES/PLAN: Ability to perform without reference to procedures those actions that require immediate operation of system components and controls (CFR: 41.10 / 43.2 / 45.6) | 4.6 | G | 400039
55 | (028K1.02) Knowledge of the physical connections and/or cause and effect relationships between the (SF5 HRPS) HYDROGEN RECOMBINER AND PURGE CONTROL SYSTEM and the following systems (CFR: 41.9 / 45.7 / 45.8): IAS | 2.5 | K1 | 400028
56 | (033K6.11) Knowledge of the effect of the following plant conditions, system malfunctions, or component malfunctions on the (SF8 SFPCS) SPENT FUEL POOL COOLING SYSTEM (CFR: 41.7 / 45.7): CCWS | 3.4 | K6 | 400033
57 | (027K5.01) Knowledge of the operational implications or cause and effect relationships of the following concepts as they apply to the (SF5 CIRS) CONTAINMENT IODINE REMOVAL SYSTEM (CFR: 41.7 / 45.7): Purpose of charcoal filters | 2.9 | K5 | 400027
58 | (041A4.02) Ability to manually operate and/or monitor the (SF4S SDS) STEAM DUMP/TURBINE BYPASS CONTROL SYSTEM in the control room (CFR: 41.7 / 45.5 to 45.8): Steam dump/cooldown valves | 3.6 | A4 | 400041
59 | (072K4.02) Knowledge of (SF7 ARM) AREA RADIATION MONITORING SYSTEM design features and/or interlocks that provide for the following (CFR: 41.7): Fuel building isolation | 3.5 | K4 | 400072
60 | (400045) 045 (SF4S MTG) MAIN TURBINE GENERATOR SYSTEM (191008K1.04) BREAKERS, RELAYS, AND DISCONNECTS (CFR: 41.7): Operation of various push buttons, switches, and handles and the resulting action on breakers | 3 | C | 400045
61 | (015A3.10) Ability to monitor automatic features of the (SF7 NI) NUCLEAR INSTRUMENTATION SYSTEM, including (CFR: 41.7 / 45.5): Source range detector power shutoff at high powers | 3.2 | A3 | 400015
62 | (055A2.04) Ability to (a) predict the impacts of the following on the (SF4S CARS) CONDENSER AIR REMOVAL SYSTEM and (b) based on those predictions, use procedures to correct, control, or mitigate the consequences of those abnormal operations (CFR: 41.5 / 43.5 / 45.3 / 45.13): Air in-leakage | 3.6 | A2 | 400055
63 | (035K3.03) Knowledge of the effect that a loss or malfunction of the (SF4P SG) STEAM GENERATOR SYSTEM will have on the following systems or system parameters (CFR: 41.7 / 45.6): MRSS | 3.4 | K3 | 400035
64 | (G2.1.21) CONDUCT OF OPERATIONS: Ability to verify that a copy of a controlled procedure is the proper revision (CFR: 41.10 / 45.10 / 45.13) | 3.5 | G2.1 | G2.1
65 | (G2.1.34) CONDUCT OF OPERATIONS: Knowledge of RCS or balance-of-plant chemistry controls, including parameters measured and reasons for the control (CFR: 41.10 / 43.5 / 45.12) | 2.7 | G2.1 | G2.1
66 | (G2.2.35) EQUIPMENT CONTROL: Ability to determine TS for mode of operation (CFR: 41.7 / 41.10 / 43.2 / 45.13) | 3.6 | G2.2 | G2.2
67 | (G2.2.14) EQUIPMENT CONTROL: Knowledge of the process for controlling equipment configuration or status (CFR: 41.10 / 43.3 / 45.13) | 3.9 | G2.2 | G2.2
68 | (G2.3.5) RADIATION CONTROL: Ability to use RMSs, such as fixed radiation monitors and alarms or personnel monitoring equipment (CFR: 41.11 / 41.12 / 43.4 / 45.9) | 2.9 | G2.3 | G2.3
69 | (G2.4.12) EMERGENCY PROCEDURES/PLAN: Knowledge of operating crew responsibilities during emergency and abnormal operations (CFR: 41.10 / 45.12) | 4 | G2.4 | G2.4
70 | (192003K1.07) REACTOR KINETICS AND NEUTRON SOURCES (CFR: 41.1): Explain the effect of delayed neutrons on reactor control | 3 | R | 192003
71 | (192008K1.13) REACTOR OPERATIONAL PHYSICS (CFR: 41.1): (INTERMEDIATE RANGE OPERATION) Discuss the concept of the POAH and its impact on reactor power | 3.6 | R | 192008
72 | (192004K1.16) REACTIVITY COEFFICIENTS (CFR: 41.1): Explain the change in reactivity addition rate due to boration/dilution over core life | 3.1 | R | 192004
73 | (193006K1.11) FLUID STATICS AND DYNAMICS (CFR: 41.14): Define or explain the following term or concept: -- water hammer | 3.4 | T | 193006
74 | (193010K1.07) BRITTLE FRACTURE AND VESSEL THERMAL STRESS (CFR: 41.14): State the operational concerns of uncontrolled cooldown | 4.1 | T | 193010
75 | (193007K1.07) HEAT TRANSFER (CFR: 41.14): (CORE THERMAL POWER) Define percent reactor power | 2.8 | T | 193007
76 | (WE11EA2.09) Ability to determine and/or interpret the following as they apply to (W E11) LOSS OF EMERGENCY Coolant Recirculation (CFR: 41.10 / 43.5 / 45.13): Condensate storage tank level | 3.1 | A2 | 395022
77 | (395015) 000056 (APE 56) Loss of Offsite Power (G2.4.16) EMERGENCY PROCEDURES/PLAN: Knowledge of emergency and abnormal operating procedures implementation hierarchy and coordination with other support procedures or guidelines, such as operating procedures, abnormal operating procedures, or severe accident management guidelines (CFR: 41.10 / 43.5 / 45.13) | 4.4 | G | 395015
78 | (011EA2.03) Ability to determine and/or interpret the following as they apply to (EPE 11) LARGE-Break LOCA (CFR: 43.5 / 45.13): CCW temperatures | 3.4 | A2 | 395004
79 | (395014) 000055 (EPE 55) Station Blackout (G2.4.52) EMERGENCY PROCEDURES/PLAN: Knowledge of the lines of authority during implementation of the emergency plan, emergency plan implementing procedures, emergency operating procedures, or severe accident guidelines (CFR: 41.10 / 45.13) | 4 | G | 395014
80 | (029EA2.09) Ability to determine and/or interpret the following as they apply to (EPE 29) ANTICIPATED TRANSIENT WITHOUT SCRAM (ATWS) (CFR: 43.5 / 45.13): Occurrence of a main turbine trip | 4.1 | A2 | 395010
81 | (395019) 000065 (APE 65) Loss of Instrument Air (G2.1.5) CONDUCT OF OPERATIONS: Ability to use procedures related to shift staffing, such as minimum crew complement or overtime limitations (reference potential) (CFR: 41.10 / 43.5 / 45.12) | 3.9 | G | 395019
82 | (051AA2.02) Ability to determine and/or interpret the following as they apply to (APE 51) LOSS OF Condenser Vacuum (CFR: 43.5 / 45.13): Conditions requiring reactor and/or turbine trip | 4.2 | A2 | 395033
83 | (395035) 000060 (APE 60) Accidental Gaseous Radwaste Release (G2.4.42) EMERGENCY PROCEDURES/PLAN: Knowledge of emergency response facilities (CFR: 41.10 / 45.11) | 3.8 | G | 395035
84 | (WE16EA2.01) Ability to determine and/or interpret the following as they apply to (W E16) HIGH Containment Radiation (CFR: 41.10 / 43.5 / 45.13): Facility conditions and selection of appropriate procedures during abnormal and emergency operations | 3.7 | A2 | 395046
85 | (395030) 000033 (APE 33) Loss of Intermediate Range Nuclear Instrumentation (G2.2.44) EQUIPMENT CONTROL: Ability to interpret control room indications to verify the status and operation of a system and understand how operator actions and directives affect plant and system conditions (CFR: 41.5 / 43.5 / 45.12) | 4.4 | G | 395030
86 | (061A2.05) Ability to (a) predict the impacts of the following on the (SF4S AFW) AUXILIARY/EMERGENCY FEEDWATER SYSTEM and (b) based on those predictions, use procedures to correct, control, or mitigate the consequences of those abnormal operations (CFR: 41.5 / 45.6): Automatic control malfunction | 3.8 | A2 | 400061
87 | (400022) 022 (SF5 CCS) CONTAINMENT COOLING SYSTEM (G2.2.12) EQUIPMENT CONTROL: Knowledge of surveillance procedures (CFR: 41.10 / 43.2 / 45.13) | 4.1 | G | 400022
88 | (078A2.03) Ability to (a) predict the impacts of the following on the (SF8 IAS) INSTRUMENT AIR SYSTEM and (b) based on those predictions, use procedures to correct, control, or mitigate the consequences of those abnormal operations (CFR: 41.5 / 43.5 / 45.3 / 45.13): Cooling water malfunction | 3.1 | A2 | 400078
89 | (400013) 013 (SF2 ESFAS) ENGINEERED SAFETY FEATURES ACTUATION SYSTEM (G2.1.36) CONDUCT OF OPERATIONS: Knowledge of procedures and limitations involved in core alterations (CFR: 41.10 / 43.6 / 45.7) | 4.1 | G | 400013
90 | (012A2.01) Ability to (a) predict the impacts of the following on the (SF7 RPS) REACTOR PROTECTION SYSTEM and (b) based on those predictions, use procedures to correct, control, or mitigate the consequences of those abnormal operations (CFR: 41.5 / 43.5 / 45.3 / 45.5): Faulty bistable operation | 3.6 | A2 | 400012
91 | (400014) 014 (SF1 RPI) ROD POSITION INDICATION SYSTEM (G2.2.23) EQUIPMENT CONTROL: Ability to track TS limiting conditions for operation (CFR: 41.10 / 43.2 / 45.13) | 4.6 | G | 400014
92 | (002A2.04) Ability to (a) predict the impacts of the following on the (SF2; SF4P RCS) REACTOR COOLANT SYSTEM and (b) based on those predictions, use procedures to correct, control, or mitigate the consequences of those abnormal operations (CFR: 41.5 / 43.5 / 45.3 / 45.5): Loss of heat sinks | 4.5 | A2 | 400002
93 | (400071) 071 (SF9 WGS) WASTE GAS DISPOSAL SYSTEM (G2.4.19) EMERGENCY PROCEDURES/PLAN: Knowledge of emergency and abnormal operating procedures layout, symbols, and icons (CFR: 41.10 / 45.13) | 4.1 | G | 400071
94 | (G2.1.14) CONDUCT OF OPERATIONS: Knowledge of criteria or conditions that require plantwide announcements, such as pump starts, reactor trips, and mode changes (CFR: 41.10 / 43.5 / 45.12) | 3.1 | G2.1 | G2.1
95 | (G2.1.47) CONDUCT OF OPERATIONS: Ability to direct nonlicensed personnel activities inside the control room (CFR: 41.10 / 43.5 / 45.5 / 45.12 / 45.13) | 3.2 | G2.1 | G2.1
96 | (G2.2.40) EQUIPMENT CONTROL: Ability to apply TS with action statements of less than or equal to 1 hour (CFR: 41.10 / 43.2 / 43.5 / 45.3) | 4.7 | G2.2 | G2.2
97 | (G2.2.36) EQUIPMENT CONTROL: Ability to analyze the effect of maintenance activities, such as degraded power sources, on the status of limiting conditions for operation (CFR: 41.10 / 43.2 / 45.13) | 4.2 | G2.2 | G2.2
98 | (G2.3.12) RADIATION CONTROL: Knowledge of radiological safety principles and procedures pertaining to licensed operator duties, such as response to radiation monitor alarms, containment entry requirements, fuel handling responsibilities, access to locked high-radiation areas, or alignment of filters (CFR: 41.12 / 43.4 / 45.9 / 45.10) | 3.7 | G2.3 | G2.3
99 | (G2.4.35) EMERGENCY PROCEDURES/PLAN: Knowledge of nonlicensed operator responsibilities during an emergency (CFR: 41.10 / 43.1 / 43.5 / 45.13) | 4 | G2.4 | G2.4
100 | (G2.4.29) EMERGENCY PROCEDURES/PLAN: Knowledge of the emergency plan implementing procedures (CFR: 41.10 / 43.5 / 45.11) | 4.4 | G2.4 | G2.4