## Sheet1
Question Number | Topic Title | Topic Importance | K/A Category | System
1 | (WE04EA1.05) Ability to operate and/or monitor the following as they apply to (W E04) LOCA Outside Containment (CFR: 41.5 / 41.7 / 45.5 to 45.8): RHRS | 3.8 | A1 | 395021
2 | (WE11EK2.06) Knowledge of the relationship between (W E11) LOSS OF EMERGENCY Coolant Recirculation and the following systems or components (CFR: 41.7 / 41.8 / 45.2 / 45.4): PZR PCS | 3.2 | K2 | 395022
3 | (CE06EK3.05) Knowledge of the reasons for the following responses and/or actions as they apply to (CE E06) LOSS OF FEEDWATER (CFR: 41.5 / 41.10 / 45.6 / 45.13): Stop all RCPs | 4.1 | K3 | 395013
4 | (025AA2.09) Ability to determine and/or interpret the following as they apply to (APE 25) LOSS OF RESIDUAL Heat Removal System (CFR: 43.5 / 45.13): Lights and alarms | 3 | A2 | 395007
5 | (395023) (BW E04; W E05) Inadequate Heat Transfer – Loss of Secondary Heat Sink (G2.1.36) CONDUCT OF OPERATIONS: Knowledge of procedures and limitations involved in core alterations (CFR: 41.10 / 43.6 / 45.7) | 3 | G | 395023
6 | (055EK1.05) Knowledge of the operational implications and/or cause and effect relationships of the following concepts as they apply to (EPE 55) Station Blackout (CFR: 41.8 / 41.10 / 45.3): Load shedding | 3.8 | K1 | 395014
7 | (065AA1.08) Ability to operate and/or monitor the following as they apply to (APE 65) LOSS OF Instrument Air (CFR: 41.7 / 45.5 / 45.6): Instrument and/or service air dryers | 3.2 | A1 | 395019
8 | (026AK2.01) Knowledge of the relationship between (APE 26) LOSS OF Component Cooling Water and the following systems or components (CFR: 41.8 / 41.10 / 45.3): CVCS | 3.6 | K2 | 395008
9 | (027AK3.05) Knowledge of the reasons for the following responses and/or actions as they apply to (APE 27) PRESSURIZER PRESSURE Control System Malfunction (CFR: 41.5 / 41.10 / 45.6 / 45.13): Actions to be taken if the PZR pressure instrument fails high | 4 | K3 | 395009
10 | (058AA2.01) Ability to determine and/or interpret the following as they apply to (APE 58) LOSS OF DC Power (CFR: 43.5 / 45.13): Verification that alternate power sources have come on line | 3.4 | A2 | 395017
11 | (395001) 000007 (EPE 7; BW E02 & E10; CE E02) Reactor Trip, Stabilization, Recovery (G2.1.7) CONDUCT OF OPERATIONS: Ability to evaluate plant performance and make operational judgments based on operating characteristics, reactor behavior, and instrument interpretation (CFR: 41.5 / 43.5 / 45.12 / 45.13) | 4.4 | G | 395001
12 | (056AK1.05) Knowledge of the operational implications and/or cause and effect relationships of the following concepts as they apply to (APE 56) Loss of Offsite Power (CFR: 41.8 / 41.10 / 45.3): Load shedding/sequencer | 3.9 | K1 | 395015
13 | (077AA1.05) Ability to operate and/or monitor the following as they apply to (APE 77) GENERATOR VOLTAGE AND ELECTRIC Grid Disturbances (CFR: 41.5 / 41.10 / 45.5 / 45.7 / 45.8): ESF equipment | 3.6 | A1 | 395020
14 | (057AK2.09) Knowledge of the relationship between (APE 57) LOSS OF VITAL AC ELECTRICALINSTRUMENT BUS and the following systems or components (CFR: 41.7 / 45.7): RPS | 4.4 | K2 | 395016
15 | (015AK3.01) Knowledge of the reasons for the following responses and/or actions as they apply to (APE 15) REACTOR COOLANT Pump Malfunctions (CFR: 41.5 / 41.10 / 45.6 / 45.13): RCP trip criteria | 4.1 | K3 | 395005
16 | (038EA2.25) Ability to determine and/or interpret the following as they apply to (EPE 38) STEAM GENERATOR Tube Rupture (CFR: 43.5 / 45.13): PRT/quench tank temperature, pressure, and setpoints | 2.8 | A2 | 395011
17 | (395003) 000009 (EPE 9) Small Break LOCA (G2.1.28) CONDUCT OF OPERATIONS: Knowledge of the purpose and function of major system components and controls (CFR: 41.7) | 4.1 | G | 395003
18 | (022AK1.04) Knowledge of the operational implications and/or cause and effect relationships of the following concepts as they apply to (APE 22) LOSS OF REACTOR Coolant Makeup (CFR: 41.8 / 41.10 / 45.3 / 45.3): Changing from manual to automatic control of charging flow valve controller | 3.3 | K1 | 395006
19 | (068AA1.11) Ability to operate and/or monitor the following as they apply to (APE 68) Control Room Evacuation (CFR: 41.7 / 45.5 / 45.6): Emergency borate valve | 3.7 | A1 | 395038
20 | (061AK2.06) Knowledge of the relationship between (APE 61) AREA RADIATION MONITORING (ARM) System Alarms and the following systems or components (CFR: 41.7 / 45.7): Refueling pool | 3.4 | K2 | 395036
21 | (WE13EK3.06) Knowledge of the reasons for the following responses and/or actions as they apply to (W E13) STEAM Generator Overpressure (CFR: 41.5 / 41.10 / 45.6 / 45.13): Isolating MFW to the effected S/G | 3.7 | K3 | 395044
22 | (032AA2.07) Ability to determine and/or interpret the following as they apply to (APE 32) LOSS OF SOURCE RANGE Nuclear Instrumentation (CFR: 43.5 / 45.13): Maximum allowable channel disagreement | 3.5 | A2 | 395029
23 | (395041) 000076 (APE 76) High Reactor Coolant Activity (G2.4.47) EMERGENCY PROCEDURES/PLAN: Ability to diagnose and recognize trends in an accurate and timely manner using the appropriate control room reference material (reference potential) (CFR: 41.10 / 43.5 / 45.12) | 4.2 | G | 395041
24 | (067AK1.01) Knowledge of the operational implications and/or cause and effect relationships of the following concepts as they apply to (APE 67) PLANT Fire On Site (CFR: 41.8 / 41.10 / 45.3): Fire classifications by type | 2.9 | K1 | 395037
25 | (WE09EA1.11) Ability to operate and/or monitor the following as they apply to (W E09) NATURAL CIRCULATION OPERATIONS (CFR: 41.5 to 41.8 / 45.5 to 45.8): RCS | 3.6 | A1 | 395054
26 | (036AK2.01) Knowledge of the relationship between (APE 36) FUEL HANDLING INCIDENTS and the following systems or components (CFR: 41.7 / 45.7): FHS | 3.3 | K2 | 395031
27 | (022A4.02) Ability to manually operate and/or monitor the (SF5 CCS) CONTAINMENT COOLING SYSTEM in the control room (CFR: 41.7 / 45.5 to 45.8): CCS pumps | 3.6 | A4 | 400022
28 | (012A2.02) Ability to (a) predict the impacts of the following on the (SF7 RPS) REACTOR PROTECTION SYSTEM and (b) based on those predictions, use procedures to correct, control, or mitigate the consequences of those abnormal operations (CFR: 41.5 / 43.5 / 45.3 / 45.5): Loss of instrument power | 3.9 | A2 | 400012
29 | (073A1.01) Ability to predict and/or monitor changes in parameters associated with operation of the (SF7 PRM) PROCESS RADIATION MONITORING SYSTEM, including (CFR: 41.5 / 8-9): Radiation levels | 3.5 | A1 | 400073
30 | (003K4.02) Knowledge of (SF4P RCP) REACTOR COOLANT PUMP SYSTEM design features and/or interlocks that provide for the following (CFR: 41.7): Prevention of cold-water accidents or transients | 3.3 | K4 | 400003
31 | (026K1.01) Knowledge of the physical connections and/or cause and effect relationships between the (SF5 CSS) CONTAINMENT SPRAY SYSTEM and the following systems (CFR: 41.2 to 41.9 / 45.7 / 45.8): ECCS | 4.1 | K1 | 400026
32 | (078A3.03) Ability to monitor automatic features of the (SF8 IAS) INSTRUMENT AIR SYSTEM, including (CFR: 41.7 / 45.5): Air compressor loading/unloading | 2.9 | A3 | 400078
33 | (059K2.01) Knowledge of electrical power supplies to the following: (SF4S MFW) MAIN FEEDWATER SYSTEM (CFR: 41.7) MFW system pumps | 3.2 | K2 | 400059
34 | (007K5.02) Knowledge of the operational implications or cause and effect relationships of the following concepts as they apply to the (SF5 PRTS) PRESSURIZER RELIEF/QUENCH TANK SYSTEM (CFR: 41.5 / 45.7): Method of forming a steam bubble in the PZR | 3.4 | K5 | 400007
35 | (400061) 061 (SF4S AFW) AUXILIARY / EMERGENCY FEEDWATER SYSTEM (G2.1.30) CONDUCT OF OPERATIONS: Ability to locate and operate components, including local controls (CFR: 41.7 / 45.7) | 4.4 | G | 400061
36 | (013K6.11) Knowledge of the effect of the following plant conditions, system malfunctions, or component malfunctions on the (SF2 ESFAS) ENGINEERED SAFETY FEATURES ACTUATION SYSTEM (CFR: 41.6 to 41.8 / 45.5 to 45.8): S/G tube rupture | 4.1 | K6 | 400013
37 | (008K3.08) Knowledge of the effect that a loss or malfunction of the (SF8 CCW) COMPONENT COOLING WATER SYSTEM will have on the following systems or system parameters (CFR: 41.4 to 41.7 / 45.7 to 45.9): CVCS | 3.5 | K3 | 400008
38 | (063A4.03) Ability to manually operate and/or monitor the (SF6 ED DC) DC ELECTRICAL DISTRIBUTION SYSTEM in the control room (CFR: 41.7 / 45.5 to 45.8): Battery discharge rate | 3.5 | A4 | 400063
39 | (010A2.06) Ability to (a) predict the impacts of the following on the (SF3 PZR PCS) PRESSURIZER PRESSURE CONTROL SYSTEM and (b) based on those predictions, use procedures to correct, control, or mitigate the consequences of those abnormal operations (CFR: 41.5 / 43.5 / 45.3 / 45.13): Failure of PZR LCS | 3.5 | A2 | 400010
40 | (006A1.08) Ability to predict and/or monitor changes in parameters associated with operation of the (SF2; SF3 ECCS) EMERGENCY CORE COOLING SYSTEM, including (CFR: 41.5 / 45.3 to 45.5): ECCS temperatures | 3.1 | A1 | 400006
41 | (103K4.06) Knowledge of (SF5 CNT) CONTAINMENT SYSTEM design features and/or interlocks that provide for the following (CFR: 41.7): Containment isolation | 4.1 | K4 | 400103
42 | (076K1.14) Knowledge of the physical connections and/or cause and effect relationships between the (SF4S SW) SERVICE WATER SYSTEM and the following systems (CFR: 41.4 to 41.8 / 45.7 / 45.8): CWS | 2.7 | K1 | 400076
43 | (004A3.08) Ability to monitor automatic features of the (SF1; SF2 CVCS) CHEMICAL AND VOLUME CONTROL SYSTEM, including (CFR: 41.7 / 45.5): Reactor power | 3.8 | A3 | 400004
44 | (064K2.02) Knowledge of electrical power supplies to the following: (SF6 EDG) EMERGENCY DIESEL GENERATOR SYSTEM (CFR: 41.7) Fuel oil pumps | 3.2 | K2 | 400064
45 | (039K5.12) Knowledge of the operational implications or cause and effect relationships of the following concepts as they apply to the (SF4S MSS) MAIN AND REHEAT STEAM SYSTEM (CFR: 41.5 / 45.7): Primary system temperature indications and required values during main steam system warmup | 3.3 | K5 | 400039
46 | (400062) 062 (SF6 ED AC) AC ELECTRICAL DISTRIBUTION SYSTEM (191001K1.10) VALVES (CFR: 41.3): The significance of stem position (valve status) for gate valves | 2.9 | C | 400062
47 | (005K6.13) Knowledge of the effect of the following plant conditions, system malfunctions, or component malfunctions on the (SF4P RHR) RESIDUAL HEAT REMOVAL SYSTEM (CFR: 41.7 / 45.7): IAS | 3.5 | K6 | 400005
48 | (022K3.04) Knowledge of the effect that a loss or malfunction of the (SF5 CCS) CONTAINMENT COOLING SYSTEM will have on the following systems or system parameters (CFR: 41.7 / 45.6): CNT | 3.9 | K3 | 400022
49 | (012A4.05) Ability to manually operate and/or monitor the (SF7 RPS) REACTOR PROTECTION SYSTEM in the control room (CFR: 41.7 / 45.5 to 45.8): Channel defeat controls | 3.8 | A4 | 400012
50 | (073A2.01) Ability to (a) predict the impacts of the following on the (SF7 PRM) PROCESS RADIATION MONITORING SYSTEM and (b) based on those predictions, use procedures to correct, control, or mitigate the consequences of those abnormal operations (CFR: 41.5 / 43.5 / 45.3 / 45.13 / 8-9): PRM component failures | 3.9 | A2 | 400073
51 | (003A1.07) Ability to predict and/or monitor changes in parameters associated with operation of the (SF4P RCP) REACTOR COOLANT PUMP SYSTEM, including (CFR: 41.5 / 45.5): RCS temperature and pressure | 3.7 | A1 | 400003
52 | (026K4.11) Knowledge of (SF5 CSS) CONTAINMENT SPRAY SYSTEM design features and/or interlocks that provide for the following (CFR: 41.7): Containment spray actuation signal actuation and/or reset | 4 | K4 | 400026
53 | (078K1.25) Knowledge of the physical connections and/or cause and effect relationships between the (SF8 IAS) INSTRUMENT AIR SYSTEM and the following systems (CFR: 41.3 to 41.8 / 45.7 / 45.8): WGS | 2.6 | K1 | 400078
54 | (059A3.03) Ability to monitor automatic features of the (SF4S MFW) MAIN FEEDWATER SYSTEM, including (CFR: 41.7 / 45.5): Feedwater pump suction flow/pressure | 3.3 | A3 | 400059
55 | (055A4.02) Ability to manually operate and/or monitor the (SF4S CARS) CONDENSER AIR REMOVAL SYSTEM in the control room (CFR: 41.7 / 45.5 to 45.8): Vacuum pumps | 3 | A4 | 400055
56 | (034A2.01) Ability to (a) predict the impacts of the following on the (SF8 FHS) FUEL HANDLING EQUIPMENT SYSTEM and (b) based on those predictions, use procedures to correct, control, or mitigate the consequences of those abnormal operations (CFR: 41.5 / 43.5 / 43.7 / 45.3 / 45.8 / 45.13): Dropped and/or damaged fuel element | 4 | A2 | 400034
57 | (035A1.04) Ability to predict and/or monitor changes in parameters associated with operation of the (SF4P SG) STEAM GENERATOR SYSTEM, including (CFR: 41.5 / 45.5): RCS pressure, temperature, flow, and/or subcooling | 4 | A1 | 400035
58 | (028K4.02) Knowledge of (SF5 HRPS) HYDROGEN RECOMBINER AND PURGE CONTROL SYSTEM design features and/or interlocks that provide for the following (CFR: 41.7): Containment hydrogen concentration monitoring | 2.8 | K4 | 400028
59 | (015K1.02) Knowledge of the physical connections and/or cause and effect relationships between the (SF7 NI) NUCLEAR INSTRUMENTATION SYSTEM and the following systems (CFR: 41.2 to 41.9 / 45.7 / 45.8): AC distribution system | 3.5 | K1 | 400015
60 | (029A3.02) Ability to monitor automatic features of the (SF8 CPS) CONTAINMENT PURGE SYSTEM, including (CFR: 41.7 / 45.5 / 45.8): CPS valve operation | 3.1 | A3 | 400029
61 | (014K2.04) Knowledge of electrical power supplies to the following (CFR: 41.7): (SF1 RPI) ROD POSITION INDICATION SYSTEM Rod position main control room display panel | 3 | K2 | 400014
62 | (045K5.33) Knowledge of the operational implications or cause and effect relationships of the following concepts as they apply to the (SF4S MTG) MAIN TURBINE GENERATOR SYSTEM (CFR: 41.5 / 45.7): Paralleling of generator to grid when one of the generator breakers is closed | 2.7 | K5 | 400045
63 | (400017) 017 (SF7 ITM) IN CORE TEMPERATURE MONITOR SYSTEM (G2.4.43) EMERGENCY PROCEDURES/PLAN: Knowledge of emergency communications systems and techniques (CFR: 41.10 / 43.5 / 45.13) | 3.2 | G | 400017
64 | (G2.1.29) CONDUCT OF OPERATIONS: Knowledge of how to conduct system lineups, such as valves, breakers, or switches (CFR: 41.10 / 45.1 / 45.12) | 4.1 | G2.1 | G2.1
65 | (G2.1.44) CONDUCT OF OPERATIONS: Knowledge of RO duties in the control room during fuel handling, such as responding to alarms from the fuel handling area, communicating with fuel-handling personnel, operating systems from the control room to support fueling operations, or supporting instrumentation (CFR: 41.10 / 43.7 / 45.12) | 3.9 | G2.1 | G2.1
66 | (G2.2.14) EQUIPMENT CONTROL: Knowledge of the process for controlling equipment configuration or status (CFR: 41.10 / 43.3 / 45.13) | 3.9 | G2.2 | G2.2
67 | (G2.2.1) EQUIPMENT CONTROL: Ability to perform pre-startup procedures for the facility, including operating those controls associated with plant equipment that could affect reactivity (CFR: 41.5 / 41.10 / 43.5 / 43.6 / 45.1) | 4.5 | G2.2 | G2.2
68 | (G2.3.5) RADIATION CONTROL: Ability to use RMSs, such as fixed radiation monitors and alarms or personnel monitoring equipment (CFR: 41.11 / 41.12 / 43.4 / 45.9) | 2.9 | G2.3 | G2.3
69 | (G2.4.30) EMERGENCY PROCEDURES/PLAN: Knowledge of events related to system operation/status that must be reported to internal organizations or external agencies, such as the State, the NRC, or the transmission system operator (CFR: 41.10 / 43.5 / 45.11) | 2.7 | G2.4 | G2.4
70 | (192001K1.02) NEUTRONS (CFR: 41.1): Define prompt and delayed neutrons | 2.5 | R | 192001
71 | (192008K1.13) REACTOR OPERATIONAL PHYSICS (CFR: 41.1): (INTERMEDIATE RANGE OPERATION) Discuss the concept of the POAH and its impact on reactor power | 3.6 | R | 192008
72 | (192007K1.05) FUEL DEPLETION AND BURNABLE POISONS (CFR: 41.1): Describe the effects of boration/dilution on reactivity during forced-flow and natural circulation conditions | 3.2 | R | 192007
73 | (193006K1.06) FLUID STATICS AND DYNAMICS (CFR: 41.14): Define or explain the following term or concept: -- mass flow rate | 3 | T | 193006
74 | (193003K1.24) STEAM (CFR: 41.14): Explain the usefulness of steam tables to the control room operator | 3.1 | T | 193003
75 | (193004K1.11) THERMODYNAMIC PROCESS (CFR: 41.14): (CONDENSERS) Describe the process of condensate depression (subcooling) and its effect on plant operation | 2.5 | T | 193004
76 | (395002) 000008 (APE 8) Pressurizer Vapor Space Accident (G2.4.37) EMERGENCY PROCEDURES/PLAN: Knowledge of the lines of authority during implementation of the emergency plan implementing procedures (CFR: 41.10 / 45.13) | 4.1 | G | 395002
77 | (WE12EA2.14) Ability to determine and/or interpret the following as they apply to (W E12) UNCONTROLLED DEPRESSURIZATION OF ALL STEAM GENERATORS (CFR: 41.10 / 43.5 / 45.13): CCW flow to RCPs | 2.9 | A2 | 395012
78 | (395018) 000062 (APE 62) Loss of Nuclear Service Water (G2.2.12) EQUIPMENT CONTROL: Knowledge of surveillance procedures (CFR: 41.10 / 43.2 / 45.13) | 4.1 | G | 395018
79 | (029EA2.11) Ability to determine and/or interpret the following as they apply to (EPE 29) ANTICIPATED TRANSIENT WITHOUT SCRAM (ATWS) (CFR: 43.5 / 45.13): Whether rapid/emergency boration is occurring | 4.2 | A2 | 395010
80 | (395004) 000011 (EPE 11) Large Break LOCA (G2.2.13) EQUIPMENT CONTROL: Knowledge of tagging and clearance procedures (CFR: 41.10 / 43.1 / 45.13) | 4.3 | G | 395004
81 | (WE04EA2.03) Ability to determine and/or interpret the following as they apply to (W E04) LOCA Outside Containment (CFR: 41.10 / 43.5 / 45.13): RCS pressure | 3.8 | A2 | 395021
82 | (395046) (W E16) High Containment Radiation (G2.1.20) CONDUCT OF OPERATIONS: Ability to interpret and execute procedure steps (CFR: 41.10 / 43.5 / 45.12) | 4.6 | G | 395046
83 | (024AA2.12) Ability to determine and/or interpret the following as they apply to (APE 24) EMERGENCY Boration (CFR: 43.5 / 45.13): Emergency boron flow | 4 | A2 | 395027
84 | (395025) 000003 (APE 3) Dropped Control Rod (G2.2.19) EQUIPMENT CONTROL: Knowledge of maintenance work order requirements (CFR: 41.10 / 43.5 / 45.13) | 3.4 | G | 395025
85 | (005AA2.04) Ability to determine and/or interpret the following as they apply to (APE 5) INOPERABLE/STUCK Control Rod (CFR: 43.5 / 45.13): ITM | 3.1 | A2 | 395026
86 | (400007) 007 (SF5 PRTS) PRESSURIZER RELIEF/QUENCH TANK SYSTEM (G2.2.15) EQUIPMENT CONTROL: Ability to determine the expected plant configuration using design and configuration control documentation, such as drawings, lineups, or tagouts (reference potential) (CFR: 41.10 / 43.3 / 45.13) | 4.3 | G | 400007
87 | (061A2.08) Ability to (a) predict the impacts of the following on the (SF4S AFW) AUXILIARY/EMERGENCY FEEDWATER SYSTEM and (b) based on those predictions, use procedures to correct, control, or mitigate the consequences of those abnormal operations (CFR: 41.5 / 45.6): Improper flow rates | 3.5 | A2 | 400061
88 | (400013) 013 (SF2 ESFAS) ENGINEERED SAFETY FEATURES ACTUATION SYSTEM (G2.1.40) CONDUCT OF OPERATIONS: Knowledge of refueling administrative requirements (CFR: 41.10 / 43.5 / 43.6 / 45.13) | 3.9 | G | 400013
89 | (008A2.03) Ability to (a) predict the impacts of the following on the (SF8 CCW) COMPONENT COOLING WATER SYSTEM and (b) based on those predictions, use procedures to correct, control, or mitigate the consequences of those abnormal operations (CFR: 41.5 / 43.5 / 45.3 / 45.13): High/low CCW temperature | 3.4 | A2 | 400008
90 | (400063) 063 (SF6 ED DC) DC ELECTRICAL DISTRIBUTION SYSTEM (G2.1.17) CONDUCT OF OPERATIONS: Ability to make accurate, clear, and concise verbal reports (CFR: 41.10 / 45.12 / 45.13) | 4 | G | 400063
91 | (072A2.01) Ability to (a) predict the impacts of the following on the (SF7 ARM) AREA RADIATION MONITORING SYSTEM and (b) based on those predictions, use procedures to correct, control, or mitigate the consequences of those abnormal operations (CFR: 41.5 / 43.3 / 43.5 / 45.13 / 9): ARM component failures | 3.3 | A2 | 400072
92 | (400071) 071 (SF9 WGS) WASTE GAS DISPOSAL SYSTEM (G2.4.6) EMERGENCY PROCEDURES/PLAN: Knowledge of emergency and abnormal operating procedures major action categories (CFR: 41.10 / 43.5 / 45.13) | 4.7 | G | 400071
93 | (027K5.01) Knowledge of the operational implications or cause and effect relationships of the following concepts as they apply to the (SF5 CIRS) CONTAINMENT IODINE REMOVAL SYSTEM (CFR: 41.7 / 45.7): Purpose of charcoal filters | 2.9 | A2 | 400027
94 | (G2.1.1) CONDUCT OF OPERATIONS: Knowledge of conduct of operations requirements (CFR: 41.10 / 43.10 / 45.13) | 4.2 | G2.1 | G2.1
95 | (G2.1.45) CONDUCT OF OPERATIONS: Ability to identify and interpret diverse indications to validate the response of another indication. (CFR: 41.7 / 43.5 / 45.4) | 4.3 | G2.1 | G2.1
96 | (G2.2.22) EQUIPMENT CONTROL: Knowledge of limiting conditions for operation and safety limits (CFR: 41.5 / 43.2 / 45.2) | 4.7 | G2.2 | G2.2
97 | (G2.2.23) EQUIPMENT CONTROL: Ability to track TS limiting conditions for operation (CFR: 41.10 / 43.2 / 45.13) | 4.6 | G2.2 | G2.2
98 | (G2.3.6) RADIATION CONTROL: Ability to approve liquid or gaseous release permits (CFR: 41.13 / 43.4 / 45.10) | 3.8 | G2.3 | G2.3
99 | (G2.4.32) EMERGENCY PROCEDURES/PLAN: Knowledge of operator response to loss of annunciators (CFR: 41.10 / 43.5 / 45.13) | 4 | G2.4 | G2.4
100 | (G2.4.45) EMERGENCY PROCEDURES/PLAN: Ability to prioritize and interpret the significance of each annunciator or alarm (CFR: 41.10 / 43.5 / 45.3 / 45.12) | 4.3 | G2.4 | G2.4