## Sheet1
Question Number | Topic Title | Topic Importance | K/A Category | System
1 | (029EA2.14) Ability to determine and/or interpret the following as they apply to (EPE 29) ANTICIPATED TRANSIENT WITHOUT SCRAM (ATWS) (CFR: 43.5 / 45.13): Occurrence of a reactor trip | 4.6 | A2 | 395010
2 | (077AK2.09) Knowledge of the relationship between (APE 77) GENERATOR VOLTAGE AND ELECTRIC Grid Disturbances and the following systems or components (CFR: 41.4 / 41.5 / 41.7 / 41.10 / 45.8): Motors for ESF pumps | 3.6 | K2 | 395020
3 | (057AK1.01) Knowledge of the operational implications and/or cause and effect relationships of the following concepts as they apply to (APE 57) LOSS OF VITAL AC ELECTRICALINSTRUMENT BUS (CFR: 41.8 / 41.10 / 45.3): Effect of a loss of power to instruments powered by a vital instrument bus on pla | 4.3 | K1 | 395016
4 | (015AA1.22) Ability to operate and/or monitor the following as they apply to (APE 15) REACTOR COOLANT Pump Malfunctions (CFR: 41.7 / 45.5 / 45.6): RCP seal failure | 4 | A1 | 395005
5 | (062AK3.03) Knowledge of the reasons for the following responses and/or actions as they apply to (APE 62) LOSS OF SERVICE WATER (CFR: 41.4 / 41.8 / 45.7): Guidance actions contained in AOPs for loss of service water | 3.9 | K3 | 395018
6 | (395008) 000026 (APE 26) Loss of Component Cooling Water (G2.4.46) EMERGENCY PROCEDURES/PLAN: Ability to verify that the alarms are consistent with the plant conditions (CFR: 41.10 / 43.5 / 45.3 / 45.12) | 4.2 | G | 395008
7 | (011EA2.17) Ability to determine and/or interpret the following as they apply to (EPE 11) LARGE-Break LOCA (CFR: 43.5 / 45.13): Containment pressure, leakage, and/or temperature | 4 | A2 | 395004
8 | (WE12EK2.15) Knowledge of the relationship between (W E12) UNCONTROLLED DEPRESSURIZATION OF ALL STEAM GENERATORS and the following systems or components (CFR: 41.7 / 41.8 / 45.2 / 45.4): CSS | 3.8 | K2 | 395012
9 | (CE06EK1.05) Knowledge of the operational implications and/or cause and effect relationships of the following concepts as they apply to (CE E06) LOSS OF FEEDWATER (CFR: 41.5 / 41.7 / 45.7 to 45.9): Conserving S/G inventory | 4 | K1 | 395013
10 | (WE11EA1.10) Ability to operate and/or monitor the following as they apply to (W E11) LOSS OF EMERGENCY Coolant Recirculation (CFR: 41.5 to 41.8 / 45.5 to 45.8): RCS | 3.6 | A1 | 395022
11 | (008AK3.05) Knowledge of the reasons for the following responses and/or actions as they apply to (APE 8) PRESSURIZER VAPOR Space Accident (CFR: 41.5 / 41.10 / 45.6 / 45.13): ECCS termination or throttling criteria | 3.9 | K3 | 395002
12 | (395009) 000027 (APE 27) Pressurizer Pressure Control System Malfunction (G2.4.42) EMERGENCY PROCEDURES/PLAN: Knowledge of emergency response facilities (CFR: 41.10 / 45.11) | 2.6 | G | 395009
13 | (065AA2.10) Ability to determine and/or interpret the following as they apply to (APE 65) LOSS OF Instrument Air (CFR: 41.10 / 43.5 / 45.13): Instrument air pressure | 3.8 | A2 | 395019
14 | (CE02EK2.09) Knowledge of the relationship between (CE E02) STANDARD POST‑TRIP ACTIONS AND REACTOR TRIP RECOVERY and the following systems or components (CFR: 41.7 / 41.8 / 45.4 / 45.7 / 45.8): NIS | 3.7 | K2 | 395001
15 | (022AK1.01) Knowledge of the operational implications and/or cause and effect relationships of the following concepts as they apply to (APE 22) LOSS OF REACTOR Coolant Makeup (CFR: 41.8 / 41.10 / 45.3 / 45.3): Consequences of thermal shock to RCP seals | 3.6 | K1 | 395006
16 | (025AA1.24) Ability to operate and/or monitor the following as they apply to (APE 25) LOSS OF RESIDUAL Heat Removal System (CFR: 41.7 / 45.5 / 45.6): PRT/quench tank | 2.9 | A1 | 395007
17 | (WE04EK3.05) Knowledge of the reasons for the following responses and/or actions as they apply to (W E04) LOCA Outside Containment (CFR: 41.5 / 41.10 / 45.6 / 45.13): Verifying proper valve alignment | 3.8 | K3 | 395021
18 | (395015) 000056 (APE 56) Loss of Offsite Power (G2.1.29) CONDUCT OF OPERATIONS: Knowledge of how to conduct system lineups, such as valves, breakers, or switches (CFR: 41.10 / 45.1 / 45.12) | 4.1 | G | 395015
19 | (051AA2.04) Ability to determine and/or interpret the following as they apply to (APE 51) LOSS OF Condenser Vacuum (CFR: 43.5 / 45.13): Gland steam header pressure | 2.7 | A2 | 395033
20 | (WE15EK2.08) Knowledge of the relationship between (W E15) Containment Flooding and the following systems or components (CFR: 41.7 / 41.8 / 45.2 / 45.4): Containment sump sampling | 2.9 | K2 | 395045
21 | (WE16EK1.01) Knowledge of the operational implications and/or cause and effect relationships of the following concepts as they apply to (W E16) HIGH Containment Radiation (CFR: 41.5 / 41.7 / 45.7 / 45.8): Value(s) of high radiation and/or associated radiation monitors that require entry into the FRZ EOP for high radiation | 3.4 | K1 | 395046
22 | (078AA1.01) Ability to operate and/or monitor the following as they apply to (APE 78) REACTOR COOLANT SYSTEM LEAK (CFR: 41.7 / 45.5 / 45.6): PZR system | 4.2 | A1 | 395042
23 | (068AK3.18) Knowledge of the reasons for the following responses and/or actions as they apply to (APE 68) Control Room Evacuation (CFR: 41.5 / 41.10 / 45.6 / 45.13): Actions contained in AOPs for control room evacuation emergency task | 3.9 | K3 | 395038
24 | (395037) 000067 (APE 67) Plant Fire On Site (G2.4.51) EMERGENCY PROCEDURES/PLAN: Knowledge of emergency operating procedure exit conditions (e.g., emergency condition no longer exists or severe accident guideline entry is required) (CFR: 41.10 / 43.5 /45.13) | 3 | G | 395037
25 | (069AA2.01) Ability to determine and/or interpret the following as they apply to (APE 69) LOSS OF Containment Integrity (CFR: 43.5 / 45.13): Loss of containment integrity | 4.3 | A2 | 395039
26 | (061AK2.03) Knowledge of the relationship between (APE 61) AREA RADIATION MONITORING (ARM) System Alarms and the following systems or components (CFR: 41.7 / 45.7): CVCS | 3.1 | K2 | 395036
27 | (400073) 073 (SF7 PRM) PROCESS RADIATION MONITORING SYSTEM (G2.1.5) CONDUCT OF OPERATIONS: Ability to use procedures related to shift staffing, such as minimum crew complement or overtime limitations (reference potential) (CFR: 41.10 / 43.5 / 45.12) | 2.9 | G | 400073
28 | (059A1.13) Ability to predict and/or monitor changes in parameters associated with operation of the (SF4S MFW) MAIN FEEDWATER SYSTEM, including (CFR: 41.5 / 45.5): Condenser vacuum | 3.3 | A1 | 400059
29 | (004K1.12) Knowledge of the physical connections and/or cause and effect relationships between the (SF1; SF2 CVCS) CHEMICAL AND VOLUME CONTROL SYSTEM and the following systems (CFR: 41.3 / 41.5 to 41.8 / 41.10): Nitrogen system | 2.5 | K1 | 400004
30 | (008K2.01) Knowledge of electrical power supplies to the following (CFR: 41.7): (SF8 CCW) COMPONENT COOLING WATER SYSTEM CCW valves | 3 | K2 | 400008
31 | (064A4.04) Ability to manually operate and/or monitor the (SF6 EDG) EMERGENCY DIESEL GENERATOR SYSTEM in the control room (CFR: 41.7 / 45.5 to 45.8): Remote operation of the air compressor switch (different modes) | 3.2 | A4 | 400064
32 | (006K3.01) Knowledge of the effect that a loss or malfunction of the (SF2; SF3 ECCS) EMERGENCY CORE COOLING SYSTEM will have on the following systems or system parameters (CFR: 41.7 / 45.3 / 45.4 / 45.6): RCS | 4.1 | K3 | 400006
33 | (005K5.13) Knowledge of the operational implications or cause and effect relationships of the following concepts as they apply to the (SF4P RHR) RESIDUAL HEAT REMOVAL SYSTEM (CFR: 41.5 / 45.7): Noncondensable gas buildup in system | 3.3 | K5 | 400005
34 | (007A3.01) Ability to monitor automatic features of the (SF5 PRTS) PRESSURIZER RELIEF/QUENCH TANK SYSTEM, including (CFR: 41.5 / 41.7 / 45.5): Components that discharge to the PRT/quench tank | 3.4 | A3 | 400007
35 | (013K6.10) Knowledge of the effect of the following plant conditions, system malfunctions, or component malfunctions on the (SF2 ESFAS) ENGINEERED SAFETY FEATURES ACTUATION SYSTEM (CFR: 41.6 to 41.8 / 45.5 to 45.8): Feedline break | 4 | K6 | 400013
36 | (022K4.04) Knowledge of (SF5 CCS) CONTAINMENT COOLING SYSTEM design features and/or interlocks that provide for the following (CFR: 41.7): Cooling of CRDMs | 3.1 | K4 | 400022
37 | (010A2.08) Ability to (a) predict the impacts of the following on the (SF3 PZR PCS) PRESSURIZER PRESSURE CONTROL SYSTEM and (b) based on those predictions, use procedures to correct, control, or mitigate the consequences of those abnormal operations (CFR: 41.5 / 43.5 / 45.3 / 45.13): Safety valves failure to reseat | 4.5 | A2 | 400010
38 | (400026) 026 (SF5 CSS) CONTAINMENT SPRAY SYSTEM (191002K1.11) SENSORS AND DETECTORS (CFR: 41.7): (PRESSURE) Effects of operating environment (pressure, temperature, and/or radiation) | 3 | C | 400026
39 | (078A1.01) Ability to predict and/or monitor changes in parameters associated with operation of the (SF8 IAS) INSTRUMENT AIR SYSTEM, including (CFR: 41.5 / 45.5): Instrument air pressure | 3.5 | A1 | 400078
40 | (012K1.06) Knowledge of the physical connections and/or cause and effect relationships between the (SF7 RPS) REACTOR PROTECTION SYSTEM and the following systems (CFR: 41.2 to 41.9 / 45.7 / 45.8): MT/G | 3.6 | K1 | 400012
41 | (063K2.02) Knowledge of electrical power supplies to the following: (SF6 ED DC) DC ELECTRICAL DISTRIBUTION SYSTEM (CFR: 41.7) Battery room ventilation | 2.5 | K2 | 400063
42 | (076A4.01) Ability to manually operate and/or monitor the (SF4S SW) SERVICE WATER SYSTEM in the control room (CFR: 41.7 / 45.5 to 45.8): SWS pumps | 3.9 | A4 | 400076
43 | (061K3.02) Knowledge of the effect that a loss or malfunction of the (SF4S AFW) AUXILIARY/EMERGENCY FEEDWATER SYSTEM will have on the following systems or system parameters (CFR: 41.5 / 41.7 / 45.6): S/G system | 4.3 | K3 | 400061
44 | (062K5.12) Knowledge of the operational implications or cause and effect relationships of the following concepts as they apply to the (SF6 ED AC) AC ELECTRICAL DISTRIBUTION SYSTEM (CFR: 41.5 / 45.7): Exceeding voltage limitations | 3.4 | K5 | 400062
45 | (039A3.03) Ability to monitor automatic features of the (SF4S MSS) MAIN AND REHEAT STEAM SYSTEM, including (CFR: 41.5 / 45.5): Atmospheric relief valves | 3.7 | A3 | 400039
46 | (103K6.09) Knowledge of the effect of the following plant conditions, system malfunctions, or component malfunctions on the (SF5 CNT) CONTAINMENT SYSTEM (CFR: 41.7 / 45.7): CPS | 3.4 | K6 | 400103
47 | (003K4.11) Knowledge of (SF4P RCP) REACTOR COOLANT PUMP SYSTEM design features and/or interlocks that provide for the following (CFR: 41.7): Isolation valve interlocks | 3.2 | K4 | 400003
48 | (073A2.01) Ability to (a) predict the impacts of the following on the (SF7 PRM) PROCESS RADIATION MONITORING SYSTEM and (b) based on those predictions, use procedures to correct, control, or mitigate the consequences of those abnormal operations (CFR: 41.5 / 43.5 / 45.3 / 45.13 / 8-9): PRM component failures | 3.9 | A2 | 400073
49 | (400059) 059 (SF4S MFW) MAIN FEEDWATER SYSTEM (G2.1.34) CONDUCT OF OPERATIONS: Knowledge of RCS or balance-of-plant chemistry controls, including parameters measured and reasons for the control (CFR: 41.10 / 43.5 / 45.12) | 2.7 | G | 400059
50 | (004A1.02) Ability to predict and/or monitor changes in parameters associated with operation of the (SF1; SF2 CVCS) CHEMICAL AND VOLUME CONTROL SYSTEM, including (CFR: 41.5 to 41.7 / 45.5): T-ave. and T-ref. | 3.6 | A1 | 400004
51 | (008K1.05) Knowledge of the physical connections and/or cause and effect relationships between the (SF8 CCW) COMPONENT COOLING WATER SYSTEM and the following systems (CFR: 41.2 (BW) / 41.3 to 41.9 / 45.7 to 45.9): Sources of makeup water | 3.4 | K1 | 400008
52 | (064K2.01) Knowledge of electrical power supplies to the following: (SF6 EDG) EMERGENCY DIESEL GENERATOR SYSTEM (CFR: 41.7) Starting air compressor | 3 | K2 | 400064
53 | (006A4.10) Ability to manually operate and/or monitor the (SF2; SF3 ECCS) EMERGENCY CORE COOLING SYSTEM in the control room (CFR: 41.7 / 45.5 to 45.8): SPDSs | 3.6 | A4 | 400006
54 | (005K3.05) Knowledge of the effect that a loss or malfunction of the (SF4P RHR) RESIDUAL HEAT REMOVAL SYSTEM will have on the following systems or system parameters (CFR: 41.7 / 45.6): ECCS | 4.3 | K3 | 400005
55 | (400045) 045 (SF4S MTG) MAIN TURBINE GENERATOR SYSTEM (191003K1.02) CONTROLLERS AND POSITIONERS (CFR: 41.7): Function and operation of a speed controller | 2.7 | C | 400045
56 | (055A1.01) Ability to predict and/or monitor changes in parameters associated with operation of the (SF4S CARS) CONDENSER AIR REMOVAL SYSTEM, including (CFR: 41.5 / 45.5): Condenser vacuum | 3.5 | A1 | 400055
57 | (017K1.02) Knowledge of the physical connections and/or cause and effect relationships between the (SF7 ITM) IN CORE TEMPERATURE MONITOR SYSTEM and the following systems (CFR: 41.2 to 41.9 / 45.7 / 45.8): RCS | 3.7 | K1 | 400017
58 | (011K2.02) Knowledge of electrical power supplies to the following: (SF2 PZR LCS) PRESSURIZER LEVEL CONTROL SYSTEM (CFR: 41.7) PZR heaters | 3.3 | K2 | 400011
59 | (050A4.06) Ability to manually operate and/or monitor the (SF9 CRV) CONTROL ROOM VENTILATION in the control room (CFR: 41.7 / 45.5 to 45.8): Chillers | 3 | A4 | 400050
60 | (016K3.04) Knowledge of the effect that a loss or malfunction of the (SF7 NNI) NONNUCLEAR INSTRUMENTATION SYSTEM will have on the following systems or system parameters (CFR: 41.7 / 45.6): MFW system | 3.3 | K3 | 400016
61 | (015K5.05) Knowledge of the operational implications or cause and effect relationships of the following concepts as they apply to the (SF7 NI) NUCLEAR INSTRUMENTATION SYSTEM (CFR: 41.5 / 45.7): Criticality and its indications | 4.3 | K5 | 400015
62 | (001A3.09) Ability to monitor automatic features of the (SF1 CRDS) CONTROL ROD DRIVE SYSTEM, including (CFR: 41.6 / 45.13): Rod speed and direction | 4 | A3 | 400001
63 | (041K6.10) Knowledge of the effect of the following plant conditions, system malfunctions, or component malfunctions on the (SF4S SDS) STEAM DUMP/TURBINE BYPASS CONTROL SYSTEM (CFR: 41.7 / 45.7): RCS | 3.5 | K6 | 400041
64 | (G2.1.40) CONDUCT OF OPERATIONS: Knowledge of refueling administrative requirements (CFR: 41.10 / 43.5 / 43.6 / 45.13) | 2.8 | G2.1 | G2.1
65 | (G2.1.36) CONDUCT OF OPERATIONS: Knowledge of procedures and limitations involved in core alterations (CFR: 41.10 / 43.6 / 45.7) | 3 | G2.1 | G2.1
66 | (G2.2.15) EQUIPMENT CONTROL: Ability to determine the expected plant configuration using design and configuration control documentation, such as drawings, lineups, or tagouts (reference potential) (CFR: 41.10 / 43.3 / 45.13) | 3.9 | G2.2 | G2.2
67 | (G2.2.14) EQUIPMENT CONTROL: Knowledge of the process for controlling equipment configuration or status (CFR: 41.10 / 43.3 / 45.13) | 3.9 | G2.2 | G2.2
68 | (G2.3.12) RADIATION CONTROL: Knowledge of radiological safety principles and procedures pertaining to licensed operator duties, such as response to radiation monitor alarms, containment entry requirements, fuel handling responsibilities, access to locked high-radiation areas, or alignment of filters (CFR: 41.12 / 43.4 / 45.9 / 45.10) | 3.2 | G2.3 | G2.3
69 | (G2.4.19) EMERGENCY PROCEDURES/PLAN: Knowledge of emergency and abnormal operating procedures layout, symbols, and icons (CFR: 41.10 / 45.13) | 3.4 | G2.4 | G2.4
70 | (192001K1.02) NEUTRONS (CFR: 41.1): Define prompt and delayed neutrons | 2.5 | R | 192001
71 | (192006K1.11) FISSION PRODUCT POISONS (CFR: 41.1): Plot the curve and explain the reasoning for the reactivity insertion by xenon-135 versus time for the following: -- power changes from steady-state power to another power | 3.1 | R | 192006
72 | (192008K1.17) REACTOR OPERATIONAL PHYSICS (CFR: 41.1): (POWER OPERATION) Describe reactor power and startup rate response after reaching the POAH | 3.4 | R | 192008
73 | (193010K1.06) BRITTLE FRACTURE AND VESSEL THERMAL STRESS (CFR: 41.14): Define PTS | 3.8 | T | 193010
74 | (193007K1.04) HEAT TRANSFER (CFR: 41.14): (HEAT TRANSFER) Describe how the presence of gases or steam can affect heat transfer and fluid flow in heat exchangers | 3 | T | 193007
75 | (193006K1.05) FLUID STATICS AND DYNAMICS (CFR: 41.14): Discuss methods of prevention of fluid/water hammer | 3.2 | T | 193006
76 | (395003) 000009 (EPE 9) Small Break LOCA (G2.2.13) EQUIPMENT CONTROL: Knowledge of tagging and clearance procedures (CFR: 41.10 / 43.1 / 45.13) | 4.3 | G | 395003
77 | (055EA2.06) Ability to determine and/or interpret the following as they apply to (EPE 55) Station Blackout (CFR: 43.5 / 45.13): Faults and lockouts that must be cleared before reenergizing buses | 4 | A2 | 395014
78 | (395023) (BW E04; W E05) Inadequate Heat Transfer – Loss of Secondary Heat Sink (G2.1.27) CONDUCT OF OPERATIONS: Knowledge of system purpose and/or function (CFR: 41.7) | 4 | G | 395023
79 | (058AA2.03) Ability to determine and/or interpret the following as they apply to (APE 58) LOSS OF DC Power (CFR: 43.5 / 45.13): Impact on ability to operate and monitor plant systems | 4 | A2 | 395017
80 | (395011) 000038 (EPE 38) Steam Generator Tube Rupture (G2.1.32) CONDUCT OF OPERATIONS: Ability to explain and apply system precautions, limitations, notes, or cautions (CFR: 41.10 / 43.2 / 45.12) | 4 | G | 395011
81 | (029EA2.11) Ability to determine and/or interpret the following as they apply to (EPE 29) ANTICIPATED TRANSIENT WITHOUT SCRAM (ATWS) (CFR: 43.5 / 45.13): Whether rapid/emergency boration is occurring | 4.2 | A2 | 395010
82 | (395056) (CE A11**; W E08) RCS Overcooling – Pressurized Thermal Shock (G2.4.25) EMERGENCY PROCEDURES/PLAN: Knowledge of fire protection procedures (CFR: 41.10 / 43.5 / 45.13) | 3.7 | G | 395056
83 | (074EA2.02) Ability to determine and/or interpret the following as they apply to (EPE 74) Inadequate Core Cooling (CFR: 43.5 / 45.13): Availability of MFW or AFW | 4.1 | A2 | 395040
84 | (395031) 000036 (APE 36; BW/A08) Fuel-Handling Incidents (G2.1.25) CONDUCT OF OPERATIONS: Ability to interpret reference materials, such as graphs, curves, and tables (reference potential) (CFR: 41.10 / 43.5 / 45.12) | 4.2 | G | 395031
85 | (028AA2.15) Ability to determine and/or interpret the following as they apply to (APE 28) PRESSURIZER (PZR) Level Control Malfunction (CFR: 43.5 / 45.13): PZR level reactor protection bistables | 3.9 | A2 | 395028
86 | (400007) 007 (SF5 PRTS) PRESSURIZER RELIEF/QUENCH TANK SYSTEM (G2.1.3) CONDUCT OF OPERATIONS: Knowledge of shift or short-term relief turnover practices (CFR: 41.10 / 45.13) | 3.9 | G | 400007
87 | (013A2.02) Ability to (a) predict the impacts of the following on the (SF2 ESFAS) ENGINEERED SAFETY FEATURES ACTUATION SYSTEM and (b) based on those predictions, use procedures to correct, control, or mitigate the consequences of those abnormal operations (CFR: 41.5 / 41.7 / 41.10 / 43.5 / 45.3 / 45.13): Excess steam demand | 4.1 | A2 | 400013
88 | (400022) 022 (SF5 CCS) CONTAINMENT COOLING SYSTEM (G2.4.41) EMERGENCY PROCEDURES/PLAN: Knowledge of the emergency action level thresholds and classifications (SRO Only) (CFR: 43.5 / 45.11) | 4.6 | G | 400022
89 | (010A2.07) Ability to (a) predict the impacts of the following on the (SF3 PZR PCS) PRESSURIZER PRESSURE CONTROL SYSTEM and (b) based on those predictions, use procedures to correct, control, or mitigate the consequences of those abnormal operations (CFR: 41.5 / 43.5 / 45.3 / 45.13): ESFAS actuations | 4 | A2 | 400010
90 | (400026) 026 (SF5 CSS) CONTAINMENT SPRAY SYSTEM (G2.2.21) EQUIPMENT CONTROL: Knowledge of pre- and post-maintenance operability requirements (CFR: 41.10 / 43.2) | 4.1 | G | 400026
91 | (014A2.06) Ability to (a) predict the impacts of the following on the (SF1 RPI) ROD POSITION INDICATION SYSTEM and (b) based on those predictions, use procedures to correct, control, or mitigate the consequences of those abnormal operations (CFR: 41.5 to 41.7 / 43.5 / 43.6 / 45.3 / 45.12 / 45.13): Loss of LVDT | 3.3 | A2 | 400014
92 | (400028) 028 (SF5 HRPS) HYDROGEN RECOMBINER AND PURGE CONTROL SYSTEM (G2.1.45) CONDUCT OF OPERATIONS: Ability to identify and interpret diverse indications to validate the response of another indication. (CFR: 41.7 / 43.5 / 45.4) | 4.3 | G | 400028
93 | (075A2.01) Ability to (a) predict the impacts of the following on the (SF8 CW) CIRCULATING WATER SYSTEM and (b) based on those predictions, use procedures to correct, control, or mitigate the consequences of those abnormal operations (CFR: 41.5 / 43.5 / 45.3 / 45.13): Loss of intake structure | 3.1 | A2 | 400075
94 | (G2.1.4) CONDUCT OF OPERATIONS: Knowledge of individual licensed operator responsibilities related to shift staffing, such as medical requirements, “no-solo” operation, and maintenance of active license status, 10 CFR Part 55 (CFR: 41.10 / 43.2) | 3.8 | G2.1 | G2.1
95 | (G2.1.2) CONDUCT OF OPERATIONS: Knowledge of operator responsibilities during any mode of plant operation (CFR: 41.10 / 43.1 / 45.13) | 4.4 | G2.1 | G2.1
96 | (G2.2.6) EQUIPMENT CONTROL: Knowledge of the process for making changes to procedures (CFR: 41.10 / 43.3 / 45.13) | 3.6 | G2.2 | G2.2
97 | (G2.2.22) EQUIPMENT CONTROL: Knowledge of limiting conditions for operation and safety limits (CFR: 41.5 / 43.2 / 45.2) | 4.7 | G2.2 | G2.2
98 | (G2.3.6) RADIATION CONTROL: Ability to approve liquid or gaseous release permits (CFR: 41.13 / 43.4 / 45.10) | 3.8 | G2.3 | G2.3
99 | (G2.4.26) EMERGENCY PROCEDURES/PLAN: Knowledge of facility protection requirements, including fire brigade and portable firefighting equipment usage (CFR: 41.10 / 43.5 / 45.12) | 3.6 | G2.4 | G2.4
100 | (G2.4.6) EMERGENCY PROCEDURES/PLAN: Knowledge of emergency and abnormal operating procedures major action categories (CFR: 41.10 / 43.5 / 45.13) | 4.7 | G2.4 | G2.4