## Sheet1
Question Number | Topic Title | Topic Importance | K/A Category | System
1 | (WE05EK3.05) Knowledge of the reasons for the following responses and/or actions as they apply to (W E05) Loss of Secondary Heat Sink (CFR: 41.5 / 41.10 / 45.6 / 45.13): Checking for RCS bleed and feed criteria | 4.1 | K3 | 395023
2 | (395021) (W E04) LOCA Outside Containment (G2.4.23) EMERGENCY PROCEDURES/PLAN: Knowledge of the bases for prioritizing emergency operating procedures implementation (CFR: 41.10 / 43.5 / 45.13) | 3.4 | G | 395021
3 | (058AK1.05) Knowledge of the operational implications and/or cause and effect relationships of the following concepts as they apply to (APE 58) LOSS OF DC Power (CFR: 41.8 / 41.10 / 45.3 ): Prevention of inadvertent system(s) actuation upon restoration of DC power | 3.6 | K1 | 395017
4 | (056AA2.12) Ability to determine and/or interpret the following as they apply to (APE 56) Loss of Offsite Power (CFR: 43.5 / 45.13): Status of ESF/vital switch gear room cooling unit | 2.5 | A2 | 395015
5 | (038EA1.14) Ability to operate and/or monitor the following as they apply to (EPE 38) STEAM GENERATOR Tube Rupture (CFR: 41.7 / 45.5 / 45.6): AFW | 3.8 | A1 | 395011
6 | (WE11EK2.19) Knowledge of the relationship between (W E11) LOSS OF EMERGENCY Coolant Recirculation and the following systems or components (CFR: 41.7 / 41.8 / 45.2 / 45.4): CVCS | 3.2 | K2 | 395022
7 | (008AK3.04) Knowledge of the reasons for the following responses and/or actions as they apply to (APE 8) PRESSURIZER VAPOR Space Accident (CFR: 41.5 / 41.10 / 45.6 / 45.13): RCP tripping requirements | 3.5 | K3 | 395002
8 | (395004) 000011 (EPE 11) Large Break LOCA (G2.1.36) CONDUCT OF OPERATIONS: Knowledge of procedures and limitations involved in core alterations (CFR: 41.10 / 43.6 / 45.7) | 3 | G | 395004
9 | (029EK1.01) Knowledge of the operational implications and/or cause and effect relationships of the following concepts as they apply to (EPE 29) ANTICIPATED TRANSIENT WITHOUT SCRAM (ATWS) (CFR: 41.8 / 41.10 / 45.3): Reactor nucleonic and thermohydraulic behavior | 3.8 | K1 | 395010
10 | (022AA2.06) Ability to determine and/or interpret the following as they apply to (APE 22) LOSS OF REACTOR Coolant Makeup (CFR: / 43.5 / 45.13): CVCS charging pump ammeters | 3 | A2 | 395006
11 | (057AA1.03) Ability to operate and/or monitor the following as they apply to (APE 57) LOSS OF VITAL AC ELECTRICALINSTRUMENT BUS (CFR: 41.7 / 45.5 / 45.6): Feedwater pump speed to control pressure and level in S/G | 3.8 | A1 | 395016
12 | (CE06EK2.03) Knowledge of the relationship between (CE E06) LOSS OF FEEDWATER and the following systems or components (CFR: 41.7 / 41.8 / 45.4 / 45.7 / 45.8): RCS | 3.9 | K2 | 395013
13 | (055EK3.02) Knowledge of the reasons for the following responses and/or actions as they apply to (EPE 55) Station Blackout (CFR: 41.5 / 41.10 / 45.6 / 45.13): Actions contained in EOPs | 4.2 | K3 | 395014
14 | (395020) 000077 (APE 77) Generator Voltage and Electric Grid Disturbances (G2.4.50) EMERGENCY PROCEDURES/PLAN: Ability to verify system alarm setpoints and operate controls identified in the alarm response procedure (CFR: 41.10 / 43.5 / 45.3) | 4.2 | G | 395020
15 | (009EK1.01) Knowledge of the operational implications and/or cause and effect relationships of the following concepts as they apply to (EPE 9) SMALL-Break LOCA (CFR: 41.8 / 41.10 / 45.3): Natural circulation and cooling, including reflux boiling | 3.8 | K1 | 395003
16 | (CE02EA2.09) Ability to determine and/or interpret the following as they apply to (CE E02) STANDARD POST‑TRIP ACTIONS AND REACTOR TRIP RECOVERY (CFR: 43.5 / 45.13): RCS temperature | 3.8 | A2 | 395001
17 | (065AA1.05) Ability to operate and/or monitor the following as they apply to (APE 65) LOSS OF Instrument Air (CFR: 41.7 / 45.5 / 45.6): RPS | 3.2 | A1 | 395019
18 | (026AK2.03) Knowledge of the relationship between (APE 26) LOSS OF Component Cooling Water and the following systems or components (CFR: 41.8 / 41.10 / 45.3): RHR | 3.8 | K2 | 395008
19 | (024AK3.02) Knowledge of the reasons for the following responses and/or actions as they apply to (APE 24) EMERGENCY Boration (CFR: 41.5 / 41.10 / 45.6 / 45.13): Actions contained in EOPs/AOPs for emergency boration | 4.1 | K3 | 395027
20 | (395033) 000051 (APE 51) Loss of Condenser Vacuum (G2.2.1) EQUIPMENT CONTROL: Ability to perform pre-startup procedures for the facility, including operating those controls associated with plant equipment that could affect reactivity (CFR: 41.5 / 41.10 / 43.5 / 43.6 / 45.1) | 4.5 | G | 395033
21 | (005AK1.01) Knowledge of the operational implications and/or cause and effect relationships of the following concepts as they apply to (APE 5) INOPERABLE/STUCK Control Rod (CFR: 41.8 / 41.10 / 45.3): Axial power imbalance | 4 | K1 | 395026
22 | (WE08EA2.11) Ability to determine and/or interpret the following as they apply to (W E08) Pressurized Thermal Shock (CFR: 41.10 / 43.5 / 45.13): S/G level, pressure, and/or feedwater flow | 3.3 | A2 | 395056
23 | (033AA1.03) Ability to operate and/or monitor the following as they apply to (APE 33) LOSS OF INTERMEDIATE RANGE Nuclear Instrumentation (CFR: 41.7 / 45.5 / 45.6): Manual restoration of power | 2.9 | A1 | 395030
24 | (028AK2.11) Knowledge of the relationship between (APE 28) PRESSURIZER (PZR) Level Control Malfunction and the following systems or components (CFR: 41.7 / 45.7): Cold calibration PZR level instrumentation | 3 | K2 | 395028
25 | (BE08EK3.17) Knowledge of the reasons for the following responses and/or actions as they apply to (BW E08) LOCA COOLDOWN (CFR: 41.5 / 41.10 / 45.6 / 45.13): Throttle reactor building spray flow | 3.7 | K3 | 395053
26 | (395029) 000032 (APE 32) Loss of Source Range Nuclear Instrumentation (G2.4.5) EMERGENCY PROCEDURES/PLAN: Knowledge of the organization of the operating procedures network for normal, abnormal, and emergency evolutions (CFR: 41.10 / 43.5 / 45.13) | 3.7 | G | 395029
27 | (012K3.06) Knowledge of the effect that a loss or malfunction of the (SF7 RPS) REACTOR PROTECTION SYSTEM will have on the following systems or system parameters (CFR: 41.7 / 45.6): ECCS | 3.9 | K3 | 400012
28 | (062A4.01) Ability to manually operate and/or monitor the (SF6 ED AC) AC ELECTRICAL DISTRIBUTION SYSTEM in the control room (CFR: 41.7 / 45.5 to 45.8): All breakers (including available switchyard) | 3.5 | A4 | 400062
29 | (039K4.06) Knowledge of (SF4S MSS) MAIN AND REHEAT STEAM SYSTEM design features and/or interlocks that provide for the following (CFR: 41.7): Prevent reverse steam flow on steamline break | 3.5 | K4 | 400039
30 | (103K6.12) Knowledge of the effect of the following plant conditions, system malfunctions, or component malfunctions on the (SF5 CNT) CONTAINMENT SYSTEM (CFR: 41.7 / 45.7): FHS | 2.7 | K6 | 400103
31 | (400078) 078 (SF8 IAS) INSTRUMENT AIR SYSTEM (G2.2.43) EQUIPMENT CONTROL: Knowledge of the process used to track inoperable alarms (CFR: 41.10 / 43.5 / 45.13) | 3 | G | 400078
32 | (073A1.02) Ability to predict and/or monitor changes in parameters associated with operation of the (SF7 PRM) PROCESS RADIATION MONITORING SYSTEM, including (CFR: 41.5 / 8-9): Lights and alarms | 3.2 | A1 | 400073
33 | (061K5.07) Knowledge of the operational implications or cause and effect relationships of the following concepts as they apply to the (SF4S AFW) AUXILIARY/EMERGENCY FEEDWATER SYSTEM (CFR: 41.5 / 45.7): Back leakage through discharge check valves | 3.1 | K5 | 400061
34 | (010A2.07) Ability to (a) predict the impacts of the following on the (SF3 PZR PCS) PRESSURIZER PRESSURE CONTROL SYSTEM and (b) based on those predictions, use procedures to correct, control, or mitigate the consequences of those abnormal operations (CFR: 41.5 / 43.5 / 45.3 / 45.13): ESFAS actuations | 4.3 | A2 | 400010
35 | (013K1.24) Knowledge of the physical connections and/or cause and effect relationships between the (SF2 ESFAS) ENGINEERED SAFETY FEATURES ACTUATION SYSTEM and the following systems (CFR: 41.2 to 41.9 / 45.7 / 45.8): Control room HVAC | 3.5 | K1 | 400013
36 | (076A3.04) Ability to monitor automatic features of the (SF4S SW) SERVICE WATER SYSTEM, including (CFR: 41.7 / 45.5): Automatic start features associated with SWS pump controls | 3.7 | A3 | 400076
37 | (064K2.02) Knowledge of electrical power supplies to the following: (SF6 EDG) EMERGENCY DIESEL GENERATOR SYSTEM (CFR: 41.7) Fuel oil pumps | 3.2 | K2 | 400064
38 | (022K3.04) Knowledge of the effect that a loss or malfunction of the (SF5 CCS) CONTAINMENT COOLING SYSTEM will have on the following systems or system parameters (CFR: 41.7 / 45.6): CNT | 3.9 | K3 | 400022
39 | (007A4.02) Ability to manually operate and/or monitor the (SF5 PRTS) PRESSURIZER RELIEF/QUENCH TANK SYSTEM in the control room (CFR: 41.5 / 41.7 / 45.5 / 45.7 / 45.8): PRT/quench tank drain valve | 2.8 | A4 | 400007
40 | (003K4.09) Knowledge of (SF4P RCP) REACTOR COOLANT PUMP SYSTEM design features and/or interlocks that provide for the following (CFR: 41.7): Seal and pump venting | 2.6 | K4 | 400003
41 | (063K6.04) Knowledge of the effect of the following plant conditions, system malfunctions, or component malfunctions on the (SF6 ED DC) DC ELECTRICAL DISTRIBUTION SYSTEM (CFR: 41.7 / 45.7): Battery room ventilation | 2.6 | K6 | 400063
42 | (400006) 006 (SF2; SF3 ECCS) EMERGENCY CORE COOLING SYSTEM (191001K1.11) VALVES (CFR: 41.3): The stroke test for a valve, including the use of a stopwatch | 2.7 | C | 400006
43 | (059A1.13) Ability to predict and/or monitor changes in parameters associated with operation of the (SF4S MFW) MAIN FEEDWATER SYSTEM, including (CFR: 41.5 / 45.5): Condenser vacuum | 3.3 | A1 | 400059
44 | (004K5.15) Knowledge of the operational implications or cause and effect relationships of the following concepts as they apply to the (SF1; SF2 CVCS) CHEMICAL AND VOLUME CONTROL SYSTEM (CFR: 41.5 / 45.7): Boron and control rod reactivity effects as they relate to MTC | 3.2 | K5 | 400004
45 | (026A2.04) Ability to (a) predict the impacts of the following on the (SF5 CSS) CONTAINMENT SPRAY SYSTEM and (b) based on those predictions, use procedures to correct, control, or mitigate the consequences of those abnormal operations (CFR: 41.5 / 43.5 / 45.3 / 45.13): Failure of spray pump | 3.9 | A2 | 400026
46 | (005K1.01) Knowledge of the physical connections and/or cause and effect relationships between the (SF4P RHR) RESIDUAL HEAT REMOVAL SYSTEM and the following systems (CFR: 41.2 to 41.9 / 45.7 / 45.8): CCWS | 4.1 | K1 | 400005
47 | (008A3.05) Ability to monitor automatic features of the (SF8 CCW) COMPONENT COOLING WATER SYSTEM, including (CFR: 41.7 / 45.5): Automatic isolation valves in the CCWS | 3.6 | A3 | 400008
48 | (012K2.01) Knowledge of electrical power supplies to the following (CFR: 41.7): (SF7 RPS) REACTOR PROTECTION SYSTEM RPS channels, components, and interconnections | 4 | K2 | 400012
49 | (062K3.02) Knowledge of the effect that a loss or malfunction of the (SF6 ED AC) AC ELECTRICAL DISTRIBUTION SYSTEM will have on the following systems or system parameters (CFR: 41.7 / 45.6): EDG | 4.4 | K3 | 400062
50 | (039A4.05) Ability to manually operate and/or monitor the (SF4S MSS) MAIN AND REHEAT STEAM SYSTEM in the control room (CFR: 41.7 / 45.5 to 45.8): Moisture separator reheater startup | 2.6 | A4 | 400039
51 | (103K4.07) Knowledge of (SF5 CNT) CONTAINMENT SYSTEM design features and/or interlocks that provide for the following (CFR: 41.7): Electrical penetrations | 3 | K4 | 400103
52 | (078K6.07) Knowledge of the effect of the following plant conditions, system malfunctions, or component malfunctions on the (SF8 IAS) INSTRUMENT AIR SYSTEM (CFR: 41.7 / 45.7): Valves | 2.8 | K6 | 400078
53 | (400073) 073 (SF7 PRM) PROCESS RADIATION MONITORING SYSTEM (G2.2.36) EQUIPMENT CONTROL: Ability to analyze the effect of maintenance activities, such as degraded power sources, on the status of limiting conditions for operation (CFR: 41.10 / 43.2 / 45.13) | 3.1 | G | 400073
54 | (061A1.05) Ability to predict and/or monitor changes in parameters associated with operation of the (SF4S AFW) AUXILIARY/EMERGENCY FEEDWATER SYSTEM, including (CFR: 41.5 / 45.5): AFW flow and/or motor amperage | 3.8 | A1 | 400061
55 | (017K3.03) Knowledge of the effect that a loss or malfunction of the (SF7 ITM) IN CORE TEMPERATURE MONITOR SYSTEM will have on the following systems or system parameters (CFR: 41.7 / 45.6): SPDS | 3.6 | K3 | 400017
56 | (033A4.03) Ability to manually operate and/or monitor the (SF8 SFPCS) SPENT FUEL POOL COOLING SYSTEM in the control room (CFR: 41.7 / 45.5 to 45.8): Support systems for fill and transfer of SFPCS water | 3 | A4 | 400033
57 | (029K4.01) Knowledge of (SF8 CPS) CONTAINMENT PURGE SYSTEM design features and/or interlocks that provide for the following (CFR: 41.7): Use of filters for purging to the atmosphere | 3 | K4 | 400029
58 | (086K6.05) Knowledge of the effect of the following plant conditions, system malfunctions, or component malfunctions on the (SF8 FPS) FIRE PROTECTION SYSTEM (CFR: 41.7 / 45.7): Service water | 2.7 | K6 | 400086
59 | (400071) 071 (SF9 WGS) WASTE GAS DISPOSAL SYSTEM (191002K1.05) SENSORS AND DETECTORS (CFR: 41.7): (FLOW) Operation of a D/P cell-type flow detector | 2.8 | C | 400071
60 | (014A1.04) Ability to predict and/or monitor changes in parameters associated with operation of the (SF1 RPI) ROD POSITION INDICATION SYSTEM, including (CFR: 41.5 to 41.7 / 45.5): Axial and/or radial power distribution | 3.8 | A1 | 400014
61 | (056K5.23) Knowledge of the operational implications or cause and effect relationships of the following concepts as they apply to the (SF4S CDS) CONDENSATE SYSTEM (CFR: 41.5 / 45.7): Normal sequence of alarms on startup of condensate pumps, including the low suction pressure alarm | 2.5 | K5 | 400056
62 | (055A2.04) Ability to (a) predict the impacts of the following on the (SF4S CARS) CONDENSER AIR REMOVAL SYSTEM and (b) based on those predictions, use procedures to correct, control, or mitigate the consequences of those abnormal operations (CFR: 41.5 / 43.5 / 45.3 / 45.13): Air in-leakage | 3.6 | A2 | 400055
63 | (015K1.04) Knowledge of the physical connections and/or cause and effect relationships between the (SF7 NI) NUCLEAR INSTRUMENTATION SYSTEM and the following systems (CFR: 41.2 to 41.9 / 45.7 / 45.8): ESFAS | 3.8 | K1 | 400015
64 | (G2.1.20) CONDUCT OF OPERATIONS: Ability to interpret and execute procedure steps (CFR: 41.10 / 43.5 / 45.12) | 4.6 | G2.1 | G2.1
65 | (G2.1.19) CONDUCT OF OPERATIONS: Ability to use available indications to evaluate system or component status (CFR: 41.10 / 45.12) | 3.9 | G2.1 | G2.1
66 | (G2.2.22) EQUIPMENT CONTROL: Knowledge of limiting conditions for operation and safety limits (CFR: 41.5 / 43.2 / 45.2) | 4 | G2.2 | G2.2
67 | (G2.2.15) EQUIPMENT CONTROL: Ability to determine the expected plant configuration using design and configuration control documentation, such as drawings, lineups, or tagouts (reference potential) (CFR: 41.10 / 43.3 / 45.13) | 3.9 | G2.2 | G2.2
68 | (G2.3.5) RADIATION CONTROL: Ability to use RMSs, such as fixed radiation monitors and alarms or personnel monitoring equipment (CFR: 41.11 / 41.12 / 43.4 / 45.9) | 2.9 | G2.3 | G2.3
69 | (G2.4.52) EMERGENCY PROCEDURES/PLAN: Knowledge of the lines of authority during implementation of the emergency plan, emergency plan implementing procedures, emergency operating procedures, or severe accident guidelines (CFR: 41.10 / 45.13) | 3 | G2.4 | G2.4
70 | (192004K1.01) REACTIVITY COEFFICIENTS (CFR: 41.1): Define the MTC of reactivity | 3.2 | R | 192004
71 | (192008K1.03) REACTOR OPERATIONAL PHYSICS (CFR: 41.1): (STARTUP AND APPROACH TO CRITICALITY) Describe count rate and instrument response that should be observed for rod withdrawal during the approach to criticality | 4 | R | 192008
72 | (192002K1.09) NEUTRON LIFE CYCLE (CFR: 41.1): Define K-excess (excess reactivity) | 2.7 | R | 192002
73 | (193010K1.04) BRITTLE FRACTURE AND VESSEL THERMAL STRESS (CFR: 41.14): State how the possibility of brittle fracture is minimized by operating limitations | 3.7 | T | 193010
74 | (193001K1.01) THERMODYNAMIC UNITS AND PROPERTIES (CFR: 41.14): Convert between absolute and gauge pressure and vacuum scales | 2.7 | T | 193001
75 | (193006K1.06) FLUID STATICS AND DYNAMICS (CFR: 41.14): Define or explain the following term or concept: -- mass flow rate | 3 | T | 193006
76 | (062AA2.06) Ability to determine and/or interpret the following as they apply to (APE 62) LOSS OF SERVICE WATER (CFR: 43.5 / 45.13): The length of time after the loss of SWS flow to a component before that component may be damaged | 3.2 | A2 | 395018
77 | (395005) 000015 (APE 15) Reactor Coolant Pump Malfunctions (G2.4.45) EMERGENCY PROCEDURES/PLAN: Ability to prioritize and interpret the significance of each annunciator or alarm (CFR: 41.10 / 43.5 / 45.3 / 45.12) | 4.3 | G | 395005
78 | (CE05EA2.01) Ability to determine and/or interpret the following as they apply to (CE E05) EXCESS STEAM DEMAND (CFR: 43.5 / 45.13): Facility conditions and selection of appropriate procedures during abnormal and emergency operations | 4.2 | A2 | 395012
79 | (395009) 000027 (APE 27) Pressurizer Pressure Control System Malfunction (G2.4.18) EMERGENCY PROCEDURES/PLAN: Knowledge of the specific bases for emergency and abnormal operating procedures (CFR: 41.10 / 43.1 / 45.13) | 4 | G | 395009
80 | (025AA2.09) Ability to determine and/or interpret the following as they apply to (APE 25) LOSS OF RESIDUAL Heat Removal System (CFR: 43.5 / 45.13): Lights and alarms | 3.5 | A2 | 395007
81 | (395023) (BW E04; W E05) Inadequate Heat Transfer – Loss of Secondary Heat Sink (G2.2.19) EQUIPMENT CONTROL: Knowledge of maintenance work order requirements (CFR: 41.10 / 43.5 / 45.13) | 3.4 | G | 395023
82 | (076AA2.05) Ability to determine and/or interpret the following as they apply to (APE 76) HIGH REACTOR COOLANT ACTIVITY (CFR: 43.5 / 45.13): CVCS letdown flow rate | 3.3 | A2 | 395041
83 | (395037) 000067 (APE 67) Plant Fire On Site (G2.1.18) CONDUCT OF OPERATIONS: Ability to make accurate, clear, and concise logs, records, status boards, and reports (CFR: 41.10 / 45.12 / 45.13) | 3.8 | G | 395037
84 | (003AA2.01) Ability to determine and/or interpret the following as they apply to (APE 3) DROPPED Control Rod (CFR: 43.5 / 45.13): RPI | 4 | A2 | 395025
85 | (395045) (W E15) Containment Flooding (G2.1.30) CONDUCT OF OPERATIONS: Ability to locate and operate components, including local controls (CFR: 41.7 / 45.7) | 4 | G | 395045
86 | (010A2.03) Ability to (a) predict the impacts of the following on the (SF3 PZR PCS) PRESSURIZER PRESSURE CONTROL SYSTEM and (b) based on those predictions, use procedures to correct, control, or mitigate the consequences of those abnormal operations (CFR: 41.5 / 43.5 / 45.3 / 45.13): PORV failures | 4 | A2 | 400010
87 | (400013) 013 (SF2 ESFAS) ENGINEERED SAFETY FEATURES ACTUATION SYSTEM (G2.1.34) CONDUCT OF OPERATIONS: Knowledge of RCS or balance-of-plant chemistry controls, including parameters measured and reasons for the control (CFR: 41.10 / 43.5 / 45.12) | 3.5 | G | 400013
88 | (076A2.11) Ability to (a) predict the impacts of the following on the (SF4S SW) SERVICE WATER SYSTEM and (b) based on those predictions, use procedures to correct, control, or mitigate the consequences of those abnormal operations (CFR: 41.1 / 41.5 / 43.5 / 45.3 / 45.6 / 45.13): Strainer failure | 2.9 | A2 | 400076
89 | (400064) 064 (SF6 EDG) EMERGENCY DIESEL GENERATOR SYSTEM (G2.4.49) EMERGENCY PROCEDURES/PLAN: Ability to perform without reference to procedures those actions that require immediate operation of system components and controls (CFR: 41.10 / 43.2 / 45.6) | 4.4 | G | 400064
90 | (022A2.01) Ability to (a) predict the impacts of the following on the (SF5 CCS) CONTAINMENT COOLING SYSTEM and (b) based on those predictions, use procedures to correct, control, or mitigate the consequences of those abnormal operations (CFR: 41.5 / 43.5 / 45.3 / 45.13): CCS component malfunction | 3.6 | A2 | 400022
91 | (400041) 041 (SF4S SDS) STEAM DUMP/TURBINE BYPASS CONTROL SYSTEM (G2.2.12) EQUIPMENT CONTROL: Knowledge of surveillance procedures (CFR: 41.10 / 43.2 / 45.13) | 4.1 | G | 400041
92 | (002A2.03) Ability to (a) predict the impacts of the following on the (SF2; SF4P RCS) REACTOR COOLANT SYSTEM and (b) based on those predictions, use procedures to correct, control, or mitigate the consequences of those abnormal operations (CFR: 41.5 / 43.5 / 45.3 / 45.5): Loss of forced circulation | 4.2 | A2 | 400002
93 | (034A4.06) Ability to manually operate and/or monitor the (SF8 FHS) FUEL HANDLING EQUIPMENT SYSTEM in the control room (CFR: 41.4 / 41.7 / 43.7 / 45.5 / 45.6 / 45.8): Fuel transfer system operation | 2.6 | A4 | 400034
94 | (G2.1.39) CONDUCT OF OPERATIONS: Knowledge of conservative decision-making practices (CFR: 41.10 / 43.5 / 45.12) | 4.3 | G2.1 | G2.1
95 | (G2.1.41) CONDUCT OF OPERATIONS: Knowledge of the refueling process (CFR: 41.2 / 41.10 / 43.6 / 45.13) | 3.7 | G2.1 | G2.1
96 | (G2.2.13) EQUIPMENT CONTROL: Knowledge of tagging and clearance procedures (CFR: 41.10 / 43.1 / 45.13) | 4.3 | G2.2 | G2.2
97 | (G2.2.20) EQUIPMENT CONTROL: Knowledge of the process for managing troubleshooting activities (CFR: 41.10 / 43.5 / 45.13) | 3.8 | G2.2 | G2.2
98 | (G2.3.6) RADIATION CONTROL: Ability to approve liquid or gaseous release permits (CFR: 41.13 / 43.4 / 45.10) | 3.8 | G2.3 | G2.3
99 | (G2.4.6) EMERGENCY PROCEDURES/PLAN: Knowledge of emergency and abnormal operating procedures major action categories (CFR: 41.10 / 43.5 / 45.13) | 4.7 | G2.4 | G2.4
100 | (G2.4.28) EMERGENCY PROCEDURES/PLAN: Knowledge of procedures relating to a security event (ensure that the test item includes no safeguards information) (CFR: 41.10 / 43.5 / 45.13) | 4.1 | G2.4 | G2.4