## Sheet1
Question Number | Topic Title | Topic Importance | K/A Category | System
1 | (008AA1.02) Ability to operate and/or monitor the following as they apply to (APE 8) PRESSURIZER VAPOR Space Accident (CFR: 41.7 / 45.5 / 45.6): CVCS system to control PZR level/pressure | 3.6 | A1 | 395002
2 | (WE05EK3.18) Knowledge of the reasons for the following responses and/or actions as they apply to (W E05) Loss of Secondary Heat Sink (CFR: 41.5 / 41.10 / 45.6 / 45.13): Shutting RCS vent valves | 3.1 | K3 | 395023
3 | (395014) 000055 (EPE 55) Station Blackout (G2.2.38) EQUIPMENT CONTROL: Knowledge of conditions and limitations in the facility license (CFR: 41.7 / 41.10 / 43.1 / 45.13) | 3.6 | G | 395014
4 | (058AK1.05) Knowledge of the operational implications and/or cause and effect relationships of the following concepts as they apply to (APE 58) LOSS OF DC Power (CFR: 41.8 / 41.10 / 45.3 ): Prevention of inadvertent system(s) actuation upon restoration of DC power | 3.6 | K1 | 395017
5 | (065AK2.10) Knowledge of the relationship between (APE 65) LOSS OF Instrument Air and the following systems or components (CFR: 41.7 / 45.7): PZR PCS | 3.6 | K2 | 395019
6 | (062AA2.04) Ability to determine and/or interpret the following as they apply to (APE 62) LOSS OF SERVICE WATER (CFR: 43.5 / 45.13): The normal values and upper limits for the temperatures of the components cooled by SWS | 3 | A2 | 395018
7 | (009EA1.10) Ability to operate and/or monitor the following as they apply to (EPE 9) SMALL-Break LOCA (CFR: 41.7 / 45.5 / 45.6): SPDS | 3.4 | A1 | 395003
8 | (027AK3.06) Knowledge of the reasons for the following responses and/or actions as they apply to (APE 27) PRESSURIZER PRESSURE Control System Malfunction (CFR: 41.5 / 41.10 / 45.6 / 45.13): Actions to be taken if the PZR pressure instrument fails low | 3.9 | K3 | 395009
9 | (395016) 000057 (APE 57) Loss of Vital AC Instrument Bus (G2.1.46) CONDUCT OF OPERATIONS: Ability to use integrated control systems to operate plant systems or components (CFR: 41.10 / 45.12 / 45.13) | 4 | G | 395016
10 | (015AK1.02) Knowledge of the operational implications and/or cause and effect relationships of the following concepts as they apply to (APE 15) REACTOR COOLANT Pump Malfunctions (CFR: 41.8 / 41.10 / 45.3): Consequences of an RCP failure | 3.9 | K1 | 395005
11 | (022AK2.13) Knowledge of the relationship between (APE 22) LOSS OF REACTOR Coolant Makeup and the following systems or components (CFR: 41.7 / 45.7): ECCS | 3.5 | K2 | 395006
12 | (CE02EA2.06) Ability to determine and/or interpret the following as they apply to (CE E02) STANDARD POST‑TRIP ACTIONS AND REACTOR TRIP RECOVERY (CFR: 43.5 / 45.13): PZR level and pressure | 3.8 | A2 | 395001
13 | (025AA1.31) Ability to operate and/or monitor the following as they apply to (APE 25) LOSS OF RESIDUAL Heat Removal System (CFR: 41.7 / 45.5 / 45.6): Containment | 3.5 | A1 | 395007
14 | (WE04EK3.06) Knowledge of the reasons for the following responses and/or actions as they apply to (W E04) LOCA Outside Containment (CFR: 41.5 / 41.10 / 45.6 / 45.13): Identifying and isolating the break | 4.3 | K3 | 395021
15 | (395013) 000054 (APE 54; CE E06) Loss of Main Feedwater (G2.1.44) CONDUCT OF OPERATIONS: Knowledge of RO duties in the control room during fuel handling, such as responding to alarms from the fuel handling area, communicating with fuel-handling personnel, operating systems from the control room to support fueling operations, or supporting instrumentation (CFR: 41.10 / 43.7 / 45.12) | 3.9 | G | 395013
16 | (WE11EK1.09) Knowledge of the operational implications and/or cause and effect relationships of the following concepts as they apply to (W E11) LOSS OF EMERGENCY Coolant Recirculation (CFR: 41.5 / 41.7 / 45.7 / 45.8): ECCS pump cavitation caused by sump blockage | 4.2 | K1 | 395022
17 | (029EK2.16) Knowledge of the relationship between (EPE 29) ANTICIPATED TRANSIENT WITHOUT SCRAM (ATWS) and the following systems or components (CFR: 41.7 / 45.7): NIS | 3.5 | K2 | 395010
18 | (077AA2.05) Ability to determine and/or interpret the following as they apply to (APE 77) GENERATOR VOLTAGE AND ELECTRIC Grid Disturbances (CFR: 41.5 / 43.5 / 45.5 / 45.7 / 45.8): Status of grid | 3.7 | A2 | 395020
19 | (WE16EA1.05) Ability to operate and/or monitor the following as they apply to (W E16) HIGH Containment Radiation (CFR: 41.5 to 41.8 / 45.5. to 45.8): Containment atmosphere filtration system | 3.2 | A1 | 395046
20 | (037AK3.15) Knowledge of the reasons for the following responses and/or actions as they apply to (APE 37) STEAM Generator Tube Leak (CFR: 41.5 / 41.7 / 41.10 / 45.6 / 45.13): Blocking ESFAS before cooldown | 3.8 | K3 | 395032
21 | (395026) 000005 (APE 5) Inoperable/Stuck Control Rod (G2.2.20) EQUIPMENT CONTROL: Knowledge of the process for managing troubleshooting activities (CFR: 41.10 / 43.5 / 45.13) | 2.6 | G | 395026
22 | (060AK1.04) Knowledge of the operational implications and/or cause and effect relationships of the following concepts as they apply to (APE 60) ACCIDENTAL GASEOUS Radwaste Release (CFR: 41.8 / 41.10 / 45.3): Calculation of offsite doses due to a release from the power plant | 2.8 | K1 | 395035
23 | (067AK2.09) Knowledge of the relationship between (APE 67) PLANT Fire On Site and the following systems or components (CFR: 41.7 / 45.7): Installed fire suppression equipment | 3.3 | K2 | 395037
24 | (033AA2.08) Ability to determine and/or interpret the following as they apply to (APE 33) LOSS OF INTERMEDIATE RANGE Nuclear Instrumentation (CFR: 43.5 / 45.13): Intermediate range channel operability | 3.3 | A2 | 395030
25 | (078AA1.09) Ability to operate and/or monitor the following as they apply to (APE 78) REACTOR COOLANT SYSTEM LEAK (CFR: 41.7 / 45.5 / 45.6): RMS | 3.6 | A1 | 395042
26 | (032AK3.02) Knowledge of the reasons for the following responses and/or actions as they apply to (APE 32) LOSS OF SOURCE RANGE Nuclear Instrumentation (CFR: 41.5 / 41.10 / 45.6 / 45.13): Guidance contained in procedures for loss of source range NI | 3.5 | K3 | 395029
27 | (064K5.12) Knowledge of the operational implications or cause and effect relationships of the following concepts as they apply to the (SF6 EDG) EMERGENCY DIESEL GENERATOR SYSTEM (CFR: 41.5 / 45.7): Consequences of the premature opening of a breaker under load | 3.3 | K5 | 400064
28 | (026K1.02) Knowledge of the physical connections and/or cause and effect relationships between the (SF5 CSS) CONTAINMENT SPRAY SYSTEM and the following systems (CFR: 41.2 to 41.9 / 45.7 / 45.8): Cooling water | 3.6 | K1 | 400026
29 | (013A3.09) Ability to monitor automatic features of the (SF2 ESFAS) ENGINEERED SAFETY FEATURES ACTUATION SYSTEM, including (CFR: 41.6 to 41.8 / 45.5): Containment spray actuation/signal | 4.1 | A3 | 400013
30 | (022K2.01) Knowledge of electrical power supplies to the following (CFR: 41.7): (SF5 CCS) CONTAINMENT COOLING SYSTEM CCS fans | 3.6 | K2 | 400022
31 | (012K3.01) Knowledge of the effect that a loss or malfunction of the (SF7 RPS) REACTOR PROTECTION SYSTEM will have on the following systems or system parameters (CFR: 41.7 / 45.6): CRDS | 4.2 | K3 | 400012
32 | (061K4.02) Knowledge of (SF4S AFW) AUXILIARY/EMERGENCY FEEDWATER SYSTEM design features and/or interlocks that provide for the following (CFR: 41.7): AFW automatic start signals | 4.4 | K4 | 400061
33 | (062A4.01) Ability to manually operate and/or monitor the (SF6 ED AC) AC ELECTRICAL DISTRIBUTION SYSTEM in the control room (CFR: 41.7 / 45.5 to 45.8): All breakers (including available switchyard) | 3.5 | A4 | 400062
34 | (008A1.04) Ability to predict and/or monitor changes in parameters associated with operation of the (SF8 CCW) COMPONENT COOLING WATER SYSTEM, including (CFR: 41.5 / 45.7): Surge tank level | 3.4 | A1 | 400008
35 | (063A2.03) Ability to (a) predict the impacts of the following on the (SF6 ED DC) DC ELECTRICAL DISTRIBUTION SYSTEM and (b) based on those predictions, use procedures to correct, control, or mitigate the consequences of those abnormal operations (CFR: 41.5 / 43.5 / 45.3 / 45.13): Malfunction of battery chargers | 3.9 | A2 | 400063
36 | (400005) 005 (SF4P RHR) RESIDUAL HEAT REMOVAL SYSTEM (G2.4.37) EMERGENCY PROCEDURES/PLAN: Knowledge of the lines of authority during implementation of the emergency plan implementing procedures (CFR: 41.10 / 45.13) | 3 | G | 400005
37 | (076K6.12) Knowledge of the effect of the following plant conditions, system malfunctions, or component malfunctions on the (SF4S SW) SERVICE WATER SYSTEM (CFR: 41.7 / 45.7): AC electrical distribution | 3.4 | K6 | 400076
38 | (004K5.12) Knowledge of the operational implications or cause and effect relationships of the following concepts as they apply to the (SF1; SF2 CVCS) CHEMICAL AND VOLUME CONTROL SYSTEM (CFR: 41.5 / 45.7): Effects of temperature on corrosion | 2.5 | K5 | 400004
39 | (003K1.12) Knowledge of the physical connections and/or cause and effect relationships between the (SF4P RCP) REACTOR COOLANT PUMP SYSTEM and the following systems (CFR: 41.2 to 41.9 / 45.7 / 45.8): CCWS | 3.7 | K1 | 400003
40 | (078A3.05) Ability to monitor automatic features of the (SF8 IAS) INSTRUMENT AIR SYSTEM, including (CFR: 41.7 / 45.5): Isolation of instrument air to containment | 3.3 | A3 | 400078
41 | (010K2.01) Knowledge of electrical power supplies to the following: (SF3 PZR PCS) PRESSURIZER PRESSURE CONTROL SYSTEM (CFR: 41.7) PZR heaters | 3.4 | K2 | 400010
42 | (103K3.04) Knowledge of the effect that a loss or malfunction of the (SF5 CNT) CONTAINMENT SYSTEM will have on the following systems or system parameters (CFR: 41.7 / 45.6): Shield building vent system | 3 | K3 | 400103
43 | (059K4.22) Knowledge of (SF4S MFW) MAIN FEEDWATER SYSTEM design features and/or interlocks that provide for the following (CFR: 41.7): S/G water LCS | 3.8 | K4 | 400059
44 | (006A4.06) Ability to manually operate and/or monitor the (SF2; SF3 ECCS) EMERGENCY CORE COOLING SYSTEM in the control room (CFR: 41.7 / 45.5 to 45.8): ESFAS control panel | 4.1 | A4 | 400006
45 | (073A1.01) Ability to predict and/or monitor changes in parameters associated with operation of the (SF7 PRM) PROCESS RADIATION MONITORING SYSTEM, including (CFR: 41.5 / 8-9): Radiation levels | 3.5 | A1 | 400073
46 | (007A2.07) Ability to (a) predict the impacts of the following on the (SF5 PRTS) PRESSURIZER RELIEF/QUENCH TANK SYSTEM and (b) based on those predictions, use procedures to correct, control, or mitigate the consequences of those abnormal operations (CFR: 41.5 / 43.5 / 45.3 / 45.13): Recirculating PRT/quench tank | 2.8 | A2 | 400007
47 | (400039) 039 (SF4S MSS) MAIN AND REHEAT STEAM SYSTEM (191005K1.05) MOTORS AND GENERATORS (CFR: 41.7): Explanation of the difference between starting current and operating (running) current in a motor | 2.8 | C | 400039
48 | (064K6.09) Knowledge of the effect of the following plant conditions, system malfunctions, or component malfunctions on the (SF6 EDG) EMERGENCY DIESEL GENERATOR SYSTEM (CFR: 41.7 / 45.7): EDG building ventilation | 3.2 | K6 | 400064
49 | (026K5.03) Knowledge of the operational implications or cause and effect relationships of the following concepts as they apply to the (SF5 CSS) CONTAINMENT SPRAY SYSTEM (CFR: 41.5 / 45.7): Stratification of liquids: concentrated sodium hydroxide solution has a higher specific gravity than weak boric acid solution; therefore, the two solutions must be vigorously mixed to make an effective spray | 2.5 | K5 | 400026
50 | (013K1.03) Knowledge of the physical connections and/or cause and effect relationships between the (SF2 ESFAS) ENGINEERED SAFETY FEATURES ACTUATION SYSTEM and the following systems (CFR: 41.2 to 41.9 / 45.7 / 45.8): CCS | 3.9 | K1 | 400013
51 | (022A3.02) Ability to monitor automatic features of the (SF5 CCS) CONTAINMENT COOLING SYSTEM, including (CFR: 41.7 / 45.5): Containment coolers cooling water flow | 3.6 | A3 | 400022
52 | (012K2.01) Knowledge of electrical power supplies to the following (CFR: 41.7): (SF7 RPS) REACTOR PROTECTION SYSTEM RPS channels, components, and interconnections | 4 | K2 | 400012
53 | (061K3.01) Knowledge of the effect that a loss or malfunction of the (SF4S AFW) AUXILIARY/EMERGENCY FEEDWATER SYSTEM will have on the following systems or system parameters (CFR: 41.5 / 41.7 / 45.6): RCS | 4.3 | K3 | 400061
54 | (062K4.10) Knowledge of (SF6 ED AC) AC ELECTRICAL DISTRIBUTION SYSTEM design features and/or interlocks that provide for the following (CFR: 41.7): Redundant power sources to vital buses (including vital instrument buses) | 3.8 | K4 | 400062
55 | (041K5.04) Knowledge of the operational implications or cause and effect relationships of the following concepts as they apply to the (SF4S SDS) STEAM DUMP/TURBINE BYPASS CONTROL SYSTEM (CFR: 41.5 / 45.7): Basis for plant cooldown rates | 3.4 | K5 | 400041
56 | (016K1.07) Knowledge of the physical connections and/or cause and effect relationships between the (SF7 NNI) NONNUCLEAR INSTRUMENTATION SYSTEM and the following systems (CFR: 41.2 to 41.9 / 45.7 / 45.8): ECCS | 3.8 | K1 | 400016
57 | (014A3.01) Ability to monitor automatic features of the (SF1 RPI) ROD POSITION INDICATION SYSTEM, including (CFR: 41.6 / 41.7 / 45.7): RPI accuracy | 3.4 | A3 | 400014
58 | (075K2.01) Knowledge of electrical power supplies to the following: (SF8 CW) CIRCULATING WATER SYSTEM (CFR: 41.7) Circulating water pumps | 2.8 | K2 | 400075
59 | (071K3.02) Knowledge of the effect that a loss or malfunction of the (SF9 WGS) WASTE GAS DISPOSAL SYSTEM will have on the following systems or system parameters (CFR: 41.7 / 45.8 / 45.9): CVCS | 3.1 | K3 | 400071
60 | (002K4.10) Knowledge of (SF2; SF4P RCS) REACTOR COOLANT SYSTEM design features and/or interlocks that provide for the following (CFR: 41.3 / 41.7): Overpressure protection | 4.1 | K4 | 400002
61 | (001A4.12) Ability to manually operate and/or monitor the (SF1 CRDS) CONTROL ROD DRIVE SYSTEM in the control room (CFR: 41.6 / 45.5 to 45.8): Stopping MT/G load changes; making only minor adjustments to prevent coil burnout | 2.7 | A4 | 400001
62 | (029A1.03) Ability to predict and/or monitor changes in parameters associated with operation of the (SF8 CPS) CONTAINMENT PURGE SYSTEM, including (CFR: 41.5 / 45.5 / 45.8): Containment pressure | 3.3 | A1 | 400029
63 | (068A2.05) Ability to (a) predict the impacts of the following on the (SF9 LRS) LIQUID RADWASTE SYSTEM and (b) based on those predictions, use procedures to correct, control, or mitigate the consequences of those abnormal operations (CFR: 41.5 / 43.5 / 45.3 / 45.8 / 45.9 / 45.13): CWS malfunction | 2.6 | A2 | 400068
64 | (G2.1.36) CONDUCT OF OPERATIONS: Knowledge of procedures and limitations involved in core alterations (CFR: 41.10 / 43.6 / 45.7) | 3 | G2.1 | G2.1
65 | (G2.1.8) CONDUCT OF OPERATIONS: Ability to coordinate personnel activities outside the control room (CFR: 41.10 / 43.1 / 45.5 / 45.12 / 45.13) | 3.4 | G2.1 | G2.1
66 | (G2.2.21) EQUIPMENT CONTROL: Knowledge of pre- and post-maintenance operability requirements (CFR: 41.10 / 43.2) | 2.9 | G2.2 | G2.2
67 | (G2.2.22) EQUIPMENT CONTROL: Knowledge of limiting conditions for operation and safety limits (CFR: 41.5 / 43.2 / 45.2) | 4 | G2.2 | G2.2
68 | (G2.3.11) RADIATION CONTROL: Ability to control radiation releases (CFR: 41.11 / 43.4 / 45.10) | 3.8 | G2.3 | G2.3
69 | (G2.4.14) EMERGENCY PROCEDURES/PLAN: Knowledge of general guidelines for emergency and abnormal operating procedures usage (CFR: 41.10 / 43.1 / 45.13) | 3.8 | G2.4 | G2.4
70 | (192005K1.05) CONTROL RODS (CFR: 41.1): Define control rod worth, differential control rod worth, and integral control rod worth | 3.1 | R | 192005
71 | (192002K1.09) NEUTRON LIFE CYCLE (CFR: 41.1): Define K-excess (excess reactivity) | 2.7 | R | 192002
72 | (192006K1.04) FISSION PRODUCT POISONS (CFR: 41.1): Describe the removal of xenon‑135 | 2.8 | R | 192006
73 | (193009K1.06) CORE THERMAL LIMITS (CFR: 41.14): Describe the function of the core protection calculator (thermal margin calculator) | 3.7 | T | 193009
74 | (193010K1.07) BRITTLE FRACTURE AND VESSEL THERMAL STRESS (CFR: 41.14): State the operational concerns of uncontrolled cooldown | 4.1 | T | 193010
75 | (193004K1.11) THERMODYNAMIC PROCESS (CFR: 41.14): (CONDENSERS) Describe the process of condensate depression (subcooling) and its effect on plant operation | 2.5 | T | 193004
76 | (038EA2.07) Ability to determine and/or interpret the following as they apply to (EPE 38) STEAM GENERATOR Tube Rupture (CFR: 43.5 / 45.13): Plant conditions from survey of control room indications | 4 | A2 | 395011
77 | (395004) 000011 (EPE 11) Large Break LOCA (G2.4.19) EMERGENCY PROCEDURES/PLAN: Knowledge of emergency and abnormal operating procedures layout, symbols, and icons (CFR: 41.10 / 45.13) | 4.1 | G | 395004
78 | (CE05EA2.09) Ability to determine and/or interpret the following as they apply to (CE E05) EXCESS STEAM DEMAND (CFR: 43.5 / 45.13): CCW flow to RCP seals | 3.2 | A2 | 395012
79 | (395015) 000056 (APE 56) Loss of Offsite Power (G2.3.12) RADIATION CONTROL: Knowledge of radiological safety principles and procedures pertaining to licensed operator duties, such as response to radiation monitor alarms, containment entry requirements, fuel handling responsibilities, access to locked high-radiation areas, or alignment of filters (CFR: 41.12 / 43.4 / 45.9 / 45.10) | 3.7 | G | 395015
80 | (026AA2.02) Ability to determine and/or interpret the following as they apply to (APE 26) LOSS OF Component Cooling Water (CFR: 41.10 / 43.5 / 45.13): The cause of possible CCW loss | 3.5 | A2 | 395008
81 | (395002) 000008 (APE 8) Pressurizer Vapor Space Accident (G2.1.18) CONDUCT OF OPERATIONS: Ability to make accurate, clear, and concise logs, records, status boards, and reports (CFR: 41.10 / 45.12 / 45.13) | 3.8 | G | 395002
82 | (WE02EA2.07) Ability to determine and/or interpret the following as they apply to (W E02) SI TERMINATION (CFR: 41.10 / 43.5 / 45.13): CCW flow to RCPs and/or seal water heat exchanger | 3.1 | A2 | 395043
83 | (395054) (BW E09; CE A13**; W E09 & E10) Natural Circulation (G2.4.21) EMERGENCY PROCEDURES/PLAN: Knowledge of the parameters and logic used to assess the status of emergency operating procedures critical safety functions or shutdown critical safety functions (CFR: 41.7 / 43.5 / 45.12) | 4.6 | G | 395054
84 | (051AA2.04) Ability to determine and/or interpret the following as they apply to (APE 51) LOSS OF Condenser Vacuum (CFR: 43.5 / 45.13): Gland steam header pressure | 2.9 | A2 | 395033
85 | (395040) 000074 (EPE 74; W E06 & E07) Inadequate Core Cooling (G2.2.15) EQUIPMENT CONTROL: Ability to determine the expected plant configuration using design and configuration control documentation, such as drawings, lineups, or tagouts (reference potential) (CFR: 41.10 / 43.3 / 45.13) | 4.3 | G | 395040
86 | (008A2.07) Ability to (a) predict the impacts of the following on the (SF8 CCW) COMPONENT COOLING WATER SYSTEM and (b) based on those predictions, use procedures to correct, control, or mitigate the consequences of those abnormal operations (CFR: 41.5 / 43.5 / 45.3 / 45.13): Consequences of high/low CCW flow rates | 3.1 | A2 | 400008
87 | (400063) 063 (SF6 ED DC) DC ELECTRICAL DISTRIBUTION SYSTEM (G2.1.14) CONDUCT OF OPERATIONS: Knowledge of criteria or conditions that require plantwide announcements, such as pump starts, reactor trips, and mode changes (CFR: 41.10 / 43.5 / 45.12) | 3.1 | G | 400063
88 | (005A2.05) Ability to (a) predict the impacts of the following on the (SF4P RHR) RESIDUAL HEAT REMOVAL SYSTEM and (b) based on those predictions, use procedures to correct, control, or mitigate the consequences of those abnormal operations (CFR: 41.5 / 43.5 / 45.3 / 45.13): RHR heat exchanger malfunction | 3.5 | A2 | 400005
89 | (400076) 076 (SF4S SW) SERVICE WATER SYSTEM (G2.4.12) EMERGENCY PROCEDURES/PLAN: Knowledge of operating crew responsibilities during emergency and abnormal operations (CFR: 41.10 / 45.12) | 4.3 | G | 400076
90 | (004A2.20) Ability to (a) predict the impacts of the following on the (SF1; SF2 CVCS) CHEMICAL AND VOLUME CONTROL SYSTEM and (b) based on those predictions, use procedures to correct, control, or mitigate the consequences of those abnormal operations (CFR: 41.5 to 41.7 / 43.5 / 45.3 / 45.5): Shifting demineralizer while divert valve is lined up to VCT | 2.8 | A2 | 400004
91 | (400050) 050 (SF9 CRV*) CONTROL ROOM VENTILATION (G2.2.1) EQUIPMENT CONTROL: Ability to perform pre-startup procedures for the facility, including operating those controls associated with plant equipment that could affect reactivity (CFR: 41.5 / 41.10 / 43.5 / 43.6 / 45.1) | 4.4 | G | 400050
92 | (017A2.02) Ability to (a) predict the impacts of the following on the (SF7 ITM) IN CORE TEMPERATURE MONITOR SYSTEM and (b) based on those predictions, use procedures to correct, control, or mitigate the consequences of those abnormal operations (CFR: 41.5 / 43.5 / 45.3 / 45.5): Elevated in-core temperatures that can cause or have caused core damage | 4.2 | A2 | 400017
93 | (400055) 055 (SF4S CARS) CONDENSER AIR REMOVAL SYSTEM (G2.1.9) CONDUCT OF OPERATIONS: Ability to direct licensed personnel activities inside the control room (SRO Only) (CFR: 43.1 / 45.5 / 45.12 / 45.13) | 4.5 | G | 400055
94 | (G2.1.15) CONDUCT OF OPERATIONS: Knowledge of administrative requirements for temporary management direction, such as standing orders, night orders, or operations memoranda (CFR: 41.10 / 45.12) | 3.4 | G2.1 | G2.1
95 | (G2.1.30) CONDUCT OF OPERATIONS: Ability to locate and operate components, including local controls (CFR: 41.7 / 45.7) | 4 | G2.1 | G2.1
96 | (G2.2.23) EQUIPMENT CONTROL: Ability to track TS limiting conditions for operation (CFR: 41.10 / 43.2 / 45.13) | 4.6 | G2.2 | G2.2
97 | (G2.2.37) EQUIPMENT CONTROL: Ability to determine operability or availability of safety‑related equipment (SRO Only) (CFR: 43.2 / 43.5 / 45.12) | 4.6 | G2.2 | G2.2
98 | (G2.3.6) RADIATION CONTROL: Ability to approve liquid or gaseous release permits (CFR: 41.13 / 43.4 / 45.10) | 3.8 | G2.3 | G2.3
99 | (G2.4.32) EMERGENCY PROCEDURES/PLAN: Knowledge of operator response to loss of annunciators (CFR: 41.10 / 43.5 / 45.13) | 4 | G2.4 | G2.4
100 | (G2.4.29) EMERGENCY PROCEDURES/PLAN: Knowledge of the emergency plan implementing procedures (CFR: 41.10 / 43.5 / 45.11) | 4.4 | G2.4 | G2.4