## Sheet1
Question Number | Topic Title | Topic Importance | K/A Category | System
1 | (395002) 000008 (APE 8) Pressurizer Vapor Space Accident (G2.4.26) EMERGENCY PROCEDURES/PLAN: Knowledge of facility protection requirements, including fire brigade and portable firefighting equipment usage (CFR: 41.10 / 43.5 / 45.12) | 3.1 | G | 395002
2 | (027AA1.06) Ability to operate and/or monitor the following as they apply to (APE 27) PRESSURIZER PRESSURE Control System Malfunction (CFR: 41.7 / 45.5 / 45.6): Operable control channel | 3.6 | A1 | 395009
3 | (015AK2.14) Knowledge of the relationship between (APE 15) REACTOR COOLANT Pump Malfunctions and the following systems or components (CFR: 41.7 / 45.7): Thermal barrier valves | 3.4 | K2 | 395005
4 | (CE06EK3.09) Knowledge of the reasons for the following responses and/or actions as they apply to (CE E06) LOSS OF FEEDWATER (CFR: 41.5 / 41.10 / 45.6 / 45.13): Implement guidelines to prevent feed ring damage during feedwater restoration | 3.5 | K3 | 395013
5 | (022AK1.05) Knowledge of the operational implications and/or cause and effect relationships of the following concepts as they apply to (APE 22) LOSS OF REACTOR Coolant Makeup (CFR: 41.8 / 41.10 / 45.3 / 45.3): How long a PZR level can be maintained within limits | 3.5 | K1 | 395006
6 | (056AA2.44) Ability to determine and/or interpret the following as they apply to (APE 56) Loss of Offsite Power (CFR: 43.5 / 45.13): Indications of a LOOP | 4.1 | A2 | 395015
7 | (395007) 000025 (APE 25) Loss of Residual Heat Removal System (G2.4.34) EMERGENCY PROCEDURES/PLAN: Knowledge of RO responsibilities outside the main control room during an emergency (CFR: 41.10 / 43.5 / 45.13) | 4.2 | G | 395007
8 | (026AA1.05) Ability to operate and/or monitor the following as they apply to (APE 26) LOSS OF Component Cooling Water (CFR: 41.5 / 41.7 / 45.5 to 45.8): The CCWS surge tank, including level control, level alarms, and a radiation alarm | 3.5 | A1 | 395008
9 | (062AK2.07) Knowledge of the relationship between (APE 62) LOSS OF SERVICE WATER and the following systems or components (CFR: 41.7 / 45.7): EDG system | 4 | K2 | 395018
10 | (WE11EK3.11) Knowledge of the reasons for the following responses and/or actions as they apply to (W E11) LOSS OF EMERGENCY Coolant Recirculation (CFR: 41.5 / 41.10 / 45.6 / 45.13): Terminating SI flow or establishing the minimum to remove decay heat (reference potential) | 3.6 | K3 | 395022
11 | (055EK1.02) Knowledge of the operational implications and/or cause and effect relationships of the following concepts as they apply to (EPE 55) Station Blackout (CFR: 41.8 / 41.10 / 45.3): Natural circulation cooling | 4.3 | K1 | 395014
12 | (065AA2.12) Ability to determine and/or interpret the following as they apply to (APE 65) LOSS OF Instrument Air (CFR: 41.10 / 43.5 / 45.13): Implementation of TS and/or TRM as appropriate for loss of, or degraded, IAS | 3 | A2 | 395019
13 | (395010) 000029 (EPE 29) Anticipated Transient Without Scram (G2.2.12) EQUIPMENT CONTROL: Knowledge of surveillance procedures (CFR: 41.10 / 43.2 / 45.13) | 3.7 | G | 395010
14 | (057AA1.01) Ability to operate and/or monitor the following as they apply to (APE 57) LOSS OF VITAL AC ELECTRICALINSTRUMENT BUS (CFR: 41.7 / 45.5 / 45.6): Inverter transfer to backup power supply | 3.7 | A1 | 395016
15 | (CE02EK2.10) Knowledge of the relationship between (CE E02) STANDARD POST‑TRIP ACTIONS AND REACTOR TRIP RECOVERY and the following systems or components (CFR: 41.7 / 41.8 / 45.4 / 45.7 / 45.8): PZR LCS | 3.7 | K2 | 395001
16 | (058AK3.01) Knowledge of the reasons for the following responses and/or actions as they apply to (APE 58) LOSS OF DC Power (CFR: 41.5 / 41.10 / 45.6 / 45.13): Operation of the EDGs | 4 | K3 | 395017
17 | (009EK1.03) Knowledge of the operational implications and/or cause and effect relationships of the following concepts as they apply to (EPE 9) SMALL-Break LOCA (CFR: 41.8 / 41.10 / 45.3): RCS heat removal | 4 | K1 | 395003
18 | (WE04EA2.03) Ability to determine and/or interpret the following as they apply to (W E04) LOCA Outside Containment (CFR: 41.10 / 43.5 / 45.13): RCS pressure | 3.9 | A2 | 395021
19 | (395035) 000060 (APE 60) Accidental Gaseous Radwaste Release (G2.4.46) EMERGENCY PROCEDURES/PLAN: Ability to verify that the alarms are consistent with the plant conditions (CFR: 41.10 / 43.5 / 45.3 / 45.12) | 4.2 | G | 395035
20 | (067AA1.06) Ability to operate and/or monitor the following as they apply to (APE 67) PLANT Fire On Site (CFR: 41.7 / 45.5 / 45.6): Fire alarm | 3.3 | A1 | 395037
21 | (WE10EK2.16) Knowledge of the relationship between (W E10) NATURAL CIRCULATION WITH STEAM VOID IN VESSEL WITH/WITHOUT THE RVLIS and the following systems or components (CFR: 41.7 / 41.8 / 45.2 / 45.4): CVCS | 3.4 | K2 | 395054
22 | (WE14EK3.07) Knowledge of the reasons for the following responses and/or actions as they apply to (W E14) HIGH CONTAINMENT PRESSURE (CFR: 41.5 / 41.10 / 45.6 / 45.13): Tripping RCPs | 3.5 | K3 | 395039
23 | (033AK1.02) Knowledge of the operational implications and/or cause and effect relationships of the following concepts as they apply to (APE 33) LOSS OF INTERMEDIATE RANGE Nuclear Instrumentation (CFR: 41.8 / 41.10 / 45.3): Equivalency and/or overlap among source range, intermediate range, and p | 3.5 | K1 | 395030
24 | (028AA2.11) Ability to determine and/or interpret the following as they apply to (APE 28) PRESSURIZER (PZR) Level Control Malfunction (CFR: 43.5 / 45.13): Leak in PZR | 4 | A2 | 395028
25 | (395033) 000051 (APE 51) Loss of Condenser Vacuum (G2.4.35) EMERGENCY PROCEDURES/PLAN: Knowledge of nonlicensed operator responsibilities during an emergency (CFR: 41.10 / 43.1 / 43.5 / 45.13) | 3.8 | G | 395033
26 | (003AA1.09) Ability to operate and/or monitor the following as they apply to (APE 3) DROPPED Control Rod (CFR: 41.7 / 45.5 / 45.6): NIS | 3.8 | A1 | 395025
27 | (003K3.01) Knowledge of the effect that a loss or malfunction of the (SF4P RCP) REACTOR COOLANT PUMP SYSTEM will have on the following systems or system parameters (CFR: 41.7 / 45.6): RCS | 4.2 | K3 | 400003
28 | (078A2.01) Ability to (a) predict the impacts of the following on the (SF8 IAS) INSTRUMENT AIR SYSTEM and (b) based on those predictions, use procedures to correct, control, or mitigate the consequences of those abnormal operations (CFR: 41.5 / 43.5 / 45.3 / 45.13): Air dryer and filter malfunctions | 3.3 | A2 | 400078
29 | (062K6.03) Knowledge of the effect of the following plant conditions, system malfunctions, or component malfunctions on the (SF6 ED AC) AC ELECTRICAL DISTRIBUTION SYSTEM (CFR: 41.7 / 45.7): Control power | 3.6 | K6 | 400062
30 | (004K5.44) Knowledge of the operational implications or cause and effect relationships of the following concepts as they apply to the (SF1; SF2 CVCS) CHEMICAL AND VOLUME CONTROL SYSTEM (CFR: 41.5 / 45.7): Pressure response in PZR during in-and-out surge | 3.6 | K5 | 400004
31 | (076A3.05) Ability to monitor automatic features of the (SF4S SW) SERVICE WATER SYSTEM, including (CFR: 41.7 / 45.5): Automatic opening features associated with SWS isolation valves | 3.7 | A3 | 400076
32 | (022A4.04) Ability to manually operate and/or monitor the (SF5 CCS) CONTAINMENT COOLING SYSTEM in the control room (CFR: 41.7 / 45.5 to 45.8): Valves in the CCS | 3.5 | A4 | 400022
33 | (400039) 039 (SF4S MSS) MAIN AND REHEAT STEAM SYSTEM (G2.1.37) CONDUCT OF OPERATIONS: Knowledge of procedures, guidelines, or limitations associated with reactivity management (CFR: 41.1 / 41.5 / 41.10 / 43.6 / 45.6) | 4.3 | G | 400039
34 | (012K1.03) Knowledge of the physical connections and/or cause and effect relationships between the (SF7 RPS) REACTOR PROTECTION SYSTEM and the following systems (CFR: 41.2 to 41.9 / 45.7 / 45.8): CRDS | 4.1 | K1 | 400012
35 | (005A1.09) Ability to predict and/or monitor changes in parameters associated with operation of the (SF4P RHR) RESIDUAL HEAT REMOVAL SYSTEM, including (CFR: 41.5 / 45.5): RCS temperature | 3.9 | A1 | 400005
36 | (059K4.01) Knowledge of (SF4S MFW) MAIN FEEDWATER SYSTEM design features and/or interlocks that provide for the following (CFR: 41.7): MFW and startup feedwater valve combination | 3.2 | K4 | 400059
37 | (073K4.02) Knowledge of (SF7 PRM) PROCESS RADIATION MONITORING SYSTEM design features and/or interlocks that provide for the following (CFR: 41.7): System actuations based on PRM signals | 3.7 | K2 | 400073
38 | (010K3.02) Knowledge of the effect that a loss or malfunction of the (SF3 PZR PCS) PRESSURIZER PRESSURE CONTROL SYSTEM will have on the following systems or system parameters (CFR: 41.7 / 45.6): RPS | 4 | K3 | 400010
39 | (008A2.05) Ability to (a) predict the impacts of the following on the (SF8 CCW) COMPONENT COOLING WATER SYSTEM and (b) based on those predictions, use procedures to correct, control, or mitigate the consequences of those abnormal operations (CFR: 41.5 / 43.5 / 45.3 / 45.13): Effect of loss of instrument and control air on the position of air-operated CCW valves | 3.2 | A2 | 400008
40 | (007K6.10) Knowledge of the effect of the following plant conditions, system malfunctions, or component malfunctions on the (SF5 PRTS) PRESSURIZER RELIEF/QUENCH TANK SYSTEM (CFR: 41.7 / 45.7): LRS | 2.6 | K6 | 400007
41 | (103K5.01) Knowledge of the operational implications or cause and effect relationships of the following concepts as they apply to the (SF5 CNT) CONTAINMENT SYSTEM (CFR: 41.5 / 45.7): Containment isolation/containment integrity | 4.1 | K5 | 400103
42 | (064A3.05) Ability to monitor automatic features of the (SF6 EDG) EMERGENCY DIESEL GENERATOR SYSTEM, including (CFR: 41.7 / 45.5): Frequency and voltage control in parallel operation | 3.8 | A3 | 400064
43 | (026A4.05) Ability to manually operate and/or monitor the (SF5 CSS) CONTAINMENT SPRAY SYSTEM in the control room (CFR: 41.7 / 45.5 to 45.8): Containment spray actuation and/or reset switches | 4 | A4 | 400026
44 | (400013) 013 (SF2 ESFAS) ENGINEERED SAFETY FEATURES ACTUATION SYSTEM (191005K1.03) MOTORS AND GENERATORS (CFR: 41.7): Causes of excessive current in motors and generators, such as low voltage, overloading, and mechanical binding | 2.8 | C | 400013
45 | (061K1.07) Knowledge of the physical connections and/or cause and effect relationships between the (SF4S AFW) AUXILIARY/EMERGENCY FEEDWATER SYSTEM and the following systems (CFR: 41.2 to 41.8 / 45.7 / 45.8): Emergency water source | 4.2 | K1 | 400061
46 | (006A1.03) Ability to predict and/or monitor changes in parameters associated with operation of the (SF2; SF3 ECCS) EMERGENCY CORE COOLING SYSTEM, including (CFR: 41.5 / 45.3 to 45.5): Flow rates in RWST recirculation pumps | 2.8 | A1 | 400006
47 | (063K4.02) Knowledge of (SF6 ED DC) DC ELECTRICAL DISTRIBUTION SYSTEM design features and/or interlocks that provide for the following (CFR: 41.7): Breaker interlocks, permissives, bypasses, and cross‑ties | 3.5 | K4 | 400063
48 | (003K2.01) Knowledge of electrical power supplies to the following (CFR: 41.7): (SF4P RCP) REACTOR COOLANT PUMP SYSTEM RCPS | 3.7 | K2 | 400003
49 | (078K3.13) Knowledge of the effect that a loss or malfunction of the (SF8 IAS) INSTRUMENT AIR SYSTEM will have on the following systems or system parameters (CFR: 41.7 / 45.6): FHS | 2.6 | K3 | 400078
50 | (062A2.20) Ability to (a) predict the impacts of the following on the (SF6 ED AC) AC ELECTRICAL DISTRIBUTION SYSTEM and (b) based on those predictions, use procedures to correct, control, or mitigate the consequences of those abnormal operations (CFR: 41.5 / 43.5 / 45.3 / 45.13): Loss of offsite power sources | 3.8 | A2 | 400062
51 | (004K6.26) Knowledge of the effect of the following plant conditions, system malfunctions, or component malfunctions on the (SF1; SF2 CVCS) CHEMICAL AND VOLUME CONTROL SYSTEM (CFR: 41.5 to 41.7 / 45.7): Methods of pressure control of solid plant (relief valves and water inventory) | 3.9 | K6 | 400004
52 | (076K5.04) Knowledge of the operational implications or cause and effect relationships of the following concepts as they apply to the (SF4S SW) SERVICE WATER SYSTEM (CFR: 41.4 / 41.7 / 45.5): SWS intake screen high D/P | 3.1 | K5 | 400076
53 | (022A3.02) Ability to monitor automatic features of the (SF5 CCS) CONTAINMENT COOLING SYSTEM, including (CFR: 41.7 / 45.5): Containment coolers cooling water flow | 3.6 | A3 | 400022
54 | (039A4.05) Ability to manually operate and/or monitor the (SF4S MSS) MAIN AND REHEAT STEAM SYSTEM in the control room (CFR: 41.7 / 45.5 to 45.8): Moisture separator reheater startup | 2.6 | A4 | 400039
55 | (055K3.01) Knowledge of the effect that a loss or malfunction of the (SF4S CARS) CONDENSER AIR REMOVAL SYSTEM will have on the following systems or system parameters (CFR: 41.7 / 45.6): Main condenser | 3.8 | K3 | 400055
56 | (015A2.02) Ability to (a) predict the impacts of the following on the (SF7 NI) NUCLEAR INSTRUMENTATION SYSTEM and (b) based on those predictions, use procedures to correct, control, or mitigate the consequences of those abnormal operations (CFR: 41.5 / 43.5 / 45.3 / 45.5): Faulty or erratic operation of detectors or compensating components | 3.5 | A2 | 400015
57 | (002K6.12) Knowledge of the effect of the following plant conditions, system malfunctions, or component malfunctions on the (SF2; SF4P RCS) REACTOR COOLANT SYSTEM (CFR: 41.7 / 45.7): PZR system | 3.8 | K6 | 400002
58 | (014K5.03) Knowledge of the operational implications or cause and effect relationships of the following concepts as they apply to the (SF1 RPI) ROD POSITION INDICATION SYSTEM (CFR: 41.6 / 41.7 / 45.7): Differences in accuracy of reed switches and pulse counters | 2.9 | K5 | 400014
59 | (072A3.01) Ability to monitor automatic features of the (SF7 ARM) AREA RADIATION MONITORING SYSTEM, including (CFR: 41.7 / 45.8 / 45.9): Changes in system alignment | 3.3 | A3 | 400072
60 | (068A4.03) Ability to manually operate and/or monitor the (SF9 LRS) LIQUID RADWASTE SYSTEM in the control room (CFR: 41.7 / 45.8 / 45.9): Stoppage of release if limits exceeded | 3.5 | A4 | 400068
61 | (400075) 075 (SF8 CW) CIRCULATING WATER SYSTEM (G2.2.22) EQUIPMENT CONTROL: Knowledge of limiting conditions for operation and safety limits (CFR: 41.5 / 43.2 / 45.2) | 4 | G | 400075
62 | (056K1.22) Knowledge of the physical connections and/or cause and effect relationships between the (SF4S CDS) CONDENSATE SYSTEM and the following systems (CFR: 41.4 to 41.8 / 45.7 / 45.8): IAS | 2.6 | K1 | 400056
63 | (027A1.01) Ability to predict and/or monitor changes in parameters associated with operation of the (SF5 CIRS) CONTAINMENT IODINE REMOVAL SYSTEM, including (CFR: 41.5 / 45.5): Filter temperature | 2.5 | A1 | 400027
64 | (G2.1.2) CONDUCT OF OPERATIONS: Knowledge of operator responsibilities during any mode of plant operation (CFR: 41.10 / 43.1 / 45.13) | 4.1 | G2.1 | G2.1
65 | (G2.1.18) CONDUCT OF OPERATIONS: Ability to make accurate, clear, and concise logs, records, status boards, and reports (CFR: 41.10 / 45.12 / 45.13) | 3.6 | G2.1 | G2.1
66 | (G2.2.40) EQUIPMENT CONTROL: Ability to apply TS with action statements of less than or equal to 1 hour (CFR: 41.10 / 43.2 / 43.5 / 45.3) | 3.4 | G2.2 | G2.2
67 | (G2.2.38) EQUIPMENT CONTROL: Knowledge of conditions and limitations in the facility license (CFR: 41.7 / 41.10 / 43.1 / 45.13) | 3.6 | G2.2 | G2.2
68 | (G2.3.5) RADIATION CONTROL: Ability to use RMSs, such as fixed radiation monitors and alarms or personnel monitoring equipment (CFR: 41.11 / 41.12 / 43.4 / 45.9) | 2.9 | G2.3 | G2.3
69 | (G2.4.17) EMERGENCY PROCEDURES/PLAN: Knowledge of emergency and abnormal operating procedures terms and definitions (CFR: 41.10 / 45.13) | 3.9 | G2.4 | G2.4
70 | (192005K1.07) CONTROL RODS (CFR: 41.1): Describe the effect on the magnitude of control rod worth for a change in the following: -- moderator temperature | 2.8 | R | 192005
71 | (192001K1.02) NEUTRONS (CFR: 41.1): Define prompt and delayed neutrons | 2.5 | R | 192001
72 | (192008K1.10) REACTOR OPERATIONAL PHYSICS (CFR: 41.1): (CRITICALITY) Describe reactor power and startup rate response once criticality is reached | 3.4 | R | 192008
73 | (193001K1.01) THERMODYNAMIC UNITS AND PROPERTIES (CFR: 41.14): Convert between absolute and gauge pressure and vacuum scales | 2.7 | T | 193001
74 | (193008K1.04) THERMAL HYDRAULICS (CFR: 41.14): (DEPARTURE FROM NUCLEATE BOILING) Describe departure from nucleate boiling | 3.3 | T | 193008
75 | (193004K1.11) THERMODYNAMIC PROCESS (CFR: 41.14): (CONDENSERS) Describe the process of condensate depression (subcooling) and its effect on plant operation | 2.5 | T | 193004
76 | (WE05EA2.09) Ability to determine and/or interpret the following as they apply to (W E05) Loss of Secondary Heat Sink (CFR: 41.10 / 43.5 / 45.13): Instrument air header pressure | 3 | A2 | 395023
77 | (395004) 000011 (EPE 11) Large Break LOCA (G2.2.20) EQUIPMENT CONTROL: Knowledge of the process for managing troubleshooting activities (CFR: 41.10 / 43.5 / 45.13) | 3.8 | G | 395004
78 | (077AA2.09) Ability to determine and/or interpret the following as they apply to (APE 77) GENERATOR VOLTAGE AND ELECTRIC Grid Disturbances (CFR: 41.5 / 43.5 / 45.5 / 45.7 / 45.8): Status of EDGs | 3.9 | A2 | 395020
79 | (395012) 000040 (APE 40; BW E05; CE E05; W E12) Steam Line Rupture – Excessive Heat Transfer (G2.1.23) CONDUCT OF OPERATIONS: Ability to perform general and/or normal operating procedures during any plant condition (CFR: 41.10 / 43.5 / 45.2 / 45.6) | 4.4 | G | 395012
80 | (038EA2.07) Ability to determine and/or interpret the following as they apply to (EPE 38) STEAM GENERATOR Tube Rupture (CFR: 43.5 / 45.13): Plant conditions from survey of control room indications | 4 | A2 | 395011
81 | (395002) 000008 (APE 8) Pressurizer Vapor Space Accident (G2.1.28) CONDUCT OF OPERATIONS: Knowledge of the purpose and function of major system components and controls (CFR: 41.7) | 4.1 | G | 395002
82 | (WE07EA2.06) Ability to determine and/or interpret the following as they apply to (W E07) SATURATED CORE COOLING (CFR: 41.10 / 43.5 / 45.13): RCS vent path status | 3.7 | A2 | 395040
83 | (395029) 000032 (APE 32) Loss of Source Range Nuclear Instrumentation (G2.2.13) EQUIPMENT CONTROL: Knowledge of tagging and clearance procedures (CFR: 41.10 / 43.1 / 45.13) | 4.3 | G | 395029
84 | (WE13EA2.02) Ability to determine and/or interpret the following as they apply to (W E13) STEAM Generator Overpressure (CFR: 41.10 / 43.5 / 45.13): Adherence to appropriate procedures and operation within the limitations of the facility’s license and amendments | 3.9 | A2 | 395044
85 | (395042) 000078 (APE 78*) RCS Leak (G2.1.9) CONDUCT OF OPERATIONS: Ability to direct licensed personnel activities inside the control room (SRO Only) (CFR: 43.1 / 45.5 / 45.12 / 45.13) | 4.5 | G | 395042
86 | (012A2.03) Ability to (a) predict the impacts of the following on the (SF7 RPS) REACTOR PROTECTION SYSTEM and (b) based on those predictions, use procedures to correct, control, or mitigate the consequences of those abnormal operations (CFR: 41.5 / 43.5 / 45.3 / 45.5): Incorrect channel bypassing | 3.8 | A2 | 400012
87 | (400005) 005 (SF4P RHR) RESIDUAL HEAT REMOVAL SYSTEM (G2.1.14) CONDUCT OF OPERATIONS: Knowledge of criteria or conditions that require plantwide announcements, such as pump starts, reactor trips, and mode changes (CFR: 41.10 / 43.5 / 45.12) | 3.1 | G | 400005
88 | (059A2.06) Ability to (a) predict the impacts of the following on the (SF4S MFW) MAIN FEEDWATER SYSTEM and (b) based on those predictions, use procedures to correct, control, or mitigate the consequences of those abnormal operations (CFR: 41.5 / 43.5 / 45.3 / 45.13): Loss of steam flow to MFW system | 3.4 | A2 | 400059
89 | (400073) 073 (SF7 PRM) PROCESS RADIATION MONITORING SYSTEM (G2.1.17) CONDUCT OF OPERATIONS: Ability to make accurate, clear, and concise verbal reports (CFR: 41.10 / 45.12 / 45.13) | 4 | G | 400073
90 | (010A2.05) Ability to (a) predict the impacts of the following on the (SF3 PZR PCS) PRESSURIZER PRESSURE CONTROL SYSTEM and (b) based on those predictions, use procedures to correct, control, or mitigate the consequences of those abnormal operations (CFR: 41.5 / 43.5 / 45.3 / 45.13): Loss of RCP loop flow to normal spray valves | 3.4 | A2 | 400010
91 | (034K3.02) Knowledge of the effect that a loss or malfunction of the (SF8 FHS) FUEL HANDLING EQUIPMENT SYSTEM will have on the following systems or system parameters (CFR: 41.2 to 41.7 / 43.6 / 43.7 / 45.6 to 45.8): Spent fuel pool | 3.3 | K3 | 400034
92 | (028A2.03) Ability to (a) predict the impacts of the following on the (SF5 HRPS) HYDROGEN RECOMBINER AND PURGE CONTROL SYSTEM and (b) based on those predictions, use procedures to correct, control, or mitigate the consequences of those abnormal operations (CFR: 41.5 / 43.5 / 45.3 / 45.13): Hydrogen air concentration in excess of limit, flame propagation or detonation with resulting equipment damage in containment | 3 | A2 | 400028
93 | (400017) 017 (SF7 ITM) IN CORE TEMPERATURE MONITOR SYSTEM (G2.2.3) EQUIPMENT CONTROL: (Multi-unit license) Knowledge of the design, procedural, and/or operational differences between units (CFR: 41.5 / 41.6 / 41.7 / 41.10 / 45.12) | 3.9 | G | 400017
94 | (G2.1.38) CONDUCT OF OPERATIONS: Knowledge of the station’s requirements for verbal communications when implementing procedures (CFR: 41.10 / 45.13) | 3.8 | G2.1 | G2.1
95 | (G2.1.7) CONDUCT OF OPERATIONS: Ability to evaluate plant performance and make operational judgments based on operating characteristics, reactor behavior, and instrument interpretation (CFR: 41.5 / 43.5 / 45.12 / 45.13) | 4.7 | G2.1 | G2.1
96 | (G2.2.45) EQUIPMENT CONTROL: Ability to determine and/or interpret TS with action statements of greater than 1 hour (SRO Only) (CFR: 43.2 / 43.5 / 45.3) | 4.7 | G2.2 | G2.2
97 | (G2.2.17) EQUIPMENT CONTROL: Knowledge of the process for managing maintenance activities during power operations, such as risk assessments, work prioritization, and coordination with the transmission system operator (CFR: 41.10 / 43.5 / 45.13) | 3.8 | G2.2 | G2.2
98 | (G2.3.12) RADIATION CONTROL: Knowledge of radiological safety principles and procedures pertaining to licensed operator duties, such as response to radiation monitor alarms, containment entry requirements, fuel handling responsibilities, access to locked high-radiation areas, or alignment of filters (CFR: 41.12 / 43.4 / 45.9 / 45.10) | 3.7 | G2.3 | G2.3
99 | (G2.4.16) EMERGENCY PROCEDURES/PLAN: Knowledge of emergency and abnormal operating procedures implementation hierarchy and coordination with other support procedures or guidelines, such as operating procedures, abnormal operating procedures, or severe accident management guidelines (CFR: 41.10 / 43.5 / 45.13) | 4.4 | G2.4 | G2.4
100 | (G2.4.44) EMERGENCY PROCEDURES/PLAN: Knowledge of emergency plan implementing procedures protective action recommendations (SRO Only) (CFR: 41.10 / 41.12 / 43.5 / 45.11) | 4.4 | G2.4 | G2.4