## Sheet1
Question Number | Topic Title | Topic Importance | K/A Category | System
1 | (009EK1.03) Knowledge of the operational implications and/or cause and effect relationships of the following concepts as they apply to (EPE 9) SMALL-Break LOCA (CFR: 41.8 / 41.10 / 45.3): RCS heat removal | 4 | K1 | 395003
2 | (CE06EA1.12) Ability to operate and/or monitor the following as they apply to (CE E06) LOSS OF FEEDWATER (CFR: 41.7 / 45.5 / 45.6): MFW and AFW systems | 4 | A1 | 395013
3 | (395019) 000065 (APE 65) Loss of Instrument Air (G2.2.22) EQUIPMENT CONTROL: Knowledge of limiting conditions for operation and safety limits (CFR: 41.5 / 43.2 / 45.2) | 4 | G | 395019
4 | (022AA2.07) Ability to determine and/or interpret the following as they apply to (APE 22) LOSS OF REACTOR Coolant Makeup (CFR: / 43.5 / 45.13): VCT level | 3.8 | A2 | 395006
5 | (058AK3.01) Knowledge of the reasons for the following responses and/or actions as they apply to (APE 58) LOSS OF DC Power (CFR: 41.5 / 41.10 / 45.6 / 45.13): Operation of the EDGs | 4 | K3 | 395017
6 | (WE04EK2.03) Knowledge of the relationship between (W E04) LOCA Outside Containment and the following systems or components (CFR: 41.7 / 41.8 / 45.2 / 45.4): RCS | 3.8 | K2 | 395021
7 | (027AK1.01) Knowledge of the operational implications and/or cause and effect relationships of the following concepts as they apply to (APE 27) PRESSURIZER PRESSURE Control System Malfunction (CFR: 41.7 / 41.8 / 41.10 / 45.3): Saturation temperature | 3.4 | K1 | 395009
8 | (WE11EA1.15) Ability to operate and/or monitor the following as they apply to (W E11) LOSS OF EMERGENCY Coolant Recirculation (CFR: 41.5 to 41.8 / 45.5 to 45.8): CSS | 3.8 | A1 | 395022
9 | (395005) 000015 (APE 15) Reactor Coolant Pump Malfunctions (G2.4.39) EMERGENCY PROCEDURES/PLAN: Knowledge of RO responsibilities in emergency plan implementing procedures (CFR: 41.10 / 45.11) | 3.9 | G | 395005
10 | (056AA2.16) Ability to determine and/or interpret the following as they apply to (APE 56) Loss of Offsite Power (CFR: 43.5 / 45.13): Status of feedwater pump turbine emergency oil | 2.8 | A2 | 395015
11 | (011EK3.04) Knowledge of the reasons for the following responses and/or actions as they apply to (EPE 11) LARGE-Break LOCA (CFR: 41.5 / 41.10 / 45.6 / 45.13): Placing containment fan cooler and/or damper in accident position | 3.6 | K3 | 395004
12 | (077AK2.07) Knowledge of the relationship between (APE 77) GENERATOR VOLTAGE AND ELECTRIC Grid Disturbances and the following systems or components (CFR: 41.4 / 41.5 / 41.7 / 41.10 / 45.8): MT/G | 3.5 | K2 | 395020
13 | (BE05EK1.06) Knowledge of the operational implications and/or cause and effect relationships of the following concepts as they apply to (BW E05) Excessive Heat Transfer (CFR: 41.5 / 41.7 / 45.7 / 45.8): Primary inventory control | 3.8 | K1 | 395012
14 | (BE10EA1.04) Ability to operate and/or monitor the following as they apply to (BW E10) POST-TRIP STABILIZATION (CFR: 41.5 / 41.7 / 45.5 to 45.8): CRDS | 3.4 | A1 | 395001
15 | (395011) 000038 (EPE 38) Steam Generator Tube Rupture (G2.2.12) EQUIPMENT CONTROL: Knowledge of surveillance procedures (CFR: 41.10 / 43.2 / 45.13) | 3.7 | G | 395011
16 | (WE05EA2.13) Ability to determine and/or interpret the following as they apply to (W E05) Loss of Secondary Heat Sink (CFR: 41.10 / 43.5 / 45.13): RWST level | 3.1 | A2 | 395023
17 | (057AK3.01) Knowledge of the reasons for the following responses and/or actions as they apply to (APE 57) LOSS OF VITAL AC ELECTRICALINSTRUMENT BUS (CFR: 41.5 / 41.10 / 45.6 / 45.13): Actions contained in AOPs for the loss of a vital AC electrical instrument bus | 4.1 | K3 | 395016
18 | (025AK2.17) Knowledge of the relationship between (APE 25) LOSS OF RESIDUAL Heat Removal System and the following systems or components (CFR: 41.7 / 45.7): SGS | 3.2 | K2 | 395007
19 | (033AK1.02) Knowledge of the operational implications and/or cause and effect relationships of the following concepts as they apply to (APE 33) LOSS OF INTERMEDIATE RANGE Nuclear Instrumentation (CFR: 41.8 / 41.10 / 45.3): Equivalency and/or overlap among source range, intermediate range, and p | 3.5 | K1 | 395030
20 | (051AA1.01) Ability to operate and/or monitor the following as they apply to (APE 51) LOSS OF Condenser Vacuum (CFR: 41.7 / 45.5 / 45.6): Condenser vacuum pump | 3.1 | A1 | 395033
21 | (395040) 000074 (EPE 74; W E06 & E07) Inadequate Core Cooling (G2.2.35) EQUIPMENT CONTROL: Ability to determine TS for mode of operation (CFR: 41.7 / 41.10 / 43.2 / 45.13) | 3.6 | G | 395040
22 | (059AA2.08) Ability to determine and/or interpret the following as they apply to (APE 59) ACCIDENTAL LIQUID Radwaste Release (CFR: 43.5 / 45.13): Dilution flow rate in the effluent stream | 2.8 | A2 | 395034
23 | (BA08AK3.09) Knowledge of the reasons for the following responses and/or actions as they apply to (BW A08) REFUELING CANAL LEVEL DECREASE (CFR: 41.5 / 41.10 / 45.6 / 45.13): Secure fuel transfer system/carriage | 3.8 | K3 | 395031
24 | (WE03EK2.04) Knowledge of the relationship between (W E03) LOCA COOLDOWN AND Depressurization and the following systems or components (CFR: 41.7 / 41.8 / 45.2 / 45.4): EDGs | 3.5 | K2 | 395053
25 | (001AK1.08) Knowledge of the operational implications and/or cause and effect relationships of the following concepts as they apply to (APE 1) CONTINUOUS Rod Withdrawal (CFR: 41.8 / 41.10 / 45.3): S/G pressure | 3.3 | K1 | 395024
26 | (078AA1.10) Ability to operate and/or monitor the following as they apply to (APE 78) REACTOR COOLANT SYSTEM LEAK (CFR: 41.7 / 45.5 / 45.6): Containment isolation system | 4 | A1 | 395042
27 | (022A2.07) Ability to (a) predict the impacts of the following on the (SF5 CCS) CONTAINMENT COOLING SYSTEM and (b) based on those predictions, use procedures to correct, control, or mitigate the consequences of those abnormal operations (CFR: 41.5 / 43.5 / 45.3 / 45.13): ESFAS actuation | 4 | A2 | 400022
28 | (400063) 063 (SF6 ED DC) DC ELECTRICAL DISTRIBUTION SYSTEM (G2.1.46) CONDUCT OF OPERATIONS: Ability to use integrated control systems to operate plant systems or components (CFR: 41.10 / 45.12 / 45.13) | 4 | G | 400063
29 | (062K4.05) Knowledge of (SF6 ED AC) AC ELECTRICAL DISTRIBUTION SYSTEM design features and/or interlocks that provide for the following (CFR: 41.7): Paralleling of AC sources (synchroscope) | 3.6 | K4 | 400062
30 | (061K2.02) Knowledge of electrical power supplies to the following: (SF4S AFW) AUXILIARY/EMERGENCY FEEDWATER SYSTEM AFW (CFR: 41.7) electric-driven pumps | 4.1 | K2 | 400061
31 | (059A1.02) Ability to predict and/or monitor changes in parameters associated with operation of the (SF4S MFW) MAIN FEEDWATER SYSTEM, including (CFR: 41.5 / 45.5): MFW pump oil temperatures and MFW pump vibrations | 2.9 | A1 | 400059
32 | (005A3.01) Ability to monitor automatic features of the (SF4P RHR) RESIDUAL HEAT REMOVAL SYSTEM, including (CFR: 41.7 / 45.5): Automatic RHR suction swap-over | 4.1 | A3 | 400005
33 | (013K3.04) Knowledge of the effect that a loss or malfunction of the (SF2 ESFAS) ENGINEERED SAFETY FEATURES ACTUATION SYSTEM will have on the following systems or system parameters (CFR: 41.3 to 41.7 / 45.6): RCP | 3.5 | K3 | 400013
34 | (006K1.12) Knowledge of the physical connections and/or cause and effect relationships between the (SF2; SF3 ECCS) EMERGENCY CORE COOLING SYSTEM and the following systems (CFR: 41.2 to 41.8 / 45.3 / 45.7 / 45.8): Safety injection tanks | 3.8 | K1 | 400006
35 | (012A4.05) Ability to manually operate and/or monitor the (SF7 RPS) REACTOR PROTECTION SYSTEM in the control room (CFR: 41.7 / 45.5 to 45.8): Channel defeat controls | 3.8 | A4 | 400012
36 | (078K6.16) Knowledge of the effect of the following plant conditions, system malfunctions, or component malfunctions on the (SF8 IAS) INSTRUMENT AIR SYSTEM (CFR: 41.7 / 45.7): Low instrument air pressure | 3.4 | K6 | 400078
37 | (103K5.01) Knowledge of the operational implications or cause and effect relationships of the following concepts as they apply to the (SF5 CNT) CONTAINMENT SYSTEM (CFR: 41.5 / 45.7): Containment isolation/containment integrity | 4.1 | K5 | 400103
38 | (004A2.24) Ability to (a) predict the impacts of the following on the (SF1; SF2 CVCS) CHEMICAL AND VOLUME CONTROL SYSTEM and (b) based on those predictions, use procedures to correct, control, or mitigate the consequences of those abnormal operations (CFR: 41.5 to 41.7 / 43.5 / 45.3 / 45.5): Isolation of both letdown filters at one time: downstream relief lifts | 3.4 | A2 | 400004
39 | (400076) 076 (SF4S SW) SERVICE WATER SYSTEM (191002K1.24) SENSORS AND DETECTORS (CFR: 41.7): (RADIATION DETECTION) Theory and operation of failed-fuel detectors | 2.7 | C | 400076
40 | (010K4.03) Knowledge of (SF3 PZR PCS) PRESSURIZER PRESSURE CONTROL SYSTEM design features and/or interlocks that provide for the following (CFR: 41.7): Overpressure control | 3.9 | K4 | 400010
41 | (064K2.01) Knowledge of electrical power supplies to the following: (SF6 EDG) EMERGENCY DIESEL GENERATOR SYSTEM (CFR: 41.7) Starting air compressor | 3 | K2 | 400064
42 | (007A1.05) Ability to predict and/or monitor changes in parameters associated with operation of the (SF5 PRTS) PRESSURIZER RELIEF/QUENCH TANK SYSTEM, including (CFR: 41.5 / 45.5): Containment radiation levels | 3.2 | A1 | 400007
43 | (003A3.05) Ability to monitor automatic features of the (SF4P RCP) REACTOR COOLANT PUMP SYSTEM, including (CFR: 41.7 / 45.7): RCP lube oil and bearing lift pumps | 3 | A3 | 400003
44 | (073K3.04) Knowledge of the effect that a loss or malfunction of the (SF7 PRM) PROCESS RADIATION MONITORING SYSTEM will have on the following systems or system parameters (CFR: 41.7 / 41.8 / 45.6 / 45.8 / 45.9): LRS | 3.4 | K3 | 400073
45 | (039K1.04) Knowledge of the physical connections and/or cause and effect relationships between the (SF4S MSS) MAIN AND REHEAT STEAM SYSTEM and the following systems (CFR: 41.2 to 41.9 / 45.7 / 45.8): RCS | 3.8 | K1 | 400039
46 | (026A4.01) Ability to manually operate and/or monitor the (SF5 CSS) CONTAINMENT SPRAY SYSTEM in the control room (CFR: 41.7 / 45.5 to 45.8): CSS controls | 3.9 | A4 | 400026
47 | (008K6.09) Knowledge of the effect of the following plant conditions, system malfunctions, or component malfunctions on the (SF8 CCW) COMPONENT COOLING WATER SYSTEM (CFR: 41.7 / 45.7): SWS | 3.8 | K6 | 400008
48 | (022K5.02) Knowledge of the operational implications or cause and effect relationships of the following concepts as they apply to the (SF5 CCS) CONTAINMENT COOLING SYSTEM (CFR: 41.5 / 45.7): Shift in fan speed related to postaccident conditions | 3.6 | K5 | 400022
49 | (063A2.03) Ability to (a) predict the impacts of the following on the (SF6 ED DC) DC ELECTRICAL DISTRIBUTION SYSTEM and (b) based on those predictions, use procedures to correct, control, or mitigate the consequences of those abnormal operations (CFR: 41.5 / 43.5 / 45.3 / 45.13): Malfunction of battery chargers | 3.9 | A2 | 400063
50 | (400062) 062 (SF6 ED AC) AC ELECTRICAL DISTRIBUTION SYSTEM (G2.4.30) EMERGENCY PROCEDURES/PLAN: Knowledge of events related to system operation/status that must be reported to internal organizations or external agencies, such as the State, the NRC, or the transmission system operator (CFR: 41.10 / 43.5 / 45.11) | 2.7 | G | 400062
51 | (061K4.03) Knowledge of (SF4S AFW) AUXILIARY/EMERGENCY FEEDWATER SYSTEM design features and/or interlocks that provide for the following (CFR: 41.7): Automatic blowdown/sample isolation | 3.2 | K4 | 400061
52 | (059K2.01) Knowledge of electrical power supplies to the following: (SF4S MFW) MAIN FEEDWATER SYSTEM (CFR: 41.7) MFW system pumps | 3.2 | K2 | 400059
53 | (005A1.03) Ability to predict and/or monitor changes in parameters associated with operation of the (SF4P RHR) RESIDUAL HEAT REMOVAL SYSTEM, including (CFR: 41.5 / 45.5): CCWS flow rate and temperature | 3.3 | A1 | 400005
54 | (013A3.01) Ability to monitor automatic features of the (SF2 ESFAS) ENGINEERED SAFETY FEATURES ACTUATION SYSTEM, including (CFR: 41.6 to 41.8 / 45.5): Input channels and logic | 3.7 | A3 | 400013
55 | (011A2.06) Ability to (a) predict the impacts of the following on the (SF2 PZR LCS) PRESSURIZER LEVEL CONTROL SYSTEM and (b) based on those predictions, use procedures to correct, control, or mitigate the consequences of those abnormal operations (CFR: 41.5 / 43.5 / 45.3 / 45.13): Inadvertent PZR spray actuation | 4.3 | A2 | 400011
56 | (400075) 075 (SF8 CW) CIRCULATING WATER SYSTEM (191007K1.09) DEMINERALIZERS AND ION EXCHANGERS (CFR: 41.3): Reasons for bypassing demineralizers | 2.7 | C | 400075
57 | (034K4.01) Knowledge of (SF8 FHS) FUEL HANDLING EQUIPMENT SYSTEM design features and/or interlocks that provide for the following (CFR: 41.6 / 41.7 / 43.7 / 45.8): Fuel protection from binding and dropping | 3.1 | K4 | 400034
58 | (027A4.01) Ability to manually operate and/or monitor the (SF5 CIRS) CONTAINMENT IODINE REMOVAL SYSTEM in the control room (CFR: 41.7 / 45.5 to 45.8): CIRS controls | 2.8 | K2 | 400027
59 | (015A1.03) Ability to predict and/or monitor changes in parameters associated with operation of the (SF7 NI) NUCLEAR INSTRUMENTATION SYSTEM, including (CFR: 41.5 / 45.5): NIS power indication | 4 | A1 | 400015
60 | (035A3.05) Ability to monitor automatic features of the (SF4P SG) STEAM GENERATOR SYSTEM, including (CFR: 41.7 / 45.5): Automatic S/GB system and sample line isolation | 3.1 | A3 | 400035
61 | (055K3.01) Knowledge of the effect that a loss or malfunction of the (SF4S CARS) CONDENSER AIR REMOVAL SYSTEM will have on the following systems or system parameters (CFR: 41.7 / 45.6): Main condenser | 3.8 | K3 | 400055
62 | (002K1.18) Knowledge of the physical connections and/or cause and effect relationships between the (SF2; SF4P RCS) REACTOR COOLANT SYSTEM and the following systems (CFR: 41.2 to 41.8 / 45.7 / 45.8): RHRS | 4.1 | K1 | 400002
63 | (050A4.02) Ability to manually operate and/or monitor the (SF9 CRV) CONTROL ROOM VENTILATION in the control room (CFR: 41.7 / 45.5 to 45.8): Fans | 3.3 | A4 | 400050
64 | (G2.1.28) CONDUCT OF OPERATIONS: Knowledge of the purpose and function of major system components and controls (CFR: 41.7) | 4.1 | G2.1 | G2.1
65 | (G2.1.43) CONDUCT OF OPERATIONS: Ability to use an online power distribution monitoring system and/or procedures to determine the effects on reactivity of plant changes, such as RCS temperature, secondary plant, or fuel depletion | 4.1 | G2.1 | G2.1
66 | (G2.2.14) EQUIPMENT CONTROL: Knowledge of the process for controlling equipment configuration or status (CFR: 41.10 / 43.3 / 45.13) | 3.9 | G2.2 | G2.2
67 | (G2.2.36) EQUIPMENT CONTROL: Ability to analyze the effect of maintenance activities, such as degraded power sources, on the status of limiting conditions for operation (CFR: 41.10 / 43.2 / 45.13) | 3.1 | G2.2 | G2.2
68 | (G2.3.5) RADIATION CONTROL: Ability to use RMSs, such as fixed radiation monitors and alarms or personnel monitoring equipment (CFR: 41.11 / 41.12 / 43.4 / 45.9) | 2.9 | G2.3 | G2.3
69 | (G2.4.19) EMERGENCY PROCEDURES/PLAN: Knowledge of emergency and abnormal operating procedures layout, symbols, and icons (CFR: 41.10 / 45.13) | 3.4 | G2.4 | G2.4
70 | (192001K1.02) NEUTRONS (CFR: 41.1): Define prompt and delayed neutrons | 2.5 | R | 192001
71 | (192002K1.13) NEUTRON LIFE CYCLE (CFR: 41.1): Calculate SDM using procedures and given plant parameters | 3.7 | R | 192002
72 | (192005K1.16) CONTROL RODS (CFR: 41.1): Explain the effects of full and/or part length rods on delta I (flux distribution) | 3.5 | R | 192005
73 | (193001K1.01) THERMODYNAMIC UNITS AND PROPERTIES (CFR: 41.14): Convert between absolute and gauge pressure and vacuum scales | 2.7 | T | 193001
74 | (193004K1.15) THERMODYNAMIC PROCESS (CFR: 41.14): (THROTTLING AND THE THROTTLING PROCESS) Determine the exit conditions for a throttling process based on the use of steam and/or water | 2.8 | T | 193004
75 | (193008K1.02) THERMAL HYDRAULICS (CFR: 41.14): (DEPARTURE FROM NUCLEATE BOILING) Describe the means by which boiling affects convection heat transfer | 3 | T | 193008
76 | (395008) 000026 (APE 26) Loss of Component Cooling Water (G2.4.23) EMERGENCY PROCEDURES/PLAN: Knowledge of the bases for prioritizing emergency operating procedures implementation (CFR: 41.10 / 43.5 / 45.13) | 4.4 | G | 395008
77 | (029EA2.12) Ability to determine and/or interpret the following as they apply to (EPE 29) ANTICIPATED TRANSIENT WITHOUT SCRAM (ATWS) (CFR: 43.5 / 45.13): AFW flow | 4 | A2 | 395010
78 | (395002) 000008 (APE 8) Pressurizer Vapor Space Accident (G2.4.17) EMERGENCY PROCEDURES/PLAN: Knowledge of emergency and abnormal operating procedures terms and definitions (CFR: 41.10 / 45.13) | 4.3 | G | 395002
79 | (062AA2.06) Ability to determine and/or interpret the following as they apply to (APE 62) LOSS OF SERVICE WATER (CFR: 43.5 / 45.13): The length of time after the loss of SWS flow to a component before that component may be damaged | 3.2 | A2 | 395018
80 | (395014) 000055 (EPE 55) Station Blackout (G2.4.29) EMERGENCY PROCEDURES/PLAN: Knowledge of the emergency plan implementing procedures (CFR: 41.10 / 43.5 / 45.11) | 4.4 | G | 395014
81 | (009EA2.20) Ability to determine and/or interpret the following as they apply to (EPE 9) SMALL-Break LOCA (CFR: 43.5 / 45.13): Containment vent damper position indicator | 3.1 | A2 | 395003
82 | (395045) (W E15) Containment Flooding (G2.1.30) CONDUCT OF OPERATIONS: Ability to locate and operate components, including local controls (CFR: 41.7 / 45.7) | 4 | G | 395045
83 | (037AA2.14) Ability to determine and/or interpret the following as they apply to (APE 37) STEAM Generator Tube Leak (CFR: 41.7 / 41.10 / 43.5 / 45.13): Actions to be taken if S/G goes solid and water enters steamlines | 3.8 | A2 | 395032
84 | (395038) 000068 (APE 68; BW A06) Control Room Evacuation (G2.4.46) EMERGENCY PROCEDURES/PLAN: Ability to verify that the alarms are consistent with the plant conditions (CFR: 41.10 / 43.5 / 45.3 / 45.12) | 4.2 | G | 395038
85 | (024AA2.05) Ability to determine and/or interpret the following as they apply to (APE 24) EMERGENCY Boration (CFR: 43.5 / 45.13): Amount of boron to add to achieve required SDM | 3.9 | A2 | 395027
86 | (400006) 006 (SF2; SF3 ECCS) EMERGENCY CORE COOLING SYSTEM (G2.2.20) EQUIPMENT CONTROL: Knowledge of the process for managing troubleshooting activities (CFR: 41.10 / 43.5 / 45.13) | 3.8 | G | 400006
87 | (012A2.05) Ability to (a) predict the impacts of the following on the (SF7 RPS) REACTOR PROTECTION SYSTEM and (b) based on those predictions, use procedures to correct, control, or mitigate the consequences of those abnormal operations (CFR: 41.5 / 43.5 / 45.3 / 45.5): Faulty or erratic operation of detectors and function generators | 3.4 | A2 | 400012
88 | (400078) 078 (SF8 IAS) INSTRUMENT AIR SYSTEM (G2.3.6) RADIATION CONTROL: Ability to approve liquid or gaseous release permits (CFR: 41.13 / 43.4 / 45.10) | 3.8 | G | 400078
89 | (103A2.06) Ability to (a) predict the impacts of the following on the (SF5 CNT) CONTAINMENT SYSTEM and (b) based on those predictions, use procedures to correct, control, or mitigate the consequences of those abnormal operations (CFR: 41.5 / 43.5 / 45.3 / 45.13): High containment pressure | 4.1 | A2 | 400103
90 | (400004) 004 (SF1; SF2 CVCS) CHEMICAL AND VOLUME CONTROL SYSTEM (G2.2.23) EQUIPMENT CONTROL: Ability to track TS limiting conditions for operation (CFR: 41.10 / 43.2 / 45.13) | 4.6 | G | 400004
91 | (045A2.04) Ability to (a) predict the impacts of the following on the (SF4S MTG) MAIN TURBINE GENERATOR SYSTEM and (b) based on those predictions, use procedures to correct, control, or mitigate the consequences of those abnormal operations (CFR: 41.5 / 43.5 / 45.3 / 45.5): Improperly operating steam and turbine drains | 2.8 | A2 | 400045
92 | (400086) 086 (SF8 FPS) FIRE PROTECTION SYSTEM (G2.2.37) EQUIPMENT CONTROL: Ability to determine operability or availability of safety‑related equipment (SRO Only) (CFR: 43.2 / 43.5 / 45.12) | 4.6 | G | 400086
93 | (041A2.02) Ability to (a) predict the impacts of the following on the (SF4S SDS) STEAM DUMP/TURBINE BYPASS CONTROL SYSTEM and (b) based on those predictions, use procedures to correct, control, or mitigate the consequences of those abnormal operations (CFR: 41.5 / 43.5 / 45.3 / 45.13): Steam valve stuck open | 3.8 | A2 | 400041
94 | (G2.1.2) CONDUCT OF OPERATIONS: Knowledge of operator responsibilities during any mode of plant operation (CFR: 41.10 / 43.1 / 45.13) | 4.4 | G2.1 | G2.1
95 | (G2.1.8) CONDUCT OF OPERATIONS: Ability to coordinate personnel activities outside the control room (CFR: 41.10 / 43.1 / 45.5 / 45.12 / 45.13) | 4.1 | G2.1 | G2.1
96 | (G2.2.7) EQUIPMENT CONTROL: Knowledge of the process for conducting infrequently performed tests or evolutions (CFR: 41.10 / 43.3 / 45.13) | 3.6 | G2.2 | G2.2
97 | (G2.2.38) EQUIPMENT CONTROL: Knowledge of conditions and limitations in the facility license (CFR: 41.7 / 41.10 / 43.1 / 45.13) | 4.5 | G2.2 | G2.2
98 | (G2.3.12) RADIATION CONTROL: Knowledge of radiological safety principles and procedures pertaining to licensed operator duties, such as response to radiation monitor alarms, containment entry requirements, fuel handling responsibilities, access to locked high-radiation areas, or alignment of filters (CFR: 41.12 / 43.4 / 45.9 / 45.10) | 3.7 | G2.3 | G2.3
99 | (G2.4.47) EMERGENCY PROCEDURES/PLAN: Ability to diagnose and recognize trends in an accurate and timely manner using the appropriate control room reference material (reference potential) (CFR: 41.10 / 43.5 / 45.12) | 4.2 | G2.4 | G2.4
100 | (G2.4.6) EMERGENCY PROCEDURES/PLAN: Knowledge of emergency and abnormal operating procedures major action categories (CFR: 41.10 / 43.5 / 45.13) | 4.7 | G2.4 | G2.4