## Sheet1
Question Number | Topic Title | Topic Importance | K/A Category | System
1 | (WE11EA2.08) Ability to determine and/or interpret the following as they apply to (W E11) LOSS OF EMERGENCY Coolant Recirculation (CFR: 41.10 / 43.5 / 45.13): Containment sump level | 4 | A2 | 395022
2 | (055EK2.10) Knowledge of the relationship between (EPE 55) Station Blackout and the following systems or components (CFR: 41.7 / 45.7): DC distribution system | 4 | K2 | 395014
3 | (029EK3.10) Knowledge of the reasons for the following responses and/or actions as they apply to (EPE 29) ANTICIPATED TRANSIENT WITHOUT SCRAM (ATWS) (CFR: 41.5 / 41.10 / 45.6 / 45.13): Manual rod insertion | 4.1 | K3 | 395010
4 | (395002) 000008 (APE 8) Pressurizer Vapor Space Accident (G2.2.13) EQUIPMENT CONTROL: Knowledge of tagging and clearance procedures (CFR: 41.10 / 43.1 / 45.13) | 4.1 | G | 395002
5 | (022AA1.05) Ability to operate and/or monitor the following as they apply to (APE 22) LOSS OF REACTOR Coolant Makeup (CFR: 41.7 / 45.5 / 45.6): RCP seal backpressure regulator valves | 3.3 | A1 | 395006
6 | (015AK1.01) Knowledge of the operational implications and/or cause and effect relationships of the following concepts as they apply to (APE 15) REACTOR COOLANT Pump Malfunctions (CFR: 41.8 / 41.10 / 45.3): Natural circulation | 3.9 | K1 | 395005
7 | (062AA2.04) Ability to determine and/or interpret the following as they apply to (APE 62) LOSS OF SERVICE WATER (CFR: 43.5 / 45.13): The normal values and upper limits for the temperatures of the components cooled by SWS | 3 | A2 | 395018
8 | (027AK2.06) Knowledge of the relationship between (APE 27) PRESSURIZER PRESSURE Control System Malfunction and the following systems or components (CFR: 41.7 / 45.7): RCS | 3.8 | K2 | 395009
9 | (CE06EK3.11) Knowledge of the reasons for the following responses and/or actions as they apply to (CE E06) LOSS OF FEEDWATER (CFR: 41.5 / 41.10 / 45.6 / 45.13): Maintain RCS within postaccident pressure-temperature limits | 3.5 | K3 | 395013
10 | (395020) 000077 (APE 77) Generator Voltage and Electric Grid Disturbances (G2.4.31) EMERGENCY PROCEDURES/PLAN: Knowledge of annunciator alarms, indications, or response procedures (CFR: 41.10 / 45.3) | 4.2 | G | 395020
11 | (025AA1.25) Ability to operate and/or monitor the following as they apply to (APE 25) LOSS OF RESIDUAL Heat Removal System (CFR: 41.7 / 45.5 / 45.6): PRM | 2.9 | A1 | 395007
12 | (057AK1.01) Knowledge of the operational implications and/or cause and effect relationships of the following concepts as they apply to (APE 57) LOSS OF VITAL AC ELECTRICALINSTRUMENT BUS (CFR: 41.8 / 41.10 / 45.3): Effect of a loss of power to instruments powered by a vital instrument bus on pla | 4.3 | K1 | 395016
13 | (038EA2.25) Ability to determine and/or interpret the following as they apply to (EPE 38) STEAM GENERATOR Tube Rupture (CFR: 43.5 / 45.13): PRT/quench tank temperature, pressure, and setpoints | 2.8 | A2 | 395011
14 | (WE05EK2.08) Knowledge of the relationship between (W E05) Loss of Secondary Heat Sink and the following systems or components (CFR: 41.7 / 41.8 / 45.2 / 45.4): PZR PCS | 3.4 | K2 | 395023
15 | (BE02EK3.15) Knowledge of the reasons for the following responses and/or actions as they apply to (BW E02) VITAL SYSTEM STATUS VERIFICATION (CFR: 41.5 / 41.10 / 45.6 / 45.13): Check for proper ICS response | 3.3 | K3 | 395001
16 | (395019) 000065 (APE 65) Loss of Instrument Air (G2.1.32) CONDUCT OF OPERATIONS: Ability to explain and apply system precautions, limitations, notes, or cautions (CFR: 41.10 / 43.2 / 45.12) | 3.8 | G | 395019
17 | (026AA1.05) Ability to operate and/or monitor the following as they apply to (APE 26) LOSS OF Component Cooling Water (CFR: 41.5 / 41.7 / 45.5 to 45.8): The CCWS surge tank, including level control, level alarms, and a radiation alarm | 3.5 | A1 | 395008
18 | (009EK1.01) Knowledge of the operational implications and/or cause and effect relationships of the following concepts as they apply to (EPE 9) SMALL-Break LOCA (CFR: 41.8 / 41.10 / 45.3): Natural circulation and cooling, including reflux boiling | 3.8 | K1 | 395003
19 | (003AA2.09) Ability to determine and/or interpret the following as they apply to (APE 3) DROPPED Control Rod (CFR: 43.5 / 45.13): Reactor power | 3.8 | A2 | 395025
20 | (WE10EK2.06) Knowledge of the relationship between (W E10) NATURAL CIRCULATION WITH STEAM VOID IN VESSEL WITH/WITHOUT THE RVLIS and the following systems or components (CFR: 41.7 / 41.8 / 45.2 / 45.4): SDS | 3.3 | K2 | 395054
21 | (037AK3.06) Knowledge of the reasons for the following responses and/or actions as they apply to (APE 37) STEAM Generator Tube Leak (CFR: 41.5 / 41.7 / 41.10 / 45.6 / 45.13): Procedures to preclude or minimize S/G tube rupture | 3.9 | K3 | 395032
22 | (395040) 000074 (EPE 74; W E06 & E07) Inadequate Core Cooling (G2.2.4) EQUIPMENT CONTROL: (Multi-unit license) Ability to explain the variations in control room layouts, systems, instrumentation, and/or procedural actions between units at a facility (CFR: 41.6 / 41.7 / 41.10 / 45.1 / 45.13) | 3.6 | G | 395040
23 | (WE14EA1.07) Ability to operate and/or monitor the following as they apply to (W E14) HIGH CONTAINMENT PRESSURE (CFR: 41.5 to 41.8 / 45.5 to 45.8): CNT | 4.2 | A1 | 395039
24 | (WE15EK1.04) Knowledge of the operational implications and/or cause and effect relationships of the following concepts as they apply to (W E15) Containment Flooding (CFR: 41.5 / 41.7 / 45.7 / 45.8): Design‑basis flood level in containment | 3.1 | K1 | 395045
25 | (WE16EA2.02) Ability to determine and/or interpret the following as they apply to (W E16) HIGH Containment Radiation (CFR: 41.10 / 43.5 / 45.13): Adherence to appropriate procedures and operation within the limitations of the facility’s license and amendments | 3.3 | A2 | 395046
26 | (033AK2.01) Knowledge of the relationship between (APE 33) LOSS OF INTERMEDIATE RANGE Nuclear Instrumentation and the following systems or components (CFR: 41.7 / 45.7): Power supplies | 3.1 | K2 | 395030
27 | (005K2.01) Knowledge of electrical power supplies to the following (CFR: 41.7): (SF4P RHR) RESIDUAL HEAT REMOVAL SYSTEM RHR pumps | 4.1 | K2 | 400005
28 | (007K1.02) Knowledge of the physical connections and/or cause and effect relationships between the (SF5 PRTS) PRESSURIZER RELIEF/QUENCH TANK SYSTEM and the following systems (CFR: 41.2 to 41.9 / 45.7 / 45.8): WGS | 2.7 | K1 | 400007
29 | (103A4.09) Ability to manually operate and/or monitor the (SF5 CNT) CONTAINMENT SYSTEM in the control room (CFR: 41.7 / 45.5 to 45.8): Containment vacuum system | 3 | A4 | 400103
30 | (062A3.10) Ability to monitor automatic features of the (SF6 ED AC) AC ELECTRICAL DISTRIBUTION SYSTEM, including (CFR: 41.7 / 45.5): Automatic transfer from auxiliary to reserve transformer | 3.3 | A3 | 400062
31 | (039A1.06) Ability to predict and/or monitor changes in parameters associated with operation of the (SF4S MSS) MAIN AND REHEAT STEAM SYSTEM, including (CFR: 41.5 / 45.5): Main steam pressure | 3.7 | A1 | 400039
32 | (008A2.01) Ability to (a) predict the impacts of the following on the (SF8 CCW) COMPONENT COOLING WATER SYSTEM and (b) based on those predictions, use procedures to correct, control, or mitigate the consequences of those abnormal operations (CFR: 41.5 / 43.5 / 45.3 / 45.13): Loss of CCW pump | 4.3 | A2 | 400008
33 | (073K6.01) Knowledge of the effect of the following plant conditions, system malfunctions, or component malfunctions on the (SF7 PRM) PROCESS RADIATION MONITORING SYSTEM (CFR: 41.7 / 8-9): PRM component failures | 3.2 | K6 | 400073
34 | (400006) 006 (SF2; SF3 ECCS) EMERGENCY CORE COOLING SYSTEM (G2.1.40) CONDUCT OF OPERATIONS: Knowledge of refueling administrative requirements (CFR: 41.10 / 43.5 / 43.6 / 45.13) | 2.8 | G | 400006
35 | (063K4.02) Knowledge of (SF6 ED DC) DC ELECTRICAL DISTRIBUTION SYSTEM design features and/or interlocks that provide for the following (CFR: 41.7): Breaker interlocks, permissives, bypasses, and cross‑ties | 3.5 | K4 | 400063
36 | (004K5.25) Knowledge of the operational implications or cause and effect relationships of the following concepts as they apply to the (SF1; SF2 CVCS) CHEMICAL AND VOLUME CONTROL SYSTEM (CFR: 41.5 / 45.7): Channeling of ion exchanger | 2.7 | K5 | 400004
37 | (059K3.03) Knowledge of the effect that a loss or malfunction of the (SF4S MFW) MAIN FEEDWATER SYSTEM will have on the following systems or system parameters (CFR: 41.7 / 45.6): S/Gs | 3.8 | K3 | 400059
38 | (022K2.02) Knowledge of electrical power supplies to the following (CFR: 41.7): (SF5 CCS) CONTAINMENT COOLING SYSTEM Chillers | 2.8 | K2 | 400022
39 | (013K1.07) Knowledge of the physical connections and/or cause and effect relationships between the (SF2 ESFAS) ENGINEERED SAFETY FEATURES ACTUATION SYSTEM and the following systems (CFR: 41.2 to 41.9 / 45.7 / 45.8): AFW | 4.1 | K1 | 400013
40 | (012A4.06) Ability to manually operate and/or monitor the (SF7 RPS) REACTOR PROTECTION SYSTEM in the control room (CFR: 41.7 / 45.5 to 45.8): Reactor trip breakers | 4.2 | A4 | 400012
41 | (061A3.01) Ability to monitor automatic features of the (SF4S AFW) AUXILIARY/EMERGENCY FEEDWATER SYSTEM, including (CFR: 41.7 / 45.7): AFW system automatic start | 4.2 | A3 | 400061
42 | (026A1.01) Ability to predict and/or monitor changes in parameters associated with operation of the (SF5 CSS) CONTAINMENT SPRAY SYSTEM, including (CFR: 41.5 / 45.5): Containment pressure | 4 | A1 | 400026
43 | (076A2.06) Ability to (a) predict the impacts of the following on the (SF4S SW) SERVICE WATER SYSTEM and (b) based on those predictions, use procedures to correct, control, or mitigate the consequences of those abnormal operations (CFR: 41.1 / 41.5 / 43.5 / 45.3 / 45.6 / 45.13): Controller and positioner failure | 3.3 | A2 | 400076
44 | (064K6.11) Knowledge of the effect of the following plant conditions, system malfunctions, or component malfunctions on the (SF6 EDG) EMERGENCY DIESEL GENERATOR SYSTEM (CFR: 41.7 / 45.7): DC distribution system | 3.9 | K6 | 400064
45 | (400003) 003 (SF4P RCP) REACTOR COOLANT PUMP SYSTEM (191004K1.06) PUMPS (CFR: 41.3): (CENTRIFUGAL) Need for NPSH; effects of loss of suction | 3.3 | C | 400003
46 | (078K4.05) Knowledge of (SF8 IAS) INSTRUMENT AIR SYSTEM design features and/or interlocks that provide for the following (CFR: 41.7): Isolation of instrument air to containment | 3.2 | K4 | 400078
47 | (010K5.05) Knowledge of the operational implications or cause and effect relationships of the following concepts as they apply to the (SF3 PZR PCS) PRESSURIZER PRESSURE CONTROL SYSTEM (CFR: 41.5 / 45.7): RCS heatup and cooldown effect on pressure | 3.7 | K5 | 400010
48 | (005K3.01) Knowledge of the effect that a loss or malfunction of the (SF4P RHR) RESIDUAL HEAT REMOVAL SYSTEM will have on the following systems or system parameters (CFR: 41.7 / 45.6): RCS | 4.5 | K3 | 400005
49 | (007A1.04) Ability to predict and/or monitor changes in parameters associated with operation of the (SF5 PRTS) PRESSURIZER RELIEF/QUENCH TANK SYSTEM, including (CFR: 41.5 / 45.5): PZR tail pipe temperatures | 3.9 | K2 | 400007
50 | (103K1.14) Knowledge of the physical connections and/or cause and effect relationships between the (SF5 CNT) CONTAINMENT SYSTEM and the following systems (CFR: 41.9 / 45.7 / 45.8): MRSS | 3.2 | K1 | 400103
51 | (062A4.01) Ability to manually operate and/or monitor the (SF6 ED AC) AC ELECTRICAL DISTRIBUTION SYSTEM in the control room (CFR: 41.7 / 45.5 to 45.8): All breakers (including available switchyard) | 3.5 | A4 | 400062
52 | (039A3.01) Ability to monitor automatic features of the (SF4S MSS) MAIN AND REHEAT STEAM SYSTEM, including (CFR: 41.5 / 45.5): Moisture separator reheater steam supply | 2.8 | A3 | 400039
53 | (008A1.02) Ability to predict and/or monitor changes in parameters associated with operation of the (SF8 CCW) COMPONENT COOLING WATER SYSTEM, including (CFR: 41.5 / 45.7): CCW temperature | 3.4 | A1 | 400008
54 | (073A2.01) Ability to (a) predict the impacts of the following on the (SF7 PRM) PROCESS RADIATION MONITORING SYSTEM and (b) based on those predictions, use procedures to correct, control, or mitigate the consequences of those abnormal operations (CFR: 41.5 / 43.5 / 45.3 / 45.13 / 8-9): PRM component failures | 3.9 | A2 | 400073
55 | (050K2.02) Knowledge of electrical power supplies to the following: (SF9 CRV) CONTROL ROOM VENTILATION (CFR: 41.7) Chiller units | 3.1 | K2 | 400050
56 | (075K1.10) Knowledge of the physical connections and/or cause and effect relationships between the (SF8 CW) CIRCULATING WATER SYSTEM and the following systems (CFR: 41.4 / 41.5 / 41.7 / 45.8): CDS | 2.9 | K1 | 400075
57 | (034A4.03) Ability to manually operate and/or monitor the (SF8 FHS) FUEL HANDLING EQUIPMENT SYSTEM in the control room (CFR: 41.4 / 41.7 / 43.7 / 45.5 / 45.6 / 45.8): Containment refueling machine operation | 2.6 | A4 | 400034
58 | (071A3.02) Ability to monitor automatic features of the (SF9 WGS) WASTE GAS DISPOSAL SYSTEM, including (CFR: 41.7 / 45.8 / 45.9): Pressure-regulating system for waste gas vent header | 2.5 | A3 | 400071
59 | (017A1.01) Ability to predict and/or monitor changes in parameters associated with operation of the (SF7 ITM) IN CORE TEMPERATURE MONITOR SYSTEM, including (CFR: 41.5 / 45.7): Core exit temperature | 4 | A1 | 400017
60 | (033A2.03) Ability to (a) predict the impacts of the following on the (SF8 SFPCS) SPENT FUEL POOL COOLING SYSTEM and (b) based on those predictions, use procedures to correct, control, or mitigate the consequences of those abnormal operations (CFR: 41.5 / 43.5 / 45.3 / 45.13): Abnormal water level | 3.9 | A2 | 400033
61 | (028K6.01) Knowledge of the effect of the following plant conditions, system malfunctions, or component malfunctions on the (SF5 HRPS) HYDROGEN RECOMBINER AND PURGE CONTROL SYSTEM (CFR: 41.7 / 45.7): Hydrogen recombiner components | 2.6 | K6 | 400028
62 | (400001) 001 (SF1 CRDS) CONTROL ROD DRIVE SYSTEM (G2.1.14) CONDUCT OF OPERATIONS: Knowledge of criteria or conditions that require plantwide announcements, such as pump starts, reactor trips, and mode changes (CFR: 41.10 / 43.5 / 45.12) | 3.1 | G | 400001
63 | (086K4.01) Knowledge of (SF8 FPS) FIRE PROTECTION SYSTEM design features and/or interlocks that provide for the following (CFR: 41.7): Adequate supply of water for FPS | 3.4 | K4 | 400086
64 | (G2.1.44) CONDUCT OF OPERATIONS: Knowledge of RO duties in the control room during fuel handling, such as responding to alarms from the fuel handling area, communicating with fuel-handling personnel, operating systems from the control room to support fueling operations, or supporting instrumentation (CFR: 41.10 / 43.7 / 45.12) | 3.9 | G2.1 | G2.1
65 | (G2.1.43) CONDUCT OF OPERATIONS: Ability to use an online power distribution monitoring system and/or procedures to determine the effects on reactivity of plant changes, such as RCS temperature, secondary plant, or fuel depletion | 4.1 | G2.1 | G2.1
66 | (G2.2.1) EQUIPMENT CONTROL: Ability to perform pre-startup procedures for the facility, including operating those controls associated with plant equipment that could affect reactivity (CFR: 41.5 / 41.10 / 43.5 / 43.6 / 45.1) | 4.5 | G2.2 | G2.2
67 | (G2.2.40) EQUIPMENT CONTROL: Ability to apply TS with action statements of less than or equal to 1 hour (CFR: 41.10 / 43.2 / 43.5 / 45.3) | 3.4 | G2.2 | G2.2
68 | (G2.3.12) RADIATION CONTROL: Knowledge of radiological safety principles and procedures pertaining to licensed operator duties, such as response to radiation monitor alarms, containment entry requirements, fuel handling responsibilities, access to locked high-radiation areas, or alignment of filters (CFR: 41.12 / 43.4 / 45.9 / 45.10) | 3.2 | G2.3 | G2.3
69 | (G2.4.26) EMERGENCY PROCEDURES/PLAN: Knowledge of facility protection requirements, including fire brigade and portable firefighting equipment usage (CFR: 41.10 / 43.5 / 45.12) | 3.1 | G2.4 | G2.4
70 | (192003K1.07) REACTOR KINETICS AND NEUTRON SOURCES (CFR: 41.1): Explain the effect of delayed neutrons on reactor control | 3 | R | 192003
71 | (192004K1.11) REACTIVITY COEFFICIENTS (CFR: 41.1): Describe the effects on fuel temperature (Doppler) coefficient of reactivity for changes in the following: -- fuel temperature | 2.9 | R | 192004
72 | (192008K1.20) REACTOR OPERATIONAL PHYSICS (CFR: 41.1): (POWER OPERATION) Explain the effects of control rod motion or boration/dilution on reactor power | 3.9 | R | 192008
73 | (193010K1.04) BRITTLE FRACTURE AND VESSEL THERMAL STRESS (CFR: 41.14): State how the possibility of brittle fracture is minimized by operating limitations | 3.7 | T | 193010
74 | (193005K1.03) THERMODYNAMIC CYCLES (CFR: 41.14): Describe how changes in system parameters affect thermodynamic efficiency | 2.6 | T | 193005
75 | (193009K1.03) CORE THERMAL LIMITS (CFR: 41.14): Explain local peaking factor | 2.7 | T | 193009
76 | (056AA2.36) Ability to determine and/or interpret the following as they apply to (APE 56) Loss of Offsite Power (CFR: 43.5 / 45.13): Turbine trip indication | 3.7 | A2 | 395015
77 | (395021) (W E04) LOCA Outside Containment (G2.2.22) EQUIPMENT CONTROL: Knowledge of limiting conditions for operation and safety limits (CFR: 41.5 / 43.2 / 45.2) | 4.7 | G | 395021
78 | (011EA2.16) Ability to determine and/or interpret the following as they apply to (EPE 11) LARGE-Break LOCA (CFR: 43.5 / 45.13): ECCS flow | 4.2 | A2 | 395004
79 | (395017) 000058 (APE 58) Loss of DC Power (G2.4.22) EMERGENCY PROCEDURES/PLAN: Knowledge of the bases for prioritizing safety functions during abnormal and emergency operations (CFR: 41.7 / 41.10 / 43.5 / 45.12) | 4.4 | G | 395017
80 | (040AA2.01) Ability to determine and/or interpret the following as they apply to (APE 40) STEAM LINE RUPTURE (CFR: 41.10 / 43.5 / 45.13): Occurrence and location of a steamline rupture from pressure and flow indications | 4 | A2 | 395012
81 | (395022) (W E11) Loss of Emergency Coolant Recirculation (G2.2.37) EQUIPMENT CONTROL: Ability to determine operability or availability of safety‑related equipment (SRO Only) (CFR: 43.2 / 43.5 / 45.12) | 4.6 | G | 395022
82 | (061AA2.02) Ability to determine and/or interpret the following as they apply to (APE 61) AREA RADIATION MONITORING (ARM) System Alarms (CFR: 43.5 / 45.13): Normal operating characteristics | 3.1 | A2 | 395036
83 | (395033) 000051 (APE 51) Loss of Condenser Vacuum (G2.1.21) CONDUCT OF OPERATIONS: Ability to verify that a copy of a controlled procedure is the proper revision (CFR: 41.10 / 45.10 / 45.13) | 3.6 | G | 395033
84 | (078AA2.12) Ability to determine and/or interpret the following as they apply to (APE 78) REACTOR COOLANT SYSTEM LEAK (CFR: 43.5 / 45.13): RCS water inventory balance and TS limits | 4 | A2 | 395042
85 | (395024) 000001 (APE 1) Continuous Rod Withdrawal (G2.4.40) EMERGENCY PROCEDURES/PLAN: Knowledge of SRO responsibilities in emergency plan implementing procedures (SRO Only) (CFR: 43.5 / 45.11) | 4.5 | G | 395024
86 | (006A2.08) Ability to (a) predict the impacts of the following on the (SF2; SF3 ECCS) EMERGENCY CORE COOLING SYSTEM and (b) based on those predictions, use procedures to correct, control, or mitigate the consequences of those abnormal operations (CFR: 41.5 / 45.3 to 45.5): ECCS valve failure mode | 3.5 | A2 | 400006
87 | (400063) 063 (SF6 ED DC) DC ELECTRICAL DISTRIBUTION SYSTEM (G2.1.25) CONDUCT OF OPERATIONS: Ability to interpret reference materials, such as graphs, curves, and tables (reference potential) (CFR: 41.10 / 43.5 / 45.12) | 4.2 | G | 400063
88 | (004A2.01) Ability to (a) predict the impacts of the following on the (SF1; SF2 CVCS) CHEMICAL AND VOLUME CONTROL SYSTEM and (b) based on those predictions, use procedures to correct, control, or mitigate the consequences of those abnormal operations (CFR: 41.5 to 41.7 / 43.5 / 45.3 / 45.5): RCS pressure exceeds limits | 3.9 | A2 | 400004
89 | (400059) 059 (SF4S MFW) MAIN FEEDWATER SYSTEM (G2.2.21) EQUIPMENT CONTROL: Knowledge of pre- and post-maintenance operability requirements (CFR: 41.10 / 43.2) | 4.1 | G | 400059
90 | (022A2.04) Ability to (a) predict the impacts of the following on the (SF5 CCS) CONTAINMENT COOLING SYSTEM and (b) based on those predictions, use procedures to correct, control, or mitigate the consequences of those abnormal operations (CFR: 41.5 / 43.5 / 45.3 / 45.13): Cooling water system malfunction | 3.4 | A2 | 400022
91 | (400068) 068 (SF9 LRS) LIQUID RADWASTE SYSTEM (G2.1.45) CONDUCT OF OPERATIONS: Ability to identify and interpret diverse indications to validate the response of another indication. (CFR: 41.7 / 43.5 / 45.4) | 4.3 | G | 400068
92 | (055A2.01) Ability to (a) predict the impacts of the following on the (SF4S CARS) CONDENSER AIR REMOVAL SYSTEM and (b) based on those predictions, use procedures to correct, control, or mitigate the consequences of those abnormal operations (CFR: 41.5 / 43.5 / 45.3 / 45.13): Loss of CWS | 3.3 | A2 | 400055
93 | (400056) 056 (SF4S CDS) CONDENSATE SYSTEM (G2.2.23) EQUIPMENT CONTROL: Ability to track TS limiting conditions for operation (CFR: 41.10 / 43.2 / 45.13) | 4.6 | G | 400056
94 | (G2.1.3) CONDUCT OF OPERATIONS: Knowledge of shift or short-term relief turnover practices (CFR: 41.10 / 45.13) | 3.9 | G2.1 | G2.1
95 | (G2.1.30) CONDUCT OF OPERATIONS: Ability to locate and operate components, including local controls (CFR: 41.7 / 45.7) | 4 | G2.1 | G2.1
96 | (G2.2.39) EQUIPMENT CONTROL: Knowledge of less than or equal to 1 hour TS action statements (does not include action statements of 1 hour or less that follow the expiration of a completion time for a TS condition for which an action statement has already been entered) (CFR: 41.7 / 41.10 / 43.2 / 45.13) | 4.5 | G2.2 | G2.2
97 | (G2.2.2) EQUIPMENT CONTROL: Ability to manipulate the console controls as required to operate the facility between shutdown and designated power levels (CFR: 41.6 / 41.7 / 45.2) | 4.1 | G2.2 | G2.2
98 | (G2.3.5) RADIATION CONTROL: Ability to use RMSs, such as fixed radiation monitors and alarms or personnel monitoring equipment (CFR: 41.11 / 41.12 / 43.4 / 45.9) | 2.9 | G2.3 | G2.3
99 | (G2.4.19) EMERGENCY PROCEDURES/PLAN: Knowledge of emergency and abnormal operating procedures layout, symbols, and icons (CFR: 41.10 / 45.13) | 4.1 | G2.4 | G2.4
100 | (G2.4.46) EMERGENCY PROCEDURES/PLAN: Ability to verify that the alarms are consistent with the plant conditions (CFR: 41.10 / 43.5 / 45.3 / 45.12) | 4.2 | G2.4 | G2.4