## Sheet1
Question Number | Topic Title | Topic Importance | K/A Category | System
1 | (055EK1.03) Knowledge of the operational implications and/or cause and effect relationships of the following concepts as they apply to (EPE 55) Station Blackout (CFR: 41.8 / 41.10 / 45.3): Turbine- and diesel‑driven AFW pump availability | 4.4 | K1 | 395014
2 | (038EA2.18) Ability to determine and/or interpret the following as they apply to (EPE 38) STEAM GENERATOR Tube Rupture (CFR: 43.5 / 45.13): Steam and/or feedwater flow for mismatched condition | 3 | A2 | 395011
3 | (WE04EK2.05) Knowledge of the relationship between (W E04) LOCA Outside Containment and the following systems or components (CFR: 41.7 / 41.8 / 45.2 / 45.4): RCS leakage paths to outside containment | 4 | K2 | 395021
4 | (CE02EK3.09) Knowledge of the reasons for the following responses and/or actions as they apply to (CE E02) STANDARD POST‑TRIP ACTIONS AND REACTOR TRIP RECOVERY (CFR: 41.5 / 41.10 / 45.6 / 45.13): Actions and/or contingency actions to verify core heat removal during standard post‑trip actions | 4.3 | K3 | 395001
5 | (395016) 000057 (APE 57) Loss of Vital AC Instrument Bus (G2.1.19) CONDUCT OF OPERATIONS: Ability to use available indications to evaluate system or component status (CFR: 41.10 / 45.12) | 3.9 | G | 395016
6 | (CE06EA1.09) Ability to operate and/or monitor the following as they apply to (CE E06) LOSS OF FEEDWATER (CFR: 41.7 / 45.5 / 45.6): RCS void monitoring system | 3.5 | A1 | 395013
7 | (058AK1.03) Knowledge of the operational implications and/or cause and effect relationships of the following concepts as they apply to (APE 58) LOSS OF DC Power (CFR: 41.8 / 41.10 / 45.3 ): Effect of battery discharge rate on capacity | 3.7 | K1 | 395017
8 | (077AA2.03) Ability to determine and/or interpret the following as they apply to (APE 77) GENERATOR VOLTAGE AND ELECTRIC Grid Disturbances (CFR: 41.5 / 43.5 / 45.5 / 45.7 / 45.8): Generator current | 3.4 | A2 | 395020
9 | (065AK2.09) Knowledge of the relationship between (APE 65) LOSS OF Instrument Air and the following systems or components (CFR: 41.7 / 45.7): ECCS | 3.5 | K2 | 395019
10 | (008AK3.05) Knowledge of the reasons for the following responses and/or actions as they apply to (APE 8) PRESSURIZER VAPOR Space Accident (CFR: 41.5 / 41.10 / 45.6 / 45.13): ECCS termination or throttling criteria | 3.9 | K3 | 395002
11 | (395006) 000022 (APE 22) Loss of Reactor Coolant Makeup (G2.1.38) CONDUCT OF OPERATIONS: Knowledge of the station’s requirements for verbal communications when implementing procedures (CFR: 41.10 / 45.13) | 3.7 | G | 395006
12 | (056AA1.31) Ability to operate and/or monitor the following as they apply to (APE 56) Loss of Offsite Power (CFR: 41.7 / 45.5 / 45.6): PZR heater group | 3.3 | A1 | 395015
13 | (009EK1.03) Knowledge of the operational implications and/or cause and effect relationships of the following concepts as they apply to (EPE 9) SMALL-Break LOCA (CFR: 41.8 / 41.10 / 45.3): RCS heat removal | 4 | K1 | 395003
14 | (029EA2.13) Ability to determine and/or interpret the following as they apply to (EPE 29) ANTICIPATED TRANSIENT WITHOUT SCRAM (ATWS) (CFR: 43.5 / 45.13): RCS cooldown or heatup | 3.9 | A2 | 395010
15 | (025AK2.24) Knowledge of the relationship between (APE 25) LOSS OF RESIDUAL Heat Removal System and the following systems or components (CFR: 41.7 / 45.7): PZR pressure and LCS | 3.3 | K2 | 395007
16 | (015AK3.04) Knowledge of the reasons for the following responses and/or actions as they apply to (APE 15) REACTOR COOLANT Pump Malfunctions (CFR: 41.5 / 41.10 / 45.6 / 45.13): Reduction of power to below the steady‑state power‑to-flow limit | 3.2 | K3 | 395005
17 | (395023) (BW E04; W E05) Inadequate Heat Transfer – Loss of Secondary Heat Sink (G2.1.5) CONDUCT OF OPERATIONS: Ability to use procedures related to shift staffing, such as minimum crew complement or overtime limitations (reference potential) (CFR: 41.10 / 43.5 / 45.12) | 2.9 | G | 395023
18 | (062AA1.09) Ability to operate and/or monitor the following as they apply to (APE 62) LOSS OF SERVICE WATER (CFR: 41.7 / 45.5 / 45.6): The valve lineups necessary to restart the SWS while bypassing the portion of the system causing the abnormal condition | 3.3 | A1 | 395018
19 | (BA08AK1.05) Knowledge of the operational implications and/or cause and effect relationships of the following concepts as they apply to (BW A08) REFUELING CANAL LEVEL DECREASE (CFR: 41.5 / 41.7 / 45.7 / 45.8): Decay heat removal | 4.1 | K1 | 395031
20 | (BE08EA2.16) Ability to determine and/or interpret the following as they apply to (BW E08) LOCA COOLDOWN (CFR: 41.10 / 43.5 / 45.13): Reactor building ventilation | 3.7 | A2 | 395053
21 | (060AK2.04) Knowledge of the relationship between (APE 60) ACCIDENTAL GASEOUS Radwaste Release and the following systems or components (CFR: 41.7 / 45.7): Gaseous radwaste flow instruments | 3.2 | K2 | 395035
22 | (032AK3.01) Knowledge of the reasons for the following responses and/or actions as they apply to (APE 32) LOSS OF SOURCE RANGE Nuclear Instrumentation (CFR: 41.5 / 41.10 / 45.6 / 45.13): Termination of startup following loss of source range instrumentation | 3.9 | K3 | 395029
23 | (395045) (W E15) Containment Flooding (G2.2.44) EQUIPMENT CONTROL: Ability to interpret control room indications to verify the status and operation of a system and understand how operator actions and directives affect plant and system conditions (CFR: 41.5 / 43.5 / 45.12) | 4.2 | G | 395045
24 | (WE08EA1.04) Ability to operate and/or monitor the following as they apply to (W E08) Pressurized Thermal Shock (CFR: 41.5 to 41.8 / 45.5 to 45.8): ESFAS | 3.9 | A1 | 395056
25 | (033AK1.01) Knowledge of the operational implications and/or cause and effect relationships of the following concepts as they apply to (APE 33) LOSS OF INTERMEDIATE RANGE Nuclear Instrumentation (CFR: 41.8 / 41.10 / 45.3): Effects of voltage changes on performance | 2.9 | K1 | 395030
26 | (067AA2.14) Ability to determine and/or interpret the following as they apply to (APE 67) PLANT Fire On Site (CFR: 41.10 / 43.5 / 45.13): Equipment that will be affected by fire suppression activities in each zone | 3.2 | A2 | 395037
27 | (076K5.03) Knowledge of the operational implications or cause and effect relationships of the following concepts as they apply to the (SF4S SW) SERVICE WATER SYSTEM (CFR: 41.4 / 41.7 / 45.5): Pump cavitation | 3.1 | K5 | 400076
28 | (400064) 064 (SF6 EDG) EMERGENCY DIESEL GENERATOR SYSTEM (G2.4.50) EMERGENCY PROCEDURES/PLAN: Ability to verify system alarm setpoints and operate controls identified in the alarm response procedure (CFR: 41.10 / 43.5 / 45.3) | 4.2 | G | 400064
29 | (008K2.01) Knowledge of electrical power supplies to the following (CFR: 41.7): (SF8 CCW) COMPONENT COOLING WATER SYSTEM CCW valves | 3 | K2 | 400008
30 | (010A3.03) Ability to monitor automatic features of the (SF3 PZR PCS) PRESSURIZER PRESSURE CONTROL SYSTEM, including (CFR: 41.7 / 45.5): PZR heater operation | 3.3 | A3 | 400010
31 | (063K1.05) Knowledge of the physical connections and/or cause and effect relationships between the (SF6 ED DC) DC ELECTRICAL DISTRIBUTION SYSTEM and the following systems (CFR: 41.3 to 41.8 / 45.7 / 45.8): EDG | 4.4 | K1 | 400063
32 | (059A1.15) Ability to predict and/or monitor changes in parameters associated with operation of the (SF4S MFW) MAIN FEEDWATER SYSTEM, including (CFR: 41.5 / 45.5): MFW pump lube oil system | 2.9 | A1 | 400059
33 | (006K4.14) Knowledge of (SF2; SF3 ECCS) EMERGENCY CORE COOLING SYSTEM design features and/or interlocks that provide for the following (CFR: 41.7 / 41.8): Cross-connection of ECCS pumps in series (piggyback) | 3.8 | K4 | 400006
34 | (007A4.04) Ability to manually operate and/or monitor the (SF5 PRTS) PRESSURIZER RELIEF/QUENCH TANK SYSTEM in the control room (CFR: 41.5 / 41.7 / 45.5 / 45.7 / 45.8): PZR vent valve | 3.2 | A4 | 400007
35 | (039K6.08) Knowledge of the effect of the following plant conditions, system malfunctions, or component malfunctions on the (SF4S MSS) MAIN AND REHEAT STEAM SYSTEM (CFR: 41.7 / 45.7): IAS | 3.2 | K6 | 400039
36 | (012A2.04) Ability to (a) predict the impacts of the following on the (SF7 RPS) REACTOR PROTECTION SYSTEM and (b) based on those predictions, use procedures to correct, control, or mitigate the consequences of those abnormal operations (CFR: 41.5 / 43.5 / 45.3 / 45.5): Erratic power supply operation | 3.4 | A2 | 400012
37 | (103K3.04) Knowledge of the effect that a loss or malfunction of the (SF5 CNT) CONTAINMENT SYSTEM will have on the following systems or system parameters (CFR: 41.7 / 45.6): Shield building vent system | 3 | K3 | 400103
38 | (078K5.04) Knowledge of the operational implications or cause and effect relationships of the following concepts as they apply to the (SF8 IAS) INSTRUMENT AIR SYSTEM (CFR: 41.5 / 45.7): High moisture content in instrument air | 2.9 | K5 | 400078
39 | (400005) 005 (SF4P RHR) RESIDUAL HEAT REMOVAL SYSTEM (191008K1.11) BREAKERS, RELAYS, AND DISCONNECTS (CFR: 41.7): Control room indication of a breaker status | 3.3 | C | 400005
40 | (022K2.01) Knowledge of electrical power supplies to the following (CFR: 41.7): (SF5 CCS) CONTAINMENT COOLING SYSTEM CCS fans | 3.6 | K2 | 400022
41 | (062A3.10) Ability to monitor automatic features of the (SF6 ED AC) AC ELECTRICAL DISTRIBUTION SYSTEM, including (CFR: 41.7 / 45.5): Automatic transfer from auxiliary to reserve transformer | 3.3 | A3 | 400062
42 | (061K1.01) Knowledge of the physical connections and/or cause and effect relationships between the (SF4S AFW) AUXILIARY/EMERGENCY FEEDWATER SYSTEM and the following systems (CFR: 41.2 to 41.8 / 45.7 / 45.8): S/G system | 4.4 | K1 | 400061
43 | (004A1.05) Ability to predict and/or monitor changes in parameters associated with operation of the (SF1; SF2 CVCS) CHEMICAL AND VOLUME CONTROL SYSTEM, including (CFR: 41.5 to 41.7 / 45.5): S/G pressure and level | 2.6 | A1 | 400004
44 | (026K4.04) Knowledge of (SF5 CSS) CONTAINMENT SPRAY SYSTEM design features and/or interlocks that provide for the following (CFR: 41.7): Reduction of temperature and pressure in containment after a LOCA by condensing steam to reduce radiological hazard and protect equipment from corrosion damage (spray) | 3.7 | K4 | 400026
45 | (073A4.04) Ability to manually operate and/or monitor the (SF7 PRM) PROCESS RADIATION MONITORING SYSTEM in the control room (CFR: 41.7 / 45.8 / 45.9): Alarm and/or interlock setpoint checks and adjustments | 3.2 | A4 | 400073
46 | (013K6.07) Knowledge of the effect of the following plant conditions, system malfunctions, or component malfunctions on the (SF2 ESFAS) ENGINEERED SAFETY FEATURES ACTUATION SYSTEM (CFR: 41.6 to 41.8 / 45.5 to 45.8): EDG | 3.9 | K6 | 400013
47 | (003A2.01) Ability to (a) predict the impacts of the following on the (SF4P RCP) REACTOR COOLANT PUMP SYSTEM and (b) based on those predictions, use procedures to correct, control, or mitigate the consequences of those abnormal operations (CFR: 41.5 / 43.5 / 45.3 / 45.13): Problems with RCP seals, especially seal leakoff rates | 4 | A2 | 400003
48 | (076K3.03) Knowledge of the effect that a loss or malfunction of the (SF4S SW) SERVICE WATER SYSTEM will have on the following systems or system parameters (CFR: 41.7 / 45.6): Reactor building CCW | 3.5 | K3 | 400076
49 | (064K5.13) Knowledge of the operational implications or cause and effect relationships of the following concepts as they apply to the (SF6 EDG) EMERGENCY DIESEL GENERATOR SYSTEM (CFR: 41.5 / 45.7): Consequences of a high VAR on EDG integrity | 3.4 | K5 | 400064
50 | (400008) 008 (SF8 CCW) COMPONENT COOLING WATER SYSTEM (G2.1.31) CONDUCT OF OPERATIONS: Ability to locate control room switches, controls, and indications and to determine whether they correctly reflect the desired plant lineup (CFR: 41.10 / 45.12) | 4.6 | G | 400008
51 | (010K2.02) Knowledge of electrical power supplies to the following: (SF3 PZR PCS) PRESSURIZER PRESSURE CONTROL SYSTEM (CFR: 41.7) PZR pressure controller | 3.1 | K2 | 400010
52 | (063A3.03) Ability to monitor automatic features of the (SF6 ED DC) DC ELECTRICAL DISTRIBUTION SYSTEM, including (CFR: 41.7 / 45.5): Inverter swap to backup | 3.3 | A3 | 400063
53 | (059K1.05) Knowledge of the physical connections and/or cause and effect relationships between the (SF4S MFW) MAIN FEEDWATER SYSTEM and the following systems (CFR: 41.2 to 41.9 / 45.7 / 45.8): RCS | 3.6 | K1 | 400059
54 | (006A1.17) Ability to predict and/or monitor changes in parameters associated with operation of the (SF2; SF3 ECCS) EMERGENCY CORE COOLING SYSTEM, including (CFR: 41.5 / 45.3 to 45.5): ECCS flow rate | 4 | A1 | 400006
55 | (071K5.04) Knowledge of the operational implications or cause and effect relationships of the following concepts as they apply to the (SF9 WGS) WASTE GAS DISPOSAL SYSTEM (CFR: 41.5 / 45.8 / 45.9): Relationship of hydrogen/oxygen concentrations to flammability | 3.5 | K5 | 400071
56 | (400086) 086 (SF8 FPS) FIRE PROTECTION SYSTEM (191002K1.06) SENSORS AND DETECTORS (CFR: 41.7): (LEVEL) Temperature/pressure compensation requirements | 2.6 | C | 400086
57 | (015K2.01) Knowledge of electrical power supplies to the following: (SF7 NI) NUCLEAR INSTRUMENTATION SYSTEM (CFR: 41.7) NIS channels | 3.7 | K2 | 400015
58 | (001A3.10) Ability to monitor automatic features of the (SF1 CRDS) CONTROL ROD DRIVE SYSTEM, including (CFR: 41.6 / 45.13): Control bank sequence and overlap | 3.8 | A3 | 400001
59 | (033K1.12) Knowledge of the physical connections and/or cause and effect relationships between the (SF8 SFPCS) SPENT FUEL POOL COOLING SYSTEM and the following systems (CFR: 41.2 to 41.9 / 45.7 / 45.8): CVCS | 2.7 | K1 | 400033
60 | (035A1.02) Ability to predict and/or monitor changes in parameters associated with operation of the (SF4P SG) STEAM GENERATOR SYSTEM, including (CFR: 41.5 / 45.5): S/G pressure | 3.9 | A1 | 400035
61 | (014K4.06) Knowledge of (SF1 RPI) ROD POSITION INDICATION SYSTEM design features and/or interlocks that provide for the following (CFR: 41.2 / 41.5 / 41.7 / 45.7): Individual and group misalignment | 3.9 | K4 | 400014
62 | (068A4.02) Ability to manually operate and/or monitor the (SF9 LRS) LIQUID RADWASTE SYSTEM in the control room (CFR: 41.7 / 45.8 / 45.9): Remote radwaste release | 3.1 | A4 | 400068
63 | (011K6.19) Knowledge of the effect of the following plant conditions, system malfunctions, or component malfunctions on the (SF2 PZR LCS) PRESSURIZER LEVEL CONTROL SYSTEM (CFR: 41.7 / 45.7): ESFAS | 3.8 | K6 | 400011
64 | (G2.1.25) CONDUCT OF OPERATIONS: Ability to interpret reference materials, such as graphs, curves, and tables (reference potential) (CFR: 41.10 / 43.5 / 45.12) | 3.9 | G2.1 | G2.1
65 | (G2.1.37) CONDUCT OF OPERATIONS: Knowledge of procedures, guidelines, or limitations associated with reactivity management (CFR: 41.1 / 41.5 / 41.10 / 43.6 / 45.6) | 4.3 | G2.1 | G2.1
66 | (G2.2.17) EQUIPMENT CONTROL: Knowledge of the process for managing maintenance activities during power operations, such as risk assessments, work prioritization, and coordination with the transmission system operator (CFR: 41.10 / 43.5 / 45.13) | 2.6 | G2.2 | G2.2
67 | (G2.2.36) EQUIPMENT CONTROL: Ability to analyze the effect of maintenance activities, such as degraded power sources, on the status of limiting conditions for operation (CFR: 41.10 / 43.2 / 45.13) | 3.1 | G2.2 | G2.2
68 | (G2.3.11) RADIATION CONTROL: Ability to control radiation releases (CFR: 41.11 / 43.4 / 45.10) | 3.8 | G2.3 | G2.3
69 | (G2.4.22) EMERGENCY PROCEDURES/PLAN: Knowledge of the bases for prioritizing safety functions during abnormal and emergency operations (CFR: 41.7 / 41.10 / 43.5 / 45.12) | 3.6 | G2.4 | G2.4
70 | (192002K1.12) NEUTRON LIFE CYCLE (CFR: 41.1): State the relationship between reactivity and effective multiplication factor | 2.5 | R | 192002
71 | (192005K1.11) CONTROL RODS (CFR: 41.1): State the purpose of rod sequencing and overlap | 3 | R | 192005
72 | (192003K1.06) REACTOR KINETICS AND NEUTRON SOURCES (CFR: 41.1): Describe the factors affecting the startup rate | 3.3 | R | 192003
73 | (193008K1.07) THERMAL HYDRAULICS (CFR: 41.14): (DEPARTURE FROM NUCLEATE BOILING) Describe transition (partial film) boiling | 2.6 | T | 193008
74 | (193003K1.25) STEAM (CFR: 41.14): Explain and use saturated and superheated steam tables | 3.4 | T | 193003
75 | (193004K1.15) THERMODYNAMIC PROCESS (CFR: 41.14): (THROTTLING AND THE THROTTLING PROCESS) Determine the exit conditions for a throttling process based on the use of steam and/or water | 2.8 | T | 193004
76 | (WE11EA2.08) Ability to determine and/or interpret the following as they apply to (W E11) LOSS OF EMERGENCY Coolant Recirculation (CFR: 41.10 / 43.5 / 45.13): Containment sump level | 4 | A2 | 395022
77 | (395008) 000026 (APE 26) Loss of Component Cooling Water (G2.1.18) CONDUCT OF OPERATIONS: Ability to make accurate, clear, and concise logs, records, status boards, and reports (CFR: 41.10 / 45.12 / 45.13) | 3.8 | G | 395008
78 | (011EA2.01) Ability to determine and/or interpret the following as they apply to (EPE 11) LARGE-Break LOCA (CFR: 43.5 / 45.13): RCS temperature and/or pressure | 3.9 | A2 | 395004
79 | (395009) 000027 (APE 27) Pressurizer Pressure Control System Malfunction (G2.2.20) EQUIPMENT CONTROL: Knowledge of the process for managing troubleshooting activities (CFR: 41.10 / 43.5 / 45.13) | 3.8 | G | 395009
80 | (040AA2.03) Ability to determine and/or interpret the following as they apply to (APE 40) STEAM LINE RUPTURE (CFR: 41.10 / 43.5 / 45.13): Difference between a steamline rupture and LOCA | 4.2 | A2 | 395012
81 | (395014) 000055 (EPE 55) Station Blackout (G2.4.30) EMERGENCY PROCEDURES/PLAN: Knowledge of events related to system operation/status that must be reported to internal organizations or external agencies, such as the State, the NRC, or the transmission system operator (CFR: 41.10 / 43.5 / 45.11) | 4.1 | G | 395014
82 | (003AA2.06) Ability to determine and/or interpret the following as they apply to (APE 3) DROPPED Control Rod (CFR: 43.5 / 45.13): Ex-core NIS | 3.8 | A2 | 395025
83 | (395036) 000061 (APE 61) Area Radiation Monitoring System Alarms (G2.4.37) EMERGENCY PROCEDURES/PLAN: Knowledge of the lines of authority during implementation of the emergency plan implementing procedures (CFR: 41.10 / 45.13) | 4.1 | G | 395036
84 | (078AA2.10) Ability to determine and/or interpret the following as they apply to (APE 78) REACTOR COOLANT SYSTEM LEAK (CFR: 43.5 / 45.13): Leak rate from change in various tank levels | 3.6 | A2 | 395042
85 | (395046) (W E16) High Containment Radiation (G2.4.40) EMERGENCY PROCEDURES/PLAN: Knowledge of SRO responsibilities in emergency plan implementing procedures (SRO Only) (CFR: 43.5 / 45.11) | 4.5 | G | 395046
86 | (007A2.01) Ability to (a) predict the impacts of the following on the (SF5 PRTS) PRESSURIZER RELIEF/QUENCH TANK SYSTEM and (b) based on those predictions, use procedures to correct, control, or mitigate the consequences of those abnormal operations (CFR: 41.5 / 43.5 / 45.3 / 45.13): A PORV that is stuck open, or code safety valve | 4.1 | A2 | 400007
87 | (400039) 039 (SF4S MSS) MAIN AND REHEAT STEAM SYSTEM (G2.2.39) EQUIPMENT CONTROL: Knowledge of less than or equal to 1 hour TS action statements (does not include action statements of 1 hour or less that follow the expiration of a completion time for a TS condition for which an action statement has already been entered) (CFR: 41.7 / 41.10 / 43.2 / 45.13) | 4.5 | G | 400039
88 | (012A2.05) Ability to (a) predict the impacts of the following on the (SF7 RPS) REACTOR PROTECTION SYSTEM and (b) based on those predictions, use procedures to correct, control, or mitigate the consequences of those abnormal operations (CFR: 41.5 / 43.5 / 45.3 / 45.5): Faulty or erratic operation of detectors and function generators | 3.4 | A2 | 400012
89 | (400103) 103 (SF5 CNT) CONTAINMENT SYSTEM (G2.2.3) EQUIPMENT CONTROL: (Multi-unit license) Knowledge of the design, procedural, and/or operational differences between units (CFR: 41.5 / 41.6 / 41.7 / 41.10 / 45.12) | 3.9 | G | 400103
90 | (078A2.01) Ability to (a) predict the impacts of the following on the (SF8 IAS) INSTRUMENT AIR SYSTEM and (b) based on those predictions, use procedures to correct, control, or mitigate the consequences of those abnormal operations (CFR: 41.5 / 43.5 / 45.3 / 45.13): Air dryer and filter malfunctions | 3.2 | A2 | 400078
91 | (400045) 045 (SF4S MTG) MAIN TURBINE GENERATOR SYSTEM (G2.3.12) RADIATION CONTROL: Knowledge of radiological safety principles and procedures pertaining to licensed operator duties, such as response to radiation monitor alarms, containment entry requirements, fuel handling responsibilities, access to locked high-radiation areas, or alignment of filters (CFR: 41.12 / 43.4 / 45.9 / 45.10) | 3.7 | G | 400045
92 | (056A2.15) Ability to (a) predict the impacts of the following on the (SF4S CDS) CONDENSATE SYSTEM and (b) based on those predictions, use procedures to correct, control, or mitigate the consequences of those abnormal operations (CFR: 41.5 / 43.5 / 45.3 / 45.13): Condenser malfunction | 3.2 | A2 | 400056
93 | (400041) 041 (SF4S SDS) STEAM DUMP/TURBINE BYPASS CONTROL SYSTEM (G2.1.45) CONDUCT OF OPERATIONS: Ability to identify and interpret diverse indications to validate the response of another indication. (CFR: 41.7 / 43.5 / 45.4) | 4.3 | G | 400041
94 | (G2.1.14) CONDUCT OF OPERATIONS: Knowledge of criteria or conditions that require plantwide announcements, such as pump starts, reactor trips, and mode changes (CFR: 41.10 / 43.5 / 45.12) | 3.1 | G2.1 | G2.1
95 | (G2.1.29) CONDUCT OF OPERATIONS: Knowledge of how to conduct system lineups, such as valves, breakers, or switches (CFR: 41.10 / 45.1 / 45.12) | 4 | G2.1 | G2.1
96 | (G2.2.14) EQUIPMENT CONTROL: Knowledge of the process for controlling equipment configuration or status (CFR: 41.10 / 43.3 / 45.13) | 4.3 | G2.2 | G2.2
97 | (G2.2.25) EQUIPMENT CONTROL: Knowledge of the bases in TS for limiting conditions for operation and safety limits (SRO Only) (CFR: 43.2) | 4.2 | G2.2 | G2.2
98 | (G2.3.5) RADIATION CONTROL: Ability to use RMSs, such as fixed radiation monitors and alarms or personnel monitoring equipment (CFR: 41.11 / 41.12 / 43.4 / 45.9) | 2.9 | G2.3 | G2.3
99 | (G2.4.32) EMERGENCY PROCEDURES/PLAN: Knowledge of operator response to loss of annunciators (CFR: 41.10 / 43.5 / 45.13) | 4 | G2.4 | G2.4
100 | (G2.4.42) EMERGENCY PROCEDURES/PLAN: Knowledge of emergency response facilities (CFR: 41.10 / 45.11) | 3.8 | G2.4 | G2.4