## Sheet1
Question Number | Topic Title | Topic Importance | K/A Category | System
1 | (295037) (EPE 14) SCRAM CONDITION PRESENT AND REACTOR POWER ABOVE APRM DOWNSCALE OR UNKNOWN (G2.1.28) CONDUCT OF OPERATIONS Knowledge of the purpose and function of major system components and controls (CFR: 41.7) | 4.1 | G | 295037
2 | (295004AA1.01) Ability to operate and/or monitor the following as they apply to (APE 4) PARTIAL OR COMPLETE LOSS OF DC POWER: (CFR: 41.7 / 45.6) DC electrical distribution | 3.8 | A1 | 295004
3 | (295024EK2.08) Knowledge of the relationship between the (EPE 1) HIGH DRYWELL PRESSURE and the following systems or components: (CFR: 41.7 / 45.8) ADS | 4.2 | K2 | 295024
4 | (295030EK1.01) Knowledge of the operational implications and/or cause and effect relationships of the following concepts as they apply to the (EPE 7) LOW SUPPRESSION POOL WATER LEVEL: (CFR: 41.8 to 41.10) Steam condensation | 3.9 | K1 | 295030
5 | (295006AA2.02) Ability to determine and/or interpret the following as they apply to (APE 6) SCRAM: (CFR: 41.10 / 43.5 / 45.13) Control rod position | 4.4 | A2 | 295006
6 | (295021AK3.01) Knowledge of the reasons for the following responses or actions as they apply to (APE 21) LOSS OF SHUTDOWN COOLING: (CFR: 41.5 / 45.6) Raising reactor water level | 4 | K3 | 295021
7 | (295016) (APE 16) CONTROL ROOM ABANDONMENT (G2.2.2) EQUIPMENT CONTROL Ability to manipulate the console controls as required to operate the facility between shutdown and designated power levels (CFR: 41.6 / 41.7 / 45.2) | 4.6 | G | 295016
8 | (295018AA1.04) Ability to operate and/or monitor the following as they apply to (APE 18) PARTIAL OR COMPLETE LOSS OF COMPONENT COOLING WATER (CCW): (CFR: 41.7 / 45.6) Reactor water cleanup system | 3.4 | A1 | 295018
9 | (295005AK2.08) Knowledge of the relationship between the (APE 5) MAIN TURBINE GENERATOR TRIP and the following systems or components: (CFR: 41.7 / 45.8) AC electrical distribution | 3.4 | K2 | 295005
10 | (295031EK1.01) Knowledge of the operational implications and/or cause and effect relationships of the following concepts as they apply to the (EPE 8) REACTOR LOW WATER LEVEL: (CFR: 41.8 to 41.10) Adequate core cooling | 4.7 | K1 | 295031
11 | (700000AA2.03) Ability to determine and/or interpret the following as they apply to (APE 25) GENERATOR VOLTAGE AND ELECTRIC GRID DISTURBANCES: (CFR: 41.5 / 43.5 / 45.5 / 45.7 / 45.8) Generator current limitations | 3.7 | A2 | 700000
12 | (295003AK3.03) Knowledge of the reasons for the following responses or actions as they apply to (APE 3) PARTIAL OR COMPLETE LOSS OF AC POWER: (CFR: 41.5 / 45.6 ) Load shedding | 3.8 | K3 | 295003
13 | (295001) (APE 1) PARTIAL OR COMPLETE LOSS OF FORCED CORE FLOW CIRCULATION (G2.1.25) CONDUCT OF OPERATIONS Ability to interpret reference materials, such as graphs, curves, and tables (reference potential) (CFR: 41.10 / 43.5 / 45.12) | 3.9 | G | 295001
14 | (295019AA1.02) Ability to operate and/or monitor the following as they apply to (APE 19) PARTIAL OR COMPLETE LOSS OF INSTRUMENT AIR: (CFR: 41.7 / 45.6) System valves | 3.2 | A1 | 295019
15 | (600000AK2.10) Knowledge of the relationship between the (APE 24) PLANT FIRE ON SITE and the following systems or components: (CFR: 41.7 / 45.7) Plant ventilation systems | 3.2 | K2 | 600000
16 | (295038EK1.04) Knowledge of the operational implications and/or cause and effect relationships of the following concepts as they apply to the (EPE 15) HIGH OFFSITE RADIOACTIVITY RELEASE RATE: (CFR: 41.8 to 41.10) Elevated vs. ground level release | 3.8 | K1 | 295038
17 | (295023AA2.04) Ability to determine and/or interpret the following as they apply to (APE 23) REFUELING ACCIDENTS: (CFR: 41.10 / 43.5 / 45.13) Occurrence of fuel handling accident | 4 | A2 | 295023
18 | (295025EK3.02) Knowledge of the reasons for the following responses or actions as they apply to (EPE 2) HIGH REACTOR PRESSURE: (CFR: 41.5 / 45.6) ARI/RPT/ATWS | 4.2 | K3 | 295025
19 | (295026) (EPE 3) SUPPRESSION POOL HIGH WATER TEMPERATURE (G2.4.30) EMERGENCY PROCEDURES / PLAN Knowledge of events related to system operation/status that must be reported to internal organizations or external agencies, such as the State, the NRC, or the transmission system operator (CFR: 41.10 / 43.5 / 45.11) | 2.7 | G | 295026
20 | (295027EA1.03) Ability to operate and/or monitor the following as they apply to (EPE 4) HIGH CONTAINMENT TEMPERATURE (MARK III CONTAINMENT ONLY): (CFR: 41.7 / 45.6) Safety relief valves | 3.7 | A1 | 295027
21 | (295010AK1.03) Knowledge of the operational implications and/or cause and effect relationships of the following concepts as they apply to the (APE 10) HIGH DRYWELL PRESSURE: (CFR: 41.8 to 41.10) Drywell temperature increase | 3.8 | K1 | 295010
22 | (295032EA2.01) Ability to determine and/or interpret the following as they apply to (EPE 9) HIGH SECONDARY CONTAINMENT AREA TEMPERATURE: (CFR: 41.10 / 43.5 / 45.13) Area temperature | 3.9 | A2 | 295032
23 | (295008AK3.07) Knowledge of the reasons for the following responses or actions as they apply to (APE 8) HIGH REACTOR WATER LEVEL: (CFR: 41.5 / 45.6) HPCS isolation | 3.5 | K3 | 295008
24 | (295009) (APE 9) LOW REACTOR WATER LEVEL (G2.4.12) EMERGENCY PROCEDURES / PLAN Knowledge of operating crew responsibilities during emergency and abnormal operations (CFR: 41.10 / 45.12) | 4 | G | 295009
25 | (295017AA1.10) Ability to operate and/or monitor the following as they apply to (APE 17) ABNORMAL OFFSITE RELEASE RATE: (CFR: 41.7 / 45.6) RPS | 3.5 | A1 | 295017
26 | (295034EK2.04) Knowledge of the relationship between the (EPE 11) SECONDARY CONTAINMENT VENTILATION HIGH RADIATION and the following systems or components: (CFR: 41.7 / 45.8) Secondary containment ventilation | 3.8 | K2 | 295034
27 | (400000A2.09) Ability to (a) predict the impacts of the following on the (SF8 CCS) COMPONENT COOLING WATER SYSTEM and (b) based on those predictions, use procedures to correct, control, or mitigate the consequences of those abnormal operations: (CFR: 41.5 / 43.5 / 45.6) Loss of cooling to spent fuel pool cooling system heat exchanger | 4.2 | A2 | 400000
28 | (262001K6.01) Knowledge of the effect of the following plant conditions, system malfunctions, or component malfunctions on the (SF6 AC) AC ELECTRICAL DISTRIBUTION: (CFR: 41.7 / 45.7) DC power | 3.8 | K6 | 262001
29 | (262002K4.01) Knowledge of (SF6 UPS) UNINTERRUPTABLE POWER SUPPLY (AC/DC) design features and/or interlocks that provide for the following: (CFR: 41.7) Transfer of power supplies | 3.5 | K4 | 262002
30 | (211000A3.06) Ability to monitor automatic operation of the (SF1 SLCS) STANDBY LIQUID CONTROL SYSTEM including: (CFR: 41.7 / 45.7) RWCU system isolation | 4.1 | A3 | 211000
31 | (203000) (SF2, SF4 RHR/LPCI) RHR/LPCI: INJECTION MODE (G2.1.37) CONDUCT OF OPERATIONS Knowledge of procedures, guidelines, or limitations associated with reactivity management (CFR: 41.1 / 41.5 / 41.10 / 43.6 / 45.6) | 4.3 | G | 203000
32 | (215005A4.05) Ability to manually operate and/or monitor the (SF7 PRMS) AVERAGE POWER RANGE MONITOR/LOCAL POWER RANGE MONITOR in the control room: (CFR: 41.7 / 45.5 to 45.8) Trip bypasses | 3.7 | A4 | 215005
33 | (223002K3.35) Knowledge of the effect that a loss or malfunction of the (SF5 PCIS) PRIMARY CONTAINMENT ISOLATION SYSTEM / NUCLEAR STEAM SUPPLY SHUTOFF will have on the following systems or system parameters: (CFR: 41.7 / 45.4) Nuclear boiler instrumentation | 3.4 | K3 | 223002
34 | (212000K2.02) (SF7 RPS) REACTOR PROTECTION SYSTEM Knowledge of electrical power supplies to the following: (CFR: 41.7) RPS logic | 4.1 | K2 | 212000
35 | (215003A1.02) Ability to predict and/or monitor changes in parameters associated with operation of the (SF7 IRM) INTERMEDIATE RANGE MONITOR SYSTEM including: (CFR: 41.5 / 45.5) Reactor power | 4.1 | A1 | 215003
36 | (261000K5.05) Knowledge of the operational implications or cause and effect relationships of the following concepts as they apply to the (SF9 SGTS) STANDBY GAS TREATMENT SYSTEM : (CFR: 41.5 / 45.3) Fuel handling building pressure changes | 3 | K5 | 261000
37 | (510000K1.03) Knowledge of the physical connections and/or cause and effect relationships between the (SF4 SWS*) SERVICE WATER SYSTEM and the following systems: (CFR: 41.4 to 41.8 / 45.7 / 45.8) Circulating water system | 2.7 | K1 | 510000
38 | (205000A2.10) Ability to (a) predict the impacts of the following on the (SF4 SCS) SHUTDOWN COOLING SYSTEM (RHR SHUTDOWN COOLING MODE) and (b) based on those predictions, use procedures to correct, control, or mitigate the consequences of those abnormal operations: (CFR: 41.5 / 45.6) Abnormal valve position | 3.6 | A2 | 205000
39 | (264000K6.09) Knowledge of the effect of the following plant conditions, system malfunctions, or component malfunctions on the (SF6 EGE) EMERGENCY GENERATORS (DIESEL/JET): (CFR: 41.7 / 45.7) DC electrical distribution system | 4 | K6 | 264000
40 | (217000K4.11) Knowledge of (SF2, SF4 RCIC) REACTOR CORE ISOLATION COOLING SYSTEM (BWR 3, 4, 5, 6) design features and/or interlocks that provide for the following: (CFR: 41.7) Resetting system isolations | 3.8 | K4 | 217000
41 | (209002A3.08) Ability to monitor automatic operation of the (SF2, SF4 HPCS) HIGH PRESSURE CORE SPRAY SYSTEM including: (CFR: 41.7 / 45.7) Pump trip | 4 | A3 | 209002
42 | (263000) (SF6 DC) DC ELECTRICAL DISTRIBUTION (291006K1.10) HEAT EXCHANGERS AND CONDENSERS (CFR: 41.4) Principle of operation of condensers | 2.8 | C | 263000
43 | (259002A4.11) Ability to manually operate and/or monitor the (SF2 RWLCS) REACTOR WATER LEVEL CONTROL SYSTEM in the control room: (CFR: 41.7 / 45.5 to 45.8) High-level lockout reset controls | 3.4 | A4 | 259002
44 | (300000K3.01) Knowledge of the effect that a loss or malfunction of the (SF8 IA) INSTRUMENT AIR SYSTEM will have on the following systems or system parameters: (CFR: 41.7 / 45.6) Drywell pneumatic system | 3.1 | K3 | 300000
45 | (218000K2.01) (SF3 ADS) AUTOMATIC DEPRESSURIZATION SYSTEM Knowledge of electrical power supplies to the following: (CFR: 41.7) ADS logic | 4 | K2 | 218000
46 | (209001A1.04) Ability to predict and/or monitor changes in parameters associated with operation of the (SF2, SF4 LPCS) LOW PRESSURE CORE SPRAY SYSTEM including: (CFR: 41.5 / 45.5) Reactor pressure | 4.1 | A1 | 209001
47 | (215004K5.03) Knowledge of the operational implications or cause and effect relationships of the following concepts as they apply to the (SF7 SRMS) SOURCE RANGE MONITOR SYSTEM : (CFR: 41.5 / 45.3) Changing detector position | 3.2 | K5 | 215004
48 | (239002K1.08) Knowledge of the physical connections and/or cause and effect relationships between the (SF3 SRV) SAFETY RELIEF VALVES and the following systems: (CFR: 41.2 to 41.9 / 45.7 / 45.8) Automatic depressurization system | 4.5 | K1 | 239002
49 | (400000A2.06) Ability to (a) predict the impacts of the following on the (SF8 CCS) COMPONENT COOLING WATER SYSTEM and (b) based on those predictions, use procedures to correct, control, or mitigate the consequences of those abnormal operations: (CFR: 41.5 / 43.5 / 45.6) Component cooling water system heat exchanger tube leak | 3.3 | A2 | 400000
50 | (262001K6.02) Knowledge of the effect of the following plant conditions, system malfunctions, or component malfunctions on the (SF6 AC) AC ELECTRICAL DISTRIBUTION: (CFR: 41.7 / 45.7) Offsite power | 4.2 | K6 | 262001
51 | (262002K1.01) Knowledge of the physical connections and/or cause and effect relationships between the (SF6 UPS) UNINTERRUPTABLE POWER SUPPLY (AC/DC) and the following systems: (CFR: 41.2 to 41.9 / 45.7 / 45.8) Reactor water level control system | 3.5 | K4 | 262002
52 | (211000A3.08) Ability to monitor automatic operation of the (SF1 SLCS) STANDBY LIQUID CONTROL SYSTEM including: (CFR: 41.7 / 45.7) System initiation | 4.1 | A3 | 211000
53 | (241000K5.06) Knowledge of the operational implications or cause and effect relationships of the following concepts as they apply to the (SF3 RTPRS) REACTOR/TURBINE PRESSURE REGULATING SYSTEM: (CFR: 41.5 / 45.3) Turbine speed measurement | 2.6 | K5 | 241000
54 | (204000K1.08) Knowledge of the physical connections and/or cause and effect relationships between the (SF2 RWCU) REACTOR WATER CLEANUP SYSTEM and the following systems: (CFR: 41.2 to 41.9 / 45.7 / 45.8) SLCS | 3.6 | K1 | 204000
55 | (256000A2.18) Ability to (a) predict the impacts of the following on the (SF2 CDS) CONDENSATE SYSTEM and (b) based on those predictions, use procedures to correct, control, or mitigate the consequences of those abnormal operations: (CFR: 41.5 / 43.5 / 45.6) Loss of SJAE | 3.6 | A2 | 256000
56 | (201005K6.02) Knowledge of the effect of the following plant conditions, system malfunctions, or component malfunctions on the (SF1, SF7 RCIS) ROD CONTROL AND INFORMATION SYSTEM (BWR 6): (CFR: 41.7 / 45.7) | 3.7 | K6 | 201005
57 | (234000K4.06) Knowledge of (SF8 FH) FUEL HANDLING design features and/or interlocks that provide for the following: (CFR: 41.7) Protection from dropping a fuel assembly | 3.6 | K4 | 234000
58 | (268000A3.01) Ability to monitor automatic operation of the (SF9 RW) RADWASTE SYSTEM including: (CFR: 41.7 / 45.7) Radiological release isolation valves | 3.2 | A3 | 268000
59 | (290002) (SF4 RVI) REACTOR VESSEL INTERNALS (G2.4.29) EMERGENCY PROCEDURES / PLAN Knowledge of the emergency plan implementing procedures (CFR: 41.10 / 43.5 / 45.11) | 3.1 | G | 290002
60 | (288000A4.04) Ability to manually operate and/or monitor the (SF9 PVS) PLANT VENTILATION SYSTEMS in the control room: (CFR: 41.4 / 41.7 / 45.5 to 45.8) Building differential pressure | 3.3 | A4 | 288000
61 | (233000K3.02) Knowledge of the effect that a loss or malfunction of the (SF9 FPCCU) FUEL POOL COOLING/CLEANUP will have on the following systems or system parameters: (CFR: 41.7 / 45.6) Fuel pool water level | 3.6 | K3 | 233000
62 | (290001K2.01) (SF5 SC) SECONDARY CONTAINMENT Knowledge of electrical power supplies to the following: (CFR: 41.7) Airlock door interlock | 2.7 | K2 | 290001
63 | (239003A1.01) Ability to predict and/or monitor changes in parameters associated with operation of the (SF9 MSVLCS) MAIN STEAM ISOLATION VALVE LEAKAGE CONTROL SYSTEM (BWR 4, 5, 6) including: (CFR: 41.5 / 45.5) Main steam line pressure | 2.8 | A1 | 239003
64 | (G2.1.40) CONDUCT OF OPERATIONS Knowledge of refueling administrative requirements (CFR: 41.10 / 43.5 / 43.6 / 45.13) | 2.8 | G2.1 | G2.1
65 | (G2.1.43) CONDUCT OF OPERATIONS Ability to use an online power distribution monitoring system and/or procedures to determine the effects on reactivity of plant changes, such as RCS temperature, secondary plant, or fuel depletion (CFR: 41.10 / 43.6 / 45.6) | 4.1 | G2.1 | G2.1
66 | (G2.2.12) EQUIPMENT CONTROL Knowledge of surveillance procedures (CFR: 41.10 / 43.2 / 45.13) | 3.7 | G2.2 | G2.2
67 | (G2.2.7) EQUIPMENT CONTROL Knowledge of the process for conducting infrequently performed tests or evolutions (CFR: 41.10 / 43.3 / 45.13) | 2.9 | G2.2 | G2.2
68 | (G2.3.5) RADIATION CONTROL Ability to use radiation monitoring systems, such as fixed radiation monitors and alarms or personnel monitoring equipment (CFR: 41.11 / 41.12 / 43.4 / 45.9) | 2.9 | G2.3 | G2.3
69 | (G2.4.28) EMERGENCY PROCEDURES / PLAN Knowledge of procedures relating to a security event (ensure that the test item includes no safeguards information) (CFR: 41.10 / 43.5 / 45.13) | 3.2 | G2.4 | G2.4
70 | (292008K1.14) REACTOR OPERATIONAL PHYSICS (CFR: 41.1) (HEATUP OPERATION) Describe three parameters to be monitored and controlled during heatup | 3.5 | R | 292008
71 | (292001K1.05) NEUTRONS (CFR: 41.1) Identify characteristics of good moderators | 2.6 | R | 292001
72 | (292004K1.16) REACTIVITY COEFFICIENTS (CFR: 41.1) Explain and describe the effect of power defect and Doppler defect on reactivity | 2.9 | R | 292004
73 | (293009K1.41) CORE THERMAL LIMITS (CFR: 41.14) For the following plant operating or accident condition, identify which of the three core thermal limits are most limiting: Increase in core flow | 3.3 | T | 293009
74 | (293003K1.12) STEAM (CFR: 41.14) Define the following term: Quality | 2.6 | T | 293003
75 | (293007K1.09) HEAT TRANSFER (CFR: 41.14) (CONDENSER APPLICATIONS OF HEAT TRANSFER) Discuss operational implications of condensate | 2.7 | T | 293007
76 | (295037EA2.06) Ability to determine and/or interpret the following as they apply to (EPE 14) SCRAM CONDITION PRESENT AND REACTOR POWER ABOVE APRM DOWNSCALE OR UNKNOWN: (CFR: 41.10 / 43.5 / 45.13) Reactor pressure | 4.3 | A2 | 295037
77 | (295004) (APE 4) PARTIAL OR COMPLETE LOSS OF DC POWER (G2.1.6) CONDUCT OF OPERATIONS Ability to manage the control room crew during plant transients (SRO Only) (CFR: 43.5 / 45.12 / 45.13) | 4.8 | G | 295004
78 | (295024EA2.12) Ability to determine and/or interpret the following as they apply to (EPE 1) HIGH DRYWELL PRESSURE: (CFR: 41.10 / 43.5 / 45.13) Safety/relief valves | 3.7 | A2 | 295024
79 | (295030) (EPE 7) LOW SUPPRESSION POOL WATER LEVEL (G2.4.51) EMERGENCY PROCEDURES / PLAN Knowledge of emergency operating procedure exit conditions (e.g., emergency condition no longer exists or severe accident guideline entry is required) (CFR: 41.10 / 43.5 / 45.13) | 4 | G | 295030
80 | (295006AA2.01) Ability to determine and/or interpret the following as they apply to (APE 6) SCRAM: (CFR: 41.10 / 43.5 / 45.13) Reactor power | 4.4 | A2 | 295006
81 | (295021) (APE 21) LOSS OF SHUTDOWN COOLING (G2.1.38) CONDUCT OF OPERATIONS Knowledge of the station\u2019s requirements for verbal communications when implementing procedures (CFR: 41.10 / 45.13) | 3.8 | G | 295021
82 | (295016AA2.04) Ability to determine and/or interpret the following as they apply to (APE 16) CONTROL ROOM ABANDONMENT: (CFR: 41.10 / 43.5 / 45.13) Suppression pool temperature | 3.8 | A2 | 295016
83 | (295002AA2.04) Ability to determine and/or interpret the following as they apply to (APE 2) LOSS OF MAIN CONDENSER VACUUM: (CFR: 41.10 / 43.5 / 45.13) Offgas system flow | 3.6 | A2 | 295002
84 | (500000) (EPE 16) HIGH CONTAINMENT HYDROGEN CONCENTRATION (G2.3.6) RADIATION CONTROL Ability to approve liquid or gaseous release permits (CFR: 41.13 / 43.4 / 45.10) | 3.8 | G | 500000
85 | (295014AA2.04) Ability to determine and/or interpret the following as they apply to (APE 14) INADVERTENT REACTIVITY ADDITION: (CFR: 41.10 / 43.5 / 45.13) Violation of fuel thermal limits | 4.3 | A2 | 295014
86 | (203000A2.09) Ability to (a) predict the impacts of the following on the (SF2, SF4 RHR/LPCI) RHR/LPCI: INJECTION MODE (BWR 3, 4, 5, 6) and (b) based on those predictions, use procedures to correct, control, or mitigate the consequences of those abnormal operations: (CFR: 41.5 / 43.5 / 45.6) Inadequate system flow | 3.5 | A2 | 203000
87 | (215005) (SF7 PRMS) AVERAGE POWER RANGE MONITOR/LOCAL POWER RANGE MONITOR (G2.1.30) CONDUCT OF OPERATIONS Ability to locate and operate components, including local controls (CFR: 41.7 / 45.7) | 4 | G | 215005
88 | (223002A2.14) Ability to (a) predict the impacts of the following on the (SF5 PCIS) PRIMARY CONTAINMENT ISOLATION SYSTEM / NUCLEAR STEAM SUPPLY SHUTOFF and (b) based on those predictions, use procedures to correct, control, or mitigate the consequences of those abnormal operations: (CFR: 41.5 / 45.6) Reactor protection system failures | 4 | A2 | 223002
89 | (212000) (SF7 RPS) REACTOR PROTECTION SYSTEM (G2.2.4) EQUIPMENT CONTROL (Multi-unit license) Ability to explain the variations in control room layouts, systems, instrumentation, or procedural actions between units at a facility (CFR: 41.6 / 41.7 / 41.10 / 45.1 / 45.13) | 3.6 | G | 212000
90 | (215003A2.01) Ability to (a) predict the impacts of the following on the (SF7 IRM) INTERMEDIATE RANGE MONITOR SYSTEM and (b) based on those predictions, use procedures to correct, control, or mitigate the consequences of those abnormal operations: (CFR: 41.5 / 43.5 / 45.6) Power supply degradation | 3 | A2 | 215003
91 | (215001) (SF7 TIP) TRAVERSING IN CORE PROBE (G2.4.50) EMERGENCY PROCEDURES / PLAN Ability to verify system alarm setpoints and operate controls identified in the alarm response procedure (CFR: 41.10 / 43.5 / 45.3) | 4 | G | 215001
92 | (216000A2.06) Ability to (a) predict the impacts of the following on the (SF7 NBI) NUCLEAR BOILER INSTRUMENTATION and (b) based on those predictions, use procedures to correct, control, or mitigate the consequences of those abnormal operations: (CFR: 41.5 / 43.5 / 45.6) Loss of power supply | 3.4 | A2 | 216000
93 | (271000) (SF9 OG) OFFGAS SYSTEM (G2.1.42) CONDUCT OF OPERATIONS Knowledge of new and spent fuel movement procedures (SRO Only) (CFR: 43.7 / 45.13) | 3.4 | G | 271000
94 | (G2.1.19) CONDUCT OF OPERATIONS Ability to use available indications to evaluate system or component status (CFR: 41.10 / 45.12) | 3.8 | G2.1 | G2.1
95 | (G2.1.29) CONDUCT OF OPERATIONS Knowledge of how to conduct system lineups, such as valves, breakers, or switches (CFR: 41.10 / 45.1 / 45.12) | 4 | G2.1 | G2.1
96 | (G2.2.43) EQUIPMENT CONTROL Knowledge of the process used to track inoperable alarms (CFR: 41.10 / 43.5 / 45.13) | 3.3 | G2.2 | G2.2
97 | (G2.2.17) EQUIPMENT CONTROL Knowledge of the process for managing maintenance activities during power operations, such as risk assessments, work prioritization, and coordination with the transmission system operator (CFR: 41.10 / 43.5 / 45.13) | 3.8 | G2.2 | G2.2
98 | (G2.3.12) RADIATION CONTROL Knowledge of radiological safety principles and procedures pertaining to licensed operator duties, such as response to radiation monitor alarms, containment entry requirements, fuel handling responsibilities, access to locked high-radiation areas, or alignment of filters (CFR: 41.12 / 43.4 / 45.9 / 45.10) | 3.7 | G2.3 | G2.3
99 | (G2.4.21) EMERGENCY PROCEDURES / PLAN Knowledge of the parameters and logic used to assess the status of emergency operating procedures critical safety functions or shutdown critical safety functions (CFR: 41.7 / 43.5 / 45.12) | 4.6 | G2.4 | G2.4
100 | (G2.4.5) EMERGENCY PROCEDURES / PLAN Knowledge of the organization of the operating procedures network for normal, abnormal, and emergency evolutions (CFR: 41.10 / 43.5 / 45.13) | 4.3 | G2.4 | G2.4