## Sheet1
Question Number | Topic Title | Topic Importance | K/A Category | System
1 | (700000AK1.02) Knowledge of the operational implications and/or cause and effect relationships of the following concepts as they apply to the (APE 25) GENERATOR VOLTAGE AND ELECTRIC GRID DISTURBANCES: (CFR: 41.4 / 41.5 / 41.7 / 41.10 / 45.8) Over-excitation | 3.1 | K1 | 700000
2 | (295023AA2.03) Ability to determine and/or interpret the following as they apply to (APE 23) REFUELING ACCIDENTS: (CFR: 41.10 / 43.5 / 45.13) Airborne contamination levels | 3.9 | A2 | 295023
3 | (295003AA1.04) Ability to operate and/or monitor the following as they apply to (APE 3) PARTIAL OR COMPLETE LOSS OF AC POWER: (CFR: 41.7 / 45.6) DC electrical distribution system | 3.8 | A1 | 295003
4 | (295021AK2.07) Knowledge of the relationship between the (APE 21) LOSS OF SHUTDOWN COOLING and the following systems or components: (CFR: 41.7 / 45.8) Reactor recirculation | 3.5 | K2 | 295021
5 | (295038EK3.05) Knowledge of the reasons for the following responses or actions as they apply to (EPE 15) HIGH OFFSITE RADIOACTIVITY RELEASE RATE: (CFR: 41.5 / 45.6) Reactor shutdown/SCRAM | 4.1 | K3 | 295038
6 | (295024) (EPE 1) HIGH DRYWELL PRESSURE (G2.4.51) EMERGENCY PROCEDURES / PLAN Knowledge of emergency operating procedure exit conditions (e.g., emergency condition no longer exists or severe accident guideline entry is required) (CFR: 41.10 / 43.5 / 45.13) | 3 | G | 295024
7 | (295019AK2.20) Knowledge of the relationship between the (APE 19) PARTIAL OR COMPLETE LOSS OF INSTRUMENT AIR and the following systems or components: (CFR: 41.7 / 45.8) Control room ventilation | 3.1 | K1 | 295019
8 | (295001AA2.05) Ability to determine and/or interpret the following as they apply to (APE 1) PARTIAL OR COMPLETE LOSS OF FORCED CORE FLOW CIRCULATION: (CFR: 41.10 / 43.5 / 45.13) Jet pump operability | 3.3 | A2 | 295001
9 | (295025EA1.01) Ability to operate and/or monitor the following as they apply to (EPE 2) HIGH REACTOR PRESSURE: (CFR: 41.7 / 45.6) Main and reheat steam | 3.1 | A1 | 295025
10 | (295016AK2.14) Knowledge of the relationship between the (APE 16) CONTROL ROOM ABANDONMENT and the following systems or components: (CFR: 41.7 / 45.8) Cooling water systems | 3.4 | K2 | 295016
11 | (295026EK3.02) Knowledge of the reasons for the following responses or actions as they apply to (EPE 3) SUPPRESSION POOL HIGH WATER TEMPERATURE: (CFR: 41.5 / 45.6) Suppression pool cooling | 3.8 | K3 | 295026
12 | (295018) (APE 18) PARTIAL OR COMPLETE LOSS OF COMPONENT COOLING WATER (CCW) (G2.2.15) EQUIPMENT CONTROL Ability to determine the expected plant configuration using design and configuration control documentation, such as drawings, lineups or, tagouts (reference potential) (CFR: 41.10 / 43.3 / 45.13) | 3.9 | G | 295018
13 | (295037EK1.02) Knowledge of the operational implications and/or cause and effect relationships of the following concepts as they apply to the (EPE 14) SCRAM CONDITION PRESENT AND REACTOR POWER ABOVE APRM DOWNSCALE OR UNKNOWN: (CFR: 41.8 to 41.10) Reactor water level effects on reactor power | 4.3 | K1 | 295037
14 | (295027EA2.02) Ability to determine and/or interpret the following as they apply to (EPE 4) HIGH CONTAINMENT TEMPERATURE (MARK III CONTAINMENT ONLY): (CFR: 41.10 / 43.5 / 45.13) Containment pressure | 4.5 | A2 | 295027
15 | (295004AA1.03) Ability to operate and/or monitor the following as they apply to (APE 4) PARTIAL OR COMPLETE LOSS OF DC POWER: (CFR: 41.7 / 45.6) AC electrical distribution | 3.5 | A1 | 295004
16 | (295005AK2.10) Knowledge of the relationship between the (APE 5) MAIN TURBINE GENERATOR TRIP and the following systems or components: (CFR: 41.7 / 45.8) Reactor water level control system | 3.4 | K2 | 295005
17 | (600000AK3.02) Knowledge of the reasons for the following responses or actions as they apply to (APE 24) PLANT FIRE ON SITE: (CFR: 41.5 / 41.10 / 45.6 / 45.13) Steps called out in the site fire protection plant, fire protection system manual, and fire zone manual | 3.3 | K3 | 600000
18 | (295031) (EPE 8) REACTOR LOW WATER LEVEL (G2.1.14) CONDUCT OF OPERATIONS Knowledge of criteria or conditions that require plantwide announcements, such as pump starts, reactor trips, and mode changes (CFR: 41.10 / 43.5 / 45.12) | 3.1 | G | 295031
19 | (295030EK1.01) Knowledge of the operational implications and/or cause and effect relationships of the following concepts as they apply to the (EPE 7) LOW SUPPRESSION POOL WATER LEVEL: (CFR: 41.8 to 41.10) Steam condensation | 3.9 | K1 | 295030
20 | (295006AA2.04) Ability to determine and/or interpret the following as they apply to (APE 6) SCRAM: (CFR: 41.10 / 43.5 / 45.13) Reactor pressure | 4.3 | A2 | 295006
21 | (295012AK2.01) Knowledge of the relationship between the (APE 12) HIGH DRYWELL TEMPERATURE and the following systems or components: (CFR: 41.7 / 45.8) Drywell ventilation | 3.7 | K2 | 295012
22 | (295036EK3.03) Knowledge of the reasons for the following responses or actions as they apply to (EPE 13) SECONDARY CONTAINMENT HIGH SUMP/AREA WATER LEVEL: (CFR: 41.5 / 41.10 / 45.6) Isolating affected systems | 3.9 | K3 | 295036
23 | (295008) (APE 8) HIGH REACTOR WATER LEVEL (G2.1.31) CONDUCT OF OPERATIONS Ability to locate control room switches, controls, and indications, and to determine that they correctly reflect the desired plant lineup (CFR: 41.10 / 45.12) | 4.6 | G | 295008
24 | (295010AK1.03) Knowledge of the operational implications and/or cause and effect relationships of the following concepts as they apply to the (APE 10) HIGH DRYWELL PRESSURE: (CFR: 41.8 to 41.10) Drywell temperature increase | 3.8 | K1 | 295010
25 | (295020AA2.09) Ability to determine and/or interpret the following as they apply to (APE 20) INADVERTENT CONTAINMENT ISOLATION: (CFR: 41.10 / 43.5 / 45.13) Area/delta temperatures | 3.3 | A2 | 295020
26 | (295022AA1.01) Ability to operate and/or monitor the following as they apply to (APE 22) LOSS OF CONTROL ROD DRIVE PUMPS: (CFR: 41.7 / 45.6) CRD hydraulic system | 3.7 | A1 | 295022
27 | (510000A4.02) Ability to manually operate and/or monitor the (SF4 SWS*) SERVICE WATER SYSTEM in the control room: (CFR: 41.7 / 45.5 to 45.8) Valve operations | 3.6 | A4 | 510000
28 | (205000A2.02) Ability to (a) predict the impacts of the following on the (SF4 SCS) SHUTDOWN COOLING SYSTEM (RHR SHUTDOWN COOLING MODE) and (b) based on those predictions, use procedures to correct, control, or mitigate the consequences of those abnormal operations: (CFR: 41.5 / 45.6) Low shutdown cooling suction pressure | 3.5 | A2 | 205000
29 | (209001K3.03) Knowledge of the effect that a loss or malfunction of the (SF2, SF4 LPCS) LOW PRESSURE CORE SPRAY SYSTEM will have on the following systems or system parameters: (CFR: 41.7 / 45.4) Emergency generators | 3.6 | K3 | 209001
30 | (211000K4.05) Knowledge of (SF1 SLCS) STANDBY LIQUID CONTROL SYSTEM design features and/or interlocks that provide for the following: (CFR: 41.7) Dispersal of boron upon injection into the vessel | 3.3 | K4 | 211000
31 | (264000K5.09) Knowledge of the operational implications or cause and effect relationships of the following concepts as they apply to the (SF6 EGE) EMERGENCY GENERATORS (DIESEL/JET): (CFR: 41.5 / 45.3) Fuel consumption rate | 2.8 | K5 | 264000
32 | (239002A3.01) Ability to monitor automatic operation of the (SF3 SRV) SAFETY RELIEF VALVES including: (CFR: 41.7 / 45.7) SRV operation after ADS actuation | 4.1 | A3 | 239002
33 | (223002A1.03) Ability to predict and/or monitor changes in parameters associated with operation of the (SF5 PCIS) PRIMARY CONTAINMENT ISOLATION SYSTEM / NUCLEAR STEAM SUPPLY SHUTOFF including: (CFR: 41.5 / 45.5) Plant process computer/parameter display systems | 3.3 | A1 | 223002
34 | (400000K2.02) (SF8 CCS) COMPONENT COOLING WATER SYSTEM Knowledge of electrical power supplies to the following: (CFR: 41.7) CCW valves | 2.8 | K2 | 400000
35 | (261000) (SF9 SGTS) STANDBY GAS TREATMENT SYSTEM (G2.1.28) CONDUCT OF OPERATIONS Knowledge of the purpose and function of major system components and controls (CFR: 41.7) | 4.1 | G | 261000
36 | (218000K6.01) Knowledge of the effect of the following plant conditions, system malfunctions, or component malfunctions on the (SF3 ADS) AUTOMATIC DEPRESSURIZATION SYSTEM: (CFR: 41.7 / 45.7) RHR/LPCI pump running permissive | 4.2 | K6 | 218000
37 | (203000K1.05) Knowledge of the physical connections and/or cause and effect relationships between the (SF2, SF4 RHR/LPCI) RHR/LPCI: INJECTION MODE (BWR 3, 4, 5, 6) and the following systems: (CFR: 41.2 to 41.9 / 43.5 / 45.7 / 45.8) Recirculation system (BWR 3, 4) | 3.7 | K1 | 203000
38 | (212000A4.18) Ability to manually operate and/or monitor the (SF7 RPS) REACTOR PROTECTION SYSTEM in the control room: (CFR: 41.7 / 45.5 to 45.8) Transferring RPS power supplies | 3.6 | A4 | 212000
39 | (259002A2.08) Ability to (a) predict the impacts of the following on the (SF2 RWLCS) REACTOR WATER LEVEL CONTROL SYSTEM and (b) based on those predictions, use procedures to correct, control, or mitigate the consequences of those abnormal operations: (CFR: 41.5 / 43.5 / 45.6) Receipt of an ECCS initiation signal: FWCI | 4 | A2 | 259002
40 | (215003K3.02) Knowledge of the effect that a loss or malfunction of the (SF7 IRM) INTERMEDIATE RANGE MONITOR SYSTEM will have on the following systems or system parameters: (CFR: 41.7 / 45.4) Reactor manual control | 3.8 | K3 | 215003
41 | (215005K4.08) Knowledge of (SF7 PRMS) AVERAGE POWER RANGE MONITOR/LOCAL POWER RANGE MONITOR design features and/or interlocks that provide for the following: (CFR: 41.7) Sampling of overall core power in each APRM | 3.5 | K4 | 215005
42 | (263000K5.02) Knowledge of the operational implications or cause and effect relationships of the following concepts as they apply to the (SF6 DC) DC ELECTRICAL DISTRIBUTION: (CFR: 41.5 / 45.3) Battery charger and battery | 3.4 | K5 | 263000
43 | (300000A3.04) Ability to monitor automatic operation of the (SF8 IA) INSTRUMENT AIR SYSTEM including: (CFR: 41.8 / 45.7) Automatic isolation | 3.4 | A3 | 300000
44 | (209002A1.10) Ability to predict and/or monitor changes in parameters associated with operation of the (SF2, SF4 HPCS) HIGH PRESSURE CORE SPRAY SYSTEM including: (CFR: 41.5 / 45.5) Lights and alarms | 3.7 | A1 | 209002
45 | (217000K2.01) (SF2, SF4 RCIC) REACTOR CORE ISOLATION COOLING SYSTEM (BWR 3, 4, 5, 6) Knowledge of electrical power supplies to the following: (CFR: 41.7) Motor-operated valves | 3.3 | K2 | 217000
46 | (215004) (SF7 SRMS) SOURCE RANGE MONITOR SYSTEM (291002K1.13) SENSORS AND DETECTORS (CFR: 41.7) (PRESSURE) Modes of failure | 3.1 | C | 215004
47 | (262001K6.01) Knowledge of the effect of the following plant conditions, system malfunctions, or component malfunctions on the (SF6 AC) AC ELECTRICAL DISTRIBUTION: (CFR: 41.7 / 45.7) DC power | 3.8 | K6 | 262001
48 | (262002K1.03) Knowledge of the physical connections and/or cause and effect relationships between the (SF6 UPS) UNINTERRUPTABLE POWER SUPPLY (AC/DC) and the following systems: (CFR: 41.2 to 41.9 / 45.7 / 45.8) RPIS | 3.5 | K1 | 262002
49 | (510000A4.01) Ability to manually operate and/or monitor the (SF4 SWS*) SERVICE WATER SYSTEM in the control room: (CFR: 41.7 / 45.5 to 45.8) Pump operations | 3.7 | A4 | 510000
50 | (205000A2.05) Ability to (a) predict the impacts of the following on the (SF4 SCS) SHUTDOWN COOLING SYSTEM (RHR SHUTDOWN COOLING MODE) and (b) based on those predictions, use procedures to correct, control, or mitigate the consequences of those abnormal operations: (CFR: 41.5 / 45.6) System isolation | 4 | A2 | 205000
51 | (209001K3.05) Knowledge of the effect that a loss or malfunction of the (SF2, SF4 LPCS) LOW PRESSURE CORE SPRAY SYSTEM will have on the following systems or system parameters: (CFR: 41.7 / 45.4) Drywell cooling | 2.8 | K3 | 209001
52 | (211000K4.10) Knowledge of (SF1 SLCS) STANDBY LIQUID CONTROL SYSTEM design features and/or interlocks that provide for the following: (CFR: 41.7) Overpressure protection | 2.9 | K4 | 211000
53 | (201003K6.02) Knowledge of the effect of the following plant conditions, system malfunctions, or component malfunctions on the (SF1 CRDM) CONTROL ROD AND DRIVE MECHANISM: (CFR: 41.1-6 / 45.1-6) Reactor pressure | 3.5 | K6 | 201003
54 | (245000K1.06) Knowledge of the physical connections and/or cause and effect relationships between the (SF4 MTGEN) MAIN TURBINE GENERATOR AND AUXILIARY SYSTEMS and the following systems: (CFR: 41.2 to 41.9 / 45.7 / 45.8) Component cooling water systems | 3 | K1 | 245000
55 | (272000A4.06) Ability to manually operate and/or monitor the (SF7, SF9 RMS) RADIATION MONITORING SYSTEM in the control room: (CFR: 41.7 / 45.5 to 45.8) Process radiation monitor logic | 2.9 | A4 | 272000
56 | (215001A2.03) Ability to (a) predict the impacts of the following on the (SF7 TIP) TRAVERSING IN CORE PROBE and (b) based on those predictions, use procedures to correct, control, or mitigate the consequences of those abnormal operations: (CFR: 41.5 / 45.6) Drive mechanism failure | 2.9 | A2 | 215001
57 | (234000K3.01) Knowledge of the effect that a loss or malfunction of the (SF8 FH) FUEL HANDLING will have on the following systems or system parameters: (CFR: 41.7 / 45.4) REACTOR MANUAL CONTROL SYSTEM (BWR 2, 3, 4, 5) | 2.8 | K3 | 234000
58 | (219000K4.08) Knowledge of (SF5 RHR SPC) RHR/LPCI: TORUS/SUPPRESSION POOL COOLING MODE design features and/or interlocks that provide for the following: (CFR: 41.7) Adequate pump net positive suction head | 3.5 | K4 | 219000
59 | (230000K5.08) Knowledge of the operational implications or cause and effect relationships of the following concepts as they apply to the (SF5 RHR SPS) RHR/LPCI: TORUS/SUPPRESSION POOL SPRAY MODE: (CFR: 41.5 / 45.3) System lineup | 3.5 | K5 | 230000
60 | (239003A3.07) Ability to monitor automatic operation of the (SF9 MSVLCS) MAIN STEAM ISOLATION VALVE LEAKAGE CONTROL SYSTEM (BWR 4, 5, 6) including: (CFR: 41.7 / 45.7) System lineups | 2.6 | A3 | 239003
61 | (201001A1.03) Ability to predict and/or monitor changes in parameters associated with operation of the (SF1 CRDH) CRD HYDRAULIC SYSTEM including: (CFR: 41.1-2 / 41.5-7 / 41.10 / 45.1-6 / 45.12) CRD system flow | 3.5 | A1 | 201001
62 | (256000K2.01) (SF2 CDS) CONDENSATE SYSTEM Knowledge of electrical power supplies to the following: (CFR: 41.7) System pumps | 3.4 | K2 | 256000
63 | (223001) (SF5 PCS) PRIMARY CONTAINMENT SYSTEM AND AUXILIARIES (G2.4.16) EMERGENCY PROCEDURES / PLAN Knowledge of emergency and abnormal operating procedures implementation hierarchy and coordination with other support procedures or guidelines such as, operating procedures, abnormal operating procedures, or severe accident management guidelines (CFR: 41.10 / 43.5 / 45.13) | 3.5 | G | 223001
64 | (G2.1.40) CONDUCT OF OPERATIONS Knowledge of refueling administrative requirements (CFR: 41.10 / 43.5 / 43.6 / 45.13) | 2.8 | G2.1 | G2.1
65 | (G2.1.15) CONDUCT OF OPERATIONS Knowledge of administrative requirements for temporary management direction, such as standing orders, night orders, or operations memoranda (CFR: 41.10 / 45.12) | 2.7 | G2.1 | G2.1
66 | (G2.2.35) EQUIPMENT CONTROL Ability to determine technical specification mode of operation (CFR: 41.7 / 41.10 / 43.2 / 45.13) | 3.6 | G2.2 | G2.2
67 | (G2.2.3) EQUIPMENT CONTROL (Multi-unit license) Knowledge of the design, procedural, or operational differences between units (CFR: 41.5 / 41.6 / 41.7 / 41.10 / 45.12) | 3.8 | G2.2 | G2.2
68 | (G2.3.12) RADIATION CONTROL Knowledge of radiological safety principles and procedures pertaining to licensed operator duties, such as response to radiation monitor alarms, containment entry requirements, fuel handling responsibilities, access to locked high-radiation areas, or alignment of filters (CFR: 41.12 / 43.4 / 45.9 / 45.10) | 3.2 | G2.3 | G2.3
69 | (G2.4.21) EMERGENCY PROCEDURES / PLAN Knowledge of the parameters and logic used to assess the status of emergency operating procedures critical safety functions or shutdown critical safety functions (CFR: 41.7 / 43.5 / 45.12) | 4 | G2.4 | G2.4
70 | (292008K1.24) REACTOR OPERATIONAL PHYSICS (CFR: 41.1) (POWER OPERATION) Describe the parameters to be monitored and controlled during rod pattern exchanges | 3.2 | R | 292008
71 | (292002K1.14) NEUTRON LIFE CYCLE (CFR: 41.1) Evaluate change in shutdown margin due to changes in plant parameters | 2.9 | R | 292002
72 | (292003K1.04) REACTOR KINETICS AND NEUTRON SOURCES (CFR: 41.1) Define delayed neutron fraction and effective delayed | 2.5 | R | 292003
73 | (293007K1.08) HEAT TRANSFER (CFR: 41.14) (CONDENSER APPLICATIONS OF HEAT TRANSFER) List functions of the main condenser in a power plant | 3.1 | T | 293007
74 | (293006K1.20) FLUID STATICS AND DYNAMICS (CFR: 41.14) (PUMPS AND PUMP CHARACTERISTICS) Describe the problems that will occur in emergency core cooling systems if the pumps are operated at lower than design flow for extended periods of time | 2.9 | T | 293006
75 | (293003K1.12) STEAM (CFR: 41.14) Define the following term: Quality | 2.6 | T | 293003
76 | (700000AA2.01) Ability to determine and/or interpret the following as they apply to (APE 25) GENERATOR VOLTAGE AND ELECTRIC GRID DISTURBANCES: (CFR: 41.5 / 43.5 / 45.5 / 45.7 / 45.8) Operating point on the generator capability curve | 3.2 | A2 | 700000
77 | (295023) (APE 23) REFUELING ACCIDENTS (G2.2.39) EQUIPMENT CONTROL Knowledge of less than or equal to 1 hour technical specification action statements (This K/A does not include action statements of 1 hour or less that follow the expiration of a completion time for a technical specification condition for which an action statement has already been entered.) (CFR: 41.7 / 41.10 / 43.2 / 45.13) | 4.5 | G | 295023
78 | (295003AA2.03) Ability to determine and/or interpret the following as they apply to (APE 3) PARTIAL OR COMPLETE LOSS OF AC POWER: (CFR: 41.10 / 43.5 / 45.13) Battery status | 3.9 | A2 | 295003
79 | (295021) (APE 21) LOSS OF SHUTDOWN COOLING (G2.4.12) EMERGENCY PROCEDURES / PLAN Knowledge of operating crew responsibilities during emergency and abnormal operations (CFR: 41.10 / 45.12) | 4.3 | G | 295021
80 | (295038EA2.02) Ability to determine and/or interpret the following as they apply to (EPE 15) HIGH OFFSITE RADIOACTIVITY RELEASE RATE: (CFR: 41.10 / 43.5 / 45.13) Total number of curies released or release rate/duration | 3.6 | A2 | 295038
81 | (295024) (EPE 1) HIGH DRYWELL PRESSURE (G2.1.2) CONDUCT OF OPERATIONS Knowledge of operator responsibilities during any mode of plant operation (CFR: 41.10 / 43.1 / 45.13) | 4.4 | G | 295024
82 | (295019AA2.01) Ability to determine and/or interpret the following as they apply to (APE 19) PARTIAL OR COMPLETE LOSS OF INSTRUMENT AIR: (CFR: 41.10 / 43.5 / 45.13) Instrument air pressure | 3.9 | A2 | 295019
83 | (295017AA2.01) Ability to determine and/or interpret the following as they apply to (APE 17) ABNORMAL OFFSITE RELEASE RATE: (CFR: 41.10 / 43.5 / 45.13) Offsite release rate | 4.2 | A2 | 295017
84 | (295034) (EPE 11) SECONDARY CONTAINMENT VENTILATION HIGH RADIATION (G2.1.43) CONDUCT OF OPERATIONS Ability to use an online power distribution monitoring system and/or procedures to determine the effects on reactivity of plant changes, such as RCS temperature, secondary plant, or fuel depletion (CFR: 41.10 / 43.6 / 45.6) | 4.3 | G | 295034
85 | (295014AA2.04) Ability to determine and/or interpret the following as they apply to (APE 14) INADVERTENT REACTIVITY ADDITION: (CFR: 41.10 / 43.5 / 45.13) Violation of fuel thermal limits | 4.3 | A2 | 295014
86 | (264000A2.07) Ability to (a) predict the impacts of the following on the (SF6 EGE) EMERGENCY GENERATORS (DIESEL/JET) and (b) based on those predictions, use procedures to correct, control, or mitigate the consequences of those abnormal operations: (CFR: 41.5 / 43.5 / 45.6) Loss of offsite power | 4.6 | A2 | 264000
87 | (239002) (SF3 SRV) SAFETY RELIEF VALVES (G2.1.23) CONDUCT OF OPERATIONS Ability to perform general or normal operating procedures during any plant condition (CFR: 41.10 / 43.5 / 45.2 / 45.6) | 4.4 | G | 239002
88 | (223002A2.09) Ability to (a) predict the impacts of the following on the (SF5 PCIS) PRIMARY CONTAINMENT ISOLATION SYSTEM / NUCLEAR STEAM SUPPLY SHUTOFF and (b) based on those predictions, use procedures to correct, control, or mitigate the consequences of those abnormal operations: (CFR: 41.5 / 45.6) Inadvertent system initiation | 4.1 | A2 | 223002
89 | (400000) (SF8 CCS) COMPONENT COOLING WATER SYSTEM (G2.2.38) EQUIPMENT CONTROL Knowledge of conditions and limitations in the facility license (CFR: 41.7 / 41.10 / 43.1 / 45.13) | 4.5 | G | 400000
90 | (261000A2.07) Ability to (a) predict the impacts of the following on the (SF9 SGTS) STANDBY GAS TREATMENT SYSTEM and (b) based on those predictions, use procedures to correct, control, or mitigate the consequences of those abnormal operations: (CFR: 41.5 / 43.5 / 45.6) AC electrical distribution failure | 3.5 | A2 | 261000
91 | (202002) (SF1 RSCTL) RECIRCULATION FLOW CONTROL SYSTEM (G2.2.44) EQUIPMENT CONTROL Ability to interpret control room indications to verify the status and operation of a system and understand how operator actions and directives affect plant and system conditions (CFR: 41.5 / 43.5 / 45.12) | 4.4 | G | 202002
92 | (226001A2.13) Ability to (a) predict the impacts of the following on the (SF5 RHR CSS) RHR/LPCI: CONTAINMENT SPRAY MODE SYSTEM MODE and (b) based on those predictions, use procedures to correct, control, or mitigate the consequences of those abnormal operations: (CFR: 41.5 / 43.5 / 45.6) Valve logic failure | 3.8 | A2 | 226001
93 | (216000) (SF7 NBI) NUCLEAR BOILER INSTRUMENTATION (G2.2.14) EQUIPMENT CONTROL Knowledge of the process for controlling equipment configuration or status (CFR: 41.10 / 43.3 / 45.13) | 4.3 | G | 216000
94 | (G2.1.3) CONDUCT OF OPERATIONS Knowledge of shift or short-term relief turnover practices (CFR: 41.10 / 45.13) | 3.9 | G2.1 | G2.1
95 | (G2.1.9) CONDUCT OF OPERATIONS Ability to direct licensed personnel activities inside the control room (SRO Only) (CFR: 43.1 / 45.5 / 45.12 / 45.13) | 4.5 | G2.1 | G2.1
96 | (G2.2.18) EQUIPMENT CONTROL Knowledge of the process for managing maintenance activities during shutdown operations, such as risk assessments and work prioritization (CFR: 41.10 / 43.5 / 45.13) | 3.9 | G2.2 | G2.2
97 | (G2.2.36) EQUIPMENT CONTROL Ability to analyze the effect of maintenance activities, such as degraded power sources, on the status of limiting conditions for operation (CFR: 41.10 / 43.2 / 45.13) | 4.2 | G2.2 | G2.2
98 | (G2.3.5) RADIATION CONTROL Ability to use radiation monitoring systems, such as fixed radiation monitors and alarms or personnel monitoring equipment (CFR: 41.11 / 41.12 / 43.4 / 45.9) | 2.9 | G2.3 | G2.3
99 | (G2.4.43) EMERGENCY PROCEDURES / PLAN Knowledge of emergency communications systems and techniques (CFR: 41.10 / 43.5 / 45.13) | 3.8 | G2.4 | G2.4
100 | (G2.4.14) EMERGENCY PROCEDURES / PLAN Knowledge of general guidelines for emergency and abnormal operating procedures usage (CFR: 41.10 / 43.1 / 45.13) | 4.5 | G2.4 | G2.4