## Sheet1
Question Number | Topic Title | Topic Importance | K/A Category | System
1 | (295038) (EPE 15) HIGH OFFSITE RADIOACTIVITY RELEASE RATE (G2.4.22) EMERGENCY PROCEDURES / PLAN Knowledge of the bases for prioritizing safety functions during abnormal/emergency operations (CFR: 41.7 / 41.10 / 43.5 / 45.12) | 3.6 | G | 295038
2 | (295019AK3.02) Knowledge of the reasons for the following responses or actions as they apply to (APE 19) PARTIAL OR COMPLETE LOSS OF INSTRUMENT AIR: (CFR: 41.5 / 45.6) Standby air compressor operation | 3.7 | K3 | 295019
3 | (295001AA2.08) Ability to determine and/or interpret the following as they apply to (APE 1) PARTIAL OR COMPLETE LOSS OF FORCED CORE FLOW CIRCULATION: (CFR: 41.10 / 43.5 / 45.13) Reactor water level | 4.1 | A2 | 295001
4 | (295024EK2.17) Knowledge of the relationship between the (EPE 1) HIGH DRYWELL PRESSURE and the following systems or components: (CFR: 41.7 / 45.8) Secondary containment/auxiliary building isolation | 3.7 | K2 | 295024
5 | (295016AK2.10) Knowledge of the relationship between the (APE 16) CONTROL ROOM ABANDONMENT and the following systems or components: (CFR: 41.7 / 45.8) Shutdown cooling system (RHR shutdown cooling mode) | 3.7 | K1 | 295016
6 | (295006AA1.03) Ability to operate and/or monitor the following as they apply to (APE 6) SCRAM: (CFR: 41.7 / 45.6) Reactor/turbine pressure regulating system | 4.2 | A1 | 295006
7 | (295005) (APE 5) MAIN TURBINE GENERATOR TRIP (G2.2.14) EQUIPMENT CONTROL Knowledge of the process for controlling equipment configuration or status (CFR: 41.10 / 43.3 / 45.13) | 3.9 | G | 295005
8 | (700000AK3.02) Knowledge of the reasons for the following responses or actions as they apply to (APE 25) GENERATOR VOLTAGE AND ELECTRIC GRID DISTURBANCES: (CFR: 41.4 / 41.5 / 41.7 / 41.10 / 45.8) Actions contained in abnormal operating procedure for voltage and grid disturbances | 3.8 | K3 | 700000
9 | (295023AA2.04) Ability to determine and/or interpret the following as they apply to (APE 23) REFUELING ACCIDENTS: (CFR: 41.10 / 43.5 / 45.13) Occurrence of fuel handling accident | 4 | A2 | 295023
10 | (600000AK2.09) Knowledge of the relationship between the (APE 24) PLANT FIRE ON SITE and the following systems or components: (CFR: 41.7 / 45.7) Installed fire suppression systems | 3.5 | K2 | 600000
11 | (295021AK1.01) Knowledge of the operational implications and/or cause and effect relationships of the following concepts as they apply to the (APE 21) LOSS OF SHUTDOWN COOLING:(CFR: 41.8 to 41.10) Decay heat | 4.4 | K1 | 295021
12 | (295025EA1.01) Ability to operate and/or monitor the following as they apply to (EPE 2) HIGH REACTOR PRESSURE: (CFR: 41.7 / 45.6) Main and reheat steam | 3.1 | A1 | 295025
13 | (295027) (EPE 4) HIGH CONTAINMENT TEMPERATURE (MARK III CONTAINMENT ONLY) (G2.2.2) EQUIPMENT CONTROL Ability to manipulate the console controls as required to operate the facility between shutdown and designated power levels (CFR: 41.6 / 41.7 / 45.2) | 4.6 | G | 295027
14 | (295026EK3.05) Knowledge of the reasons for the following responses or actions as they apply to (EPE 3) SUPPRESSION POOL HIGH WATER TEMPERATURE: (CFR: 41.5 / 45.6) Reactor SCRAM | 3.9 | K3 | 295026
15 | (295031EA2.04) Ability to determine and/or interpret the following as they apply to (EPE 8) REACTOR LOW WATER LEVEL: (CFR: 41.10 / 43.5 / 45.13) Adequate core cooling | 4.9 | A2 | 295031
16 | (295004AK2.02) Knowledge of the relationship between the (APE 4) PARTIAL OR COMPLETE LOSS OF DC POWER and the following systems or components: (CFR: 41.7 / 45.8) Batteries | 4.1 | K2 | 295004
17 | (295003AK1.06) Knowledge of the operational implications and/or cause and effect relationships of the following concepts as they apply to the (APE 3) PARTIAL OR COMPLETE LOSS OF AC POWER:(CFR: 41.8 to 41.10) Station blackout | 4.3 | K1 | 295003
18 | (295018AA1.06) Ability to operate and/or monitor the following as they apply to (APE 18) PARTIAL OR COMPLETE LOSS OF COMPONENT COOLING WATER (CCW): (CFR: 41.7 / 45.6) RHR/LPCI | 3.2 | A1 | 295018
19 | (295030) (EPE 7) LOW SUPPRESSION POOL WATER LEVEL (G2.4.30) EMERGENCY PROCEDURES / PLAN Knowledge of events related to system operation/status that must be reported to internal organizations or external agencies, such as the State, the NRC, or the transmission system operator (CFR: 41.10 / 43.5 / 45.11) | 2.7 | G | 295030
20 | (295037EK3.07) Knowledge of the reasons for the following responses or actions as they apply to (EPE 14) SCRAM CONDITION PRESENT AND REACTOR POWER ABOVE APRM DOWNSCALE OR UNKNOWN: (CFR: 41.5 / 41.7 / 45.6) Alternate control rod insertion methods | 4.2 | K3 | 295037
21 | (295032EK2.08) Knowledge of the relationship between the (EPE 9) HIGH SECONDARY CONTAINMENT AREA TEMPERATURE and the following systems or components: (CFR: 41.7 / 45.8) Systems required for safe shut-down | 3.6 | K2 | 295032
22 | (295012AK1.01) Knowledge of the operational implications and/or cause and effect relationships of the following concepts as they apply to the (APE 12) HIGH DRYWELL TEMPERATURE: (CFR: 41.8 to 41.10) Drywell pressure | 4 | K1 | 295012
23 | (295017AA1.13) Ability to operate and/or monitor the following as they apply to (APE 17) ABNORMAL OFFSITE RELEASE RATE: (CFR: 41.7 / 45.6) Control room heating, ventilation and air conditioning | 3.4 | A1 | 295017
24 | (295010) (APE 10) HIGH DRYWELL PRESSURE (G2.4.45) EMERGENCY PROCEDURES / PLAN Ability to prioritize and interpret the significance of each annunciator or alarm (CFR: 41.10 / 43.5 / 45.3 / 45.12) | 4.1 | G | 295010
25 | (295008AK3.09) Knowledge of the reasons for the following responses or actions as they apply to (APE 8) HIGH REACTOR WATER LEVEL: (CFR: 41.5 / 45.6) HPCS injection valve closure | 3.5 | K3 | 295008
26 | (295022AA2.01) Ability to determine and/or interpret the following as they apply to (APE 22) LOSS OF CONTROL ROD DRIVE PUMPS: (CFR: 41.10 / 43.5 / 45.13) Accumulator pressure | 4 | A2 | 295022
27 | (217000A1.09) Ability to predict and/or monitor changes in parameters associated with operation of the (SF2, SF4 RCIC) REACTOR CORE ISOLATION COOLING SYSTEM (BWR 3, 4, 5, 6) including: (CFR: 41.5 / 45.5) Lights and alarms | 3.6 | A1 | 217000
28 | (400000K4.08) Knowledge of (SF8 CCS) COMPONENT COOLING WATER SYSTEM design features and/or interlocks that provide for the following: (CFR: 41.7) System response to LOOP signal | 3.8 | K4 | 400000
29 | (205000A3.01) Ability to monitor automatic operation of the (SF4 SCS) SHUTDOWN COOLING SYSTEM (RHR SHUTDOWN COOLING MODE) including: (CFR: 41.7 / 45.7) Valve operation | 3.7 | A3 | 205000
30 | (263000K3.02) Knowledge of the effect that a loss or malfunction of the (SF6 DC) DC ELECTRICAL DISTRIBUTION will have on the following systems or system parameters: (CFR: 41.7 / 45.4) Operationally significant systems using DC control power | 4.2 | K3 | 263000
31 | (218000K2.01) (SF3 ADS) AUTOMATIC DEPRESSURIZATION SYSTEM Knowledge of electrical power supplies to the following: (CFR: 41.7) ADS logic | 4 | K2 | 218000
32 | (211000A2.06) Ability to (a) predict the impacts of the following on the (SF1 SLCS) STANDBY LIQUID CONTROL SYSTEM and (b) based on those predictions, use procedures to correct, control, or mitigate the consequences of those abnormal operations: (CFR: 41.5 / 43.5 / 45.6) Abnormal valve position | 3.7 | A2 | 211000
33 | (215004) (SF7 SRMS) SOURCE RANGE MONITOR SYSTEM (G2.1.27) CONDUCT OF OPERATIONS Knowledge of system purpose and/or function (CFR: 41.7) | 3.9 | G | 215004
34 | (510000K5.04) Knowledge of the operational implications or cause and effect relationships of the following concepts as they apply to the (SF4 SWS*) SERVICE WATER SYSTEM: (CFR: 41.4 / 41.7 / 45.5) Pipe rupture | 3.3 | K5 | 510000
35 | (212000A4.18) Ability to manually operate and/or monitor the (SF7 RPS) REACTOR PROTECTION SYSTEM in the control room: (CFR: 41.7 / 45.5 to 45.8) Transferring RPS power supplies | 3.6 | A4 | 212000
36 | (203000K1.21) Knowledge of the physical connections and/or cause and effect relationships between the (SF2, SF4 RHR/LPCI) RHR/LPCI: INJECTION MODE (BWR 3, 4, 5, 6) and the following systems: (CFR: 41.2 to 41.9 / 43.5 / 45.7 / 45.8) Remote shutdown system | 3.4 | K1 | 203000
37 | (261000K6.04) Knowledge of the effect of the following plant conditions, system malfunctions, or component malfunctions on the (SF9 SGTS) STANDBY GAS TREATMENT SYSTEM : (CFR: 41.7 / 45.7) Radiation monitoring system | 3.4 | K6 | 261000
38 | (239002A1.04) Ability to predict and/or monitor changes in parameters associated with operation of the (SF3 SRV) SAFETY RELIEF VALVES including: (CFR: 41.5 / 45.5) Reactor pressure | 4.3 | A1 | 239002
39 | (209001K4.01) Knowledge of (SF2, SF4 LPCS) LOW PRESSURE CORE SPRAY SYSTEM design features and/or interlocks that provide for the following: (CFR: 41.7) Prevention of overpressurization of core spray piping | 3.5 | K4 | 209001
40 | (215003A3.04) Ability to monitor automatic operation of the (SF7 IRM) INTERMEDIATE RANGE MONITOR SYSTEM including: (CFR: 41.7 / 45.7) Control rod block signals | 3.9 | A3 | 215003
41 | (262001K3.05) Knowledge of the effect that a loss or malfunction of the (SF6 AC) AC ELECTRICAL DISTRIBUTION will have on the following systems or system parameters: (CFR: 41.7 / 45.4) Qualified offsite power sources | 4.1 | K3 | 262001
42 | (259002K2.03) (SF2 RWLCS) REACTOR WATER LEVEL CONTROL SYSTEM Knowledge of electrical power supplies to the following: (CFR: 41.7) Feedwater controllers | 3.1 | K2 | 259002
43 | (262002A2.03) Ability to (a) predict the impacts of the following on the (SF6 UPS) UNINTERRUPTABLE POWER SUPPLY (AC/DC) and (b) based on those predictions, use procedures to correct, control, or mitigate the consequences of those abnormal operations: (CFR: 41.5 / 43.5 / 45.6) Frequency malfunctions in the system | 3 | A2 | 262002
44 | (300000) (SF8 IA) INSTRUMENT AIR SYSTEM (291006K1.01) HEAT EXCHANGERS AND CONDENSERS (CFR: 41.4) Startup/shutdown of a heat exchanger | 2.7 | C | 300000
45 | (209002K5.04) Knowledge of the operational implications or cause and effect relationships of the following concepts as they apply to the (SF2, SF4 HPCS) HIGH PRESSURE CORE SPRAY SYSTEM : (CFR: 41.5 / 45.3) Adequate core cooling | 4.5 | K5 | 209002
46 | (264000A4.04) Ability to manually operate and/or monitor the (SF6 EGE) EMERGENCY GENERATORS (DIESEL/JET) in the control room: (CFR: 41.7 / 45.5 to 45.8) Starting, loading, unloading, and stopping of emergency generator | 4.1 | A4 | 264000
47 | (215005K1.10) Knowledge of the physical connections and/or cause and effect relationships between the (SF7 PRMS) AVERAGE POWER RANGE MONITOR/LOCAL POWER RANGE MONITOR and the following systems: (CFR: 41.2 to 41.9 / 45.7 / 45.8) RMCS (BWR 2, 3, 4, 5) | 3.5 | K1 | 215005
48 | (223002K6.06) Knowledge of the effect of the following plant conditions, system malfunctions, or component malfunctions on the (SF5 PCIS) PRIMARY CONTAINMENT ISOLATION SYSTEM / NUCLEAR STEAM SUPPLY SHUTOFF : (CFR: 41.7 / 45.7) Various process instrumentation | 3.2 | K6 | 223002
49 | (217000A1.01) Ability to predict and/or monitor changes in parameters associated with operation of the (SF2, SF4 RCIC) REACTOR CORE ISOLATION COOLING SYSTEM (BWR 3, 4, 5, 6) including: (CFR: 41.5 / 45.5) RCIC flow | 4.1 | A1 | 217000
50 | (400000K4.01) Knowledge of (SF8 CCS) COMPONENT COOLING WATER SYSTEM design features and/or interlocks that provide for the following: (CFR: 41.7) Automatic start of standby pump | 3.4 | K4 | 400000
51 | (205000A3.02) Ability to monitor automatic operation of the (SF4 SCS) SHUTDOWN COOLING SYSTEM (RHR SHUTDOWN COOLING MODE) including: (CFR: 41.7 / 45.7) Pump operation | 3.7 | A3 | 205000
52 | (263000K3.03) Knowledge of the effect that a loss or malfunction of the (SF6 DC) DC ELECTRICAL DISTRIBUTION will have on the following systems or system parameters: (CFR: 41.7 / 45.4) Systems with DC components (e.g., valves, motors, solenoids, instruments) | 3.8 | K3 | 263000
53 | (290003K1.04) Knowledge of the physical connections and/or cause and effect relationships between the (SF9 CRV) CONTROL ROOM VENTILATION and the following systems: (CFR: 41.2 to 41.9 / 45.7 / 45.8) Nuclear steam supply system (NSSSS/PCIS) | 2.8 | K1 | 290003
54 | (219000K6.08) Knowledge of the effect of the following plant conditions, system malfunctions, or component malfunctions on the (SF5 RHR SPC) RHR/LPCI: TORUS/SUPPRESSION POOL COOLING MODE: (CFR: 41.7 / 45.7) ECCS room cooling | 3.3 | K6 | 219000
55 | (233000A1.09) Ability to predict and/or monitor changes in parameters associated with operation of the (SF9 FPCCU) FUEL POOL COOLING/CLEANUP including: (CFR: 41.5 / 45.5) Fuel pool clarity | 2.5 | A1 | 233000
56 | (510001K4.05) Knowledge of (SF8 CWS*) CIRCULATING WATER SYSTEM design features and/or interlocks that provide for the following: (CFR: 41.7) Reactor power reduction | 3.3 | K4 | 510001
57 | (290001A3.02) Ability to monitor automatic operation of the (SF5 SC) SECONDARY CONTAINMENT including: (CFR: 41.7 / 45.7) Normal building differential pressure | 3.7 | A3 | 290001
58 | (286000K3.13) Knowledge of the effect that a loss or malfunction of the (SF8 FPS) FIRE PROTECTION SYSTEM will have on the following systems or system parameters: (CFR: 41.7 / 45.4) Emergency core cooling systems | 3 | K3 | 286000
59 | (201003A2.05) Ability to (a) predict the impacts of the following on the (SF1 CRDM) CONTROL ROD AND DRIVE MECHANISM and (b) based on those predictions, use procedures to correct, control, or mitigate the consequences of those abnormal operations: (CFR: 41.1-6 / 45.1-6) Reactor SCRAM | 4.5 | K2 | 201003
60 | (290002A2.01) Ability to (a) predict the impacts of the following on the (SF4 RVI) REACTOR VESSEL INTERNALS and (b) based on those predictions, use procedures to correct, control, or mitigate the consequences of those abnormal operations: (CFR: 41.5 / 43.5 / 45.6) LOCA | 4.6 | A2 | 290002
61 | (226001) (SF5 RHR CSS) RHR/LPCI: CONTAINMENT SPRAY MODE SYSTEM MODE (G2.1.30) CONDUCT OF OPERATIONS Ability to locate and operate components, including local controls (CFR: 41.7 / 45.7) | 4.4 | G | 226001
62 | (215001K5.02) Knowledge of the operational implications or cause and effect relationships of the following concepts as they apply to the (SF7 TIP) TRAVERSING IN CORE PROBE: (CFR: 41.5 / 45.3) Area radiation monitor indications | 2.8 | K5 | 215001
63 | (271000A4.07) Ability to manually operate and/or monitor the (SF9 OG) OFFGAS SYSTEM in the control room: (CFR: 41.7 / 45.5 to 45.8) System differential pressures | 2.7 | A4 | 271000
64 | (G2.1.28) CONDUCT OF OPERATIONS Knowledge of the purpose and function of major system components and controls (CFR: 41.7) | 4.1 | G2.1 | G2.1
65 | (G2.1.44) CONDUCT OF OPERATIONS Knowledge of RO duties in the control room during fuel handling, such as responding to alarms from the fuel handling area, communication with fuel handling personnel, operating systems from the control room in support of fueling operations, or supporting instrumentation (CFR: 41.10 / 43.7 / 45.12) | 3.9 | G2.1 | G2.1
66 | (G2.2.40) EQUIPMENT CONTROL Ability to apply technical specifications with action statements of less than or equal to 1 hour (CFR: 41.10 / 43.2 / 43.5 / 45.3) | 3.4 | G2.2 | G2.2
67 | (G2.2.17) EQUIPMENT CONTROL Knowledge of the process for managing maintenance activities during power operations, such as risk assessments, work prioritization, and coordination with the transmission system operator (CFR: 41.10 / 43.5 / 45.13) | 2.6 | G2.2 | G2.2
68 | (G2.3.11) RADIATION CONTROL Ability to control radiation releases (CFR: 41.11 / 43.4 / 45.10) | 3.8 | G2.3 | G2.3
69 | (G2.4.12) EMERGENCY PROCEDURES / PLAN Knowledge of operating crew responsibilities during emergency and abnormal operations (CFR: 41.10 / 45.12) | 4 | G2.4 | G2.4
70 | (292006K1.06) FISSION PRODUCT POISONS (CFR: 41.1) Describe the following processes and state their effect on reactor operations: --Transient xenon | 2.7 | R | 292006
71 | (292001K1.05) NEUTRONS (CFR: 41.1) Identify characteristics of good moderators | 2.6 | R | 292001
72 | (292002K1.10) NEUTRON LIFE CYCLE (CFR: 41.1) Define shutdown margin | 3.5 | R | 292002
73 | (293006K1.07) FLUID STATICS AND DYNAMICS (CFR: 41.14) (PUMPS AND PUMP CHARACTERISTICS) State the purpose of a pump | 2.6 | T | 293006
74 | (293008K1.08) THERMAL HYDRAULICS (CFR: 41.14) (POOL BOILING CURVE (TEMPERATURE VS. HEAT FLUX)) Describe departure from nucleate boiling | 3.1 | T | 293008
75 | (293004K1.12) THERMODYNAMIC PROCESS (CFR: 41.14) (CONDENSERS) Describe the process of condensate depression (subcooling) and its effect on plant operation | 3.1 | T | 293004
76 | (295038) (EPE 15) HIGH OFFSITE RADIOACTIVITY RELEASE RATE (G2.1.14) CONDUCT OF OPERATIONS Knowledge of criteria or conditions that require plantwide announcements, such as pump starts, reactor trips, and mode changes (CFR: 41.10 / 43.5 / 45.12) | 3.1 | G | 295038
77 | (295019AA2.01) Ability to determine and/or interpret the following as they apply to (APE 19) PARTIAL OR COMPLETE LOSS OF INSTRUMENT AIR: (CFR: 41.10 / 43.5 / 45.13) Instrument air pressure | 3.9 | A2 | 295019
78 | (295001) (APE 1) PARTIAL OR COMPLETE LOSS OF FORCED CORE FLOW CIRCULATION (G2.4.23) EMERGENCY PROCEDURES / PLAN Knowledge of the bases for prioritizing emergency operating procedures implementation (CFR: 41.10 / 43.5 / 45.13) | 4.4 | G | 295001
79 | (295024EA2.01) Ability to determine and/or interpret the following as they apply to (EPE 1) HIGH DRYWELL PRESSURE: (CFR: 41.10 / 43.5 / 45.13) Drywell pressure | 4.4 | A2 | 295024
80 | (295016) (APE 16) CONTROL ROOM ABANDONMENT (G2.1.46) CONDUCT OF OPERATIONS Ability to use integrated control systems to operate plant systems or components (CFR: 41.10/ 45.12 / 45.13) | 3.3 | G | 295016
81 | (295006AA2.04) Ability to determine and/or interpret the following as they apply to (APE 6) SCRAM: (CFR: 41.10 / 43.5 / 45.13) Reactor pressure | 4.1 | A2 | 295006
82 | (295005) (APE 5) MAIN TURBINE GENERATOR TRIP (G2.4.50) EMERGENCY PROCEDURES / PLAN Ability to verify system alarm setpoints and operate controls identified in the alarm response procedure (CFR: 41.10 / 43.5 / 45.3) | 4 | G | 295005
83 | (295013) (APE 13) HIGH SUPPRESSION POOL TEMPERATURE. (G2.3.14) RADIATION CONTROL Knowledge of radiation or contamination hazards that may arise during normal, abnormal, or emergency conditions or activities, such as analysis and interpretation of radiation and activity readings as they pertain to administrative, normal, abnormal, and emergency procedures, or analysis and interpretation of coolant activity, including comparison to emergency plan or regulatory limits (SRO Only) (CFR: 43.4 / 45.10) | 3.8 | G | 295013
84 | (295036EA2.01) Ability to determine and/or interpret the following as they apply to (EPE 13) SECONDARY CONTAINMENT HIGH SUMP/AREA WATER LEVEL: (CFR: 41.10 / 43.5 / 45.13) Operability of components within the affected area | 3.7 | A2 | 295036
85 | (295014) (APE 14) INADVERTENT REACTIVITY ADDITION (G2.4.21) EMERGENCY PROCEDURES / PLAN Knowledge of the parameters and logic used to assess the status of emergency operating procedures critical safety functions or shutdown critical safety functions (CFR: 41.7 / 43.5 / 45.12) | 4.6 | G | 295014
86 | (218000) (SF3 ADS) AUTOMATIC DEPRESSURIZATION SYSTEM (G2.4.52) EMERGENCY PROCEDURES / PLAN Knowledge of the lines of authority during implementation of the emergency plan, emergency plan implementing procedures, emergency operating procedures, or severe accident guidelines (CFR: 41.10 / 45.13) | 4 | G | 218000
87 | (211000A2.09) Ability to (a) predict the impacts of the following on the (SF1 SLCS) STANDBY LIQUID CONTROL SYSTEM and (b) based on those predictions, use procedures to correct, control, or mitigate the consequences of those abnormal operations: (CFR: 41.5 / 43.5 / 45.6) Automatic or manual initiation failure | 4.1 | A2 | 211000
88 | (215004) (SF7 SRMS) SOURCE RANGE MONITOR SYSTEM (G2.1.6) CONDUCT OF OPERATIONS Ability to manage the control room crew during plant transients (SRO Only) (CFR: 43.5 / 45.12 / 45.13) | 4.8 | G | 215004
89 | (510000A2.03) Ability to (a) predict the impacts of the following on the (SF4 SWS*) SERVICE WATER SYSTEM and (b) based on those predictions, use procedures to correct, control, or mitigate the consequences of those abnormal operations: (CFR: 41.1 / 41.5 / 43.5 / 45.3 / 45.6 / 45.13) Intake/discharge blockage | 3.5 | A2 | 510000
90 | (212000) (SF7 RPS) REACTOR PROTECTION SYSTEM (G2.1.38) CONDUCT OF OPERATIONS Knowledge of the station\u2019s requirements for verbal communications when implementing procedures (CFR: 41.10 / 45.13) | 3.8 | G | 212000
91 | (202002A2.01) Ability to (a) predict the impacts of the following on the (SF1 RSCTL) RECIRCULATION FLOW CONTROL SYSTEM and (b) based on those predictions, use procedures to correct, control, or mitigate the consequences of those abnormal operations: (CFR: 41.5 / 43.5 / 45.6) Recirculation pump trip | 4.3 | A2 | 202002
92 | (204000) (SF2 RWCU) REACTOR WATER CLEANUP SYSTEM (G2.4.2) EMERGENCY PROCEDURES / PLAN Knowledge of system setpoints, interlocks and automatic actions associated with emergency and abnormal operating procedure entry conditions (CFR: 41.7 / 45.7 / 45.8) | 4.6 | G | 204000
93 | (272000A2.09) Ability to (a) predict the impacts of the following on the (SF7, SF9 RMS) RADIATION MONITORING SYSTEM and (b) based on those predictions, use procedures to correct, control, or mitigate the consequences of those abnormal operations: (CFR: 41.5 / 45.6) Low fuel pool level | 3.6 | A2 | 272000
94 | (G2.1.32) CONDUCT OF OPERATIONS Ability to explain and apply system precautions, limitations, notes, or cautions (CFR: 41.10 / 43.2 / 45.12) | 4 | G2.1 | G2.1
95 | (G2.1.3) CONDUCT OF OPERATIONS Knowledge of shift or short-term relief turnover practices (CFR: 41.10 / 45.13) | 3.9 | G2.1 | G2.1
96 | (G2.2.38) EQUIPMENT CONTROL Knowledge of conditions and limitations in the facility license (CFR: 41.7 / 41.10 / 43.1 / 45.13) | 4.5 | G2.2 | G2.2
97 | (G2.2.43) EQUIPMENT CONTROL Knowledge of the process used to track inoperable alarms (CFR: 41.10 / 43.5 / 45.13) | 3.3 | G2.2 | G2.2
98 | (G2.3.12) RADIATION CONTROL Knowledge of radiological safety principles and procedures pertaining to licensed operator duties, such as response to radiation monitor alarms, containment entry requirements, fuel handling responsibilities, access to locked high-radiation areas, or alignment of filters (CFR: 41.12 / 43.4 / 45.9 / 45.10) | 3.7 | G2.3 | G2.3
99 | (G2.4.44) EMERGENCY PROCEDURES / PLAN Knowledge of emergency plan implementing procedures protective action recommendations (SRO Only) (CFR: 41.10 / 41.12 / 43.5 / 45.11) | 4.4 | G2.4 | G2.4
100 | (G2.4.31) EMERGENCY PROCEDURES / PLAN Knowledge of annunciator alarms, indications, or response procedures (CFR: 41.10 / 45.3) | 4.1 | G2.4 | G2.4