## Sheet1
Question Number | Topic Title | Topic Importance | K/A Category | System
1 | (295027EA1.02) Ability to operate and/or monitor the following as they apply to (EPE 4) HIGH CONTAINMENT TEMPERATURE (MARK III CONTAINMENT ONLY): (CFR: 41.7 / 45.6) Containment ventilation/cooling | 3.7 | A1 | 295027
2 | (295024EK1.01) Knowledge of the operational implications and/or cause and effect relationships of the following concepts as they apply to the (EPE 1) HIGH DRYWELL PRESSURE: (CFR: 41.8 to 41.10) Drywell integrity | 4.3 | K1 | 295024
3 | (295005AK2.01) Knowledge of the relationship between the (APE 5) MAIN TURBINE GENERATOR TRIP and the following systems or components: (CFR: 41.7 / 45.8) RPS | 4.1 | K2 | 295005
4 | (295023) (APE 23) REFUELING ACCIDENTS (G2.1.27) CONDUCT OF OPERATIONS Knowledge of system purpose and/or function (CFR: 41.7) | 3.9 | G | 295023
5 | (295037EA2.09) Ability to determine and/or interpret the following as they apply to (EPE 14) SCRAM CONDITION PRESENT AND REACTOR POWER ABOVE APRM DOWNSCALE OR UNKNOWN: (CFR: 41.10 / 43.5 / 45.13) SCRAM air header pressure | 3.5 | A2 | 295037
6 | (600000AK3.04) Knowledge of the reasons for the following responses or actions as they apply to (APE 24) PLANT FIRE ON SITE: (CFR: 41.5 / 41.10 / 45.6 / 45.13) Actions contained in the fire response procedures for a plant fire on site | 3.6 | K3 | 600000
7 | (295019AA1.02) Ability to operate and/or monitor the following as they apply to (APE 19) PARTIAL OR COMPLETE LOSS OF INSTRUMENT AIR: (CFR: 41.7 / 45.6) System valves | 3.2 | A1 | 295019
8 | (295038EK1.05) Knowledge of the operational implications and/or cause and effect relationships of the following concepts as they apply to the (EPE 15) HIGH OFFSITE RADIOACTIVITY RELEASE RATE: (CFR: 41.8 to 41.10) Exceeding limits for gaseous/liquid releases | 4.1 | K1 | 295038
9 | (295016AK2.15) Knowledge of the relationship between the (APE 16) CONTROL ROOM ABANDONMENT and the following systems or components: (CFR: 41.7 / 45.8) Main turbine and auxiliaries | 2.6 | K2 | 295016
10 | (295030) (EPE 7) LOW SUPPRESSION POOL WATER LEVEL (G2.4.20) EMERGENCY PROCEDURES / PLAN Knowledge of the operational implications of emergency and abnormal operating procedures warnings, cautions, and notes (CFR: 41.10 / 43.5 / 45.13) | 3.8 | G | 295030
11 | (295004AA2.04) Ability to determine and/or interpret the following as they apply to (APE 4) PARTIAL OR COMPLETE LOSS OF DC POWER: (CFR: 41.10 / 43.5 / 45.13) System lineups | 3.2 | A2 | 295004
12 | (295025EK3.05) Knowledge of the reasons for the following responses or actions as they apply to (EPE 2) HIGH REACTOR PRESSURE: (CFR: 41.5 / 45.6) RCIC operation | 3.5 | K3 | 295025
13 | (295006AA1.04) Ability to operate and/or monitor the following as they apply to (APE 6) SCRAM: (CFR: 41.7 / 45.6) Recirculation system | 3.8 | A1 | 295006
14 | (295021AK1.04) Knowledge of the operational implications and/or cause and effect relationships of the following concepts as they apply to the (APE 21) LOSS OF SHUTDOWN COOLING:(CFR: 41.8 to 41.10) Natural circulation | 3.9 | K1 | 295021
15 | (295001AK2.01) Knowledge of the relationship between the (APE 1) PARTIAL OR COMPLETE LOSS OF FORCED CORE FLOW CIRCULATION and the following systems or components: (CFR: 41.7 / 45.8) Recirculation system | 4.1 | K2 | 295001
16 | (295018) (APE 18) PARTIAL OR COMPLETE LOSS OF COMPONENT COOLING WATER (CCW) (G2.4.29) EMERGENCY PROCEDURES / PLAN Knowledge of the emergency plan implementing procedures (CFR: 41.10 / 43.5 / 45.11) | 3.1 | G | 295018
17 | (295003AA2.02) Ability to determine and/or interpret the following as they apply to (APE 3) PARTIAL OR COMPLETE LOSS OF AC POWER: (CFR: 41.10 / 43.5 / 45.13) Reactor power, pressure, and level | 4.4 | A2 | 295003
18 | (295026EK3.02) Knowledge of the reasons for the following responses or actions as they apply to (EPE 3) SUPPRESSION POOL HIGH WATER TEMPERATURE: (CFR: 41.5 / 45.6) Suppression pool cooling | 3.8 | K3 | 295026
19 | (700000AA1.06) Ability to operate and/or monitor the following as they apply to (APE 25) GENERATOR VOLTAGE AND ELECTRIC GRID DISTURBANCES: (CFR: 41.5 / 41.10 / 45.5 / 45.7 / 45.8) AC electrical distribution system | 3.5 | A1 | 700000
20 | (295031EK1.01) Knowledge of the operational implications and/or cause and effect relationships of the following concepts as they apply to the (EPE 8) REACTOR LOW WATER LEVEL: (CFR: 41.8 to 41.10) Adequate core cooling | 4.7 | K1 | 295031
21 | (295007) (APE 7) HIGH REACTOR PRESSURE (G2.1.15) CONDUCT OF OPERATIONS Knowledge of administrative requirements for temporary management direction, such as standing orders, night orders, or operations memoranda (CFR: 41.10 / 45.12) | 2.7 | G | 295007
22 | (295013AA2.02) Ability to determine and/or interpret the following as they apply to (APE 13) HIGH SUPPRESSION POOL TEMPERATURE.: (CFR: 41.10 / 43.5 / 45.13) Localized heating/stratification | 3.5 | A2 | 295013
23 | (295032EK3.01) Knowledge of the reasons for the following responses or actions as they apply to (EPE 9) HIGH SECONDARY CONTAINMENT AREA TEMPERATURE: (CFR: 41.5 / 45.6) RPV emergency/normal depressurization | 4 | K3 | 295032
24 | (295036EA1.02) Ability to operate and/or monitor the following as they apply to (EPE 13) SECONDARY CONTAINMENT HIGH SUMP/AREA WATER LEVEL: (CFR: 41.7 / 45.6 / 45.8) Affected systems so as to isolate damaged portions | 3.6 | A1 | 295036
25 | (295009AK1.01) Knowledge of the operational implications and/or cause and effect relationships of the following concepts as they apply to the (APE 9) LOW REACTOR WATER LEVEL: (CFR: 41.8 to 41.10) Steam carryunder | 2.9 | K1 | 295009
26 | (295033EK2.03) Knowledge of the relationship between the (EPE 10) HIGH SECONDARY CONTAINMENT AREA RADIATION LEVELS and the following systems or components: (CFR: 41.7 / 45.8) Secondary containment ventilation | 3.6 | K2 | 295033
27 | (209001K4.03) Knowledge of (SF2, SF4 LPCS) LOW PRESSURE CORE SPRAY SYSTEM design features and/or interlocks that provide for the following: (CFR: 41.7) Motor cooling | 2.9 | K4 | 209001
28 | (212000) (SF7 RPS) REACTOR PROTECTION SYSTEM (G2.4.30) EMERGENCY PROCEDURES / PLAN Knowledge of events related to system operation/status that must be reported to internal organizations or external agencies, such as the State, the NRC, or the transmission system operator (CFR: 41.10 / 43.5 / 45.11) | 2.7 | G | 212000
29 | (259002A2.05) Ability to (a) predict the impacts of the following on the (SF2 RWLCS) REACTOR WATER LEVEL CONTROL SYSTEM and (b) based on those predictions, use procedures to correct, control, or mitigate the consequences of those abnormal operations: (CFR: 41.5 / 43.5 / 45.6) Loss of applicable plant air systems | 3.3 | A2 | 259002
30 | (203000A4.14) Ability to manually operate and/or monitor the (SF2, SF4 RHR/LPCI) RHR/LPCI: INJECTION MODE (BWR 3, 4, 5, 6) in the control room: (CFR: 41.7 / 45.5 to 45.8) Testable check valves | 2.6 | A4 | 203000
31 | (261000K2.01) (SF9 SGTS) STANDBY GAS TREATMENT SYSTEM Knowledge of electrical power supplies to the following: (CFR: 41.7) Standby gas treatment system fans | 3.5 | K2 | 261000
32 | (215005K3.10) Knowledge of the effect that a loss or malfunction of the (SF7 PRMS) AVERAGE POWER RANGE MONITOR/LOCAL POWER RANGE MONITOR will have on the following systems or system parameters: (CFR: 41.7 / 45.4) OPRM | 3.7 | K3 | 215005
33 | (218000K6.02) Knowledge of the effect of the following plant conditions, system malfunctions, or component malfunctions on the (SF3 ADS) AUTOMATIC DEPRESSURIZATION SYSTEM: (CFR: 41.7 / 45.7) Low-pressure core spray pump running permissive | 4.2 | K6 | 218000
34 | (262001A1.08) Ability to predict and/or monitor changes in parameters associated with operation of the (SF6 AC) AC ELECTRICAL DISTRIBUTION including: (CFR: 41.5 / 45.5) System power | 3.3 | A1 | 262001
35 | (211000K1.11) Knowledge of the physical connections and/or cause and effect relationships between the (SF1 SLCS) STANDBY LIQUID CONTROL SYSTEM and the following systems: (CFR: 41.2 to 41.9 / 45.7 / 45.8) Redundant reactivity control system | 3.6 | K1 | 211000
36 | (223002A3.02) Ability to monitor automatic operation of the (SF5 PCIS) PRIMARY CONTAINMENT ISOLATION SYSTEM / NUCLEAR STEAM SUPPLY SHUTOFF including: (CFR: 41.7 / 45.7) Valve closures | 4.3 | A3 | 223002
37 | (209002K5.01) Knowledge of the operational implications or cause and effect relationships of the following concepts as they apply to the (SF2, SF4 HPCS) HIGH PRESSURE CORE SPRAY SYSTEM : (CFR: 41.5 / 45.3) Indications of pump cavitation | 3.5 | K5 | 209002
38 | (263000K4.04) Knowledge of (SF6 DC) DC ELECTRICAL DISTRIBUTION design features and/or interlocks that provide for the following: (CFR: 41.7) Battery charging methods | 2.9 | K4 | 263000
39 | (300000) (SF8 IA) INSTRUMENT AIR SYSTEM (291001K1.08) VALVES (CFR: 41.3) Emergency/manual operation of motor-operated valves with motor inoperable | 3.5 | C | 300000
40 | (205000A2.06) Ability to (a) predict the impacts of the following on the (SF4 SCS) SHUTDOWN COOLING SYSTEM (RHR SHUTDOWN COOLING MODE) and (b) based on those predictions, use procedures to correct, control, or mitigate the consequences of those abnormal operations: (CFR: 41.5 / 45.6) Pump trips | 4 | A2 | 205000
41 | (262002A4.01) Ability to manually operate and/or monitor the (SF6 UPS) UNINTERRUPTABLE POWER SUPPLY (AC/DC) in the control room: (CFR: 41.7 / 45.5 to 45.8) Transfer of power sources | 3.1 | A4 | 262002
42 | (239002K2.01) (SF3 SRV) SAFETY RELIEF VALVES Knowledge of electrical power supplies to the following: (CFR: 41.7) SRV solenoids | 3.7 | K2 | 239002
43 | (215004K3.02) Knowledge of the effect that a loss or malfunction of the (SF7 SRMS) SOURCE RANGE MONITOR SYSTEM will have on the following systems or system parameters: (CFR: 41.7 / 45.4) RMCS (BWR 2, 3, 4, 5) | 3.5 | K3 | 215004
44 | (400000K6.08) Knowledge of the effect of the following plant conditions, system malfunctions, or component malfunctions on the (SF8 CCS) COMPONENT COOLING WATER SYSTEM : (CFR: 41.7 / 45.7) Service water system | 3.7 | K6 | 400000
45 | (264000A1.09) Ability to predict and/or monitor changes in parameters associated with operation of the (SF6 EGE) EMERGENCY GENERATORS (DIESEL/JET) including: (CFR: 41.5 / 45.5) Generator load | 3.9 | A1 | 264000
46 | (510000K1.04) Knowledge of the physical connections and/or cause and effect relationships between the (SF4 SWS*) SERVICE WATER SYSTEM and the following systems: (CFR: 41.4 to 41.8 / 45.7 / 45.8) Emergency generators (diesel/jet) | 3.4 | K1 | 510000
47 | (217000A3.07) Ability to monitor automatic operation of the (SF2, SF4 RCIC) REACTOR CORE ISOLATION COOLING SYSTEM (BWR 3, 4, 5, 6) including: (CFR: 41.7 / 45.7) Trips and isolations | 4.2 | A3 | 217000
48 | (215003K5.03) Knowledge of the operational implications or cause and effect relationships of the following concepts as they apply to the (SF7 IRM) INTERMEDIATE RANGE MONITOR SYSTEM: (CFR: 41.5 / 45.3) Changing detector position | 3.3 | K5 | 215003
49 | (209001K4.05) Knowledge of (SF2, SF4 LPCS) LOW PRESSURE CORE SPRAY SYSTEM design features and/or interlocks that provide for the following: (CFR: 41.7) Pump minimum flow | 3.4 | K4 | 209001
50 | (212000) (SF7 RPS) REACTOR PROTECTION SYSTEM (G2.4.3) EMERGENCY PROCEDURES / PLAN Ability to identify post-accident instrumentation (CFR: 41.6 / 45.4) | 3.7 | G | 212000
51 | (259002A2.09) Ability to (a) predict the impacts of the following on the (SF2 RWLCS) REACTOR WATER LEVEL CONTROL SYSTEM and (b) based on those predictions, use procedures to correct, control, or mitigate the consequences of those abnormal operations: (CFR: 41.5 / 43.5 / 45.6) FWCI system failure alarm | 3.3 | A2 | 259002
52 | (203000A4.06) Ability to manually operate and/or monitor the (SF2, SF4 RHR/LPCI) RHR/LPCI: INJECTION MODE (BWR 3, 4, 5, 6) in the control room: (CFR: 41.7 / 45.5 to 45.8) System reset following automatic initiation | 3.6 | A4 | 203000
53 | (219000A3.01) Ability to monitor automatic operation of the (SF5 RHR SPC) RHR/LPCI: TORUS/SUPPRESSION POOL COOLING MODE including: (CFR: 41.7 / 45.7) Valve operation | 3.9 | A3 | 219000
54 | (201005K5.08) Knowledge of the operational implications or cause and effect relationships of the following concepts as they apply to the (SF1, SF7 RCIS) ROD CONTROL AND INFORMATION SYSTEM (BWR 6): (CFR: 41.5 to 41.7 / 45.3 / 45.5) Transition zone | 3.2 | K5 | 201005
55 | (226001K4.05) Knowledge of (SF5 RHR CSS) RHR/LPCI: CONTAINMENT SPRAY MODE SYSTEM MODE design features and/or interlocks that provide for the following: (CFR: 41.7) Pump minimum flow protection | 3.2 | K4 | 226001
56 | (215001) (SF7 TIP) TRAVERSING IN CORE PROBE (291003K1.04) CONTROLLERS AND POSITIONERS (CFR: 41.7) Function and operation of pressure and temperature controllers, including pressure and temperature control valves | 3.3 | C | 215001
57 | (290002A2.05) Ability to (a) predict the impacts of the following on the (SF4 RVI) REACTOR VESSEL INTERNALS and (b) based on those predictions, use procedures to correct, control, or mitigate the consequences of those abnormal operations: (CFR: 41.5 / 43.5 / 45.6) Exceeding thermal limits | 4.4 | A2 | 290002
58 | (204000A4.01) Ability to manually operate and/or monitor the (SF2 RWCU) REACTOR WATER CLEANUP SYSTEM in the control room: (CFR: 41.7 / 45.5 to 45.8) System pumps | 3.3 | A4 | 204000
59 | (239003K2.01) (SF9 MSVLCS) MAIN STEAM ISOLATION VALVE LEAKAGE CONTROL SYSTEM (BWR 4, 5, 6) Knowledge of electrical power supplies to the following: (CFR: 41.7) Motor-operated valves | 2.7 | K2 | 239003
60 | (202001K3.16) Knowledge of the effect that a loss or malfunction of the (SF1, SF4 RS) RECIRCULATION SYSTEM will have on the following systems or system parameters: (CFR: 41.5 to 41.7 / 45.4) Reactor pressure | 3.5 | K3 | 202001
61 | (286000K6.07) Knowledge of the effect of the following plant conditions, system malfunctions, or component malfunctions on the (SF8 FPS) FIRE PROTECTION SYSTEM : (CFR: 41.7 / 45.7) Diesel-driven fire pump | 3.4 | K6 | 286000
62 | (201001A1.07) Ability to predict and/or monitor changes in parameters associated with operation of the (SF1 CRDH) CRD HYDRAULIC SYSTEM including: (CFR: 41.1-2 / 41.5-7 / 41.10 / 45.1-6 / 45.12) Reactor water level | 3.4 | A1 | 201001
63 | (230000K1.11) Knowledge of the physical connections and/or cause and effect relationships between the (SF5 RHR SPS) RHR/LPCI: TORUS/SUPPRESSION POOL SPRAY MODE and the following systems: (CFR: 41.2 to 41.9 / 45.7 / 45.8) LPCI/RHR system | 4 | K1 | 230000
64 | (G2.1.31) CONDUCT OF OPERATIONS Ability to locate control room switches, controls, and indications, and to determine that they correctly reflect the desired plant lineup (CFR: 41.10 / 45.12) | 4.6 | G2.1 | G2.1
65 | (G2.1.20) CONDUCT OF OPERATIONS Ability to interpret and execute procedure steps (CFR: 41.10 / 43.5 / 45.12) | 4.6 | G2.1 | G2.1
66 | (G2.2.23) EQUIPMENT CONTROL Ability to track technical specification limiting conditions for operation (CFR: 41.10 / 43.2 / 45.13) | 3.1 | G2.2 | G2.2
67 | (G2.2.36) EQUIPMENT CONTROL Ability to analyze the effect of maintenance activities, such as degraded power sources, on the status of limiting conditions for operation (CFR: 41.10 / 43.2 / 45.13) | 3.1 | G2.2 | G2.2
68 | (G2.3.5) RADIATION CONTROL Ability to use radiation monitoring systems, such as fixed radiation monitors and alarms or personnel monitoring equipment (CFR: 41.11 / 41.12 / 43.4 / 45.9) | 2.9 | G2.3 | G2.3
69 | (G2.4.25) EMERGENCY PROCEDURES / PLAN Knowledge of fire protection procedures (CFR: 41.10 / 43.5 / 45.13) | 3.3 | G2.4 | G2.4
70 | (292004K1.01) REACTIVITY COEFFICIENTS (CFR: 41.1) Define the moderator temperature coefficient of reactivity | 3.2 | R | 292004
71 | (292003K1.06) REACTOR KINETICS AND NEUTRON SOURCES (CFR: 41.1) Explain the effect of delayed neutrons on reactor period | 3.7 | R | 292003
72 | (292001K1.04) NEUTRONS (CFR: 41.1) Describe neutron moderation | 3.2 | R | 292001
73 | (293003K1.16) STEAM (CFR: 41.14) Define the following term: Subcooling | 2.8 | T | 293003
74 | (293008K1.17) THERMAL HYDRAULICS (CFR: 41.14) (TWO-PHASE FLOW) Describe onset of transition boiling point along a hypothetical fuel channel, experiencing two phase flow | 2.8 | T | 293008
75 | (293009K1.35) CORE THERMAL LIMITS (CFR: 41.14) (PELLET-CLAD INTERACTION) Describe the effects of iodine and cadmium on pellet-clad interaction | 2.6 | T | 293009
76 | (295027) (EPE 4) HIGH CONTAINMENT TEMPERATURE (MARK III CONTAINMENT ONLY) (G2.1.17) CONDUCT OF OPERATIONS Ability to make accurate, clear, and concise verbal reports (CFR: 41.10 / 45.12 / 45.13) | 4 | G | 295027
77 | (295024EA2.08) Ability to determine and/or interpret the following as they apply to (EPE 1) HIGH DRYWELL PRESSURE: (CFR: 41.10 / 43.5 / 45.13) Drywell radiation levels | 3.6 | A2 | 295024
78 | (295005) (APE 5) MAIN TURBINE GENERATOR TRIP (G2.4.17) EMERGENCY PROCEDURES / PLAN Knowledge of emergency and abnormal operating procedures terms and definitions (CFR: 41.10 / 45.13) | 4.3 | G | 295005
79 | (295023AA2.04) Ability to determine and/or interpret the following as they apply to (APE 23) REFUELING ACCIDENTS: (CFR: 41.10 / 43.5 / 45.13) Occurrence of fuel handling accident | 3.6 | A2 | 295023
80 | (295037) (EPE 14) SCRAM CONDITION PRESENT AND REACTOR POWER ABOVE APRM DOWNSCALE OR UNKNOWN (G2.4.21) EMERGENCY PROCEDURES / PLAN Knowledge of the parameters and logic used to assess the status of emergency operating procedures critical safety functions or shutdown critical safety functions (CFR: 41.7 / 43.5 / 45.12) | 4.6 | G | 295037
81 | (600000AA2.07) Ability to determine and/or interpret the following as they apply to (APE 24) PLANT FIRE ON SITE: (CFR: 41.10 / 43.5 / 45.13) Whether malfunction(s) are due to common-mode electrical failures | 3 | A2 | 600000
82 | (295019) (APE 19) PARTIAL OR COMPLETE LOSS OF INSTRUMENT AIR (G2.2.35) EQUIPMENT CONTROL Ability to determine technical specification mode of operation (CFR: 41.7 / 41.10 / 43.2 / 45.13) | 4.5 | G | 295019
83 | (295010) (APE 10) HIGH DRYWELL PRESSURE (G2.2.44) EQUIPMENT CONTROL Ability to interpret control room indications to verify the status and operation of a system and understand how operator actions and directives affect plant and system conditions (CFR: 41.5 / 43.5 / 45.12) | 4.4 | G | 295010
84 | (295002AA2.05) Ability to determine and/or interpret the following as they apply to (APE 2) LOSS OF MAIN CONDENSER VACUUM: (CFR: 41.10 / 43.5 / 45.13) Condensate temperature | 2.8 | A2 | 295002
85 | (295017) (APE 17) ABNORMAL OFFSITE RELEASE RATE (G2.2.43) EQUIPMENT CONTROL Knowledge of the process used to track inoperable alarms (CFR: 41.10 / 43.5 / 45.13) | 3.3 | G | 295017
86 | (261000) (SF9 SGTS) STANDBY GAS TREATMENT SYSTEM (G2.2.21) EQUIPMENT CONTROL Knowledge of pre- and post-maintenance operability requirements (CFR: 41.10 / 43.2) | 4.1 | G | 261000
87 | (215005A2.05) Ability to (a) predict the impacts of the following on the (SF7 PRMS) AVERAGE POWER RANGE MONITOR/LOCAL POWER RANGE MONITOR and (b) based on those predictions, use procedures to correct, control, or mitigate the consequences of those abnormal operations: (CFR: 41.5 / 43.5 / 45.6) Loss of recirculation flow signal | 3.9 | A2 | 215005
88 | (218000) (SF3 ADS) AUTOMATIC DEPRESSURIZATION SYSTEM (G2.4.2) EMERGENCY PROCEDURES / PLAN Knowledge of system setpoints, interlocks and automatic actions associated with emergency and abnormal operating procedure entry conditions (CFR: 41.7 / 45.7 / 45.8) | 4.6 | G | 218000
89 | (262001A2.06) Ability to (a) predict the impacts of the following on the (SF6 AC) AC ELECTRICAL DISTRIBUTION and (b) based on those predictions, use procedures to correct, control, or mitigate the consequences of those abnormal operations: (CFR: 41.5 / 43.5 / 45.6) Loss of a plant bus | 3.8 | A2 | 262001
90 | (211000) (SF1 SLCS) STANDBY LIQUID CONTROL SYSTEM (G2.3.11) RADIATION CONTROL Ability to control radiation releases (CFR: 41.11 / 43.4 / 45.10) | 4.3 | G | 211000
91 | (510001A2.04) Ability to (a) predict the impacts of the following on the (SF8 CWS*) CIRCULATING WATER SYSTEM and (b) based on those predictions, use procedures to correct, control, or mitigate the consequences of those abnormal operations: (CFR: 41.1 / 41.5 / 43.5 / 45.3 / 45.6 / 45.13) System leakage/rupture | 3.5 | A2 | 510001
92 | (245000) (SF4 MTGEN) MAIN TURBINE GENERATOR AND AUXILIARY SYSTEMS (G2.2.14) EQUIPMENT CONTROL Knowledge of the process for controlling equipment configuration or status (CFR: 41.10 / 43.3 / 45.13) | 4.3 | G | 245000
93 | (223001A2.03) Ability to (a) predict the impacts of the following on the (SF5 PCS) PRIMARY CONTAINMENT SYSTEM AND AUXILIARIES and (b) based on those predictions, use procedures to correct, control, or mitigate the consequences of those abnormal operations: (CFR: 41.5 / 45.6) Safety/relief valve leaking or stuck-open | 4 | A2 | 223001
94 | (G2.1.35) CONDUCT OF OPERATIONS Knowledge of the fuel handling responsibilities of SROs (SRO Only) (CFR: 43.7) | 3.9 | G2.1 | G2.1
95 | (G2.1.7) CONDUCT OF OPERATIONS Ability to evaluate plant performance and make operational judgments based on operating characteristics, reactor behavior, and instrument interpretation (CFR: 41.5 / 43.5 / 45.12 / 45.13) | 4.7 | G2.1 | G2.1
96 | (G2.2.12) EQUIPMENT CONTROL Knowledge of surveillance procedures (CFR: 41.10 / 43.2 / 45.13) | 4.1 | G2.2 | G2.2
97 | (G2.2.4) EQUIPMENT CONTROL (Multi-unit license) Ability to explain the variations in control room layouts, systems, instrumentation, or procedural actions between units at a facility (CFR: 41.6 / 41.7 / 41.10 / 45.1 / 45.13) | 3.6 | G2.2 | G2.2
98 | (G2.3.14) RADIATION CONTROL Knowledge of radiation or contamination hazards that may arise during normal, abnormal, or emergency conditions or activities, such as analysis and interpretation of radiation and activity readings as they pertain to administrative, normal, abnormal, and emergency procedures, or analysis and interpretation of coolant activity, including comparison to emergency plan or regulatory limits (SRO Only) (CFR: 43.4 / 45.10) | 3.8 | G2.3 | G2.3
99 | (G2.4.19) EMERGENCY PROCEDURES / PLAN Knowledge of emergency and abnormal operating procedures layout, symbols, and icons (CFR: 41.10 / 45.13) | 4.1 | G2.4 | G2.4
100 | (G2.4.49) EMERGENCY PROCEDURES / PLAN Ability to perform without reference to procedures those actions that require immediate operation of system components and controls (CFR: 41.10 / 43.2 / 45.6) | 4.4 | G2.4 | G2.4