## Sheet1
Question Number | Topic Title | Topic Importance | K/A Category | System
1 | (056AK1.01) Knowledge of the operational implications and/or cause and effect relationships of the following concepts as they apply to (APE 56) Loss of Offsite Power (CFR: 41.8 / 41.10 / 45.3): Principle of cooling by natural circulation | 4.3 | K1 | 395015
2 | (395005) 000015 (APE 15) Reactor Coolant Pump Malfunctions (G2.1.34) CONDUCT OF OPERATIONS: Knowledge of RCS or balance-of-plant chemistry controls, including parameters measured and reasons for the control (CFR: 41.10 / 43.5 / 45.12) | 2.7 | G | 395005
3 | (027AK3.05) Knowledge of the reasons for the following responses and/or actions as they apply to (APE 27) PRESSURIZER PRESSURE Control System Malfunction (CFR: 41.5 / 41.10 / 45.6 / 45.13): Actions to be taken if the PZR pressure instrument fails high | 4 | K3 | 395009
4 | (009EK2.04) Knowledge of the relationship between (EPE 9) SMALL-Break LOCA and the following systems or components (CFR: 41.7 / 45.7): RCS pressure, PZR level, ECCS flow or subcooling indications | 3.9 | K2 | 395003
5 | (065AA1.04) Ability to operate and/or monitor the following as they apply to (APE 65) LOSS OF Instrument Air (CFR: 41.7 / 45.5 / 45.6): Emergency air compressor | 3.4 | A1 | 395019
6 | (008AA2.01) Ability to determine and/or interpret the following as they apply to (APE 8) PRESSURIZER VAPOR Space Accident (CFR: 43.5 / 45.13): RCS pressure and temperature | 4 | A2 | 395002
7 | (BE10EK1.09) Knowledge of the operational implications and/or cause and effect relationships of the following concepts as they apply to (BW E10) POST-TRIP STABILIZATION (CFR: 41.5 / 41.7 / 45.7 / 45.8): Primary to secondary heat transfer | 4 | K1 | 395001
8 | (395023) (BW E04; W E05) Inadequate Heat Transfer – Loss of Secondary Heat Sink (G2.2.36) EQUIPMENT CONTROL: Ability to analyze the effect of maintenance activities, such as degraded power sources, on the status of limiting conditions for operation (CFR: 41.10 / 43.2 / 45.13) | 3.1 | G | 395023
9 | (058AK3.01) Knowledge of the reasons for the following responses and/or actions as they apply to (APE 58) LOSS OF DC Power (CFR: 41.5 / 41.10 / 45.6 / 45.13): Operation of the EDGs | 4 | K3 | 395017
10 | (062AK2.06) Knowledge of the relationship between (APE 62) LOSS OF SERVICE WATER and the following systems or components (CFR: 41.7 / 45.7): RHR | 3.7 | K2 | 395018
11 | (054AA1.01) Ability to operate and/or monitor the following as they apply to (APE 54) LOSS OF Main Feedwater (CFR: 41.7 / 45.5 / 45.6): AFW system | 4.2 | A1 | 395013
12 | (026AA2.04) Ability to determine and/or interpret the following as they apply to (APE 26) LOSS OF Component Cooling Water (CFR: 41.10 / 43.5 / 45.13): The normal values and upper limits for the temperatures of the components cooled by CCW | 2.8 | A2 | 395008
13 | (025AK1.02) Knowledge of the operational implications and/or cause and effect relationships of the following concepts as they apply to (APE 25) LOSS OF RESIDUAL Heat Removal System (CFR: 41.8 / 41.10 / 45.3): Core cooling | 4.2 | K1 | 395007
14 | (395020) 000077 (APE 77) Generator Voltage and Electric Grid Disturbances (G2.1.41) CONDUCT OF OPERATIONS: Knowledge of the refueling process (CFR: 41.2 / 41.10 / 43.6 / 45.13) | 2.8 | G | 395020
15 | (029EK3.04) Knowledge of the reasons for the following responses and/or actions as they apply to (EPE 29) ANTICIPATED TRANSIENT WITHOUT SCRAM (ATWS) (CFR: 41.5 / 41.10 / 45.6 / 45.13): Closing the normal charging header isolation valves | 3 | K3 | 395010
16 | (022AK2.11) Knowledge of the relationship between (APE 22) LOSS OF REACTOR Coolant Makeup and the following systems or components (CFR: 41.7 / 45.7): RCPS | 3.5 | K2 | 395006
17 | (038EA1.01) Ability to operate and/or monitor the following as they apply to (EPE 38) STEAM GENERATOR Tube Rupture (CFR: 41.7 / 45.5 / 45.6): SGS | 3.8 | A1 | 395011
18 | (011EA2.07) Ability to determine and/or interpret the following as they apply to (EPE 11) LARGE-Break LOCA (CFR: 43.5 / 45.13): ECCS pump water seal parameters | 3.1 | A2 | 395004
19 | (001AK1.24) Knowledge of the operational implications and/or cause and effect relationships of the following concepts as they apply to (APE 1) CONTINUOUS Rod Withdrawal (CFR: 41.8 / 41.10 / 45.3): Effect of rod motion on PZR level | 3 | K1 | 395024
20 | (395048) (BW A02 & A03) Loss of NNI-X/Y (G2.1.15) CONDUCT OF OPERATIONS: Knowledge of administrative requirements for temporary management direction, such as standing orders, night orders, or operations memoranda (CFR: 41.10 / 45.12) | 2.7 | G | 395048
21 | (BE03EK3.21) Knowledge of the reasons for the following responses and/or actions as they apply to (BW E03) INADEQUATE Subcooling Margin (CFR: 41.5 / 41.10 / 45.6 / 45.13): Implement floating steps | 3.3 | K3 | 395052
22 | (032AK2.01) Knowledge of the relationship between (APE 32) LOSS OF SOURCE RANGE Nuclear Instrumentation and the following systems or components (CFR: 41.7 / 45.7): Power supplies | 3.2 | K2 | 395029
23 | (059AA1.03) Ability to operate and/or monitor the following as they apply to (APE 59) ACCIDENTAL LIQUID Radwaste Release (CFR: 41.7 / 45.5 / 45.6): Flow rate controller | 3 | A1 | 395034
24 | (BE14EA2.21) Ability to determine and/or interpret the following as they apply to (BW E14) EOP ENCLOSURES (CFR: 41.10 / 43.5 / 45.13): Auxiliary cooling water pressure | 3 | A2 | 395055
25 | (BE09EK1.10) Knowledge of the operational implications and/or cause and effect relationships of the following concepts as they apply to (BW E09) NATURAL CIRCULATION COOLDOWN (CFR: 41.5 / 41.7 / 45.7 / 45.8): SDM | 3.6 | K1 | 395054
26 | (395038) 000068 (APE 68; BW A06) Control Room Evacuation (G2.4.19) EMERGENCY PROCEDURES/PLAN: Knowledge of emergency and abnormal operating procedures layout, symbols, and icons (CFR: 41.10 / 45.13) | 3.4 | G | 395038
27 | (078K4.02) Knowledge of (SF8 IAS) INSTRUMENT AIR SYSTEM design features and/or interlocks that provide for the following (CFR: 41.7): Crossover to other pneumatic systems | 3.1 | K4 | 400078
28 | (013K2.01) Knowledge of electrical power supplies to the following (CFR: 41.7): (SF2 ESFAS) ENGINEERED SAFETY FEATURES ACTUATION SYSTEM ESFAS/safeguards train power supplies | 4 | K2 | 400013
29 | (053A4.01) Ability to manually operate and/or monitor the (SF1 ICS) INTEGRATED CONTROL SYSTEM (BW) in the control room (CFR: 41.7 / 45.5 to 45.8): Feedwater (e.g., loop demand, delta Tc, MFW pumps, startup control valves, or low-load control valves) | 3.7 | A4 | 400053
30 | (039A2.05) Ability to (a) predict the impacts of the following on the (SF4S MSS) MAIN AND REHEAT STEAM SYSTEM and (b) based on those predictions, use procedures to correct, control, or mitigate the consequences of those abnormal operations (CFR: 41.5 / 43.5 / 45.3 / 45.13): Increasing steam demand and its relationship to increases in reactor power | 4.5 | A2 | 400039
31 | (064A1.10) Ability to predict and/or monitor changes in parameters associated with operation of the (SF6 EDG) EMERGENCY DIESEL GENERATOR SYSTEM, including (CFR: 41.5 / 45.5): Generator operating parameters | 3.6 | A1 | 400064
32 | (073A1.02) Ability to predict and/or monitor changes in parameters associated with operation of the (SF7 PRM) PROCESS RADIATION MONITORING SYSTEM, including (CFR: 41.5 / 8-9): Lights and alarms | 3.2 | K5 | 400073
33 | (022K1.05) Knowledge of the physical connections and/or cause and effect relationships between the (SF5 CCS) CONTAINMENT COOLING SYSTEM and the following systems (CFR: 41.9 / 45.7 / 45.8): ESFAS | 4.1 | K1 | 400022
34 | (012K6.12) Knowledge of the effect of the following plant conditions, system malfunctions, or component malfunctions on the (SF7 RPS) REACTOR PROTECTION SYSTEM (CFR: 41.7 / 45.7): 120 V vital/instrument power system | 3.9 | K6 | 400012
35 | (400008) 008 (SF8 CCW) COMPONENT COOLING WATER SYSTEM (G2.4.5) EMERGENCY PROCEDURES/PLAN: Knowledge of the organization of the operating procedures network for normal, abnormal, and emergency evolutions (CFR: 41.10 / 43.5 / 45.13) | 3.7 | G | 400008
36 | (061K3.02) Knowledge of the effect that a loss or malfunction of the (SF4S AFW) AUXILIARY/EMERGENCY FEEDWATER SYSTEM will have on the following systems or system parameters (CFR: 41.5 / 41.7 / 45.6): S/G system | 4.3 | K3 | 400061
37 | (026A3.02) Ability to monitor automatic features of the (SF5 CSS) CONTAINMENT SPRAY SYSTEM, including (CFR: 41.7 / 45.5): Verification that cooling water is supplied to the containment spray heat exchanger | 3.5 | A3 | 400026
38 | (076K4.04) Knowledge of (SF4S SW) SERVICE WATER SYSTEM design features and/or interlocks that provide for the following (CFR: 41.7): Intake water level recorders | 2.8 | K4 | 400076
39 | (063K2.02) Knowledge of electrical power supplies to the following: (SF6 ED DC) DC ELECTRICAL DISTRIBUTION SYSTEM (CFR: 41.7) Battery room ventilation | 2.5 | K2 | 400063
40 | (005A4.01) Ability to manually operate and/or monitor the (SF4P RHR) RESIDUAL HEAT REMOVAL SYSTEM in the control room (CFR: 41.7 / 45.5 to 45.8): Controls and indication for RHR pumps | 4 | A4 | 400005
41 | (004A2.16) Ability to (a) predict the impacts of the following on the (SF1; SF2 CVCS) CHEMICAL AND VOLUME CONTROL SYSTEM and (b) based on those predictions, use procedures to correct, control, or mitigate the consequences of those abnormal operations (CFR: 41.5 to 41.7 / 43.5 / 45.3 / 45.5): T-ave. and T-ref. deviations | 3 | A2 | 400004
42 | (006A1.18) Ability to predict and/or monitor changes in parameters associated with operation of the (SF2; SF3 ECCS) EMERGENCY CORE COOLING SYSTEM, including (CFR: 41.5 / 45.3 to 45.5): PZR level and pressure | 3.8 | A1 | 400006
43 | (010K5.07) Knowledge of the operational implications or cause and effect relationships of the following concepts as they apply to the (SF3 PZR PCS) PRESSURIZER PRESSURE CONTROL SYSTEM (CFR: 41.5 / 45.7): Reactor trip | 4 | K5 | 400010
44 | (103K1.03) Knowledge of the physical connections and/or cause and effect relationships between the (SF5 CNT) CONTAINMENT SYSTEM and the following systems (CFR: 41.9 / 45.7 / 45.8): Shield building vent system | 3.3 | K1 | 400103
45 | (003K6.04) Knowledge of the effect of the following plant conditions, system malfunctions, or component malfunctions on the (SF4P RCP) REACTOR COOLANT PUMP SYSTEM (CFR: 41.7 / 45.5): Containment isolation valves affecting RCP operation | 3.8 | K6 | 400003
46 | (400007) 007 (SF5 PRTS) PRESSURIZER RELIEF/QUENCH TANK SYSTEM (191005K1.01) MOTORS AND GENERATORS (CFR: 41.7): Indication of a locked rotor | 3.1 | C | 400007
47 | (059K3.06) Knowledge of the effect that a loss or malfunction of the (SF4S MFW) MAIN FEEDWATER SYSTEM will have on the following systems or system parameters (CFR: 41.7 / 45.6): ESFAS | 3.8 | K3 | 400059
48 | (062A3.06) Ability to monitor automatic features of the (SF6 ED AC) AC ELECTRICAL DISTRIBUTION SYSTEM, including (CFR: 41.7 / 45.5): Tripping of loads, buses, or transformers due to protective relaying | 3.7 | A3 | 400062
49 | (078K4.05) Knowledge of (SF8 IAS) INSTRUMENT AIR SYSTEM design features and/or interlocks that provide for the following (CFR: 41.7): Isolation of instrument air to containment | 3.2 | K4 | 400078
50 | (013A3.12) Ability to monitor automatic features of the (SF2 ESFAS) ENGINEERED SAFETY FEATURES ACTUATION SYSTEM, including (CFR: 41.6 to 41.8 / 45.5): ESFAS permissives | 3.9 | K2 | 400013
51 | (053A4.04) Ability to manually operate and/or monitor the (SF1 ICS) INTEGRATED CONTROL SYSTEM (BW) in the control room (CFR: 41.7 / 45.5 to 45.8): ULD | 3.5 | A4 | 400053
52 | (039A2.01) Ability to (a) predict the impacts of the following on the (SF4S MSS) MAIN AND REHEAT STEAM SYSTEM and (b) based on those predictions, use procedures to correct, control, or mitigate the consequences of those abnormal operations (CFR: 41.5 / 43.5 / 45.3 / 45.13): Decrease in turbine load as it relates to steam escaping from relief valves | 3.8 | A2 | 400039
53 | (064A1.09) Ability to predict and/or monitor changes in parameters associated with operation of the (SF6 EDG) EMERGENCY DIESEL GENERATOR SYSTEM, including (CFR: 41.5 / 45.5): Diesel engine operating parameters | 3.6 | A1 | 400064
54 | (073A4.03) Ability to manually operate and/or monitor the (SF7 PRM) PROCESS RADIATION MONITORING SYSTEM in the control room (CFR: 41.7 / 45.8 / 45.9): Check source for operability demonstration | 2.9 | K5 | 400073
55 | (026K4.04) Knowledge of (SF5 CSS) CONTAINMENT SPRAY SYSTEM design features and/or interlocks that provide for the following (CFR: 41.7): Reduction of temperature and pressure in containment after a LOCA by condensing steam to reduce radiological hazard and protect equipment from corrosion damage (spray) | 3.7 | K4 | 400026
56 | (078K2.01) Knowledge of electrical power supplies to the following: (SF8 IAS) INSTRUMENT AIR SYSTEM (CFR: 41.7) Instrument air compressor | 3.3 | K2 | 400078
57 | (059A4.03) Ability to manually operate and/or monitor the (SF4S MFW) MAIN FEEDWATER SYSTEM in the control room (CFR: 41.7 / 45.5 to 45.8): Feedwater control during power increase and decrease | 3.6 | A4 | 400059
58 | (062A2.02) Ability to (a) predict the impacts of the following on the (SF6 ED AC) AC ELECTRICAL DISTRIBUTION SYSTEM and (b) based on those predictions, use procedures to correct, control, or mitigate the consequences of those abnormal operations (CFR: 41.5 / 43.5 / 45.3 / 45.13): Grounds | 3.3 | A2 | 400062
59 | (073A1.01) Ability to predict and/or monitor changes in parameters associated with operation of the (SF7 PRM) PROCESS RADIATION MONITORING SYSTEM, including (CFR: 41.5 / 8-9): Radiation levels | 3.5 | A1 | 400073
60 | (012K5.02) Knowledge of the operational implications or cause and effect relationships of the following concepts as they apply to the (SF7 RPS) REACTOR PROTECTION SYSTEM (CFR: 41.5 / 45.7): Power density | 3.7 | K5 | 400012
61 | (103K1.09) Knowledge of the physical connections and/or cause and effect relationships between the (SF5 CNT) CONTAINMENT SYSTEM and the following systems (CFR: 41.9 / 45.7 / 45.8): CPS | 3.5 | K1 | 400103
62 | (063K6.04) Knowledge of the effect of the following plant conditions, system malfunctions, or component malfunctions on the (SF6 ED DC) DC ELECTRICAL DISTRIBUTION SYSTEM (CFR: 41.7 / 45.7): Battery room ventilation | 2.6 | K6 | 400063
63 | (400025) 025 (SF5 ICE) ICE CONDENSER SYSTEM (G2.4.49) EMERGENCY PROCEDURES/PLAN: Ability to perform without reference to procedures those actions that require immediate operation of system components and controls (CFR: 41.10 / 43.2 / 45.6) | 4.6 | G | 400025
64 | (G2.1.37) CONDUCT OF OPERATIONS: Knowledge of procedures, guidelines, or limitations associated with reactivity management (CFR: 41.1 / 41.5 / 41.10 / 43.6 / 45.6) | 4.3 | G2.1 | G2.1
65 | (G2.1.45) CONDUCT OF OPERATIONS: Ability to identify and interpret diverse indications to validate the response of another indication. (CFR: 41.7 / 43.5 / 45.4) | 4.3 | G2.1 | G2.1
66 | (G2.2.43) EQUIPMENT CONTROL: Knowledge of the process used to track inoperable alarms (CFR: 41.10 / 43.5 / 45.13) | 3 | G2.2 | G2.2
67 | (G2.2.4) EQUIPMENT CONTROL: (Multi-unit license) Ability to explain the variations in control room layouts, systems, instrumentation, and/or procedural actions between units at a facility (CFR: 41.6 / 41.7 / 41.10 / 45.1 / 45.13) | 3.6 | G2.2 | G2.2
68 | (G2.3.5) RADIATION CONTROL: Ability to use RMSs, such as fixed radiation monitors and alarms or personnel monitoring equipment (CFR: 41.11 / 41.12 / 43.4 / 45.9) | 2.9 | G2.3 | G2.3
69 | (G2.4.51) EMERGENCY PROCEDURES/PLAN: Knowledge of emergency operating procedure exit conditions (e.g., emergency condition no longer exists or severe accident guideline entry is required) (CFR: 41.10 / 43.5 /45.13) | 3 | G2.4 | G2.4
70 | (192002K1.07) NEUTRON LIFE CYCLE (CFR: 41.1): Define K-eff and discuss its relationship to the state of a reactor (critical, subcritical, and supercritical) | 3.1 | R | 192002
71 | (192007K1.01) FUEL DEPLETION AND BURNABLE POISONS (CFR: 41.1): Define burnable poison and state its use in the reactor | 2.5 | R | 192007
72 | (192008K1.13) REACTOR OPERATIONAL PHYSICS (CFR: 41.1): (INTERMEDIATE RANGE OPERATION) Discuss the concept of the POAH and its impact on reactor power | 3.6 | R | 192008
73 | (193004K1.11) THERMODYNAMIC PROCESS (CFR: 41.14): (CONDENSERS) Describe the process of condensate depression (subcooling) and its effect on plant operation | 2.5 | T | 193004
74 | (193009K1.01) CORE THERMAL LIMITS (CFR: 41.14): Explain radial peaking factor | 2.8 | T | 193009
75 | (193006K1.06) FLUID STATICS AND DYNAMICS (CFR: 41.14): Define or explain the following term or concept: -- mass flow rate | 3 | T | 193006
76 | (040AA2.01) Ability to determine and/or interpret the following as they apply to (APE 40) STEAM LINE RUPTURE (CFR: 41.10 / 43.5 / 45.13): Occurrence and location of a steamline rupture from pressure and flow indications | 4 | A2 | 395012
77 | (395016) 000057 (APE 57) Loss of Vital AC Instrument Bus (G2.1.39) CONDUCT OF OPERATIONS: Knowledge of conservative decision-making practices (CFR: 41.10 / 43.5 / 45.12) | 4.3 | G | 395016
78 | (055EA2.01) Ability to determine and/or interpret the following as they apply to (EPE 55) Station Blackout (CFR: 43.5 / 45.13): Existing valve positioning | 3.6 | A2 | 395014
79 | (395015) 000056 (APE 56) Loss of Offsite Power (G2.4.41) EMERGENCY PROCEDURES/PLAN: Knowledge of the emergency action level thresholds and classifications (SRO Only) (CFR: 43.5 / 45.11) | 4.6 | G | 395015
80 | (015AA2.07) Ability to determine and/or interpret the following as they apply to (APE 15) REACTOR COOLANT Pump Malfunctions (CFR: 43.5 / 45.13): Expected values of flow or temperature in the RCS and/or loop with the RCP secured | 3.2 | A2 | 395005
81 | (395009) 000027 (APE 27) Pressurizer Pressure Control System Malfunction (G2.4.23) EMERGENCY PROCEDURES/PLAN: Knowledge of the bases for prioritizing emergency operating procedures implementation (CFR: 41.10 / 43.5 / 45.13) | 4.4 | G | 395009
82 | (051AA2.04) Ability to determine and/or interpret the following as they apply to (APE 51) LOSS OF Condenser Vacuum (CFR: 43.5 / 45.13): Gland steam header pressure | 2.9 | A2 | 395033
83 | (395026) 000005 (APE 5) Inoperable/Stuck Control Rod (G2.4.30) EMERGENCY PROCEDURES/PLAN: Knowledge of events related to system operation/status that must be reported to internal organizations or external agencies, such as the State, the NRC, or the transmission system operator (CFR: 41.10 / 43.5 / 45.11) | 4.1 | G | 395026
84 | (BA04AA2.12) Ability to determine and/or interpret the following as they apply to (BW A04) Turbine Trip (CFR: 41.10 / 43.5 / 45.13): Secondary chemistry | 2.5 | A2 | 395049
85 | (395039) 000069 (APE 69; W E14) Loss of Containment Integrity (G2.2.14) EQUIPMENT CONTROL: Knowledge of the process for controlling equipment configuration or status (CFR: 41.10 / 43.3 / 45.13) | 4.3 | G | 395039
86 | (022A2.01) Ability to (a) predict the impacts of the following on the (SF5 CCS) CONTAINMENT COOLING SYSTEM and (b) based on those predictions, use procedures to correct, control, or mitigate the consequences of those abnormal operations (CFR: 41.5 / 43.5 / 45.3 / 45.13): CCS component malfunction | 3.6 | A2 | 400022
87 | (400012) 012 (SF7 RPS) REACTOR PROTECTION SYSTEM (G2.1.5) CONDUCT OF OPERATIONS: Ability to use procedures related to shift staffing, such as minimum crew complement or overtime limitations (reference potential) (CFR: 41.10 / 43.5 / 45.12) | 3.9 | G | 400012
88 | (008A2.05) Ability to (a) predict the impacts of the following on the (SF8 CCW) COMPONENT COOLING WATER SYSTEM and (b) based on those predictions, use procedures to correct, control, or mitigate the consequences of those abnormal operations (CFR: 41.5 / 43.5 / 45.3 / 45.13): Effect of loss of instrument and control air on the position of air-operated CCW valves | 3.3 | A2 | 400008
89 | (400061) 061 (SF4S AFW) AUXILIARY / EMERGENCY FEEDWATER SYSTEM (G2.2.23) EQUIPMENT CONTROL: Ability to track TS limiting conditions for operation (CFR: 41.10 / 43.2 / 45.13) | 4.6 | G | 400061
90 | (026A2.02) Ability to (a) predict the impacts of the following on the (SF5 CSS) CONTAINMENT SPRAY SYSTEM and (b) based on those predictions, use procedures to correct, control, or mitigate the consequences of those abnormal operations (CFR: 41.5 / 43.5 / 45.3 / 45.13): Failure of automatic recirculation transfer (BW) | 4 | A2 | 400026
91 | (400007) 007 (SF5 PRTS) PRESSURIZER RELIEF/QUENCH TANK SYSTEM (G2.3.11) RADIATION CONTROL: Ability to control radiation releases (CFR: 41.11 / 43.4 / 45.10) | 4.3 | G | 400007
92 | (003A2.04) Ability to (a) predict the impacts of the following on the (SF4P RCP) REACTOR COOLANT PUMP SYSTEM and (b) based on those predictions, use procedures to correct, control, or mitigate the consequences of those abnormal operations (CFR: 41.5 / 43.5 / 45.3 / 45.13): Effects of fluctuation of VCT pressure on RCP seal injection flow | 3.2 | A2 | 400003
93 | (400061) 061 (SF4S AFW) AUXILIARY / EMERGENCY FEEDWATER SYSTEM (G2.1.47) CONDUCT OF OPERATIONS: Ability to direct nonlicensed personnel activities inside the control room (CFR: 41.10 / 43.5 / 45.5 / 45.12 / 45.13) | 3.2 | G | 400061
94 | (G2.1.40) CONDUCT OF OPERATIONS: Knowledge of refueling administrative requirements (CFR: 41.10 / 43.5 / 43.6 / 45.13) | 3.9 | G2.1 | G2.1
95 | (G2.1.4) CONDUCT OF OPERATIONS: Knowledge of individual licensed operator responsibilities related to shift staffing, such as medical requirements, “no-solo” operation, and maintenance of active license status, 10 CFR Part 55 (CFR: 41.10 / 43.2) | 3.8 | G2.1 | G2.1
96 | (G2.2.1) EQUIPMENT CONTROL: Ability to perform pre-startup procedures for the facility, including operating those controls associated with plant equipment that could affect reactivity (CFR: 41.5 / 41.10 / 43.5 / 43.6 / 45.1) | 4.4 | G2.2 | G2.2
97 | (G2.2.19) EQUIPMENT CONTROL: Knowledge of maintenance work order requirements (CFR: 41.10 / 43.5 / 45.13) | 3.4 | G2.2 | G2.2
98 | (G2.3.6) RADIATION CONTROL: Ability to approve liquid or gaseous release permits (CFR: 41.13 / 43.4 / 45.10) | 3.8 | G2.3 | G2.3
99 | (G2.4.44) EMERGENCY PROCEDURES/PLAN: Knowledge of emergency plan implementing procedures protective action recommendations (SRO Only) (CFR: 41.10 / 41.12 / 43.5 / 45.11) | 4.4 | G2.4 | G2.4
100 | (G2.4.25) EMERGENCY PROCEDURES/PLAN: Knowledge of fire protection procedures (CFR: 41.10 / 43.5 / 45.13) | 3.7 | G2.4 | G2.4