## Sheet1
Question Number | Topic Title | Topic Importance | K/A Category | System
1 | (011EK1.02) Knowledge of the operational implications and/or cause and effect relationships of the following concepts as they apply to (EPE 11) LARGE-Break LOCA (CFR: 41.8 / 41.10 / 45.3): Long term cooling of the core | 4.3 | K1 | 395004
2 | (CE06EK3.06) Knowledge of the reasons for the following responses and/or actions as they apply to (CE E06) LOSS OF FEEDWATER (CFR: 41.5 / 41.10 / 45.6 / 45.13): Conserve S/G inventory | 4 | K3 | 395013
3 | (058AA2.03) Ability to determine and/or interpret the following as they apply to (APE 58) LOSS OF DC Power (CFR: 43.5 / 45.13): Impact on ability to operate and monitor plant systems | 4 | A2 | 395017
4 | (027AK2.13) Knowledge of the relationship between (APE 27) PRESSURIZER PRESSURE Control System Malfunction and the following systems or components (CFR: 41.7 / 45.7): PZR master pressure controller | 3.9 | K2 | 395009
5 | (395011) 000038 (EPE 38) Steam Generator Tube Rupture (G2.1.31) CONDUCT OF OPERATIONS: Ability to locate control room switches, controls, and indications and to determine whether they correctly reflect the desired plant lineup (CFR: 41.10 / 45.12) | 4.6 | G | 395011
6 | (077AA1.04) Ability to operate and/or monitor the following as they apply to (APE 77) GENERATOR VOLTAGE AND ELECTRIC Grid Disturbances (CFR: 41.5 / 41.10 / 45.5 / 45.7 / 45.8): Reactor controls | 3.6 | A1 | 395020
7 | (015AK1.06) Knowledge of the operational implications and/or cause and effect relationships of the following concepts as they apply to (APE 15) REACTOR COOLANT Pump Malfunctions (CFR: 41.8 / 41.10 / 45.3): RCP flywheel | 3.3 | K1 | 395005
8 | (065AK3.03) Knowledge of the reasons for the following responses and/or actions as they apply to (APE 65) LOSS OF Instrument Air (CFR: 41.5 / 41.10 / 45.6 / 45.13): Knowing effects on plant operation of isolating certain equipment from instrument air | 3.6 | K3 | 395019
9 | (BE05EA2.08) Ability to determine and/or interpret the following as they apply to (BW E05) Excessive Heat Transfer (CFR: 41.10 / 43.5 / 45.13): Reactor building pressure | 3.6 | A2 | 395012
10 | (CE02EK2.12) Knowledge of the relationship between (CE E02) STANDARD POST‑TRIP ACTIONS AND REACTOR TRIP RECOVERY and the following systems or components (CFR: 41.7 / 41.8 / 45.4 / 45.7 / 45.8): RCS | 3.7 | K2 | 395001
11 | (395007) 000025 (APE 25) Loss of Residual Heat Removal System (G2.4.52) EMERGENCY PROCEDURES/PLAN: Knowledge of the lines of authority during implementation of the emergency plan, emergency plan implementing procedures, emergency operating procedures, or severe accident guidelines (CFR: 41.10 / 45.13) | 3 | G | 395007
12 | (056AA1.13) Ability to operate and/or monitor the following as they apply to (APE 56) Loss of Offsite Power (CFR: 41.7 / 45.5 / 45.6): Fuel handling building exhaust fan | 2.6 | A1 | 395015
13 | (055EK1.05) Knowledge of the operational implications and/or cause and effect relationships of the following concepts as they apply to (EPE 55) Station Blackout (CFR: 41.8 / 41.10 / 45.3): Load shedding | 3.8 | K1 | 395014
14 | (062AK3.04) Knowledge of the reasons for the following responses and/or actions as they apply to (APE 62) LOSS OF SERVICE WATER (CFR: 41.4 / 41.8 / 45.7): Effect on the service water discharge flow header of a loss of CCW | 3.3 | K3 | 395018
15 | (057AA2.20) Ability to determine and/or interpret the following as they apply to (APE 57) LOSS OF VITAL AC ELECTRICALINSTRUMENT BUS (CFR: 43.5 / 45.13): The plant automatic actions that will occur on the loss of a vital AC electrical instrument bus | 3.4 | A2 | 395016
16 | (WE05EK2.14) Knowledge of the relationship between (W E05) Loss of Secondary Heat Sink and the following systems or components (CFR: 41.7 / 41.8 / 45.2 / 45.4): CCWS | 3.2 | K2 | 395023
17 | (395006) 000022 (APE 22) Loss of Reactor Coolant Makeup (G2.4.50) EMERGENCY PROCEDURES/PLAN: Ability to verify system alarm setpoints and operate controls identified in the alarm response procedure (CFR: 41.10 / 43.5 / 45.3) | 4.2 | G | 395006
18 | (026AA1.02) Ability to operate and/or monitor the following as they apply to (APE 26) LOSS OF Component Cooling Water (CFR: 41.5 / 41.7 / 45.5 to 45.8): Loads on the CCWS in the control room | 3.5 | A1 | 395008
19 | (BA02AK1.04) Knowledge of the operational implications and/or cause and effect relationships of the following concepts as they apply to (BW A02) LOSS OF NONNUCLEAR INSTRUMENTATION SYSTEM X (CFR: 41.5 / 41.7 / 45.7 / 45.8): Secondary inventory control | 3.8 | K1 | 395048
20 | (003AK3.06) Knowledge of the reasons for the following responses and/or actions as they apply to (APE 3) DROPPED Control Rod (CFR: 41.5 / 41.10 / 45.6 / 45.13): Reset of demand position counter to zero | 3.4 | K3 | 395025
21 | (BE03EA2.10) Ability to determine and/or interpret the following as they apply to (BW E03) INADEQUATE Subcooling Margin (CFR: 41.10 / 43.5 / 45.13): RCS temperature | 4.1 | A2 | 395052
22 | (BA01AK2.08) Knowledge of the relationship between (BW A01) Plant Runback and the following systems or components (CFR: 41.8 / 41.10 / 45.3): EHC | 3.3 | K2 | 395047
23 | (395050) (BW A05) Emergency Diesel Actuation (G2.2.35) EQUIPMENT CONTROL: Ability to determine TS for mode of operation (CFR: 41.7 / 41.10 / 43.2 / 45.13) | 3.6 | G | 395050
24 | (BA06AA1.06) Ability to operate and/or monitor the following as they apply to (BW A06) SHUTDOWN OUTSIDE CONTROL ROOM (CFR: 41.5 / 41.7 / 45.5 to 45.8): Electrical distribution system (e.g., local AC and/or DC breaker operations, local EDG operations, and local inverter operations) | 3.9 | A1 | 395038
25 | (036AK1.01) Knowledge of the operational implications and/or cause and effect relationships of the following concepts as they apply to (APE 36) FUEL HANDLING INCIDENTS (CFR: 41.8 / 41.10 / 45.3): Radiation exposure hazards | 3.7 | K1 | 395031
26 | (005AK3.05) Knowledge of the reasons for the following responses and/or actions as they apply to (APE 5) INOPERABLE/STUCK Control Rod (CFR: 41.5 / 41.10 / 45.6 / 45.13): Power limits on rod misalignment | 3.9 | K3 | 395026
27 | (007K4.04) Knowledge of (SF5 PRTS) PRESSURIZER RELIEF/QUENCH TANK SYSTEM design features and/or interlocks that provide for the following (CFR: 41.7): PRT/quench tank rupture disk | 3.7 | K4 | 400007
28 | (400010) 010 (SF3 PZR PCS) PRESSURIZER PRESSURE CONTROL SYSTEM (G2.1.39) CONDUCT OF OPERATIONS: Knowledge of conservative decision-making practices (CFR: 41.10 / 43.5 / 45.12) | 3.6 | G | 400010
29 | (076K2.01) Knowledge of electrical power supplies to the following: (SF4S SW) SERVICE WATER SYSTEM (CFR: 41.7) SWS pumps (Class 1E) | 3.8 | K2 | 400076
30 | (022A3.02) Ability to monitor automatic features of the (SF5 CCS) CONTAINMENT COOLING SYSTEM, including (CFR: 41.7 / 45.5): Containment coolers cooling water flow | 3.6 | A3 | 400022
31 | (063K1.01) Knowledge of the physical connections and/or cause and effect relationships between the (SF6 ED DC) DC ELECTRICAL DISTRIBUTION SYSTEM and the following systems (CFR: 41.3 to 41.8 / 45.7 / 45.8): Ground detection system | 2.6 | K1 | 400063
32 | (053K6.09) Knowledge of the effect of the following plant conditions, system malfunctions, or component malfunctions on the (SF1 ICS) INTEGRATED CONTROL SYSTEM (BW) (CFR: 41.7 / 45.7): Steamline break | 3.6 | K6 | 400053
33 | (039A4.03) Ability to manually operate and/or monitor the (SF4S MSS) MAIN AND REHEAT STEAM SYSTEM in the control room (CFR: 41.7 / 45.5 to 45.8): MFW pump turbines | 3.4 | A4 | 400039
34 | (103A1.01) Ability to predict and/or monitor changes in parameters associated with operation of the (SF5 CNT) CONTAINMENT SYSTEM, including (CFR: 41.5 / 45.5): Containment pressure, temperature, and/or humidity | 3.9 | A1 | 400103
35 | (078K3.09) Knowledge of the effect that a loss or malfunction of the (SF8 IAS) INSTRUMENT AIR SYSTEM will have on the following systems or system parameters (CFR: 41.7 / 45.6): Containment airlock system | 2.5 | K3 | 400078
36 | (006K5.17) Knowledge of the operational implications or cause and effect relationships of the following concepts as they apply to the (SF2; SF3 ECCS) EMERGENCY CORE COOLING SYSTEM (CFR: 41.5 / 45.7): Piggyback mode | 3.7 | K5 | 400006
37 | (005A2.01) Ability to (a) predict the impacts of the following on the (SF4P RHR) RESIDUAL HEAT REMOVAL SYSTEM and (b) based on those predictions, use procedures to correct, control, or mitigate the consequences of those abnormal operations (CFR: 41.5 / 43.5 / 45.3 / 45.13): RHR instrumentation failure | 3.5 | A2 | 400005
38 | (064K4.14) Knowledge of (SF6 EDG) EMERGENCY DIESEL GENERATOR SYSTEM design features and/or interlocks that provide for the following (CFR: 41.7): Basis for the volume of air available to start an EDG | 3.1 | K4 | 400064
39 | (400013) 013 (SF2 ESFAS) ENGINEERED SAFETY FEATURES ACTUATION SYSTEM (191001K1.10) VALVES (CFR: 41.3): The significance of stem position (valve status) for gate valves | 2.9 | C | 400013
40 | (062K2.02) Knowledge of electrical power supplies to the following: (SF6 ED AC) AC ELECTRICAL DISTRIBUTION SYSTEM (CFR: 41.7) Breaker control power | 3.5 | K2 | 400062
41 | (008A3.01) Ability to monitor automatic features of the (SF8 CCW) COMPONENT COOLING WATER SYSTEM, including (CFR: 41.7 / 45.5): Setpoints for normal operations, warnings, and trips that are applicable to the CCWS | 3.6 | A3 | 400008
42 | (012K1.04) Knowledge of the physical connections and/or cause and effect relationships between the (SF7 RPS) REACTOR PROTECTION SYSTEM and the following systems (CFR: 41.2 to 41.9 / 45.7 / 45.8): RPIS | 3.8 | K1 | 400012
43 | (003K6.03) Knowledge of the effect of the following plant conditions, system malfunctions, or component malfunctions on the (SF4P RCP) REACTOR COOLANT PUMP SYSTEM (CFR: 41.7 / 45.5): RCP lift oil pumps and lube oil pumps | 3.2 | K6 | 400003
44 | (059A4.11) Ability to manually operate and/or monitor the (SF4S MFW) MAIN FEEDWATER SYSTEM in the control room (CFR: 41.7 / 45.5 to 45.8): Recovery from automatic MFW isolation | 3.6 | A4 | 400059
45 | (026A1.01) Ability to predict and/or monitor changes in parameters associated with operation of the (SF5 CSS) CONTAINMENT SPRAY SYSTEM, including (CFR: 41.5 / 45.5): Containment pressure | 4 | A1 | 400026
46 | (073K3.05) Knowledge of the effect that a loss or malfunction of the (SF7 PRM) PROCESS RADIATION MONITORING SYSTEM will have on the following systems or system parameters (CFR: 41.7 / 41.8 / 45.6 / 45.8 / 45.9): S/GB | 3.4 | K3 | 400073
47 | (061K5.05) Knowledge of the operational implications or cause and effect relationships of the following concepts as they apply to the (SF4S AFW) AUXILIARY/EMERGENCY FEEDWATER SYSTEM (CFR: 41.5 / 45.7): Feedline voiding and water hammer | 3.4 | K5 | 400061
48 | (004A2.01) Ability to (a) predict the impacts of the following on the (SF1; SF2 CVCS) CHEMICAL AND VOLUME CONTROL SYSTEM and (b) based on those predictions, use procedures to correct, control, or mitigate the consequences of those abnormal operations (CFR: 41.5 to 41.7 / 43.5 / 45.3 / 45.5): RCS pressure exceeds limits | 3.8 | A2 | 400004
49 | (007K4.01) Knowledge of (SF5 PRTS) PRESSURIZER RELIEF/QUENCH TANK SYSTEM design features and/or interlocks that provide for the following (CFR: 41.7): PRT/quench tank cooling | 2.9 | K4 | 400007
50 | (400010) 010 (SF3 PZR PCS) PRESSURIZER PRESSURE CONTROL SYSTEM (G2.4.34) EMERGENCY PROCEDURES/PLAN: Knowledge of RO responsibilities outside the main control room during an emergency (CFR: 41.10 / 43.5 / 45.13) | 4.2 | G | 400010
51 | (076K2.08) Knowledge of electrical power supplies to the following: (SF4S SW) SERVICE WATER SYSTEM (CFR: 41.7) ESF-actuated motor-operated valves | 3.5 | K2 | 400076
52 | (022A3.01) Ability to monitor automatic features of the (SF5 CCS) CONTAINMENT COOLING SYSTEM, including (CFR: 41.7 / 45.5): Initiation of ESFAS mode of operation | 4.2 | A3 | 400022
53 | (063K1.02) Knowledge of the physical connections and/or cause and effect relationships between the (SF6 ED DC) DC ELECTRICAL DISTRIBUTION SYSTEM and the following systems (CFR: 41.3 to 41.8 / 45.7 / 45.8): AC electrical system | 4 | K1 | 400063
54 | (053K6.05) Knowledge of the effect of the following plant conditions, system malfunctions, or component malfunctions on the (SF1 ICS) INTEGRATED CONTROL SYSTEM (BW) (CFR: 41.7 / 45.7): Instrument failure (NI or NNI) | 3.9 | K6 | 400053
55 | (103K4.02) Knowledge of (SF5 CNT) CONTAINMENT SYSTEM design features and/or interlocks that provide for the following (CFR: 41.7): Containment penetration cooling | 2.7 | K4 | 400103
56 | (400061) 061 (SF4S AFW) AUXILIARY / EMERGENCY FEEDWATER SYSTEM (191005K1.05) MOTORS AND GENERATORS (CFR: 41.7): Explanation of the difference between starting current and operating (running) current in a motor | 2.8 | C | 400061
57 | (010K2.02) Knowledge of electrical power supplies to the following: (SF3 PZR PCS) PRESSURIZER PRESSURE CONTROL SYSTEM (CFR: 41.7) PZR pressure controller | 3.1 | K2 | 400010
58 | (059A3.07) Ability to monitor automatic features of the (SF4S MFW) MAIN FEEDWATER SYSTEM, including (CFR: 41.7 / 45.5): ICS (BW) | 3.6 | A3 | 400059
59 | (039K1.06) Knowledge of the physical connections and/or cause and effect relationships between the (SF4S MSS) MAIN AND REHEAT STEAM SYSTEM and the following systems (CFR: 41.2 to 41.9 / 45.7 / 45.8): SDS | 3.5 | K1 | 400039
60 | (062K6.12) Knowledge of the effect of the following plant conditions, system malfunctions, or component malfunctions on the (SF6 ED AC) AC ELECTRICAL DISTRIBUTION SYSTEM (CFR: 41.7 / 45.7): Non‑Class 1E DC distribution system | 2.9 | K6 | 400062
61 | (005A4.05) Ability to manually operate and/or monitor the (SF4P RHR) RESIDUAL HEAT REMOVAL SYSTEM in the control room (CFR: 41.7 / 45.5 to 45.8): Raising or lowering refueling cavity level | 3.4 | A4 | 400005
62 | (025A1.03) Ability to predict and/or monitor changes in parameters associated with operation of the (SF5 ICE) ICE CONDENSER SYSTEM, including (CFR: 41.5 / 45.5): Glycol flow to ice condenser air-handling units | 3.7 | A1 | 400025
63 | (004K3.06) Knowledge of the effect that a loss or malfunction of the (SF1; SF2 CVCS) CHEMICAL AND VOLUME CONTROL SYSTEM will have on the following systems or system parameters (CFR: 41.5 to 41.7): RCS | 3.9 | K3 | 400004
64 | (G2.1.34) CONDUCT OF OPERATIONS: Knowledge of RCS or balance-of-plant chemistry controls, including parameters measured and reasons for the control (CFR: 41.10 / 43.5 / 45.12) | 2.7 | G2.1 | G2.1
65 | (G2.1.38) CONDUCT OF OPERATIONS: Knowledge of the station’s requirements for verbal communications when implementing procedures (CFR: 41.10 / 45.13) | 3.7 | G2.1 | G2.1
66 | (G2.2.20) EQUIPMENT CONTROL: Knowledge of the process for managing troubleshooting activities (CFR: 41.10 / 43.5 / 45.13) | 2.6 | G2.2 | G2.2
67 | (G2.2.4) EQUIPMENT CONTROL: (Multi-unit license) Ability to explain the variations in control room layouts, systems, instrumentation, and/or procedural actions between units at a facility (CFR: 41.6 / 41.7 / 41.10 / 45.1 / 45.13) | 3.6 | G2.2 | G2.2
68 | (G2.3.11) RADIATION CONTROL: Ability to control radiation releases (CFR: 41.11 / 43.4 / 45.10) | 3.8 | G2.3 | G2.3
69 | (G2.4.22) EMERGENCY PROCEDURES/PLAN: Knowledge of the bases for prioritizing safety functions during abnormal and emergency operations (CFR: 41.7 / 41.10 / 43.5 / 45.12) | 3.6 | G2.4 | G2.4
70 | (192002K1.09) NEUTRON LIFE CYCLE (CFR: 41.1): Define K-excess (excess reactivity) | 2.7 | R | 192002
71 | (192001K1.02) NEUTRONS (CFR: 41.1): Define prompt and delayed neutrons | 2.5 | R | 192001
72 | (192004K1.15) REACTIVITY COEFFICIENTS (CFR: 41.1): Describe the effect on boron reactivity worth from changes in the following: -- moderator temperature | 2.9 | R | 192004
73 | (193008K1.06) THERMAL HYDRAULICS (CFR: 41.14): (DEPARTURE FROM NUCLEATE BOILING) Describe critical heat flux | 2.9 | T | 193008
74 | (193009K1.10) CORE THERMAL LIMITS (CFR: 41.14): Define and calculate quadrant tilt (symmetric offset) ratio | 3.3 | T | 193009
75 | (193001K1.01) THERMODYNAMIC UNITS AND PROPERTIES (CFR: 41.14): Convert between absolute and gauge pressure and vacuum scales | 2.7 | T | 193001
76 | (008AA2.27) Ability to determine and/or interpret the following as they apply to (APE 8) PRESSURIZER VAPOR Space Accident (CFR: 43.5 / 45.13): PZR pressure and/or level due to sensing line leakage | 3.6 | A2 | 395002
77 | (395010) 000029 (EPE 29) Anticipated Transient Without Scram (G2.4.35) EMERGENCY PROCEDURES/PLAN: Knowledge of nonlicensed operator responsibilities during an emergency (CFR: 41.10 / 43.1 / 43.5 / 45.13) | 4 | G | 395010
78 | (009EA2.36) Ability to determine and/or interpret the following as they apply to (EPE 9) SMALL-Break LOCA (CFR: 43.5 / 45.13): Difference between overcooling and LOCA indications | 3.7 | A2 | 395003
79 | (395004) 000011 (EPE 11) Large Break LOCA (G2.1.21) CONDUCT OF OPERATIONS: Ability to verify that a copy of a controlled procedure is the proper revision (CFR: 41.10 / 45.10 / 45.13) | 3.6 | G | 395004
80 | (054AA2.05) Ability to determine and/or interpret the following as they apply to (APE 54) LOSS OF Main Feedwater (CFR: 43.5 / 45.13): Status of MFW pumps, regulating and stop valves | 3.5 | A2 | 395013
81 | (395017) 000058 (APE 58) Loss of DC Power (G2.4.12) EMERGENCY PROCEDURES/PLAN: Knowledge of operating crew responsibilities during emergency and abnormal operations (CFR: 41.10 / 45.12) | 4.3 | G | 395017
82 | (078AA2.02) Ability to determine and/or interpret the following as they apply to (APE 78) REACTOR COOLANT SYSTEM LEAK (CFR: 43.5 / 45.13): CCWS high-radiation alarm | 3.4 | A2 | 395042
83 | (395030) 000033 (APE 33) Loss of Intermediate Range Nuclear Instrumentation (G2.2.13) EQUIPMENT CONTROL: Knowledge of tagging and clearance procedures (CFR: 41.10 / 43.1 / 45.13) | 4.3 | G | 395030
84 | (BA04AA2.12) Ability to determine and/or interpret the following as they apply to (BW A04) Turbine Trip (CFR: 41.10 / 43.5 / 45.13): Secondary chemistry | 2.5 | A2 | 395049
85 | (395037) 000067 (APE 67) Plant Fire On Site (G2.1.41) CONDUCT OF OPERATIONS: Knowledge of the refueling process (CFR: 41.2 / 41.10 / 43.6 / 45.13) | 3.7 | G | 395037
86 | (039A2.02) Ability to (a) predict the impacts of the following on the (SF4S MSS) MAIN AND REHEAT STEAM SYSTEM and (b) based on those predictions, use procedures to correct, control, or mitigate the consequences of those abnormal operations (CFR: 41.5 / 43.5 / 45.3 / 45.13): LOCA | 3.5 | A2 | 400039
87 | (400103) 103 (SF5 CNT) CONTAINMENT SYSTEM (G2.2.19) EQUIPMENT CONTROL: Knowledge of maintenance work order requirements (CFR: 41.10 / 43.5 / 45.13) | 3.4 | G | 400103
88 | (078A2.03) Ability to (a) predict the impacts of the following on the (SF8 IAS) INSTRUMENT AIR SYSTEM and (b) based on those predictions, use procedures to correct, control, or mitigate the consequences of those abnormal operations (CFR: 41.5 / 43.5 / 45.3 / 45.13): Cooling water malfunction | 3.1 | A2 | 400078
89 | (400006) 006 (SF2; SF3 ECCS) EMERGENCY CORE COOLING SYSTEM (G2.4.38) EMERGENCY PROCEDURES/PLAN: Ability to take actions required by the facility emergency plan implementing procedures, including supporting or acting as emergency coordinator (CFR: 41.10 / 43.5 / 45.11) | 4.4 | G | 400006
90 | (005A2.02) Ability to (a) predict the impacts of the following on the (SF4P RHR) RESIDUAL HEAT REMOVAL SYSTEM and (b) based on those predictions, use procedures to correct, control, or mitigate the consequences of those abnormal operations (CFR: 41.5 / 43.5 / 45.3 / 45.13): Pressure transient protection during cold shutdown | 3.9 | A2 | 400005
91 | (400007) 007 (SF5 PRTS) PRESSURIZER RELIEF/QUENCH TANK SYSTEM (G2.4.47) EMERGENCY PROCEDURES/PLAN: Ability to diagnose and recognize trends in an accurate and timely manner using the appropriate control room reference material (reference potential) (CFR: 41.10 / 43.5 / 45.12) | 4.2 | G | 400007
92 | (078A2.02) Ability to (a) predict the impacts of the following on the (SF8 IAS) INSTRUMENT AIR SYSTEM and (b) based on those predictions, use procedures to correct, control, or mitigate the consequences of those abnormal operations (CFR: 41.5 / 43.5 / 45.3 / 45.13): Low instrument air pressure | 3.8 | A2 | 400078
93 | (400076) 076 (SF4S SW) SERVICE WATER SYSTEM (G2.4.5) EMERGENCY PROCEDURES/PLAN: Knowledge of the organization of the operating procedures network for normal, abnormal, and emergency evolutions (CFR: 41.10 / 43.5 / 45.13) | 4.3 | G | 400076
94 | (G2.1.20) CONDUCT OF OPERATIONS: Ability to interpret and execute procedure steps (CFR: 41.10 / 43.5 / 45.12) | 4.6 | G2.1 | G2.1
95 | (G2.1.2) CONDUCT OF OPERATIONS: Knowledge of operator responsibilities during any mode of plant operation (CFR: 41.10 / 43.1 / 45.13) | 4.4 | G2.1 | G2.1
96 | (G2.2.36) EQUIPMENT CONTROL: Ability to analyze the effect of maintenance activities, such as degraded power sources, on the status of limiting conditions for operation (CFR: 41.10 / 43.2 / 45.13) | 4.2 | G2.2 | G2.2
97 | (G2.2.7) EQUIPMENT CONTROL: Knowledge of the process for conducting infrequently performed tests or evolutions (CFR: 41.10 / 43.3 / 45.13) | 3.6 | G2.2 | G2.2
98 | (G2.3.5) RADIATION CONTROL: Ability to use RMSs, such as fixed radiation monitors and alarms or personnel monitoring equipment (CFR: 41.11 / 41.12 / 43.4 / 45.9) | 2.9 | G2.3 | G2.3
99 | (G2.4.17) EMERGENCY PROCEDURES/PLAN: Knowledge of emergency and abnormal operating procedures terms and definitions (CFR: 41.10 / 45.13) | 4.3 | G2.4 | G2.4
100 | (G2.4.37) EMERGENCY PROCEDURES/PLAN: Knowledge of the lines of authority during implementation of the emergency plan implementing procedures (CFR: 41.10 / 45.13) | 4.1 | G2.4 | G2.4