## Sheet1
Question Number | Topic Title | Topic Importance | K/A Category | System
1 | (395015) 000056 (APE 56) Loss of Offsite Power (G2.1.38) CONDUCT OF OPERATIONS: Knowledge of the station’s requirements for verbal communications when implementing procedures (CFR: 41.10 / 45.13) | 3.7 | G | 395015
2 | (038EA2.09) Ability to determine and/or interpret the following as they apply to (EPE 38) STEAM GENERATOR Tube Rupture (CFR: 43.5 / 45.13): Parameters used to verify natural circulation | 4.2 | A2 | 395011
3 | (029EK1.01) Knowledge of the operational implications and/or cause and effect relationships of the following concepts as they apply to (EPE 29) ANTICIPATED TRANSIENT WITHOUT SCRAM (ATWS) (CFR: 41.8 / 41.10 / 45.3): Reactor nucleonic and thermohydraulic behavior | 3.8 | K1 | 395010
4 | (057AK3.01) Knowledge of the reasons for the following responses and/or actions as they apply to (APE 57) LOSS OF VITAL AC ELECTRICALINSTRUMENT BUS (CFR: 41.5 / 41.10 / 45.6 / 45.13): Actions contained in AOPs for the loss of a vital AC electrical instrument bus | 4.1 | K3 | 395016
5 | (WE04EK2.04) Knowledge of the relationship between (W E04) LOCA Outside Containment and the following systems or components (CFR: 41.7 / 41.8 / 45.2 / 45.4): RHRS | 3.9 | K2 | 395021
6 | (015AA1.18) Ability to operate and/or monitor the following as they apply to (APE 15) REACTOR COOLANT Pump Malfunctions (CFR: 41.7 / 45.5 / 45.6): Station auxiliary power supply breakers and indicators | 3 | A1 | 395005
7 | (395003) 000009 (EPE 9) Small Break LOCA (G2.1.21) CONDUCT OF OPERATIONS: Ability to verify that a copy of a controlled procedure is the proper revision (CFR: 41.10 / 45.10 / 45.13) | 3.5 | G | 395003
8 | (011EA2.10) Ability to determine and/or interpret the following as they apply to (EPE 11) LARGE-Break LOCA (CFR: 43.5 / 45.13): Adequate core cooling | 4.6 | A2 | 395004
9 | (027AK1.05) Knowledge of the operational implications and/or cause and effect relationships of the following concepts as they apply to (APE 27) PRESSURIZER PRESSURE Control System Malfunction (CFR: 41.7 / 41.8 / 41.10 / 45.3): TS limits for RCS pressure | 4.1 | K1 | 395009
10 | (WE11EK3.06) Knowledge of the reasons for the following responses and/or actions as they apply to (W E11) LOSS OF EMERGENCY Coolant Recirculation (CFR: 41.5 / 41.10 / 45.6 / 45.13): Stopping or realigning containment spray pumps (reference potential) | 4 | K3 | 395022
11 | (CE06EK2.05) Knowledge of the relationship between (CE E06) LOSS OF FEEDWATER and the following systems or components (CFR: 41.7 / 41.8 / 45.4 / 45.7 / 45.8): S/G LCS and PCS | 3.8 | K2 | 395013
12 | (055EA1.09) Ability to operate and/or monitor the following as they apply to (EPE 55) Station Blackout (CFR: 41.7 / 45.5 / 45.6): AFW system | 4.4 | A1 | 395014
13 | (395001) 000007 (EPE 7; BW E02 & E10; CE E02) Reactor Trip, Stabilization, Recovery (G2.4.19) EMERGENCY PROCEDURES/PLAN: Knowledge of emergency and abnormal operating procedures layout, symbols, and icons (CFR: 41.10 / 45.13) | 3.4 | G | 395001
14 | (022AA2.02) Ability to determine and/or interpret the following as they apply to (APE 22) LOSS OF REACTOR Coolant Makeup (CFR: / 43.5 / 45.13): Charging pump problems | 3.5 | A2 | 395006
15 | (WE05EK1.07) Knowledge of the operational implications and/or cause and effect relationships of the following concepts as they apply to (W E05) Loss of Secondary Heat Sink (CFR: 41.5 / 41.7 / 45.7 / 45.8): RTD bypass manifold temperature inaccuracy on natural circulation | 3.2 | K1 | 395023
16 | (077AK3.02) Knowledge of the reasons for the following responses and/or actions as they apply to (APE 77) GENERATOR VOLTAGE AND ELECTRIC Grid Disturbances (CFR: 41.4 / 41.5 / 41.7 / 41.10 / 45.8): Actions contained in AOPs for voltage and grid disturbances | 3.5 | K3 | 395020
17 | (025AK2.21) Knowledge of the relationship between (APE 25) LOSS OF RESIDUAL Heat Removal System and the following systems or components (CFR: 41.7 / 45.7): CCWS | 3.7 | K2 | 395007
18 | (040AA1.06) Ability to operate and/or monitor the following as they apply to (APE 40) STEAM LINE RUPTURE (CFR: 41.7 / 45.6 / 45.6): S/G and steamline pressures and flows | 3.8 | A1 | 395012
19 | (395043) (W E01 & E02) Rediagnosis & SI Termination (G2.4.35) EMERGENCY PROCEDURES/PLAN: Knowledge of nonlicensed operator responsibilities during an emergency (CFR: 41.10 / 43.1 / 43.5 / 45.13) | 3.8 | G | 395043
20 | (003AA2.10) Ability to determine and/or interpret the following as they apply to (APE 3) DROPPED Control Rod (CFR: 43.5 / 45.13): RCS pressure and temperature | 3.5 | A2 | 395025
21 | (036AK1.05) Knowledge of the operational implications and/or cause and effect relationships of the following concepts as they apply to (APE 36) FUEL HANDLING INCIDENTS (CFR: 41.8 / 41.10 / 45.3): Damage to irradiated fuel in the fuel storage building | 3.7 | K1 | 395031
22 | (024AK3.01) Knowledge of the reasons for the following responses and/or actions as they apply to (APE 24) EMERGENCY Boration (CFR: 41.5 / 41.10 / 45.6 / 45.13): When emergency boration is required | 4.4 | K3 | 395027
23 | (076AK2.15) Knowledge of the relationship between (APE 76) HIGH REACTOR COOLANT ACTIVITY and the following systems or components (CFR: 41.7 / 45.7): Main condenser | 2.8 | K2 | 395041
24 | (074EA1.31) Ability to operate and/or monitor the following as they apply to (EPE 74) Inadequate Core Cooling (CFR: 41.7 / 45.5 / 45.6): RHRS | 3.8 | A1 | 395040
25 | (395026) 000005 (APE 5) Inoperable/Stuck Control Rod (G2.2.15) EQUIPMENT CONTROL: Ability to determine the expected plant configuration using design and configuration control documentation, such as drawings, lineups, or tagouts (reference potential) (CFR: 41.10 / 43.3 / 45.13) | 3.9 | G | 395026
26 | (067AA2.18) Ability to determine and/or interpret the following as they apply to (APE 67) PLANT Fire On Site (CFR: 41.10 / 43.5 / 45.13): Control room habitability | 4.5 | A2 | 395037
27 | (008K1.10) Knowledge of the physical connections and/or cause and effect relationships between the (SF8 CCW) COMPONENT COOLING WATER SYSTEM and the following systems (CFR: 41.2 (BW) / 41.3 to 41.9 / 45.7 to 45.9): SFPCS | 3.6 | K1 | 400008
28 | (026A2.07) Ability to (a) predict the impacts of the following on the (SF5 CSS) CONTAINMENT SPRAY SYSTEM and (b) based on those predictions, use procedures to correct, control, or mitigate the consequences of those abnormal operations (CFR: 41.5 / 43.5 / 45.3 / 45.13): Loss of containment spray pump suction when in recirculation mode | 4 | A2 | 400026
29 | (003A1.07) Ability to predict and/or monitor changes in parameters associated with operation of the (SF4P RCP) REACTOR COOLANT PUMP SYSTEM, including (CFR: 41.5 / 45.5): RCS temperature and pressure | 3.7 | A1 | 400003
30 | (062K4.04) Knowledge of (SF6 ED AC) AC ELECTRICAL DISTRIBUTION SYSTEM design features and/or interlocks that provide for the following (CFR: 41.7): Protective relaying | 3.3 | K4 | 400062
31 | (007A1.05) Ability to predict and/or monitor changes in parameters associated with operation of the (SF5 PRTS) PRESSURIZER RELIEF/QUENCH TANK SYSTEM, including (CFR: 41.5 / 45.5): Containment radiation levels | 3.2 | K2 | 400007
32 | (078A3.04) Ability to monitor automatic features of the (SF8 IAS) INSTRUMENT AIR SYSTEM, including (CFR: 41.7 / 45.5): Isolation of instrument air from service air | 3.1 | A3 | 400078
33 | (013K6.11) Knowledge of the effect of the following plant conditions, system malfunctions, or component malfunctions on the (SF2 ESFAS) ENGINEERED SAFETY FEATURES ACTUATION SYSTEM (CFR: 41.6 to 41.8 / 45.5 to 45.8): S/G tube rupture | 4.1 | K6 | 400013
34 | (010A4.01) Ability to manually operate and/or monitor the (SF3 PZR PCS) PRESSURIZER PRESSURE CONTROL SYSTEM in the control room (CFR: 41.7 / 45.5 to 45.8): PZR spray valve | 3.8 | A4 | 400010
35 | (400022) 022 (SF5 CCS) CONTAINMENT COOLING SYSTEM (G2.4.28) EMERGENCY PROCEDURES/PLAN: Knowledge of procedures relating to a security event (ensure that the test item includes no safeguards information) (CFR: 41.10 / 43.5 / 45.13) | 3.2 | G | 400022
36 | (073K3.02) Knowledge of the effect that a loss or malfunction of the (SF7 PRM) PROCESS RADIATION MONITORING SYSTEM will have on the following systems or system parameters (CFR: 41.7 / 41.8 / 45.6 / 45.8 / 45.9): Systems served by PRMs | 3.5 | K3 | 400073
37 | (004K5.41) Knowledge of the operational implications or cause and effect relationships of the following concepts as they apply to the (SF1; SF2 CVCS) CHEMICAL AND VOLUME CONTROL SYSTEM (CFR: 41.5 / 45.7): Solubility of gases in solution: temperature and pressure effects | 2.6 | K5 | 400004
38 | (103K1.16) Knowledge of the physical connections and/or cause and effect relationships between the (SF5 CNT) CONTAINMENT SYSTEM and the following systems (CFR: 41.9 / 45.7 / 45.8): HRPS | 3 | K1 | 400103
39 | (059A2.11) Ability to (a) predict the impacts of the following on the (SF4S MFW) MAIN FEEDWATER SYSTEM and (b) based on those predictions, use procedures to correct, control, or mitigate the consequences of those abnormal operations (CFR: 41.5 / 43.5 / 45.3 / 45.13): Failure of feedwater control system | 3.9 | A2 | 400059
40 | (012A1.03) Ability to predict and/or monitor changes in parameters associated with operation of the (SF7 RPS) REACTOR PROTECTION SYSTEM, including (CFR: 41.5 / 45.5): Individual channels | 3.6 | A1 | 400012
41 | (063K4.05) Knowledge of (SF6 ED DC) DC ELECTRICAL DISTRIBUTION SYSTEM design features and/or interlocks that provide for the following (CFR: 41.7): Ground detection | 2.6 | K4 | 400063
42 | (005K2.01) Knowledge of electrical power supplies to the following (CFR: 41.7): (SF4P RHR) RESIDUAL HEAT REMOVAL SYSTEM RHR pumps | 4.1 | K2 | 400005
43 | (076A3.06) Ability to monitor automatic features of the (SF4S SW) SERVICE WATER SYSTEM, including (CFR: 41.7 / 45.5): ESFAS | 3.9 | A3 | 400076
44 | (061K6.09) Knowledge of the effect of the following plant conditions, system malfunctions, or component malfunctions on the (SF4S AFW) AUXILIARY/EMERGENCY FEEDWATER SYSTEM (CFR: 41.7 / 45.5 to 45.8): AFW turbine drain(s) or heat tracing | 2.5 | K6 | 400061
45 | (039A4.05) Ability to manually operate and/or monitor the (SF4S MSS) MAIN AND REHEAT STEAM SYSTEM in the control room (CFR: 41.7 / 45.5 to 45.8): Moisture separator reheater startup | 2.6 | A4 | 400039
46 | (400006) 006 (SF2; SF3 ECCS) EMERGENCY CORE COOLING SYSTEM (191002K1.24) SENSORS AND DETECTORS (CFR: 41.7): (RADIATION DETECTION) Theory and operation of failed-fuel detectors | 2.7 | C | 400006
47 | (064K3.02) Knowledge of the effect that a loss or malfunction of the (SF6 EDG) EMERGENCY DIESEL GENERATOR SYSTEM will have on the following systems or system parameters (CFR: 41.7 / 45.6): ESFAS controlled or actuated systems | 4.3 | K3 | 400064
48 | (008K5.10) Knowledge of the operational implications or cause and effect relationships of the following concepts as they apply to the (SF8 CCW) COMPONENT COOLING WATER SYSTEM (CFR: 41.5 / 45.7): Requirements on and for the CCWS for different conditions of the power plant | 3.1 | K5 | 400008
49 | (026K1.06) Knowledge of the physical connections and/or cause and effect relationships between the (SF5 CSS) CONTAINMENT SPRAY SYSTEM and the following systems (CFR: 41.2 to 41.9 / 45.7 / 45.8): RHRS | 3.6 | K1 | 400026
50 | (003A2.04) Ability to (a) predict the impacts of the following on the (SF4P RCP) REACTOR COOLANT PUMP SYSTEM and (b) based on those predictions, use procedures to correct, control, or mitigate the consequences of those abnormal operations (CFR: 41.5 / 43.5 / 45.3 / 45.13): Effects of fluctuation of VCT pressure on RCP seal injection flow | 3.1 | A2 | 400003
51 | (062A1.03) Ability to predict and/or monitor changes in parameters associated with operation of the (SF6 ED AC) AC ELECTRICAL DISTRIBUTION SYSTEM, including (CFR: 41.5 / 45.5): Instrumentation and controls when switching power supplies | 3.5 | A1 | 400062
52 | (007K4.06) Knowledge of (SF5 PRTS) PRESSURIZER RELIEF/QUENCH TANK SYSTEM design features and/or interlocks that provide for the following (CFR: 41.7): Venting PRT/quench tank | 2.6 | K4 | 400007
53 | (078K2.01) Knowledge of electrical power supplies to the following: (SF8 IAS) INSTRUMENT AIR SYSTEM (CFR: 41.7) Instrument air compressor | 3.3 | K2 | 400078
54 | (013A3.04) Ability to monitor automatic features of the (SF2 ESFAS) ENGINEERED SAFETY FEATURES ACTUATION SYSTEM, including (CFR: 41.6 to 41.8 / 45.5): ESF HVAC | 3.1 | A3 | 400013
55 | (015K1.03) Knowledge of the physical connections and/or cause and effect relationships between the (SF7 NI) NUCLEAR INSTRUMENTATION SYSTEM and the following systems (CFR: 41.2 to 41.9 / 45.7 / 45.8): CRDS | 3.6 | K1 | 400015
56 | (035A2.05) Ability to (a) predict the impacts of the following on the (SF4P SG) STEAM GENERATOR SYSTEM and (b) based on those predictions, use procedures to correct, control, or mitigate the consequences of those abnormal operations (CFR: 41.5 / 43.5 / 45.3 / 45.5): Unbalanced RCS flows to the S/Gs | 3.7 | A2 | 400035
57 | (041A1.02) Ability to predict and/or monitor changes in parameters associated with operation of the (SF4S SDS) STEAM DUMP/TURBINE BYPASS CONTROL SYSTEM, including (CFR: 41.5 / 45.5): Steam pressure | 3.7 | A1 | 400041
58 | (072K4.03) Knowledge of (SF7 ARM) AREA RADIATION MONITORING SYSTEM design features and/or interlocks that provide for the following (CFR: 41.7): PVS isolation | 3.2 | K4 | 400072
59 | (056K2.01) Knowledge of electrical power supplies to the following: (SF4S CDS) CONDENSATE SYSTEM (CFR: 41.7) Condensate pumps and/or booster pumps | 3.1 | K2 | 400056
60 | (014A3.01) Ability to monitor automatic features of the (SF1 RPI) ROD POSITION INDICATION SYSTEM, including (CFR: 41.6 / 41.7 / 45.7): RPI accuracy | 3.4 | A3 | 400014
61 | (033K6.11) Knowledge of the effect of the following plant conditions, system malfunctions, or component malfunctions on the (SF8 SFPCS) SPENT FUEL POOL COOLING SYSTEM (CFR: 41.7 / 45.7): CCWS | 3.4 | K6 | 400033
62 | (028A4.01) Ability to manually operate and/or monitor the (SF5 HRPS) HYDROGEN RECOMBINER AND PURGE CONTROL SYSTEM in the control room (CFR: 41.7 / 45.5 to 45.8): HRPS controls | 2.8 | A4 | 400028
63 | (400086) 086 (SF8 FPS) FIRE PROTECTION SYSTEM (G2.2.42) EQUIPMENT CONTROL: Ability to recognize system parameters that are entry-level conditions for TS (CFR: 41.7 / 41.10 / 43.2 / 43.3 / 45.3) | 3.9 | G | 400086
64 | (G2.1.7) CONDUCT OF OPERATIONS: Ability to evaluate plant performance and make operational judgments based on operating characteristics, reactor behavior, and instrument interpretation (CFR: 41.5 / 43.5 / 45.12 / 45.13) | 4.4 | G2.1 | G2.1
65 | (G2.1.32) CONDUCT OF OPERATIONS: Ability to explain and apply system precautions, limitations, notes, or cautions (CFR: 41.10 / 43.2 / 45.12) | 3.8 | G2.1 | G2.1
66 | (G2.2.14) EQUIPMENT CONTROL: Knowledge of the process for controlling equipment configuration or status (CFR: 41.10 / 43.3 / 45.13) | 3.9 | G2.2 | G2.2
67 | (G2.2.38) EQUIPMENT CONTROL: Knowledge of conditions and limitations in the facility license (CFR: 41.7 / 41.10 / 43.1 / 45.13) | 3.6 | G2.2 | G2.2
68 | (G2.3.11) RADIATION CONTROL: Ability to control radiation releases (CFR: 41.11 / 43.4 / 45.10) | 3.8 | G2.3 | G2.3
69 | (G2.4.25) EMERGENCY PROCEDURES/PLAN: Knowledge of fire protection procedures (CFR: 41.10 / 43.5 / 45.13) | 3.3 | G2.4 | G2.4
70 | (192004K1.12) REACTIVITY COEFFICIENTS (CFR: 41.1): Describe the effects on fuel temperature (Doppler) coefficient of reactivity for changes in the following: -- core age | 2.9 | R | 192004
71 | (192008K1.15) REACTOR OPERATIONAL PHYSICS (CFR: 41.1): (INTERMEDIATE RANGE OPERATION) Explain characteristics to look for when the POAH is reached | 3.4 | R | 192008
72 | (192007K1.05) FUEL DEPLETION AND BURNABLE POISONS (CFR: 41.1): Describe the effects of boration/dilution on reactivity during forced-flow and natural circulation conditions | 3.2 | R | 192007
73 | (193008K1.08) THERMAL HYDRAULICS (CFR: 41.14): (DEPARTURE FROM NUCLEATE BOILING) Describe film boiling | 2.6 | T | 193008
74 | (193004K1.15) THERMODYNAMIC PROCESS (CFR: 41.14): (THROTTLING AND THE THROTTLING PROCESS) Determine the exit conditions for a throttling process based on the use of steam and/or water | 2.8 | T | 193004
75 | (193010K1.07) BRITTLE FRACTURE AND VESSEL THERMAL STRESS (CFR: 41.14): State the operational concerns of uncontrolled cooldown | 4.1 | T | 193010
76 | (395017) 000058 (APE 58) Loss of DC Power (G2.4.49) EMERGENCY PROCEDURES/PLAN: Ability to perform without reference to procedures those actions that require immediate operation of system components and controls (CFR: 41.10 / 43.2 / 45.6) | 4.4 | G | 395017
77 | (008AA2.16) Ability to determine and/or interpret the following as they apply to (APE 8) PRESSURIZER VAPOR Space Accident (CFR: 43.5 / 45.13): RCS in-core thermocouples | 3.6 | A2 | 395002
78 | (395019) 000065 (APE 65) Loss of Instrument Air (G2.1.29) CONDUCT OF OPERATIONS: Knowledge of how to conduct system lineups, such as valves, breakers, or switches (CFR: 41.10 / 45.1 / 45.12) | 4 | G | 395019
79 | (026AA2.06) Ability to determine and/or interpret the following as they apply to (APE 26) LOSS OF Component Cooling Water (CFR: 41.10 / 43.5 / 45.13): The length of time after the loss of CCW flow to a component before that component may be damaged | 3.3 | A2 | 395008
80 | (395018) 000062 (APE 62) Loss of Nuclear Service Water (G2.2.43) EQUIPMENT CONTROL: Knowledge of the process used to track inoperable alarms (CFR: 41.10 / 43.5 / 45.13) | 3.3 | G | 395018
81 | (056AA2.64) Ability to determine and/or interpret the following as they apply to (APE 56) Loss of Offsite Power (CFR: 43.5 / 45.13): Status of circulating water | 2.6 | A2 | 395015
82 | (395039) 000069 (APE 69; W E14) Loss of Containment Integrity (G2.4.42) EMERGENCY PROCEDURES/PLAN: Knowledge of emergency response facilities (CFR: 41.10 / 45.11) | 3.8 | G | 395039
83 | (WE03EA2.04) Ability to determine and/or interpret the following as they apply to (W E03) LOCA COOLDOWN AND Depressurization (CFR: 41.10 / 43.5 / 45.13): CCW flow to RCPs and/or seal water heat exchanger | 3.2 | A2 | 395053
84 | (395029) 000032 (APE 32) Loss of Source Range Nuclear Instrumentation (G2.2.44) EQUIPMENT CONTROL: Ability to interpret control room indications to verify the status and operation of a system and understand how operator actions and directives affect plant and system conditions (CFR: 41.5 / 43.5 / 45.12) | 4.4 | G | 395029
85 | (WE16EA2.02) Ability to determine and/or interpret the following as they apply to (W E16) HIGH Containment Radiation (CFR: 41.10 / 43.5 / 45.13): Adherence to appropriate procedures and operation within the limitations of the facility’s license and amendments | 3.7 | A2 | 395046
86 | (400010) 010 (SF3 PZR PCS) PRESSURIZER PRESSURE CONTROL SYSTEM (G2.2.39) EQUIPMENT CONTROL: Knowledge of less than or equal to 1 hour TS action statements (does not include action statements of 1 hour or less that follow the expiration of a completion time for a TS condition for which an action statement has already been entered) (CFR: 41.7 / 41.10 / 43.2 / 45.13) | 4.5 | G | 400010
87 | (022A2.01) Ability to (a) predict the impacts of the following on the (SF5 CCS) CONTAINMENT COOLING SYSTEM and (b) based on those predictions, use procedures to correct, control, or mitigate the consequences of those abnormal operations (CFR: 41.5 / 43.5 / 45.3 / 45.13): CCS component malfunction | 3.6 | A2 | 400022
88 | (400073) 073 (SF7 PRM) PROCESS RADIATION MONITORING SYSTEM (G2.4.37) EMERGENCY PROCEDURES/PLAN: Knowledge of the lines of authority during implementation of the emergency plan implementing procedures (CFR: 41.10 / 45.13) | 4.1 | G | 400073
89 | (004A2.36) Ability to (a) predict the impacts of the following on the (SF1; SF2 CVCS) CHEMICAL AND VOLUME CONTROL SYSTEM and (b) based on those predictions, use procedures to correct, control, or mitigate the consequences of those abnormal operations (CFR: 41.5 to 41.7 / 43.5 / 45.3 / 45.5): ECP and related boration/dilution/reactivity relationships | 3.4 | A2 | 400004
90 | (400103) 103 (SF5 CNT) CONTAINMENT SYSTEM (G2.1.5) CONDUCT OF OPERATIONS: Ability to use procedures related to shift staffing, such as minimum crew complement or overtime limitations (reference potential) (CFR: 41.10 / 43.5 / 45.12) | 3.9 | G | 400103
91 | (050A2.06) Ability to (a) predict the impacts of the following on the (SF9 CRV) CONTROL ROOM VENTILATION and (b) based on those predictions, use procedures to correct, control, or mitigate the consequences of those abnormal operations (CFR: 41.5 / 43.5 / 45.6): Breaches of control room envelope | 3.7 | A2 | 400050
92 | (400055) 055 (SF4S CARS) CONDENSER AIR REMOVAL SYSTEM (G2.2.13) EQUIPMENT CONTROL: Knowledge of tagging and clearance procedures (CFR: 41.10 / 43.1 / 45.13) | 4.3 | G | 400055
93 | (002A2.03) Ability to (a) predict the impacts of the following on the (SF2; SF4P RCS) REACTOR COOLANT SYSTEM and (b) based on those predictions, use procedures to correct, control, or mitigate the consequences of those abnormal operations (CFR: 41.5 / 43.5 / 45.3 / 45.5): Loss of forced circulation | 4.2 | A2 | 400002
94 | (G2.1.23) CONDUCT OF OPERATIONS: Ability to perform general and/or normal operating procedures during any plant condition (CFR: 41.10 / 43.5 / 45.2 / 45.6) | 4.4 | G2.1 | G2.1
95 | (G2.1.31) CONDUCT OF OPERATIONS: Ability to locate control room switches, controls, and indications and to determine whether they correctly reflect the desired plant lineup (CFR: 41.10 / 45.12) | 4.3 | G2.1 | G2.1
96 | (G2.2.21) EQUIPMENT CONTROL: Knowledge of pre- and post-maintenance operability requirements (CFR: 41.10 / 43.2) | 4.1 | G2.2 | G2.2
97 | (G2.2.19) EQUIPMENT CONTROL: Knowledge of maintenance work order requirements (CFR: 41.10 / 43.5 / 45.13) | 3.4 | G2.2 | G2.2
98 | (G2.3.6) RADIATION CONTROL: Ability to approve liquid or gaseous release permits (CFR: 41.13 / 43.4 / 45.10) | 3.8 | G2.3 | G2.3
99 | (G2.4.21) EMERGENCY PROCEDURES/PLAN: Knowledge of the parameters and logic used to assess the status of emergency operating procedures critical safety functions or shutdown critical safety functions (CFR: 41.7 / 43.5 / 45.12) | 4.6 | G2.4 | G2.4
100 | (G2.4.45) EMERGENCY PROCEDURES/PLAN: Ability to prioritize and interpret the significance of each annunciator or alarm (CFR: 41.10 / 43.5 / 45.3 / 45.12) | 4.3 | G2.4 | G2.4