## Sheet1
Question Number | Topic Title | Topic Importance | K/A Category | System
1 | (077AK2.12) Knowledge of the relationship between (APE 77) GENERATOR VOLTAGE AND ELECTRIC Grid Disturbances and the following systems or components (CFR: 41.4 / 41.5 / 41.7 / 41.10 / 45.8): AC electrical distribution | 3.7 | K2 | 395020
2 | (008AK1.03) Knowledge of the operational implications and/or cause and effect relationships of the following concepts as they apply to (APE 8) PRESSURIZER VAPOR Space Accident (CFR: 41.8 / 41.10 / 45.3): Consequences due to a PZR vapor space leak | 4 | K1 | 395002
3 | (029EA2.09) Ability to determine and/or interpret the following as they apply to (EPE 29) ANTICIPATED TRANSIENT WITHOUT SCRAM (ATWS) (CFR: 43.5 / 45.13): Occurrence of a main turbine trip | 4.1 | A2 | 395010
4 | (056AA1.02) Ability to operate and/or monitor the following as they apply to (APE 56) Loss of Offsite Power (CFR: 41.7 / 45.5 / 45.6): ESF bus synchronization select switch to close bus tie breakers | 3.6 | A1 | 395015
5 | (395014) 000055 (EPE 55) Station Blackout (G2.4.3) EMERGENCY PROCEDURES/PLAN: Ability to identify post-accident instrumentation (CFR: 41.6 / 45.4) | 3.7 | G | 395014
6 | (025AK3.02) Knowledge of the reasons for the following responses and/or actions as they apply to (APE 25) LOSS OF RESIDUAL Heat Removal System (CFR: 41.5 / 41.10 / 45.6 / 45.13): Isolating potential leakage paths | 3.6 | K3 | 395007
7 | (058AK2.05) Knowledge of the relationship between (APE 58) LOSS OF DC Power and the following systems or components (CFR: 41.7 / 45.7): AC distribution system | 3.6 | K2 | 395017
8 | (027AK1.03) Knowledge of the operational implications and/or cause and effect relationships of the following concepts as they apply to (APE 27) PRESSURIZER PRESSURE Control System Malfunction (CFR: 41.7 / 41.8 / 41.10 / 45.3): Latent heat of vaporization / condensation | 3.2 | K1 | 395009
9 | (BE05EA2.06) Ability to determine and/or interpret the following as they apply to (BW E05) Excessive Heat Transfer (CFR: 41.10 / 43.5 / 45.13): RCS temperature | 4.3 | A2 | 395012
10 | (WE11EA1.20) Ability to operate and/or monitor the following as they apply to (W E11) LOSS OF EMERGENCY Coolant Recirculation (CFR: 41.5 to 41.8 / 45.5 to 45.8): IAS | 2.9 | A1 | 395022
11 | (395016) 000057 (APE 57) Loss of Vital AC Instrument Bus (G2.4.51) EMERGENCY PROCEDURES/PLAN: Knowledge of emergency operating procedure exit conditions (e.g., emergency condition no longer exists or severe accident guideline entry is required) (CFR: 41.10 / 43.5 /45.13) | 3 | G | 395016
12 | (WE05EK3.06) Knowledge of the reasons for the following responses and/or actions as they apply to (W E05) Loss of Secondary Heat Sink (CFR: 41.5 / 41.10 / 45.6 / 45.13): Establishing AFW to at least one S/G | 4.4 | K3 | 395023
13 | (015AK2.08) Knowledge of the relationship between (APE 15) REACTOR COOLANT Pump Malfunctions and the following systems or components (CFR: 41.7 / 45.7): CCWS | 3.5 | K2 | 395005
14 | (WE04EK1.04) Knowledge of the operational implications and/or cause and effect relationships of the following concepts as they apply to (W E04) LOCA Outside Containment (CFR: 41.5 / 41.7 / 45.7 / 45.8): Component failures required to establish a LOCA outside containment | 3.8 | K1 | 395021
15 | (054AA2.01) Ability to determine and/or interpret the following as they apply to (APE 54) LOSS OF Main Feedwater (CFR: 43.5 / 45.13): Occurrence of reactor and/or turbine trip | 3.7 | A2 | 395013
16 | (026AA1.06) Ability to operate and/or monitor the following as they apply to (APE 26) LOSS OF Component Cooling Water (CFR: 41.5 / 41.7 / 45.5 to 45.8): Control of flow rates to components cooled by the CCWS | 3.1 | A1 | 395008
17 | (395004) 000011 (EPE 11) Large Break LOCA (G2.1.7) CONDUCT OF OPERATIONS: Ability to evaluate plant performance and make operational judgments based on operating characteristics, reactor behavior, and instrument interpretation (CFR: 41.5 / 43.5 / 45.12 / 45.13) | 4.4 | G | 395004
18 | (009EK3.24) Knowledge of the reasons for the following responses and/or actions as they apply to (EPE 9) SMALL-Break LOCA (CFR: 41.5 / 41.10 / 45.6 / 45.13): ECCS throttling or termination criteria | 3.9 | K3 | 395003
19 | (001AK2.14) Knowledge of the relationship between (APE 1) CONTINUOUS Rod Withdrawal and the following systems or components (CFR: 41.7 / 45.7): CRDS | 3.7 | K2 | 395024
20 | (024AK1.01) Knowledge of the operational implications and/or cause and effect relationships of the following concepts as they apply to (APE 24) EMERGENCY Boration (CFR: 41.6 to 41.8 / 41.10 / 45.3): Relationship between boron addition and change in T-ave. | 3.9 | K1 | 395027
21 | (068AA2.03) Ability to determine and/or interpret the following as they apply to (APE 68) Control Room Evacuation (CFR: 41.10 / 43.5 / 45.13): T-hot, T-cold, and in-core temperatures | 3.7 | A2 | 395038
22 | (078AA1.02) Ability to operate and/or monitor the following as they apply to (APE 78) REACTOR COOLANT SYSTEM LEAK (CFR: 41.7 / 45.5 / 45.6): Reactor trip controls | 4.3 | A1 | 395042
23 | (395044) (W E13) Steam Generator Overpressure (G2.4.18) EMERGENCY PROCEDURES/PLAN: Knowledge of the specific bases for emergency and abnormal operating procedures (CFR: 41.10 / 43.1 / 45.13) | 3.3 | G | 395044
24 | (037AK3.07) Knowledge of the reasons for the following responses and/or actions as they apply to (APE 37) STEAM Generator Tube Leak (CFR: 41.5 / 41.7 / 41.10 / 45.6 / 45.13): Actions contained in EOPs for S/G tube leak | 4 | K3 | 395032
25 | (WE15EK2.05) Knowledge of the relationship between (W E15) Containment Flooding and the following systems or components (CFR: 41.7 / 41.8 / 45.2 / 45.4): Primary makeup water | 2.9 | K2 | 395045
26 | (BE09EK1.12) Knowledge of the operational implications and/or cause and effect relationships of the following concepts as they apply to (BW E09) NATURAL CIRCULATION COOLDOWN (CFR: 41.5 / 41.7 / 45.7 / 45.8): Reactor vessel head voids | 3.9 | K1 | 395054
27 | (010K2.02) Knowledge of electrical power supplies to the following: (SF3 PZR PCS) PRESSURIZER PRESSURE CONTROL SYSTEM (CFR: 41.7) PZR pressure controller | 3.1 | K2 | 400010
28 | (022K4.03) Knowledge of (SF5 CCS) CONTAINMENT COOLING SYSTEM design features and/or interlocks that provide for the following (CFR: 41.7): Containment isolation | 3.9 | K4 | 400022
29 | (039K5.13) Knowledge of the operational implications or cause and effect relationships of the following concepts as they apply to the (SF4S MSS) MAIN AND REHEAT STEAM SYSTEM (CFR: 41.5 / 45.7): Indications and alarms for main steam and radiation monitors (during S/G tube rupture) | 4 | K5 | 400039
30 | (063A3.02) Ability to monitor automatic features of the (SF6 ED DC) DC ELECTRICAL DISTRIBUTION SYSTEM, including (CFR: 41.7 / 45.5): Battery charger undervoltage stripping | 3.1 | A3 | 400063
31 | (064K1.02) Knowledge of the physical connections and/or cause and effect relationships between the (SF6 EDG) EMERGENCY DIESEL GENERATOR SYSTEM and the following systems (CFR: 41.3 to 41.8 / 45.7 / 45.8): EDG cooling water system | 4.1 | K1 | 400064
32 | (012A2.06) Ability to (a) predict the impacts of the following on the (SF7 RPS) REACTOR PROTECTION SYSTEM and (b) based on those predictions, use procedures to correct, control, or mitigate the consequences of those abnormal operations (CFR: 41.5 / 43.5 / 45.3 / 45.5): Failure of RPS signal to trip the reactor | 4.8 | A2 | 400012
33 | (061A4.01) Ability to manually operate and/or monitor the (SF4S AFW) AUXILIARY/EMERGENCY FEEDWATER SYSTEM in the control room (CFR: 41.7 / 45.5 to 45.8): AFW pump | 4.2 | A4 | 400061
34 | (003K6.03) Knowledge of the effect of the following plant conditions, system malfunctions, or component malfunctions on the (SF4P RCP) REACTOR COOLANT PUMP SYSTEM (CFR: 41.7 / 45.5): RCP lift oil pumps and lube oil pumps | 3.2 | K6 | 400003
35 | (400013) 013 (SF2 ESFAS) ENGINEERED SAFETY FEATURES ACTUATION SYSTEM (G2.1.28) CONDUCT OF OPERATIONS: Knowledge of the purpose and function of major system components and controls (CFR: 41.7) | 4.1 | G | 400013
36 | (103A1.01) Ability to predict and/or monitor changes in parameters associated with operation of the (SF5 CNT) CONTAINMENT SYSTEM, including (CFR: 41.5 / 45.5): Containment pressure, temperature, and/or humidity | 3.9 | A1 | 400103
37 | (062K3.05) Knowledge of the effect that a loss or malfunction of the (SF6 ED AC) AC ELECTRICAL DISTRIBUTION SYSTEM will have on the following systems or system parameters (CFR: 41.7 / 45.6): ESFAS/ESAS | 4.3 | K3 | 400062
38 | (008K2.01) Knowledge of electrical power supplies to the following (CFR: 41.7): (SF8 CCW) COMPONENT COOLING WATER SYSTEM CCW valves | 3 | K2 | 400008
39 | (006K4.01) Knowledge of (SF2; SF3 ECCS) EMERGENCY CORE COOLING SYSTEM design features and/or interlocks that provide for the following (CFR: 41.7 / 41.8): Cooling of centrifugal pump bearings | 3.2 | K4 | 400006
40 | (076K5.04) Knowledge of the operational implications or cause and effect relationships of the following concepts as they apply to the (SF4S SW) SERVICE WATER SYSTEM (CFR: 41.4 / 41.7 / 45.5): SWS intake screen high D/P | 3.1 | K5 | 400076
41 | (078A3.05) Ability to monitor automatic features of the (SF8 IAS) INSTRUMENT AIR SYSTEM, including (CFR: 41.7 / 45.5): Isolation of instrument air to containment | 3.3 | A3 | 400078
42 | (005K1.05) Knowledge of the physical connections and/or cause and effect relationships between the (SF4P RHR) RESIDUAL HEAT REMOVAL SYSTEM and the following systems (CFR: 41.2 to 41.9 / 45.7 / 45.8): RCPS | 3.1 | K1 | 400005
43 | (004A2.16) Ability to (a) predict the impacts of the following on the (SF1; SF2 CVCS) CHEMICAL AND VOLUME CONTROL SYSTEM and (b) based on those predictions, use procedures to correct, control, or mitigate the consequences of those abnormal operations (CFR: 41.5 to 41.7 / 43.5 / 45.3 / 45.5): T-ave. and T-ref. deviations | 3 | A2 | 400004
44 | (073A4.04) Ability to manually operate and/or monitor the (SF7 PRM) PROCESS RADIATION MONITORING SYSTEM in the control room (CFR: 41.7 / 45.8 / 45.9): Alarm and/or interlock setpoint checks and adjustments | 3.2 | A4 | 400073
45 | (026K6.01) Knowledge of the effect of the following plant conditions, system malfunctions, or component malfunctions on the (SF5 CSS) CONTAINMENT SPRAY SYSTEM (CFR: 41.7 / 45.7): CCS motor-operated valves | 3.6 | K6 | 400026
46 | (400059) 059 (SF4S MFW) MAIN FEEDWATER SYSTEM (191003K1.09) CONTROLLERS AND POSITIONERS (CFR: 41.7): Effects on operation of controllers due to proportional, integral (reset), derivative (rate), and their combinations | 2.5 | C | 400059
47 | (007A1.01) Ability to predict and/or monitor changes in parameters associated with operation of the (SF5 PRTS) PRESSURIZER RELIEF/QUENCH TANK SYSTEM, including (CFR: 41.5 / 45.5): PRT/quench tank water level | 3 | A1 | 400007
48 | (010K3.01) Knowledge of the effect that a loss or malfunction of the (SF3 PZR PCS) PRESSURIZER PRESSURE CONTROL SYSTEM will have on the following systems or system parameters (CFR: 41.7 / 45.6): RCS | 4.1 | K3 | 400010
49 | (022K2.02) Knowledge of electrical power supplies to the following (CFR: 41.7): (SF5 CCS) CONTAINMENT COOLING SYSTEM Chillers | 2.8 | K2 | 400022
50 | (039K4.12) Knowledge of (SF4S MSS) MAIN AND REHEAT STEAM SYSTEM design features and/or interlocks that provide for the following (CFR: 41.7): Moisture separation and reheater steam supply | 3 | K4 | 400039
51 | (063K5.05) Knowledge of the operational implications or cause and effect relationships of the following concepts as they apply to the (SF6 ED DC) DC ELECTRICAL DISTRIBUTION SYSTEM (CFR: 41.5 / 45.7): Battery capacity as it is affected by discharge rate/individual cell voltages | 3.1 | K5 | 400063
52 | (064A3.13) Ability to monitor automatic features of the (SF6 EDG) EMERGENCY DIESEL GENERATOR SYSTEM, including (CFR: 41.7 / 45.5): Opening/closing EDG output breaker | 3.8 | A3 | 400064
53 | (012K1.07) Knowledge of the physical connections and/or cause and effect relationships between the (SF7 RPS) REACTOR PROTECTION SYSTEM and the following systems (CFR: 41.2 to 41.9 / 45.7 / 45.8): SDS | 3.3 | K1 | 400012
54 | (061A2.03) Ability to (a) predict the impacts of the following on the (SF4S AFW) AUXILIARY/EMERGENCY FEEDWATER SYSTEM and (b) based on those predictions, use procedures to correct, control, or mitigate the consequences of those abnormal operations (CFR: 41.5 / 45.6): Loss of DC power | 4 | A2 | 400061
55 | (086K2.01) Knowledge of electrical power supplies to the following: (SF8 FPS) FIRE PROTECTION SYSTEM (CFR: 41.7) Fire pumps | 3.2 | K2 | 400086
56 | (056K4.19) Knowledge of (SF4S CDS) CONDENSATE SYSTEM design features and/or interlocks that provide for the following (CFR: 41.7): Setpoints and trip levels for condensate pump and booster pump operations | 3 | K4 | 400056
57 | (075K5.08) Knowledge of the operational implications or cause and effect relationships of the following concepts as they apply to the (SF8 CW) CIRCULATING WATER SYSTEM (CFR: 41.5 / 45.8): Purpose of the vacuum priming system | 2.6 | K5 | 400075
58 | (068A3.02) Ability to monitor automatic features of the (SF9 LRS) LIQUID RADWASTE SYSTEM, including (CFR: 41.7 / 45.8 / 45.9): Automatic isolation | 3.6 | A3 | 400068
59 | (014K1.01) Knowledge of the physical connections and/or cause and effect relationships between the (SF1 RPI) ROD POSITION INDICATION SYSTEM and the following systems (CFR: 41.2 to 41.8 / 45.2 / 45.4 to 45.7): CRDS | 4 | K1 | 400014
60 | (033A2.01) Ability to (a) predict the impacts of the following on the (SF8 SFPCS) SPENT FUEL POOL COOLING SYSTEM and (b) based on those predictions, use procedures to correct, control, or mitigate the consequences of those abnormal operations (CFR: 41.5 / 45.6): Inadequate SDM | 3.8 | A2 | 400033
61 | (028A4.03) Ability to manually operate and/or monitor the (SF5 HRPS) HYDROGEN RECOMBINER AND PURGE CONTROL SYSTEM in the control room (CFR: 41.7 / 45.5 to 45.8): Hydrogen sampling | 2.7 | A4 | 400028
62 | (016K6.02) Knowledge of the effect of the following plant conditions, system malfunctions, or component malfunctions on the (SF7 NNI) NONNUCLEAR INSTRUMENTATION SYSTEM (CFR: 41.7 / 45.7): Secondary system input sensors and detectors | 3.1 | K6 | 400016
63 | (400050) 050 (SF9 CRV*) CONTROL ROOM VENTILATION (G2.1.31) CONDUCT OF OPERATIONS: Ability to locate control room switches, controls, and indications and to determine whether they correctly reflect the desired plant lineup (CFR: 41.10 / 45.12) | 4.6 | G | 400050
64 | (G2.1.30) CONDUCT OF OPERATIONS: Ability to locate and operate components, including local controls (CFR: 41.7 / 45.7) | 4.4 | G2.1 | G2.1
65 | (G2.1.14) CONDUCT OF OPERATIONS: Knowledge of criteria or conditions that require plantwide announcements, such as pump starts, reactor trips, and mode changes (CFR: 41.10 / 43.5 / 45.12) | 3.1 | G2.1 | G2.1
66 | (G2.2.4) EQUIPMENT CONTROL: (Multi-unit license) Ability to explain the variations in control room layouts, systems, instrumentation, and/or procedural actions between units at a facility (CFR: 41.6 / 41.7 / 41.10 / 45.1 / 45.13) | 3.6 | G2.2 | G2.2
67 | (G2.2.43) EQUIPMENT CONTROL: Knowledge of the process used to track inoperable alarms (CFR: 41.10 / 43.5 / 45.13) | 3 | G2.2 | G2.2
68 | (G2.3.12) RADIATION CONTROL: Knowledge of radiological safety principles and procedures pertaining to licensed operator duties, such as response to radiation monitor alarms, containment entry requirements, fuel handling responsibilities, access to locked high-radiation areas, or alignment of filters (CFR: 41.12 / 43.4 / 45.9 / 45.10) | 3.2 | G2.3 | G2.3
69 | (G2.4.26) EMERGENCY PROCEDURES/PLAN: Knowledge of facility protection requirements, including fire brigade and portable firefighting equipment usage (CFR: 41.10 / 43.5 / 45.12) | 3.1 | G2.4 | G2.4
70 | (192003K1.07) REACTOR KINETICS AND NEUTRON SOURCES (CFR: 41.1): Explain the effect of delayed neutrons on reactor control | 3 | R | 192003
71 | (192007K1.05) FUEL DEPLETION AND BURNABLE POISONS (CFR: 41.1): Describe the effects of boration/dilution on reactivity during forced-flow and natural circulation conditions | 3.2 | R | 192007
72 | (192002K1.10) NEUTRON LIFE CYCLE (CFR: 41.1): Define SDM | 3.6 | R | 192002
73 | (193009K1.02) CORE THERMAL LIMITS (CFR: 41.14): Explain axial peaking factor | 2.8 | T | 193009
74 | (193003K1.12) STEAM (CFR: 41.14): Define the following term: -- moisture content | 2.8 | T | 193003
75 | (193008K1.17) THERMAL HYDRAULICS (CFR: 41.14): (TWO-PHASE FLOW) Explain the necessity of determining core coolant flow | 3.2 | T | 193008
76 | (BE02EA2.17) Ability to determine and/or interpret the following as they apply to (BW E02) VITAL SYSTEM STATUS VERIFICATION (CFR: 41.10 / 43.5 / 45.13): RCS integrity | 4.3 | A2 | 395001
77 | (395018) 000062 (APE 62) Loss of Nuclear Service Water (G2.1.21) CONDUCT OF OPERATIONS: Ability to verify that a copy of a controlled procedure is the proper revision (CFR: 41.10 / 45.10 / 45.13) | 3.6 | G | 395018
78 | (022AA2.03) Ability to determine and/or interpret the following as they apply to (APE 22) LOSS OF REACTOR Coolant Makeup (CFR: / 43.5 / 45.13): Failures of flow control valve or controller | 3.6 | A2 | 395006
79 | (395019) 000065 (APE 65) Loss of Instrument Air (G2.1.6) CONDUCT OF OPERATIONS: Ability to manage the control room crew during plant transients (SRO Only) (CFR: 43.5 / 45.12 / 45.13) | 4.8 | G | 395019
80 | (038EA2.09) Ability to determine and/or interpret the following as they apply to (EPE 38) STEAM GENERATOR Tube Rupture (CFR: 43.5 / 45.13): Parameters used to verify natural circulation | 3.8 | A2 | 395011
81 | (395020) 000077 (APE 77) Generator Voltage and Electric Grid Disturbances (G2.1.34) CONDUCT OF OPERATIONS: Knowledge of RCS or balance-of-plant chemistry controls, including parameters measured and reasons for the control (CFR: 41.10 / 43.5 / 45.12) | 3.5 | G | 395020
82 | (069AA2.02) Ability to determine and/or interpret the following as they apply to (APE 69) LOSS OF Containment Integrity (CFR: 43.5 / 45.13): Verification of automatic and/or manual means of restoring integrity | 4 | A2 | 395039
83 | (395025) 000003 (APE 3) Dropped Control Rod (G2.1.45) CONDUCT OF OPERATIONS: Ability to identify and interpret diverse indications to validate the response of another indication. (CFR: 41.7 / 43.5 / 45.4) | 4.3 | G | 395025
84 | (028AA2.15) Ability to determine and/or interpret the following as they apply to (APE 28) PRESSURIZER (PZR) Level Control Malfunction (CFR: 43.5 / 45.13): PZR level reactor protection bistables | 3.9 | A2 | 395028
85 | (395030) 000033 (APE 33) Loss of Intermediate Range Nuclear Instrumentation (G2.2.42) EQUIPMENT CONTROL: Ability to recognize system parameters that are entry-level conditions for TS (CFR: 41.7 / 41.10 / 43.2 / 43.3 / 45.3) | 4.6 | G | 395030
86 | (003A2.01) Ability to (a) predict the impacts of the following on the (SF4P RCP) REACTOR COOLANT PUMP SYSTEM and (b) based on those predictions, use procedures to correct, control, or mitigate the consequences of those abnormal operations (CFR: 41.5 / 43.5 / 45.3 / 45.13): Problems with RCP seals, especially seal leakoff rates | 4 | A2 | 400003
87 | (400013) 013 (SF2 ESFAS) ENGINEERED SAFETY FEATURES ACTUATION SYSTEM (G2.2.15) EQUIPMENT CONTROL: Ability to determine the expected plant configuration using design and configuration control documentation, such as drawings, lineups, or tagouts (reference potential) (CFR: 41.10 / 43.3 / 45.13) | 4.3 | G | 400013
88 | (103A2.08) Ability to (a) predict the impacts of the following on the (SF5 CNT) CONTAINMENT SYSTEM and (b) based on those predictions, use procedures to correct, control, or mitigate the consequences of those abnormal operations (CFR: 41.5 / 43.5 / 45.3 / 45.13): CPS malfunctions | 3.1 | A2 | 400103
89 | (400062) 062 (SF6 ED AC) AC ELECTRICAL DISTRIBUTION SYSTEM (G2.4.47) EMERGENCY PROCEDURES/PLAN: Ability to diagnose and recognize trends in an accurate and timely manner using the appropriate control room reference material (reference potential) (CFR: 41.10 / 43.5 / 45.12) | 4.2 | G | 400062
90 | (008A2.10) Ability to (a) predict the impacts of the following on the (SF8 CCW) COMPONENT COOLING WATER SYSTEM and (b) based on those predictions, use procedures to correct, control, or mitigate the consequences of those abnormal operations (CFR: 41.5 / 43.5 / 45.3 / 45.13): SWS malfunction | 3.8 | A2 | 400008
91 | (400027) 027 (SF5 CIRS) CONTAINMENT IODINE REMOVAL SYSTEM (G2.2.13) EQUIPMENT CONTROL: Knowledge of tagging and clearance procedures (CFR: 41.10 / 43.1 / 45.13) | 4.3 | G | 400027
92 | (055A2.03) Ability to (a) predict the impacts of the following on the (SF4S CARS) CONDENSER AIR REMOVAL SYSTEM and (b) based on those predictions, use procedures to correct, control, or mitigate the consequences of those abnormal operations (CFR: 41.5 / 43.5 / 45.3 / 45.13): Loss of air ejector cooling water | 2.9 | A2 | 400055
93 | (400035) 035 (SF4P SG) STEAM GENERATOR SYSTEM (G2.1.2) CONDUCT OF OPERATIONS: Knowledge of operator responsibilities during any mode of plant operation (CFR: 41.10 / 43.1 / 45.13) | 4.4 | G | 400035
94 | (G2.1.23) CONDUCT OF OPERATIONS: Ability to perform general and/or normal operating procedures during any plant condition (CFR: 41.10 / 43.5 / 45.2 / 45.6) | 4.4 | G2.1 | G2.1
95 | (G2.1.9) CONDUCT OF OPERATIONS: Ability to direct licensed personnel activities inside the control room (SRO Only) (CFR: 43.1 / 45.5 / 45.12 / 45.13) | 4.5 | G2.1 | G2.1
96 | (G2.2.6) EQUIPMENT CONTROL: Knowledge of the process for making changes to procedures (CFR: 41.10 / 43.3 / 45.13) | 3.6 | G2.2 | G2.2
97 | (G2.2.35) EQUIPMENT CONTROL: Ability to determine TS for mode of operation (CFR: 41.7 / 41.10 / 43.2 / 45.13) | 4.5 | G2.2 | G2.2
98 | (G2.3.14) RADIATION CONTROL: Knowledge of radiation or contamination hazards that may arise during normal, abnormal, or emergency conditions or activities, such as analysis and interpretation of radiation and activity readings as they pertain to administrative, normal, abnormal, and emergency procedures or to analysis and interpretation of coolant activity, including comparison to emergency plan or regulatory limits (SRO Only) (CFR: 43.4 / 45.10) | 3.8 | G2.3 | G2.3
99 | (G2.4.43) EMERGENCY PROCEDURES/PLAN: Knowledge of emergency communications systems and techniques (CFR: 41.10 / 43.5 / 45.13) | 3.8 | G2.4 | G2.4
100 | (G2.4.49) EMERGENCY PROCEDURES/PLAN: Ability to perform without reference to procedures those actions that require immediate operation of system components and controls (CFR: 41.10 / 43.2 / 45.6) | 4.4 | G2.4 | G2.4