## Sheet1
Question Number | Topic Title | Topic Importance | K/A Category | System
1 | (057AA2.04) Ability to determine and/or interpret the following as they apply to (APE 57) LOSS OF VITAL AC ELECTRICALINSTRUMENT BUS (CFR: 43.5 / 45.13): ESF system panel alarm annunciators and channel status | 3.6 | A2 | 395016
2 | (077AA1.07) Ability to operate and/or monitor the following as they apply to (APE 77) GENERATOR VOLTAGE AND ELECTRIC Grid Disturbances (CFR: 41.5 / 41.10 / 45.5 / 45.7 / 45.8): EDG | 4 | A1 | 395020
3 | (065AK1.03) Knowledge of the operational implications and/or cause and effect relationships of the following concepts as they apply to (APE 65) LOSS OF Instrument Air (CFR: 41.8 / 41.10 / 45.3): Failure modes of air-operated equipment | 3.7 | K1 | 395019
4 | (395007) 000025 (APE 25) Loss of Residual Heat Removal System (G2.2.15) EQUIPMENT CONTROL: Ability to determine the expected plant configuration using design and configuration control documentation, such as drawings, lineups, or tagouts (reference potential) (CFR: 41.10 / 43.3 / 45.13) | 3.9 | G | 395007
5 | (058AK2.06) Knowledge of the relationship between (APE 58) LOSS OF DC Power and the following systems or components (CFR: 41.7 / 45.7): EDGs | 4.1 | K2 | 395017
6 | (062AK3.03) Knowledge of the reasons for the following responses and/or actions as they apply to (APE 62) LOSS OF SERVICE WATER (CFR: 41.4 / 41.8 / 45.7): Guidance actions contained in AOPs for loss of service water | 3.9 | K3 | 395018
7 | (011EA2.17) Ability to determine and/or interpret the following as they apply to (EPE 11) LARGE-Break LOCA (CFR: 43.5 / 45.13): Containment pressure, leakage, and/or temperature | 4 | A2 | 395004
8 | (029EA1.08) Ability to operate and/or monitor the following as they apply to (EPE 29) ANTICIPATED TRANSIENT WITHOUT SCRAM (ATWS) (CFR: 41.7 / 45.5 / 45.6): Reactor trip actuation switch | 4.4 | A1 | 395010
9 | (040AK1.07) Knowledge of the operational implications and/or cause and effect relationships of the following concepts as they apply to (APE 40) STEAM LINE RUPTURE (CFR: 41.8 / 41.10 / 45.3): Effects of feedwater introduction on dry S/G | 4 | K1 | 395012
10 | (395021) (W E04) LOCA Outside Containment (G2.1.43) CONDUCT OF OPERATIONS: Ability to use an online power distribution monitoring system and/or procedures to determine the effects on reactivity of plant changes, such as RCS temperature, secondary plant, or fuel depletion | 4.1 | G | 395021
11 | (027AK2.06) Knowledge of the relationship between (APE 27) PRESSURIZER PRESSURE Control System Malfunction and the following systems or components (CFR: 41.7 / 45.7): RCS | 3.8 | K2 | 395009
12 | (015AK3.01) Knowledge of the reasons for the following responses and/or actions as they apply to (APE 15) REACTOR COOLANT Pump Malfunctions (CFR: 41.5 / 41.10 / 45.6 / 45.13): RCP trip criteria | 4.1 | K3 | 395005
13 | (009EA2.34) Ability to determine and/or interpret the following as they apply to (EPE 9) SMALL-Break LOCA (CFR: 43.5 / 45.13): Conditions for throttling or stopping HPI | 3.8 | A2 | 395003
14 | (WE05EA1.14) Ability to operate and/or monitor the following as they apply to (W E05) Loss of Secondary Heat Sink (CFR: 41.5 to 41.8 / 45.5 to 45.8): RHRS | 3.2 | A1 | 395023
15 | (055EK1.02) Knowledge of the operational implications and/or cause and effect relationships of the following concepts as they apply to (EPE 55) Station Blackout (CFR: 41.8 / 41.10 / 45.3): Natural circulation cooling | 4.3 | K1 | 395014
16 | (395022) (W E11) Loss of Emergency Coolant Recirculation (G2.4.50) EMERGENCY PROCEDURES/PLAN: Ability to verify system alarm setpoints and operate controls identified in the alarm response procedure (CFR: 41.10 / 43.5 / 45.3) | 4.2 | G | 395022
17 | (022AK2.09) Knowledge of the relationship between (APE 22) LOSS OF REACTOR Coolant Makeup and the following systems or components (CFR: 41.7 / 45.7): CVCS | 3.9 | K2 | 395006
18 | (054AK3.06) Knowledge of the reasons for the following responses and/or actions as they apply to (APE 54) LOSS OF Main Feedwater (CFR: 41.5 / 41.10 / 45.6 / 45.13): Tripping all RCPs | 3.8 | K3 | 395013
19 | (078AA2.03) Ability to determine and/or interpret the following as they apply to (APE 78) REACTOR COOLANT SYSTEM LEAK (CFR: 43.5 / 45.13): PZR level or VCT level | 5 | A2 | 395042
20 | (068AA1.33) Ability to operate and/or monitor the following as they apply to (APE 68) Control Room Evacuation (CFR: 41.7 / 45.5 / 45.6): RPS | 3.5 | A1 | 395038
21 | (WE13EK1.04) Knowledge of the operational implications and/or cause and effect relationships of the following concepts as they apply to (W E13) STEAM Generator Overpressure (CFR: 41.5 / 41.7 / 45.7 / 45.8): Conditions required to cause overpressurization of an S/G | 3.2 | K1 | 395044
22 | (395034) 000059 (APE 59) Accidental Liquid Radwaste Release (G2.2.39) EQUIPMENT CONTROL: Knowledge of less than or equal to 1 hour TS action statements (does not include action statements of 1 hour or less that follow the expiration of a completion time for a TS condition for which an action statement has already been entered) (CFR: 41.7 / 41.10 / 43.2 / 45.13) | 3.9 | G | 395034
23 | (076AK2.15) Knowledge of the relationship between (APE 76) HIGH REACTOR COOLANT ACTIVITY and the following systems or components (CFR: 41.7 / 45.7): Main condenser | 2.8 | K2 | 395041
24 | (003AK3.04) Knowledge of the reasons for the following responses and/or actions as they apply to (APE 3) DROPPED Control Rod (CFR: 41.5 / 41.10 / 45.6 / 45.13): Contained in procedures | 3.7 | K3 | 395025
25 | (061AA2.03) Ability to determine and/or interpret the following as they apply to (APE 61) AREA RADIATION MONITORING (ARM) System Alarms (CFR: 43.5 / 45.13): Alarm conditions | 3.2 | A2 | 395036
26 | (060AA1.04) Ability to operate and/or monitor the following as they apply to (APE 60) ACCIDENTAL GASEOUS Radwaste Release (CFR: 41.7 / 45.5 / 45.6): Gaseous radwaste release isolation valve | 3.7 | A1 | 395035
27 | (063K4.02) Knowledge of (SF6 ED DC) DC ELECTRICAL DISTRIBUTION SYSTEM design features and/or interlocks that provide for the following (CFR: 41.7): Breaker interlocks, permissives, bypasses, and cross‑ties | 3.5 | K4 | 400063
28 | (006K5.02) Knowledge of the operational implications or cause and effect relationships of the following concepts as they apply to the (SF2; SF3 ECCS) EMERGENCY CORE COOLING SYSTEM (CFR: 41.5 / 45.7): Relationship between safety injection tank volume and pressure | 2.8 | K5 | 400006
29 | (039K3.03) Knowledge of the effect that a loss or malfunction of the (SF4S MSS) MAIN AND REHEAT STEAM SYSTEM will have on the following systems or system parameters (CFR: 41.7 / 45.6): AFW system | 3.3 | K3 | 400039
30 | (062A3.08) Ability to monitor automatic features of the (SF6 ED AC) AC ELECTRICAL DISTRIBUTION SYSTEM, including (CFR: 41.7 / 45.5): Load shedding | 3.6 | A3 | 400062
31 | (061A1.11) Ability to predict and/or monitor changes in parameters associated with operation of the (SF4S AFW) AUXILIARY/EMERGENCY FEEDWATER SYSTEM, including (CFR: 41.5 / 45.5): Lights and alarms | 3.5 | A1 | 400061
32 | (076K6.14) Knowledge of the effect of the following plant conditions, system malfunctions, or component malfunctions on the (SF4S SW) SERVICE WATER SYSTEM (CFR: 41.7 / 45.7): System leakage | 2.9 | K6 | 400076
33 | (064A4.10) Ability to manually operate and/or monitor the (SF6 EDG) EMERGENCY DIESEL GENERATOR SYSTEM in the control room (CFR: 41.7 / 45.5 to 45.8): Manually shedding (loads) safeguards bus | 3.5 | A4 | 400064
34 | (400103) 103 (SF5 CNT) CONTAINMENT SYSTEM (G2.2.6) EQUIPMENT CONTROL: Knowledge of the process for making changes to procedures (CFR: 41.10 / 43.3 / 45.13) | 3 | G | 400103
35 | (008A2.04) Ability to (a) predict the impacts of the following on the (SF8 CCW) COMPONENT COOLING WATER SYSTEM and (b) based on those predictions, use procedures to correct, control, or mitigate the consequences of those abnormal operations (CFR: 41.5 / 43.5 / 45.3 / 45.13): PRMS alarm | 2.7 | A2 | 400008
36 | (003K1.02) Knowledge of the physical connections and/or cause and effect relationships between the (SF4P RCP) REACTOR COOLANT PUMP SYSTEM and the following systems (CFR: 41.2 to 41.9 / 45.7 / 45.8): RCP motor cooling and ventilation | 3.4 | K1 | 400003
37 | (010K2.05) Knowledge of electrical power supplies to the following: (SF3 PZR PCS) PRESSURIZER PRESSURE CONTROL SYSTEM (CFR: 41.7) Pressure channels | 3.3 | K2 | 400010
38 | (012K4.03) Knowledge of (SF7 RPS) REACTOR PROTECTION SYSTEM design features and/or interlocks that provide for the following (CFR: 41.7): Protection and control signals | 4.1 | K4 | 400012
39 | (007K5.07) Knowledge of the operational implications or cause and effect relationships of the following concepts as they apply to the (SF5 PRTS) PRESSURIZER RELIEF/QUENCH TANK SYSTEM (CFR: 41.5 / 45.7): PZR safety tailpipe temperature variations with PRT/quench tank pressure | 3.7 | K5 | 400007
40 | (004K3.07) Knowledge of the effect that a loss or malfunction of the (SF1; SF2 CVCS) CHEMICAL AND VOLUME CONTROL SYSTEM will have on the following systems or system parameters (CFR: 41.5 to 41.7): PZR PCS | 3.4 | K3 | 400004
41 | (005A3.02) Ability to monitor automatic features of the (SF4P RHR) RESIDUAL HEAT REMOVAL SYSTEM, including (CFR: 41.7 / 45.5): RHRS actuation | 4.2 | A3 | 400005
42 | (073A1.02) Ability to predict and/or monitor changes in parameters associated with operation of the (SF7 PRM) PROCESS RADIATION MONITORING SYSTEM, including (CFR: 41.5 / 8-9): Lights and alarms | 3.2 | A1 | 400073
43 | (026K6.05) Knowledge of the effect of the following plant conditions, system malfunctions, or component malfunctions on the (SF5 CSS) CONTAINMENT SPRAY SYSTEM (CFR: 41.7 / 45.7): Heat exchangers | 3.4 | K6 | 400026
44 | (078A4.03) Ability to manually operate and/or monitor the (SF8 IAS) INSTRUMENT AIR SYSTEM in the control room (CFR: 41.7 / 45.5 to 45.8): Isolation/restoration of instrument air to isolated components/systems | 3.2 | A4 | 400078
45 | (400022) 022 (SF5 CCS) CONTAINMENT COOLING SYSTEM (191003K1.04) CONTROLLERS AND POSITIONERS (CFR: 41.7): Function and operation of pressure and temperature controllers, including pressure and temperature control valves | 3 | C | 400022
46 | (013A2.12) Ability to (a) predict the impacts of the following on the (SF2 ESFAS) ENGINEERED SAFETY FEATURES ACTUATION SYSTEM and (b) based on those predictions, use procedures to correct, control, or mitigate the consequences of those abnormal operations (CFR: 41.5 / 41.7 / 41.10 / 43.5 / 45.3 / 45.13): Malfunction of ESF bistable(s)/relays | 3.3 | A2 | 400013
47 | (059K1.08) Knowledge of the physical connections and/or cause and effect relationships between the (SF4S MFW) MAIN FEEDWATER SYSTEM and the following systems (CFR: 41.2 to 41.9 / 45.7 / 45.8): Heater drains | 3 | K1 | 400059
48 | (063K2.01) Knowledge of electrical power supplies to the following: (SF6 ED DC) DC ELECTRICAL DISTRIBUTION SYSTEM (CFR: 41.7) Major DC loads | 3.5 | K2 | 400063
49 | (006K4.26) Knowledge of (SF2; SF3 ECCS) EMERGENCY CORE COOLING SYSTEM design features and/or interlocks that provide for the following (CFR: 41.7 / 41.8): Parallel redundant systems | 3.4 | K4 | 400006
50 | (039K5.14) Knowledge of the operational implications or cause and effect relationships of the following concepts as they apply to the (SF4S MSS) MAIN AND REHEAT STEAM SYSTEM (CFR: 41.5 / 45.7): Use of steam pressure program control when steam dumping through atmospheric relief/dump valves, including T-ave. limits | 3.5 | K5 | 400039
51 | (062K3.02) Knowledge of the effect that a loss or malfunction of the (SF6 ED AC) AC ELECTRICAL DISTRIBUTION SYSTEM will have on the following systems or system parameters (CFR: 41.7 / 45.6): EDG | 4.4 | K3 | 400062
52 | (061A3.06) Ability to monitor automatic features of the (SF4S AFW) AUXILIARY/EMERGENCY FEEDWATER SYSTEM, including (CFR: 41.7 / 45.7): S/GB and sampling isolation | 2.9 | A3 | 400061
53 | (076A1.02) Ability to predict and/or monitor changes in parameters associated with operation of the (SF4S SW) SERVICE WATER SYSTEM, including (CFR: 41.5 / 45.5): Reactor and turbine building CCW temperatures | 3.2 | A1 | 400076
54 | (064K6.09) Knowledge of the effect of the following plant conditions, system malfunctions, or component malfunctions on the (SF6 EDG) EMERGENCY DIESEL GENERATOR SYSTEM (CFR: 41.7 / 45.7): EDG building ventilation | 3.2 | K6 | 400064
55 | (035K4.06) Knowledge of (SF4P SG) STEAM GENERATOR SYSTEM design features and/or interlocks that provide for the following (CFR: 41.7): S/G pressure measurement or control | 3.5 | K4 | 400035
56 | (002K5.12) Knowledge of the operational implications or cause and effect relationships of the following concepts as they apply to the (SF2; SF4P RCS) REACTOR COOLANT SYSTEM (CFR: 41.5 / 45.7): Relationship of T-ave. and loop differential temperature to loop hot-leg and cold-leg temperature indications | 3.5 | K5 | 400002
57 | (029K3.01) Knowledge of the effect that a loss or malfunction of the (SF8 CPS) CONTAINMENT PURGE SYSTEM will have on the following systems or system parameters (CFR: 41.7 / 45.6 / 45.8): CNT | 3.1 | K3 | 400029
58 | (086A3.01) Ability to monitor automatic features of the (SF8 FPS) FIRE PROTECTION SYSTEM, including (CFR: 41.7 / 45.5): Starting of fire pumps | 3.3 | A3 | 400086
59 | (072A1.01) Ability to predict and/or monitor changes in parameters associated with operation of the (SF7 ARM) AREA RADIATION MONITORING SYSTEM, including (CFR: 41.5 / 45.5 /45.9): Radiation levels | 3.4 | A1 | 400072
60 | (033K6.08) Knowledge of the effect of the following plant conditions, system malfunctions, or component malfunctions on the (SF8 SFPCS) SPENT FUEL POOL COOLING SYSTEM (CFR: 41.7 / 45.7): RWST | 3.2 | K6 | 400033
61 | (001A4.14) Ability to manually operate and/or monitor the (SF1 CRDS) CONTROL ROD DRIVE SYSTEM in the control room (CFR: 41.6 / 45.5 to 45.8): Resetting rod control logic while recovering from misaligned rod | 3.2 | A4 | 400001
62 | (400015) 015 (SF7 NI) NUCLEAR INSTRUMENTATION SYSTEM (G2.2.22) EQUIPMENT CONTROL: Knowledge of limiting conditions for operation and safety limits (CFR: 41.5 / 43.2 / 45.2) | 4 | G | 400015
63 | (050A2.05) Ability to (a) predict the impacts of the following on the (SF9 CRV) CONTROL ROOM VENTILATION and (b) based on those predictions, use procedures to correct, control, or mitigate the consequences of those abnormal operations (CFR: 41.5 / 43.5 / 45.6): Loss of chillers | 3.2 | A2 | 400050
64 | (G2.1.25) CONDUCT OF OPERATIONS: Ability to interpret reference materials, such as graphs, curves, and tables (reference potential) (CFR: 41.10 / 43.5 / 45.12) | 3.9 | G2.1 | G2.1
65 | (G2.1.23) CONDUCT OF OPERATIONS: Ability to perform general and/or normal operating procedures during any plant condition (CFR: 41.10 / 43.5 / 45.2 / 45.6) | 4.3 | G2.1 | G2.1
66 | (G2.2.12) EQUIPMENT CONTROL: Knowledge of surveillance procedures (CFR: 41.10 / 43.2 / 45.13) | 3.7 | G2.2 | G2.2
67 | (G2.2.1) EQUIPMENT CONTROL: Ability to perform pre-startup procedures for the facility, including operating those controls associated with plant equipment that could affect reactivity (CFR: 41.5 / 41.10 / 43.5 / 43.6 / 45.1) | 4.5 | G2.2 | G2.2
68 | (G2.3.12) RADIATION CONTROL: Knowledge of radiological safety principles and procedures pertaining to licensed operator duties, such as response to radiation monitor alarms, containment entry requirements, fuel handling responsibilities, access to locked high-radiation areas, or alignment of filters (CFR: 41.12 / 43.4 / 45.9 / 45.10) | 3.2 | G2.3 | G2.3
69 | (G2.4.12) EMERGENCY PROCEDURES/PLAN: Knowledge of operating crew responsibilities during emergency and abnormal operations (CFR: 41.10 / 45.12) | 4 | G2.4 | G2.4
70 | (192002K1.10) NEUTRON LIFE CYCLE (CFR: 41.1): Define SDM | 3.6 | R | 192002
71 | (192005K1.16) CONTROL RODS (CFR: 41.1): Explain the effects of full and/or part length rods on delta I (flux distribution) | 3.5 | R | 192005
72 | (192008K1.07) REACTOR OPERATIONAL PHYSICS (CFR: 41.1): (STARTUP AND APPROACH TO CRITICALITY) Calculate ECP using procedures and given plant procedures | 3.6 | R | 192008
73 | (193007K1.08) HEAT TRANSFER (CFR: 41.14): (CORE THERMAL POWER) Calculate core thermal power using a simplified heat balance | 3.4 | T | 193007
74 | (193003K1.16) STEAM (CFR: 41.14): Define the following term: -- subcooled and compressed liquids | 2.7 | T | 193003
75 | (193009K1.08) CORE THERMAL LIMITS (CFR: 41.14): Describe axial flux imbalance, including long-range effects | 3.3 | T | 193009
76 | (395001) 000007 (EPE 7; BW E02 & E10; CE E02) Reactor Trip, Stabilization, Recovery (G2.2.17) EQUIPMENT CONTROL: Knowledge of the process for managing maintenance activities during power operations, such as risk assessments, work prioritization, and coordination with the transmission system operator (CFR: 41.10 / 43.5 / 45.13) | 3.8 | G | 395001
77 | (056AA2.88) Ability to determine and/or interpret the following as they apply to (APE 56) Loss of Offsite Power (CFR: 43.5 / 45.13): Conditions necessary for natural circulation | 4 | A2 | 395015
78 | (395008) 000026 (APE 26) Loss of Component Cooling Water (G2.4.41) EMERGENCY PROCEDURES/PLAN: Knowledge of the emergency action level thresholds and classifications (SRO Only) (CFR: 43.5 / 45.11) | 4.6 | G | 395008
79 | (038EA2.24) Ability to determine and/or interpret the following as they apply to (EPE 38) STEAM GENERATOR Tube Rupture (CFR: 43.5 / 45.13): Reactor coolant temperature/ITM | 3.6 | A2 | 395011
80 | (395002) 000008 (APE 8) Pressurizer Vapor Space Accident (G2.4.14) EMERGENCY PROCEDURES/PLAN: Knowledge of general guidelines for emergency and abnormal operating procedures usage (CFR: 41.10 / 43.1 / 45.13) | 4.5 | G | 395002
81 | (057AA2.14) Ability to determine and/or interpret the following as they apply to (APE 57) LOSS OF VITAL AC ELECTRICALINSTRUMENT BUS (CFR: 43.5 / 45.13): Verification that substitute power sources have come on line on a loss of initial AC | 3.7 | A2 | 395016
82 | (395045) (W E15) Containment Flooding (G2.1.29) CONDUCT OF OPERATIONS: Knowledge of how to conduct system lineups, such as valves, breakers, or switches (CFR: 41.10 / 45.1 / 45.12) | 4 | G | 395045
83 | (024AA2.04) Ability to determine and/or interpret the following as they apply to (APE 24) EMERGENCY Boration (CFR: 43.5 / 45.13): Availability of the RWST | 3.7 | A2 | 395027
84 | (395046) (W E16) High Containment Radiation (G2.3.5) RADIATION CONTROL: Ability to use RMSs, such as fixed radiation monitors and alarms or personnel monitoring equipment (CFR: 41.11 / 41.12 / 43.4 / 45.9) | 2.9 | G | 395046
85 | (005AA2.06) Ability to determine and/or interpret the following as they apply to (APE 5) INOPERABLE/STUCK Control Rod (CFR: 43.5 / 45.13): Axial flux difference and/or quadrant power tilt ratio | 4 | A2 | 395026
86 | (400103) 103 (SF5 CNT) CONTAINMENT SYSTEM (G2.2.23) EQUIPMENT CONTROL: Ability to track TS limiting conditions for operation (CFR: 41.10 / 43.2 / 45.13) | 4.6 | G | 400103
87 | (008A2.10) Ability to (a) predict the impacts of the following on the (SF8 CCW) COMPONENT COOLING WATER SYSTEM and (b) based on those predictions, use procedures to correct, control, or mitigate the consequences of those abnormal operations (CFR: 41.5 / 43.5 / 45.3 / 45.13): SWS malfunction | 3.8 | A2 | 400008
88 | (400003) 003 (SF4P RCP) REACTOR COOLANT PUMP SYSTEM (G2.2.4) EQUIPMENT CONTROL: (Multi-unit license) Ability to explain the variations in control room layouts, systems, instrumentation, and/or procedural actions between units at a facility (CFR: 41.6 / 41.7 / 41.10 / 45.1 / 45.13) | 3.6 | G | 400003
89 | (010A2.02) Ability to (a) predict the impacts of the following on the (SF3 PZR PCS) PRESSURIZER PRESSURE CONTROL SYSTEM and (b) based on those predictions, use procedures to correct, control, or mitigate the consequences of those abnormal operations (CFR: 41.5 / 43.5 / 45.3 / 45.13): Spray valve failures | 3.8 | A2 | 400010
90 | (400012) 012 (SF7 RPS) REACTOR PROTECTION SYSTEM (G2.1.1) CONDUCT OF OPERATIONS: Knowledge of conduct of operations requirements (CFR: 41.10 / 43.10 / 45.13) | 4.2 | G | 400012
91 | (034A4.06) Ability to manually operate and/or monitor the (SF8 FHS) FUEL HANDLING EQUIPMENT SYSTEM in the control room (CFR: 41.4 / 41.7 / 43.7 / 45.5 / 45.6 / 45.8): Fuel transfer system operation | 2.6 | A4 | 400034
92 | (400016) 016 (SF7 NNI) NONNUCLEAR INSTRUMENTATION SYSTEM (G2.2.13) EQUIPMENT CONTROL: Knowledge of tagging and clearance procedures (CFR: 41.10 / 43.1 / 45.13) | 4.3 | G | 400016
93 | (068A2.06) Ability to (a) predict the impacts of the following on the (SF9 LRS) LIQUID RADWASTE SYSTEM and (b) based on those predictions, use procedures to correct, control, or mitigate the consequences of those abnormal operations (CFR: 41.5 / 43.5 / 45.3 / 45.8 / 45.9 / 45.13): CCWS malfunction | 2.6 | A2 | 400068
94 | (G2.1.21) CONDUCT OF OPERATIONS: Ability to verify that a copy of a controlled procedure is the proper revision (CFR: 41.10 / 45.10 / 45.13) | 3.6 | G2.1 | G2.1
95 | (G2.1.18) CONDUCT OF OPERATIONS: Ability to make accurate, clear, and concise logs, records, status boards, and reports (CFR: 41.10 / 45.12 / 45.13) | 3.8 | G2.1 | G2.1
96 | (G2.2.37) EQUIPMENT CONTROL: Ability to determine operability or availability of safety‑related equipment (SRO Only) (CFR: 43.2 / 43.5 / 45.12) | 4.6 | G2.2 | G2.2
97 | (G2.2.45) EQUIPMENT CONTROL: Ability to determine and/or interpret TS with action statements of greater than 1 hour (SRO Only) (CFR: 43.2 / 43.5 / 45.3) | 4.7 | G2.2 | G2.2
98 | (G2.3.11) RADIATION CONTROL: Ability to control radiation releases (CFR: 41.11 / 43.4 / 45.10) | 4.3 | G2.3 | G2.3
99 | (G2.4.51) EMERGENCY PROCEDURES/PLAN: Knowledge of emergency operating procedure exit conditions (e.g., emergency condition no longer exists or severe accident guideline entry is required) (CFR: 41.10 / 43.5 /45.13) | 4 | G2.4 | G2.4
100 | (G2.4.52) EMERGENCY PROCEDURES/PLAN: Knowledge of the lines of authority during implementation of the emergency plan, emergency plan implementing procedures, emergency operating procedures, or severe accident guidelines (CFR: 41.10 / 45.13) | 4 | G2.4 | G2.4