## Sheet1
Question Number | Topic Title | Topic Importance | K/A Category | System
1 | (062AA1.04) Ability to operate and/or monitor the following as they apply to (APE 62) LOSS OF SERVICE WATER (CFR: 41.7 / 45.5 / 45.6): CRDM high-temperature alarm system | 3.1 | A1 | 395018
2 | (056AK2.11) Knowledge of the relationship between (APE 56) Loss of Offsite Power and the following systems or components (CFR: 41.7 / 45.7): AFW | 4.4 | K2 | 395015
3 | (077AK3.01) Knowledge of the reasons for the following responses and/or actions as they apply to (APE 77) GENERATOR VOLTAGE AND ELECTRIC Grid Disturbances (CFR: 41.4 / 41.5 / 41.7 / 41.10 / 45.8): Reactor and turbine trip criteria | 3.9 | K3 | 395020
4 | (055EK1.04) Knowledge of the operational implications and/or cause and effect relationships of the following concepts as they apply to (EPE 55) Station Blackout (CFR: 41.8 / 41.10 / 45.3): ESFAS actuation and subsequent restoration after power is restored | 4 | K1 | 395014
5 | (025AA2.09) Ability to determine and/or interpret the following as they apply to (APE 25) LOSS OF RESIDUAL Heat Removal System (CFR: 43.5 / 45.13): Lights and alarms | 3 | A2 | 395007
6 | (395005) 000015 (APE 15) Reactor Coolant Pump Malfunctions (G2.1.18) CONDUCT OF OPERATIONS: Ability to make accurate, clear, and concise logs, records, status boards, and reports (CFR: 41.10 / 45.12 / 45.13) | 3.6 | G | 395005
7 | (WE12EA1.18) Ability to operate and/or monitor the following as they apply to (W E12) UNCONTROLLED DEPRESSURIZATION OF ALL STEAM GENERATORS (CFR: 41.5 to 41.8 / 45.5 to 45.8): CCWS | 3 | A1 | 395012
8 | (BE04EK2.07) Knowledge of the relationship between (BW E04) INADEQUATE HEAT TRANSFER and the following systems or components (CFR: 41.8 / 41.10 / 45.3): MFW system | 3.6 | K2 | 395023
9 | (026AK3.01) Knowledge of the reasons for the following responses and/or actions as they apply to (APE 26) LOSS OF Component Cooling Water (CFR: 41.5 / 41.10 / 45.6 / 45.13): The conditions that will initiate the automatic opening and closing of the SWS isolation valves to the CCWS coolers | 3.3 | K3 | 395008
10 | (009EK1.01) Knowledge of the operational implications and/or cause and effect relationships of the following concepts as they apply to (EPE 9) SMALL-Break LOCA (CFR: 41.8 / 41.10 / 45.3): Natural circulation and cooling, including reflux boiling | 3.8 | K1 | 395003
11 | (038EA2.21) Ability to determine and/or interpret the following as they apply to (EPE 38) STEAM GENERATOR Tube Rupture (CFR: 43.5 / 45.13): PZR level | 3.8 | A2 | 395011
12 | (395013) 000054 (APE 54; CE E06) Loss of Main Feedwater (G2.4.20) EMERGENCY PROCEDURES/PLAN: Knowledge of the operational implications of emergency and abnormal operating procedures warnings, cautions, and notes (CFR: 41.10 / 43.5 / 45.13) | 3.8 | G | 395013
13 | (022AA1.01) Ability to operate and/or monitor the following as they apply to (APE 22) LOSS OF REACTOR Coolant Makeup (CFR: 41.7 / 45.5 / 45.6): CVCS | 3.8 | A1 | 395006
14 | (057AK2.09) Knowledge of the relationship between (APE 57) LOSS OF VITAL AC ELECTRICALINSTRUMENT BUS and the following systems or components (CFR: 41.7 / 45.7): RPS | 4.4 | K2 | 395016
15 | (WE04EK3.05) Knowledge of the reasons for the following responses and/or actions as they apply to (W E04) LOCA Outside Containment (CFR: 41.5 / 41.10 / 45.6 / 45.13): Verifying proper valve alignment | 3.8 | K3 | 395021
16 | (WE11EK1.08) Knowledge of the operational implications and/or cause and effect relationships of the following concepts as they apply to (W E11) LOSS OF EMERGENCY Coolant Recirculation (CFR: 41.5 / 41.7 / 45.7 / 45.8): RTD bypass manifold temperature inaccuracy on natural circulation | 3.2 | K1 | 395022
17 | (029EA2.11) Ability to determine and/or interpret the following as they apply to (EPE 29) ANTICIPATED TRANSIENT WITHOUT SCRAM (ATWS) (CFR: 43.5 / 45.13): Whether rapid/emergency boration is occurring | 4.1 | A2 | 395010
18 | (395001) 000007 (EPE 7; BW E02 & E10; CE E02) Reactor Trip, Stabilization, Recovery (G2.1.15) CONDUCT OF OPERATIONS: Knowledge of administrative requirements for temporary management direction, such as standing orders, night orders, or operations memoranda (CFR: 41.10 / 45.12) | 2.7 | G | 395001
19 | (067AA1.08) Ability to operate and/or monitor the following as they apply to (APE 67) PLANT Fire On Site (CFR: 41.7 / 45.5 / 45.6): Fire‑fighting equipment used on each class of fire | 2.8 | A1 | 395037
20 | (060AK2.05) Knowledge of the relationship between (APE 60) ACCIDENTAL GASEOUS Radwaste Release and the following systems or components (CFR: 41.7 / 45.7): PRMS | 3.4 | K2 | 395035
21 | (037AK3.10) Knowledge of the reasons for the following responses and/or actions as they apply to (APE 37) STEAM Generator Tube Leak (CFR: 41.5 / 41.7 / 41.10 / 45.6 / 45.13): Automatic actions associated with high radioactivity in S/G sample lines | 3.5 | K3 | 395032
22 | (WE08EK1.06) Knowledge of the operational implications and/or cause and effect relationships of the following concepts as they apply to (W E08) Pressurized Thermal Shock (CFR: 41.5 / 41.7 / 45.7 / 45.8): Minimizing reactor vessel stress | 4.1 | K1 | 395056
23 | (WE06EA2.06) Ability to determine and/or interpret the following as they apply to (W E06) DEGRADED CORE COOLING (CFR: 41.10 / 43.5 / 45.13): RCP No. 1 seal D/P | 3.2 | A2 | 395040
24 | (395026) 000005 (APE 5) Inoperable/Stuck Control Rod (G2.4.42) EMERGENCY PROCEDURES/PLAN: Knowledge of emergency response facilities (CFR: 41.10 / 45.11) | 2.6 | G | 395026
25 | (WE13EA1.04) Ability to operate and/or monitor the following as they apply to (W E13) STEAM Generator Overpressure (CFR: 41.5 to 41.8 / 45.5. to 45.8): SDS | 3.7 | A1 | 395044
26 | (076AK2.09) Knowledge of the relationship between (APE 76) HIGH REACTOR COOLANT ACTIVITY and the following systems or components (CFR: 41.7 / 45.7): RHR | 3.2 | K2 | 395041
27 | (008K4.09) Knowledge of (SF8 CCW) COMPONENT COOLING WATER SYSTEM design features and/or interlocks that provide for the following (CFR: 41.7): The “standby” feature for the CCW pumps | 3.5 | K4 | 400008
28 | (062K6.12) Knowledge of the effect of the following plant conditions, system malfunctions, or component malfunctions on the (SF6 ED AC) AC ELECTRICAL DISTRIBUTION SYSTEM (CFR: 41.7 / 45.7): Non‑Class 1E DC distribution system | 2.9 | K6 | 400062
29 | (078A3.05) Ability to monitor automatic features of the (SF8 IAS) INSTRUMENT AIR SYSTEM, including (CFR: 41.7 / 45.5): Isolation of instrument air to containment | 3.3 | A3 | 400078
30 | (005K3.05) Knowledge of the effect that a loss or malfunction of the (SF4P RHR) RESIDUAL HEAT REMOVAL SYSTEM will have on the following systems or system parameters (CFR: 41.7 / 45.6): ECCS | 4.3 | K3 | 400005
31 | (073A2.01) Ability to (a) predict the impacts of the following on the (SF7 PRM) PROCESS RADIATION MONITORING SYSTEM and (b) based on those predictions, use procedures to correct, control, or mitigate the consequences of those abnormal operations (CFR: 41.5 / 43.5 / 45.3 / 45.13 / 8-9): PRM component failures | 3.9 | K2 | 400073
32 | (006A1.15) Ability to predict and/or monitor changes in parameters associated with operation of the (SF2; SF3 ECCS) EMERGENCY CORE COOLING SYSTEM, including (CFR: 41.5 / 45.3 to 45.5): RWST level and temperature | 3.6 | A1 | 400006
33 | (039A4.03) Ability to manually operate and/or monitor the (SF4S MSS) MAIN AND REHEAT STEAM SYSTEM in the control room (CFR: 41.7 / 45.5 to 45.8): MFW pump turbines | 3.4 | A4 | 400039
34 | (400007) 007 (SF5 PRTS) PRESSURIZER RELIEF/QUENCH TANK SYSTEM (G2.1.45) CONDUCT OF OPERATIONS: Ability to identify and interpret diverse indications to validate the response of another indication. (CFR: 41.7 / 43.5 / 45.4) | 4.3 | G | 400007
35 | (064K5.12) Knowledge of the operational implications or cause and effect relationships of the following concepts as they apply to the (SF6 EDG) EMERGENCY DIESEL GENERATOR SYSTEM (CFR: 41.5 / 45.7): Consequences of the premature opening of a breaker under load | 3.3 | K5 | 400064
36 | (004A2.31) Ability to (a) predict the impacts of the following on the (SF1; SF2 CVCS) CHEMICAL AND VOLUME CONTROL SYSTEM and (b) based on those predictions, use procedures to correct, control, or mitigate the consequences of those abnormal operations (CFR: 41.5 to 41.7 / 43.5 / 45.3 / 45.5): Potential for RCS chemical contamination when placing CVCS demineralizer in service | 2.7 | A2 | 400004
37 | (076K1.05) Knowledge of the physical connections and/or cause and effect relationships between the (SF4S SW) SERVICE WATER SYSTEM and the following systems (CFR: 41.4 to 41.8 / 45.7 / 45.8): EDG | 4.1 | K1 | 400076
38 | (063K4.05) Knowledge of (SF6 ED DC) DC ELECTRICAL DISTRIBUTION SYSTEM design features and/or interlocks that provide for the following (CFR: 41.7): Ground detection | 2.6 | K4 | 400063
39 | (003K6.07) Knowledge of the effect of the following plant conditions, system malfunctions, or component malfunctions on the (SF4P RCP) REACTOR COOLANT PUMP SYSTEM (CFR: 41.7 / 45.5): Thrust and radial bearing | 3 | K6 | 400003
40 | (012A3.06) Ability to monitor automatic features of the (SF7 RPS) REACTOR PROTECTION SYSTEM, including (CFR: 41.6 / 41.7 / 45.5): Trip logic | 4.1 | A3 | 400012
41 | (061K3.01) Knowledge of the effect that a loss or malfunction of the (SF4S AFW) AUXILIARY/EMERGENCY FEEDWATER SYSTEM will have on the following systems or system parameters (CFR: 41.5 / 41.7 / 45.6): RCS | 4.3 | K3 | 400061
42 | (026K2.02) Knowledge of electrical power supplies to the following (CFR: 41.7): (SF5 CSS) CONTAINMENT SPRAY SYSTEM Motor-operated valves | 3.6 | K2 | 400026
43 | (059A1.14) Ability to predict and/or monitor changes in parameters associated with operation of the (SF4S MFW) MAIN FEEDWATER SYSTEM, including (CFR: 41.5 / 45.5): Feedwater discharge header pressure | 3.1 | A1 | 400059
44 | (013A4.11) Ability to manually operate and/or monitor the (SF2 ESFAS) ENGINEERED SAFETY FEATURES ACTUATION SYSTEM in the control room (CFR: 41.6 / 41.7 / 45.5 to 45.8): Recirculation actuation/signal reset | 4.2 | A4 | 400013
45 | (400103) 103 (SF5 CNT) CONTAINMENT SYSTEM (191001K1.07) VALVES (CFR: 41.3): Principles of operation and purpose of check valves | 2.8 | C | 400103
46 | (022K5.01) Knowledge of the operational implications or cause and effect relationships of the following concepts as they apply to the (SF5 CCS) CONTAINMENT COOLING SYSTEM (CFR: 41.5 / 45.7): Postaccident pressure reduction | 2.8 | K5 | 400022
47 | (010A2.06) Ability to (a) predict the impacts of the following on the (SF3 PZR PCS) PRESSURIZER PRESSURE CONTROL SYSTEM and (b) based on those predictions, use procedures to correct, control, or mitigate the consequences of those abnormal operations (CFR: 41.5 / 43.5 / 45.3 / 45.13): Failure of PZR LCS | 3.5 | A2 | 400010
48 | (008K1.06) Knowledge of the physical connections and/or cause and effect relationships between the (SF8 CCW) COMPONENT COOLING WATER SYSTEM and the following systems (CFR: 41.2 (BW) / 41.3 to 41.9 / 45.7 to 45.9): EDGs | 3.8 | K1 | 400008
49 | (062K4.10) Knowledge of (SF6 ED AC) AC ELECTRICAL DISTRIBUTION SYSTEM design features and/or interlocks that provide for the following (CFR: 41.7): Redundant power sources to vital buses (including vital instrument buses) | 3.8 | K4 | 400062
50 | (078K6.05) Knowledge of the effect of the following plant conditions, system malfunctions, or component malfunctions on the (SF8 IAS) INSTRUMENT AIR SYSTEM (CFR: 41.7 / 45.7): Air dryers | 3.2 | K6 | 400078
51 | (005A3.01) Ability to monitor automatic features of the (SF4P RHR) RESIDUAL HEAT REMOVAL SYSTEM, including (CFR: 41.7 / 45.5): Automatic RHR suction swap-over | 4.1 | A3 | 400005
52 | (073K3.03) Knowledge of the effect that a loss or malfunction of the (SF7 PRM) PROCESS RADIATION MONITORING SYSTEM will have on the following systems or system parameters (CFR: 41.7 / 41.8 / 45.6 / 45.8 / 45.9): WGS | 3.3 | K3 | 400073
53 | (006K2.01) Knowledge of electrical power supplies to the following: (SF2; SF3 ECCS) EMERGENCY CORE COOLING SYSTEM (CFR: 41.7) ECCS pumps | 4.1 | K2 | 400006
54 | (039A1.07) Ability to predict and/or monitor changes in parameters associated with operation of the (SF4S MSS) MAIN AND REHEAT STEAM SYSTEM, including (CFR: 41.5 / 45.5): Main steam temperature | 3 | A1 | 400039
55 | (011K4.03) Knowledge of (SF2 PZR LCS) PRESSURIZER LEVEL CONTROL SYSTEM design features and/or interlocks that provide for the following (CFR: 41.7): Density compensation of PZR level | 3.1 | K4 | 400011
56 | (050K6.01) Knowledge of the effect of the following plant conditions, system malfunctions, or component malfunctions on the (SF9 CRV) CONTROL ROOM VENTILATION (CFR: 41.7 / 45.7): AC electrical distribution | 3.4 | K6 | 400050
57 | (015A3.10) Ability to monitor automatic features of the (SF7 NI) NUCLEAR INSTRUMENTATION SYSTEM, including (CFR: 41.7 / 45.5): Source range detector power shutoff at high powers | 3.2 | A3 | 400015
58 | (001K3.06) Knowledge of the effect that a loss or malfunction of the (SF1 CRDS) CONTROL ROD DRIVE SYSTEM will have on the following systems or system parameters (CFR: 41.6): RPIS | 3.7 | K3 | 400001
59 | (017K5.01) Knowledge of the operational implications or cause and effect relationships of the following concepts as they apply to the (SF7 ITM) IN CORE TEMPERATURE MONITOR SYSTEM (CFR: 41.5 / 45.7): Temperature at which cladding and fuel melt | 3.8 | K2 | 400017
60 | (014A1.06) Ability to predict and/or monitor changes in parameters associated with operation of the (SF1 RPI) ROD POSITION INDICATION SYSTEM, including (CFR: 41.5 to 41.7 / 45.5): Group demand position indication | 3.4 | A1 | 400014
61 | (035A4.12) Ability to manually operate and/or monitor the (SF4P SG) STEAM GENERATOR SYSTEM in the control room (CFR: 41.7 / 45.5 to 45.8): Steam flow | 3.4 | A4 | 400035
62 | (400055) 055 (SF4S CARS) CONDENSER AIR REMOVAL SYSTEM (G2.4.23) EMERGENCY PROCEDURES/PLAN: Knowledge of the bases for prioritizing emergency operating procedures implementation (CFR: 41.10 / 43.5 / 45.13) | 3.4 | G | 400055
63 | (029K5.03) Knowledge of the operational implications or cause and effect relationships of the following concepts as they apply to the (SF8 CPS) CONTAINMENT PURGE SYSTEM (CFR: 41.5 / 45.8): Containment entry | 2.9 | K5 | 400029
64 | (G2.1.39) CONDUCT OF OPERATIONS: Knowledge of conservative decision-making practices (CFR: 41.10 / 43.5 / 45.12) | 3.6 | G2.1 | G2.1
65 | (G2.1.25) CONDUCT OF OPERATIONS: Ability to interpret reference materials, such as graphs, curves, and tables (reference potential) (CFR: 41.10 / 43.5 / 45.12) | 3.9 | G2.1 | G2.1
66 | (G2.2.13) EQUIPMENT CONTROL: Knowledge of tagging and clearance procedures (CFR: 41.10 / 43.1 / 45.13) | 4.1 | G2.2 | G2.2
67 | (G2.2.20) EQUIPMENT CONTROL: Knowledge of the process for managing troubleshooting activities (CFR: 41.10 / 43.5 / 45.13) | 2.6 | G2.2 | G2.2
68 | (G2.3.11) RADIATION CONTROL: Ability to control radiation releases (CFR: 41.11 / 43.4 / 45.10) | 3.8 | G2.3 | G2.3
69 | (G2.4.3) EMERGENCY PROCEDURES/PLAN: Ability to identify post-accident instrumentation (CFR: 41.6 / 45.4) | 3.7 | G2.4 | G2.4
70 | (192001K1.02) NEUTRONS (CFR: 41.1): Define prompt and delayed neutrons | 2.5 | R | 192001
71 | (192006K1.14) FISSION PRODUCT POISONS (CFR: 41.1): Explain the methods and reasons for the reactor operator to compensate for the time-dependent behavior of xenon‑135 concentration in the reactor | 3.3 | R | 192006
72 | (192003K1.08) REACTOR KINETICS AND NEUTRON SOURCES (CFR: 41.1): Explain the prompt critical, prompt jump, and prompt drop | 2.9 | R | 192003
73 | (193006K1.11) FLUID STATICS AND DYNAMICS (CFR: 41.14): Define or explain the following term or concept: -- water hammer | 3.4 | T | 193006
74 | (193007K1.08) HEAT TRANSFER (CFR: 41.14): (CORE THERMAL POWER) Calculate core thermal power using a simplified heat balance | 3.4 | T | 193007
75 | (193001K1.01) THERMODYNAMIC UNITS AND PROPERTIES (CFR: 41.14): Convert between absolute and gauge pressure and vacuum scales | 2.7 | T | 193001
76 | (065AA2.04) Ability to determine and/or interpret the following as they apply to (APE 65) LOSS OF Instrument Air (CFR: 41.10 / 43.5 / 45.13): Typical conditions that could cause a compressor trip (e.g., high temperature) | 2.9 | A2 | 395019
77 | (395017) 000058 (APE 58) Loss of DC Power (G2.1.32) CONDUCT OF OPERATIONS: Ability to explain and apply system precautions, limitations, notes, or cautions (CFR: 41.10 / 43.2 / 45.12) | 4 | G | 395017
78 | (008AA2.32) Ability to determine and/or interpret the following as they apply to (APE 8) PRESSURIZER VAPOR Space Accident (CFR: 43.5 / 45.13): PRT/quench tank level, pressure, and temperature | 3.5 | A2 | 395002
79 | (395009) 000027 (APE 27) Pressurizer Pressure Control System Malfunction (G2.1.1) CONDUCT OF OPERATIONS: Knowledge of conduct of operations requirements (CFR: 41.10 / 43.10 / 45.13) | 4.2 | G | 395009
80 | (011EA2.10) Ability to determine and/or interpret the following as they apply to (EPE 11) LARGE-Break LOCA (CFR: 43.5 / 45.13): Adequate core cooling | 4.2 | A2 | 395004
81 | (395018) 000062 (APE 62) Loss of Nuclear Service Water (G2.1.6) CONDUCT OF OPERATIONS: Ability to manage the control room crew during plant transients (SRO Only) (CFR: 43.5 / 45.12 / 45.13) | 4.8 | G | 395018
82 | (WE15EA2.04) Ability to determine and/or interpret the following as they apply to (W E15) Containment Flooding (CFR: 41.10 / 43.5 / 45.13): Tank levels and/or system flow indications for systems that supply components inside containment | 3.4 | A2 | 395045
83 | (395024) 000001 (APE 1) Continuous Rod Withdrawal (G2.2.1) EQUIPMENT CONTROL: Ability to perform pre-startup procedures for the facility, including operating those controls associated with plant equipment that could affect reactivity (CFR: 41.5 / 41.10 / 43.5 / 43.6 / 45.1) | 4.4 | G | 395024
84 | (033AA2.14) Ability to determine and/or interpret the following as they apply to (APE 33) LOSS OF INTERMEDIATE RANGE Nuclear Instrumentation (CFR: 43.5 / 45.13): Intermediate range level | 3.2 | A2 | 395030
85 | (395027) 000024 (APE 24) Emergency Boration (G2.4.45) EMERGENCY PROCEDURES/PLAN: Ability to prioritize and interpret the significance of each annunciator or alarm (CFR: 41.10 / 43.5 / 45.3 / 45.12) | 4.3 | G | 395027
86 | (007A2.03) Ability to (a) predict the impacts of the following on the (SF5 PRTS) PRESSURIZER RELIEF/QUENCH TANK SYSTEM and (b) based on those predictions, use procedures to correct, control, or mitigate the consequences of those abnormal operations (CFR: 41.5 / 43.5 / 45.3 / 45.13): Overpressurization of the PZR | 3.4 | A2 | 400007
87 | (400064) 064 (SF6 EDG) EMERGENCY DIESEL GENERATOR SYSTEM (G2.1.46) CONDUCT OF OPERATIONS: Ability to use integrated control systems to operate plant systems or components (CFR: 41.10 / 45.12 / 45.13) | 3.3 | G | 400064
88 | (004A2.10) Ability to (a) predict the impacts of the following on the (SF1; SF2 CVCS) CHEMICAL AND VOLUME CONTROL SYSTEM and (b) based on those predictions, use procedures to correct, control, or mitigate the consequences of those abnormal operations (CFR: 41.5 to 41.7 / 43.5 / 45.3 / 45.5): Inadvertent boration/dilution | 4 | A2 | 400004
89 | (400076) 076 (SF4S SW) SERVICE WATER SYSTEM (G2.2.44) EQUIPMENT CONTROL: Ability to interpret control room indications to verify the status and operation of a system and understand how operator actions and directives affect plant and system conditions (CFR: 41.5 / 43.5 / 45.12) | 4.4 | G | 400076
90 | (063A2.02) Ability to (a) predict the impacts of the following on the (SF6 ED DC) DC ELECTRICAL DISTRIBUTION SYSTEM and (b) based on those predictions, use procedures to correct, control, or mitigate the consequences of those abnormal operations (CFR: 41.5 / 43.5 / 45.3 / 45.13): Loss of ventilation during battery charging | 2.8 | A2 | 400063
91 | (400086) 086 (SF8 FPS) FIRE PROTECTION SYSTEM (G2.2.25) EQUIPMENT CONTROL: Knowledge of the bases in TS for limiting conditions for operation and safety limits (SRO Only) (CFR: 43.2) | 4.2 | G | 400086
92 | (041A2.02) Ability to (a) predict the impacts of the following on the (SF4S SDS) STEAM DUMP/TURBINE BYPASS CONTROL SYSTEM and (b) based on those predictions, use procedures to correct, control, or mitigate the consequences of those abnormal operations (CFR: 41.5 / 43.5 / 45.3 / 45.13): Steam valve stuck open | 3.8 | A2 | 400041
93 | (400033) 033 (SF8 SFPCS) SPENT FUEL POOL COOLING SYSTEM (G2.4.41) EMERGENCY PROCEDURES/PLAN: Knowledge of the emergency action level thresholds and classifications (SRO Only) (CFR: 43.5 / 45.11) | 4.6 | G | 400033
94 | (G2.1.41) CONDUCT OF OPERATIONS: Knowledge of the refueling process (CFR: 41.2 / 41.10 / 43.6 / 45.13) | 3.7 | G2.1 | G2.1
95 | (G2.1.28) CONDUCT OF OPERATIONS: Knowledge of the purpose and function of major system components and controls (CFR: 41.7) | 4.1 | G2.1 | G2.1
96 | (G2.2.45) EQUIPMENT CONTROL: Ability to determine and/or interpret TS with action statements of greater than 1 hour (SRO Only) (CFR: 43.2 / 43.5 / 45.3) | 4.7 | G2.2 | G2.2
97 | (G2.2.17) EQUIPMENT CONTROL: Knowledge of the process for managing maintenance activities during power operations, such as risk assessments, work prioritization, and coordination with the transmission system operator (CFR: 41.10 / 43.5 / 45.13) | 3.8 | G2.2 | G2.2
98 | (G2.3.5) RADIATION CONTROL: Ability to use RMSs, such as fixed radiation monitors and alarms or personnel monitoring equipment (CFR: 41.11 / 41.12 / 43.4 / 45.9) | 2.9 | G2.3 | G2.3
99 | (G2.4.38) EMERGENCY PROCEDURES/PLAN: Ability to take actions required by the facility emergency plan implementing procedures, including supporting or acting as emergency coordinator (CFR: 41.10 / 43.5 / 45.11) | 4.4 | G2.4 | G2.4
100 | (G2.4.12) EMERGENCY PROCEDURES/PLAN: Knowledge of operating crew responsibilities during emergency and abnormal operations (CFR: 41.10 / 45.12) | 4.3 | G2.4 | G2.4