## Sheet1
Question Number | Topic Title | Topic Importance | K/A Category | System
1 | (055EA2.01) Ability to determine and/or interpret the following as they apply to (EPE 55) Station Blackout (CFR: 43.5 / 45.13): Existing valve positioning | 3.5 | A2 | 395014
2 | (395015) 000056 (APE 56) Loss of Offsite Power (G2.2.3) EQUIPMENT CONTROL: (Multi-unit license) Knowledge of the design, procedural, and/or operational differences between units (CFR: 41.5 / 41.6 / 41.7 / 41.10 / 45.12) | 3.8 | G | 395015
3 | (025AK1.07) Knowledge of the operational implications and/or cause and effect relationships of the following concepts as they apply to (APE 25) LOSS OF RESIDUAL Heat Removal System (CFR: 41.8 / 41.10 / 45.3): RHR pump flow versus level | 3.7 | K1 | 395007
4 | (029EA1.22) Ability to operate and/or monitor the following as they apply to (EPE 29) ANTICIPATED TRANSIENT WITHOUT SCRAM (ATWS) (CFR: 41.7 / 45.5 / 45.6): RPS | 4.1 | A1 | 395010
5 | (WE05EK2.25) Knowledge of the relationship between (W E05) Loss of Secondary Heat Sink and the following systems or components (CFR: 41.7 / 41.8 / 45.2 / 45.4): FPS | 2.6 | K2 | 395023
6 | (062AK3.02) Knowledge of the reasons for the following responses and/or actions as they apply to (APE 62) LOSS OF SERVICE WATER (CFR: 41.4 / 41.8 / 45.7): The automatic actions (alignments) within the service water resulting from the actuation of the ESFAS | 3.9 | K3 | 395018
7 | (058AA2.02) Ability to determine and/or interpret the following as they apply to (APE 58) LOSS OF DC Power (CFR: 43.5 / 45.13): 125‑V DC bus voltage | 3.6 | A2 | 395017
8 | (395012) 000040 (APE 40; BW E05; CE E05; W E12) Steam Line Rupture – Excessive Heat Transfer (G2.1.27) CONDUCT OF OPERATIONS: Knowledge of system purpose and/or function (CFR: 41.7) | 3.9 | G | 395012
9 | (WE11EK1.07) Knowledge of the operational implications and/or cause and effect relationships of the following concepts as they apply to (W E11) LOSS OF EMERGENCY Coolant Recirculation (CFR: 41.5 / 41.7 / 45.7 / 45.8): Upper head voiding during RCS depressurization | 3.7 | K1 | 395022
10 | (057AA1.02) Ability to operate and/or monitor the following as they apply to (APE 57) LOSS OF VITAL AC ELECTRICALINSTRUMENT BUS (CFR: 41.7 / 45.5 / 45.6): Manual control of PZR level | 3.8 | A1 | 395016
11 | (011EK2.16) Knowledge of the relationship between (EPE 11) LARGE-Break LOCA and the following systems or components (CFR: 41.7 / 45.7): Plant computer and/or SPDS | 3.6 | K2 | 395004
12 | (027AK3.05) Knowledge of the reasons for the following responses and/or actions as they apply to (APE 27) PRESSURIZER PRESSURE Control System Malfunction (CFR: 41.5 / 41.10 / 45.6 / 45.13): Actions to be taken if the PZR pressure instrument fails high | 4 | K3 | 395009
13 | (009EA2.16) Ability to determine and/or interpret the following as they apply to (EPE 9) SMALL-Break LOCA (CFR: 43.5 / 45.13): CCWS | 3.2 | A2 | 395003
14 | (395002) 000008 (APE 8) Pressurizer Vapor Space Accident (G2.2.13) EQUIPMENT CONTROL: Knowledge of tagging and clearance procedures (CFR: 41.10 / 43.1 / 45.13) | 4.1 | G | 395002
15 | (015AK1.01) Knowledge of the operational implications and/or cause and effect relationships of the following concepts as they apply to (APE 15) REACTOR COOLANT Pump Malfunctions (CFR: 41.8 / 41.10 / 45.3): Natural circulation | 3.9 | K1 | 395005
16 | (065AA1.01) Ability to operate and/or monitor the following as they apply to (APE 65) LOSS OF Instrument Air (CFR: 41.7 / 45.5 / 45.6): Remote manual loaders | 2.9 | A1 | 395019
17 | (026AK2.01) Knowledge of the relationship between (APE 26) LOSS OF Component Cooling Water and the following systems or components (CFR: 41.8 / 41.10 / 45.3): CVCS | 3.6 | K2 | 395008
18 | (BE02EK3.23) Knowledge of the reasons for the following responses and/or actions as they apply to (BW E02) VITAL SYSTEM STATUS VERIFICATION (CFR: 41.5 / 41.10 / 45.6 / 45.13): Check for need to transition to the applicable EOP | 4.3 | K3 | 395001
19 | (076AA2.03) Ability to determine and/or interpret the following as they apply to (APE 76) HIGH REACTOR COOLANT ACTIVITY (CFR: 43.5 / 45.13): High area radiation levels | 3 | A2 | 395041
20 | (395033) 000051 (APE 51) Loss of Condenser Vacuum (G2.1.37) CONDUCT OF OPERATIONS: Knowledge of procedures, guidelines, or limitations associated with reactivity management (CFR: 41.1 / 41.5 / 41.10 / 43.6 / 45.6) | 4.3 | G | 395033
21 | (074EK1.12) Knowledge of the operational implications and/or cause and effect relationships of the following concepts as they apply to (EPE 74) Inadequate Core Cooling (CFR: 41.8 / 41.10 / 45.3): Adequate ECCS flow | 4.3 | K1 | 395040
22 | (037AA1.04) Ability to operate and/or monitor the following as they apply to (APE 37) STEAM Generator Tube Leak (CFR: 41.7 / 41.10 / 45.5 / 45.6): Condensate air ejector exhaust radiation monitor | 3.6 | A1 | 395032
23 | (067AK2.10) Knowledge of the relationship between (APE 67) PLANT Fire On Site and the following systems or components (CFR: 41.7 / 45.7): PVS | 3.2 | K2 | 395037
24 | (BA06AK3.22) Knowledge of the reasons for the following responses and/or actions as they apply to (BW A06) SHUTDOWN OUTSIDE CONTROL ROOM (CFR: 41.5 / 41.10 / 45.6 / 45.13): Align feedwater heating | 2.6 | K3 | 395038
25 | (078AA2.01) Ability to determine and/or interpret the following as they apply to (APE 78) REACTOR COOLANT SYSTEM LEAK (CFR: 43.5 / 45.13): Possible leak paths | 4 | A2 | 395042
26 | (395027) 000024 (APE 24) Emergency Boration (G2.1.43) CONDUCT OF OPERATIONS: Ability to use an online power distribution monitoring system and/or procedures to determine the effects on reactivity of plant changes, such as RCS temperature, secondary plant, or fuel depletion | 4.1 | G | 395027
27 | (006K4.28) Knowledge of (SF2; SF3 ECCS) EMERGENCY CORE COOLING SYSTEM design features and/or interlocks that provide for the following (CFR: 41.7 / 41.8): Decay heat removal | 3.7 | K4 | 400006
28 | (076K1.10) Knowledge of the physical connections and/or cause and effect relationships between the (SF4S SW) SERVICE WATER SYSTEM and the following systems (CFR: 41.4 to 41.8 / 45.7 / 45.8): Turbine building CCW | 2.6 | K1 | 400076
29 | (400004) 004 (SF1; SF2 CVCS) CHEMICAL AND VOLUME CONTROL SYSTEM (G2.1.47) CONDUCT OF OPERATIONS: Ability to direct nonlicensed personnel activities inside the control room (CFR: 41.10 / 43.5 / 45.5 / 45.12 / 45.13) | 3.2 | G | 400004
30 | (022A3.02) Ability to monitor automatic features of the (SF5 CCS) CONTAINMENT COOLING SYSTEM, including (CFR: 41.7 / 45.5): Containment coolers cooling water flow | 3.6 | A3 | 400022
31 | (063A4.02) Ability to manually operate and/or monitor the (SF6 ED DC) DC ELECTRICAL DISTRIBUTION SYSTEM in the control room (CFR: 41.7 / 45.5 to 45.8): Load shedding | 3.6 | A4 | 400063
32 | (005K6.07) Knowledge of the effect of the following plant conditions, system malfunctions, or component malfunctions on the (SF4P RHR) RESIDUAL HEAT REMOVAL SYSTEM (CFR: 41.7 / 45.7): Temperature, flow, and/or pressure sensors/detectors | 3.4 | K6 | 400005
33 | (103A2.10) Ability to (a) predict the impacts of the following on the (SF5 CNT) CONTAINMENT SYSTEM and (b) based on those predictions, use procedures to correct, control, or mitigate the consequences of those abnormal operations (CFR: 41.5 / 43.5 / 45.3 / 45.13): FHS malfunctions | 2.6 | A2 | 400103
34 | (026K5.03) Knowledge of the operational implications or cause and effect relationships of the following concepts as they apply to the (SF5 CSS) CONTAINMENT SPRAY SYSTEM (CFR: 41.5 / 45.7): Stratification of liquids: concentrated sodium hydroxide solution has a higher specific gravity than weak boric acid solution; therefore, the two solutions must be vigorously mixed to make an effective spray | 2.5 | K5 | 400026
35 | (073K1.08) Knowledge of the physical connections and/or cause and effect relationships between the (SF7 PRM) PROCESS RADIATION MONITORING SYSTEM and the following systems (CFR: 41.7 to 41.9 / 41.11 / 45.8 / 45.9): SWS | 3.1 | K2 | 400073
36 | (010K3.02) Knowledge of the effect that a loss or malfunction of the (SF3 PZR PCS) PRESSURIZER PRESSURE CONTROL SYSTEM will have on the following systems or system parameters (CFR: 41.7 / 45.6): RPS | 4 | K3 | 400010
37 | (078A1.01) Ability to predict and/or monitor changes in parameters associated with operation of the (SF8 IAS) INSTRUMENT AIR SYSTEM, including (CFR: 41.5 / 45.5): Instrument air pressure | 3.5 | A1 | 400078
38 | (039K4.05) Knowledge of (SF4S MSS) MAIN AND REHEAT STEAM SYSTEM design features and/or interlocks that provide for the following (CFR: 41.7): Automatic isolation of steamline | 4 | K4 | 400039
39 | (012K1.07) Knowledge of the physical connections and/or cause and effect relationships between the (SF7 RPS) REACTOR PROTECTION SYSTEM and the following systems (CFR: 41.2 to 41.9 / 45.7 / 45.8): SDS | 3.3 | K1 | 400012
40 | (400008) 008 (SF8 CCW) COMPONENT COOLING WATER SYSTEM (191001K1.04) VALVES (CFR: 41.3): The failed-valve positions for different operators (open, closed, and as-is positions; spring‑loaded valves; hydraulic, pneumatically controlled valves; electric motor-driven valves) | 3.2 | C | 400008
41 | (003A3.06) Ability to monitor automatic features of the (SF4P RCP) REACTOR COOLANT PUMP SYSTEM, including (CFR: 41.7 / 45.7): RCP trip actuation due to ESFAS actuation | 4 | A3 | 400003
42 | (013A4.15) Ability to manually operate and/or monitor the (SF2 ESFAS) ENGINEERED SAFETY FEATURES ACTUATION SYSTEM in the control room (CFR: 41.6 / 41.7 / 45.5 to 45.8): Upper head injection accumulator isolation | 3.7 | A4 | 400013
43 | (059K6.16) Knowledge of the effect of the following plant conditions, system malfunctions, or component malfunctions on the (SF4S MFW) MAIN FEEDWATER SYSTEM (CFR: 41.7 / 45.7): MFW pump suction pressure transmitters | 3.1 | K6 | 400059
44 | (007A2.07) Ability to (a) predict the impacts of the following on the (SF5 PRTS) PRESSURIZER RELIEF/QUENCH TANK SYSTEM and (b) based on those predictions, use procedures to correct, control, or mitigate the consequences of those abnormal operations (CFR: 41.5 / 43.5 / 45.3 / 45.13): Recirculating PRT/quench tank | 2.8 | A2 | 400007
45 | (064K5.09) Knowledge of the operational implications or cause and effect relationships of the following concepts as they apply to the (SF6 EDG) EMERGENCY DIESEL GENERATOR SYSTEM (CFR: 41.5 / 45.7): Consequences of opening auxiliary feeder bus (EDG subsupply) | 3.5 | K5 | 400064
46 | (062K2.01) Knowledge of electrical power supplies to the following: (SF6 ED AC) AC ELECTRICAL DISTRIBUTION SYSTEM (CFR: 41.7) Major bus or motor control center power supplies | 3.8 | K2 | 400062
47 | (061K3.02) Knowledge of the effect that a loss or malfunction of the (SF4S AFW) AUXILIARY/EMERGENCY FEEDWATER SYSTEM will have on the following systems or system parameters (CFR: 41.5 / 41.7 / 45.6): S/G system | 4.3 | K3 | 400061
48 | (006A1.05) Ability to predict and/or monitor changes in parameters associated with operation of the (SF2; SF3 ECCS) EMERGENCY CORE COOLING SYSTEM, including (CFR: 41.5 / 45.3 to 45.5): CCW flow | 3.2 | A1 | 400006
49 | (076K4.07) Knowledge of (SF4S SW) SERVICE WATER SYSTEM design features and/or interlocks that provide for the following (CFR: 41.7): ESFAS | 3.8 | K4 | 400076
50 | (004K1.24) Knowledge of the physical connections and/or cause and effect relationships between the (SF1; SF2 CVCS) CHEMICAL AND VOLUME CONTROL SYSTEM and the following systems (CFR: 41.3 / 41.5 to 41.8 / 41.10): RHRS | 3.4 | K1 | 400004
51 | (400022) 022 (SF5 CCS) CONTAINMENT COOLING SYSTEM (G2.4.43) EMERGENCY PROCEDURES/PLAN: Knowledge of emergency communications systems and techniques (CFR: 41.10 / 43.5 / 45.13) | 3.2 | G | 400022
52 | (063A3.02) Ability to monitor automatic features of the (SF6 ED DC) DC ELECTRICAL DISTRIBUTION SYSTEM, including (CFR: 41.7 / 45.5): Battery charger undervoltage stripping | 3.1 | A3 | 400063
53 | (005A4.06) Ability to manually operate and/or monitor the (SF4P RHR) RESIDUAL HEAT REMOVAL SYSTEM in the control room (CFR: 41.7 / 45.5 to 45.8): RCS and containment isolation valves | 3.8 | A4 | 400005
54 | (103K6.12) Knowledge of the effect of the following plant conditions, system malfunctions, or component malfunctions on the (SF5 CNT) CONTAINMENT SYSTEM (CFR: 41.7 / 45.7): FHS | 2.7 | K6 | 400103
55 | (011K4.08) Knowledge of (SF2 PZR LCS) PRESSURIZER LEVEL CONTROL SYSTEM design features and/or interlocks that provide for the following (CFR: 41.7): Sizing of the PZR for maximum in‑surge/out‑surge in relation to the PZR level program | 2.8 | K4 | 400011
56 | (001K1.01) Knowledge of the physical connections and/or cause and effect relationships between the (SF1 CRDS) CONTROL ROD DRIVE SYSTEM and the following systems (CFR: 41.2 / 41.3 / 41.5 to 41.7 / 45.5 to 45.8): CRDM cooling (CCW or CRDM fans) | 3.3 | K1 | 400001
57 | (400072) 072 (SF7 ARM) AREA RADIATION MONITORING SYSTEM (191008K1.06) BREAKERS, RELAYS, AND DISCONNECTS (CFR: 41.7): Interpreting a one-line diagram of control circuitry | 3.6 | C | 400072
58 | (086A3.03) Ability to monitor automatic features of the (SF8 FPS) FIRE PROTECTION SYSTEM, including (CFR: 41.7 / 45.5): Actuation of fire detectors | 3.2 | A3 | 400086
59 | (045A4.08) Ability to manually operate and/or monitor the (SF4S MTG) MAIN TURBINE GENERATOR SYSTEM in the control room (CFR: 41.7 / 45.5 to 45.8): Valve freedom test | 2.6 | A4 | 400045
60 | (041K6.03) Knowledge of the effect of the following plant conditions, system malfunctions, or component malfunctions on the (SF4S SDS) STEAM DUMP/TURBINE BYPASS CONTROL SYSTEM (CFR: 41.7 / 45.7): Controller and positioners, including ICS (BW), S/G, and CRDS | 3.2 | K6 | 400041
61 | (034A2.07) Ability to (a) predict the impacts of the following on the (SF8 FHS) FUEL HANDLING EQUIPMENT SYSTEM and (b) based on those predictions, use procedures to correct, control, or mitigate the consequences of those abnormal operations (CFR: 41.5 / 43.5 / 43.7 / 45.3 / 45.8 / 45.13): Loss of refueling cavity or spent fuel pool level | 3.7 | A2 | 400034
62 | (035K5.01) Knowledge of the operational implications or cause and effect relationships of the following concepts as they apply to the (SF4P SG) STEAM GENERATOR SYSTEM (CFR: 41.5 / 45.7): Effect of secondary parameters, pressure, and temperature on reactivity | 4.1 | K5 | 400035
63 | (028K1.01) Knowledge of the physical connections and/or cause and effect relationships between the (SF5 HRPS) HYDROGEN RECOMBINER AND PURGE CONTROL SYSTEM and the following systems (CFR: 41.9 / 45.7 / 45.8): Containment annulus ventilation system | 2.6 | K2 | 400028
64 | (G2.1.15) CONDUCT OF OPERATIONS: Knowledge of administrative requirements for temporary management direction, such as standing orders, night orders, or operations memoranda (CFR: 41.10 / 45.12) | 2.7 | G2.1 | G2.1
65 | (G2.1.19) CONDUCT OF OPERATIONS: Ability to use available indications to evaluate system or component status (CFR: 41.10 / 45.12) | 3.9 | G2.1 | G2.1
66 | (G2.2.23) EQUIPMENT CONTROL: Ability to track TS limiting conditions for operation (CFR: 41.10 / 43.2 / 45.13) | 3.1 | G2.2 | G2.2
67 | (G2.2.44) EQUIPMENT CONTROL: Ability to interpret control room indications to verify the status and operation of a system and understand how operator actions and directives affect plant and system conditions (CFR: 41.5 / 43.5 / 45.12) | 4.2 | G2.2 | G2.2
68 | (G2.3.5) RADIATION CONTROL: Ability to use RMSs, such as fixed radiation monitors and alarms or personnel monitoring equipment (CFR: 41.11 / 41.12 / 43.4 / 45.9) | 2.9 | G2.3 | G2.3
69 | (G2.4.21) EMERGENCY PROCEDURES/PLAN: Knowledge of the parameters and logic used to assess the status of emergency operating procedures critical safety functions or shutdown critical safety functions (CFR: 41.7 / 43.5 / 45.12) | 4 | G2.4 | G2.4
70 | (192007K1.04) FUEL DEPLETION AND BURNABLE POISONS (CFR: 41.1): Describe how and why boron concentration changes over core life | 3.4 | R | 192007
71 | (192004K1.17) REACTIVITY COEFFICIENTS (CFR: 41.1): Explain differences between reactivity coefficients and reactivity defects | 2.7 | R | 192004
72 | (192002K1.13) NEUTRON LIFE CYCLE (CFR: 41.1): Calculate SDM using procedures and given plant parameters | 3.7 | R | 192002
73 | (193003K1.24) STEAM (CFR: 41.14): Explain the usefulness of steam tables to the control room operator | 3.1 | T | 193003
74 | (193004K1.11) THERMODYNAMIC PROCESS (CFR: 41.14): (CONDENSERS) Describe the process of condensate depression (subcooling) and its effect on plant operation | 2.5 | T | 193004
75 | (193008K1.01) THERMAL HYDRAULICS (CFR: 41.14): (DEPARTURE FROM NUCLEATE BOILING) Distinguish between boiling processes and other heat transfer mechanisms | 3 | T | 193008
76 | (054AA2.08) Ability to determine and/or interpret the following as they apply to (APE 54) LOSS OF Main Feedwater (CFR: 43.5 / 45.13): Steam flow and/or MFW flow | 3.4 | A2 | 395013
77 | (395020) 000077 (APE 77) Generator Voltage and Electric Grid Disturbances (G2.2.40) EQUIPMENT CONTROL: Ability to apply TS with action statements of less than or equal to 1 hour (CFR: 41.10 / 43.2 / 43.5 / 45.3) | 4.7 | G | 395020
78 | (WE04EA2.03) Ability to determine and/or interpret the following as they apply to (W E04) LOCA Outside Containment (CFR: 41.10 / 43.5 / 45.13): RCS pressure | 3.8 | A2 | 395021
79 | (395006) 000022 (APE 22) Loss of Reactor Coolant Makeup (G2.2.2) EQUIPMENT CONTROL: Ability to manipulate the console controls as required to operate the facility between shutdown and designated power levels (CFR: 41.6 / 41.7 / 45.2) | 4.1 | G | 395006
80 | (038EA2.07) Ability to determine and/or interpret the following as they apply to (EPE 38) STEAM GENERATOR Tube Rupture (CFR: 43.5 / 45.13): Plant conditions from survey of control room indications | 4 | A2 | 395011
81 | (395014) 000055 (EPE 55) Station Blackout (G2.1.41) CONDUCT OF OPERATIONS: Knowledge of the refueling process (CFR: 41.2 / 41.10 / 43.6 / 45.13) | 3.7 | G | 395014
82 | (WE15EA2.03) Ability to determine and/or interpret the following as they apply to (W E15) Containment Flooding (CFR: 41.10 / 43.5 / 45.13): Containment sump water level | 3.7 | A2 | 395045
83 | (395031) 000036 (APE 36; BW/A08) Fuel-Handling Incidents (G2.1.5) CONDUCT OF OPERATIONS: Ability to use procedures related to shift staffing, such as minimum crew complement or overtime limitations (reference potential) (CFR: 41.10 / 43.5 / 45.12) | 3.9 | G | 395031
84 | (001AA2.04) Ability to determine and/or interpret the following as they apply to (APE 1) CONTINUOUS Rod Withdrawal (CFR: 43.5 / 45.13): Reactor power | 4.3 | A2 | 395024
85 | (395043) (W E01 & E02) Rediagnosis & SI Termination (G2.1.36) CONDUCT OF OPERATIONS: Knowledge of procedures and limitations involved in core alterations (CFR: 41.10 / 43.6 / 45.7) | 4.1 | G | 395043
86 | (026A2.03) Ability to (a) predict the impacts of the following on the (SF5 CSS) CONTAINMENT SPRAY SYSTEM and (b) based on those predictions, use procedures to correct, control, or mitigate the consequences of those abnormal operations (CFR: 41.5 / 43.5 / 45.3 / 45.13): Failure of ESF | 4.1 | A2 | 400026
87 | (400073) 073 (SF7 PRM) PROCESS RADIATION MONITORING SYSTEM (G2.1.6) CONDUCT OF OPERATIONS: Ability to manage the control room crew during plant transients (SRO Only) (CFR: 43.5 / 45.12 / 45.13) | 4.8 | G | 400073
88 | (010A2.05) Ability to (a) predict the impacts of the following on the (SF3 PZR PCS) PRESSURIZER PRESSURE CONTROL SYSTEM and (b) based on those predictions, use procedures to correct, control, or mitigate the consequences of those abnormal operations (CFR: 41.5 / 43.5 / 45.3 / 45.13): Loss of RCP loop flow to normal spray valves | 3.4 | A2 | 400010
89 | (400078) 078 (SF8 IAS) INSTRUMENT AIR SYSTEM (G2.1.20) CONDUCT OF OPERATIONS: Ability to interpret and execute procedure steps (CFR: 41.10 / 43.5 / 45.12) | 4.6 | G | 400078
90 | (039A2.04) Ability to (a) predict the impacts of the following on the (SF4S MSS) MAIN AND REHEAT STEAM SYSTEM and (b) based on those predictions, use procedures to correct, control, or mitigate the consequences of those abnormal operations (CFR: 41.5 / 43.5 / 45.3 / 45.13): Malfunctioning steam dump | 3.7 | A2 | 400039
91 | (400075) 075 (SF8 CW) CIRCULATING WATER SYSTEM (G2.1.7) CONDUCT OF OPERATIONS: Ability to evaluate plant performance and make operational judgments based on operating characteristics, reactor behavior, and instrument interpretation (CFR: 41.5 / 43.5 / 45.12 / 45.13) | 4.7 | G | 400075
92 | (068A2.06) Ability to (a) predict the impacts of the following on the (SF9 LRS) LIQUID RADWASTE SYSTEM and (b) based on those predictions, use procedures to correct, control, or mitigate the consequences of those abnormal operations (CFR: 41.5 / 43.5 / 45.3 / 45.8 / 45.9 / 45.13): CCWS malfunction | 2.6 | A2 | 400068
93 | (400029) 029 (SF8 CPS) CONTAINMENT PURGE SYSTEM (G2.4.41) EMERGENCY PROCEDURES/PLAN: Knowledge of the emergency action level thresholds and classifications (SRO Only) (CFR: 43.5 / 45.11) | 4.6 | G | 400029
94 | (G2.1.38) CONDUCT OF OPERATIONS: Knowledge of the station’s requirements for verbal communications when implementing procedures (CFR: 41.10 / 45.13) | 3.8 | G2.1 | G2.1
95 | (G2.1.1) CONDUCT OF OPERATIONS: Knowledge of conduct of operations requirements (CFR: 41.10 / 43.10 / 45.13) | 4.2 | G2.1 | G2.1
96 | (G2.2.18) EQUIPMENT CONTROL: Knowledge of the process for managing maintenance activities during shutdown operations, such as risk assessments and work prioritization (CFR: 41.10 / 43.5 / 45.13) | 3.9 | G2.2 | G2.2
97 | (G2.2.37) EQUIPMENT CONTROL: Ability to determine operability or availability of safety‑related equipment (SRO Only) (CFR: 43.2 / 43.5 / 45.12) | 4.6 | G2.2 | G2.2
98 | (G2.3.14) RADIATION CONTROL: Knowledge of radiation or contamination hazards that may arise during normal, abnormal, or emergency conditions or activities, such as analysis and interpretation of radiation and activity readings as they pertain to administrative, normal, abnormal, and emergency procedures or to analysis and interpretation of coolant activity, including comparison to emergency plan or regulatory limits (SRO Only) (CFR: 43.4 / 45.10) | 3.8 | G2.3 | G2.3
99 | (G2.4.51) EMERGENCY PROCEDURES/PLAN: Knowledge of emergency operating procedure exit conditions (e.g., emergency condition no longer exists or severe accident guideline entry is required) (CFR: 41.10 / 43.5 /45.13) | 4 | G2.4 | G2.4
100 | (G2.4.5) EMERGENCY PROCEDURES/PLAN: Knowledge of the organization of the operating procedures network for normal, abnormal, and emergency evolutions (CFR: 41.10 / 43.5 / 45.13) | 4.3 | G2.4 | G2.4