## Sheet1
Question Number | Topic Title | Topic Importance | K/A Category | System
1 | (027AK1.05) Knowledge of the operational implications and/or cause and effect relationships of the following concepts as they apply to (APE 27) PRESSURIZER PRESSURE Control System Malfunction (CFR: 41.7 / 41.8 / 41.10 / 45.3): TS limits for RCS pressure | 4.1 | K1 | 395009
2 | (BE05EK2.07) Knowledge of the relationship between (BW E05) Excessive Heat Transfer and the following systems or components (CFR: 41.8 / 41.10 / 45.3): MFW system | 3.8 | K2 | 395012
3 | (395017) 000058 (APE 58) Loss of DC Power (G2.1.25) CONDUCT OF OPERATIONS: Ability to interpret reference materials, such as graphs, curves, and tables (reference potential) (CFR: 41.10 / 43.5 / 45.12) | 3.9 | G | 395017
4 | (008AA2.03) Ability to determine and/or interpret the following as they apply to (APE 8) PRESSURIZER VAPOR Space Accident (CFR: 43.5 / 45.13): PZR PORV and/or safety valve position | 3.5 | A2 | 395002
5 | (062AA1.02) Ability to operate and/or monitor the following as they apply to (APE 62) LOSS OF SERVICE WATER (CFR: 41.7 / 45.5 / 45.6): Loads on the SWS in the control room | 3.6 | A1 | 395018
6 | (038EK3.07) Knowledge of the reasons for the following responses and/or actions as they apply to (EPE 38) STEAM GENERATOR Tube Rupture (CFR: 41.5 / 41.10 / 45.6 / 45.13): Operation of RCS loop isolation valves | 2.8 | K3 | 395011
7 | (009EK1.03) Knowledge of the operational implications and/or cause and effect relationships of the following concepts as they apply to (EPE 9) SMALL-Break LOCA (CFR: 41.8 / 41.10 / 45.3): RCS heat removal | 4 | K1 | 395003
8 | (011EK2.07) Knowledge of the relationship between (EPE 11) LARGE-Break LOCA and the following systems or components (CFR: 41.7 / 45.7): RHR | 4.1 | K2 | 395004
9 | (395010) 000029 (EPE 29) Anticipated Transient Without Scram (G2.4.37) EMERGENCY PROCEDURES/PLAN: Knowledge of the lines of authority during implementation of the emergency plan implementing procedures (CFR: 41.10 / 45.13) | 3 | G | 395010
10 | (BE10EA2.07) Ability to determine and/or interpret the following as they apply to (BW E10) POST-TRIP STABILIZATION (CFR: 41.10 / 43.5 / 45.13): SCM | 4 | A2 | 395001
11 | (057AA1.05) Ability to operate and/or monitor the following as they apply to (APE 57) LOSS OF VITAL AC ELECTRICALINSTRUMENT BUS (CFR: 41.7 / 45.5 / 45.6): Backup instrument indications | 3.7 | A1 | 395016
12 | (015AK3.08) Knowledge of the reasons for the following responses and/or actions as they apply to (APE 15) REACTOR COOLANT Pump Malfunctions (CFR: 41.5 / 41.10 / 45.6 / 45.13): Actions contained in AOPs for RCP malfunction | 3.8 | K3 | 395005
13 | (025AK1.04) Knowledge of the operational implications and/or cause and effect relationships of the following concepts as they apply to (APE 25) LOSS OF RESIDUAL Heat Removal System (CFR: 41.8 / 41.10 / 45.3): Loss of inventory while at reduced inventory | 4.3 | K1 | 395007
14 | (065AK2.26) Knowledge of the relationship between (APE 65) LOSS OF Instrument Air and the following systems or components (CFR: 41.7 / 45.7): WGS | 2.7 | K2 | 395019
15 | (395013) 000054 (APE 54; CE E06) Loss of Main Feedwater (G2.2.42) EQUIPMENT CONTROL: Ability to recognize system parameters that are entry-level conditions for TS (CFR: 41.7 / 41.10 / 43.2 / 43.3 / 45.3) | 3.9 | G | 395013
16 | (026AA2.05) Ability to determine and/or interpret the following as they apply to (APE 26) LOSS OF Component Cooling Water (CFR: 41.10 / 43.5 / 45.13): The normal values for CCW-header flow rate and the flow rates to the components cooled by the CCWS | 3 | A2 | 395008
17 | (077AA1.07) Ability to operate and/or monitor the following as they apply to (APE 77) GENERATOR VOLTAGE AND ELECTRIC Grid Disturbances (CFR: 41.5 / 41.10 / 45.5 / 45.7 / 45.8): EDG | 4 | A1 | 395020
18 | (022AK3.02) Knowledge of the reasons for the following responses and/or actions as they apply to (APE 22) LOSS OF REACTOR Coolant Makeup (CFR: 41.5 / 41.10 / 45.6 / 45.13): Actions contained in AOPs | 3.7 | K3 | 395006
19 | (076AK1.06) Knowledge of the operational implications and/or cause and effect relationships of the following concepts as they apply to (APE 76) HIGH REACTOR COOLANT ACTIVITY (CFR: 41.8 / 41.10 / 45.3): Crud burst | 3.2 | K1 | 395041
20 | (WE07EK2.04) Knowledge of the relationship between (W E07) SATURATED CORE COOLING and the following systems or components (CFR: 41.7 / 41.8 / 45.2 / 45.4): RCS | 3.6 | K2 | 395040
21 | (395030) 000033 (APE 33) Loss of Intermediate Range Nuclear Instrumentation (G2.2.23) EQUIPMENT CONTROL: Ability to track TS limiting conditions for operation (CFR: 41.10 / 43.2 / 45.13) | 3.1 | G | 395030
22 | (001AA2.09) Ability to determine and/or interpret the following as they apply to (APE 1) CONTINUOUS Rod Withdrawal (CFR: 43.5 / 45.13): RPI | 3.8 | A2 | 395024
23 | (067AA1.02) Ability to operate and/or monitor the following as they apply to (APE 67) PLANT Fire On Site (CFR: 41.7 / 45.5 / 45.6): Fire detectors/heat detectors | 3 | A1 | 395037
24 | (024AK3.01) Knowledge of the reasons for the following responses and/or actions as they apply to (APE 24) EMERGENCY Boration (CFR: 41.5 / 41.10 / 45.6 / 45.13): When emergency boration is required | 4.4 | K3 | 395027
25 | (059AK1.05) Knowledge of the operational implications and/or cause and effect relationships of the following concepts as they apply to (APE 59) ACCIDENTAL LIQUID Radwaste Release (CFR: 41.8 / 41.10 / 45.3): The calculation of offsite doses due to a release from the power plant | 3 | K1 | 395034
26 | (003AK2.08) Knowledge of the relationship between (APE 3) DROPPED Control Rod and the following systems or components (CFR: 41.7 / 45.7): NIS | 3.9 | K2 | 395025
27 | (022K6.10) Knowledge of the effect of the following plant conditions, system malfunctions, or component malfunctions on the (SF5 CCS) CONTAINMENT COOLING SYSTEM (CFR: 41.7 / 45.7): Cooling water system | 3.5 | K6 | 400022
28 | (063K2.03) Knowledge of electrical power supplies to the following: (SF6 ED DC) DC ELECTRICAL DISTRIBUTION SYSTEM (CFR: 41.7) Battery chargers | 4 | K2 | 400063
29 | (006A3.02) Ability to monitor automatic features of the (SF2; SF3 ECCS) EMERGENCY CORE COOLING SYSTEM, including (CFR: 41.7 / 45.5): Pumps | 4.2 | A3 | 400006
30 | (078A2.03) Ability to (a) predict the impacts of the following on the (SF8 IAS) INSTRUMENT AIR SYSTEM and (b) based on those predictions, use procedures to correct, control, or mitigate the consequences of those abnormal operations (CFR: 41.5 / 43.5 / 45.3 / 45.13): Cooling water malfunction | 2.5 | A2 | 400078
31 | (062K4.05) Knowledge of (SF6 ED AC) AC ELECTRICAL DISTRIBUTION SYSTEM design features and/or interlocks that provide for the following (CFR: 41.7): Paralleling of AC sources (synchroscope) | 3.6 | K4 | 400062
32 | (004K1.01) Knowledge of the physical connections and/or cause and effect relationships between the (SF1; SF2 CVCS) CHEMICAL AND VOLUME CONTROL SYSTEM and the following systems (CFR: 41.3 / 41.5 to 41.8 / 41.10): PZR LCS | 4.3 | K1 | 400004
33 | (012K3.01) Knowledge of the effect that a loss or malfunction of the (SF7 RPS) REACTOR PROTECTION SYSTEM will have on the following systems or system parameters (CFR: 41.7 / 45.6): CRDS | 4.2 | K3 | 400012
34 | (103K5.01) Knowledge of the operational implications or cause and effect relationships of the following concepts as they apply to the (SF5 CNT) CONTAINMENT SYSTEM (CFR: 41.5 / 45.7): Containment isolation/containment integrity | 4.1 | K5 | 400103
35 | (003A4.07) Ability to manually operate and/or monitor the (SF4P RCP) REACTOR COOLANT PUMP SYSTEM in the control room (CFR: 41.7 / 45.5 to 45.8): RCP seal bypass | 2.9 | A4 | 400003
36 | (026A1.06) Ability to predict and/or monitor changes in parameters associated with operation of the (SF5 CSS) CONTAINMENT SPRAY SYSTEM, including (CFR: 41.5 / 45.5): Containment spray pump cooling | 3.3 | A1 | 400026
37 | (400007) 007 (SF5 PRTS) PRESSURIZER RELIEF/QUENCH TANK SYSTEM (G2.1.41) CONDUCT OF OPERATIONS: Knowledge of the refueling process (CFR: 41.2 / 41.10 / 43.6 / 45.13) | 2.8 | G | 400007
38 | (073K6.01) Knowledge of the effect of the following plant conditions, system malfunctions, or component malfunctions on the (SF7 PRM) PROCESS RADIATION MONITORING SYSTEM (CFR: 41.7 / 8-9): PRM component failures | 3.2 | K6 | 400073
39 | (061K2.02) Knowledge of electrical power supplies to the following: (SF4S AFW) AUXILIARY/EMERGENCY FEEDWATER SYSTEM AFW (CFR: 41.7) electric-driven pumps | 4.1 | K2 | 400061
40 | (010A3.04) Ability to monitor automatic features of the (SF3 PZR PCS) PRESSURIZER PRESSURE CONTROL SYSTEM, including (CFR: 41.7 / 45.5): PZR normal spray valve operation | 3.6 | A3 | 400010
41 | (064A2.24) Ability to (a) predict the impacts of the following on the (SF6 EDG) EMERGENCY DIESEL GENERATOR SYSTEM and (b) based on those predictions, use procedures to correct, control, or mitigate the consequences of those abnormal operations (CFR: 41.5 / 43.5 / 45.3 / 45.13): Fuel oil storage system failure | 3.2 | A2 | 400064
42 | (008K4.07) Knowledge of (SF8 CCW) COMPONENT COOLING WATER SYSTEM design features and/or interlocks that provide for the following (CFR: 41.7): Operation of the CCW swing-bus power supply and its associated breakers and controls | 3.4 | K4 | 400008
43 | (005K1.14) Knowledge of the physical connections and/or cause and effect relationships between the (SF4P RHR) RESIDUAL HEAT REMOVAL SYSTEM and the following systems (CFR: 41.2 to 41.9 / 45.7 / 45.8): ESFAS | 4.2 | K1 | 400005
44 | (013K3.09) Knowledge of the effect that a loss or malfunction of the (SF2 ESFAS) ENGINEERED SAFETY FEATURES ACTUATION SYSTEM will have on the following systems or system parameters (CFR: 41.3 to 41.7 / 45.6): CCWS | 3.8 | K3 | 400013
45 | (039K5.13) Knowledge of the operational implications or cause and effect relationships of the following concepts as they apply to the (SF4S MSS) MAIN AND REHEAT STEAM SYSTEM (CFR: 41.5 / 45.7): Indications and alarms for main steam and radiation monitors (during S/G tube rupture) | 4 | K5 | 400039
46 | (076A4.02) Ability to manually operate and/or monitor the (SF4S SW) SERVICE WATER SYSTEM in the control room (CFR: 41.7 / 45.5 to 45.8): SWS valves | 3.7 | A4 | 400076
47 | (059A1.14) Ability to predict and/or monitor changes in parameters associated with operation of the (SF4S MFW) MAIN FEEDWATER SYSTEM, including (CFR: 41.5 / 45.5): Feedwater discharge header pressure | 3.1 | A1 | 400059
48 | (400022) 022 (SF5 CCS) CONTAINMENT COOLING SYSTEM (191004K1.25) PUMPS (CFR: 41.3): (POSITIVE DISPLACEMENT) Reason for starting a positive displacement pump with the discharge valve open; need to clear the flowpath | 2.9 | C | 400022
49 | (063K6.06) Knowledge of the effect of the following plant conditions, system malfunctions, or component malfunctions on the (SF6 ED DC) DC ELECTRICAL DISTRIBUTION SYSTEM (CFR: 41.7 / 45.7): Battery | 4 | K6 | 400063
50 | (006K2.02) Knowledge of electrical power supplies to the following: (SF2; SF3 ECCS) EMERGENCY CORE COOLING SYSTEM (CFR: 41.7) Valve operators for safety injection tanks | 3.2 | K2 | 400006
51 | (078A3.03) Ability to monitor automatic features of the (SF8 IAS) INSTRUMENT AIR SYSTEM, including (CFR: 41.7 / 45.5): Air compressor loading/unloading | 2.9 | A3 | 400078
52 | (062A2.23) Ability to (a) predict the impacts of the following on the (SF6 ED AC) AC ELECTRICAL DISTRIBUTION SYSTEM and (b) based on those predictions, use procedures to correct, control, or mitigate the consequences of those abnormal operations (CFR: 41.5 / 43.5 / 45.3 / 45.13): Failure of MT/G | 3 | A2 | 400062
53 | (004K4.05) Knowledge of (SF1; SF2 CVCS) CHEMICAL AND VOLUME CONTROL SYSTEM design features and/or interlocks that provide for the following (CFR: 41.6 / 41.7): Interrelationships and design basis, including fluid flow splits in branching networks (e.g., RCS charging and seal injection flow) | 3.6 | K4 | 400004
54 | (012K1.05) Knowledge of the physical connections and/or cause and effect relationships between the (SF7 RPS) REACTOR PROTECTION SYSTEM and the following systems (CFR: 41.2 to 41.9 / 45.7 / 45.8): ESFAS | 4.2 | K1 | 400012
55 | (063K6.07) Knowledge of the effect of the following plant conditions, system malfunctions, or component malfunctions on the (SF6 ED DC) DC ELECTRICAL DISTRIBUTION SYSTEM (CFR: 41.7 / 45.7): Loss of all AC power | 4.3 | K6 | 400063
56 | (059K2.01) Knowledge of electrical power supplies to the following: (SF4S MFW) MAIN FEEDWATER SYSTEM (CFR: 41.7) MFW system pumps | 3.2 | K2 | 400059
57 | (026A3.01) Ability to monitor automatic features of the (SF5 CSS) CONTAINMENT SPRAY SYSTEM, including (CFR: 41.7 / 45.5): Pump starts and correct valve positioning | 4.1 | A3 | 400026
58 | (078A2.01) Ability to (a) predict the impacts of the following on the (SF8 IAS) INSTRUMENT AIR SYSTEM and (b) based on those predictions, use procedures to correct, control, or mitigate the consequences of those abnormal operations (CFR: 41.5 / 43.5 / 45.3 / 45.13): Air dryer and filter malfunctions | 3.3 | A2 | 400078
59 | (013K4.26) Knowledge of (SF2 ESFAS) ENGINEERED SAFETY FEATURES ACTUATION SYSTEM design features and/or interlocks that provide for the following (CFR: 41.2 / 41.6 / 41.7): ESF HVAC start/stop | 3.4 | K4 | 400013
60 | (006K1.05) Knowledge of the physical connections and/or cause and effect relationships between the (SF2; SF3 ECCS) EMERGENCY CORE COOLING SYSTEM and the following systems (CFR: 41.2 to 41.8 / 45.3 / 45.7 / 45.8): RCP seal injection and return systems | 3.4 | K1 | 400006
61 | (008K3.11) Knowledge of the effect that a loss or malfunction of the (SF8 CCW) COMPONENT COOLING WATER SYSTEM will have on the following systems or system parameters (CFR: 41.4 to 41.7 / 45.7 to 45.9): CSS | 3.7 | K3 | 400008
62 | (012K5.02) Knowledge of the operational implications or cause and effect relationships of the following concepts as they apply to the (SF7 RPS) REACTOR PROTECTION SYSTEM (CFR: 41.5 / 45.7): Power density | 3.7 | K5 | 400012
63 | (022A4.01) Ability to manually operate and/or monitor the (SF5 CCS) CONTAINMENT COOLING SYSTEM in the control room (CFR: 41.7 / 45.5 to 45.8): CCS fans | 3.7 | A4 | 400022
64 | (G2.1.18) CONDUCT OF OPERATIONS: Ability to make accurate, clear, and concise logs, records, status boards, and reports (CFR: 41.10 / 45.12 / 45.13) | 3.6 | G2.1 | G2.1
65 | (G2.1.30) CONDUCT OF OPERATIONS: Ability to locate and operate components, including local controls (CFR: 41.7 / 45.7) | 4.4 | G2.1 | G2.1
66 | (G2.2.38) EQUIPMENT CONTROL: Knowledge of conditions and limitations in the facility license (CFR: 41.7 / 41.10 / 43.1 / 45.13) | 3.6 | G2.2 | G2.2
67 | (G2.2.20) EQUIPMENT CONTROL: Knowledge of the process for managing troubleshooting activities (CFR: 41.10 / 43.5 / 45.13) | 2.6 | G2.2 | G2.2
68 | (G2.3.11) RADIATION CONTROL: Ability to control radiation releases (CFR: 41.11 / 43.4 / 45.10) | 3.8 | G2.3 | G2.3
69 | (G2.4.29) EMERGENCY PROCEDURES/PLAN: Knowledge of the emergency plan implementing procedures (CFR: 41.10 / 43.5 / 45.11) | 3.1 | G2.4 | G2.4
70 | (192005K1.16) CONTROL RODS (CFR: 41.1): Explain the effects of full and/or part length rods on delta I (flux distribution) | 3.5 | R | 192005
71 | (192008K1.01) REACTOR OPERATIONAL PHYSICS (CFR: 41.1): (STARTUP AND APPROACH TO CRITICALITY) List parameters that should be monitored and controlled during the approach to criticality | 3.5 | R | 192008
72 | (192003K1.01) REACTOR KINETICS AND NEUTRON SOURCES (CFR: 41.1): Explain the concept of subcritical multiplication | 2.8 | R | 192003
73 | (193007K1.04) HEAT TRANSFER (CFR: 41.14): (HEAT TRANSFER) Describe how the presence of gases or steam can affect heat transfer and fluid flow in heat exchangers | 3 | T | 193007
74 | (193003K1.02) STEAM (CFR: 41.14): Describe effects of pressure and temperature on density or specific volume of a liquid | 2.5 | T | 193003
75 | (193005K1.03) THERMODYNAMIC CYCLES (CFR: 41.14): Describe how changes in system parameters affect thermodynamic efficiency | 2.6 | T | 193005
76 | (395014) 000055 (EPE 55) Station Blackout (G2.2.19) EQUIPMENT CONTROL: Knowledge of maintenance work order requirements (CFR: 41.10 / 43.5 / 45.13) | 3.4 | G | 395014
77 | (056AA2.88) Ability to determine and/or interpret the following as they apply to (APE 56) Loss of Offsite Power (CFR: 43.5 / 45.13): Conditions necessary for natural circulation | 4 | A2 | 395015
78 | (395009) 000027 (APE 27) Pressurizer Pressure Control System Malfunction (G2.2.41) EQUIPMENT CONTROL: Ability to obtain and interpret station electrical and mechanical drawings (reference potential) (CFR: 41.10 / 45.12 / 45.13) | 3.9 | G | 395009
79 | (BE05EA2.14) Ability to determine and/or interpret the following as they apply to (BW E05) Excessive Heat Transfer (CFR: 41.10 / 43.5 / 45.13): Heatup and/or cooldown rates | 4 | A2 | 395012
80 | (395017) 000058 (APE 58) Loss of DC Power (G2.4.25) EMERGENCY PROCEDURES/PLAN: Knowledge of fire protection procedures (CFR: 41.10 / 43.5 / 45.13) | 3.7 | G | 395017
81 | (008AA2.31) Ability to determine and/or interpret the following as they apply to (APE 8) PRESSURIZER VAPOR Space Accident (CFR: 43.5 / 45.13): Reseating of code safety and PORV | 3.5 | A2 | 395002
82 | (395028) 000028 (APE 28) Pressurizer (PZR) Level Control Malfunction (G2.2.45) EQUIPMENT CONTROL: Ability to determine and/or interpret TS with action statements of greater than 1 hour (SRO Only) (CFR: 43.2 / 43.5 / 45.3) | 4.7 | G | 395028
83 | (068AA2.12) Ability to determine and/or interpret the following as they apply to (APE 68) Control Room Evacuation (CFR: 41.10 / 43.5 / 45.13): Cooldown rate limits | 3.5 | A2 | 395038
84 | (395059) (CE E13*) Loss of Forced Circulation/LOOP/Blackout (G2.1.43) CONDUCT OF OPERATIONS: Ability to use an online power distribution monitoring system and/or procedures to determine the effects on reactivity of plant changes, such as RCS temperature, secondary plant, or fuel depletion | 4.3 | G | 395059
85 | (051AA2.03) Ability to determine and/or interpret the following as they apply to (APE 51) LOSS OF Condenser Vacuum (CFR: 43.5 / 45.13): Circulating water flow | 3.2 | A2 | 395033
86 | (400103) 103 (SF5 CNT) CONTAINMENT SYSTEM (G2.4.18) EMERGENCY PROCEDURES/PLAN: Knowledge of the specific bases for emergency and abnormal operating procedures (CFR: 41.10 / 43.1 / 45.13) | 4 | G | 400103
87 | (003A2.04) Ability to (a) predict the impacts of the following on the (SF4P RCP) REACTOR COOLANT PUMP SYSTEM and (b) based on those predictions, use procedures to correct, control, or mitigate the consequences of those abnormal operations (CFR: 41.5 / 43.5 / 45.3 / 45.13): Effects of fluctuation of VCT pressure on RCP seal injection flow | 3.2 | A2 | 400003
88 | (400026) 026 (SF5 CSS) CONTAINMENT SPRAY SYSTEM (G2.2.5) EQUIPMENT CONTROL: Knowledge of the process for making design or operating changes to the facility, such as 10 CFR 50.59, “Changes, Tests and Experiments,” screening and evaluation processes, administrative processes for temporary modifications, disabling annunciators, or installation of temporary equipment (CFR: 41.10 /43.3 / 45.13) | 3.2 | G | 400026
89 | (007A2.03) Ability to (a) predict the impacts of the following on the (SF5 PRTS) PRESSURIZER RELIEF/QUENCH TANK SYSTEM and (b) based on those predictions, use procedures to correct, control, or mitigate the consequences of those abnormal operations (CFR: 41.5 / 43.5 / 45.3 / 45.13): Overpressurization of the PZR | 3.4 | A2 | 400007
90 | (400073) 073 (SF7 PRM) PROCESS RADIATION MONITORING SYSTEM (G2.4.19) EMERGENCY PROCEDURES/PLAN: Knowledge of emergency and abnormal operating procedures layout, symbols, and icons (CFR: 41.10 / 45.13) | 4.1 | G | 400073
91 | (039A2.07) Ability to (a) predict the impacts of the following on the (SF4S MSS) MAIN AND REHEAT STEAM SYSTEM and (b) based on those predictions, use procedures to correct, control, or mitigate the consequences of those abnormal operations (CFR: 41.5 / 43.5 / 45.3 / 45.13): IAS malfunctions | 3.2 | A2 | 400039
92 | (400062) 062 (SF6 ED AC) AC ELECTRICAL DISTRIBUTION SYSTEM (G2.4.3) EMERGENCY PROCEDURES/PLAN: Ability to identify post-accident instrumentation (CFR: 41.6 / 45.4) | 3.9 | G | 400062
93 | (025A2.04) Ability to (a) predict the impacts of the following on the (SF5 ICE) ICE CONDENSER SYSTEM and (b) based on those predictions, use procedures to correct, control, or mitigate the consequences of those abnormal operations (CFR: 41.5 / 43.5 / 45.3 / 45.13): Containment isolation | 3.7 | A2 | 400025
94 | (G2.1.1) CONDUCT OF OPERATIONS: Knowledge of conduct of operations requirements (CFR: 41.10 / 43.10 / 45.13) | 4.2 | G2.1 | G2.1
95 | (G2.1.23) CONDUCT OF OPERATIONS: Ability to perform general and/or normal operating procedures during any plant condition (CFR: 41.10 / 43.5 / 45.2 / 45.6) | 4.4 | G2.1 | G2.1
96 | (G2.2.43) EQUIPMENT CONTROL: Knowledge of the process used to track inoperable alarms (CFR: 41.10 / 43.5 / 45.13) | 3.3 | G2.2 | G2.2
97 | (G2.2.7) EQUIPMENT CONTROL: Knowledge of the process for conducting infrequently performed tests or evolutions (CFR: 41.10 / 43.3 / 45.13) | 3.6 | G2.2 | G2.2
98 | (G2.3.5) RADIATION CONTROL: Ability to use RMSs, such as fixed radiation monitors and alarms or personnel monitoring equipment (CFR: 41.11 / 41.12 / 43.4 / 45.9) | 2.9 | G2.3 | G2.3
99 | (G2.4.42) EMERGENCY PROCEDURES/PLAN: Knowledge of emergency response facilities (CFR: 41.10 / 45.11) | 3.8 | G2.4 | G2.4
100 | (G2.4.46) EMERGENCY PROCEDURES/PLAN: Ability to verify that the alarms are consistent with the plant conditions (CFR: 41.10 / 43.5 / 45.3 / 45.12) | 4.2 | G2.4 | G2.4