## Sheet1
Question Number | Topic Title | Topic Importance | K/A Category | System
1 | (WE11EA1.19) Ability to operate and/or monitor the following as they apply to (W E11) LOSS OF EMERGENCY Coolant Recirculation (CFR: 41.5 to 41.8 / 45.5 to 45.8): AFW system | 3.5 | A1 | 395022
2 | (395021) (W E04) LOCA Outside Containment (G2.1.19) CONDUCT OF OPERATIONS: Ability to use available indications to evaluate system or component status (CFR: 41.10 / 45.12) | 3.9 | G | 395021
3 | (065AK1.02) Knowledge of the operational implications and/or cause and effect relationships of the following concepts as they apply to (APE 65) LOSS OF Instrument Air (CFR: 41.8 / 41.10 / 45.3): Effects of water and/or particulate matter in instrument air lines (operating experience) | 3.1 | K1 | 395019
4 | (025AK3.09) Knowledge of the reasons for the following responses and/or actions as they apply to (APE 25) LOSS OF RESIDUAL Heat Removal System (CFR: 41.5 / 41.10 / 45.6 / 45.13): Verification of natural circulation | 3.6 | K3 | 395007
5 | (038EA2.15) Ability to determine and/or interpret the following as they apply to (EPE 38) STEAM GENERATOR Tube Rupture (CFR: 43.5 / 45.13): RCS pressure | 4 | A2 | 395011
6 | (056AK2.10) Knowledge of the relationship between (APE 56) Loss of Offsite Power and the following systems or components (CFR: 41.7 / 45.7): AC distribution system | 4.3 | K2 | 395015
7 | (062AA1.03) Ability to operate and/or monitor the following as they apply to (APE 62) LOSS OF SERVICE WATER (CFR: 41.7 / 45.5 / 45.6): SWS as a backup to the CCWS | 3.1 | A1 | 395018
8 | (395002) 000008 (APE 8) Pressurizer Vapor Space Accident (G2.2.17) EQUIPMENT CONTROL: Knowledge of the process for managing maintenance activities during power operations, such as risk assessments, work prioritization, and coordination with the transmission system operator (CFR: 41.10 / 43.5 / 45.13) | 2.6 | G | 395002
9 | (015AK1.01) Knowledge of the operational implications and/or cause and effect relationships of the following concepts as they apply to (APE 15) REACTOR COOLANT Pump Malfunctions (CFR: 41.8 / 41.10 / 45.3): Natural circulation | 3.9 | K1 | 395005
10 | (026AK3.06) Knowledge of the reasons for the following responses and/or actions as they apply to (APE 26) LOSS OF Component Cooling Water (CFR: 41.5 / 41.10 / 45.6 / 45.13): Reducing CCW loads | 3.4 | K3 | 395008
11 | (057AA2.21) Ability to determine and/or interpret the following as they apply to (APE 57) LOSS OF VITAL AC ELECTRICALINSTRUMENT BUS (CFR: 43.5 / 45.13): RWST level | 3.1 | A2 | 395016
12 | (058AK2.07) Knowledge of the relationship between (APE 58) LOSS OF DC Power and the following systems or components (CFR: 41.7 / 45.7): AFW | 3.8 | K2 | 395017
13 | (027AA1.04) Ability to operate and/or monitor the following as they apply to (APE 27) PRESSURIZER PRESSURE Control System Malfunction (CFR: 41.7 / 45.5 / 45.6): Pressure recovery using emergency-only heaters | 3.5 | A1 | 395009
14 | (395020) 000077 (APE 77) Generator Voltage and Electric Grid Disturbances (G2.1.47) CONDUCT OF OPERATIONS: Ability to direct nonlicensed personnel activities inside the control room (CFR: 41.10 / 43.5 / 45.5 / 45.12 / 45.13) | 3.2 | G | 395020
15 | (055EK1.03) Knowledge of the operational implications and/or cause and effect relationships of the following concepts as they apply to (EPE 55) Station Blackout (CFR: 41.8 / 41.10 / 45.3): Turbine- and diesel‑driven AFW pump availability | 4.4 | K1 | 395014
16 | (CE06EK3.06) Knowledge of the reasons for the following responses and/or actions as they apply to (CE E06) LOSS OF FEEDWATER (CFR: 41.5 / 41.10 / 45.6 / 45.13): Conserve S/G inventory | 4 | K3 | 395013
17 | (CE05EA2.13) Ability to determine and/or interpret the following as they apply to (CE E05) EXCESS STEAM DEMAND (CFR: 43.5 / 45.13): Cooldown rate | 3 | A2 | 395012
18 | (029EK2.08) Knowledge of the relationship between (EPE 29) ANTICIPATED TRANSIENT WITHOUT SCRAM (ATWS) and the following systems or components (CFR: 41.7 / 45.7): ECCS | 3.7 | K2 | 395010
19 | (WE15EA1.04) Ability to operate and/or monitor the following as they apply to (W E15) Containment Flooding (CFR: 41.5 to 41.8 / 45.5. to 45.8): Service water | 3.5 | A1 | 395045
20 | (395046) (W E16) High Containment Radiation (G2.4.14) EMERGENCY PROCEDURES/PLAN: Knowledge of general guidelines for emergency and abnormal operating procedures usage (CFR: 41.10 / 43.1 / 45.13) | 3.8 | G | 395046
21 | (WE03EK1.09) Knowledge of the operational implications and/or cause and effect relationships of the following concepts as they apply to (W E03) LOCA COOLDOWN AND Depressurization (CFR: 41.5 / 41.7 / 45.7 / 45.8): RTD bypass manifold temperature inaccuracy on natural circulation | 3 | K1 | 395053
22 | (059AK3.04) Knowledge of the reasons for the following responses and/or actions as they apply to (APE 59) ACCIDENTAL LIQUID Radwaste Release (CFR: 41.5 / 41.10 / 45.6 / 45.13): Guidance contained in procedures | 3.6 | K3 | 395034
23 | (078AA2.06) Ability to determine and/or interpret the following as they apply to (APE 78) REACTOR COOLANT SYSTEM LEAK (CFR: 43.5 / 45.13): Low-pressure SWS activity monitor | 3 | A2 | 395042
24 | (WE01EK2.07) Knowledge of the relationship between (W E01) REDIAGNOSIS and the following systems or components (CFR: 41.7 / 41.8 / 45.2 / 45.4): PRMS | 3.6 | K2 | 395043
25 | (060AA1.04) Ability to operate and/or monitor the following as they apply to (APE 60) ACCIDENTAL GASEOUS Radwaste Release (CFR: 41.7 / 45.5 / 45.6): Gaseous radwaste release isolation valve | 3.7 | A1 | 395035
26 | (395027) 000024 (APE 24) Emergency Boration (G2.4.35) EMERGENCY PROCEDURES/PLAN: Knowledge of nonlicensed operator responsibilities during an emergency (CFR: 41.10 / 43.1 / 43.5 / 45.13) | 3.8 | G | 395027
27 | (022K6.08) Knowledge of the effect of the following plant conditions, system malfunctions, or component malfunctions on the (SF5 CCS) CONTAINMENT COOLING SYSTEM (CFR: 41.7 / 45.7): Heat exchangers and/or coolers | 3.3 | K6 | 400022
28 | (012A2.03) Ability to (a) predict the impacts of the following on the (SF7 RPS) REACTOR PROTECTION SYSTEM and (b) based on those predictions, use procedures to correct, control, or mitigate the consequences of those abnormal operations (CFR: 41.5 / 43.5 / 45.3 / 45.5): Incorrect channel bypassing | 3.9 | A2 | 400012
29 | (026K4.04) Knowledge of (SF5 CSS) CONTAINMENT SPRAY SYSTEM design features and/or interlocks that provide for the following (CFR: 41.7): Reduction of temperature and pressure in containment after a LOCA by condensing steam to reduce radiological hazard and protect equipment from corrosion damage (spray) | 3.7 | K4 | 400026
30 | (400064) 064 (SF6 EDG) EMERGENCY DIESEL GENERATOR SYSTEM (G2.4.43) EMERGENCY PROCEDURES/PLAN: Knowledge of emergency communications systems and techniques (CFR: 41.10 / 43.5 / 45.13) | 3.2 | G | 400064
31 | (013K3.10) Knowledge of the effect that a loss or malfunction of the (SF2 ESFAS) ENGINEERED SAFETY FEATURES ACTUATION SYSTEM will have on the following systems or system parameters (CFR: 41.3 to 41.7 / 45.6): CPS | 3.2 | K3 | 400013
32 | (010K5.02) Knowledge of the operational implications or cause and effect relationships of the following concepts as they apply to the (SF3 PZR PCS) PRESSURIZER PRESSURE CONTROL SYSTEM (CFR: 41.5 / 45.7): Constant enthalpy expansion through PORV or safety valve | 3.5 | K5 | 400010
33 | (062A4.04) Ability to manually operate and/or monitor the (SF6 ED AC) AC ELECTRICAL DISTRIBUTION SYSTEM in the control room (CFR: 41.7 / 45.5 to 45.8): Local operation of breakers | 3.2 | A4 | 400062
34 | (076A1.08) Ability to predict and/or monitor changes in parameters associated with operation of the (SF4S SW) SERVICE WATER SYSTEM, including (CFR: 41.5 / 45.5): Strainer D/P | 2.9 | A1 | 400076
35 | (003K1.04) Knowledge of the physical connections and/or cause and effect relationships between the (SF4P RCP) REACTOR COOLANT PUMP SYSTEM and the following systems (CFR: 41.2 to 41.9 / 45.7 / 45.8): CVCS | 3.8 | K1 | 400003
36 | (008K2.01) Knowledge of electrical power supplies to the following (CFR: 41.7): (SF8 CCW) COMPONENT COOLING WATER SYSTEM CCW valves | 3 | K2 | 400008
37 | (063A3.02) Ability to monitor automatic features of the (SF6 ED DC) DC ELECTRICAL DISTRIBUTION SYSTEM, including (CFR: 41.7 / 45.5): Battery charger undervoltage stripping | 3.1 | A3 | 400063
38 | (006K6.06) Knowledge of the effect of the following plant conditions, system malfunctions, or component malfunctions on the (SF2; SF3 ECCS) EMERGENCY CORE COOLING SYSTEM (CFR: 41.7 / 45.7): ECCS isolation valves | 3.8 | K6 | 400006
39 | (004A2.05) Ability to (a) predict the impacts of the following on the (SF1; SF2 CVCS) CHEMICAL AND VOLUME CONTROL SYSTEM and (b) based on those predictions, use procedures to correct, control, or mitigate the consequences of those abnormal operations (CFR: 41.5 to 41.7 / 43.5 / 45.3 / 45.5): RCP seal failures | 3.5 | A2 | 400004
40 | (039K4.10) Knowledge of (SF4S MSS) MAIN AND REHEAT STEAM SYSTEM design features and/or interlocks that provide for the following (CFR: 41.7): Auxiliary steam | 2.5 | K4 | 400039
41 | (400078) 078 (SF8 IAS) INSTRUMENT AIR SYSTEM (191001K1.05) VALVES (CFR: 41.3): Equipment protection/safety concerns in the use of gate valves (protect valve seals/open slowly) | 2.8 | C | 400078
42 | (005K3.06) Knowledge of the effect that a loss or malfunction of the (SF4P RHR) RESIDUAL HEAT REMOVAL SYSTEM will have on the following systems or system parameters (CFR: 41.7 / 45.6): CSS | 3.6 | K3 | 400005
43 | (061K5.02) Knowledge of the operational implications or cause and effect relationships of the following concepts as they apply to the (SF4S AFW) AUXILIARY/EMERGENCY FEEDWATER SYSTEM (CFR: 41.5 / 45.7): Decay heat sources and magnitude | 3.9 | K5 | 400061
44 | (073A4.03) Ability to manually operate and/or monitor the (SF7 PRM) PROCESS RADIATION MONITORING SYSTEM in the control room (CFR: 41.7 / 45.8 / 45.9): Check source for operability demonstration | 2.9 | A4 | 400073
45 | (059A1.13) Ability to predict and/or monitor changes in parameters associated with operation of the (SF4S MFW) MAIN FEEDWATER SYSTEM, including (CFR: 41.5 / 45.5): Condenser vacuum | 3.3 | A1 | 400059
46 | (103K1.01) Knowledge of the physical connections and/or cause and effect relationships between the (SF5 CNT) CONTAINMENT SYSTEM and the following systems (CFR: 41.9 / 45.7 / 45.8): CCS | 3.7 | K1 | 400103
47 | (007K4.01) Knowledge of (SF5 PRTS) PRESSURIZER RELIEF/QUENCH TANK SYSTEM design features and/or interlocks that provide for the following (CFR: 41.7): PRT/quench tank cooling | 2.9 | K2 | 400007
48 | (022A3.01) Ability to monitor automatic features of the (SF5 CCS) CONTAINMENT COOLING SYSTEM, including (CFR: 41.7 / 45.5): Initiation of ESFAS mode of operation | 4.2 | A3 | 400022
49 | (012K6.06) Knowledge of the effect of the following plant conditions, system malfunctions, or component malfunctions on the (SF7 RPS) REACTOR PROTECTION SYSTEM (CFR: 41.7 / 45.7): Sensors and detectors | 3.7 | K6 | 400012
50 | (026A2.05) Ability to (a) predict the impacts of the following on the (SF5 CSS) CONTAINMENT SPRAY SYSTEM and (b) based on those predictions, use procedures to correct, control, or mitigate the consequences of those abnormal operations (CFR: 41.5 / 43.5 / 45.3 / 45.13): Failure of chemical addition tanks to inject | 3 | A2 | 400026
51 | (064K4.13) Knowledge of (SF6 EDG) EMERGENCY DIESEL GENERATOR SYSTEM design features and/or interlocks that provide for the following (CFR: 41.7): Prelubing engine and keeping it warm | 3.2 | K4 | 400064
52 | (400013) 013 (SF2 ESFAS) ENGINEERED SAFETY FEATURES ACTUATION SYSTEM (G2.2.21) EQUIPMENT CONTROL: Knowledge of pre- and post-maintenance operability requirements (CFR: 41.10 / 43.2) | 2.9 | G | 400013
53 | (010K3.03) Knowledge of the effect that a loss or malfunction of the (SF3 PZR PCS) PRESSURIZER PRESSURE CONTROL SYSTEM will have on the following systems or system parameters (CFR: 41.7 / 45.6): ESFAS | 4.2 | K3 | 400010
54 | (062K5.10) Knowledge of the operational implications or cause and effect relationships of the following concepts as they apply to the (SF6 ED AC) AC ELECTRICAL DISTRIBUTION SYSTEM (CFR: 41.5 / 45.7): Keeping the safeguards buses electrically separate | 3.8 | K5 | 400062
55 | (071K6.12) Knowledge of the effect of the following plant conditions, system malfunctions, or component malfunctions on the (SF9 WGS) WASTE GAS DISPOSAL SYSTEM (CFR: 41.7 / 45.8 / 45.9): PVS | 2.7 | K6 | 400071
56 | (034A2.04) Ability to (a) predict the impacts of the following on the (SF8 FHS) FUEL HANDLING EQUIPMENT SYSTEM and (b) based on those predictions, use procedures to correct, control, or mitigate the consequences of those abnormal operations (CFR: 41.5 / 43.5 / 43.7 / 45.3 / 45.8 / 45.13): Transfer car stuck in the fuel transfer tube | 2.8 | A2 | 400034
57 | (086K4.09) Knowledge of (SF8 FPS) FIRE PROTECTION SYSTEM design features and/or interlocks that provide for the following (CFR: 41.7): Water | 3.1 | K4 | 400086
58 | (400028) 028 (SF5 HRPS) HYDROGEN RECOMBINER AND PURGE CONTROL SYSTEM (191006K1.13) HEAT EXCHANGERS AND CONDENSERS (CFR: 41.4): Consequences of heat exchanger tube failure | 2.9 | C | 400028
59 | (001K3.01) Knowledge of the effect that a loss or malfunction of the (SF1 CRDS) CONTROL ROD DRIVE SYSTEM will have on the following systems or system parameters (CFR: 41.6): CVCS | 2.6 | K3 | 400001
60 | (027K5.01) Knowledge of the operational implications or cause and effect relationships of the following concepts as they apply to the (SF5 CIRS) CONTAINMENT IODINE REMOVAL SYSTEM (CFR: 41.7 / 45.7): Purpose of charcoal filters | 2.9 | K5 | 400027
61 | (033A4.01) Ability to manually operate and/or monitor the (SF8 SFPCS) SPENT FUEL POOL COOLING SYSTEM in the control room (CFR: 41.7 / 45.5 to 45.8): SFPCS pumps | 3 | A4 | 400033
62 | (017A1.02) Ability to predict and/or monitor changes in parameters associated with operation of the (SF7 ITM) IN CORE TEMPERATURE MONITOR SYSTEM, including (CFR: 41.5 / 45.7): Lights and alarms | 3.2 | A1 | 400017
63 | (029K1.01) Knowledge of the physical connections and/or cause and effect relationships between the (SF8 CPS) CONTAINMENT PURGE SYSTEM and the following systems (CFR: 41.7 to 41.9 / 45.8): PRMS | 3.4 | K1 | 400029
64 | (G2.1.14) CONDUCT OF OPERATIONS: Knowledge of criteria or conditions that require plantwide announcements, such as pump starts, reactor trips, and mode changes (CFR: 41.10 / 43.5 / 45.12) | 3.1 | G2.1 | G2.1
65 | (G2.1.8) CONDUCT OF OPERATIONS: Ability to coordinate personnel activities outside the control room (CFR: 41.10 / 43.1 / 45.5 / 45.12 / 45.13) | 3.4 | G2.1 | G2.1
66 | (G2.2.14) EQUIPMENT CONTROL: Knowledge of the process for controlling equipment configuration or status (CFR: 41.10 / 43.3 / 45.13) | 3.9 | G2.2 | G2.2
67 | (G2.2.41) EQUIPMENT CONTROL: Ability to obtain and interpret station electrical and mechanical drawings (reference potential) (CFR: 41.10 / 45.12 / 45.13) | 3.5 | G2.2 | G2.2
68 | (G2.3.5) RADIATION CONTROL: Ability to use RMSs, such as fixed radiation monitors and alarms or personnel monitoring equipment (CFR: 41.11 / 41.12 / 43.4 / 45.9) | 2.9 | G2.3 | G2.3
69 | (G2.4.28) EMERGENCY PROCEDURES/PLAN: Knowledge of procedures relating to a security event (ensure that the test item includes no safeguards information) (CFR: 41.10 / 43.5 / 45.13) | 3.2 | G2.4 | G2.4
70 | (192005K1.07) CONTROL RODS (CFR: 41.1): Describe the effect on the magnitude of control rod worth for a change in the following: -- moderator temperature | 2.8 | R | 192005
71 | (192001K1.02) NEUTRONS (CFR: 41.1): Define prompt and delayed neutrons | 2.5 | R | 192001
72 | (192002K1.10) NEUTRON LIFE CYCLE (CFR: 41.1): Define SDM | 3.6 | R | 192002
73 | (193008K1.10) THERMAL HYDRAULICS (CFR: 41.14): (DEPARTURE FROM NUCLEATE BOILING) Define DNBR | 3.1 | T | 193008
74 | (193003K1.17) STEAM (CFR: 41.14): Define the following term: -- subcooling | 3.2 | T | 193003
75 | (193006K1.12) FLUID STATICS AND DYNAMICS (CFR: 41.14): Define or explain the following term or concept: -- cavitation | 3.3 | T | 193006
76 | (395004) 000011 (EPE 11) Large Break LOCA (G2.4.17) EMERGENCY PROCEDURES/PLAN: Knowledge of emergency and abnormal operating procedures terms and definitions (CFR: 41.10 / 45.13) | 4.3 | G | 395004
77 | (BE10EA2.03) Ability to determine and/or interpret the following as they apply to (BW E10) POST-TRIP STABILIZATION (CFR: 41.10 / 43.5 / 45.13): Control rod position | 3.9 | A2 | 395001
78 | (395003) 000009 (EPE 9) Small Break LOCA (G2.4.40) EMERGENCY PROCEDURES/PLAN: Knowledge of SRO responsibilities in emergency plan implementing procedures (SRO Only) (CFR: 43.5 / 45.11) | 4.5 | G | 395003
79 | (BE04EA2.18) Ability to determine and/or interpret the following as they apply to (BW E04) INADEQUATE HEAT TRANSFER (CFR: 41.10 / 43.5 / 45.13): CET temperatures | 3.7 | A2 | 395023
80 | (395006) 000022 (APE 22) Loss of Reactor Coolant Makeup (G2.1.4) CONDUCT OF OPERATIONS: Knowledge of individual licensed operator responsibilities related to shift staffing, such as medical requirements, “no-solo” operation, and maintenance of active license status, 10 CFR Part 55 (CFR: 41.10 / 43.2) | 3.8 | G | 395006
81 | (WE11EA2.04) Ability to determine and/or interpret the following as they apply to (W E11) LOSS OF EMERGENCY Coolant Recirculation (CFR: 41.10 / 43.5 / 45.13): RCS pressure, temperature, and/or PZR level | 3.8 | A2 | 395022
82 | (395032) 000037 (APE 37) Steam Generator Tube Leak (G2.1.21) CONDUCT OF OPERATIONS: Ability to verify that a copy of a controlled procedure is the proper revision (CFR: 41.10 / 45.10 / 45.13) | 3.6 | G | 395032
83 | (033AA2.12) Ability to determine and/or interpret the following as they apply to (APE 33) LOSS OF INTERMEDIATE RANGE Nuclear Instrumentation (CFR: 43.5 / 45.13): Maximum allowable channel disagreement | 3.2 | A2 | 395030
84 | (395056) (CE A11**; W E08) RCS Overcooling – Pressurized Thermal Shock (G2.1.46) CONDUCT OF OPERATIONS: Ability to use integrated control systems to operate plant systems or components (CFR: 41.10 / 45.12 / 45.13) | 3.3 | G | 395056
85 | (003AA2.06) Ability to determine and/or interpret the following as they apply to (APE 3) DROPPED Control Rod (CFR: 43.5 / 45.13): Ex-core NIS | 3.8 | A2 | 395025
86 | (400076) 076 (SF4S SW) SERVICE WATER SYSTEM (G2.1.35) CONDUCT OF OPERATIONS: Knowledge of the fuel handling responsibilities of SROs (SRO Only) (CFR: 43.7) | 3.9 | G | 400076
87 | (003A2.06) Ability to (a) predict the impacts of the following on the (SF4P RCP) REACTOR COOLANT PUMP SYSTEM and (b) based on those predictions, use procedures to correct, control, or mitigate the consequences of those abnormal operations (CFR: 41.5 / 43.5 / 45.3 / 45.13): CCWS malfunction | 3.5 | A2 | 400003
88 | (400008) 008 (SF8 CCW) COMPONENT COOLING WATER SYSTEM (G2.1.2) CONDUCT OF OPERATIONS: Knowledge of operator responsibilities during any mode of plant operation (CFR: 41.10 / 43.1 / 45.13) | 4.4 | G | 400008
89 | (063A2.03) Ability to (a) predict the impacts of the following on the (SF6 ED DC) DC ELECTRICAL DISTRIBUTION SYSTEM and (b) based on those predictions, use procedures to correct, control, or mitigate the consequences of those abnormal operations (CFR: 41.5 / 43.5 / 45.3 / 45.13): Malfunction of battery chargers | 3.6 | A2 | 400063
90 | (400006) 006 (SF2; SF3 ECCS) EMERGENCY CORE COOLING SYSTEM (G2.4.47) EMERGENCY PROCEDURES/PLAN: Ability to diagnose and recognize trends in an accurate and timely manner using the appropriate control room reference material (reference potential) (CFR: 41.10 / 43.5 / 45.12) | 4.2 | G | 400006
91 | (041A2.03) Ability to (a) predict the impacts of the following on the (SF4S SDS) STEAM DUMP/TURBINE BYPASS CONTROL SYSTEM and (b) based on those predictions, use procedures to correct, control, or mitigate the consequences of those abnormal operations (CFR: 41.5 / 43.5 / 45.3 / 45.13): Loss of IAS | 3.3 | A2 | 400041
92 | (400011) 011 (SF2 PZR LCS) PRESSURIZER LEVEL CONTROL SYSTEM (G2.4.52) EMERGENCY PROCEDURES/PLAN: Knowledge of the lines of authority during implementation of the emergency plan, emergency plan implementing procedures, emergency operating procedures, or severe accident guidelines (CFR: 41.10 / 45.13) | 4 | G | 400011
93 | (075A2.08) Ability to (a) predict the impacts of the following on the (SF8 CW) CIRCULATING WATER SYSTEM and (b) based on those predictions, use procedures to correct, control, or mitigate the consequences of those abnormal operations (CFR: 41.5 / 43.5 / 45.3 / 45.13): Ice buildup on intake structure | 3.1 | A2 | 400075
94 | (G2.1.3) CONDUCT OF OPERATIONS: Knowledge of shift or short-term relief turnover practices (CFR: 41.10 / 45.13) | 3.9 | G2.1 | G2.1
95 | (G2.1.40) CONDUCT OF OPERATIONS: Knowledge of refueling administrative requirements (CFR: 41.10 / 43.5 / 43.6 / 45.13) | 3.9 | G2.1 | G2.1
96 | (G2.2.25) EQUIPMENT CONTROL: Knowledge of the bases in TS for limiting conditions for operation and safety limits (SRO Only) (CFR: 43.2) | 4.2 | G2.2 | G2.2
97 | (G2.2.5) EQUIPMENT CONTROL: Knowledge of the process for making design or operating changes to the facility, such as 10 CFR 50.59, “Changes, Tests and Experiments,” screening and evaluation processes, administrative processes for temporary modifications, disabling annunciators, or installation of temporary equipment (CFR: 41.10 /43.3 / 45.13) | 3.2 | G2.2 | G2.2
98 | (G2.3.11) RADIATION CONTROL: Ability to control radiation releases (CFR: 41.11 / 43.4 / 45.10) | 4.3 | G2.3 | G2.3
99 | (G2.4.32) EMERGENCY PROCEDURES/PLAN: Knowledge of operator response to loss of annunciators (CFR: 41.10 / 43.5 / 45.13) | 4 | G2.4 | G2.4
100 | (G2.4.46) EMERGENCY PROCEDURES/PLAN: Ability to verify that the alarms are consistent with the plant conditions (CFR: 41.10 / 43.5 / 45.3 / 45.12) | 4.2 | G2.4 | G2.4