## Sheet1
Question Number | Topic Title | Topic Importance | K/A Category | System
1 | (026AK1.07) Knowledge of the operational implications and/or cause and effect relationships of the following concepts as they apply to (APE 26) LOSS OF Component Cooling Water (CFR: 41.5 / 41.7 / 45.7 / 45.8): The effect on CCW header flow | 3.3 | K1 | 395008
2 | (395007) 000025 (APE 25) Loss of Residual Heat Removal System (G2.2.12) EQUIPMENT CONTROL: Knowledge of surveillance procedures (CFR: 41.10 / 43.2 / 45.13) | 3.7 | G | 395007
3 | (CE06EK2.08) Knowledge of the relationship between (CE E06) LOSS OF FEEDWATER and the following systems or components (CFR: 41.7 / 41.8 / 45.4 / 45.7 / 45.8): MFW and AFW systems | 4.1 | K2 | 395013
4 | (027AA1.06) Ability to operate and/or monitor the following as they apply to (APE 27) PRESSURIZER PRESSURE Control System Malfunction (CFR: 41.7 / 45.5 / 45.6): Operable control channel | 3.6 | A1 | 395009
5 | (062AK3.02) Knowledge of the reasons for the following responses and/or actions as they apply to (APE 62) LOSS OF SERVICE WATER (CFR: 41.4 / 41.8 / 45.7): The automatic actions (alignments) within the service water resulting from the actuation of the ESFAS | 3.9 | K3 | 395018
6 | (008AA2.31) Ability to determine and/or interpret the following as they apply to (APE 8) PRESSURIZER VAPOR Space Accident (CFR: 43.5 / 45.13): Reseating of code safety and PORV | 3.5 | A2 | 395002
7 | (055EK1.04) Knowledge of the operational implications and/or cause and effect relationships of the following concepts as they apply to (EPE 55) Station Blackout (CFR: 41.8 / 41.10 / 45.3): ESFAS actuation and subsequent restoration after power is restored | 4 | K1 | 395014
8 | (395015) 000056 (APE 56) Loss of Offsite Power (G2.4.50) EMERGENCY PROCEDURES/PLAN: Ability to verify system alarm setpoints and operate controls identified in the alarm response procedure (CFR: 41.10 / 43.5 / 45.3) | 4.2 | G | 395015
9 | (WE11EK2.12) Knowledge of the relationship between (W E11) LOSS OF EMERGENCY Coolant Recirculation and the following systems or components (CFR: 41.7 / 41.8 / 45.2 / 45.4): CSS | 3.7 | K2 | 395022
10 | (057AA1.04) Ability to operate and/or monitor the following as they apply to (APE 57) LOSS OF VITAL AC ELECTRICALINSTRUMENT BUS (CFR: 41.7 / 45.5 / 45.6): RWST and VCT valves | 3.8 | A1 | 395016
11 | (BE05EK3.15) Knowledge of the reasons for the following responses and/or actions as they apply to (BW E05) Excessive Heat Transfer (CFR: 41.5 / 41.10 / 45.6 / 45.13): Check for proper ICS response | 3.3 | K3 | 395012
12 | (038EA2.19) Ability to determine and/or interpret the following as they apply to (EPE 38) STEAM GENERATOR Tube Rupture (CFR: 43.5 / 45.13): S/G level | 3.2 | A2 | 395011
13 | (009EK1.01) Knowledge of the operational implications and/or cause and effect relationships of the following concepts as they apply to (EPE 9) SMALL-Break LOCA (CFR: 41.8 / 41.10 / 45.3): Natural circulation and cooling, including reflux boiling | 3.8 | K1 | 395003
14 | (395001) 000007 (EPE 7; BW E02 & E10; CE E02) Reactor Trip, Stabilization, Recovery (G2.1.30) CONDUCT OF OPERATIONS: Ability to locate and operate components, including local controls (CFR: 41.7 / 45.7) | 4.4 | G | 395001
15 | (029EK2.11) Knowledge of the relationship between (EPE 29) ANTICIPATED TRANSIENT WITHOUT SCRAM (ATWS) and the following systems or components (CFR: 41.7 / 45.7): MT/G | 3.5 | K2 | 395010
16 | (022AA1.04) Ability to operate and/or monitor the following as they apply to (APE 22) LOSS OF REACTOR Coolant Makeup (CFR: 41.7 / 45.5 / 45.6): Speed demand controller and running indicators (positive displacement pump) | 3.5 | A1 | 395006
17 | (011EK3.13) Knowledge of the reasons for the following responses and/or actions as they apply to (EPE 11) LARGE-Break LOCA (CFR: 41.5 / 41.10 / 45.6 / 45.13): Hot-leg injection/recirculation | 3.9 | K3 | 395004
18 | (015AA2.10) Ability to determine and/or interpret the following as they apply to (APE 15) REACTOR COOLANT Pump Malfunctions (CFR: 43.5 / 45.13): Loss of cooling or seal injection | 3.4 | A2 | 395005
19 | (061AK1.02) Knowledge of the operational implications and/or cause and effect relationships of the following concepts as they apply to (APE 61) AREA RADIATION MONITORING (ARM) System Alarms (CFR: 41.8 / 41.10 / 45.3): Adverse containment conditions | 3.6 | K1 | 395036
20 | (395040) 000074 (EPE 74; W E06 & E07) Inadequate Core Cooling (G2.2.22) EQUIPMENT CONTROL: Knowledge of limiting conditions for operation and safety limits (CFR: 41.5 / 43.2 / 45.2) | 4 | G | 395040
21 | (036AK2.09) Knowledge of the relationship between (APE 36) FUEL HANDLING INCIDENTS and the following systems or components (CFR: 41.7 / 45.7): Spent fuel pool makeup | 3.5 | K2 | 395031
22 | (WE10EA1.04) Ability to operate and/or monitor the following as they apply to (W E10) NATURAL CIRCULATION WITH STEAM VOID IN VESSEL WITH/WITHOUT THE RVLIS (CFR: 41.5 to 41.8 / 45.5 to 45.8): ESFAS | 3.8 | A1 | 395054
23 | (051AK3.04) Knowledge of the reasons for the following responses and/or actions as they apply to (APE 51) LOSS OF Condenser Vacuum (CFR: 41.5 / 41.10 / 45.6 / 45.13): Major actions contained in AOPs for loss of condenser vacuum | 3.7 | K3 | 395033
24 | (WE16EA2.05) Ability to determine and/or interpret the following as they apply to (W E16) HIGH Containment Radiation (CFR: 41.10 / 43.5 / 45.13): Containment atmosphere filtration system status | 2.7 | A2 | 395046
25 | (078AK1.03) Knowledge of the operational implications and/or cause and effect relationships of the following concepts as they apply to (APE 78) REACTOR COOLANT SYSTEM LEAK (CFR: 41.8 / 41.10 / 45.3): CCW system leaks | 3.4 | K1 | 395042
26 | (395026) 000005 (APE 5) Inoperable/Stuck Control Rod (G2.1.41) CONDUCT OF OPERATIONS: Knowledge of the refueling process (CFR: 41.2 / 41.10 / 43.6 / 45.13) | 2.8 | G | 395026
27 | (013A2.03) Ability to (a) predict the impacts of the following on the (SF2 ESFAS) ENGINEERED SAFETY FEATURES ACTUATION SYSTEM and (b) based on those predictions, use procedures to correct, control, or mitigate the consequences of those abnormal operations (CFR: 41.5 / 41.7 / 41.10 / 43.5 / 45.3 / 45.13): Rapid depressurization | 3.6 | A2 | 400013
28 | (003K1.03) Knowledge of the physical connections and/or cause and effect relationships between the (SF4P RCP) REACTOR COOLANT PUMP SYSTEM and the following systems (CFR: 41.2 to 41.9 / 45.7 / 45.8): RCP seal system | 4.3 | K1 | 400003
29 | (008K5.04) Knowledge of the operational implications or cause and effect relationships of the following concepts as they apply to the (SF8 CCW) COMPONENT COOLING WATER SYSTEM (CFR: 41.5 / 45.7): Gas accumulation | 2.5 | K5 | 400008
30 | (012K3.02) Knowledge of the effect that a loss or malfunction of the (SF7 RPS) REACTOR PROTECTION SYSTEM will have on the following systems or system parameters (CFR: 41.7 / 45.6): MT/G | 3.6 | K3 | 400012
31 | (078A1.01) Ability to predict and/or monitor changes in parameters associated with operation of the (SF8 IAS) INSTRUMENT AIR SYSTEM, including (CFR: 41.5 / 45.5): Instrument air pressure | 3.5 | A1 | 400078
32 | (022A4.04) Ability to manually operate and/or monitor the (SF5 CCS) CONTAINMENT COOLING SYSTEM in the control room (CFR: 41.7 / 45.5 to 45.8): Valves in the CCS | 3.5 | A4 | 400022
33 | (073K4.02) Knowledge of (SF7 PRM) PROCESS RADIATION MONITORING SYSTEM design features and/or interlocks that provide for the following (CFR: 41.7): System actuations based on PRM signals | 3.7 | K4 | 400073
34 | (400005) 005 (SF4P RHR) RESIDUAL HEAT REMOVAL SYSTEM (G2.1.38) CONDUCT OF OPERATIONS: Knowledge of the station’s requirements for verbal communications when implementing procedures (CFR: 41.10 / 45.13) | 3.7 | G | 400005
35 | (004A3.09) Ability to monitor automatic features of the (SF1; SF2 CVCS) CHEMICAL AND VOLUME CONTROL SYSTEM, including (CFR: 41.7 / 45.5): VCT level | 3.7 | A3 | 400004
36 | (076K2.08) Knowledge of electrical power supplies to the following: (SF4S SW) SERVICE WATER SYSTEM (CFR: 41.7) ESF-actuated motor-operated valves | 3.5 | K2 | 400076
37 | (103K6.08) Knowledge of the effect of the following plant conditions, system malfunctions, or component malfunctions on the (SF5 CNT) CONTAINMENT SYSTEM (CFR: 41.7 / 45.7): Containment vacuum system | 3.4 | K6 | 400103
38 | (064A2.26) Ability to (a) predict the impacts of the following on the (SF6 EDG) EMERGENCY DIESEL GENERATOR SYSTEM and (b) based on those predictions, use procedures to correct, control, or mitigate the consequences of those abnormal operations (CFR: 41.5 / 43.5 / 45.3 / 45.13): Loss of AC power | 3.8 | A2 | 400064
39 | (063K1.01) Knowledge of the physical connections and/or cause and effect relationships between the (SF6 ED DC) DC ELECTRICAL DISTRIBUTION SYSTEM and the following systems (CFR: 41.3 to 41.8 / 45.7 / 45.8): Ground detection system | 2.6 | K1 | 400063
40 | (039K5.12) Knowledge of the operational implications or cause and effect relationships of the following concepts as they apply to the (SF4S MSS) MAIN AND REHEAT STEAM SYSTEM (CFR: 41.5 / 45.7): Primary system temperature indications and required values during main steam system warmup | 3.3 | K5 | 400039
41 | (026K3.01) Knowledge of the effect that a loss or malfunction of the (SF5 CSS) CONTAINMENT SPRAY SYSTEM will have on the following systems or system parameters (CFR: 41.7 / 45.6): CCS | 3.8 | K3 | 400026
42 | (059A1.15) Ability to predict and/or monitor changes in parameters associated with operation of the (SF4S MFW) MAIN FEEDWATER SYSTEM, including (CFR: 41.5 / 45.5): MFW pump lube oil system | 2.9 | A1 | 400059
43 | (007A4.03) Ability to manually operate and/or monitor the (SF5 PRTS) PRESSURIZER RELIEF/QUENCH TANK SYSTEM in the control room (CFR: 41.5 / 41.7 / 45.5 / 45.7 / 45.8): Nitrogen block valve | 2.6 | A4 | 400007
44 | (062K4.01) Knowledge of (SF6 ED AC) AC ELECTRICAL DISTRIBUTION SYSTEM design features and/or interlocks that provide for the following (CFR: 41.7): Bus lockouts | 3.6 | K4 | 400062
45 | (400061) 061 (SF4S AFW) AUXILIARY / EMERGENCY FEEDWATER SYSTEM (191008K1.10) BREAKERS, RELAYS, AND DISCONNECTS (CFR: 41.7): Function, control, and precautions associated with disconnects | 3.1 | C | 400061
46 | (010A3.04) Ability to monitor automatic features of the (SF3 PZR PCS) PRESSURIZER PRESSURE CONTROL SYSTEM, including (CFR: 41.7 / 45.5): PZR normal spray valve operation | 3.6 | A3 | 400010
47 | (006K2.01) Knowledge of electrical power supplies to the following: (SF2; SF3 ECCS) EMERGENCY CORE COOLING SYSTEM (CFR: 41.7) ECCS pumps | 4.1 | K2 | 400006
48 | (013K6.13) Knowledge of the effect of the following plant conditions, system malfunctions, or component malfunctions on the (SF2 ESFAS) ENGINEERED SAFETY FEATURES ACTUATION SYSTEM (CFR: 41.6 to 41.8 / 45.5 to 45.8): ESF bistable(s)/relays | 3.5 | K6 | 400013
49 | (003A2.04) Ability to (a) predict the impacts of the following on the (SF4P RCP) REACTOR COOLANT PUMP SYSTEM and (b) based on those predictions, use procedures to correct, control, or mitigate the consequences of those abnormal operations (CFR: 41.5 / 43.5 / 45.3 / 45.13): Effects of fluctuation of VCT pressure on RCP seal injection flow | 3.1 | A2 | 400003
50 | (008K1.08) Knowledge of the physical connections and/or cause and effect relationships between the (SF8 CCW) COMPONENT COOLING WATER SYSTEM and the following systems (CFR: 41.2 (BW) / 41.3 to 41.9 / 45.7 to 45.9): RHRS | 4.3 | K1 | 400008
51 | (012K5.01) Knowledge of the operational implications or cause and effect relationships of the following concepts as they apply to the (SF7 RPS) REACTOR PROTECTION SYSTEM (CFR: 41.5 / 45.7): Departure from nucleate boiling | 3.9 | K5 | 400012
52 | (078K3.06) Knowledge of the effect that a loss or malfunction of the (SF8 IAS) INSTRUMENT AIR SYSTEM will have on the following systems or system parameters (CFR: 41.7 / 45.6): CCWS | 3.2 | K3 | 400078
53 | (022A1.02) Ability to predict and/or monitor changes in parameters associated with operation of the (SF5 CCS) CONTAINMENT COOLING SYSTEM, including (CFR: 41.5 / 45.5): Containment pressure | 3.9 | A1 | 400022
54 | (073A4.02) Ability to manually operate and/or monitor the (SF7 PRM) PROCESS RADIATION MONITORING SYSTEM in the control room (CFR: 41.7 / 45.8 / 45.9): RMS control panel | 3.6 | A4 | 400073
55 | (017A2.02) Ability to (a) predict the impacts of the following on the (SF7 ITM) IN CORE TEMPERATURE MONITOR SYSTEM and (b) based on those predictions, use procedures to correct, control, or mitigate the consequences of those abnormal operations (CFR: 41.5 / 43.5 / 45.3 / 45.5): Elevated in-core temperatures that can cause or have caused core damage | 4.1 | A2 | 400017
56 | (072K1.01) Knowledge of the physical connections and/or cause and effect relationships between the (SF7 ARM) AREA RADIATION MONITORING SYSTEM and the following systems (CFR: 41.7 to 41.9 / 45.8 / 9 / 11): PVS | 3.3 | K1 | 400072
57 | (086K5.06) Knowledge of the operational implications or cause and effect relationships of the following concepts as they apply to the (SF8 FPS) FIRE PROTECTION SYSTEM (CFR: 41.5 / 45.7): Types of fire, extinguishing agents, and extinguishing mechanism | 3.1 | K5 | 400086
58 | (002K3.01) Knowledge of the effect that a loss or malfunction of the (SF2; SF4P RCS) REACTOR COOLANT SYSTEM will have on the following systems or system parameters (CFR: 41.7): LRS | 2.8 | K3 | 400002
59 | (016A1.01) Ability to predict and/or monitor changes in parameters associated with operation of the (SF7 NNI) NONNUCLEAR INSTRUMENTATION SYSTEM, including (CFR: 41.5 / 45.5): Lights and alarms | 3.2 | A1 | 400016
60 | (014A4.05) Ability to manually operate and/or monitor the (SF1 RPI) ROD POSITION INDICATION SYSTEM in the control room (CFR: 41.6 / 41.7 / 45.5 to 45.8): RPI accuracy mode selection (W) | 3.1 | A4 | 400014
61 | (075K4.06) Knowledge of (SF8 CW) CIRCULATING WATER SYSTEM design features and/or interlocks that provide for the following (CFR: 41.4 / 41.7 / 45.8): Traveling screen operation | 2.8 | K4 | 400075
62 | (400071) 071 (SF9 WGS) WASTE GAS DISPOSAL SYSTEM (G2.2.20) EQUIPMENT CONTROL: Knowledge of the process for managing troubleshooting activities (CFR: 41.10 / 43.5 / 45.13) | 2.6 | G | 400071
63 | (050A3.02) Ability to monitor automatic features of the (SF9 CRV) CONTROL ROOM VENTILATION, including (CFR: 41.7 / 45.7): Initiation/failure of FPS | 3 | A3 | 400050
64 | (G2.1.43) CONDUCT OF OPERATIONS: Ability to use an online power distribution monitoring system and/or procedures to determine the effects on reactivity of plant changes, such as RCS temperature, secondary plant, or fuel depletion | 4.1 | G2.1 | G2.1
65 | (G2.1.17) CONDUCT OF OPERATIONS: Ability to make accurate, clear, and concise verbal reports (CFR: 41.10 / 45.12 / 45.13) | 3.9 | G2.1 | G2.1
66 | (G2.2.15) EQUIPMENT CONTROL: Ability to determine the expected plant configuration using design and configuration control documentation, such as drawings, lineups, or tagouts (reference potential) (CFR: 41.10 / 43.3 / 45.13) | 3.9 | G2.2 | G2.2
67 | (G2.2.3) EQUIPMENT CONTROL: (Multi-unit license) Knowledge of the design, procedural, and/or operational differences between units (CFR: 41.5 / 41.6 / 41.7 / 41.10 / 45.12) | 3.8 | G2.2 | G2.2
68 | (G2.3.11) RADIATION CONTROL: Ability to control radiation releases (CFR: 41.11 / 43.4 / 45.10) | 3.8 | G2.3 | G2.3
69 | (G2.4.30) EMERGENCY PROCEDURES/PLAN: Knowledge of events related to system operation/status that must be reported to internal organizations or external agencies, such as the State, the NRC, or the transmission system operator (CFR: 41.10 / 43.5 / 45.11) | 2.7 | G2.4 | G2.4
70 | (192006K1.06) FISSION PRODUCT POISONS (CFR: 41.1): Describe the following processes and state their effect on reactor operations: -- transient xenon | 3.4 | R | 192006
71 | (192007K1.04) FUEL DEPLETION AND BURNABLE POISONS (CFR: 41.1): Describe how and why boron concentration changes over core life | 3.4 | R | 192007
72 | (192005K1.06) CONTROL RODS (CFR: 41.1): Explain the shape of curves for differential and integral rod worth versus rod position | 2.9 | R | 192005
73 | (193007K1.01) HEAT TRANSFER (CFR: 41.14): (HEAT TRANSFER) Describe three mechanisms of heat transfer | 2.5 | T | 193007
74 | (193005K1.03) THERMODYNAMIC CYCLES (CFR: 41.14): Describe how changes in system parameters affect thermodynamic efficiency | 2.6 | T | 193005
75 | (193003K1.25) STEAM (CFR: 41.14): Explain and use saturated and superheated steam tables | 3.4 | T | 193003
76 | (BE04EA2.08) Ability to determine and/or interpret the following as they apply to (BW E04) INADEQUATE HEAT TRANSFER (CFR: 41.10 / 43.5 / 45.13): Reactor building pressure | 4 | A2 | 395023
77 | (395021) (W E04) LOCA Outside Containment (G2.2.6) EQUIPMENT CONTROL: Knowledge of the process for making changes to procedures (CFR: 41.10 / 43.3 / 45.13) | 3.6 | G | 395021
78 | (058AA2.03) Ability to determine and/or interpret the following as they apply to (APE 58) LOSS OF DC Power (CFR: 43.5 / 45.13): Impact on ability to operate and monitor plant systems | 4 | A2 | 395017
79 | (395020) 000077 (APE 77) Generator Voltage and Electric Grid Disturbances (G2.4.37) EMERGENCY PROCEDURES/PLAN: Knowledge of the lines of authority during implementation of the emergency plan implementing procedures (CFR: 41.10 / 45.13) | 4.1 | G | 395020
80 | (065AA2.04) Ability to determine and/or interpret the following as they apply to (APE 65) LOSS OF Instrument Air (CFR: 41.10 / 43.5 / 45.13): Typical conditions that could cause a compressor trip (e.g., high temperature) | 2.9 | A2 | 395019
81 | (395008) 000026 (APE 26) Loss of Component Cooling Water (G2.4.12) EMERGENCY PROCEDURES/PLAN: Knowledge of operating crew responsibilities during emergency and abnormal operations (CFR: 41.10 / 45.12) | 4.3 | G | 395008
82 | (BA06AA2.09) Ability to determine and/or interpret the following as they apply to (BW A06) SHUTDOWN OUTSIDE CONTROL ROOM (CFR: 41.10 / 43.5 / 45.13): RCS temperature | 4.2 | A2 | 395038
83 | (395025) 000003 (APE 3) Dropped Control Rod (G2.1.25) CONDUCT OF OPERATIONS: Ability to interpret reference materials, such as graphs, curves, and tables (reference potential) (CFR: 41.10 / 43.5 / 45.12) | 4.2 | G | 395025
84 | (033AA2.02) Ability to determine and/or interpret the following as they apply to (APE 33) LOSS OF INTERMEDIATE RANGE Nuclear Instrumentation (CFR: 43.5 / 45.13): Intermediate range detector failure | 3.5 | A2 | 395030
85 | (395028) 000028 (APE 28) Pressurizer (PZR) Level Control Malfunction (G2.1.45) CONDUCT OF OPERATIONS: Ability to identify and interpret diverse indications to validate the response of another indication. (CFR: 41.7 / 43.5 / 45.4) | 4.3 | G | 395028
86 | (005A2.02) Ability to (a) predict the impacts of the following on the (SF4P RHR) RESIDUAL HEAT REMOVAL SYSTEM and (b) based on those predictions, use procedures to correct, control, or mitigate the consequences of those abnormal operations (CFR: 41.5 / 43.5 / 45.3 / 45.13): Pressure transient protection during cold shutdown | 3.9 | A2 | 400005
87 | (400004) 004 (SF1; SF2 CVCS) CHEMICAL AND VOLUME CONTROL SYSTEM (G2.1.19) CONDUCT OF OPERATIONS: Ability to use available indications to evaluate system or component status (CFR: 41.10 / 45.12) | 3.8 | G | 400004
88 | (076A2.04) Ability to (a) predict the impacts of the following on the (SF4S SW) SERVICE WATER SYSTEM and (b) based on those predictions, use procedures to correct, control, or mitigate the consequences of those abnormal operations (CFR: 41.1 / 41.5 / 43.5 / 45.3 / 45.6 / 45.13): ESF-actuated motor-operated valve failure | 3.7 | A2 | 400076
89 | (400103) 103 (SF5 CNT) CONTAINMENT SYSTEM (G2.2.41) EQUIPMENT CONTROL: Ability to obtain and interpret station electrical and mechanical drawings (reference potential) (CFR: 41.10 / 45.12 / 45.13) | 3.9 | G | 400103
90 | (064A2.30) Ability to (a) predict the impacts of the following on the (SF6 EDG) EMERGENCY DIESEL GENERATOR SYSTEM and (b) based on those predictions, use procedures to correct, control, or mitigate the consequences of those abnormal operations (CFR: 41.5 / 43.5 / 45.3 / 45.13): EDG output breaker failure | 4 | A2 | 400064
91 | (400028) 028 (SF5 HRPS) HYDROGEN RECOMBINER AND PURGE CONTROL SYSTEM (G2.1.37) CONDUCT OF OPERATIONS: Knowledge of procedures, guidelines, or limitations associated with reactivity management (CFR: 41.1 / 41.5 / 41.10 / 43.6 / 45.6) | 4.6 | G | 400028
92 | (029A2.02) Ability to (a) predict the impacts of the following on the (SF8 CPS) CONTAINMENT PURGE SYSTEM and (b) based on those predictions, use procedures to correct, control, or mitigate the consequences of those abnormal operations (CFR: 41.5 / 43.5 / 45.3 / 45.8 / 45.13): Adverse environmental conditions affecting radioactive release | 3 | A2 | 400029
93 | (400055) 055 (SF4S CARS) CONDENSER AIR REMOVAL SYSTEM (G2.2.44) EQUIPMENT CONTROL: Ability to interpret control room indications to verify the status and operation of a system and understand how operator actions and directives affect plant and system conditions (CFR: 41.5 / 43.5 / 45.12) | 4.4 | G | 400055
94 | (G2.1.36) CONDUCT OF OPERATIONS: Knowledge of procedures and limitations involved in core alterations (CFR: 41.10 / 43.6 / 45.7) | 4.1 | G2.1 | G2.1
95 | (G2.1.42) CONDUCT OF OPERATIONS: Knowledge of new and spent fuel movement procedures (SRO Only) (CFR: 43.7 / 45.13) | 3.4 | G2.1 | G2.1
96 | (G2.2.14) EQUIPMENT CONTROL: Knowledge of the process for controlling equipment configuration or status (CFR: 41.10 / 43.3 / 45.13) | 4.3 | G2.2 | G2.2
97 | (G2.2.21) EQUIPMENT CONTROL: Knowledge of pre- and post-maintenance operability requirements (CFR: 41.10 / 43.2) | 4.1 | G2.2 | G2.2
98 | (G2.3.6) RADIATION CONTROL: Ability to approve liquid or gaseous release permits (CFR: 41.13 / 43.4 / 45.10) | 3.8 | G2.3 | G2.3
99 | (G2.4.14) EMERGENCY PROCEDURES/PLAN: Knowledge of general guidelines for emergency and abnormal operating procedures usage (CFR: 41.10 / 43.1 / 45.13) | 4.5 | G2.4 | G2.4
100 | (G2.4.31) EMERGENCY PROCEDURES/PLAN: Knowledge of annunciator alarms, indications, or response procedures (CFR: 41.10 / 45.3) | 4.1 | G2.4 | G2.4