## Sheet1
Question Number | Topic Title | Topic Importance | K/A Category | System
1 | (395017) 000058 (APE 58) Loss of DC Power (G2.4.31) EMERGENCY PROCEDURES/PLAN: Knowledge of annunciator alarms, indications, or response procedures (CFR: 41.10 / 45.3) | 4.2 | G | 395017
2 | (077AA1.07) Ability to operate and/or monitor the following as they apply to (APE 77) GENERATOR VOLTAGE AND ELECTRIC Grid Disturbances (CFR: 41.5 / 41.10 / 45.5 / 45.7 / 45.8): EDG | 4 | A1 | 395020
3 | (WE04EK3.06) Knowledge of the reasons for the following responses and/or actions as they apply to (W E04) LOCA Outside Containment (CFR: 41.5 / 41.10 / 45.6 / 45.13): Identifying and isolating the break | 4.3 | K3 | 395021
4 | (CE02EA2.04) Ability to determine and/or interpret the following as they apply to (CE E02) STANDARD POST‑TRIP ACTIONS AND REACTOR TRIP RECOVERY (CFR: 43.5 / 45.13): Negative startup rate | 4 | A2 | 395001
5 | (062AK2.04) Knowledge of the relationship between (APE 62) LOSS OF SERVICE WATER and the following systems or components (CFR: 41.7 / 45.7): Chilled water systems | 3 | K2 | 395018
6 | (009EK1.01) Knowledge of the operational implications and/or cause and effect relationships of the following concepts as they apply to (EPE 9) SMALL-Break LOCA (CFR: 41.8 / 41.10 / 45.3): Natural circulation and cooling, including reflux boiling | 3.8 | K1 | 395003
7 | (395015) 000056 (APE 56) Loss of Offsite Power (G2.1.20) CONDUCT OF OPERATIONS: Ability to interpret and execute procedure steps (CFR: 41.10 / 43.5 / 45.12) | 4.6 | G | 395015
8 | (026AA1.02) Ability to operate and/or monitor the following as they apply to (APE 26) LOSS OF Component Cooling Water (CFR: 41.5 / 41.7 / 45.5 to 45.8): Loads on the CCWS in the control room | 3.5 | A1 | 395008
9 | (054AK3.04) Knowledge of the reasons for the following responses and/or actions as they apply to (APE 54) LOSS OF Main Feedwater (CFR: 41.5 / 41.10 / 45.6 / 45.13): Actions contained in EOPs for loss of MFW | 3.9 | K3 | 395013
10 | (065AA2.07) Ability to determine and/or interpret the following as they apply to (APE 65) LOSS OF Instrument Air (CFR: 41.10 / 43.5 / 45.13): Determination of whether backup nitrogen supply is controlling the valve position | 3.3 | A2 | 395019
11 | (057AK2.07) Knowledge of the relationship between (APE 57) LOSS OF VITAL AC ELECTRICALINSTRUMENT BUS and the following systems or components (CFR: 41.7 / 45.7): Secondary system instrumentation | 3.3 | K2 | 395016
12 | (038EK1.02) Knowledge of the operational implications and/or cause and effect relationships of the following concepts as they apply to (EPE 38) STEAM GENERATOR Tube Rupture (CFR: 41.5 / 41.7 / 45.7 to 45.9): Leak rate versus pressure drop | 3.7 | K1 | 395011
13 | (395012) 000040 (APE 40; BW E05; CE E05; W E12) Steam Line Rupture – Excessive Heat Transfer (G2.1.41) CONDUCT OF OPERATIONS: Knowledge of the refueling process (CFR: 41.2 / 41.10 / 43.6 / 45.13) | 2.8 | G | 395012
14 | (008AA1.05) Ability to operate and/or monitor the following as they apply to (APE 8) PRESSURIZER VAPOR Space Accident (CFR: 41.7 / 45.5 / 45.6): ECCS | 4 | A1 | 395002
15 | (011EK3.09) Knowledge of the reasons for the following responses and/or actions as they apply to (EPE 11) LARGE-Break LOCA (CFR: 41.5 / 41.10 / 45.6 / 45.13): Maintaining EDGs available to provide standby power | 3.9 | K3 | 395004
16 | (055EA2.08) Ability to determine and/or interpret the following as they apply to (EPE 55) Station Blackout (CFR: 43.5 / 45.13): In-core thermocouple temperatures | 3.6 | A2 | 395014
17 | (WE05EK2.16) Knowledge of the relationship between (W E05) Loss of Secondary Heat Sink and the following systems or components (CFR: 41.7 / 41.8 / 45.2 / 45.4): CNT | 3.1 | K2 | 395023
18 | (WE11EK1.05) Knowledge of the operational implications and/or cause and effect relationships of the following concepts as they apply to (W E11) LOSS OF EMERGENCY Coolant Recirculation (CFR: 41.5 / 41.7 / 45.7 / 45.8): Blocking low steamline pressure SI when PZR pressure lowers less than P-11 setpoint during cooldown | 3.4 | K1 | 395022
19 | (395028) 000028 (APE 28) Pressurizer (PZR) Level Control Malfunction (G2.1.43) CONDUCT OF OPERATIONS: Ability to use an online power distribution monitoring system and/or procedures to determine the effects on reactivity of plant changes, such as RCS temperature, secondary plant, or fuel depletion | 4.1 | G | 395028
20 | (061AA1.08) Ability to operate and/or monitor the following as they apply to (APE 61) AREA RADIATION MONITORING (ARM) System Alarms (CFR: 41.7 / 45.5 / 45.6): Refueling pool | 3.4 | A1 | 395036
21 | (WE02EK3.06) Knowledge of the reasons for the following responses and/or actions as they apply to (W E02) SI TERMINATION (CFR: 41.5 / 41.10 / 45.6 / 45.13): Resetting SI and/or containment isolation signal(s) | 3.9 | K3 | 395043
22 | (067AA2.14) Ability to determine and/or interpret the following as they apply to (APE 67) PLANT Fire On Site (CFR: 41.10 / 43.5 / 45.13): Equipment that will be affected by fire suppression activities in each zone | 3.2 | A2 | 395037
23 | (WE16EK2.04) Knowledge of the relationship between (W E16) HIGH Containment Radiation and the following systems or components (CFR: 41.7 / 41.8 / 45.2 / 45.4): Containment atmosphere filtration system | 3.2 | K2 | 395046
24 | (WE08EK1.04) Knowledge of the operational implications and/or cause and effect relationships of the following concepts as they apply to (W E08) Pressurized Thermal Shock (CFR: 41.5 / 41.7 / 45.7 / 45.8): Maintaining steam supply to turbine-driven AFW pump if it is the only available source of feed flow | 3.9 | K1 | 395056
25 | (395032) 000037 (APE 37) Steam Generator Tube Leak (G2.2.14) EQUIPMENT CONTROL: Knowledge of the process for controlling equipment configuration or status (CFR: 41.10 / 43.3 / 45.13) | 3.9 | G | 395032
26 | (069AA1.04) Ability to operate and/or monitor the following as they apply to (APE 69) LOSS OF Containment Integrity (CFR: 41.7 / 45.5 / 45.6): CNT | 3.7 | A1 | 395039
27 | (022A4.01) Ability to manually operate and/or monitor the (SF5 CCS) CONTAINMENT COOLING SYSTEM in the control room (CFR: 41.7 / 45.5 to 45.8): CCS fans | 3.7 | A4 | 400022
28 | (400007) 007 (SF5 PRTS) PRESSURIZER RELIEF/QUENCH TANK SYSTEM (G2.1.28) CONDUCT OF OPERATIONS: Knowledge of the purpose and function of major system components and controls (CFR: 41.7) | 4.1 | G | 400007
29 | (008K2.01) Knowledge of electrical power supplies to the following (CFR: 41.7): (SF8 CCW) COMPONENT COOLING WATER SYSTEM CCW valves | 3 | K2 | 400008
30 | (012A2.01) Ability to (a) predict the impacts of the following on the (SF7 RPS) REACTOR PROTECTION SYSTEM and (b) based on those predictions, use procedures to correct, control, or mitigate the consequences of those abnormal operations (CFR: 41.5 / 43.5 / 45.3 / 45.5): Faulty bistable operation | 3.8 | A2 | 400012
31 | (039A1.07) Ability to predict and/or monitor changes in parameters associated with operation of the (SF4S MSS) MAIN AND REHEAT STEAM SYSTEM, including (CFR: 41.5 / 45.5): Main steam temperature | 3 | A1 | 400039
32 | (076K1.20) Knowledge of the physical connections and/or cause and effect relationships between the (SF4S SW) SERVICE WATER SYSTEM and the following systems (CFR: 41.4 to 41.8 / 45.7 / 45.8): AFW system | 3.5 | K1 | 400076
33 | (078A3.04) Ability to monitor automatic features of the (SF8 IAS) INSTRUMENT AIR SYSTEM, including (CFR: 41.7 / 45.5): Isolation of instrument air from service air | 3.1 | A3 | 400078
34 | (003K5.05) Knowledge of the operational implications or cause and effect relationships of the following concepts as they apply to the (SF4P RCP) REACTOR COOLANT PUMP SYSTEM (CFR: 41.5 / 45.7): The dependency of RCS flow rates upon the number of operating RCPs | 3.2 | K5 | 400003
35 | (061K6.10) Knowledge of the effect of the following plant conditions, system malfunctions, or component malfunctions on the (SF4S AFW) AUXILIARY/EMERGENCY FEEDWATER SYSTEM (CFR: 41.7 / 45.5 to 45.8): ESFAS | 4 | K6 | 400061
36 | (006K4.05) Knowledge of (SF2; SF3 ECCS) EMERGENCY CORE COOLING SYSTEM design features and/or interlocks that provide for the following (CFR: 41.7 / 41.8): Autostart of ECCS pumps | 4.2 | K4 | 400006
37 | (063K3.02) Knowledge of the effect that a loss or malfunction of the (SF6 ED DC) DC ELECTRICAL DISTRIBUTION SYSTEM will have on the following systems or system parameters (CFR: 41.7 / 45.6): Systems using DC control power | 4 | K3 | 400063
38 | (064A4.03) Ability to manually operate and/or monitor the (SF6 EDG) EMERGENCY DIESEL GENERATOR SYSTEM in the control room (CFR: 41.7 / 45.5 to 45.8): Synchroscope | 3.8 | A4 | 400064
39 | (400026) 026 (SF5 CSS) CONTAINMENT SPRAY SYSTEM (191008K1.03) BREAKERS, RELAYS, AND DISCONNECTS (CFR: 41.7): Meaning and/or loss of power supply circuit breaker indicator lights and capability to remotely open and close | 3.1 | C | 400026
40 | (010K2.01) Knowledge of electrical power supplies to the following: (SF3 PZR PCS) PRESSURIZER PRESSURE CONTROL SYSTEM (CFR: 41.7) PZR heaters | 3.4 | K2 | 400010
41 | (005A2.05) Ability to (a) predict the impacts of the following on the (SF4P RHR) RESIDUAL HEAT REMOVAL SYSTEM and (b) based on those predictions, use procedures to correct, control, or mitigate the consequences of those abnormal operations (CFR: 41.5 / 43.5 / 45.3 / 45.13): RHR heat exchanger malfunction | 3.6 | A2 | 400005
42 | (004A1.08) Ability to predict and/or monitor changes in parameters associated with operation of the (SF1; SF2 CVCS) CHEMICAL AND VOLUME CONTROL SYSTEM, including (CFR: 41.5 to 41.7 / 45.5): Normal operating band for letdown flow rate | 3.3 | A1 | 400004
43 | (059K1.11) Knowledge of the physical connections and/or cause and effect relationships between the (SF4S MFW) MAIN FEEDWATER SYSTEM and the following systems (CFR: 41.2 to 41.9 / 45.7 / 45.8): Main steam system | 3.5 | K1 | 400059
44 | (103A3.01) Ability to monitor automatic features of the (SF5 CNT) CONTAINMENT SYSTEM, including (CFR: 41.7 / 45.5): Containment isolation | 4.2 | A3 | 400103
45 | (073K1.09) Knowledge of the physical connections and/or cause and effect relationships between the (SF7 PRM) PROCESS RADIATION MONITORING SYSTEM and the following systems (CFR: 41.7 to 41.9 / 41.11 / 45.8 / 45.9): PVS | 3.1 | K5 | 400073
46 | (062K6.06) Knowledge of the effect of the following plant conditions, system malfunctions, or component malfunctions on the (SF6 ED AC) AC ELECTRICAL DISTRIBUTION SYSTEM (CFR: 41.7 / 45.7): Class 1E DC distribution system | 4.1 | K6 | 400062
47 | (013K4.06) Knowledge of (SF2 ESFAS) ENGINEERED SAFETY FEATURES ACTUATION SYSTEM design features and/or interlocks that provide for the following (CFR: 41.2 / 41.6 / 41.7): Recirculation actuation/reset | 4.1 | K4 | 400013
48 | (022K3.04) Knowledge of the effect that a loss or malfunction of the (SF5 CCS) CONTAINMENT COOLING SYSTEM will have on the following systems or system parameters (CFR: 41.7 / 45.6): CNT | 3.9 | K3 | 400022
49 | (007A4.01) Ability to manually operate and/or monitor the (SF5 PRTS) PRESSURIZER RELIEF/QUENCH TANK SYSTEM in the control room (CFR: 41.5 / 41.7 / 45.5 / 45.7 / 45.8): PRT/quench tank makeup valve | 2.8 | A4 | 400007
50 | (400008) 008 (SF8 CCW) COMPONENT COOLING WATER SYSTEM (G2.4.39) EMERGENCY PROCEDURES/PLAN: Knowledge of RO responsibilities in emergency plan implementing procedures (CFR: 41.10 / 45.11) | 3.9 | G | 400008
51 | (012K2.01) Knowledge of electrical power supplies to the following (CFR: 41.7): (SF7 RPS) REACTOR PROTECTION SYSTEM RPS channels, components, and interconnections | 4 | K2 | 400012
52 | (039A2.05) Ability to (a) predict the impacts of the following on the (SF4S MSS) MAIN AND REHEAT STEAM SYSTEM and (b) based on those predictions, use procedures to correct, control, or mitigate the consequences of those abnormal operations (CFR: 41.5 / 43.5 / 45.3 / 45.13): Increasing steam demand and its relationship to increases in reactor power | 4.5 | A2 | 400039
53 | (076A1.04) Ability to predict and/or monitor changes in parameters associated with operation of the (SF4S SW) SERVICE WATER SYSTEM, including (CFR: 41.5 / 45.5): SWS temperatures | 3.3 | A1 | 400076
54 | (078K1.12) Knowledge of the physical connections and/or cause and effect relationships between the (SF8 IAS) INSTRUMENT AIR SYSTEM and the following systems (CFR: 41.3 to 41.8 / 45.7 / 45.8): Extraction steam system | 2.5 | K1 | 400078
55 | (015A4.02) Ability to manually operate and/or monitor the (SF7 NI) NUCLEAR INSTRUMENTATION SYSTEM in the control room (CFR: 41.7 / 45.5 to 45.8): NIS indicators | 3.6 | A4 | 400015
56 | (400017) 017 (SF7 ITM) IN CORE TEMPERATURE MONITOR SYSTEM (191002K1.20) SENSORS AND DETECTORS (CFR: 41.7): (NULCEAR INSTRUMENTATION) Effects of voltage changes on neutron detector performance | 2.9 | C | 400017
57 | (001K2.09) Knowledge of electrical power supplies to the following: (SF1 CRDS) CONTROL ROD DRIVE SYSTEM (CFR: 41.6) CRDM fans (vendor specific) | 2.8 | K2 | 400001
58 | (002A2.02) Ability to (a) predict the impacts of the following on the (SF2; SF4P RCS) REACTOR COOLANT SYSTEM and (b) based on those predictions, use procedures to correct, control, or mitigate the consequences of those abnormal operations (CFR: 41.5 / 43.5 / 45.3 / 45.5): Loss of coolant pressure | 4.3 | A2 | 400002
59 | (029A1.02) Ability to predict and/or monitor changes in parameters associated with operation of the (SF8 CPS) CONTAINMENT PURGE SYSTEM, including (CFR: 41.5 / 45.5 / 45.8): Radiation levels | 3.2 | A1 | 400029
60 | (050K1.05) Knowledge of the physical connections and/or cause and effect relationships between the (SF9 CRV) CONTROL ROOM VENTILATION and the following systems (CFR: 41.2 to 41.9 / 45.7 / 45.8): CCWS | 2.7 | K1 | 400050
61 | (011A3.04) Ability to monitor automatic features of the (SF2 PZR LCS) PRESSURIZER LEVEL CONTROL SYSTEM, including (CFR: 41.7 / 45.5): PZR heaters | 3.5 | A3 | 400011
62 | (027K5.01) Knowledge of the operational implications or cause and effect relationships of the following concepts as they apply to the (SF5 CIRS) CONTAINMENT IODINE REMOVAL SYSTEM (CFR: 41.7 / 45.7): Purpose of charcoal filters | 2.9 | K5 | 400027
63 | (071K6.12) Knowledge of the effect of the following plant conditions, system malfunctions, or component malfunctions on the (SF9 WGS) WASTE GAS DISPOSAL SYSTEM (CFR: 41.7 / 45.8 / 45.9): PVS | 2.7 | K6 | 400071
64 | (G2.1.15) CONDUCT OF OPERATIONS: Knowledge of administrative requirements for temporary management direction, such as standing orders, night orders, or operations memoranda (CFR: 41.10 / 45.12) | 2.7 | G2.1 | G2.1
65 | (G2.1.38) CONDUCT OF OPERATIONS: Knowledge of the station’s requirements for verbal communications when implementing procedures (CFR: 41.10 / 45.13) | 3.7 | G2.1 | G2.1
66 | (G2.2.23) EQUIPMENT CONTROL: Ability to track TS limiting conditions for operation (CFR: 41.10 / 43.2 / 45.13) | 3.1 | G2.2 | G2.2
67 | (G2.2.43) EQUIPMENT CONTROL: Knowledge of the process used to track inoperable alarms (CFR: 41.10 / 43.5 / 45.13) | 3 | G2.2 | G2.2
68 | (G2.3.11) RADIATION CONTROL: Ability to control radiation releases (CFR: 41.11 / 43.4 / 45.10) | 3.8 | G2.3 | G2.3
69 | (G2.4.42) EMERGENCY PROCEDURES/PLAN: Knowledge of emergency response facilities (CFR: 41.10 / 45.11) | 2.6 | G2.4 | G2.4
70 | (192006K1.14) FISSION PRODUCT POISONS (CFR: 41.1): Explain the methods and reasons for the reactor operator to compensate for the time-dependent behavior of xenon‑135 concentration in the reactor | 3.3 | R | 192006
71 | (192008K1.24) REACTOR OPERATIONAL PHYSICS (CFR: 41.1): (NORMAL REACTOR SHUTDOWN) Explain reactor power response to a control rod insertion | 3.6 | R | 192008
72 | (192005K1.17) CONTROL RODS (CFR: 41.1): Discuss rod insertion limits | 3.9 | R | 192005
73 | (193008K1.05) THERMAL HYDRAULICS (CFR: 41.14): (DEPARTURE FROM NUCLEATE BOILING) List the parameters that affect departure from nucleate boiling and DNBR and describe their effect(s) | 3.6 | T | 193008
74 | (193003K1.14) STEAM (CFR: 41.14): Define the following term: -- superheated vapor | 2.5 | T | 193003
75 | (193007K1.06) HEAT TRANSFER (CFR: 41.14): (CORE THERMAL POWER) Explain methods of calculating core thermal power | 3.3 | T | 193007
76 | (395005) 000015 (APE 15) Reactor Coolant Pump Malfunctions (G2.1.34) CONDUCT OF OPERATIONS: Knowledge of RCS or balance-of-plant chemistry controls, including parameters measured and reasons for the control (CFR: 41.10 / 43.5 / 45.12) | 3.5 | G | 395005
77 | (027AA2.11) Ability to determine and/or interpret the following as they apply to (APE 27) PRESSURIZER PRESSURE Control System Malfunction (CFR: 43.5 / 45.13): RCS pressure | 3.8 | A2 | 395009
78 | (395006) 000022 (APE 22) Loss of Reactor Coolant Makeup (G2.4.30) EMERGENCY PROCEDURES/PLAN: Knowledge of events related to system operation/status that must be reported to internal organizations or external agencies, such as the State, the NRC, or the transmission system operator (CFR: 41.10 / 43.5 / 45.11) | 4.1 | G | 395006
79 | (025AA2.19) Ability to determine and/or interpret the following as they apply to (APE 25) LOSS OF RESIDUAL Heat Removal System (CFR: 43.5 / 45.13): Conditions requiring evacuation of personnel from containment | 4.1 | A2 | 395007
80 | (395010) 000029 (EPE 29) Anticipated Transient Without Scram (G2.4.14) EMERGENCY PROCEDURES/PLAN: Knowledge of general guidelines for emergency and abnormal operating procedures usage (CFR: 41.10 / 43.1 / 45.13) | 4.5 | G | 395010
81 | (058AA2.01) Ability to determine and/or interpret the following as they apply to (APE 58) LOSS OF DC Power (CFR: 43.5 / 45.13): Verification that alternate power sources have come on line | 3.7 | A2 | 395017
82 | (395053) (BW E08; W E03) LOCA Cooldown – Depressurization (G2.2.41) EQUIPMENT CONTROL: Ability to obtain and interpret station electrical and mechanical drawings (reference potential) (CFR: 41.10 / 45.12 / 45.13) | 3.9 | G | 395053
83 | (BA06AA2.03) Ability to determine and/or interpret the following as they apply to (BW A06) SHUTDOWN OUTSIDE CONTROL ROOM (CFR: 41.10 / 43.5 / 45.13): Reactor power | 4.3 | A2 | 395038
84 | (395040) 000074 (EPE 74; W E06 & E07) Inadequate Core Cooling (G2.4.44) EMERGENCY PROCEDURES/PLAN: Knowledge of emergency plan implementing procedures protective action recommendations (SRO Only) (CFR: 41.10 / 41.12 / 43.5 / 45.11) | 4.4 | G | 395040
85 | (003AA2.08) Ability to determine and/or interpret the following as they apply to (APE 3) DROPPED Control Rod (CFR: 43.5 / 45.13): ITM | 3.2 | A2 | 395025
86 | (400003) 003 (SF4P RCP) REACTOR COOLANT PUMP SYSTEM (G2.2.3) EQUIPMENT CONTROL: (Multi-unit license) Knowledge of the design, procedural, and/or operational differences between units (CFR: 41.5 / 41.6 / 41.7 / 41.10 / 45.12) | 3.9 | G | 400003
87 | (061A2.06) Ability to (a) predict the impacts of the following on the (SF4S AFW) AUXILIARY/EMERGENCY FEEDWATER SYSTEM and (b) based on those predictions, use procedures to correct, control, or mitigate the consequences of those abnormal operations (CFR: 41.5 / 45.6): Backleakage of MFW | 3 | A2 | 400061
88 | (400006) 006 (SF2; SF3 ECCS) EMERGENCY CORE COOLING SYSTEM (G2.2.2) EQUIPMENT CONTROL: Ability to manipulate the console controls as required to operate the facility between shutdown and designated power levels (CFR: 41.6 / 41.7 / 45.2) | 4.1 | G | 400006
89 | (063A2.02) Ability to (a) predict the impacts of the following on the (SF6 ED DC) DC ELECTRICAL DISTRIBUTION SYSTEM and (b) based on those predictions, use procedures to correct, control, or mitigate the consequences of those abnormal operations (CFR: 41.5 / 43.5 / 45.3 / 45.13): Loss of ventilation during battery charging | 2.8 | A2 | 400063
90 | (400064) 064 (SF6 EDG) EMERGENCY DIESEL GENERATOR SYSTEM (G2.4.47) EMERGENCY PROCEDURES/PLAN: Ability to diagnose and recognize trends in an accurate and timely manner using the appropriate control room reference material (reference potential) (CFR: 41.10 / 43.5 / 45.12) | 4.2 | G | 400064
91 | (033A2.03) Ability to (a) predict the impacts of the following on the (SF8 SFPCS) SPENT FUEL POOL COOLING SYSTEM and (b) based on those predictions, use procedures to correct, control, or mitigate the consequences of those abnormal operations (CFR: 41.5 / 43.5 / 45.3 / 45.13): Abnormal water level | 3.7 | A2 | 400033
92 | (400068) 068 (SF9 LRS) LIQUID RADWASTE SYSTEM (G2.4.29) EMERGENCY PROCEDURES/PLAN: Knowledge of the emergency plan implementing procedures (CFR: 41.10 / 43.5 / 45.11) | 4.4 | G | 400068
93 | (072A2.01) Ability to (a) predict the impacts of the following on the (SF7 ARM) AREA RADIATION MONITORING SYSTEM and (b) based on those predictions, use procedures to correct, control, or mitigate the consequences of those abnormal operations (CFR: 41.5 / 43.3 / 43.5 / 45.13 / 9): ARM component failures | 3.3 | A2 | 400072
94 | (G2.1.39) CONDUCT OF OPERATIONS: Knowledge of conservative decision-making practices (CFR: 41.10 / 43.5 / 45.12) | 4.3 | G2.1 | G2.1
95 | (G2.1.29) CONDUCT OF OPERATIONS: Knowledge of how to conduct system lineups, such as valves, breakers, or switches (CFR: 41.10 / 45.1 / 45.12) | 4 | G2.1 | G2.1
96 | (G2.2.45) EQUIPMENT CONTROL: Ability to determine and/or interpret TS with action statements of greater than 1 hour (SRO Only) (CFR: 43.2 / 43.5 / 45.3) | 4.7 | G2.2 | G2.2
97 | (G2.2.35) EQUIPMENT CONTROL: Ability to determine TS for mode of operation (CFR: 41.7 / 41.10 / 43.2 / 45.13) | 4.5 | G2.2 | G2.2
98 | (G2.3.12) RADIATION CONTROL: Knowledge of radiological safety principles and procedures pertaining to licensed operator duties, such as response to radiation monitor alarms, containment entry requirements, fuel handling responsibilities, access to locked high-radiation areas, or alignment of filters (CFR: 41.12 / 43.4 / 45.9 / 45.10) | 3.7 | G2.3 | G2.3
99 | (G2.4.16) EMERGENCY PROCEDURES/PLAN: Knowledge of emergency and abnormal operating procedures implementation hierarchy and coordination with other support procedures or guidelines, such as operating procedures, abnormal operating procedures, or severe accident management guidelines (CFR: 41.10 / 43.5 / 45.13) | 4.4 | G2.4 | G2.4
100 | (G2.4.3) EMERGENCY PROCEDURES/PLAN: Ability to identify post-accident instrumentation (CFR: 41.6 / 45.4) | 3.9 | G2.4 | G2.4