## Sheet1
Question Number | Topic Title | Topic Importance | K/A Category | System
1 | (025AK3.09) Knowledge of the reasons for the following responses and/or actions as they apply to (APE 25) LOSS OF RESIDUAL Heat Removal System (CFR: 41.5 / 41.10 / 45.6 / 45.13): Verification of natural circulation | 3.6 | K3 | 395007
2 | (009EK1.03) Knowledge of the operational implications and/or cause and effect relationships of the following concepts as they apply to (EPE 9) SMALL-Break LOCA (CFR: 41.8 / 41.10 / 45.3): RCS heat removal | 4 | K1 | 395003
3 | (058AK2.05) Knowledge of the relationship between (APE 58) LOSS OF DC Power and the following systems or components (CFR: 41.7 / 45.7): AC distribution system | 3.6 | K2 | 395017
4 | (038EA1.16) Ability to operate and/or monitor the following as they apply to (EPE 38) STEAM GENERATOR Tube Rupture (CFR: 41.7 / 45.5 / 45.6): MRSS | 3.6 | A1 | 395011
5 | (395001) 000007 (EPE 7; BW E02 & E10; CE E02) Reactor Trip, Stabilization, Recovery (G2.1.20) CONDUCT OF OPERATIONS: Ability to interpret and execute procedure steps (CFR: 41.10 / 43.5 / 45.12) | 4.6 | G | 395001
6 | (CE06EA2.04) Ability to determine and/or interpret the following as they apply to (CE E06) LOSS OF FEEDWATER (CFR: 43.5 / 45.13): Reactor vessel level | 3.7 | A2 | 395013
7 | (WE05EK3.13) Knowledge of the reasons for the following responses and/or actions as they apply to (W E05) Loss of Secondary Heat Sink (CFR: 41.5 / 41.10 / 45.6 / 45.13): Establishing RCS bleed path | 4 | K3 | 395023
8 | (026AK1.04) Knowledge of the operational implications and/or cause and effect relationships of the following concepts as they apply to (APE 26) LOSS OF Component Cooling Water (CFR: 41.5 / 41.7 / 45.7 / 45.8): Loss of CCWS to RCPs | 4.1 | K1 | 395008
9 | (077AK2.07) Knowledge of the relationship between (APE 77) GENERATOR VOLTAGE AND ELECTRIC Grid Disturbances and the following systems or components (CFR: 41.4 / 41.5 / 41.7 / 41.10 / 45.8): MT/G | 3.5 | K2 | 395020
10 | (029EA1.23) Ability to operate and/or monitor the following as they apply to (EPE 29) ANTICIPATED TRANSIENT WITHOUT SCRAM (ATWS) (CFR: 41.7 / 45.5 / 45.6): NIS | 3.7 | A1 | 395010
11 | (395012) 000040 (APE 40; BW E05; CE E05; W E12) Steam Line Rupture – Excessive Heat Transfer (G2.1.18) CONDUCT OF OPERATIONS: Ability to make accurate, clear, and concise logs, records, status boards, and reports (CFR: 41.10 / 45.12 / 45.13) | 3.6 | G | 395012
12 | (057AA2.20) Ability to determine and/or interpret the following as they apply to (APE 57) LOSS OF VITAL AC ELECTRICALINSTRUMENT BUS (CFR: 43.5 / 45.13): The plant automatic actions that will occur on the loss of a vital AC electrical instrument bus | 3.4 | A2 | 395016
13 | (008AK3.05) Knowledge of the reasons for the following responses and/or actions as they apply to (APE 8) PRESSURIZER VAPOR Space Accident (CFR: 41.5 / 41.10 / 45.6 / 45.13): ECCS termination or throttling criteria | 3.9 | K3 | 395002
14 | (065AK1.03) Knowledge of the operational implications and/or cause and effect relationships of the following concepts as they apply to (APE 65) LOSS OF Instrument Air (CFR: 41.8 / 41.10 / 45.3): Failure modes of air-operated equipment | 3.7 | K1 | 395019
15 | (022AK2.09) Knowledge of the relationship between (APE 22) LOSS OF REACTOR Coolant Makeup and the following systems or components (CFR: 41.7 / 45.7): CVCS | 3.9 | K2 | 395006
16 | (WE11EA1.18) Ability to operate and/or monitor the following as they apply to (W E11) LOSS OF EMERGENCY Coolant Recirculation (CFR: 41.5 to 41.8 / 45.5 to 45.8): SGS | 3.2 | A1 | 395022
17 | (395005) 000015 (APE 15) Reactor Coolant Pump Malfunctions (G2.4.32) EMERGENCY PROCEDURES/PLAN: Knowledge of operator response to loss of annunciators (CFR: 41.10 / 43.5 / 45.13) | 3.6 | G | 395005
18 | (055EA2.06) Ability to determine and/or interpret the following as they apply to (EPE 55) Station Blackout (CFR: 43.5 / 45.13): Faults and lockouts that must be cleared before reenergizing buses | 3.9 | A2 | 395014
19 | (036AK3.04) Knowledge of the reasons for the following responses and/or actions as they apply to (APE 36) FUEL HANDLING INCIDENTS (CFR: 41.10 / 45.6 / 45.13): Establishing containment isolation or closure | 3.9 | K3 | 395031
20 | (003AK1.19) Knowledge of the operational implications and/or cause and effect relationships of the following concepts as they apply to (APE 3) DROPPED Control Rod (CFR: 41.8 / 41.10 / 45.3): Rod worth | 3.2 | K1 | 395025
21 | (WE09EK2.18) Knowledge of the relationship between (W E09) NATURAL CIRCULATION OPERATIONS and the following systems or components (CFR: 41.7 / 41.8 / 45.2 / 45.4): CVCS | 3.2 | K2 | 395054
22 | (WE13EA1.05) Ability to operate and/or monitor the following as they apply to (W E13) STEAM Generator Overpressure (CFR: 41.5 to 41.8 / 45.5. to 45.8): RCS | 3.4 | A1 | 395044
23 | (395026) 000005 (APE 5) Inoperable/Stuck Control Rod (G2.4.42) EMERGENCY PROCEDURES/PLAN: Knowledge of emergency response facilities (CFR: 41.10 / 45.11) | 2.6 | G | 395026
24 | (WE15EA2.04) Ability to determine and/or interpret the following as they apply to (W E15) Containment Flooding (CFR: 41.10 / 43.5 / 45.13): Tank levels and/or system flow indications for systems that supply components inside containment | 2.5 | A2 | 395045
25 | (WE02EK3.23) Knowledge of the reasons for the following responses and/or actions as they apply to (W E02) SI TERMINATION (CFR: 41.5 / 41.10 / 45.6 / 45.13): Energizing source range detectors | 3.1 | K3 | 395043
26 | (074EK1.11) Knowledge of the operational implications and/or cause and effect relationships of the following concepts as they apply to (EPE 74) Inadequate Core Cooling (CFR: 41.8 / 41.10 / 45.3): Loss/degraded CCW | 3.5 | K1 | 395040
27 | (073A2.01) Ability to (a) predict the impacts of the following on the (SF7 PRM) PROCESS RADIATION MONITORING SYSTEM and (b) based on those predictions, use procedures to correct, control, or mitigate the consequences of those abnormal operations (CFR: 41.5 / 43.5 / 45.3 / 45.13 / 8-9): PRM component failures | 3.9 | A2 | 400073
28 | (007K3.01) Knowledge of the effect that a loss or malfunction of the (SF5 PRTS) PRESSURIZER RELIEF/QUENCH TANK SYSTEM will have on the following systems or system parameters (CFR: 41.7 / 41.9): Containment | 3.4 | K3 | 400007
29 | (006K2.02) Knowledge of electrical power supplies to the following: (SF2; SF3 ECCS) EMERGENCY CORE COOLING SYSTEM (CFR: 41.7) Valve operators for safety injection tanks | 3.2 | K2 | 400006
30 | (008A3.05) Ability to monitor automatic features of the (SF8 CCW) COMPONENT COOLING WATER SYSTEM, including (CFR: 41.7 / 45.5): Automatic isolation valves in the CCWS | 3.6 | A3 | 400008
31 | (400062) 062 (SF6 ED AC) AC ELECTRICAL DISTRIBUTION SYSTEM (G2.4.20) EMERGENCY PROCEDURES/PLAN: Knowledge of the operational implications of emergency and abnormal operating procedures warnings, cautions, and notes (CFR: 41.10 / 43.5 / 45.13) | 3.8 | G | 400062
32 | (064K6.08) Knowledge of the effect of the following plant conditions, system malfunctions, or component malfunctions on the (SF6 EDG) EMERGENCY DIESEL GENERATOR SYSTEM (CFR: 41.7 / 45.7): Diesel fuel oil system | 3.9 | K6 | 400064
33 | (012A4.05) Ability to manually operate and/or monitor the (SF7 RPS) REACTOR PROTECTION SYSTEM in the control room (CFR: 41.7 / 45.5 to 45.8): Channel defeat controls | 3.8 | A4 | 400012
34 | (076K4.06) Knowledge of (SF4S SW) SERVICE WATER SYSTEM design features and/or interlocks that provide for the following (CFR: 41.7): Service water train separation | 3.4 | K4 | 400076
35 | (063A1.03) Ability to predict and/or monitor changes in parameters associated with operation of the (SF6 ED DC) DC ELECTRICAL DISTRIBUTION SYSTEM, including (CFR: 41.5 / 45.5): Battery bus voltage and/or current | 3.5 | A1 | 400063
36 | (078K5.02) Knowledge of the operational implications or cause and effect relationships of the following concepts as they apply to the (SF8 IAS) INSTRUMENT AIR SYSTEM (CFR: 41.5 / 45.7): Diesel effect | 2.8 | K5 | 400078
37 | (059K1.14) Knowledge of the physical connections and/or cause and effect relationships between the (SF4S MFW) MAIN FEEDWATER SYSTEM and the following systems (CFR: 41.2 to 41.9 / 45.7 / 45.8): ESFAS | 3.8 | K1 | 400059
38 | (004A2.09) Ability to (a) predict the impacts of the following on the (SF1; SF2 CVCS) CHEMICAL AND VOLUME CONTROL SYSTEM and (b) based on those predictions, use procedures to correct, control, or mitigate the consequences of those abnormal operations (CFR: 41.5 to 41.7 / 43.5 / 45.3 / 45.5): High primary and/or secondary activity | 2.5 | A2 | 400004
39 | (039K3.09) Knowledge of the effect that a loss or malfunction of the (SF4S MSS) MAIN AND REHEAT STEAM SYSTEM will have on the following systems or system parameters (CFR: 41.7 / 45.6): S/G | 3.4 | K3 | 400039
40 | (026K2.01) Knowledge of electrical power supplies to the following (CFR: 41.7): (SF5 CSS) CONTAINMENT SPRAY SYSTEM Containment spray pumps | 3.9 | K2 | 400026
41 | (022A3.02) Ability to monitor automatic features of the (SF5 CCS) CONTAINMENT COOLING SYSTEM, including (CFR: 41.7 / 45.5): Containment coolers cooling water flow | 3.6 | A3 | 400022
42 | (400103) 103 (SF5 CNT) CONTAINMENT SYSTEM (191002K1.22) SENSORS AND DETECTORS (CFR: 41.7): (RADIATION DETECTION) Theory and operation of ion chambers, Geiger‑Müller tubes, and scintillation detectors | 2.8 | C | 400103
43 | (013K6.11) Knowledge of the effect of the following plant conditions, system malfunctions, or component malfunctions on the (SF2 ESFAS) ENGINEERED SAFETY FEATURES ACTUATION SYSTEM (CFR: 41.6 to 41.8 / 45.5 to 45.8): S/G tube rupture | 4.1 | K6 | 400013
44 | (005A4.01) Ability to manually operate and/or monitor the (SF4P RHR) RESIDUAL HEAT REMOVAL SYSTEM in the control room (CFR: 41.7 / 45.5 to 45.8): Controls and indication for RHR pumps | 4 | A4 | 400005
45 | (061K4.11) Knowledge of (SF4S AFW) AUXILIARY/EMERGENCY FEEDWATER SYSTEM design features and/or interlocks that provide for the following (CFR: 41.7): Automatic level control | 3.6 | K4 | 400061
46 | (003A1.10) Ability to predict and/or monitor changes in parameters associated with operation of the (SF4P RCP) REACTOR COOLANT PUMP SYSTEM, including (CFR: 41.5 / 45.5): RCP standpipe levels | 3 | A1 | 400003
47 | (010K5.05) Knowledge of the operational implications or cause and effect relationships of the following concepts as they apply to the (SF3 PZR PCS) PRESSURIZER PRESSURE CONTROL SYSTEM (CFR: 41.5 / 45.7): RCS heatup and cooldown effect on pressure | 3.7 | K5 | 400010
48 | (073K1.05) Knowledge of the physical connections and/or cause and effect relationships between the (SF7 PRM) PROCESS RADIATION MONITORING SYSTEM and the following systems (CFR: 41.7 to 41.9 / 41.11 / 45.8 / 45.9): CCWS | 3.1 | K1 | 400073
49 | (007A2.02) Ability to (a) predict the impacts of the following on the (SF5 PRTS) PRESSURIZER RELIEF/QUENCH TANK SYSTEM and (b) based on those predictions, use procedures to correct, control, or mitigate the consequences of those abnormal operations (CFR: 41.5 / 43.5 / 45.3 / 45.13): Abnormal pressure in the PRT/quench tank | 3.6 | A2 | 400007
50 | (006K3.03) Knowledge of the effect that a loss or malfunction of the (SF2; SF3 ECCS) EMERGENCY CORE COOLING SYSTEM will have on the following systems or system parameters (CFR: 41.7 / 45.3 / 45.4 / 45.6): CSS | 3.8 | K3 | 400006
51 | (008K2.01) Knowledge of electrical power supplies to the following (CFR: 41.7): (SF8 CCW) COMPONENT COOLING WATER SYSTEM CCW valves | 3 | K2 | 400008
52 | (062A3.05) Ability to monitor automatic features of the (SF6 ED AC) AC ELECTRICAL DISTRIBUTION SYSTEM, including (CFR: 41.7 / 45.5): Safety-related actuations | 4.1 | A3 | 400062
53 | (400064) 064 (SF6 EDG) EMERGENCY DIESEL GENERATOR SYSTEM (G2.2.42) EQUIPMENT CONTROL: Ability to recognize system parameters that are entry-level conditions for TS (CFR: 41.7 / 41.10 / 43.2 / 43.3 / 45.3) | 3.9 | G | 400064
54 | (012K6.02) Knowledge of the effect of the following plant conditions, system malfunctions, or component malfunctions on the (SF7 RPS) REACTOR PROTECTION SYSTEM (CFR: 41.7 / 45.7): Redundant channels | 3.9 | K6 | 400012
55 | (075A2.12) Ability to (a) predict the impacts of the following on the (SF8 CW) CIRCULATING WATER SYSTEM and (b) based on those predictions, use procedures to correct, control, or mitigate the consequences of those abnormal operations (CFR: 41.5 / 43.5 / 45.3 / 45.13): Main condenser tube leak | 3.5 | A2 | 400075
56 | (056K3.01) Knowledge of the effect that a loss or malfunction of the (SF4S CDS) CONDENSATE SYSTEM will have on the following systems or system parameters (CFR: 41.7 / 45.6): MFW | 3.8 | K3 | 400056
57 | (028K1.03) Knowledge of the physical connections and/or cause and effect relationships between the (SF5 HRPS) HYDROGEN RECOMBINER AND PURGE CONTROL SYSTEM and the following systems (CFR: 41.9 / 45.7 / 45.8): CNT | 3.1 | K2 | 400028
58 | (072A3.01) Ability to monitor automatic features of the (SF7 ARM) AREA RADIATION MONITORING SYSTEM, including (CFR: 41.7 / 45.8 / 45.9): Changes in system alignment | 3.3 | A3 | 400072
59 | (400035) 035 (SF4P SG) STEAM GENERATOR SYSTEM (191001K1.06) VALVES (CFR: 41.3): Emergency/manual operation of motor‑operated valves with motor inoperable | 3.7 | C | 400035
60 | (017K6.01) Knowledge of the effect of the following plant conditions, system malfunctions, or component malfunctions on the (SF7 ITM) IN CORE TEMPERATURE MONITOR SYSTEM (CFR: 41.7 / 45.7): Temperature measuring device (for example thermocouple) | 3.2 | K6 | 400017
61 | (014A4.05) Ability to manually operate and/or monitor the (SF1 RPI) ROD POSITION INDICATION SYSTEM in the control room (CFR: 41.6 / 41.7 / 45.5 to 45.8): RPI accuracy mode selection (W) | 3.1 | A4 | 400014
62 | (034K4.04) Knowledge of (SF8 FHS) FUEL HANDLING EQUIPMENT SYSTEM design features and/or interlocks that provide for the following (CFR: 41.6 / 41.7 / 43.7 / 45.8): Containment integrity | 3.6 | K4 | 400034
63 | (029A1.01) Ability to predict and/or monitor changes in parameters associated with operation of the (SF8 CPS) CONTAINMENT PURGE SYSTEM, including (CFR: 41.5 / 45.5 / 45.8): Containment temperature | 2.8 | A1 | 400029
64 | (G2.1.14) CONDUCT OF OPERATIONS: Knowledge of criteria or conditions that require plantwide announcements, such as pump starts, reactor trips, and mode changes (CFR: 41.10 / 43.5 / 45.12) | 3.1 | G2.1 | G2.1
65 | (G2.1.1) CONDUCT OF OPERATIONS: Knowledge of conduct of operations requirements (CFR: 41.10 / 43.10 / 45.13) | 3.8 | G2.1 | G2.1
66 | (G2.2.41) EQUIPMENT CONTROL: Ability to obtain and interpret station electrical and mechanical drawings (reference potential) (CFR: 41.10 / 45.12 / 45.13) | 3.5 | G2.2 | G2.2
67 | (G2.2.6) EQUIPMENT CONTROL: Knowledge of the process for making changes to procedures (CFR: 41.10 / 43.3 / 45.13) | 3 | G2.2 | G2.2
68 | (G2.3.11) RADIATION CONTROL: Ability to control radiation releases (CFR: 41.11 / 43.4 / 45.10) | 3.8 | G2.3 | G2.3
69 | (G2.4.25) EMERGENCY PROCEDURES/PLAN: Knowledge of fire protection procedures (CFR: 41.10 / 43.5 / 45.13) | 3.3 | G2.4 | G2.4
70 | (192004K1.02) REACTIVITY COEFFICIENTS (CFR: 41.1): Describe the effect on the magnitude of the temperature coefficient of reactivity from changes in the following: -- moderator temperature | 3.1 | R | 192004
71 | (192008K1.20) REACTOR OPERATIONAL PHYSICS (CFR: 41.1): (POWER OPERATION) Explain the effects of control rod motion or boration/dilution on reactor power | 3.9 | R | 192008
72 | (192002K1.14) NEUTRON LIFE CYCLE (CFR: 41.1): Evaluate change in SDM due to changes in plant parameters | 3.9 | R | 192002
73 | (193009K1.10) CORE THERMAL LIMITS (CFR: 41.14): Define and calculate quadrant tilt (symmetric offset) ratio | 3.3 | T | 193009
74 | (193004K1.11) THERMODYNAMIC PROCESS (CFR: 41.14): (CONDENSERS) Describe the process of condensate depression (subcooling) and its effect on plant operation | 2.5 | T | 193004
75 | (193008K1.20) THERMAL HYDRAULICS (CFR: 41.14): (TWO-PHASE FLOW) Explain the need for adequate core bypass flow | 2.9 | T | 193008
76 | (395009) 000027 (APE 27) Pressurizer Pressure Control System Malfunction (G2.1.37) CONDUCT OF OPERATIONS: Knowledge of procedures, guidelines, or limitations associated with reactivity management (CFR: 41.1 / 41.5 / 41.10 / 43.6 / 45.6) | 4.6 | G | 395009
77 | (011EA2.07) Ability to determine and/or interpret the following as they apply to (EPE 11) LARGE-Break LOCA (CFR: 43.5 / 45.13): ECCS pump water seal parameters | 3.3 | A2 | 395004
78 | (395015) 000056 (APE 56) Loss of Offsite Power (G2.4.38) EMERGENCY PROCEDURES/PLAN: Ability to take actions required by the facility emergency plan implementing procedures, including supporting or acting as emergency coordinator (CFR: 41.10 / 43.5 / 45.11) | 4.4 | G | 395015
79 | (062AA2.06) Ability to determine and/or interpret the following as they apply to (APE 62) LOSS OF SERVICE WATER (CFR: 43.5 / 45.13): The length of time after the loss of SWS flow to a component before that component may be damaged | 3.2 | A2 | 395018
80 | (395021) (W E04) LOCA Outside Containment (G2.2.37) EQUIPMENT CONTROL: Ability to determine operability or availability of safety‑related equipment (SRO Only) (CFR: 43.2 / 43.5 / 45.12) | 4.6 | G | 395021
81 | (025AA2.18) Ability to determine and/or interpret the following as they apply to (APE 25) LOSS OF RESIDUAL Heat Removal System (CFR: 43.5 / 45.13): Implement emergency plan as applicable | 4.2 | A2 | 395007
82 | (395033) 000051 (APE 51) Loss of Condenser Vacuum (G2.4.29) EMERGENCY PROCEDURES/PLAN: Knowledge of the emergency plan implementing procedures (CFR: 41.10 / 43.5 / 45.11) | 4.4 | G | 395033
83 | (059AA2.07) Ability to determine and/or interpret the following as they apply to (APE 59) ACCIDENTAL LIQUID Radwaste Release (CFR: 43.5 / 45.13): Radiation levels in the effluent | 3.3 | A2 | 395034
84 | (395028) 000028 (APE 28) Pressurizer (PZR) Level Control Malfunction (G2.1.19) CONDUCT OF OPERATIONS: Ability to use available indications to evaluate system or component status (CFR: 41.10 / 45.12) | 3.8 | G | 395028
85 | (032AA2.09) Ability to determine and/or interpret the following as they apply to (APE 32) LOSS OF SOURCE RANGE Nuclear Instrumentation (CFR: 43.5 / 45.13): Effect of improper high-voltage setting | 3 | A2 | 395029
86 | (400076) 076 (SF4S SW) SERVICE WATER SYSTEM (G2.4.14) EMERGENCY PROCEDURES/PLAN: Knowledge of general guidelines for emergency and abnormal operating procedures usage (CFR: 41.10 / 43.1 / 45.13) | 4.5 | G | 400076
87 | (063A2.01) Ability to (a) predict the impacts of the following on the (SF6 ED DC) DC ELECTRICAL DISTRIBUTION SYSTEM and (b) based on those predictions, use procedures to correct, control, or mitigate the consequences of those abnormal operations (CFR: 41.5 / 43.5 / 45.3 / 45.13): Grounds | 2.8 | A2 | 400063
88 | (400078) 078 (SF8 IAS) INSTRUMENT AIR SYSTEM (G2.2.3) EQUIPMENT CONTROL: (Multi-unit license) Knowledge of the design, procedural, and/or operational differences between units (CFR: 41.5 / 41.6 / 41.7 / 41.10 / 45.12) | 3.9 | G | 400078
89 | (059A2.10) Ability to (a) predict the impacts of the following on the (SF4S MFW) MAIN FEEDWATER SYSTEM and (b) based on those predictions, use procedures to correct, control, or mitigate the consequences of those abnormal operations (CFR: 41.5 / 43.5 / 45.3 / 45.13): Secondary cooling water malfunction | 2.7 | A2 | 400059
90 | (400004) 004 (SF1; SF2 CVCS) CHEMICAL AND VOLUME CONTROL SYSTEM (G2.1.29) CONDUCT OF OPERATIONS: Knowledge of how to conduct system lineups, such as valves, breakers, or switches (CFR: 41.10 / 45.1 / 45.12) | 4 | G | 400004
91 | (033A2.03) Ability to (a) predict the impacts of the following on the (SF8 SFPCS) SPENT FUEL POOL COOLING SYSTEM and (b) based on those predictions, use procedures to correct, control, or mitigate the consequences of those abnormal operations (CFR: 41.5 / 43.5 / 45.3 / 45.13): Abnormal water level | 3.7 | A2 | 400033
92 | (400027) 027 (SF5 CIRS) CONTAINMENT IODINE REMOVAL SYSTEM (G2.2.21) EQUIPMENT CONTROL: Knowledge of pre- and post-maintenance operability requirements (CFR: 41.10 / 43.2) | 4.1 | G | 400027
93 | (068A2.05) Ability to (a) predict the impacts of the following on the (SF9 LRS) LIQUID RADWASTE SYSTEM and (b) based on those predictions, use procedures to correct, control, or mitigate the consequences of those abnormal operations (CFR: 41.5 / 43.5 / 45.3 / 45.8 / 45.9 / 45.13): CWS malfunction | 2.8 | A2 | 400068
94 | (G2.1.32) CONDUCT OF OPERATIONS: Ability to explain and apply system precautions, limitations, notes, or cautions (CFR: 41.10 / 43.2 / 45.12) | 4 | G2.1 | G2.1
95 | (G2.1.30) CONDUCT OF OPERATIONS: Ability to locate and operate components, including local controls (CFR: 41.7 / 45.7) | 4 | G2.1 | G2.1
96 | (G2.2.14) EQUIPMENT CONTROL: Knowledge of the process for controlling equipment configuration or status (CFR: 41.10 / 43.3 / 45.13) | 4.3 | G2.2 | G2.2
97 | (G2.2.17) EQUIPMENT CONTROL: Knowledge of the process for managing maintenance activities during power operations, such as risk assessments, work prioritization, and coordination with the transmission system operator (CFR: 41.10 / 43.5 / 45.13) | 3.8 | G2.2 | G2.2
98 | (G2.3.14) RADIATION CONTROL: Knowledge of radiation or contamination hazards that may arise during normal, abnormal, or emergency conditions or activities, such as analysis and interpretation of radiation and activity readings as they pertain to administrative, normal, abnormal, and emergency procedures or to analysis and interpretation of coolant activity, including comparison to emergency plan or regulatory limits (SRO Only) (CFR: 43.4 / 45.10) | 3.8 | G2.3 | G2.3
99 | (G2.4.35) EMERGENCY PROCEDURES/PLAN: Knowledge of nonlicensed operator responsibilities during an emergency (CFR: 41.10 / 43.1 / 43.5 / 45.13) | 4 | G2.4 | G2.4
100 | (G2.4.22) EMERGENCY PROCEDURES/PLAN: Knowledge of the bases for prioritizing safety functions during abnormal and emergency operations (CFR: 41.7 / 41.10 / 43.5 / 45.12) | 4.4 | G2.4 | G2.4