## Sheet1
Question Number | Topic Title | Topic Importance | K/A Category | System
1 | (022AA2.07) Ability to determine and/or interpret the following as they apply to (APE 22) LOSS OF REACTOR Coolant Makeup (CFR: / 43.5 / 45.13): VCT level | 3.8 | A2 | 395006
2 | (056AK1.05) Knowledge of the operational implications and/or cause and effect relationships of the following concepts as they apply to (APE 56) Loss of Offsite Power (CFR: 41.8 / 41.10 / 45.3): Load shedding/sequencer | 3.9 | K1 | 395015
3 | (038EK3.07) Knowledge of the reasons for the following responses and/or actions as they apply to (EPE 38) STEAM GENERATOR Tube Rupture (CFR: 41.5 / 41.10 / 45.6 / 45.13): Operation of RCS loop isolation valves | 2.8 | K3 | 395011
4 | (395018) 000062 (APE 62) Loss of Nuclear Service Water (G2.2.38) EQUIPMENT CONTROL: Knowledge of conditions and limitations in the facility license (CFR: 41.7 / 41.10 / 43.1 / 45.13) | 3.6 | G | 395018
5 | (058AK2.04) Knowledge of the relationship between (APE 58) LOSS OF DC Power and the following systems or components (CFR: 41.7 / 45.7): Battery charger | 3.6 | K2 | 395017
6 | (009EA1.16) Ability to operate and/or monitor the following as they apply to (EPE 9) SMALL-Break LOCA (CFR: 41.7 / 45.5 / 45.6): SCM monitors | 3.8 | A1 | 395003
7 | (015AA2.12) Ability to determine and/or interpret the following as they apply to (APE 15) REACTOR COOLANT Pump Malfunctions (CFR: 43.5 / 45.13): RCS flow | 3.8 | A2 | 395005
8 | (065AK1.02) Knowledge of the operational implications and/or cause and effect relationships of the following concepts as they apply to (APE 65) LOSS OF Instrument Air (CFR: 41.8 / 41.10 / 45.3): Effects of water and/or particulate matter in instrument air lines (operating experience) | 3.1 | K1 | 395019
9 | (077AK3.01) Knowledge of the reasons for the following responses and/or actions as they apply to (APE 77) GENERATOR VOLTAGE AND ELECTRIC Grid Disturbances (CFR: 41.4 / 41.5 / 41.7 / 41.10 / 45.8): Reactor and turbine trip criteria | 3.9 | K3 | 395020
10 | (395002) 000008 (APE 8) Pressurizer Vapor Space Accident (G2.4.21) EMERGENCY PROCEDURES/PLAN: Knowledge of the parameters and logic used to assess the status of emergency operating procedures critical safety functions or shutdown critical safety functions (CFR: 41.7 / 43.5 / 45.12) | 4 | G | 395002
11 | (055EK2.04) Knowledge of the relationship between (EPE 55) Station Blackout and the following systems or components (CFR: 41.7 / 45.7): AFW system | 4.2 | K2 | 395014
12 | (029EA1.15) Ability to operate and/or monitor the following as they apply to (EPE 29) ANTICIPATED TRANSIENT WITHOUT SCRAM (ATWS) (CFR: 41.7 / 45.5 / 45.6): AFW system | 3.8 | A1 | 395010
13 | (CE06EA2.12) Ability to determine and/or interpret the following as they apply to (CE E06) LOSS OF FEEDWATER (CFR: 43.5 / 45.13): CEA position | 3 | A2 | 395013
14 | (057AK1.01) Knowledge of the operational implications and/or cause and effect relationships of the following concepts as they apply to (APE 57) LOSS OF VITAL AC ELECTRICALINSTRUMENT BUS (CFR: 41.8 / 41.10 / 45.3): Effect of a loss of power to instruments powered by a vital instrument bus on pla | 4.3 | K1 | 395016
15 | (026AK3.08) Knowledge of the reasons for the following responses and/or actions as they apply to (APE 26) LOSS OF Component Cooling Water (CFR: 41.5 / 41.10 / 45.6 / 45.13): Verifying CCW adequate surge tank level | 3.4 | K3 | 395008
16 | (395023) (BW E04; W E05) Inadequate Heat Transfer – Loss of Secondary Heat Sink (G2.4.16) EMERGENCY PROCEDURES/PLAN: Knowledge of emergency and abnormal operating procedures implementation hierarchy and coordination with other support procedures or guidelines, such as operating procedures, abnormal operating procedures, or severe accident management guidelines (CFR: 41.10 / 43.5 / 45.13) | 3.5 | G | 395023
17 | (027AK2.12) Knowledge of the relationship between (APE 27) PRESSURIZER PRESSURE Control System Malfunction and the following systems or components (CFR: 41.7 / 45.7): PZR code safety valves | 3.7 | K2 | 395009
18 | (011EA1.04) Ability to operate and/or monitor the following as they apply to (EPE 11) LARGE-Break LOCA (CFR: 41.7 / 45.5 / 45.6): ESFAS, manual or automatic | 4.3 | A1 | 395004
19 | (BA01AA2.03) Ability to determine and/or interpret the following as they apply to (BW A01) Plant Runback (CFR: 41.10 / 43.5 / 45.13): Reactor power | 4.3 | A2 | 395047
20 | (WE10EK1.04) Knowledge of the operational implications and/or cause and effect relationships of the following concepts as they apply to (W E10) NATURAL CIRCULATION WITH STEAM VOID IN VESSEL WITH/WITHOUT THE RVLIS (CFR: 41.5 / 41.7 / 45.7 / 45.8): RTD bypass manifold temperature inaccuracy on natural circulation | 3.3 | K1 | 395054
21 | (076AK3.01) Knowledge of the reasons for the following responses and/or actions as they apply to (APE 76) HIGH REACTOR COOLANT ACTIVITY (CFR: 41.5 / 41.10 / 45.6 / 45.13): RCS differentiating activity due to fission products and due to corrosion products from chemistry report | 3.1 | K3 | 395041
22 | (395027) 000024 (APE 24) Emergency Boration (G2.4.32) EMERGENCY PROCEDURES/PLAN: Knowledge of operator response to loss of annunciators (CFR: 41.10 / 43.5 / 45.13) | 3.6 | G | 395027
23 | (051AK2.08) Knowledge of the relationship between (APE 51) LOSS OF Condenser Vacuum and the following systems or components (CFR: 41.7 / 45.7): Condenser vacuum breaker | 3 | K2 | 395033
24 | (074EA1.31) Ability to operate and/or monitor the following as they apply to (EPE 74) Inadequate Core Cooling (CFR: 41.7 / 45.5 / 45.6): RHRS | 3.8 | A1 | 395040
25 | (036AA2.06) Ability to determine and/or interpret the following as they apply to (APE 36) FUEL HANDLING INCIDENTS (CFR: 41.7 / 43.5 / 43.7 / 45.13): Refueling water level | 3.4 | A2 | 395031
26 | (BE14EK1.16) Knowledge of the operational implications and/or cause and effect relationships of the following concepts as they apply to (BW E14) EOP ENCLOSURES (CFR: 41.5 / 41.7 / 45.7 / 45.8): Tube to shell delta T | 3.3 | K1 | 395055
27 | (062K2.01) Knowledge of electrical power supplies to the following: (SF6 ED AC) AC ELECTRICAL DISTRIBUTION SYSTEM (CFR: 41.7) Major bus or motor control center power supplies | 3.8 | K2 | 400062
28 | (026K4.05) Knowledge of (SF5 CSS) CONTAINMENT SPRAY SYSTEM design features and/or interlocks that provide for the following (CFR: 41.7): Prevention of material from clogging nozzles during recirculation | 3.4 | K4 | 400026
29 | (010K5.06) Knowledge of the operational implications or cause and effect relationships of the following concepts as they apply to the (SF3 PZR PCS) PRESSURIZER PRESSURE CONTROL SYSTEM (CFR: 41.5 / 45.7): Hard PZR bubble | 3.4 | K5 | 400010
30 | (039A2.04) Ability to (a) predict the impacts of the following on the (SF4S MSS) MAIN AND REHEAT STEAM SYSTEM and (b) based on those predictions, use procedures to correct, control, or mitigate the consequences of those abnormal operations (CFR: 41.5 / 43.5 / 45.3 / 45.13): Malfunctioning steam dump | 4 | A2 | 400039
31 | (013K3.05) Knowledge of the effect that a loss or malfunction of the (SF2 ESFAS) ENGINEERED SAFETY FEATURES ACTUATION SYSTEM will have on the following systems or system parameters (CFR: 41.3 to 41.7 / 45.6): CCS | 3.9 | K3 | 400013
32 | (008A3.06) Ability to monitor automatic features of the (SF8 CCW) COMPONENT COOLING WATER SYSTEM, including (CFR: 41.7 / 45.5): Typical CCW pump operating conditions, including vibration and sound levels and motor current | 2.7 | A3 | 400008
33 | (006K6.18) Knowledge of the effect of the following plant conditions, system malfunctions, or component malfunctions on the (SF2; SF3 ECCS) EMERGENCY CORE COOLING SYSTEM (CFR: 41.7 / 45.7): SCM indicators | 3.6 | K6 | 400006
34 | (004A1.01) Ability to predict and/or monitor changes in parameters associated with operation of the (SF1; SF2 CVCS) CHEMICAL AND VOLUME CONTROL SYSTEM, including (CFR: 41.5 to 41.7 / 45.5): Activity levels in primary system | 2.9 | A1 | 400004
35 | (059K1.08) Knowledge of the physical connections and/or cause and effect relationships between the (SF4S MFW) MAIN FEEDWATER SYSTEM and the following systems (CFR: 41.2 to 41.9 / 45.7 / 45.8): Heater drains | 3 | K1 | 400059
36 | (005A4.05) Ability to manually operate and/or monitor the (SF4P RHR) RESIDUAL HEAT REMOVAL SYSTEM in the control room (CFR: 41.7 / 45.5 to 45.8): Raising or lowering refueling cavity level | 3.4 | A4 | 400005
37 | (400012) 012 (SF7 RPS) REACTOR PROTECTION SYSTEM (G2.1.29) CONDUCT OF OPERATIONS: Knowledge of how to conduct system lineups, such as valves, breakers, or switches (CFR: 41.10 / 45.1 / 45.12) | 4.1 | G | 400012
38 | (061K2.02) Knowledge of electrical power supplies to the following: (SF4S AFW) AUXILIARY/EMERGENCY FEEDWATER SYSTEM AFW (CFR: 41.7) electric-driven pumps | 4.1 | K2 | 400061
39 | (078K4.02) Knowledge of (SF8 IAS) INSTRUMENT AIR SYSTEM design features and/or interlocks that provide for the following (CFR: 41.7): Crossover to other pneumatic systems | 3.1 | K4 | 400078
40 | (022K5.01) Knowledge of the operational implications or cause and effect relationships of the following concepts as they apply to the (SF5 CCS) CONTAINMENT COOLING SYSTEM (CFR: 41.5 / 45.7): Postaccident pressure reduction | 2.8 | K5 | 400022
41 | (073A2.01) Ability to (a) predict the impacts of the following on the (SF7 PRM) PROCESS RADIATION MONITORING SYSTEM and (b) based on those predictions, use procedures to correct, control, or mitigate the consequences of those abnormal operations (CFR: 41.5 / 43.5 / 45.3 / 45.13 / 8-9): PRM component failures | 3.9 | A2 | 400073
42 | (053K3.05) Knowledge of the effect that a loss or malfunction of the (SF1 ICS) INTEGRATED CONTROL SYSTEM (BW) will have on the following systems or system parameters (CFR: 41.7 / 45.6): RCS | 3.6 | K3 | 400053
43 | (003A3.06) Ability to monitor automatic features of the (SF4P RCP) REACTOR COOLANT PUMP SYSTEM, including (CFR: 41.7 / 45.7): RCP trip actuation due to ESFAS actuation | 4 | A3 | 400003
44 | (076K6.16) Knowledge of the effect of the following plant conditions, system malfunctions, or component malfunctions on the (SF4S SW) SERVICE WATER SYSTEM (CFR: 41.7 / 45.7): Ultimate heat sink | 3.5 | K6 | 400076
45 | (007A1.05) Ability to predict and/or monitor changes in parameters associated with operation of the (SF5 PRTS) PRESSURIZER RELIEF/QUENCH TANK SYSTEM, including (CFR: 41.5 / 45.5): Containment radiation levels | 3.2 | A1 | 400007
46 | (063K1.02) Knowledge of the physical connections and/or cause and effect relationships between the (SF6 ED DC) DC ELECTRICAL DISTRIBUTION SYSTEM and the following systems (CFR: 41.3 to 41.8 / 45.7 / 45.8): AC electrical system | 4 | K1 | 400063
47 | (103A4.09) Ability to manually operate and/or monitor the (SF5 CNT) CONTAINMENT SYSTEM in the control room (CFR: 41.7 / 45.5 to 45.8): Containment vacuum system | 3 | A4 | 400103
48 | (400064) 064 (SF6 EDG) EMERGENCY DIESEL GENERATOR SYSTEM (191003K1.03) CONTROLLERS AND POSITIONERS (CFR: 41.7): Operation of valve controllers in manual and automatic modes, including seal-in features | 3.1 | C | 400064
49 | (062K2.02) Knowledge of electrical power supplies to the following: (SF6 ED AC) AC ELECTRICAL DISTRIBUTION SYSTEM (CFR: 41.7) Breaker control power | 3.5 | K2 | 400062
50 | (026K4.08) Knowledge of (SF5 CSS) CONTAINMENT SPRAY SYSTEM design features and/or interlocks that provide for the following (CFR: 41.7): Automatic features of the CSS valves that provide injection and/or recirculation | 3.9 | K4 | 400026
51 | (010K5.01) Knowledge of the operational implications or cause and effect relationships of the following concepts as they apply to the (SF3 PZR PCS) PRESSURIZER PRESSURE CONTROL SYSTEM (CFR: 41.5 / 45.7): Using steam tables to determine the condition of fluid in PZR (reference potential) | 3.6 | K5 | 400010
52 | (039A2.06) Ability to (a) predict the impacts of the following on the (SF4S MSS) MAIN AND REHEAT STEAM SYSTEM and (b) based on those predictions, use procedures to correct, control, or mitigate the consequences of those abnormal operations (CFR: 41.5 / 43.5 / 45.3 / 45.13): Atmospheric relief valve malfunctions | 4.2 | A2 | 400039
53 | (013K3.08) Knowledge of the effect that a loss or malfunction of the (SF2 ESFAS) ENGINEERED SAFETY FEATURES ACTUATION SYSTEM will have on the following systems or system parameters (CFR: 41.3 to 41.7 / 45.6): AFW | 4.1 | K3 | 400013
54 | (008A3.05) Ability to monitor automatic features of the (SF8 CCW) COMPONENT COOLING WATER SYSTEM, including (CFR: 41.7 / 45.5): Automatic isolation valves in the CCWS | 3.6 | A3 | 400008
55 | (007K5.02) Knowledge of the operational implications or cause and effect relationships of the following concepts as they apply to the (SF5 PRTS) PRESSURIZER RELIEF/QUENCH TANK SYSTEM (CFR: 41.5 / 45.7): Method of forming a steam bubble in the PZR | 3.4 | K2 | 400007
56 | (026K4.02) Knowledge of (SF5 CSS) CONTAINMENT SPRAY SYSTEM design features and/or interlocks that provide for the following (CFR: 41.7): Corrosion control and/or iodine reduction/scavenging via the CSS | 3.5 | K4 | 400026
57 | (006K5.02) Knowledge of the operational implications or cause and effect relationships of the following concepts as they apply to the (SF2; SF3 ECCS) EMERGENCY CORE COOLING SYSTEM (CFR: 41.5 / 45.7): Relationship between safety injection tank volume and pressure | 2.8 | K5 | 400006
58 | (059A2.07) Ability to (a) predict the impacts of the following on the (SF4S MFW) MAIN FEEDWATER SYSTEM and (b) based on those predictions, use procedures to correct, control, or mitigate the consequences of those abnormal operations (CFR: 41.5 / 43.5 / 45.3 / 45.13): Tripping of MFW pump turbine | 4 | A2 | 400059
59 | (039K3.08) Knowledge of the effect that a loss or malfunction of the (SF4S MSS) MAIN AND REHEAT STEAM SYSTEM will have on the following systems or system parameters (CFR: 41.7 / 45.6): CDS | 2.8 | K3 | 400039
60 | (076A3.04) Ability to monitor automatic features of the (SF4S SW) SERVICE WATER SYSTEM, including (CFR: 41.7 / 45.5): Automatic start features associated with SWS pump controls | 3.7 | A3 | 400076
61 | (063K6.06) Knowledge of the effect of the following plant conditions, system malfunctions, or component malfunctions on the (SF6 ED DC) DC ELECTRICAL DISTRIBUTION SYSTEM (CFR: 41.7 / 45.7): Battery | 4 | K6 | 400063
62 | (078A1.01) Ability to predict and/or monitor changes in parameters associated with operation of the (SF8 IAS) INSTRUMENT AIR SYSTEM, including (CFR: 41.5 / 45.5): Instrument air pressure | 3.5 | A1 | 400078
63 | (061K1.10) Knowledge of the physical connections and/or cause and effect relationships between the (SF4S AFW) AUXILIARY/EMERGENCY FEEDWATER SYSTEM and the following systems (CFR: 41.2 to 41.8 / 45.7 / 45.8): Diesel fuel oil system | 2.5 | K1 | 400061
64 | (G2.1.31) CONDUCT OF OPERATIONS: Ability to locate control room switches, controls, and indications and to determine whether they correctly reflect the desired plant lineup (CFR: 41.10 / 45.12) | 4.6 | G2.1 | G2.1
65 | (G2.1.1) CONDUCT OF OPERATIONS: Knowledge of conduct of operations requirements (CFR: 41.10 / 43.10 / 45.13) | 3.8 | G2.1 | G2.1
66 | (G2.2.36) EQUIPMENT CONTROL: Ability to analyze the effect of maintenance activities, such as degraded power sources, on the status of limiting conditions for operation (CFR: 41.10 / 43.2 / 45.13) | 3.1 | G2.2 | G2.2
67 | (G2.2.15) EQUIPMENT CONTROL: Ability to determine the expected plant configuration using design and configuration control documentation, such as drawings, lineups, or tagouts (reference potential) (CFR: 41.10 / 43.3 / 45.13) | 3.9 | G2.2 | G2.2
68 | (G2.3.5) RADIATION CONTROL: Ability to use RMSs, such as fixed radiation monitors and alarms or personnel monitoring equipment (CFR: 41.11 / 41.12 / 43.4 / 45.9) | 2.9 | G2.3 | G2.3
69 | (G2.4.23) EMERGENCY PROCEDURES/PLAN: Knowledge of the bases for prioritizing emergency operating procedures implementation (CFR: 41.10 / 43.5 / 45.13) | 3.4 | G2.4 | G2.4
70 | (192002K1.14) NEUTRON LIFE CYCLE (CFR: 41.1): Evaluate change in SDM due to changes in plant parameters | 3.9 | R | 192002
71 | (192007K1.04) FUEL DEPLETION AND BURNABLE POISONS (CFR: 41.1): Describe how and why boron concentration changes over core life | 3.4 | R | 192007
72 | (192008K1.14) REACTOR OPERATIONAL PHYSICS (CFR: 41.1): (INTERMEDIATE RANGE OPERATION) Describe reactor power and startup rate response prior to reaching the POAH | 3.1 | R | 192008
73 | (193008K1.23) THERMAL HYDRAULICS (CFR: 41.14): (NATURAL CIRCULATION) Describe means by which natural circulation can be enhanced | 4.1 | T | 193008
74 | (193006K1.16) FLUID STATICS AND DYNAMICS (CFR: 41.14): Describe the methods of controlling system flow rates | 3.3 | T | 193006
75 | (193005K1.03) THERMODYNAMIC CYCLES (CFR: 41.14): Describe how changes in system parameters affect thermodynamic efficiency | 2.6 | T | 193005
76 | (395001) 000007 (EPE 7; BW E02 & E10; CE E02) Reactor Trip, Stabilization, Recovery (G2.1.21) CONDUCT OF OPERATIONS: Ability to verify that a copy of a controlled procedure is the proper revision (CFR: 41.10 / 45.10 / 45.13) | 3.6 | G | 395001
77 | (025AA2.19) Ability to determine and/or interpret the following as they apply to (APE 25) LOSS OF RESIDUAL Heat Removal System (CFR: 43.5 / 45.13): Conditions requiring evacuation of personnel from containment | 4.1 | A2 | 395007
78 | (395012) 000040 (APE 40; BW E05; CE E05; W E12) Steam Line Rupture – Excessive Heat Transfer (G2.2.19) EQUIPMENT CONTROL: Knowledge of maintenance work order requirements (CFR: 41.10 / 43.5 / 45.13) | 3.4 | G | 395012
79 | (022AA2.03) Ability to determine and/or interpret the following as they apply to (APE 22) LOSS OF REACTOR Coolant Makeup (CFR: / 43.5 / 45.13): Failures of flow control valve or controller | 3.6 | A2 | 395006
80 | (395015) 000056 (APE 56) Loss of Offsite Power (G2.1.36) CONDUCT OF OPERATIONS: Knowledge of procedures and limitations involved in core alterations (CFR: 41.10 / 43.6 / 45.7) | 4.1 | G | 395015
81 | (038EA2.19) Ability to determine and/or interpret the following as they apply to (EPE 38) STEAM GENERATOR Tube Rupture (CFR: 43.5 / 45.13): S/G level | 4 | A2 | 395011
82 | (395034) 000059 (APE 59) Accidental Liquid Radwaste Release (G2.1.30) CONDUCT OF OPERATIONS: Ability to locate and operate components, including local controls (CFR: 41.7 / 45.7) | 4 | G | 395034
83 | (003AA2.06) Ability to determine and/or interpret the following as they apply to (APE 3) DROPPED Control Rod (CFR: 43.5 / 45.13): Ex-core NIS | 3.8 | A2 | 395025
84 | (395028) 000028 (APE 28) Pressurizer (PZR) Level Control Malfunction (G2.2.40) EQUIPMENT CONTROL: Ability to apply TS with action statements of less than or equal to 1 hour (CFR: 41.10 / 43.2 / 43.5 / 45.3) | 4.7 | G | 395028
85 | (061AA2.03) Ability to determine and/or interpret the following as they apply to (APE 61) AREA RADIATION MONITORING (ARM) System Alarms (CFR: 43.5 / 45.13): Alarm conditions | 3.4 | A2 | 395036
86 | (400006) 006 (SF2; SF3 ECCS) EMERGENCY CORE COOLING SYSTEM (G2.2.21) EQUIPMENT CONTROL: Knowledge of pre- and post-maintenance operability requirements (CFR: 41.10 / 43.2) | 4.1 | G | 400006
87 | (004A2.13) Ability to (a) predict the impacts of the following on the (SF1; SF2 CVCS) CHEMICAL AND VOLUME CONTROL SYSTEM and (b) based on those predictions, use procedures to correct, control, or mitigate the consequences of those abnormal operations (CFR: 41.5 to 41.7 / 43.5 / 45.3 / 45.5): Low RWST level | 3.5 | A2 | 400004
88 | (400059) 059 (SF4S MFW) MAIN FEEDWATER SYSTEM (G2.2.23) EQUIPMENT CONTROL: Ability to track TS limiting conditions for operation (CFR: 41.10 / 43.2 / 45.13) | 4.6 | G | 400059
89 | (005A2.02) Ability to (a) predict the impacts of the following on the (SF4P RHR) RESIDUAL HEAT REMOVAL SYSTEM and (b) based on those predictions, use procedures to correct, control, or mitigate the consequences of those abnormal operations (CFR: 41.5 / 43.5 / 45.3 / 45.13): Pressure transient protection during cold shutdown | 3.9 | A2 | 400005
90 | (400012) 012 (SF7 RPS) REACTOR PROTECTION SYSTEM (G2.4.3) EMERGENCY PROCEDURES/PLAN: Ability to identify post-accident instrumentation (CFR: 41.6 / 45.4) | 3.9 | G | 400012
91 | (103A2.04) Ability to (a) predict the impacts of the following on the (SF5 CNT) CONTAINMENT SYSTEM and (b) based on those predictions, use procedures to correct, control, or mitigate the consequences of those abnormal operations (CFR: 41.5 / 43.5 / 45.3 / 45.13): Conditions requiring containment evacuation (including recognition of the alarm) | 3.4 | A2 | 400103
92 | (400005) 005 (SF4P RHR) RESIDUAL HEAT REMOVAL SYSTEM (G2.4.2) EMERGENCY PROCEDURES/PLAN: Knowledge of system setpoints, interlocks, and automatic actions associated with emergency and abnormal operating procedure entry conditions (CFR: 41.7 / 45.7 / 45.8) | 4.6 | G | 400005
93 | (025A2.03) Ability to (a) predict the impacts of the following on the (SF5 ICE) ICE CONDENSER SYSTEM and (b) based on those predictions, use procedures to correct, control, or mitigate the consequences of those abnormal operations (CFR: 41.5 / 43.5 / 45.3 / 45.13): Opening of ice condenser doors | 3.9 | A2 | 400025
94 | (G2.1.17) CONDUCT OF OPERATIONS: Ability to make accurate, clear, and concise verbal reports (CFR: 41.10 / 45.12 / 45.13) | 4 | G2.1 | G2.1
95 | (G2.1.7) CONDUCT OF OPERATIONS: Ability to evaluate plant performance and make operational judgments based on operating characteristics, reactor behavior, and instrument interpretation (CFR: 41.5 / 43.5 / 45.12 / 45.13) | 4.7 | G2.1 | G2.1
96 | (G2.2.3) EQUIPMENT CONTROL: (Multi-unit license) Knowledge of the design, procedural, and/or operational differences between units (CFR: 41.5 / 41.6 / 41.7 / 41.10 / 45.12) | 3.9 | G2.2 | G2.2
97 | (G2.2.39) EQUIPMENT CONTROL: Knowledge of less than or equal to 1 hour TS action statements (does not include action statements of 1 hour or less that follow the expiration of a completion time for a TS condition for which an action statement has already been entered) (CFR: 41.7 / 41.10 / 43.2 / 45.13) | 4.5 | G2.2 | G2.2
98 | (G2.3.14) RADIATION CONTROL: Knowledge of radiation or contamination hazards that may arise during normal, abnormal, or emergency conditions or activities, such as analysis and interpretation of radiation and activity readings as they pertain to administrative, normal, abnormal, and emergency procedures or to analysis and interpretation of coolant activity, including comparison to emergency plan or regulatory limits (SRO Only) (CFR: 43.4 / 45.10) | 3.8 | G2.3 | G2.3
99 | (G2.4.20) EMERGENCY PROCEDURES/PLAN: Knowledge of the operational implications of emergency and abnormal operating procedures warnings, cautions, and notes (CFR: 41.10 / 43.5 / 45.13) | 4.3 | G2.4 | G2.4
100 | (G2.4.46) EMERGENCY PROCEDURES/PLAN: Ability to verify that the alarms are consistent with the plant conditions (CFR: 41.10 / 43.5 / 45.3 / 45.12) | 4.2 | G2.4 | G2.4