## Sheet1
Question Number | Topic Title | Topic Importance | K/A Category | System
1 | (CE06EK2.07) Knowledge of the relationship between (CE E06) LOSS OF FEEDWATER and the following systems or components (CFR: 41.7 / 41.8 / 45.4 / 45.7 / 45.8): SGS | 4 | K2 | 395013
2 | (008AA2.16) Ability to determine and/or interpret the following as they apply to (APE 8) PRESSURIZER VAPOR Space Accident (CFR: 43.5 / 45.13): RCS in-core thermocouples | 3 | A2 | 395002
3 | (395017) 000058 (APE 58) Loss of DC Power (G2.4.12) EMERGENCY PROCEDURES/PLAN: Knowledge of operating crew responsibilities during emergency and abnormal operations (CFR: 41.10 / 45.12) | 4 | G | 395017
4 | (WE04EK1.04) Knowledge of the operational implications and/or cause and effect relationships of the following concepts as they apply to (W E04) LOCA Outside Containment (CFR: 41.5 / 41.7 / 45.7 / 45.8): Component failures required to establish a LOCA outside containment | 3.8 | K1 | 395021
5 | (BE02EK3.17) Knowledge of the reasons for the following responses and/or actions as they apply to (BW E02) VITAL SYSTEM STATUS VERIFICATION (CFR: 41.5 / 41.10 / 45.6 / 45.13): Check for no automatic actuation needed by ESAS or MSLI | 4.2 | K3 | 395001
6 | (065AA1.05) Ability to operate and/or monitor the following as they apply to (APE 65) LOSS OF Instrument Air (CFR: 41.7 / 45.5 / 45.6): RPS | 3.2 | A1 | 395019
7 | (WE11EK2.17) Knowledge of the relationship between (W E11) LOSS OF EMERGENCY Coolant Recirculation and the following systems or components (CFR: 41.7 / 41.8 / 45.2 / 45.4): IAS | 2.9 | K2 | 395022
8 | (029EA2.01) Ability to determine and/or interpret the following as they apply to (EPE 29) ANTICIPATED TRANSIENT WITHOUT SCRAM (ATWS) (CFR: 43.5 / 45.13): Reactor power | 4.4 | A2 | 395010
9 | (395012) 000040 (APE 40; BW E05; CE E05; W E12) Steam Line Rupture – Excessive Heat Transfer (G2.1.23) CONDUCT OF OPERATIONS: Ability to perform general and/or normal operating procedures during any plant condition (CFR: 41.10 / 43.5 / 45.2 / 45.6) | 4.3 | G | 395012
10 | (057AK1.01) Knowledge of the operational implications and/or cause and effect relationships of the following concepts as they apply to (APE 57) LOSS OF VITAL AC ELECTRICALINSTRUMENT BUS (CFR: 41.8 / 41.10 / 45.3): Effect of a loss of power to instruments powered by a vital instrument bus on pla | 4.3 | K1 | 395016
11 | (026AK3.03) Knowledge of the reasons for the following responses and/or actions as they apply to (APE 26) LOSS OF Component Cooling Water (CFR: 41.5 / 41.10 / 45.6 / 45.13): Guidance actions contained in EOPs for loss of CCW | 3.8 | K3 | 395008
12 | (027AA1.01) Ability to operate and/or monitor the following as they apply to (APE 27) PRESSURIZER PRESSURE Control System Malfunction (CFR: 41.7 / 45.5 / 45.6): PZR heaters, sprays, and PORVs | 3.8 | A1 | 395009
13 | (055EK2.08) Knowledge of the relationship between (EPE 55) Station Blackout and the following systems or components (CFR: 41.7 / 45.7): RCS | 3.8 | K2 | 395014
14 | (015AA2.15) Ability to determine and/or interpret the following as they apply to (APE 15) REACTOR COOLANT Pump Malfunctions (CFR: 43.5 / 45.13): Natural circulation flow | 3.2 | A2 | 395005
15 | (395011) 000038 (EPE 38) Steam Generator Tube Rupture (G2.2.36) EQUIPMENT CONTROL: Ability to analyze the effect of maintenance activities, such as degraded power sources, on the status of limiting conditions for operation (CFR: 41.10 / 43.2 / 45.13) | 3.1 | G | 395011
16 | (009EK1.03) Knowledge of the operational implications and/or cause and effect relationships of the following concepts as they apply to (EPE 9) SMALL-Break LOCA (CFR: 41.8 / 41.10 / 45.3): RCS heat removal | 4 | K1 | 395003
17 | (077AK3.01) Knowledge of the reasons for the following responses and/or actions as they apply to (APE 77) GENERATOR VOLTAGE AND ELECTRIC Grid Disturbances (CFR: 41.4 / 41.5 / 41.7 / 41.10 / 45.8): Reactor and turbine trip criteria | 3.9 | K3 | 395020
18 | (056AA1.38) Ability to operate and/or monitor the following as they apply to (APE 56) Loss of Offsite Power (CFR: 41.7 / 45.5 / 45.6): Auxiliary building ventilation system | 2.7 | A1 | 395015
19 | (WE08EK2.15) Knowledge of the relationship between (W E08) Pressurized Thermal Shock and the following systems or components (CFR: 41.7 / 41.8 / 45.2 / 45.4): Reactor makeup system | 3.1 | K2 | 395056
20 | (WE01EA2.07) Ability to determine and/or interpret the following as they apply to (W E01) REDIAGNOSIS (CFR: 41.10 / 43.5 / 45.13): S/G level | 3.6 | A2 | 395043
21 | (395046) (W E16) High Containment Radiation (G2.2.4) EQUIPMENT CONTROL: (Multi-unit license) Ability to explain the variations in control room layouts, systems, instrumentation, and/or procedural actions between units at a facility (CFR: 41.6 / 41.7 / 41.10 / 45.1 / 45.13) | 3.6 | G | 395046
22 | (037AK1.07) Knowledge of the operational implications and/or cause and effect relationships of the following concepts as they apply to (APE 37) STEAM Generator Tube Leak (CFR: 41.5 / 41.10 / 45.3): When to isolate S/Gs | 4.2 | K1 | 395032
23 | (028AK3.03) Knowledge of the reasons for the following responses and/or actions as they apply to (APE 28) PRESSURIZER (PZR) Level Control Malfunction (CFR: 41.5 / 41.10 / 45.6 / 45.13): False indication of PZR level when PORV or spray valve is open and RCS is saturated | 3.8 | K3 | 395028
24 | (001AA1.02) Ability to operate and/or monitor the following as they apply to (APE 1) CONTINUOUS Rod Withdrawal (CFR: 41.7 / 45.5 / 45.6): Rod in-out-hold switch | 4 | A1 | 395024
25 | (033AK2.01) Knowledge of the relationship between (APE 33) LOSS OF INTERMEDIATE RANGE Nuclear Instrumentation and the following systems or components (CFR: 41.7 / 45.7): Power supplies | 3.1 | K2 | 395030
26 | (WE15EA2.04) Ability to determine and/or interpret the following as they apply to (W E15) Containment Flooding (CFR: 41.10 / 43.5 / 45.13): Tank levels and/or system flow indications for systems that supply components inside containment | 2.5 | A2 | 395045
27 | (010A2.03) Ability to (a) predict the impacts of the following on the (SF3 PZR PCS) PRESSURIZER PRESSURE CONTROL SYSTEM and (b) based on those predictions, use procedures to correct, control, or mitigate the consequences of those abnormal operations (CFR: 41.5 / 43.5 / 45.3 / 45.13): PORV failures | 4.3 | A2 | 400010
28 | (400064) 064 (SF6 EDG) EMERGENCY DIESEL GENERATOR SYSTEM (G2.2.22) EQUIPMENT CONTROL: Knowledge of limiting conditions for operation and safety limits (CFR: 41.5 / 43.2 / 45.2) | 4 | G | 400064
29 | (003K6.03) Knowledge of the effect of the following plant conditions, system malfunctions, or component malfunctions on the (SF4P RCP) REACTOR COOLANT PUMP SYSTEM (CFR: 41.7 / 45.5): RCP lift oil pumps and lube oil pumps | 3.2 | K6 | 400003
30 | (061K4.06) Knowledge of (SF4S AFW) AUXILIARY/EMERGENCY FEEDWATER SYSTEM design features and/or interlocks that provide for the following (CFR: 41.7): AFW manual start permissives | 3.6 | K4 | 400061
31 | (006A4.05) Ability to manually operate and/or monitor the (SF2; SF3 ECCS) EMERGENCY CORE COOLING SYSTEM in the control room (CFR: 41.7 / 45.5 to 45.8): Transfer of ECCS flowpaths | 4.1 | A4 | 400006
32 | (008K5.10) Knowledge of the operational implications or cause and effect relationships of the following concepts as they apply to the (SF8 CCW) COMPONENT COOLING WATER SYSTEM (CFR: 41.5 / 45.7): Requirements on and for the CCWS for different conditions of the power plant | 3.1 | K5 | 400008
33 | (059A3.08) Ability to monitor automatic features of the (SF4S MFW) MAIN FEEDWATER SYSTEM, including (CFR: 41.7 / 45.5): S/G water LCS | 3.8 | A3 | 400059
34 | (073K1.05) Knowledge of the physical connections and/or cause and effect relationships between the (SF7 PRM) PROCESS RADIATION MONITORING SYSTEM and the following systems (CFR: 41.7 to 41.9 / 41.11 / 45.8 / 45.9): CCWS | 3.1 | K1 | 400073
35 | (076K2.08) Knowledge of electrical power supplies to the following: (SF4S SW) SERVICE WATER SYSTEM (CFR: 41.7) ESF-actuated motor-operated valves | 3.5 | K2 | 400076
36 | (078K3.14) Knowledge of the effect that a loss or malfunction of the (SF8 IAS) INSTRUMENT AIR SYSTEM will have on the following systems or system parameters (CFR: 41.7 / 45.6): Fuel pool cooling cleanup system | 2.5 | K3 | 400078
37 | (062A1.06) Ability to predict and/or monitor changes in parameters associated with operation of the (SF6 ED AC) AC ELECTRICAL DISTRIBUTION SYSTEM, including (CFR: 41.5 / 45.5): Load currents | 3.3 | A1 | 400062
38 | (103A2.03) Ability to (a) predict the impacts of the following on the (SF5 CNT) CONTAINMENT SYSTEM and (b) based on those predictions, use procedures to correct, control, or mitigate the consequences of those abnormal operations (CFR: 41.5 / 43.5 / 45.3 / 45.13): Containment isolation signal | 4.4 | A2 | 400103
39 | (400026) 026 (SF5 CSS) CONTAINMENT SPRAY SYSTEM (191004K1.25) PUMPS (CFR: 41.3): (POSITIVE DISPLACEMENT) Reason for starting a positive displacement pump with the discharge valve open; need to clear the flowpath | 2.9 | C | 400026
40 | (022K6.11) Knowledge of the effect of the following plant conditions, system malfunctions, or component malfunctions on the (SF5 CCS) CONTAINMENT COOLING SYSTEM (CFR: 41.7 / 45.7): CCS components | 3.5 | K6 | 400022
41 | (012K4.02) Knowledge of (SF7 RPS) REACTOR PROTECTION SYSTEM design features and/or interlocks that provide for the following (CFR: 41.7): Automatic reactor trip when RPS setpoints are exceeded for each RPS function; functional basis for each | 4.5 | K4 | 400012
42 | (005A4.06) Ability to manually operate and/or monitor the (SF4P RHR) RESIDUAL HEAT REMOVAL SYSTEM in the control room (CFR: 41.7 / 45.5 to 45.8): RCS and containment isolation valves | 3.8 | A4 | 400005
43 | (004K5.14) Knowledge of the operational implications or cause and effect relationships of the following concepts as they apply to the (SF1; SF2 CVCS) CHEMICAL AND VOLUME CONTROL SYSTEM (CFR: 41.5 / 45.7): Reduction process of gas concentration in RCS: vent‑accumulated noncondensable gases from PZR bubble space, depressurized during cooldown or by alternately heating and cooling (spray) within the allowed pressure band (which drives more gas out of solution) | 2.8 | K5 | 400004
44 | (013A3.09) Ability to monitor automatic features of the (SF2 ESFAS) ENGINEERED SAFETY FEATURES ACTUATION SYSTEM, including (CFR: 41.6 to 41.8 / 45.5): Containment spray actuation/signal | 4.1 | A3 | 400013
45 | (039K1.09) Knowledge of the physical connections and/or cause and effect relationships between the (SF4S MSS) MAIN AND REHEAT STEAM SYSTEM and the following systems (CFR: 41.2 to 41.9 / 45.7 / 45.8): RMS | 3.2 | K1 | 400039
46 | (007K1.01) Knowledge of the physical connections and/or cause and effect relationships between the (SF5 PRTS) PRESSURIZER RELIEF/QUENCH TANK SYSTEM and the following systems (CFR: 41.2 to 41.9 / 45.7 / 45.8): CNT | 3.5 | K2 | 400007
47 | (063K3.02) Knowledge of the effect that a loss or malfunction of the (SF6 ED DC) DC ELECTRICAL DISTRIBUTION SYSTEM will have on the following systems or system parameters (CFR: 41.7 / 45.6): Systems using DC control power | 4 | K3 | 400063
48 | (010A1.03) Ability to predict and/or monitor changes in parameters associated with operation of the (SF3 PZR PCS) PRESSURIZER PRESSURE CONTROL SYSTEM, including (CFR: 41.5 / 45.5): PRT/quench tank pressure and temperature | 3.2 | A1 | 400010
49 | (064A2.23) Ability to (a) predict the impacts of the following on the (SF6 EDG) EMERGENCY DIESEL GENERATOR SYSTEM and (b) based on those predictions, use procedures to correct, control, or mitigate the consequences of those abnormal operations (CFR: 41.5 / 43.5 / 45.3 / 45.13): Starting air system failure | 3.4 | A2 | 400064
50 | (400003) 003 (SF4P RCP) REACTOR COOLANT PUMP SYSTEM (G2.4.20) EMERGENCY PROCEDURES/PLAN: Knowledge of the operational implications of emergency and abnormal operating procedures warnings, cautions, and notes (CFR: 41.10 / 43.5 / 45.13) | 3.8 | G | 400003
51 | (061K6.01) Knowledge of the effect of the following plant conditions, system malfunctions, or component malfunctions on the (SF4S AFW) AUXILIARY/EMERGENCY FEEDWATER SYSTEM (CFR: 41.7 / 45.5 to 45.8): AFW flow controller | 3.9 | K6 | 400061
52 | (006K4.19) Knowledge of (SF2; SF3 ECCS) EMERGENCY CORE COOLING SYSTEM design features and/or interlocks that provide for the following (CFR: 41.7 / 41.8): Interlocks to RWST makeup valve | 3.2 | K4 | 400006
53 | (008A4.07) Ability to manually operate and/or monitor the (SF8 CCW) COMPONENT COOLING WATER SYSTEM in the control room (CFR: 41.7 / 45.5): Control of minimum level in the CCWS surge tank | 3.2 | A4 | 400008
54 | (059K5.17) Knowledge of the operational implications or cause and effect relationships of the following concepts as they apply to the (SF4S MFW) MAIN FEEDWATER SYSTEM (CFR: 41.5 / 45.7): MFW pump speed and flow regulating valves (reason for adjusting position of both) | 3.5 | K5 | 400059
55 | (071A2.03) Ability to (a) predict the impacts of the following on the (SF9 WGS) WASTE GAS DISPOSAL SYSTEM and (b) based on those predictions, use procedures to correct, control, or mitigate the consequences of those abnormal operations (CFR: 41.5 / 43.5 / 45.3 / 45.8 / 45.9 / 45.13): WGS component malfunctions | 3 | A2 | 400071
56 | (400001) 001 (SF1 CRDS) CONTROL ROD DRIVE SYSTEM (191007K1.08) DEMINERALIZERS AND ION EXCHANGERS (CFR: 41.3): Demineralizer characteristics that can cause a change in boron concentration | 3.2 | C | 400001
57 | (015K6.09) Knowledge of the effect of the following plant conditions, system malfunctions, or component malfunctions on the (SF7 NI) NUCLEAR INSTRUMENTATION SYSTEM (CFR: 41.7 / 45.7): AC electrical distribution system | 3.2 | K6 | 400015
58 | (027K5.01) Knowledge of the operational implications or cause and effect relationships of the following concepts as they apply to the (SF5 CIRS) CONTAINMENT IODINE REMOVAL SYSTEM (CFR: 41.7 / 45.7): Purpose of charcoal filters | 2.9 | K4 | 400027
59 | (034A4.04) Ability to manually operate and/or monitor the (SF8 FHS) FUEL HANDLING EQUIPMENT SYSTEM in the control room (CFR: 41.4 / 41.7 / 43.7 / 45.5 / 45.6 / 45.8): Spent fuel handling machine operation | 2.5 | A4 | 400034
60 | (086K5.06) Knowledge of the operational implications or cause and effect relationships of the following concepts as they apply to the (SF8 FPS) FIRE PROTECTION SYSTEM (CFR: 41.5 / 45.7): Types of fire, extinguishing agents, and extinguishing mechanism | 3.1 | K5 | 400086
61 | (072A3.01) Ability to monitor automatic features of the (SF7 ARM) AREA RADIATION MONITORING SYSTEM, including (CFR: 41.7 / 45.8 / 45.9): Changes in system alignment | 3.3 | A3 | 400072
62 | (068K1.09) Knowledge of the physical connections and/or cause and effect relationships between the (SF9 LRS) LIQUID RADWASTE SYSTEM and the following systems (CFR: 41.7 to 41.9 / 45.7 / 45.8): CVCS | 2.9 | K1 | 400068
63 | (016K2.02) Knowledge of electrical power supplies to the following: (SF7 NNI) NONNUCLEAR INSTRUMENTATION SYSTEM (CFR: 41.7) Secondary system control circuits | 3 | K2 | 400016
64 | (G2.1.36) CONDUCT OF OPERATIONS: Knowledge of procedures and limitations involved in core alterations (CFR: 41.10 / 43.6 / 45.7) | 3 | G2.1 | G2.1
65 | (G2.1.5) CONDUCT OF OPERATIONS: Ability to use procedures related to shift staffing, such as minimum crew complement or overtime limitations (reference potential) (CFR: 41.10 / 43.5 / 45.12) | 2.9 | G2.1 | G2.1
66 | (G2.2.35) EQUIPMENT CONTROL: Ability to determine TS for mode of operation (CFR: 41.7 / 41.10 / 43.2 / 45.13) | 3.6 | G2.2 | G2.2
67 | (G2.2.13) EQUIPMENT CONTROL: Knowledge of tagging and clearance procedures (CFR: 41.10 / 43.1 / 45.13) | 4.1 | G2.2 | G2.2
68 | (G2.3.5) RADIATION CONTROL: Ability to use RMSs, such as fixed radiation monitors and alarms or personnel monitoring equipment (CFR: 41.11 / 41.12 / 43.4 / 45.9) | 2.9 | G2.3 | G2.3
69 | (G2.4.30) EMERGENCY PROCEDURES/PLAN: Knowledge of events related to system operation/status that must be reported to internal organizations or external agencies, such as the State, the NRC, or the transmission system operator (CFR: 41.10 / 43.5 / 45.11) | 2.7 | G2.4 | G2.4
70 | (192006K1.10) FISSION PRODUCT POISONS (CFR: 41.1): Plot the curve and explain the reasoning for the reactivity insertion by xenon-135 versus time for the following: -- reactor startup with xenon‑135 already present in the core | 3.2 | R | 192006
71 | (192004K1.06) REACTIVITY COEFFICIENTS (CFR: 41.1): Define fuel temperature (Doppler) coefficient of reactivity | 2.7 | R | 192004
72 | (192007K1.01) FUEL DEPLETION AND BURNABLE POISONS (CFR: 41.1): Define burnable poison and state its use in the reactor | 2.5 | R | 192007
73 | (193001K1.01) THERMODYNAMIC UNITS AND PROPERTIES (CFR: 41.14): Convert between absolute and gauge pressure and vacuum scales | 2.7 | T | 193001
74 | (193003K1.12) STEAM (CFR: 41.14): Define the following term: -- moisture content | 2.8 | T | 193003
75 | (193009K1.10) CORE THERMAL LIMITS (CFR: 41.14): Define and calculate quadrant tilt (symmetric offset) ratio | 3.3 | T | 193009
76 | (011EA2.16) Ability to determine and/or interpret the following as they apply to (EPE 11) LARGE-Break LOCA (CFR: 43.5 / 45.13): ECCS flow | 4.2 | A2 | 395004
77 | (395018) 000062 (APE 62) Loss of Nuclear Service Water (G2.1.1) CONDUCT OF OPERATIONS: Knowledge of conduct of operations requirements (CFR: 41.10 / 43.10 / 45.13) | 4.2 | G | 395018
78 | (BE04EA2.11) Ability to determine and/or interpret the following as they apply to (BW E04) INADEQUATE HEAT TRANSFER (CFR: 41.10 / 43.5 / 45.13): MFW component positions | 3.9 | A2 | 395023
79 | (395006) 000022 (APE 22) Loss of Reactor Coolant Makeup (G2.4.37) EMERGENCY PROCEDURES/PLAN: Knowledge of the lines of authority during implementation of the emergency plan implementing procedures (CFR: 41.10 / 45.13) | 4.1 | G | 395006
80 | (025AA2.08) Ability to determine and/or interpret the following as they apply to (APE 25) LOSS OF RESIDUAL Heat Removal System (CFR: 43.5 / 45.13): RHR heat exchange inlet and outlet temperatures | 3.5 | A2 | 395007
81 | (395013) 000054 (APE 54; CE E06) Loss of Main Feedwater (G2.1.28) CONDUCT OF OPERATIONS: Knowledge of the purpose and function of major system components and controls (CFR: 41.7) | 4.1 | G | 395013
82 | (WE09EA2.03) Ability to determine and/or interpret the following as they apply to (W E09) NATURAL CIRCULATION OPERATIONS (CFR: 41.10 / 43.5 / 45.13): RCS pressure, temperature, and/or PZR level | 4 | A2 | 395054
83 | (395053) (BW E08; W E03) LOCA Cooldown – Depressurization (G2.2.17) EQUIPMENT CONTROL: Knowledge of the process for managing maintenance activities during power operations, such as risk assessments, work prioritization, and coordination with the transmission system operator (CFR: 41.10 / 43.5 / 45.13) | 3.8 | G | 395053
84 | (051AA2.04) Ability to determine and/or interpret the following as they apply to (APE 51) LOSS OF Condenser Vacuum (CFR: 43.5 / 45.13): Gland steam header pressure | 2.9 | A2 | 395033
85 | (395026) 000005 (APE 5) Inoperable/Stuck Control Rod (G2.4.32) EMERGENCY PROCEDURES/PLAN: Knowledge of operator response to loss of annunciators (CFR: 41.10 / 43.5 / 45.13) | 4 | G | 395026
86 | (073A2.01) Ability to (a) predict the impacts of the following on the (SF7 PRM) PROCESS RADIATION MONITORING SYSTEM and (b) based on those predictions, use procedures to correct, control, or mitigate the consequences of those abnormal operations (CFR: 41.5 / 43.5 / 45.3 / 45.13 / 8-9): PRM component failures | 3.1 | A2 | 400073
87 | (400076) 076 (SF4S SW) SERVICE WATER SYSTEM (G2.4.45) EMERGENCY PROCEDURES/PLAN: Ability to prioritize and interpret the significance of each annunciator or alarm (CFR: 41.10 / 43.5 / 45.3 / 45.12) | 4.3 | G | 400076
88 | (078A2.02) Ability to (a) predict the impacts of the following on the (SF8 IAS) INSTRUMENT AIR SYSTEM and (b) based on those predictions, use procedures to correct, control, or mitigate the consequences of those abnormal operations (CFR: 41.5 / 43.5 / 45.3 / 45.13): Low instrument air pressure | 3.8 | A2 | 400078
89 | (400062) 062 (SF6 ED AC) AC ELECTRICAL DISTRIBUTION SYSTEM (G2.3.11) RADIATION CONTROL: Ability to control radiation releases (CFR: 41.11 / 43.4 / 45.10) | 4.3 | G | 400062
90 | (103A2.09) Ability to (a) predict the impacts of the following on the (SF5 CNT) CONTAINMENT SYSTEM and (b) based on those predictions, use procedures to correct, control, or mitigate the consequences of those abnormal operations (CFR: 41.5 / 43.5 / 45.3 / 45.13): HRPS failure | 3 | A2 | 400103
91 | (400055) 055 (SF4S CARS) CONDENSER AIR REMOVAL SYSTEM (G2.4.5) EMERGENCY PROCEDURES/PLAN: Knowledge of the organization of the operating procedures network for normal, abnormal, and emergency evolutions (CFR: 41.10 / 43.5 / 45.13) | 4.3 | G | 400055
92 | (075A2.13) Ability to (a) predict the impacts of the following on the (SF8 CW) CIRCULATING WATER SYSTEM and (b) based on those predictions, use procedures to correct, control, or mitigate the consequences of those abnormal operations (CFR: 41.5 / 43.5 / 45.3 / 45.13): Loss of condenser vacuum | 3.7 | A2 | 400075
93 | (400014) 014 (SF1 RPI) ROD POSITION INDICATION SYSTEM (G2.2.44) EQUIPMENT CONTROL: Ability to interpret control room indications to verify the status and operation of a system and understand how operator actions and directives affect plant and system conditions (CFR: 41.5 / 43.5 / 45.12) | 4.4 | G | 400014
94 | (G2.1.39) CONDUCT OF OPERATIONS: Knowledge of conservative decision-making practices (CFR: 41.10 / 43.5 / 45.12) | 4.3 | G2.1 | G2.1
95 | (G2.1.9) CONDUCT OF OPERATIONS: Ability to direct licensed personnel activities inside the control room (SRO Only) (CFR: 43.1 / 45.5 / 45.12 / 45.13) | 4.5 | G2.1 | G2.1
96 | (G2.2.41) EQUIPMENT CONTROL: Ability to obtain and interpret station electrical and mechanical drawings (reference potential) (CFR: 41.10 / 45.12 / 45.13) | 3.9 | G2.2 | G2.2
97 | (G2.2.7) EQUIPMENT CONTROL: Knowledge of the process for conducting infrequently performed tests or evolutions (CFR: 41.10 / 43.3 / 45.13) | 3.6 | G2.2 | G2.2
98 | (G2.3.14) RADIATION CONTROL: Knowledge of radiation or contamination hazards that may arise during normal, abnormal, or emergency conditions or activities, such as analysis and interpretation of radiation and activity readings as they pertain to administrative, normal, abnormal, and emergency procedures or to analysis and interpretation of coolant activity, including comparison to emergency plan or regulatory limits (SRO Only) (CFR: 43.4 / 45.10) | 3.8 | G2.3 | G2.3
99 | (G2.4.49) EMERGENCY PROCEDURES/PLAN: Ability to perform without reference to procedures those actions that require immediate operation of system components and controls (CFR: 41.10 / 43.2 / 45.6) | 4.4 | G2.4 | G2.4
100 | (G2.4.43) EMERGENCY PROCEDURES/PLAN: Knowledge of emergency communications systems and techniques (CFR: 41.10 / 43.5 / 45.13) | 3.8 | G2.4 | G2.4