## Sheet1
Question Number | Topic Title | Topic Importance | K/A Category | System
1 | (009EK3.16) Knowledge of the reasons for the following responses and/or actions as they apply to (EPE 9) SMALL-Break LOCA (CFR: 41.5 / 41.10 / 45.6 / 45.13): Adverse containment parameters | 3.9 | K3 | 395003
2 | (026AA1.05) Ability to operate and/or monitor the following as they apply to (APE 26) LOSS OF Component Cooling Water (CFR: 41.5 / 41.7 / 45.5 to 45.8): The CCWS surge tank, including level control, level alarms, and a radiation alarm | 3.5 | A1 | 395008
3 | (038EA2.15) Ability to determine and/or interpret the following as they apply to (EPE 38) STEAM GENERATOR Tube Rupture (CFR: 43.5 / 45.13): RCS pressure | 4 | A2 | 395011
4 | (065AK2.15) Knowledge of the relationship between (APE 65) LOSS OF Instrument Air and the following systems or components (CFR: 41.7 / 45.7): MFW | 3.4 | K2 | 395019
5 | (395018) 000062 (APE 62) Loss of Nuclear Service Water (G2.1.46) CONDUCT OF OPERATIONS: Ability to use integrated control systems to operate plant systems or components (CFR: 41.10 / 45.12 / 45.13) | 4 | G | 395018
6 | (029EK1.01) Knowledge of the operational implications and/or cause and effect relationships of the following concepts as they apply to (EPE 29) ANTICIPATED TRANSIENT WITHOUT SCRAM (ATWS) (CFR: 41.8 / 41.10 / 45.3): Reactor nucleonic and thermohydraulic behavior | 3.8 | K1 | 395010
7 | (055EK3.01) Knowledge of the reasons for the following responses and/or actions as they apply to (EPE 55) Station Blackout (CFR: 41.5 / 41.10 / 45.6 / 45.13): Length of time for which battery capacity is designed | 4.1 | K3 | 395014
8 | (022AA1.05) Ability to operate and/or monitor the following as they apply to (APE 22) LOSS OF REACTOR Coolant Makeup (CFR: 41.7 / 45.5 / 45.6): RCP seal backpressure regulator valves | 3.3 | A1 | 395006
9 | (WE04EA2.03) Ability to determine and/or interpret the following as they apply to (W E04) LOCA Outside Containment (CFR: 41.10 / 43.5 / 45.13): RCS pressure | 3.9 | A2 | 395021
10 | (008AK2.09) Knowledge of the relationship between (APE 8) PRESSURIZER VAPOR Space Accident and the following systems or components (CFR: 41.7 / 45.7): PRT/quench tank | 3.8 | K2 | 395002
11 | (395012) 000040 (APE 40; BW E05; CE E05; W E12) Steam Line Rupture – Excessive Heat Transfer (G2.1.19) CONDUCT OF OPERATIONS: Ability to use available indications to evaluate system or component status (CFR: 41.10 / 45.12) | 3.9 | G | 395012
12 | (WE11EK1.04) Knowledge of the operational implications and/or cause and effect relationships of the following concepts as they apply to (W E11) LOSS OF EMERGENCY Coolant Recirculation (CFR: 41.5 / 41.7 / 45.7 / 45.8): LOCA outside containment | 4 | K1 | 395022
13 | (BE02EK3.13) Knowledge of the reasons for the following responses and/or actions as they apply to (BW E02) VITAL SYSTEM STATUS VERIFICATION (CFR: 41.5 / 41.10 / 45.6 / 45.13): Check for proper instrument air pressure | 3.3 | K3 | 395001
14 | (027AA1.05) Ability to operate and/or monitor the following as they apply to (APE 27) PRESSURIZER PRESSURE Control System Malfunction (CFR: 41.7 / 45.5 / 45.6): Transfer of heaters to a backup power supply | 3.3 | A1 | 395009
15 | (056AA2.53) Ability to determine and/or interpret the following as they apply to (APE 56) Loss of Offsite Power (CFR: 43.5 / 45.13): Status of emergency bus under voltage relays | 3.2 | A2 | 395015
16 | (CE06EK2.03) Knowledge of the relationship between (CE E06) LOSS OF FEEDWATER and the following systems or components (CFR: 41.7 / 41.8 / 45.4 / 45.7 / 45.8): RCS | 3.9 | K2 | 395013
17 | (395005) 000015 (APE 15) Reactor Coolant Pump Malfunctions (G2.1.43) CONDUCT OF OPERATIONS: Ability to use an online power distribution monitoring system and/or procedures to determine the effects on reactivity of plant changes, such as RCS temperature, secondary plant, or fuel depletion | 4.1 | G | 395005
18 | (BE04EK1.06) Knowledge of the operational implications and/or cause and effect relationships of the following concepts as they apply to (BW E04) INADEQUATE HEAT TRANSFER (CFR: 41.5 / 41.7 / 45.7 / 45.8): Primary inventory control | 3.9 | K1 | 395023
19 | (074EK3.04) Knowledge of the reasons for the following responses and/or actions as they apply to (EPE 74) Inadequate Core Cooling (CFR: 41.5 / 41.10 / 45.6 / 45.13): Stopping RCPs | 3.9 | K3 | 395040
20 | (036AA1.02) Ability to operate and/or monitor the following as they apply to (APE 36) FUEL HANDLING INCIDENTS (CFR: 41.7 / 45.5 / 45.6): ARM system | 3.3 | A1 | 395031
21 | (WE01EA2.09) Ability to determine and/or interpret the following as they apply to (W E01) REDIAGNOSIS (CFR: 41.10 / 43.5 / 45.13): Which procedure or procedure set should be transitioned to | 4.2 | A2 | 395043
22 | (005AK2.08) Knowledge of the relationship between (APE 5) INOPERABLE/STUCK Control Rod and the following systems or components (CFR: 41.7 / 45.7): CVCS | 2.8 | K2 | 395026
23 | (395041) 000076 (APE 76) High Reactor Coolant Activity (G2.1.47) CONDUCT OF OPERATIONS: Ability to direct nonlicensed personnel activities inside the control room (CFR: 41.10 / 43.5 / 45.5 / 45.12 / 45.13) | 3.2 | G | 395041
24 | (WE14EK1.08) Knowledge of the operational implications and/or cause and effect relationships of the following concepts as they apply to (W E14) HIGH CONTAINMENT PRESSURE (CFR: 41.5 / 41.7 / 45.7 / 45.8): Loss of secondary heat sink | 3.8 | K1 | 395039
25 | (024AK3.01) Knowledge of the reasons for the following responses and/or actions as they apply to (APE 24) EMERGENCY Boration (CFR: 41.5 / 41.10 / 45.6 / 45.13): When emergency boration is required | 4.4 | K3 | 395027
26 | (068AA1.13) Ability to operate and/or monitor the following as they apply to (APE 68) Control Room Evacuation (CFR: 41.7 / 45.5 / 45.6): PZR level controllers | 3.7 | A1 | 395038
27 | (059A1.10) Ability to predict and/or monitor changes in parameters associated with operation of the (SF4S MFW) MAIN FEEDWATER SYSTEM, including (CFR: 41.5 / 45.5): Feedwater pump seal leakoff temperature | 2.5 | A1 | 400059
28 | (010A3.05) Ability to monitor automatic features of the (SF3 PZR PCS) PRESSURIZER PRESSURE CONTROL SYSTEM, including (CFR: 41.7 / 45.5): PORV and block valve operation | 3.8 | A3 | 400010
29 | (103K6.13) Knowledge of the effect of the following plant conditions, system malfunctions, or component malfunctions on the (SF5 CNT) CONTAINMENT SYSTEM (CFR: 41.7 / 45.7): MFW | 3.2 | K6 | 400103
30 | (007K1.04) Knowledge of the physical connections and/or cause and effect relationships between the (SF5 PRTS) PRESSURIZER RELIEF/QUENCH TANK SYSTEM and the following systems (CFR: 41.2 to 41.9 / 45.7 / 45.8): Nitrogen system | 2.6 | K1 | 400007
31 | (013A4.08) Ability to manually operate and/or monitor the (SF2 ESFAS) ENGINEERED SAFETY FEATURES ACTUATION SYSTEM in the control room (CFR: 41.6 / 41.7 / 45.5 to 45.8): Main steam isolation system actuation/reset | 4 | A4 | 400013
32 | (003K5.02) Knowledge of the operational implications or cause and effect relationships of the following concepts as they apply to the (SF4P RCP) REACTOR COOLANT PUMP SYSTEM (CFR: 41.5 / 45.7): Effects of RCP coastdown on RCS parameters | 3.4 | K5 | 400003
33 | (026A2.09) Ability to (a) predict the impacts of the following on the (SF5 CSS) CONTAINMENT SPRAY SYSTEM and (b) based on those predictions, use procedures to correct, control, or mitigate the consequences of those abnormal operations (CFR: 41.5 / 43.5 / 45.3 / 45.13): Radiation hazard potential of BWST/RWST | 2.8 | A2 | 400026
34 | (400004) 004 (SF1; SF2 CVCS) CHEMICAL AND VOLUME CONTROL SYSTEM (G2.4.39) EMERGENCY PROCEDURES/PLAN: Knowledge of RO responsibilities in emergency plan implementing procedures (CFR: 41.10 / 45.11) | 3.9 | G | 400004
35 | (005K3.05) Knowledge of the effect that a loss or malfunction of the (SF4P RHR) RESIDUAL HEAT REMOVAL SYSTEM will have on the following systems or system parameters (CFR: 41.7 / 45.6): ECCS | 4.3 | K3 | 400005
36 | (063K4.05) Knowledge of (SF6 ED DC) DC ELECTRICAL DISTRIBUTION SYSTEM design features and/or interlocks that provide for the following (CFR: 41.7): Ground detection | 2.6 | K4 | 400063
37 | (039K2.01) Knowledge of electrical power supplies to the following (CFR: 41.7): (SF4S MSS) MAIN AND REHEAT STEAM SYSTEM Safety‑related MRSS valves | 3.1 | K2 | 400039
38 | (078A1.04) Ability to predict and/or monitor changes in parameters associated with operation of the (SF8 IAS) INSTRUMENT AIR SYSTEM, including (CFR: 41.5 / 45.5): Lights and alarms | 3.1 | A1 | 400078
39 | (073A1.01) Ability to predict and/or monitor changes in parameters associated with operation of the (SF7 PRM) PROCESS RADIATION MONITORING SYSTEM, including (CFR: 41.5 / 8-9): Radiation levels | 3.5 | A3 | 400073
40 | (076K6.14) Knowledge of the effect of the following plant conditions, system malfunctions, or component malfunctions on the (SF4S SW) SERVICE WATER SYSTEM (CFR: 41.7 / 45.7): System leakage | 2.9 | K6 | 400076
41 | (062K1.05) Knowledge of the physical connections and/or cause and effect relationships between the (SF6 ED AC) AC ELECTRICAL DISTRIBUTION SYSTEM and the following systems (CFR: 41.4 to 41.8): Vital AC electrical instrument buses | 4.2 | K1 | 400062
42 | (064A4.11) Ability to manually operate and/or monitor the (SF6 EDG) EMERGENCY DIESEL GENERATOR SYSTEM in the control room (CFR: 41.7 / 45.5 to 45.8): The setting of droop voltage to zero | 3.1 | A4 | 400064
43 | (022K5.04) Knowledge of the operational implications or cause and effect relationships of the following concepts as they apply to the (SF5 CCS) CONTAINMENT COOLING SYSTEM (CFR: 41.5 / 45.7): Effects on containment instrumentation | 3.6 | K5 | 400022
44 | (006A2.14) Ability to (a) predict the impacts of the following on the (SF2; SF3 ECCS) EMERGENCY CORE COOLING SYSTEM and (b) based on those predictions, use procedures to correct, control, or mitigate the consequences of those abnormal operations (CFR: 41.5 / 45.3 to 45.5): Gas accumulation | 2.8 | A2 | 400006
45 | (400061) 061 (SF4S AFW) AUXILIARY / EMERGENCY FEEDWATER SYSTEM (191002K1.05) SENSORS AND DETECTORS (CFR: 41.7): (FLOW) Operation of a D/P cell-type flow detector | 2.8 | C | 400061
46 | (012K3.04) Knowledge of the effect that a loss or malfunction of the (SF7 RPS) REACTOR PROTECTION SYSTEM will have on the following systems or system parameters (CFR: 41.7 / 45.6): ESFAS | 3.9 | K3 | 400012
47 | (008K4.06) Knowledge of (SF8 CCW) COMPONENT COOLING WATER SYSTEM design features and/or interlocks that provide for the following (CFR: 41.7): CCWS isolation (e.g., containment isolation, tank levels, and radiation monitors) | 3.5 | K4 | 400008
48 | (059K2.01) Knowledge of electrical power supplies to the following: (SF4S MFW) MAIN FEEDWATER SYSTEM (CFR: 41.7) MFW system pumps | 3.2 | K2 | 400059
49 | (010A1.07) Ability to predict and/or monitor changes in parameters associated with operation of the (SF3 PZR PCS) PRESSURIZER PRESSURE CONTROL SYSTEM, including (CFR: 41.5 / 45.5): RCS or PZR pressure | 3.9 | A1 | 400010
50 | (103A3.01) Ability to monitor automatic features of the (SF5 CNT) CONTAINMENT SYSTEM, including (CFR: 41.7 / 45.5): Containment isolation | 4.2 | A3 | 400103
51 | (007K6.09) Knowledge of the effect of the following plant conditions, system malfunctions, or component malfunctions on the (SF5 PRTS) PRESSURIZER RELIEF/QUENCH TANK SYSTEM (CFR: 41.7 / 45.7): Makeup/fill water | 2.5 | K6 | 400007
52 | (013K1.23) Knowledge of the physical connections and/or cause and effect relationships between the (SF2 ESFAS) ENGINEERED SAFETY FEATURES ACTUATION SYSTEM and the following systems (CFR: 41.2 to 41.9 / 45.7 / 45.8): Containment | 4.1 | K1 | 400013
53 | (003A4.09) Ability to manually operate and/or monitor the (SF4P RCP) REACTOR COOLANT PUMP SYSTEM in the control room (CFR: 41.7 / 45.5 to 45.8): RCS flow, motor current, or seal D/P | 3.6 | A4 | 400003
54 | (026K5.01) Knowledge of the operational implications or cause and effect relationships of the following concepts as they apply to the (SF5 CSS) CONTAINMENT SPRAY SYSTEM (CFR: 41.5 / 45.7): Water chemistry relationship to corrosion control | 2.8 | K5 | 400026
55 | (072A1.01) Ability to predict and/or monitor changes in parameters associated with operation of the (SF7 ARM) AREA RADIATION MONITORING SYSTEM, including (CFR: 41.5 / 45.5 /45.9): Radiation levels | 3.4 | A1 | 400072
56 | (017A1.01) Ability to predict and/or monitor changes in parameters associated with operation of the (SF7 ITM) IN CORE TEMPERATURE MONITOR SYSTEM, including (CFR: 41.5 / 45.7): Core exit temperature | 4 | A3 | 400017
57 | (075K6.07) Knowledge of the effect of the following plant conditions, system malfunctions, or component malfunctions on the (SF8 CW) CIRCULATING WATER SYSTEM (CFR: 41.4 / 41.7 / 45.8): Intake structure malfunction | 2.9 | K6 | 400075
58 | (045K1.19) Knowledge of the physical connections and/or cause and effect relationships between the (SF4S MTG) MAIN TURBINE GENERATOR SYSTEM and the following systems (CFR: 41.4 to 41.7 / 45.7 / 45.8): ESFAS | 3.6 | K1 | 400045
59 | (029A4.01) Ability to manually operate and/or monitor the (SF8 CPS) CONTAINMENT PURGE SYSTEM in the control room (CFR: 41.7 / 45.5 / 45.8): Containment purge flow rate | 2.7 | A4 | 400029
60 | (027K5.01) Knowledge of the operational implications or cause and effect relationships of the following concepts as they apply to the (SF5 CIRS) CONTAINMENT IODINE REMOVAL SYSTEM (CFR: 41.7 / 45.7): Purpose of charcoal filters | 2.9 | K5 | 400027
61 | (041A2.06) Ability to (a) predict the impacts of the following on the (SF4S SDS) STEAM DUMP/TURBINE BYPASS CONTROL SYSTEM and (b) based on those predictions, use procedures to correct, control, or mitigate the consequences of those abnormal operations (CFR: 41.5 / 43.5 / 45.3 / 45.13): MT/G system | 3.3 | A2 | 400041
62 | (400016) 016 (SF7 NNI) NONNUCLEAR INSTRUMENTATION SYSTEM (G2.2.1) EQUIPMENT CONTROL: Ability to perform pre-startup procedures for the facility, including operating those controls associated with plant equipment that could affect reactivity (CFR: 41.5 / 41.10 / 43.5 / 43.6 / 45.1) | 4.5 | G | 400016
63 | (028K3.02) Knowledge of the effect that a loss or malfunction of the (SF5 HRPS) HYDROGEN RECOMBINER AND PURGE CONTROL SYSTEM will have on the following systems or system parameters (CFR: 41.7 / 45.6): CNT | 2.9 | K3 | 400028
64 | (G2.1.34) CONDUCT OF OPERATIONS: Knowledge of RCS or balance-of-plant chemistry controls, including parameters measured and reasons for the control (CFR: 41.10 / 43.5 / 45.12) | 2.7 | G2.1 | G2.1
65 | (G2.1.1) CONDUCT OF OPERATIONS: Knowledge of conduct of operations requirements (CFR: 41.10 / 43.10 / 45.13) | 3.8 | G2.1 | G2.1
66 | (G2.2.20) EQUIPMENT CONTROL: Knowledge of the process for managing troubleshooting activities (CFR: 41.10 / 43.5 / 45.13) | 2.6 | G2.2 | G2.2
67 | (G2.2.18) EQUIPMENT CONTROL: Knowledge of the process for managing maintenance activities during shutdown operations, such as risk assessments and work prioritization (CFR: 41.10 / 43.5 / 45.13) | 2.6 | G2.2 | G2.2
68 | (G2.3.12) RADIATION CONTROL: Knowledge of radiological safety principles and procedures pertaining to licensed operator duties, such as response to radiation monitor alarms, containment entry requirements, fuel handling responsibilities, access to locked high-radiation areas, or alignment of filters (CFR: 41.12 / 43.4 / 45.9 / 45.10) | 3.2 | G2.3 | G2.3
69 | (G2.4.26) EMERGENCY PROCEDURES/PLAN: Knowledge of facility protection requirements, including fire brigade and portable firefighting equipment usage (CFR: 41.10 / 43.5 / 45.12) | 3.1 | G2.4 | G2.4
70 | (192001K1.02) NEUTRONS (CFR: 41.1): Define prompt and delayed neutrons | 2.5 | R | 192001
71 | (192004K1.10) REACTIVITY COEFFICIENTS (CFR: 41.1): Describe the effects on fuel temperature (Doppler) coefficient of reactivity for changes in the following: -- moderator temperature | 2.9 | R | 192004
72 | (192003K1.01) REACTOR KINETICS AND NEUTRON SOURCES (CFR: 41.1): Explain the concept of subcritical multiplication | 2.8 | R | 192003
73 | (193006K1.08) FLUID STATICS AND DYNAMICS (CFR: 41.14): Define or explain the following term or concept: -- pressure spike | 2.7 | T | 193006
74 | (193004K1.11) THERMODYNAMIC PROCESS (CFR: 41.14): (CONDENSERS) Describe the process of condensate depression (subcooling) and its effect on plant operation | 2.5 | T | 193004
75 | (193010K1.05) BRITTLE FRACTURE AND VESSEL THERMAL STRESS (CFR: 41.14): State the effect of fast neutron irradiation on reactor vessel metals | 3 | T | 193010
76 | (395017) 000058 (APE 58) Loss of DC Power (G2.4.37) EMERGENCY PROCEDURES/PLAN: Knowledge of the lines of authority during implementation of the emergency plan implementing procedures (CFR: 41.10 / 45.13) | 4.1 | G | 395017
77 | (011EA2.12) Ability to determine and/or interpret the following as they apply to (EPE 11) LARGE-Break LOCA (CFR: 43.5 / 45.13): Throttling or stopping reflux boiling spray | 3.6 | A2 | 395004
78 | (395007) 000025 (APE 25) Loss of Residual Heat Removal System (G2.2.17) EQUIPMENT CONTROL: Knowledge of the process for managing maintenance activities during power operations, such as risk assessments, work prioritization, and coordination with the transmission system operator (CFR: 41.10 / 43.5 / 45.13) | 3.8 | G | 395007
79 | (077AA2.03) Ability to determine and/or interpret the following as they apply to (APE 77) GENERATOR VOLTAGE AND ELECTRIC Grid Disturbances (CFR: 41.5 / 43.5 / 45.5 / 45.7 / 45.8): Generator current | 3.2 | A2 | 395020
80 | (395016) 000057 (APE 57) Loss of Vital AC Instrument Bus (G2.4.17) EMERGENCY PROCEDURES/PLAN: Knowledge of emergency and abnormal operating procedures terms and definitions (CFR: 41.10 / 45.13) | 4.3 | G | 395016
81 | (009EA2.04) Ability to determine and/or interpret the following as they apply to (EPE 9) SMALL-Break LOCA (CFR: 43.5 / 45.13): PZR level | 3.9 | A2 | 395003
82 | (395036) 000061 (APE 61) Area Radiation Monitoring System Alarms (G2.3.14) RADIATION CONTROL: Knowledge of radiation or contamination hazards that may arise during normal, abnormal, or emergency conditions or activities, such as analysis and interpretation of radiation and activity readings as they pertain to administrative, normal, abnormal, and emergency procedures or to analysis and interpretation of coolant activity, including comparison to emergency plan or regulatory limits (SRO Only) (CFR: 43.4 / 45.10) | 3.8 | G | 395036
83 | (037AA2.12) Ability to determine and/or interpret the following as they apply to (APE 37) STEAM Generator Tube Leak (CFR: 41.7 / 41.10 / 43.5 / 45.13): Flow rate of leak | 3.6 | A2 | 395032
84 | (395056) (CE A11**; W E08) RCS Overcooling – Pressurized Thermal Shock (G2.4.14) EMERGENCY PROCEDURES/PLAN: Knowledge of general guidelines for emergency and abnormal operating procedures usage (CFR: 41.10 / 43.1 / 45.13) | 4.5 | G | 395056
85 | (003AA2.10) Ability to determine and/or interpret the following as they apply to (APE 3) DROPPED Control Rod (CFR: 43.5 / 45.13): RCS pressure and temperature | 3.8 | A2 | 395025
86 | (400004) 004 (SF1; SF2 CVCS) CHEMICAL AND VOLUME CONTROL SYSTEM (G2.1.31) CONDUCT OF OPERATIONS: Ability to locate control room switches, controls, and indications and to determine whether they correctly reflect the desired plant lineup (CFR: 41.10 / 45.12) | 4.3 | G | 400004
87 | (005A2.01) Ability to (a) predict the impacts of the following on the (SF4P RHR) RESIDUAL HEAT REMOVAL SYSTEM and (b) based on those predictions, use procedures to correct, control, or mitigate the consequences of those abnormal operations (CFR: 41.5 / 43.5 / 45.3 / 45.13): RHR instrumentation failure | 3.6 | A2 | 400005
88 | (400063) 063 (SF6 ED DC) DC ELECTRICAL DISTRIBUTION SYSTEM (G2.1.35) CONDUCT OF OPERATIONS: Knowledge of the fuel handling responsibilities of SROs (SRO Only) (CFR: 43.7) | 3.9 | G | 400063
89 | (039A2.08) Ability to (a) predict the impacts of the following on the (SF4S MSS) MAIN AND REHEAT STEAM SYSTEM and (b) based on those predictions, use procedures to correct, control, or mitigate the consequences of those abnormal operations (CFR: 41.5 / 43.5 / 45.3 / 45.13): MT/G malfunctions | 3.1 | A2 | 400039
90 | (400078) 078 (SF8 IAS) INSTRUMENT AIR SYSTEM (G2.1.30) CONDUCT OF OPERATIONS: Ability to locate and operate components, including local controls (CFR: 41.7 / 45.7) | 4 | G | 400078
91 | (014A2.02) Ability to (a) predict the impacts of the following on the (SF1 RPI) ROD POSITION INDICATION SYSTEM and (b) based on those predictions, use procedures to correct, control, or mitigate the consequences of those abnormal operations (CFR: 41.5 to 41.7 / 43.5 / 43.6 / 45.3 / 45.12 / 45.13): Loss of power to the RPIS | 3.5 | A2 | 400014
92 | (400035) 035 (SF4P SG) STEAM GENERATOR SYSTEM (G2.1.36) CONDUCT OF OPERATIONS: Knowledge of procedures and limitations involved in core alterations (CFR: 41.10 / 43.6 / 45.7) | 4.1 | G | 400035
93 | (086A2.02) Ability to (a) predict the impacts of the following on the (SF8 FPS) FIRE PROTECTION SYSTEM and (b) based on those predictions, use procedures to correct, control, or mitigate the consequences of those abnormal operations (CFR: 41.5 / 43.5 / 45.3 / 45.13): Low FPS header pressure | 3.1 | A2 | 400086
94 | (G2.1.14) CONDUCT OF OPERATIONS: Knowledge of criteria or conditions that require plantwide announcements, such as pump starts, reactor trips, and mode changes (CFR: 41.10 / 43.5 / 45.12) | 3.1 | G2.1 | G2.1
95 | (G2.1.38) CONDUCT OF OPERATIONS: Knowledge of the station’s requirements for verbal communications when implementing procedures (CFR: 41.10 / 45.13) | 3.8 | G2.1 | G2.1
96 | (G2.2.5) EQUIPMENT CONTROL: Knowledge of the process for making design or operating changes to the facility, such as 10 CFR 50.59, “Changes, Tests and Experiments,” screening and evaluation processes, administrative processes for temporary modifications, disabling annunciators, or installation of temporary equipment (CFR: 41.10 /43.3 / 45.13) | 3.2 | G2.2 | G2.2
97 | (G2.2.35) EQUIPMENT CONTROL: Ability to determine TS for mode of operation (CFR: 41.7 / 41.10 / 43.2 / 45.13) | 4.5 | G2.2 | G2.2
98 | (G2.3.6) RADIATION CONTROL: Ability to approve liquid or gaseous release permits (CFR: 41.13 / 43.4 / 45.10) | 3.8 | G2.3 | G2.3
99 | (G2.4.20) EMERGENCY PROCEDURES/PLAN: Knowledge of the operational implications of emergency and abnormal operating procedures warnings, cautions, and notes (CFR: 41.10 / 43.5 / 45.13) | 4.3 | G2.4 | G2.4
100 | (G2.4.23) EMERGENCY PROCEDURES/PLAN: Knowledge of the bases for prioritizing emergency operating procedures implementation (CFR: 41.10 / 43.5 / 45.13) | 4.4 | G2.4 | G2.4