## Sheet1
Question Number | Topic Title | Topic Importance | K/A Category | System
1 | (062AK3.04) Knowledge of the reasons for the following responses and/or actions as they apply to (APE 62) LOSS OF SERVICE WATER (CFR: 41.4 / 41.8 / 45.7): Effect on the service water discharge flow header of a loss of CCW | 3.3 | K3 | 395018
2 | (065AA1.06) Ability to operate and/or monitor the following as they apply to (APE 65) LOSS OF Instrument Air (CFR: 41.7 / 45.5 / 45.6): Instrument air header cross-connect valves | 3.3 | A1 | 395019
3 | (057AK1.01) Knowledge of the operational implications and/or cause and effect relationships of the following concepts as they apply to (APE 57) LOSS OF VITAL AC ELECTRICALINSTRUMENT BUS (CFR: 41.8 / 41.10 / 45.3): Effect of a loss of power to instruments powered by a vital instrument bus on pla | 4.3 | K1 | 395016
4 | (038EA2.15) Ability to determine and/or interpret the following as they apply to (EPE 38) STEAM GENERATOR Tube Rupture (CFR: 43.5 / 45.13): RCS pressure | 4 | A2 | 395011
5 | (395001) 000007 (EPE 7; BW E02 & E10; CE E02) Reactor Trip, Stabilization, Recovery (G2.1.28) CONDUCT OF OPERATIONS: Knowledge of the purpose and function of major system components and controls (CFR: 41.7) | 4.1 | G | 395001
6 | (BE05EK2.05) Knowledge of the relationship between (BW E05) Excessive Heat Transfer and the following systems or components (CFR: 41.8 / 41.10 / 45.3): RCS | 3.7 | K2 | 395012
7 | (BE04EK3.07) Knowledge of the reasons for the following responses and/or actions as they apply to (BW E04) INADEQUATE HEAT TRANSFER (CFR: 41.5 / 41.10 / 45.6 / 45.13): Refill S/G with main, auxiliary, or EFW | 4 | K3 | 395023
8 | (077AA1.06) Ability to operate and/or monitor the following as they apply to (APE 77) GENERATOR VOLTAGE AND ELECTRIC Grid Disturbances (CFR: 41.5 / 41.10 / 45.5 / 45.7 / 45.8): AC electrical distribution | 3.6 | A1 | 395020
9 | (015AK1.02) Knowledge of the operational implications and/or cause and effect relationships of the following concepts as they apply to (APE 15) REACTOR COOLANT Pump Malfunctions (CFR: 41.8 / 41.10 / 45.3): Consequences of an RCP failure | 3.9 | K1 | 395005
10 | (022AA2.02) Ability to determine and/or interpret the following as they apply to (APE 22) LOSS OF REACTOR Coolant Makeup (CFR: / 43.5 / 45.13): Charging pump problems | 3.5 | A2 | 395006
11 | (395014) 000055 (EPE 55) Station Blackout (G2.1.25) CONDUCT OF OPERATIONS: Ability to interpret reference materials, such as graphs, curves, and tables (reference potential) (CFR: 41.10 / 43.5 / 45.12) | 3.9 | G | 395014
12 | (WE04EK2.03) Knowledge of the relationship between (W E04) LOCA Outside Containment and the following systems or components (CFR: 41.7 / 41.8 / 45.2 / 45.4): RCS | 3.8 | K2 | 395021
13 | (009EK3.23) Knowledge of the reasons for the following responses and/or actions as they apply to (EPE 9) SMALL-Break LOCA (CFR: 41.5 / 41.10 / 45.6 / 45.13): RCP tripping requirements | 4 | K3 | 395003
14 | (025AA1.02) Ability to operate and/or monitor the following as they apply to (APE 25) LOSS OF RESIDUAL Heat Removal System (CFR: 41.7 / 45.5 / 45.6): RCS | 3.7 | A1 | 395007
15 | (026AK1.03) Knowledge of the operational implications and/or cause and effect relationships of the following concepts as they apply to (APE 26) LOSS OF Component Cooling Water (CFR: 41.5 / 41.7 / 45.7 / 45.8): Loss of CCWS to CVCS charging pumps and/or letdown heat exchanger | 3.7 | K1 | 395008
16 | (WE11EA2.05) Ability to determine and/or interpret the following as they apply to (W E11) LOSS OF EMERGENCY Coolant Recirculation (CFR: 41.10 / 43.5 / 45.13): RWST level | 3.5 | A2 | 395022
17 | (395002) 000008 (APE 8) Pressurizer Vapor Space Accident (G2.4.22) EMERGENCY PROCEDURES/PLAN: Knowledge of the bases for prioritizing safety functions during abnormal and emergency operations (CFR: 41.7 / 41.10 / 43.5 / 45.12) | 3.6 | G | 395002
18 | (011EK2.16) Knowledge of the relationship between (EPE 11) LARGE-Break LOCA and the following systems or components (CFR: 41.7 / 45.7): Plant computer and/or SPDS | 3.6 | K2 | 395004
19 | (005AK3.02) Knowledge of the reasons for the following responses and/or actions as they apply to (APE 5) INOPERABLE/STUCK Control Rod (CFR: 41.5 / 41.10 / 45.6 / 45.13): Rod insertion limits | 3.9 | K3 | 395026
20 | (WE16EA1.05) Ability to operate and/or monitor the following as they apply to (W E16) HIGH Containment Radiation (CFR: 41.5 to 41.8 / 45.5. to 45.8): Containment atmosphere filtration system | 3.2 | A1 | 395046
21 | (WE08EK1.08) Knowledge of the operational implications and/or cause and effect relationships of the following concepts as they apply to (W E08) Pressurized Thermal Shock (CFR: 41.5 / 41.7 / 45.7 / 45.8): RCS temperature soak requirements | 3.9 | K1 | 395056
22 | (WE13EA2.06) Ability to determine and/or interpret the following as they apply to (W E13) STEAM Generator Overpressure (CFR: 41.10 / 43.5 / 45.13): RCS temperature | 3 | A2 | 395044
23 | (395054) (BW E09; CE A13**; W E09 & E10) Natural Circulation (G2.2.18) EQUIPMENT CONTROL: Knowledge of the process for managing maintenance activities during shutdown operations, such as risk assessments and work prioritization (CFR: 41.10 / 43.5 / 45.13) | 2.6 | G | 395054
24 | (059AK2.04) Knowledge of the relationship between (APE 59) ACCIDENTAL LIQUID Radwaste Release and the following systems or components (CFR: 41.7 / 45.7): Liquid radwaste flow instruments | 3.2 | K2 | 395034
25 | (074EK3.06) Knowledge of the reasons for the following responses and/or actions as they apply to (EPE 74) Inadequate Core Cooling (CFR: 41.5 / 41.10 / 45.6 / 45.13): Confirming that the PORV cycles open at the specified setpoint | 3.7 | K3 | 395040
26 | (068AA1.28) Ability to operate and/or monitor the following as they apply to (APE 68) Control Room Evacuation (CFR: 41.7 / 45.5 / 45.6): PZR level control and pressure control | 3.6 | A1 | 395038
27 | (076K5.05) Knowledge of the operational implications or cause and effect relationships of the following concepts as they apply to the (SF4S SW) SERVICE WATER SYSTEM (CFR: 41.4 / 41.7 / 45.5): Radiation alarms on SWS | 3.1 | K5 | 400076
28 | (059K4.01) Knowledge of (SF4S MFW) MAIN FEEDWATER SYSTEM design features and/or interlocks that provide for the following (CFR: 41.7): MFW and startup feedwater valve combination | 3.2 | K4 | 400059
29 | (010K1.01) Knowledge of the physical connections and/or cause and effect relationships between the (SF3 PZR PCS) PRESSURIZER PRESSURE CONTROL SYSTEM and the following systems (CFR: 41.2 to 41.9 / 45.7 / 45.8): RPS | 4.2 | K1 | 400010
30 | (007A4.02) Ability to manually operate and/or monitor the (SF5 PRTS) PRESSURIZER RELIEF/QUENCH TANK SYSTEM in the control room (CFR: 41.5 / 41.7 / 45.5 / 45.7 / 45.8): PRT/quench tank drain valve | 2.8 | K2 | 400007
31 | (064A4.03) Ability to manually operate and/or monitor the (SF6 EDG) EMERGENCY DIESEL GENERATOR SYSTEM in the control room (CFR: 41.7 / 45.5 to 45.8): Synchroscope | 3.8 | A4 | 400064
32 | (078A3.04) Ability to monitor automatic features of the (SF8 IAS) INSTRUMENT AIR SYSTEM, including (CFR: 41.7 / 45.5): Isolation of instrument air from service air | 3.1 | A3 | 400078
33 | (061K6.09) Knowledge of the effect of the following plant conditions, system malfunctions, or component malfunctions on the (SF4S AFW) AUXILIARY/EMERGENCY FEEDWATER SYSTEM (CFR: 41.7 / 45.5 to 45.8): AFW turbine drain(s) or heat tracing | 2.5 | K6 | 400061
34 | (022A2.04) Ability to (a) predict the impacts of the following on the (SF5 CCS) CONTAINMENT COOLING SYSTEM and (b) based on those predictions, use procedures to correct, control, or mitigate the consequences of those abnormal operations (CFR: 41.5 / 43.5 / 45.3 / 45.13): Cooling water system malfunction | 3.7 | A2 | 400022
35 | (026K3.01) Knowledge of the effect that a loss or malfunction of the (SF5 CSS) CONTAINMENT SPRAY SYSTEM will have on the following systems or system parameters (CFR: 41.7 / 45.6): CCS | 3.8 | K3 | 400026
36 | (400008) 008 (SF8 CCW) COMPONENT COOLING WATER SYSTEM (G2.3.12) RADIATION CONTROL: Knowledge of radiological safety principles and procedures pertaining to licensed operator duties, such as response to radiation monitor alarms, containment entry requirements, fuel handling responsibilities, access to locked high-radiation areas, or alignment of filters (CFR: 41.12 / 43.4 / 45.9 / 45.10) | 3.2 | G | 400008
37 | (103A1.01) Ability to predict and/or monitor changes in parameters associated with operation of the (SF5 CNT) CONTAINMENT SYSTEM, including (CFR: 41.5 / 45.5): Containment pressure, temperature, and/or humidity | 3.9 | A1 | 400103
38 | (039K5.12) Knowledge of the operational implications or cause and effect relationships of the following concepts as they apply to the (SF4S MSS) MAIN AND REHEAT STEAM SYSTEM (CFR: 41.5 / 45.7): Primary system temperature indications and required values during main steam system warmup | 3.3 | K5 | 400039
39 | (005K4.12) Knowledge of (SF4P RHR) RESIDUAL HEAT REMOVAL SYSTEM design features and/or interlocks that provide for the following (CFR: 41.7): Lineup for piggyback mode with CSS | 3.7 | K4 | 400005
40 | (013K1.08) Knowledge of the physical connections and/or cause and effect relationships between the (SF2 ESFAS) ENGINEERED SAFETY FEATURES ACTUATION SYSTEM and the following systems (CFR: 41.2 to 41.9 / 45.7 / 45.8): CCWS | 3.8 | K1 | 400013
41 | (073A4.03) Ability to manually operate and/or monitor the (SF7 PRM) PROCESS RADIATION MONITORING SYSTEM in the control room (CFR: 41.7 / 45.8 / 45.9): Check source for operability demonstration | 2.9 | K2 | 400073
42 | (063A4.03) Ability to manually operate and/or monitor the (SF6 ED DC) DC ELECTRICAL DISTRIBUTION SYSTEM in the control room (CFR: 41.7 / 45.5 to 45.8): Battery discharge rate | 3.5 | A4 | 400063
43 | (062A3.05) Ability to monitor automatic features of the (SF6 ED AC) AC ELECTRICAL DISTRIBUTION SYSTEM, including (CFR: 41.7 / 45.5): Safety-related actuations | 4.1 | A3 | 400062
44 | (004K6.52) Knowledge of the effect of the following plant conditions, system malfunctions, or component malfunctions on the (SF1; SF2 CVCS) CHEMICAL AND VOLUME CONTROL SYSTEM (CFR: 41.5 to 41.7 / 45.7): Flow control valve malfunction | 3.6 | K6 | 400004
45 | (012A2.04) Ability to (a) predict the impacts of the following on the (SF7 RPS) REACTOR PROTECTION SYSTEM and (b) based on those predictions, use procedures to correct, control, or mitigate the consequences of those abnormal operations (CFR: 41.5 / 43.5 / 45.3 / 45.5): Erratic power supply operation | 3.4 | A2 | 400012
46 | (003K3.04) Knowledge of the effect that a loss or malfunction of the (SF4P RCP) REACTOR COOLANT PUMP SYSTEM will have on the following systems or system parameters (CFR: 41.7 / 45.6): RPS | 4.2 | K3 | 400003
47 | (400006) 006 (SF2; SF3 ECCS) EMERGENCY CORE COOLING SYSTEM (191002K1.06) SENSORS AND DETECTORS (CFR: 41.7): (LEVEL) Temperature/pressure compensation requirements | 2.6 | C | 400006
48 | (076A1.08) Ability to predict and/or monitor changes in parameters associated with operation of the (SF4S SW) SERVICE WATER SYSTEM, including (CFR: 41.5 / 45.5): Strainer D/P | 2.9 | A1 | 400076
49 | (059K5.05) Knowledge of the operational implications or cause and effect relationships of the following concepts as they apply to the (SF4S MFW) MAIN FEEDWATER SYSTEM (CFR: 41.5 / 45.7): Reason for balancing MFW pump loads | 3 | K5 | 400059
50 | (010K4.01) Knowledge of (SF3 PZR PCS) PRESSURIZER PRESSURE CONTROL SYSTEM design features and/or interlocks that provide for the following (CFR: 41.7): Spray valve warmup | 2.8 | K4 | 400010
51 | (007K1.04) Knowledge of the physical connections and/or cause and effect relationships between the (SF5 PRTS) PRESSURIZER RELIEF/QUENCH TANK SYSTEM and the following systems (CFR: 41.2 to 41.9 / 45.7 / 45.8): Nitrogen system | 2.6 | K1 | 400007
52 | (064K2.02) Knowledge of electrical power supplies to the following: (SF6 EDG) EMERGENCY DIESEL GENERATOR SYSTEM (CFR: 41.7) Fuel oil pumps | 3.2 | K2 | 400064
53 | (078A4.03) Ability to manually operate and/or monitor the (SF8 IAS) INSTRUMENT AIR SYSTEM in the control room (CFR: 41.7 / 45.5 to 45.8): Isolation/restoration of instrument air to isolated components/systems | 3.2 | A4 | 400078
54 | (061A3.01) Ability to monitor automatic features of the (SF4S AFW) AUXILIARY/EMERGENCY FEEDWATER SYSTEM, including (CFR: 41.7 / 45.7): AFW system automatic start | 4.2 | A3 | 400061
55 | (086K5.04) Knowledge of the operational implications or cause and effect relationships of the following concepts as they apply to the (SF8 FPS) FIRE PROTECTION SYSTEM (CFR: 41.5 / 45.7): Hazards to personnel as a result of fire type and methods of protection | 3.4 | K5 | 400086
56 | (050K4.04) Knowledge of (SF9 CRV) CONTROL ROOM VENTILATION design features and/or interlocks that provide for the following (CFR: 41.7): Chlorine ammonia detection | 3.3 | K4 | 400050
57 | (056K1.11) Knowledge of the physical connections and/or cause and effect relationships between the (SF4S CDS) CONDENSATE SYSTEM and the following systems (CFR: 41.4 to 41.8 / 45.7 / 45.8): Stator water cooling system | 2.6 | K1 | 400056
58 | (028A4.03) Ability to manually operate and/or monitor the (SF5 HRPS) HYDROGEN RECOMBINER AND PURGE CONTROL SYSTEM in the control room (CFR: 41.7 / 45.5 to 45.8): Hydrogen sampling | 2.7 | K2 | 400028
59 | (014A4.05) Ability to manually operate and/or monitor the (SF1 RPI) ROD POSITION INDICATION SYSTEM in the control room (CFR: 41.6 / 41.7 / 45.5 to 45.8): RPI accuracy mode selection (W) | 3.1 | A4 | 400014
60 | (071A3.02) Ability to monitor automatic features of the (SF9 WGS) WASTE GAS DISPOSAL SYSTEM, including (CFR: 41.7 / 45.8 / 45.9): Pressure-regulating system for waste gas vent header | 2.5 | A3 | 400071
61 | (045K6.08) Knowledge of the effect of the following plant conditions, system malfunctions, or component malfunctions on the (SF4S MTG) MAIN TURBINE GENERATOR SYSTEM (CFR: 41.7 / 45.7): Turbine lube oil system | 3.1 | K6 | 400045
62 | (001A2.19) Ability to (a) predict the impacts of the following on the (SF1 CRDS) CONTROL ROD DRIVE SYSTEM and (b) based on those predictions, use procedures to correct, control, or mitigate the consequences of those abnormal operations (CFR: 41.5 / 43.5 / 45.3 / 45.13): Axial flux difference/imbalance outside limits | 3.1 | A2 | 400001
63 | (041K3.05) Knowledge of the effect that a loss or malfunction of the (SF4S SDS) STEAM DUMP/TURBINE BYPASS CONTROL SYSTEM will have on the following systems or system parameters (CFR: 41.7 / 45.6): CDS | 2.7 | K3 | 400041
64 | (G2.1.21) CONDUCT OF OPERATIONS: Ability to verify that a copy of a controlled procedure is the proper revision (CFR: 41.10 / 45.10 / 45.13) | 3.5 | G2.1 | G2.1
65 | (G2.1.44) CONDUCT OF OPERATIONS: Knowledge of RO duties in the control room during fuel handling, such as responding to alarms from the fuel handling area, communicating with fuel-handling personnel, operating systems from the control room to support fueling operations, or supporting instrumentation (CFR: 41.10 / 43.7 / 45.12) | 3.9 | G2.1 | G2.1
66 | (G2.2.17) EQUIPMENT CONTROL: Knowledge of the process for managing maintenance activities during power operations, such as risk assessments, work prioritization, and coordination with the transmission system operator (CFR: 41.10 / 43.5 / 45.13) | 2.6 | G2.2 | G2.2
67 | (G2.2.2) EQUIPMENT CONTROL: Ability to manipulate the console controls as required to operate the facility between shutdown and designated power levels (CFR: 41.6 / 41.7 / 45.2) | 4.6 | G2.2 | G2.2
68 | (G2.3.11) RADIATION CONTROL: Ability to control radiation releases (CFR: 41.11 / 43.4 / 45.10) | 3.8 | G2.3 | G2.3
69 | (G2.4.14) EMERGENCY PROCEDURES/PLAN: Knowledge of general guidelines for emergency and abnormal operating procedures usage (CFR: 41.10 / 43.1 / 45.13) | 3.8 | G2.4 | G2.4
70 | (192007K1.04) FUEL DEPLETION AND BURNABLE POISONS (CFR: 41.1): Describe how and why boron concentration changes over core life | 3.4 | R | 192007
71 | (192005K1.10) CONTROL RODS (CFR: 41.1): State the purpose of flux shaping | 2.9 | R | 192005
72 | (192002K1.10) NEUTRON LIFE CYCLE (CFR: 41.1): Define SDM | 3.6 | R | 192002
73 | (193003K1.14) STEAM (CFR: 41.14): Define the following term: -- superheated vapor | 2.5 | T | 193003
74 | (193009K1.05) CORE THERMAL LIMITS (CFR: 41.14): State why thermal limits are necessary. | 3.5 | T | 193009
75 | (193010K1.07) BRITTLE FRACTURE AND VESSEL THERMAL STRESS (CFR: 41.14): State the operational concerns of uncontrolled cooldown | 4.1 | T | 193010
76 | (395010) 000029 (EPE 29) Anticipated Transient Without Scram (G2.2.39) EQUIPMENT CONTROL: Knowledge of less than or equal to 1 hour TS action statements (does not include action statements of 1 hour or less that follow the expiration of a completion time for a TS condition for which an action statement has already been entered) (CFR: 41.7 / 41.10 / 43.2 / 45.13) | 4.5 | G | 395010
77 | (056AA2.17) Ability to determine and/or interpret the following as they apply to (APE 56) Loss of Offsite Power (CFR: 43.5 / 45.13): Status of PZR backup heaters | 3.3 | A2 | 395015
78 | (395017) 000058 (APE 58) Loss of DC Power (G2.4.46) EMERGENCY PROCEDURES/PLAN: Ability to verify that the alarms are consistent with the plant conditions (CFR: 41.10 / 43.5 / 45.3 / 45.12) | 4.2 | G | 395017
79 | (CE06EA2.01) Ability to determine and/or interpret the following as they apply to (CE E06) LOSS OF FEEDWATER (CFR: 43.5 / 45.13): Facility conditions and selection of appropriate procedures during abnormal and emergency operations | 4.3 | A2 | 395013
80 | (395009) 000027 (APE 27) Pressurizer Pressure Control System Malfunction (G2.4.4) EMERGENCY PROCEDURES/PLAN: Ability to recognize abnormal indications for system operating parameters that are entry-level conditions for emergency and abnormal operating procedures (CFR: 41.10 / 43.2 / 45.6) | 4.7 | G | 395009
81 | (062AA2.05) Ability to determine and/or interpret the following as they apply to (APE 62) LOSS OF SERVICE WATER (CFR: 43.5 / 45.13): The normal values for the SWS-header flow rate and the flow rates to the components cooled by the SWS | 3 | A2 | 395018
82 | (395030) 000033 (APE 33) Loss of Intermediate Range Nuclear Instrumentation (G2.1.42) CONDUCT OF OPERATIONS: Knowledge of new and spent fuel movement procedures (SRO Only) (CFR: 43.7 / 45.13) | 3.4 | G | 395030
83 | (061AA2.03) Ability to determine and/or interpret the following as they apply to (APE 61) AREA RADIATION MONITORING (ARM) System Alarms (CFR: 43.5 / 45.13): Alarm conditions | 3.4 | A2 | 395036
84 | (395029) 000032 (APE 32) Loss of Source Range Nuclear Instrumentation (G2.2.36) EQUIPMENT CONTROL: Ability to analyze the effect of maintenance activities, such as degraded power sources, on the status of limiting conditions for operation (CFR: 41.10 / 43.2 / 45.13) | 4.2 | G | 395029
85 | (WE15EA2.01) Ability to determine and/or interpret the following as they apply to (W E15) Containment Flooding (CFR: 41.10 / 43.5 / 45.13): Facility conditions and selection of appropriate procedures during abnormal and emergency operations | 3.8 | A2 | 395045
86 | (400022) 022 (SF5 CCS) CONTAINMENT COOLING SYSTEM (G2.3.6) RADIATION CONTROL: Ability to approve liquid or gaseous release permits (CFR: 41.13 / 43.4 / 45.10) | 3.8 | G | 400022
87 | (026A2.05) Ability to (a) predict the impacts of the following on the (SF5 CSS) CONTAINMENT SPRAY SYSTEM and (b) based on those predictions, use procedures to correct, control, or mitigate the consequences of those abnormal operations (CFR: 41.5 / 43.5 / 45.3 / 45.13): Failure of chemical addition tanks to inject | 3.4 | A2 | 400026
88 | (400008) 008 (SF8 CCW) COMPONENT COOLING WATER SYSTEM (G2.2.38) EQUIPMENT CONTROL: Knowledge of conditions and limitations in the facility license (CFR: 41.7 / 41.10 / 43.1 / 45.13) | 4.5 | G | 400008
89 | (103A2.07) Ability to (a) predict the impacts of the following on the (SF5 CNT) CONTAINMENT SYSTEM and (b) based on those predictions, use procedures to correct, control, or mitigate the consequences of those abnormal operations (CFR: 41.5 / 43.5 / 45.3 / 45.13): Containment vacuum system malfunctions | 3.2 | A2 | 400103
90 | (400039) 039 (SF4S MSS) MAIN AND REHEAT STEAM SYSTEM (G2.4.23) EMERGENCY PROCEDURES/PLAN: Knowledge of the bases for prioritizing emergency operating procedures implementation (CFR: 41.10 / 43.5 / 45.13) | 4.4 | G | 400039
91 | (027K1.01) Knowledge of the physical connections and/or cause and effect relationships between the (SF5 CIRS) CONTAINMENT IODINE REMOVAL SYSTEM and the following systems (CFR: 41.7 to 41.9 / 45.7 / 45.8): CSS | 3.2 | A2 | 400027
92 | (400017) 017 (SF7 ITM) IN CORE TEMPERATURE MONITOR SYSTEM (G2.4.49) EMERGENCY PROCEDURES/PLAN: Ability to perform without reference to procedures those actions that require immediate operation of system components and controls (CFR: 41.10 / 43.2 / 45.6) | 4.4 | G | 400017
93 | (055A2.04) Ability to (a) predict the impacts of the following on the (SF4S CARS) CONDENSER AIR REMOVAL SYSTEM and (b) based on those predictions, use procedures to correct, control, or mitigate the consequences of those abnormal operations (CFR: 41.5 / 43.5 / 45.3 / 45.13): Air in-leakage | 3.3 | A2 | 400055
94 | (G2.1.17) CONDUCT OF OPERATIONS: Ability to make accurate, clear, and concise verbal reports (CFR: 41.10 / 45.12 / 45.13) | 4 | G2.1 | G2.1
95 | (G2.1.39) CONDUCT OF OPERATIONS: Knowledge of conservative decision-making practices (CFR: 41.10 / 43.5 / 45.12) | 4.3 | G2.1 | G2.1
96 | (G2.2.41) EQUIPMENT CONTROL: Ability to obtain and interpret station electrical and mechanical drawings (reference potential) (CFR: 41.10 / 45.12 / 45.13) | 3.9 | G2.2 | G2.2
97 | (G2.2.35) EQUIPMENT CONTROL: Ability to determine TS for mode of operation (CFR: 41.7 / 41.10 / 43.2 / 45.13) | 4.5 | G2.2 | G2.2
98 | (G2.3.5) RADIATION CONTROL: Ability to use RMSs, such as fixed radiation monitors and alarms or personnel monitoring equipment (CFR: 41.11 / 41.12 / 43.4 / 45.9) | 2.9 | G2.3 | G2.3
99 | (G2.4.21) EMERGENCY PROCEDURES/PLAN: Knowledge of the parameters and logic used to assess the status of emergency operating procedures critical safety functions or shutdown critical safety functions (CFR: 41.7 / 43.5 / 45.12) | 4.6 | G2.4 | G2.4
100 | (G2.4.20) EMERGENCY PROCEDURES/PLAN: Knowledge of the operational implications of emergency and abnormal operating procedures warnings, cautions, and notes (CFR: 41.10 / 43.5 / 45.13) | 4.3 | G2.4 | G2.4