## Sheet1
Question Number | Topic Title | Topic Importance | K/A Category | System
1 | (058AK2.03) Knowledge of the relationship between (APE 58) LOSS OF DC Power and the following systems or components (CFR: 41.7 / 45.7): Battery | 3.7 | K2 | 395017
2 | (027AA1.05) Ability to operate and/or monitor the following as they apply to (APE 27) PRESSURIZER PRESSURE Control System Malfunction (CFR: 41.7 / 45.5 / 45.6): Transfer of heaters to a backup power supply | 3.3 | A1 | 395009
3 | (395010) 000029 (EPE 29) Anticipated Transient Without Scram (G2.4.22) EMERGENCY PROCEDURES/PLAN: Knowledge of the bases for prioritizing safety functions during abnormal and emergency operations (CFR: 41.7 / 41.10 / 43.5 / 45.12) | 3.6 | G | 395010
4 | (WE05EK3.08) Knowledge of the reasons for the following responses and/or actions as they apply to (W E05) Loss of Secondary Heat Sink (CFR: 41.5 / 41.10 / 45.6 / 45.13): Establishing MFW flow to at least one S/G | 4 | K3 | 395023
5 | (055EA2.04) Ability to determine and/or interpret the following as they apply to (EPE 55) Station Blackout (CFR: 43.5 / 45.13): Instruments and controls operable with only DC battery power available | 4.1 | A2 | 395014
6 | (WE04EK1.04) Knowledge of the operational implications and/or cause and effect relationships of the following concepts as they apply to (W E04) LOCA Outside Containment (CFR: 41.5 / 41.7 / 45.7 / 45.8): Component failures required to establish a LOCA outside containment | 3.8 | K1 | 395021
7 | (CE06EK2.11) Knowledge of the relationship between (CE E06) LOSS OF FEEDWATER and the following systems or components (CFR: 41.7 / 41.8 / 45.4 / 45.7 / 45.8): ECCS | 4 | K2 | 395013
8 | (057AA1.04) Ability to operate and/or monitor the following as they apply to (APE 57) LOSS OF VITAL AC ELECTRICALINSTRUMENT BUS (CFR: 41.7 / 45.5 / 45.6): RWST and VCT valves | 3.8 | A1 | 395016
9 | (395018) 000062 (APE 62) Loss of Nuclear Service Water (G2.4.17) EMERGENCY PROCEDURES/PLAN: Knowledge of emergency and abnormal operating procedures terms and definitions (CFR: 41.10 / 45.13) | 3.9 | G | 395018
10 | (022AK3.07) Knowledge of the reasons for the following responses and/or actions as they apply to (APE 22) LOSS OF REACTOR Coolant Makeup (CFR: 41.5 / 41.10 / 45.6 / 45.13): Isolating charging | 3.4 | K3 | 395006
11 | (011EA2.05) Ability to determine and/or interpret the following as they apply to (EPE 11) LARGE-Break LOCA (CFR: 43.5 / 45.13): Significance of ECCS pump operation | 4.4 | A2 | 395004
12 | (065AK1.02) Knowledge of the operational implications and/or cause and effect relationships of the following concepts as they apply to (APE 65) LOSS OF Instrument Air (CFR: 41.8 / 41.10 / 45.3): Effects of water and/or particulate matter in instrument air lines (operating experience) | 3.1 | K1 | 395019
13 | (008AK2.09) Knowledge of the relationship between (APE 8) PRESSURIZER VAPOR Space Accident and the following systems or components (CFR: 41.7 / 45.7): PRT/quench tank | 3.8 | K2 | 395002
14 | (038EA1.21) Ability to operate and/or monitor the following as they apply to (EPE 38) STEAM GENERATOR Tube Rupture (CFR: 41.7 / 45.5 / 45.6): CVCS | 3.6 | A1 | 395011
15 | (395007) 000025 (APE 25) Loss of Residual Heat Removal System (G2.2.21) EQUIPMENT CONTROL: Knowledge of pre- and post-maintenance operability requirements (CFR: 41.10 / 43.2) | 2.9 | G | 395007
16 | (056AK3.02) Knowledge of the reasons for the following responses and/or actions as they apply to (APE 56) Loss of Offsite Power (CFR: 41.5 / 41.10 / 45.6 / 45.13): Actions contained in AOPs | 4.1 | K3 | 395015
17 | (007EA2.04) Ability to determine and/or interpret the following as they apply to (EPE 7) REACTOR TRIP, STABILIZATION, RECOVERY (CFR: 41.7 / 45.5 / 45.6): Interpret plant conditions, take immediate actions, and determine when transition requirements are met for the ATWS emergency procedure. | 4 | A2 | 395001
18 | (026AK1.03) Knowledge of the operational implications and/or cause and effect relationships of the following concepts as they apply to (APE 26) LOSS OF Component Cooling Water (CFR: 41.5 / 41.7 / 45.7 / 45.8): Loss of CCWS to CVCS charging pumps and/or letdown heat exchanger | 3.7 | K1 | 395008
19 | (WE16EK2.03) Knowledge of the relationship between (W E16) HIGH Containment Radiation and the following systems or components (CFR: 41.7 / 41.8 / 45.2 / 45.4): Containment ventilation isolation | 3.7 | K2 | 395046
20 | (024AA1.29) Ability to operate and/or monitor the following as they apply to (APE 24) EMERGENCY Boration (CFR: 41.7 / 45.5 / 45.6): RCS | 3.7 | A1 | 395027
21 | (395045) (W E15) Containment Flooding (G2.1.47) CONDUCT OF OPERATIONS: Ability to direct nonlicensed personnel activities inside the control room (CFR: 41.10 / 43.5 / 45.5 / 45.12 / 45.13) | 3.2 | G | 395045
22 | (060AK3.05) Knowledge of the reasons for the following responses and/or actions as they apply to (APE 60) ACCIDENTAL GASEOUS Radwaste Release (CFR: 41.5 / 41.10 / 45.6 / 45.13): Termination of a release of radioactive gas | 3.8 | K3 | 395035
23 | (001AA2.04) Ability to determine and/or interpret the following as they apply to (APE 1) CONTINUOUS Rod Withdrawal (CFR: 43.5 / 45.13): Reactor power | 3.8 | A2 | 395024
24 | (032AK1.02) Knowledge of the operational implications and/or cause and effect relationships of the following concepts as they apply to (APE 32) LOSS OF SOURCE RANGE Nuclear Instrumentation (CFR: 41.8 / 41.10 / 45.3): Expected change in source range count rate when rods are moved | 3.7 | K1 | 395029
25 | (WE09EK2.13) Knowledge of the relationship between (W E09) NATURAL CIRCULATION OPERATIONS and the following systems or components (CFR: 41.7 / 41.8 / 45.2 / 45.4): RHRS | 3.4 | K2 | 395054
26 | (033AA1.02) Ability to operate and/or monitor the following as they apply to (APE 33) LOSS OF INTERMEDIATE RANGE Nuclear Instrumentation (CFR: 41.7 / 45.5 / 45.6): Level trip bypass | 3.3 | A1 | 395030
27 | (103A1.01) Ability to predict and/or monitor changes in parameters associated with operation of the (SF5 CNT) CONTAINMENT SYSTEM, including (CFR: 41.5 / 45.5): Containment pressure, temperature, and/or humidity | 3.9 | A1 | 400103
28 | (039K3.08) Knowledge of the effect that a loss or malfunction of the (SF4S MSS) MAIN AND REHEAT STEAM SYSTEM will have on the following systems or system parameters (CFR: 41.7 / 45.6): CDS | 2.8 | K3 | 400039
29 | (022K1.06) Knowledge of the physical connections and/or cause and effect relationships between the (SF5 CCS) CONTAINMENT COOLING SYSTEM and the following systems (CFR: 41.9 / 45.7 / 45.8): CNT | 3.9 | K1 | 400022
30 | (400026) 026 (SF5 CSS) CONTAINMENT SPRAY SYSTEM (G2.2.36) EQUIPMENT CONTROL: Ability to analyze the effect of maintenance activities, such as degraded power sources, on the status of limiting conditions for operation (CFR: 41.10 / 43.2 / 45.13) | 3.1 | G | 400026
31 | (061K2.02) Knowledge of electrical power supplies to the following: (SF4S AFW) AUXILIARY/EMERGENCY FEEDWATER SYSTEM AFW (CFR: 41.7) electric-driven pumps | 4.1 | K2 | 400061
32 | (062A4.04) Ability to manually operate and/or monitor the (SF6 ED AC) AC ELECTRICAL DISTRIBUTION SYSTEM in the control room (CFR: 41.7 / 45.5 to 45.8): Local operation of breakers | 3.2 | A4 | 400062
33 | (012K4.07) Knowledge of (SF7 RPS) REACTOR PROTECTION SYSTEM design features and/or interlocks that provide for the following (CFR: 41.7): First-out indication | 3.6 | K4 | 400012
34 | (073K3.06) Knowledge of the effect that a loss or malfunction of the (SF7 PRM) PROCESS RADIATION MONITORING SYSTEM will have on the following systems or system parameters (CFR: 41.7 / 41.8 / 45.6 / 45.8 / 45.9): CCWS | 3.2 | A3 | 400073
35 | (063K5.05) Knowledge of the operational implications or cause and effect relationships of the following concepts as they apply to the (SF6 ED DC) DC ELECTRICAL DISTRIBUTION SYSTEM (CFR: 41.5 / 45.7): Battery capacity as it is affected by discharge rate/individual cell voltages | 3.1 | K5 | 400063
36 | (076K6.06) Knowledge of the effect of the following plant conditions, system malfunctions, or component malfunctions on the (SF4S SW) SERVICE WATER SYSTEM (CFR: 41.7 / 45.7): CCWS heat exchangers | 3.4 | K6 | 400076
37 | (078A2.01) Ability to (a) predict the impacts of the following on the (SF8 IAS) INSTRUMENT AIR SYSTEM and (b) based on those predictions, use procedures to correct, control, or mitigate the consequences of those abnormal operations (CFR: 41.5 / 43.5 / 45.3 / 45.13): Air dryer and filter malfunctions | 3.3 | A2 | 400078
38 | (010A1.11) Ability to predict and/or monitor changes in parameters associated with operation of the (SF3 PZR PCS) PRESSURIZER PRESSURE CONTROL SYSTEM, including (CFR: 41.5 / 45.5): PZR steam temperature | 3.3 | A1 | 400010
39 | (005K3.05) Knowledge of the effect that a loss or malfunction of the (SF4P RHR) RESIDUAL HEAT REMOVAL SYSTEM will have on the following systems or system parameters (CFR: 41.7 / 45.6): ECCS | 4.3 | K3 | 400005
40 | (059K1.13) Knowledge of the physical connections and/or cause and effect relationships between the (SF4S MFW) MAIN FEEDWATER SYSTEM and the following systems (CFR: 41.2 to 41.9 / 45.7 / 45.8): S/GB system | 2.9 | K1 | 400059
41 | (400003) 003 (SF4P RCP) REACTOR COOLANT PUMP SYSTEM (191002K1.10) SENSORS AND DETECTORS (CFR: 41.7): (PRESSURE) Theory and operation of pressure detectors (bourdon tubes, diaphragms, bellows, forced balance, variable capacitance, and D/P cell) | 2.5 | C | 400003
42 | (008K2.02) Knowledge of electrical power supplies to the following (CFR: 41.7): (SF8 CCW) COMPONENT COOLING WATER SYSTEM CCW pumps | 3.9 | K2 | 400008
43 | (013A4.13) Ability to manually operate and/or monitor the (SF2 ESFAS) ENGINEERED SAFETY FEATURES ACTUATION SYSTEM in the control room (CFR: 41.6 / 41.7 / 45.5 to 45.8): ESFAS block | 3.9 | A4 | 400013
44 | (007K4.03) Knowledge of (SF5 PRTS) PRESSURIZER RELIEF/QUENCH TANK SYSTEM design features and/or interlocks that provide for the following (CFR: 41.7): Nitrogen cover gas | 2.7 | K4 | 400007
45 | (004A3.02) Ability to monitor automatic features of the (SF1; SF2 CVCS) CHEMICAL AND VOLUME CONTROL SYSTEM, including (CFR: 41.7 / 45.5): Letdown isolation | 3.8 | A3 | 400004
46 | (064K5.08) Knowledge of the operational implications or cause and effect relationships of the following concepts as they apply to the (SF6 EDG) EMERGENCY DIESEL GENERATOR SYSTEM (CFR: 41.5 / 45.7): Synchronization of the EDG with other electric power supplies | 3.9 | K5 | 400064
47 | (006K6.02) Knowledge of the effect of the following plant conditions, system malfunctions, or component malfunctions on the (SF2; SF3 ECCS) EMERGENCY CORE COOLING SYSTEM (CFR: 41.7 / 45.7): Safety injection tanks | 3.9 | K6 | 400006
48 | (103A2.06) Ability to (a) predict the impacts of the following on the (SF5 CNT) CONTAINMENT SYSTEM and (b) based on those predictions, use procedures to correct, control, or mitigate the consequences of those abnormal operations (CFR: 41.5 / 43.5 / 45.3 / 45.13): High containment pressure | 4.5 | A2 | 400103
49 | (039A1.11) Ability to predict and/or monitor changes in parameters associated with operation of the (SF4S MSS) MAIN AND REHEAT STEAM SYSTEM, including (CFR: 41.5 / 45.5): Lights and alarms | 2.9 | A1 | 400039
50 | (022K3.04) Knowledge of the effect that a loss or malfunction of the (SF5 CCS) CONTAINMENT COOLING SYSTEM will have on the following systems or system parameters (CFR: 41.7 / 45.6): CNT | 3.9 | K3 | 400022
51 | (026K1.02) Knowledge of the physical connections and/or cause and effect relationships between the (SF5 CSS) CONTAINMENT SPRAY SYSTEM and the following systems (CFR: 41.2 to 41.9 / 45.7 / 45.8): Cooling water | 3.6 | K1 | 400026
52 | (400061) 061 (SF4S AFW) AUXILIARY / EMERGENCY FEEDWATER SYSTEM (G2.2.13) EQUIPMENT CONTROL: Knowledge of tagging and clearance procedures (CFR: 41.10 / 43.1 / 45.13) | 4.1 | G | 400061
53 | (062K2.01) Knowledge of electrical power supplies to the following: (SF6 ED AC) AC ELECTRICAL DISTRIBUTION SYSTEM (CFR: 41.7) Major bus or motor control center power supplies | 3.8 | K2 | 400062
54 | (012A4.01) Ability to manually operate and/or monitor the (SF7 RPS) REACTOR PROTECTION SYSTEM in the control room (CFR: 41.7 / 45.5 to 45.8): Manual trip button or handswitch | 4.4 | A4 | 400012
55 | (014A1.01) Ability to predict and/or monitor changes in parameters associated with operation of the (SF1 RPI) ROD POSITION INDICATION SYSTEM, including (CFR: 41.5 to 41.7 / 45.5): Metroscope reed switch display | 3.5 | A1 | 400014
56 | (086K3.04) Knowledge of the effect that a loss or malfunction of the (SF8 FPS) FIRE PROTECTION SYSTEM will have on the following systems or system parameters (CFR: 41.7 / 45.6): AC distribution | 2.8 | K3 | 400086
57 | (075K1.06) Knowledge of the physical connections and/or cause and effect relationships between the (SF8 CW) CIRCULATING WATER SYSTEM and the following systems (CFR: 41.4 / 41.5 / 41.7 / 45.8): Cooling towers | 3 | K1 | 400075
58 | (400015) 015 (SF7 NI) NUCLEAR INSTRUMENTATION SYSTEM (191003K1.03) CONTROLLERS AND POSITIONERS (CFR: 41.7): Operation of valve controllers in manual and automatic modes, including seal-in features | 3.1 | C | 400015
59 | (068K1.05) Knowledge of the physical connections and/or cause and effect relationships between the (SF9 LRS) LIQUID RADWASTE SYSTEM and the following systems (CFR: 41.7 to 41.9 / 45.7 / 45.8): CWS | 2.7 | K2 | 400068
60 | (011A4.03) Ability to manually operate and/or monitor the (SF2 PZR LCS) PRESSURIZER LEVEL CONTROL SYSTEM in the control room (CFR: 41.7 / 45.5 to 45.8): PZR heaters | 3.5 | A4 | 400011
61 | (056K4.04) Knowledge of (SF4S CDS) CONDENSATE SYSTEM design features and/or interlocks that provide for the following (CFR: 41.7): Moving condensate to and from storage tank and hotwell | 2.7 | K4 | 400056
62 | (016A3.01) Ability to monitor automatic features of the (SF7 NNI) NONNUCLEAR INSTRUMENTATION SYSTEM, including (CFR: 41.7 / 45.5): Automatic selection of NNI system inputs to control systems | 3.3 | A3 | 400016
63 | (033K5.05) Knowledge of the operational implications or cause and effect relationships of the following concepts as they apply to the (SF8 SFPCS) SPENT FUEL POOL COOLING SYSTEM (CFR: 41.5 / 45.7): Decay heat | 3.8 | K5 | 400033
64 | (G2.1.19) CONDUCT OF OPERATIONS: Ability to use available indications to evaluate system or component status (CFR: 41.10 / 45.12) | 3.9 | G2.1 | G2.1
65 | (G2.1.30) CONDUCT OF OPERATIONS: Ability to locate and operate components, including local controls (CFR: 41.7 / 45.7) | 4.4 | G2.1 | G2.1
66 | (G2.2.43) EQUIPMENT CONTROL: Knowledge of the process used to track inoperable alarms (CFR: 41.10 / 43.5 / 45.13) | 3 | G2.2 | G2.2
67 | (G2.2.4) EQUIPMENT CONTROL: (Multi-unit license) Ability to explain the variations in control room layouts, systems, instrumentation, and/or procedural actions between units at a facility (CFR: 41.6 / 41.7 / 41.10 / 45.1 / 45.13) | 3.6 | G2.2 | G2.2
68 | (G2.3.5) RADIATION CONTROL: Ability to use RMSs, such as fixed radiation monitors and alarms or personnel monitoring equipment (CFR: 41.11 / 41.12 / 43.4 / 45.9) | 2.9 | G2.3 | G2.3
69 | (G2.4.14) EMERGENCY PROCEDURES/PLAN: Knowledge of general guidelines for emergency and abnormal operating procedures usage (CFR: 41.10 / 43.1 / 45.13) | 3.8 | G2.4 | G2.4
70 | (192004K1.04) REACTIVITY COEFFICIENTS (CFR: 41.1): Describe the effect on the magnitude of the temperature coefficient of reactivity from changes in the following: -- boron concentration | 3.1 | R | 192004
71 | (192003K1.01) REACTOR KINETICS AND NEUTRON SOURCES (CFR: 41.1): Explain the concept of subcritical multiplication | 2.8 | R | 192003
72 | (192001K1.02) NEUTRONS (CFR: 41.1): Define prompt and delayed neutrons | 2.5 | R | 192001
73 | (193009K1.01) CORE THERMAL LIMITS (CFR: 41.14): Explain radial peaking factor | 2.8 | T | 193009
74 | (193001K1.01) THERMODYNAMIC UNITS AND PROPERTIES (CFR: 41.14): Convert between absolute and gauge pressure and vacuum scales | 2.7 | T | 193001
75 | (193008K1.03) THERMAL HYDRAULICS (CFR: 41.14): (DEPARTURE FROM NUCLEATE BOILING) Describe the processes of nucleate boiling, subcooled nucleate boiling, and bulk boiling | 3.1 | T | 193008
76 | (077AA2.05) Ability to determine and/or interpret the following as they apply to (APE 77) GENERATOR VOLTAGE AND ELECTRIC Grid Disturbances (CFR: 41.5 / 43.5 / 45.5 / 45.7 / 45.8): Status of grid | 3.6 | A2 | 395020
77 | (395003) 000009 (EPE 9) Small Break LOCA (G2.1.7) CONDUCT OF OPERATIONS: Ability to evaluate plant performance and make operational judgments based on operating characteristics, reactor behavior, and instrument interpretation (CFR: 41.5 / 43.5 / 45.12 / 45.13) | 4.7 | G | 395003
78 | (BE05EA2.03) Ability to determine and/or interpret the following as they apply to (BW E05) Excessive Heat Transfer (CFR: 41.10 / 43.5 / 45.13): SCM | 3.8 | A2 | 395012
79 | (395005) 000015 (APE 15) Reactor Coolant Pump Malfunctions (G2.2.38) EQUIPMENT CONTROL: Knowledge of conditions and limitations in the facility license (CFR: 41.7 / 41.10 / 43.1 / 45.13) | 4.5 | G | 395005
80 | (WE11EA2.18) Ability to determine and/or interpret the following as they apply to (W E11) LOSS OF EMERGENCY Coolant Recirculation (CFR: 41.10 / 43.5 / 45.13): Containment hydrogen concentration | 3.1 | A2 | 395022
81 | (395017) 000058 (APE 58) Loss of DC Power (G2.1.38) CONDUCT OF OPERATIONS: Knowledge of the station’s requirements for verbal communications when implementing procedures (CFR: 41.10 / 45.13) | 3.8 | G | 395017
82 | (WE14EA2.04) Ability to determine and/or interpret the following as they apply to (W E14) HIGH CONTAINMENT PRESSURE (CFR: 41.10 / 43.5 / 45.13): ESFAS status indication | 3.9 | A2 | 395039
83 | (395056) (CE A11**; W E08) RCS Overcooling – Pressurized Thermal Shock (G2.1.41) CONDUCT OF OPERATIONS: Knowledge of the refueling process (CFR: 41.2 / 41.10 / 43.6 / 45.13) | 3.7 | G | 395056
84 | (037AA2.07) Ability to determine and/or interpret the following as they apply to (APE 37) STEAM Generator Tube Leak (CFR: 41.7 / 41.10 / 43.5 / 45.13): Flowpath for dilution of ejector exhaust air | 2.8 | A2 | 395032
85 | (395028) 000028 (APE 28) Pressurizer (PZR) Level Control Malfunction (G2.1.27) CONDUCT OF OPERATIONS: Knowledge of system purpose and/or function (CFR: 41.7) | 4 | G | 395028
86 | (073A2.01) Ability to (a) predict the impacts of the following on the (SF7 PRM) PROCESS RADIATION MONITORING SYSTEM and (b) based on those predictions, use procedures to correct, control, or mitigate the consequences of those abnormal operations (CFR: 41.5 / 43.5 / 45.3 / 45.13 / 8-9): PRM component failures | 3.1 | A2 | 400073
87 | (400063) 063 (SF6 ED DC) DC ELECTRICAL DISTRIBUTION SYSTEM (G2.3.12) RADIATION CONTROL: Knowledge of radiological safety principles and procedures pertaining to licensed operator duties, such as response to radiation monitor alarms, containment entry requirements, fuel handling responsibilities, access to locked high-radiation areas, or alignment of filters (CFR: 41.12 / 43.4 / 45.9 / 45.10) | 3.7 | G | 400063
88 | (076A2.04) Ability to (a) predict the impacts of the following on the (SF4S SW) SERVICE WATER SYSTEM and (b) based on those predictions, use procedures to correct, control, or mitigate the consequences of those abnormal operations (CFR: 41.1 / 41.5 / 43.5 / 45.3 / 45.6 / 45.13): ESF-actuated motor-operated valve failure | 3.7 | A2 | 400076
89 | (400078) 078 (SF8 IAS) INSTRUMENT AIR SYSTEM (G2.2.18) EQUIPMENT CONTROL: Knowledge of the process for managing maintenance activities during shutdown operations, such as risk assessments and work prioritization (CFR: 41.10 / 43.5 / 45.13) | 3.9 | G | 400078
90 | (010A2.06) Ability to (a) predict the impacts of the following on the (SF3 PZR PCS) PRESSURIZER PRESSURE CONTROL SYSTEM and (b) based on those predictions, use procedures to correct, control, or mitigate the consequences of those abnormal operations (CFR: 41.5 / 43.5 / 45.3 / 45.13): Failure of PZR LCS | 3.6 | A2 | 400010
91 | (034A2.01) Ability to (a) predict the impacts of the following on the (SF8 FHS) FUEL HANDLING EQUIPMENT SYSTEM and (b) based on those predictions, use procedures to correct, control, or mitigate the consequences of those abnormal operations (CFR: 41.5 / 43.5 / 43.7 / 45.3 / 45.8 / 45.13): Dropped and/or damaged fuel element | 3.6 | K2 | 400034
92 | (028A2.02) Ability to (a) predict the impacts of the following on the (SF5 HRPS) HYDROGEN RECOMBINER AND PURGE CONTROL SYSTEM and (b) based on those predictions, use procedures to correct, control, or mitigate the consequences of those abnormal operations (CFR: 41.5 / 43.5 / 45.3 / 45.13): LOCA with significant hydrogen production | 3.4 | A2 | 400028
93 | (400002) 002 (SF2; SF4P RCS) REACTOR COOLANT SYSTEM (G2.4.30) EMERGENCY PROCEDURES/PLAN: Knowledge of events related to system operation/status that must be reported to internal organizations or external agencies, such as the State, the NRC, or the transmission system operator (CFR: 41.10 / 43.5 / 45.11) | 4.1 | G | 400002
94 | (G2.1.18) CONDUCT OF OPERATIONS: Ability to make accurate, clear, and concise logs, records, status boards, and reports (CFR: 41.10 / 45.12 / 45.13) | 3.8 | G2.1 | G2.1
95 | (G2.1.40) CONDUCT OF OPERATIONS: Knowledge of refueling administrative requirements (CFR: 41.10 / 43.5 / 43.6 / 45.13) | 3.9 | G2.1 | G2.1
96 | (G2.2.35) EQUIPMENT CONTROL: Ability to determine TS for mode of operation (CFR: 41.7 / 41.10 / 43.2 / 45.13) | 4.5 | G2.2 | G2.2
97 | (G2.2.44) EQUIPMENT CONTROL: Ability to interpret control room indications to verify the status and operation of a system and understand how operator actions and directives affect plant and system conditions (CFR: 41.5 / 43.5 / 45.12) | 4.4 | G2.2 | G2.2
98 | (G2.3.6) RADIATION CONTROL: Ability to approve liquid or gaseous release permits (CFR: 41.13 / 43.4 / 45.10) | 3.8 | G2.3 | G2.3
99 | (G2.4.43) EMERGENCY PROCEDURES/PLAN: Knowledge of emergency communications systems and techniques (CFR: 41.10 / 43.5 / 45.13) | 3.8 | G2.4 | G2.4
100 | (G2.4.32) EMERGENCY PROCEDURES/PLAN: Knowledge of operator response to loss of annunciators (CFR: 41.10 / 43.5 / 45.13) | 4 | G2.4 | G2.4