## Sheet1
Question Number | Topic Title | Topic Importance | K/A Category | System
1 | (008AK2.06) Knowledge of the relationship between (APE 8) PRESSURIZER VAPOR Space Accident and the following systems or components (CFR: 41.7 / 45.7): CVCS | 3.3 | K2 | 395002
2 | (395005) 000015 (APE 15) Reactor Coolant Pump Malfunctions (G2.1.4) CONDUCT OF OPERATIONS: Knowledge of individual licensed operator responsibilities related to shift staffing, such as medical requirements, “no-solo” operation, and maintenance of active license status, 10 CFR Part 55 (CFR: 41.10 / 43.2) | 3.3 | G | 395005
3 | (WE11EK3.16) Knowledge of the reasons for the following responses and/or actions as they apply to (W E11) LOSS OF EMERGENCY Coolant Recirculation (CFR: 41.5 / 41.10 / 45.6 / 45.13): Stopping all pumps taking suction from the RWST | 3.9 | K3 | 395022
4 | (040AK1.02) Knowledge of the operational implications and/or cause and effect relationships of the following concepts as they apply to (APE 40) STEAM LINE RUPTURE (CFR: 41.8 / 41.10 / 45.3): Leak rate versus pressure change | 3.3 | K1 | 395012
5 | (011EA1.10) Ability to operate and/or monitor the following as they apply to (EPE 11) LARGE-Break LOCA (CFR: 41.7 / 45.5 / 45.6): AFW pumps | 3.7 | A1 | 395004
6 | (WE04EA2.03) Ability to determine and/or interpret the following as they apply to (W E04) LOCA Outside Containment (CFR: 41.10 / 43.5 / 45.13): RCS pressure | 3.9 | A2 | 395021
7 | (009EK2.05) Knowledge of the relationship between (EPE 9) SMALL-Break LOCA and the following systems or components (CFR: 41.7 / 45.7): RCPS | 3.7 | K2 | 395003
8 | (395007) 000025 (APE 25) Loss of Residual Heat Removal System (G2.4.25) EMERGENCY PROCEDURES/PLAN: Knowledge of fire protection procedures (CFR: 41.10 / 43.5 / 45.13) | 3.3 | G | 395007
9 | (058AK3.02) Knowledge of the reasons for the following responses and/or actions as they apply to (APE 58) LOSS OF DC Power (CFR: 41.5 / 41.10 / 45.6 / 45.13): Actions contained in AOPs or EOPs for loss of DC power | 4.1 | K3 | 395017
10 | (022AK1.04) Knowledge of the operational implications and/or cause and effect relationships of the following concepts as they apply to (APE 22) LOSS OF REACTOR Coolant Makeup (CFR: 41.8 / 41.10 / 45.3 / 45.3): Changing from manual to automatic control of charging flow valve controller | 3.3 | K1 | 395006
11 | (WE05EA1.20) Ability to operate and/or monitor the following as they apply to (W E05) Loss of Secondary Heat Sink (CFR: 41.5 to 41.8 / 45.5 to 45.8): MFW system | 3.9 | A1 | 395023
12 | (062AA2.01) Ability to determine and/or interpret the following as they apply to (APE 62) LOSS OF SERVICE WATER (CFR: 43.5 / 45.13): Location of a leak in the SWS | 3.5 | A2 | 395018
13 | (007EK2.15) Knowledge of the relationship between (EPE 7) REACTOR TRIP, STABILIZATION, RECOVERY and the following systems or components (CFR: 41.7 / 45.7): PZR spray | 3.4 | K2 | 395001
14 | (395010) 000029 (EPE 29) Anticipated Transient Without Scram (G2.2.41) EQUIPMENT CONTROL: Ability to obtain and interpret station electrical and mechanical drawings (reference potential) (CFR: 41.10 / 45.12 / 45.13) | 3.5 | G | 395010
15 | (027AK3.05) Knowledge of the reasons for the following responses and/or actions as they apply to (APE 27) PRESSURIZER PRESSURE Control System Malfunction (CFR: 41.5 / 41.10 / 45.6 / 45.13): Actions to be taken if the PZR pressure instrument fails high | 4 | K3 | 395009
16 | (055EK1.04) Knowledge of the operational implications and/or cause and effect relationships of the following concepts as they apply to (EPE 55) Station Blackout (CFR: 41.8 / 41.10 / 45.3): ESFAS actuation and subsequent restoration after power is restored | 4 | K1 | 395014
17 | (065AA1.02) Ability to operate and/or monitor the following as they apply to (APE 65) LOSS OF Instrument Air (CFR: 41.7 / 45.5 / 45.6): Components served by instrument air to minimize drain on the system | 2.9 | A1 | 395019
18 | (026AA2.04) Ability to determine and/or interpret the following as they apply to (APE 26) LOSS OF Component Cooling Water (CFR: 41.10 / 43.5 / 45.13): The normal values and upper limits for the temperatures of the components cooled by CCW | 2.8 | A2 | 395008
19 | (WE07EK2.04) Knowledge of the relationship between (W E07) SATURATED CORE COOLING and the following systems or components (CFR: 41.7 / 41.8 / 45.2 / 45.4): RCS | 3.6 | K2 | 395040
20 | (395024) 000001 (APE 1) Continuous Rod Withdrawal (G2.4.21) EMERGENCY PROCEDURES/PLAN: Knowledge of the parameters and logic used to assess the status of emergency operating procedures critical safety functions or shutdown critical safety functions (CFR: 41.7 / 43.5 / 45.12) | 4 | G | 395024
21 | (067AK3.02) Knowledge of the reasons for the following responses and/or actions as they apply to (APE 67) PLANT Fire On Site (CFR: 41.5 / 41.10 / 45.6 / 45.13): Steps called out in the site fire protection plan, FPS manual, and fire zone manual | 3.3 | K3 | 395037
22 | (WE16EK1.01) Knowledge of the operational implications and/or cause and effect relationships of the following concepts as they apply to (W E16) HIGH Containment Radiation (CFR: 41.5 / 41.7 / 45.7 / 45.8): Value(s) of high radiation and/or associated radiation monitors that require entry into the FRZ EOP for high radiation | 3.4 | K1 | 395046
23 | (078AA1.06) Ability to operate and/or monitor the following as they apply to (APE 78) REACTOR COOLANT SYSTEM LEAK (CFR: 41.7 / 45.5 / 45.6): Containment or reactor building sump level | 3.6 | A1 | 395042
24 | (005AA2.04) Ability to determine and/or interpret the following as they apply to (APE 5) INOPERABLE/STUCK Control Rod (CFR: 43.5 / 45.13): ITM | 3.3 | A2 | 395026
25 | (WE13EK2.06) Knowledge of the relationship between (W E13) STEAM Generator Overpressure and the following systems or components (CFR: 41.7 / 41.8 / 45.2 / 45.4): AFW system | 3.6 | K2 | 395044
26 | (395043) (W E01 & E02) Rediagnosis & SI Termination (G2.1.45) CONDUCT OF OPERATIONS: Ability to identify and interpret diverse indications to validate the response of another indication. (CFR: 41.7 / 43.5 / 45.4) | 4.3 | G | 395043
27 | (059A2.10) Ability to (a) predict the impacts of the following on the (SF4S MFW) MAIN FEEDWATER SYSTEM and (b) based on those predictions, use procedures to correct, control, or mitigate the consequences of those abnormal operations (CFR: 41.5 / 43.5 / 45.3 / 45.13): Secondary cooling water malfunction | 2.7 | A2 | 400059
28 | (078K5.02) Knowledge of the operational implications or cause and effect relationships of the following concepts as they apply to the (SF8 IAS) INSTRUMENT AIR SYSTEM (CFR: 41.5 / 45.7): Diesel effect | 2.8 | K5 | 400078
29 | (008K6.15) Knowledge of the effect of the following plant conditions, system malfunctions, or component malfunctions on the (SF8 CCW) COMPONENT COOLING WATER SYSTEM (CFR: 41.7 / 45.7): Sources of makeup water | 3 | K6 | 400008
30 | (061A1.11) Ability to predict and/or monitor changes in parameters associated with operation of the (SF4S AFW) AUXILIARY/EMERGENCY FEEDWATER SYSTEM, including (CFR: 41.5 / 45.5): Lights and alarms | 3.5 | A1 | 400061
31 | (064A4.04) Ability to manually operate and/or monitor the (SF6 EDG) EMERGENCY DIESEL GENERATOR SYSTEM in the control room (CFR: 41.7 / 45.5 to 45.8): Remote operation of the air compressor switch (different modes) | 3.2 | A4 | 400064
32 | (005A3.01) Ability to monitor automatic features of the (SF4P RHR) RESIDUAL HEAT REMOVAL SYSTEM, including (CFR: 41.7 / 45.5): Automatic RHR suction swap-over | 4.1 | A3 | 400005
33 | (063K2.03) Knowledge of electrical power supplies to the following: (SF6 ED DC) DC ELECTRICAL DISTRIBUTION SYSTEM (CFR: 41.7) Battery chargers | 4 | K2 | 400063
34 | (400012) 012 (SF7 RPS) REACTOR PROTECTION SYSTEM (G2.2.13) EQUIPMENT CONTROL: Knowledge of tagging and clearance procedures (CFR: 41.10 / 43.1 / 45.13) | 4.1 | G | 400012
35 | (003K4.04) Knowledge of (SF4P RCP) REACTOR COOLANT PUMP SYSTEM design features and/or interlocks that provide for the following (CFR: 41.7): Adequate cooling of RCP motor and seals | 3.8 | K4 | 400003
36 | (073K1.03) Knowledge of the physical connections and/or cause and effect relationships between the (SF7 PRM) PROCESS RADIATION MONITORING SYSTEM and the following systems (CFR: 41.7 to 41.9 / 41.11 / 45.8 / 45.9): WGS | 3.2 | K1 | 400073
37 | (004K3.06) Knowledge of the effect that a loss or malfunction of the (SF1; SF2 CVCS) CHEMICAL AND VOLUME CONTROL SYSTEM will have on the following systems or system parameters (CFR: 41.5 to 41.7): RCS | 3.9 | K3 | 400004
38 | (039A2.07) Ability to (a) predict the impacts of the following on the (SF4S MSS) MAIN AND REHEAT STEAM SYSTEM and (b) based on those predictions, use procedures to correct, control, or mitigate the consequences of those abnormal operations (CFR: 41.5 / 43.5 / 45.3 / 45.13): IAS malfunctions | 3.3 | A2 | 400039
39 | (007K5.08) Knowledge of the operational implications or cause and effect relationships of the following concepts as they apply to the (SF5 PRTS) PRESSURIZER RELIEF/QUENCH TANK SYSTEM (CFR: 41.5 / 45.7): Recognition of leaking PORVs/code or safety valves | 4 | K5 | 400007
40 | (026K6.08) Knowledge of the effect of the following plant conditions, system malfunctions, or component malfunctions on the (SF5 CSS) CONTAINMENT SPRAY SYSTEM (CFR: 41.7 / 45.7): RHRS | 3.5 | K6 | 400026
41 | (013A1.11) Ability to predict and/or monitor changes in parameters associated with operation of the (SF2 ESFAS) ENGINEERED SAFETY FEATURES ACTUATION SYSTEM, including (CFR: 41.3 to 41.7 / 45.5): AFW flow | 3.9 | A1 | 400013
42 | (103A4.09) Ability to manually operate and/or monitor the (SF5 CNT) CONTAINMENT SYSTEM in the control room (CFR: 41.7 / 45.5 to 45.8): Containment vacuum system | 3 | A4 | 400103
43 | (010A3.04) Ability to monitor automatic features of the (SF3 PZR PCS) PRESSURIZER PRESSURE CONTROL SYSTEM, including (CFR: 41.7 / 45.5): PZR normal spray valve operation | 3.6 | A3 | 400010
44 | (076K2.09) Knowledge of electrical power supplies to the following: (SF4S SW) SERVICE WATER SYSTEM (CFR: 41.7) Intake screens | 2.6 | K2 | 400076
45 | (400006) 006 (SF2; SF3 ECCS) EMERGENCY CORE COOLING SYSTEM (191003K1.07) CONTROLLERS AND POSITIONERS (CFR: 41.7): Safety precautions with respect to the operation of controllers and positioners | 2.6 | C | 400006
46 | (022K4.05) Knowledge of (SF5 CCS) CONTAINMENT COOLING SYSTEM design features and/or interlocks that provide for the following (CFR: 41.7): Containment cooling after a LOCA | 4 | K4 | 400022
47 | (062K1.08) Knowledge of the physical connections and/or cause and effect relationships between the (SF6 ED AC) AC ELECTRICAL DISTRIBUTION SYSTEM and the following systems (CFR: 41.4 to 41.8): Onsite standby power systems | 3.8 | K1 | 400062
48 | (059K3.02) Knowledge of the effect that a loss or malfunction of the (SF4S MFW) MAIN FEEDWATER SYSTEM will have on the following systems or system parameters (CFR: 41.7 / 45.6): AFW system | 3.8 | K3 | 400059
49 | (078A2.01) Ability to (a) predict the impacts of the following on the (SF8 IAS) INSTRUMENT AIR SYSTEM and (b) based on those predictions, use procedures to correct, control, or mitigate the consequences of those abnormal operations (CFR: 41.5 / 43.5 / 45.3 / 45.13): Air dryer and filter malfunctions | 3.3 | A2 | 400078
50 | (008K5.04) Knowledge of the operational implications or cause and effect relationships of the following concepts as they apply to the (SF8 CCW) COMPONENT COOLING WATER SYSTEM (CFR: 41.5 / 45.7): Gas accumulation | 2.5 | K5 | 400008
51 | (061K6.11) Knowledge of the effect of the following plant conditions, system malfunctions, or component malfunctions on the (SF4S AFW) AUXILIARY/EMERGENCY FEEDWATER SYSTEM (CFR: 41.7 / 45.5 to 45.8): Water source | 4 | K6 | 400061
52 | (064A1.11) Ability to predict and/or monitor changes in parameters associated with operation of the (SF6 EDG) EMERGENCY DIESEL GENERATOR SYSTEM, including (CFR: 41.5 / 45.5): Fuel oil storage, day tank levels, and/or temperatures | 3.3 | A1 | 400064
53 | (005A4.05) Ability to manually operate and/or monitor the (SF4P RHR) RESIDUAL HEAT REMOVAL SYSTEM in the control room (CFR: 41.7 / 45.5 to 45.8): Raising or lowering refueling cavity level | 3.4 | A4 | 400005
54 | (063A3.02) Ability to monitor automatic features of the (SF6 ED DC) DC ELECTRICAL DISTRIBUTION SYSTEM, including (CFR: 41.7 / 45.5): Battery charger undervoltage stripping | 3.1 | A3 | 400063
55 | (016A2.02) Ability to (a) predict the impacts of the following on the (SF7 NNI) NONNUCLEAR INSTRUMENTATION SYSTEM and (b) based on those predictions, use procedures to correct, control, or mitigate the consequences of those abnormal operations (CFR: 41.5 / 43.5 / 45.3 / 45.5): Loss of power supply | 3 | A2 | 400016
56 | (071K5.03) Knowledge of the operational implications or cause and effect relationships of the following concepts as they apply to the (SF9 WGS) WASTE GAS DISPOSAL SYSTEM (CFR: 41.5 / 45.8 / 45.9): Sources of hydrogen that could accumulate in the decay tank | 3 | K5 | 400071
57 | (068K6.13) Knowledge of the effect of the following plant conditions, system malfunctions, or component malfunctions on the (SF9 LRS) LIQUID RADWASTE SYSTEM (CFR: 41.7 / 45.7 to 45.9): CWS | 2.6 | K6 | 400068
58 | (050A1.07) Ability to predict and/or monitor changes in parameters associated with operation of the (SF9 CRV) CONTROL ROOM VENTILATION, including (CFR: 41.5 / 45.5): Lights and alarms | 3.3 | A1 | 400050
59 | (001A4.03) Ability to manually operate and/or monitor the (SF1 CRDS) CONTROL ROD DRIVE SYSTEM in the control room (CFR: 41.6 / 45.5 to 45.8): CRDS mode control | 3.7 | A4 | 400001
60 | (033A2.03) Ability to (a) predict the impacts of the following on the (SF8 SFPCS) SPENT FUEL POOL COOLING SYSTEM and (b) based on those predictions, use procedures to correct, control, or mitigate the consequences of those abnormal operations (CFR: 41.5 / 43.5 / 45.3 / 45.13): Abnormal water level | 3.9 | A3 | 400033
61 | (027K1.02) Knowledge of the physical connections and/or cause and effect relationships between the (SF5 CIRS) CONTAINMENT IODINE REMOVAL SYSTEM and the following systems (CFR: 41.7 to 41.9 / 45.7 / 45.8): Containment | 3.1 | K2 | 400027
62 | (400002) 002 (SF2; SF4P RCS) REACTOR COOLANT SYSTEM (G2.1.44) CONDUCT OF OPERATIONS: Knowledge of RO duties in the control room during fuel handling, such as responding to alarms from the fuel handling area, communicating with fuel-handling personnel, operating systems from the control room to support fueling operations, or supporting instrumentation (CFR: 41.10 / 43.7 / 45.12) | 3.9 | G | 400002
63 | (035K4.10) Knowledge of (SF4P SG) STEAM GENERATOR SYSTEM design features and/or interlocks that provide for the following (CFR: 41.7): Steam flow measurement | 3.3 | K4 | 400035
64 | (G2.1.1) CONDUCT OF OPERATIONS: Knowledge of conduct of operations requirements (CFR: 41.10 / 43.10 / 45.13) | 3.8 | G2.1 | G2.1
65 | (G2.1.20) CONDUCT OF OPERATIONS: Ability to interpret and execute procedure steps (CFR: 41.10 / 43.5 / 45.12) | 4.6 | G2.1 | G2.1
66 | (G2.2.22) EQUIPMENT CONTROL: Knowledge of limiting conditions for operation and safety limits (CFR: 41.5 / 43.2 / 45.2) | 4 | G2.2 | G2.2
67 | (G2.2.43) EQUIPMENT CONTROL: Knowledge of the process used to track inoperable alarms (CFR: 41.10 / 43.5 / 45.13) | 3 | G2.2 | G2.2
68 | (G2.3.11) RADIATION CONTROL: Ability to control radiation releases (CFR: 41.11 / 43.4 / 45.10) | 3.8 | G2.3 | G2.3
69 | (G2.4.52) EMERGENCY PROCEDURES/PLAN: Knowledge of the lines of authority during implementation of the emergency plan, emergency plan implementing procedures, emergency operating procedures, or severe accident guidelines (CFR: 41.10 / 45.13) | 3 | G2.4 | G2.4
70 | (192008K1.23) REACTOR OPERATIONAL PHYSICS (CFR: 41.1): (REACTOR RESPONSE ON A TRIP) Explain the shape of a curve of reactor power versus time after a trip | 3.1 | R | 192008
71 | (192004K1.12) REACTIVITY COEFFICIENTS (CFR: 41.1): Describe the effects on fuel temperature (Doppler) coefficient of reactivity for changes in the following: -- core age | 2.9 | R | 192004
72 | (192001K1.02) NEUTRONS (CFR: 41.1): Define prompt and delayed neutrons | 2.5 | R | 192001
73 | (193005K1.03) THERMODYNAMIC CYCLES (CFR: 41.14): Describe how changes in system parameters affect thermodynamic efficiency | 2.6 | T | 193005
74 | (193009K1.07) CORE THERMAL LIMITS (CFR: 41.14): Describe factors that affect peaking and hot channel factors | 3.3 | T | 193009
75 | (193010K1.02) BRITTLE FRACTURE AND VESSEL THERMAL STRESS (CFR: 41.14): State the definition of the nil-ductility transition temperature | 2.5 | T | 193010
76 | (CE06EA2.11) Ability to determine and/or interpret the following as they apply to (CE E06) LOSS OF FEEDWATER (CFR: 43.5 / 45.13): Reactor power | 3.5 | A2 | 395013
77 | (395011) 000038 (EPE 38) Steam Generator Tube Rupture (G2.4.35) EMERGENCY PROCEDURES/PLAN: Knowledge of nonlicensed operator responsibilities during an emergency (CFR: 41.10 / 43.1 / 43.5 / 45.13) | 4 | G | 395011
78 | (056AA2.15) Ability to determine and/or interpret the following as they apply to (APE 56) Loss of Offsite Power (CFR: 43.5 / 45.13): Status of main generator emergency bearing oil | 2.9 | A2 | 395015
79 | (395016) 000057 (APE 57) Loss of Vital AC Instrument Bus (G2.4.16) EMERGENCY PROCEDURES/PLAN: Knowledge of emergency and abnormal operating procedures implementation hierarchy and coordination with other support procedures or guidelines, such as operating procedures, abnormal operating procedures, or severe accident management guidelines (CFR: 41.10 / 43.5 / 45.13) | 4.4 | G | 395016
80 | (077AA2.09) Ability to determine and/or interpret the following as they apply to (APE 77) GENERATOR VOLTAGE AND ELECTRIC Grid Disturbances (CFR: 41.5 / 43.5 / 45.5 / 45.7 / 45.8): Status of EDGs | 3.9 | A2 | 395020
81 | (395002) 000008 (APE 8) Pressurizer Vapor Space Accident (G2.1.7) CONDUCT OF OPERATIONS: Ability to evaluate plant performance and make operational judgments based on operating characteristics, reactor behavior, and instrument interpretation (CFR: 41.5 / 43.5 / 45.12 / 45.13) | 4.7 | G | 395002
82 | (037AA2.11) Ability to determine and/or interpret the following as they apply to (APE 37) STEAM Generator Tube Leak (CFR: 41.7 / 41.10 / 43.5 / 45.13): When to isolate one or more S/Gs | 4.1 | A2 | 395032
83 | (395034) 000059 (APE 59) Accidental Liquid Radwaste Release (G2.4.17) EMERGENCY PROCEDURES/PLAN: Knowledge of emergency and abnormal operating procedures terms and definitions (CFR: 41.10 / 45.13) | 4.3 | G | 395034
84 | (028AA2.17) Ability to determine and/or interpret the following as they apply to (APE 28) PRESSURIZER (PZR) Level Control Malfunction (CFR: 43.5 / 45.13): Evaluate the TS for PZR level control malfunction | 3.8 | A2 | 395028
85 | (395054) (BW E09; CE A13**; W E09 & E10) Natural Circulation (G2.2.23) EQUIPMENT CONTROL: Ability to track TS limiting conditions for operation (CFR: 41.10 / 43.2 / 45.13) | 4.6 | G | 395054
86 | (012A2.01) Ability to (a) predict the impacts of the following on the (SF7 RPS) REACTOR PROTECTION SYSTEM and (b) based on those predictions, use procedures to correct, control, or mitigate the consequences of those abnormal operations (CFR: 41.5 / 43.5 / 45.3 / 45.5): Faulty bistable operation | 3.6 | A2 | 400012
87 | (400003) 003 (SF4P RCP) REACTOR COOLANT PUMP SYSTEM (G2.1.3) CONDUCT OF OPERATIONS: Knowledge of shift or short-term relief turnover practices (CFR: 41.10 / 45.13) | 3.9 | G | 400003
88 | (073A2.01) Ability to (a) predict the impacts of the following on the (SF7 PRM) PROCESS RADIATION MONITORING SYSTEM and (b) based on those predictions, use procedures to correct, control, or mitigate the consequences of those abnormal operations (CFR: 41.5 / 43.5 / 45.3 / 45.13 / 8-9): PRM component failures | 3.1 | A2 | 400073
89 | (400004) 004 (SF1; SF2 CVCS) CHEMICAL AND VOLUME CONTROL SYSTEM (G2.1.36) CONDUCT OF OPERATIONS: Knowledge of procedures and limitations involved in core alterations (CFR: 41.10 / 43.6 / 45.7) | 4.1 | G | 400004
90 | (039A2.06) Ability to (a) predict the impacts of the following on the (SF4S MSS) MAIN AND REHEAT STEAM SYSTEM and (b) based on those predictions, use procedures to correct, control, or mitigate the consequences of those abnormal operations (CFR: 41.5 / 43.5 / 45.3 / 45.13): Atmospheric relief valve malfunctions | 3.7 | A2 | 400039
91 | (400011) 011 (SF2 PZR LCS) PRESSURIZER LEVEL CONTROL SYSTEM (G2.4.51) EMERGENCY PROCEDURES/PLAN: Knowledge of emergency operating procedure exit conditions (e.g., emergency condition no longer exists or severe accident guideline entry is required) (CFR: 41.10 / 43.5 /45.13) | 4 | G | 400011
92 | (034K5.02) Knowledge of the operational implications or cause and effect relationships of the following concepts as they apply to the (SF8 FHS) FUEL HANDLING EQUIPMENT SYSTEM (CFR: 41.4 / 41.5 / 43.7 / 45.7): Load limitations | 2.9 | K5 | 400034
93 | (400045) 045 (SF4S MTG) MAIN TURBINE GENERATOR SYSTEM (G2.4.6) EMERGENCY PROCEDURES/PLAN: Knowledge of emergency and abnormal operating procedures major action categories (CFR: 41.10 / 43.5 / 45.13) | 4.7 | G | 400045
94 | (G2.1.28) CONDUCT OF OPERATIONS: Knowledge of the purpose and function of major system components and controls (CFR: 41.7) | 4.1 | G2.1 | G2.1
95 | (G2.1.21) CONDUCT OF OPERATIONS: Ability to verify that a copy of a controlled procedure is the proper revision (CFR: 41.10 / 45.10 / 45.13) | 3.6 | G2.1 | G2.1
96 | (G2.2.18) EQUIPMENT CONTROL: Knowledge of the process for managing maintenance activities during shutdown operations, such as risk assessments and work prioritization (CFR: 41.10 / 43.5 / 45.13) | 3.9 | G2.2 | G2.2
97 | (G2.2.35) EQUIPMENT CONTROL: Ability to determine TS for mode of operation (CFR: 41.7 / 41.10 / 43.2 / 45.13) | 4.5 | G2.2 | G2.2
98 | (G2.3.14) RADIATION CONTROL: Knowledge of radiation or contamination hazards that may arise during normal, abnormal, or emergency conditions or activities, such as analysis and interpretation of radiation and activity readings as they pertain to administrative, normal, abnormal, and emergency procedures or to analysis and interpretation of coolant activity, including comparison to emergency plan or regulatory limits (SRO Only) (CFR: 43.4 / 45.10) | 3.8 | G2.3 | G2.3
99 | (G2.4.22) EMERGENCY PROCEDURES/PLAN: Knowledge of the bases for prioritizing safety functions during abnormal and emergency operations (CFR: 41.7 / 41.10 / 43.5 / 45.12) | 4.4 | G2.4 | G2.4
100 | (G2.4.26) EMERGENCY PROCEDURES/PLAN: Knowledge of facility protection requirements, including fire brigade and portable firefighting equipment usage (CFR: 41.10 / 43.5 / 45.12) | 3.6 | G2.4 | G2.4