## Sheet1
Question Number | Topic Title | Topic Importance | K/A Category | System
1 | (055EA2.07) Ability to determine and/or interpret the following as they apply to (EPE 55) Station Blackout (CFR: 43.5 / 45.13): AFW flow | 4.1 | A2 | 395014
2 | (009EK2.06) Knowledge of the relationship between (EPE 9) SMALL-Break LOCA and the following systems or components (CFR: 41.7 / 45.7): AFW system | 3.8 | K2 | 395003
3 | (057AK1.01) Knowledge of the operational implications and/or cause and effect relationships of the following concepts as they apply to (APE 57) LOSS OF VITAL AC ELECTRICALINSTRUMENT BUS (CFR: 41.8 / 41.10 / 45.3): Effect of a loss of power to instruments powered by a vital instrument bus on pla | 4.3 | K1 | 395016
4 | (007EA1.17) Ability to operate and/or monitor the following as they apply to (EPE 7) REACTOR TRIP, STABILIZATION, RECOVERY (CFR: 41.7 / 45.5 / 45.6): ESFAS | 3.6 | A1 | 395001
5 | (395010) 000029 (EPE 29) Anticipated Transient Without Scram (G2.4.4) EMERGENCY PROCEDURES/PLAN: Ability to recognize abnormal indications for system operating parameters that are entry-level conditions for emergency and abnormal operating procedures (CFR: 41.10 / 43.2 / 45.6) | 4.5 | G | 395010
6 | (026AK3.05) Knowledge of the reasons for the following responses and/or actions as they apply to (APE 26) LOSS OF Component Cooling Water (CFR: 41.5 / 41.10 / 45.6 / 45.13): Tripping the reactor | 4.1 | K3 | 395008
7 | (011EA2.01) Ability to determine and/or interpret the following as they apply to (EPE 11) LARGE-Break LOCA (CFR: 43.5 / 45.13): RCS temperature and/or pressure | 4 | A2 | 395004
8 | (015AK2.12) Knowledge of the relationship between (APE 15) REACTOR COOLANT Pump Malfunctions and the following systems or components (CFR: 41.7 / 45.7): RCS pressure control valves | 3.5 | K2 | 395005
9 | (065AK1.03) Knowledge of the operational implications and/or cause and effect relationships of the following concepts as they apply to (APE 65) LOSS OF Instrument Air (CFR: 41.8 / 41.10 / 45.3): Failure modes of air-operated equipment | 3.7 | K1 | 395019
10 | (025AA1.31) Ability to operate and/or monitor the following as they apply to (APE 25) LOSS OF RESIDUAL Heat Removal System (CFR: 41.7 / 45.5 / 45.6): Containment | 3.5 | A1 | 395007
11 | (395006) 000022 (APE 22) Loss of Reactor Coolant Makeup (G2.4.46) EMERGENCY PROCEDURES/PLAN: Ability to verify that the alarms are consistent with the plant conditions (CFR: 41.10 / 43.5 / 45.3 / 45.12) | 4.2 | G | 395006
12 | (WE05EK3.06) Knowledge of the reasons for the following responses and/or actions as they apply to (W E05) Loss of Secondary Heat Sink (CFR: 41.5 / 41.10 / 45.6 / 45.13): Establishing AFW to at least one S/G | 4.4 | K3 | 395023
13 | (WE04EA2.03) Ability to determine and/or interpret the following as they apply to (W E04) LOCA Outside Containment (CFR: 41.10 / 43.5 / 45.13): RCS pressure | 3.9 | A2 | 395021
14 | (062AK2.08) Knowledge of the relationship between (APE 62) LOSS OF SERVICE WATER and the following systems or components (CFR: 41.7 / 45.7): PRMS | 3 | K2 | 395018
15 | (077AK1.03) Knowledge of the operational implications and/or cause and effect relationships of the following concepts as they apply to (APE 77) GENERATOR VOLTAGE AND ELECTRIC Grid Disturbances (CFR: 41.4 / 41.5 / 41.7 / 41.10 / 45.8): Underexcitation | 3.3 | K1 | 395020
16 | (CE06EA1.13) Ability to operate and/or monitor the following as they apply to (CE E06) LOSS OF FEEDWATER (CFR: 41.7 / 45.5 / 45.6): CVCS | 3.4 | A1 | 395013
17 | (395015) 000056 (APE 56) Loss of Offsite Power (G2.2.36) EQUIPMENT CONTROL: Ability to analyze the effect of maintenance activities, such as degraded power sources, on the status of limiting conditions for operation (CFR: 41.10 / 43.2 / 45.13) | 3.1 | G | 395015
18 | (038EK3.07) Knowledge of the reasons for the following responses and/or actions as they apply to (EPE 38) STEAM GENERATOR Tube Rupture (CFR: 41.5 / 41.10 / 45.6 / 45.13): Operation of RCS loop isolation valves | 2.8 | K3 | 395011
19 | (BE09EA2.13) Ability to determine and/or interpret the following as they apply to (BW E09) NATURAL CIRCULATION COOLDOWN (CFR: 41.10 / 43.5 / 45.13): Reactor building spray flow | 3.3 | A2 | 395054
20 | (037AK2.10) Knowledge of the relationship between (APE 37) STEAM Generator Tube Leak and the following systems or components (CFR: 41.7 / 45.7): CDS | 3.1 | K2 | 395032
21 | (033AK1.01) Knowledge of the operational implications and/or cause and effect relationships of the following concepts as they apply to (APE 33) LOSS OF INTERMEDIATE RANGE Nuclear Instrumentation (CFR: 41.8 / 41.10 / 45.3): Effects of voltage changes on performance | 2.9 | K1 | 395030
22 | (076AA1.09) Ability to operate and/or monitor the following as they apply to (APE 76) HIGH REACTOR COOLANT ACTIVITY (CFR: 41.7 / 45.5 / 45.6): S/GB | 2.8 | A1 | 395041
23 | (395029) 000032 (APE 32) Loss of Source Range Nuclear Instrumentation (G2.4.5) EMERGENCY PROCEDURES/PLAN: Knowledge of the organization of the operating procedures network for normal, abnormal, and emergency evolutions (CFR: 41.10 / 43.5 / 45.13) | 3.7 | G | 395029
24 | (WE08EK3.12) Knowledge of the reasons for the following responses and/or actions as they apply to (W E08) Pressurized Thermal Shock (CFR: 41.5 / 41.10 / 45.6 / 45.13): Depressurizing the RCS to reduce RCS subcooling | 3.8 | K3 | 395056
25 | (028AA2.13) Ability to determine and/or interpret the following as they apply to (APE 28) PRESSURIZER (PZR) Level Control Malfunction (CFR: 43.5 / 45.13): The actual PZR level, given an uncompensated level with an appropriate graph | 2.6 | A2 | 395028
26 | (WE15EK2.03) Knowledge of the relationship between (W E15) Containment Flooding and the following systems or components (CFR: 41.7 / 41.8 / 45.2 / 45.4): Service water | 3.3 | K2 | 395045
27 | (076K5.05) Knowledge of the operational implications or cause and effect relationships of the following concepts as they apply to the (SF4S SW) SERVICE WATER SYSTEM (CFR: 41.4 / 41.7 / 45.5): Radiation alarms on SWS | 3.1 | K5 | 400076
28 | (004K1.05) Knowledge of the physical connections and/or cause and effect relationships between the (SF1; SF2 CVCS) CHEMICAL AND VOLUME CONTROL SYSTEM and the following systems (CFR: 41.3 / 41.5 to 41.8 / 41.10): CRDS | 2.7 | K1 | 400004
29 | (039K6.13) Knowledge of the effect of the following plant conditions, system malfunctions, or component malfunctions on the (SF4S MSS) MAIN AND REHEAT STEAM SYSTEM (CFR: 41.7 / 45.7): CDS | 2.9 | K6 | 400039
30 | (103A3.01) Ability to monitor automatic features of the (SF5 CNT) CONTAINMENT SYSTEM, including (CFR: 41.7 / 45.5): Containment isolation | 4.2 | A3 | 400103
31 | (003K3.04) Knowledge of the effect that a loss or malfunction of the (SF4P RCP) REACTOR COOLANT PUMP SYSTEM will have on the following systems or system parameters (CFR: 41.7 / 45.6): RPS | 4.2 | K3 | 400003
32 | (008K4.03) Knowledge of (SF8 CCW) COMPONENT COOLING WATER SYSTEM design features and/or interlocks that provide for the following (CFR: 41.7): Total CCW flow rate and flow rates to the components | 2.6 | K4 | 400008
33 | (012K2.01) Knowledge of electrical power supplies to the following (CFR: 41.7): (SF7 RPS) REACTOR PROTECTION SYSTEM RPS channels, components, and interconnections | 4 | K2 | 400012
34 | (013A1.16) Ability to predict and/or monitor changes in parameters associated with operation of the (SF2 ESFAS) ENGINEERED SAFETY FEATURES ACTUATION SYSTEM, including (CFR: 41.3 to 41.7 / 45.5): Auxiliary building HVAC system status | 2.9 | A1 | 400013
35 | (078A4.03) Ability to manually operate and/or monitor the (SF8 IAS) INSTRUMENT AIR SYSTEM in the control room (CFR: 41.7 / 45.5 to 45.8): Isolation/restoration of instrument air to isolated components/systems | 3.2 | A4 | 400078
36 | (400005) 005 (SF4P RHR) RESIDUAL HEAT REMOVAL SYSTEM (G2.1.44) CONDUCT OF OPERATIONS: Knowledge of RO duties in the control room during fuel handling, such as responding to alarms from the fuel handling area, communicating with fuel-handling personnel, operating systems from the control room to support fueling operations, or supporting instrumentation (CFR: 41.10 / 43.7 / 45.12) | 3.9 | G | 400005
37 | (073A2.01) Ability to (a) predict the impacts of the following on the (SF7 PRM) PROCESS RADIATION MONITORING SYSTEM and (b) based on those predictions, use procedures to correct, control, or mitigate the consequences of those abnormal operations (CFR: 41.5 / 43.5 / 45.3 / 45.13 / 8-9): PRM component failures | 3.9 | A2 | 400073
38 | (061K5.06) Knowledge of the operational implications or cause and effect relationships of the following concepts as they apply to the (SF4S AFW) AUXILIARY/EMERGENCY FEEDWATER SYSTEM (CFR: 41.5 / 45.7): Natural circulation flow | 3.8 | K5 | 400061
39 | (026K1.01) Knowledge of the physical connections and/or cause and effect relationships between the (SF5 CSS) CONTAINMENT SPRAY SYSTEM and the following systems (CFR: 41.2 to 41.9 / 45.7 / 45.8): ECCS | 4.1 | K1 | 400026
40 | (064K6.16) Knowledge of the effect of the following plant conditions, system malfunctions, or component malfunctions on the (SF6 EDG) EMERGENCY DIESEL GENERATOR SYSTEM (CFR: 41.7 / 45.7): EDG output breaker | 3.9 | K6 | 400064
41 | (022A3.02) Ability to monitor automatic features of the (SF5 CCS) CONTAINMENT COOLING SYSTEM, including (CFR: 41.7 / 45.5): Containment coolers cooling water flow | 3.6 | A3 | 400022
42 | (062K3.05) Knowledge of the effect that a loss or malfunction of the (SF6 ED AC) AC ELECTRICAL DISTRIBUTION SYSTEM will have on the following systems or system parameters (CFR: 41.7 / 45.6): ESFAS/ESAS | 4.3 | K3 | 400062
43 | (010K4.03) Knowledge of (SF3 PZR PCS) PRESSURIZER PRESSURE CONTROL SYSTEM design features and/or interlocks that provide for the following (CFR: 41.7): Overpressure control | 3.9 | K4 | 400010
44 | (059K2.01) Knowledge of electrical power supplies to the following: (SF4S MFW) MAIN FEEDWATER SYSTEM (CFR: 41.7) MFW system pumps | 3.2 | K2 | 400059
45 | (063A1.03) Ability to predict and/or monitor changes in parameters associated with operation of the (SF6 ED DC) DC ELECTRICAL DISTRIBUTION SYSTEM, including (CFR: 41.5 / 45.5): Battery bus voltage and/or current | 3.5 | A1 | 400063
46 | (007A4.02) Ability to manually operate and/or monitor the (SF5 PRTS) PRESSURIZER RELIEF/QUENCH TANK SYSTEM in the control room (CFR: 41.5 / 41.7 / 45.5 / 45.7 / 45.8): PRT/quench tank drain valve | 2.8 | A4 | 400007
47 | (400006) 006 (SF2; SF3 ECCS) EMERGENCY CORE COOLING SYSTEM (191002K1.02) SENSORS AND DETECTORS (CFR: 41.7): (FLOW) Temperature/density compensation requirements | 2.9 | C | 400006
48 | (076A2.10) Ability to (a) predict the impacts of the following on the (SF4S SW) SERVICE WATER SYSTEM and (b) based on those predictions, use procedures to correct, control, or mitigate the consequences of those abnormal operations (CFR: 41.1 / 41.5 / 43.5 / 45.3 / 45.6 / 45.13): Intake screen failure | 3.3 | A2 | 400076
49 | (004K5.27) Knowledge of the operational implications or cause and effect relationships of the following concepts as they apply to the (SF1; SF2 CVCS) CHEMICAL AND VOLUME CONTROL SYSTEM (CFR: 41.5 / 45.7): Reason for nitrogen purge of CVCS | 2.8 | K5 | 400004
50 | (039K1.06) Knowledge of the physical connections and/or cause and effect relationships between the (SF4S MSS) MAIN AND REHEAT STEAM SYSTEM and the following systems (CFR: 41.2 to 41.9 / 45.7 / 45.8): SDS | 3.5 | K1 | 400039
51 | (103K6.09) Knowledge of the effect of the following plant conditions, system malfunctions, or component malfunctions on the (SF5 CNT) CONTAINMENT SYSTEM (CFR: 41.7 / 45.7): CPS | 3.4 | K6 | 400103
52 | (003A3.06) Ability to monitor automatic features of the (SF4P RCP) REACTOR COOLANT PUMP SYSTEM, including (CFR: 41.7 / 45.7): RCP trip actuation due to ESFAS actuation | 4 | A3 | 400003
53 | (008K3.08) Knowledge of the effect that a loss or malfunction of the (SF8 CCW) COMPONENT COOLING WATER SYSTEM will have on the following systems or system parameters (CFR: 41.4 to 41.7 / 45.7 to 45.9): CVCS | 3.5 | K3 | 400008
54 | (012K4.06) Knowledge of (SF7 RPS) REACTOR PROTECTION SYSTEM design features and/or interlocks that provide for the following (CFR: 41.7): Automatic or manual enable/disable of RPS trips | 4.1 | K4 | 400012
55 | (045K5.11) Knowledge of the operational implications or cause and effect relationships of the following concepts as they apply to the (SF4S MTG) MAIN TURBINE GENERATOR SYSTEM (CFR: 41.5 / 45.7): Purpose of turning gear | 2.7 | K5 | 400045
56 | (001K1.12) Knowledge of the physical connections and/or cause and effect relationships between the (SF1 CRDS) CONTROL ROD DRIVE SYSTEM and the following systems (CFR: 41.2 / 41.3 / 41.5 to 41.7 / 45.5 to 45.8): RPIS | 3.8 | K1 | 400001
57 | (055K6.04) Knowledge of the effect of the following plant conditions, system malfunctions, or component malfunctions on the (SF4S CARS) CONDENSER AIR REMOVAL SYSTEM (CFR: 41.7 / 45.7): Flow sensors | 2.5 | K6 | 400055
58 | (072A3.01) Ability to monitor automatic features of the (SF7 ARM) AREA RADIATION MONITORING SYSTEM, including (CFR: 41.7 / 45.8 / 45.9): Changes in system alignment | 3.3 | A3 | 400072
59 | (014K3.02) Knowledge of the effect that a loss or malfunction of the (SF1 RPI) ROD POSITION INDICATION SYSTEM will have on the following systems or system parameters (CFR: 41.7 / 45.6): Plant computer | 3.2 | K3 | 400014
60 | (035K4.01) Knowledge of (SF4P SG) STEAM GENERATOR SYSTEM design features and/or interlocks that provide for the following (CFR: 41.7): S/G level control | 4.2 | K4 | 400035
61 | (075K2.01) Knowledge of electrical power supplies to the following: (SF8 CW) CIRCULATING WATER SYSTEM (CFR: 41.7) Circulating water pumps | 2.8 | K2 | 400075
62 | (071A1.03) Ability to predict and/or monitor changes in parameters associated with operation of the (SF9 WGS) WASTE GAS DISPOSAL SYSTEM, including (CFR: 41.5 / 45.8 / 45.9): Holdup tank pressure and level | 2.6 | A1 | 400071
63 | (033A4.03) Ability to manually operate and/or monitor the (SF8 SFPCS) SPENT FUEL POOL COOLING SYSTEM in the control room (CFR: 41.7 / 45.5 to 45.8): Support systems for fill and transfer of SFPCS water | 3 | A4 | 400033
64 | (G2.1.37) CONDUCT OF OPERATIONS: Knowledge of procedures, guidelines, or limitations associated with reactivity management (CFR: 41.1 / 41.5 / 41.10 / 43.6 / 45.6) | 4.3 | G2.1 | G2.1
65 | (G2.1.47) CONDUCT OF OPERATIONS: Ability to direct nonlicensed personnel activities inside the control room (CFR: 41.10 / 43.5 / 45.5 / 45.12 / 45.13) | 3.2 | G2.1 | G2.1
66 | (G2.2.18) EQUIPMENT CONTROL: Knowledge of the process for managing maintenance activities during shutdown operations, such as risk assessments and work prioritization (CFR: 41.10 / 43.5 / 45.13) | 2.6 | G2.2 | G2.2
67 | (G2.2.23) EQUIPMENT CONTROL: Ability to track TS limiting conditions for operation (CFR: 41.10 / 43.2 / 45.13) | 3.1 | G2.2 | G2.2
68 | (G2.3.11) RADIATION CONTROL: Ability to control radiation releases (CFR: 41.11 / 43.4 / 45.10) | 3.8 | G2.3 | G2.3
69 | (G2.4.25) EMERGENCY PROCEDURES/PLAN: Knowledge of fire protection procedures (CFR: 41.10 / 43.5 / 45.13) | 3.3 | G2.4 | G2.4
70 | (192007K1.05) FUEL DEPLETION AND BURNABLE POISONS (CFR: 41.1): Describe the effects of boration/dilution on reactivity during forced-flow and natural circulation conditions | 3.2 | R | 192007
71 | (192003K1.07) REACTOR KINETICS AND NEUTRON SOURCES (CFR: 41.1): Explain the effect of delayed neutrons on reactor control | 3 | R | 192003
72 | (192008K1.14) REACTOR OPERATIONAL PHYSICS (CFR: 41.1): (INTERMEDIATE RANGE OPERATION) Describe reactor power and startup rate response prior to reaching the POAH | 3.1 | R | 192008
73 | (193006K1.07) FLUID STATICS AND DYNAMICS (CFR: 41.14): Define or explain the following term or concept: -- two-phase flow | 2.9 | T | 193006
74 | (193008K1.22) THERMAL HYDRAULICS (CFR: 41.14): (NATURAL CIRCULATION) Describe means to determine whether natural circulation flow exists | 4.2 | T | 193008
75 | (193010K1.07) BRITTLE FRACTURE AND VESSEL THERMAL STRESS (CFR: 41.14): State the operational concerns of uncontrolled cooldown | 4.1 | T | 193010
76 | (395017) 000058 (APE 58) Loss of DC Power (G2.2.20) EQUIPMENT CONTROL: Knowledge of the process for managing troubleshooting activities (CFR: 41.10 / 43.5 / 45.13) | 3.8 | G | 395017
77 | (WE11EA2.17) Ability to determine and/or interpret the following as they apply to (W E11) LOSS OF EMERGENCY Coolant Recirculation (CFR: 41.10 / 43.5 / 45.13): Alternate makeup source to RCS flow | 3.5 | A2 | 395022
78 | (395009) 000027 (APE 27) Pressurizer Pressure Control System Malfunction (G2.1.32) CONDUCT OF OPERATIONS: Ability to explain and apply system precautions, limitations, notes, or cautions (CFR: 41.10 / 43.2 / 45.12) | 4 | G | 395009
79 | (008AA2.04) Ability to determine and/or interpret the following as they apply to (APE 8) PRESSURIZER VAPOR Space Accident (CFR: 43.5 / 45.13): Tailpipe temperature | 4.1 | A2 | 395002
80 | (395012) 000040 (APE 40; BW E05; CE E05; W E12) Steam Line Rupture – Excessive Heat Transfer (G2.1.29) CONDUCT OF OPERATIONS: Knowledge of how to conduct system lineups, such as valves, breakers, or switches (CFR: 41.10 / 45.1 / 45.12) | 4 | G | 395012
81 | (055EA2.02) Ability to determine and/or interpret the following as they apply to (EPE 55) Station Blackout (CFR: 43.5 / 45.13): RCS core cooling through natural circulation | 4.2 | A2 | 395014
82 | (395027) 000024 (APE 24) Emergency Boration (G2.4.21) EMERGENCY PROCEDURES/PLAN: Knowledge of the parameters and logic used to assess the status of emergency operating procedures critical safety functions or shutdown critical safety functions (CFR: 41.7 / 43.5 / 45.12) | 4.6 | G | 395027
83 | (WE13EA2.05) Ability to determine and/or interpret the following as they apply to (W E13) STEAM Generator Overpressure (CFR: 41.10 / 43.5 / 45.13): Steam dump flowpath | 3.6 | A2 | 395044
84 | (395039) 000069 (APE 69; W E14) Loss of Containment Integrity (G2.1.23) CONDUCT OF OPERATIONS: Ability to perform general and/or normal operating procedures during any plant condition (CFR: 41.10 / 43.5 / 45.2 / 45.6) | 4.4 | G | 395039
85 | (059AA2.06) Ability to determine and/or interpret the following as they apply to (APE 59) ACCIDENTAL LIQUID Radwaste Release (CFR: 43.5 / 45.13): Verification that the flow rate of the liquid being released is less than or equal to that specified on the release permit | 3.6 | A2 | 395034
86 | (400013) 013 (SF2 ESFAS) ENGINEERED SAFETY FEATURES ACTUATION SYSTEM (G2.4.19) EMERGENCY PROCEDURES/PLAN: Knowledge of emergency and abnormal operating procedures layout, symbols, and icons (CFR: 41.10 / 45.13) | 4.1 | G | 400013
87 | (078A2.03) Ability to (a) predict the impacts of the following on the (SF8 IAS) INSTRUMENT AIR SYSTEM and (b) based on those predictions, use procedures to correct, control, or mitigate the consequences of those abnormal operations (CFR: 41.5 / 43.5 / 45.3 / 45.13): Cooling water malfunction | 3.1 | A2 | 400078
88 | (400005) 005 (SF4P RHR) RESIDUAL HEAT REMOVAL SYSTEM (G2.4.45) EMERGENCY PROCEDURES/PLAN: Ability to prioritize and interpret the significance of each annunciator or alarm (CFR: 41.10 / 43.5 / 45.3 / 45.12) | 4.3 | G | 400005
89 | (073A4.04) Ability to manually operate and/or monitor the (SF7 PRM) PROCESS RADIATION MONITORING SYSTEM in the control room (CFR: 41.7 / 45.8 / 45.9): Alarm and/or interlock setpoint checks and adjustments | 3.2 | A2 | 400073
90 | (400061) 061 (SF4S AFW) AUXILIARY / EMERGENCY FEEDWATER SYSTEM (G2.2.19) EQUIPMENT CONTROL: Knowledge of maintenance work order requirements (CFR: 41.10 / 43.5 / 45.13) | 3.4 | G | 400061
91 | (068A2.05) Ability to (a) predict the impacts of the following on the (SF9 LRS) LIQUID RADWASTE SYSTEM and (b) based on those predictions, use procedures to correct, control, or mitigate the consequences of those abnormal operations (CFR: 41.5 / 43.5 / 45.3 / 45.8 / 45.9 / 45.13): CWS malfunction | 2.8 | A2 | 400068
92 | (034A2.06) Ability to (a) predict the impacts of the following on the (SF8 FHS) FUEL HANDLING EQUIPMENT SYSTEM and (b) based on those predictions, use procedures to correct, control, or mitigate the consequences of those abnormal operations (CFR: 41.5 / 43.5 / 43.7 / 45.3 / 45.8 / 45.13): Loss of RHR cooling flow | 3.7 | A2 | 400034
93 | (050A2.05) Ability to (a) predict the impacts of the following on the (SF9 CRV) CONTROL ROOM VENTILATION and (b) based on those predictions, use procedures to correct, control, or mitigate the consequences of those abnormal operations (CFR: 41.5 / 43.5 / 45.6): Loss of chillers | 3.1 | A2 | 400050
94 | (G2.1.45) CONDUCT OF OPERATIONS: Ability to identify and interpret diverse indications to validate the response of another indication. (CFR: 41.7 / 43.5 / 45.4) | 4.3 | G2.1 | G2.1
95 | (G2.1.7) CONDUCT OF OPERATIONS: Ability to evaluate plant performance and make operational judgments based on operating characteristics, reactor behavior, and instrument interpretation (CFR: 41.5 / 43.5 / 45.12 / 45.13) | 4.7 | G2.1 | G2.1
96 | (G2.2.12) EQUIPMENT CONTROL: Knowledge of surveillance procedures (CFR: 41.10 / 43.2 / 45.13) | 4.1 | G2.2 | G2.2
97 | (G2.2.2) EQUIPMENT CONTROL: Ability to manipulate the console controls as required to operate the facility between shutdown and designated power levels (CFR: 41.6 / 41.7 / 45.2) | 4.1 | G2.2 | G2.2
98 | (G2.3.5) RADIATION CONTROL: Ability to use RMSs, such as fixed radiation monitors and alarms or personnel monitoring equipment (CFR: 41.11 / 41.12 / 43.4 / 45.9) | 2.9 | G2.3 | G2.3
99 | (G2.4.28) EMERGENCY PROCEDURES/PLAN: Knowledge of procedures relating to a security event (ensure that the test item includes no safeguards information) (CFR: 41.10 / 43.5 / 45.13) | 4.1 | G2.4 | G2.4
100 | (G2.4.49) EMERGENCY PROCEDURES/PLAN: Ability to perform without reference to procedures those actions that require immediate operation of system components and controls (CFR: 41.10 / 43.2 / 45.6) | 4.4 | G2.4 | G2.4