## Sheet1
Question Number | Topic Title | Topic Importance | K/A Category | System
1 | (295018AA1.06) Ability to operate and/or monitor the following as they apply to (APE 18) PARTIAL OR COMPLETE LOSS OF COMPONENT COOLING WATER (CCW): (CFR: 41.7 / 45.6) RHR/LPCI | 3.2 | A1 | 295018
2 | (295038EK2.09) Knowledge of the relationship between the (EPE 15) HIGH OFFSITE RADIOACTIVITY RELEASE RATE and the following systems or components: (CFR: 41.7 / 45.8) Post‑accident sample system | 3 | K2 | 295038
3 | (295024EK1.01) Knowledge of the operational implications and/or cause and effect relationships of the following concepts as they apply to the (EPE 1) HIGH DRYWELL PRESSURE: (CFR: 41.8 to 41.10) Drywell integrity | 4.3 | K1 | 295024
4 | (295023) (APE 23) REFUELING ACCIDENTS (G2.1.4) CONDUCT OF OPERATIONS Knowledge of individual licensed operator responsibilities related to shift staffing, such as medical requirements, “no-solo” operation, maintenance of active license status, 10 CFR Part 55 (CFR: 41.10 / 43.2) | 3.3 | G | 295023
5 | (295003AA2.04) Ability to determine and/or interpret the following as they apply to (APE 3) PARTIAL OR COMPLETE LOSS OF AC POWER: (CFR: 41.10 / 43.5 / 45.13) System lineups | 3.6 | A2 | 295003
6 | (295019AK3.05) Knowledge of the reasons for the following responses or actions as they apply to (APE 19) PARTIAL OR COMPLETE LOSS OF INSTRUMENT AIR: (CFR: 41.5 / 45.6) Leak isolation | 3.3 | K3 | 295019
7 | (295006AA1.07) Ability to operate and/or monitor the following as they apply to (APE 6) SCRAM: (CFR: 41.7 / 45.6) Control rod position | 4.2 | A1 | 295006
8 | (295037EK2.25) Knowledge of the relationship between the (EPE 14) SCRAM CONDITION PRESENT AND REACTOR POWER ABOVE APRM DOWNSCALE OR UNKNOWN and the following systems or components: (CFR: 41.7 / 41.8 / 45.8) Rod worth minimizer | 3 | K2 | 295037
9 | (295001AK1.04) Knowledge of the operational implications and/or cause and effect relationships of the following concepts as they apply to the (APE 1) PARTIAL OR COMPLETE LOSS OF FORCED CORE FLOW CIRCULATION: (CFR: 41.8 to 41.10) Thermal-hydraulic instabilities | 4.3 | K1 | 295001
10 | (295025) (EPE 2) HIGH REACTOR PRESSURE (G2.4.34) EMERGENCY PROCEDURES / PLAN Knowledge of RO responsibilities outside the main control room during an emergency (CFR: 41.10 / 43.5 / 45.13) | 4.2 | G | 295025
11 | (295005AA2.08) Ability to determine and/or interpret the following as they apply to (APE 5) MAIN TURBINE GENERATOR TRIP: (CFR: 41.10 / 43.5 / 45.13) Electrical distribution status | 3.9 | A2 | 295005
12 | (295016AK3.02) Knowledge of the reasons for the following responses or actions as they apply to (APE 16) CONTROL ROOM ABANDONMENT: (CFR: 41.5 / 45.6) Turbine trip | 3.6 | K3 | 295016
13 | (295031EA1.08) Ability to operate and/or monitor the following as they apply to (EPE 8) REACTOR LOW WATER LEVEL: (CFR: 41.7 / 45.6) Alternate injection systems | 3.9 | A1 | 295031
14 | (700000AK2.07) Knowledge of the relationship between the (APE 25) GENERATOR VOLTAGE AND ELECTRIC GRID DISTURBANCES and the following systems or components: (CFR: 41.4 / 41.5 / 41.7 / 41.10 / 45.8) Reactor/turbine pressure regulating system | 3.3 | K2 | 700000
15 | (295021AK1.01) Knowledge of the operational implications and/or cause and effect relationships of the following concepts as they apply to the (APE 21) LOSS OF SHUTDOWN COOLING:(CFR: 41.8 to 41.10) Decay heat | 4.4 | K1 | 295021
16 | (295030) (EPE 7) LOW SUPPRESSION POOL WATER LEVEL (G2.4.2) EMERGENCY PROCEDURES / PLAN Knowledge of system setpoints, interlocks and automatic actions associated with emergency and abnormal operating procedure entry conditions (CFR: 41.7 / 45.7 / 45.8) | 4.5 | G | 295030
17 | (600000AA2.16) Ability to determine and/or interpret the following as they apply to (APE 24) PLANT FIRE ON SITE: (CFR: 41.10 / 43.5 / 45.13) Vital equipment and control systems to be maintained and operated during a fire | 3.3 | A2 | 600000
18 | (295026EK3.01) Knowledge of the reasons for the following responses or actions as they apply to (EPE 3) SUPPRESSION POOL HIGH WATER TEMPERATURE: (CFR: 41.5 / 45.6) Emergency/normal depressurization | 4.3 | K3 | 295026
19 | (295027EA1.02) Ability to operate and/or monitor the following as they apply to (EPE 4) HIGH CONTAINMENT TEMPERATURE (MARK III CONTAINMENT ONLY): (CFR: 41.7 / 45.6) Containment ventilation/cooling | 3.7 | A1 | 295027
20 | (295004AK2.01) Knowledge of the relationship between the (APE 4) PARTIAL OR COMPLETE LOSS OF DC POWER and the following systems or components: (CFR: 41.7 / 45.8) Battery charger | 3.8 | K2 | 295004
21 | (295036) (EPE 13) SECONDARY CONTAINMENT HIGH SUMP/AREA WATER LEVEL (G2.1.15) CONDUCT OF OPERATIONS Knowledge of administrative requirements for temporary management direction, such as standing orders, night orders, or operations memoranda (CFR: 41.10 / 45.12) | 2.7 | G | 295036
22 | (295033EA2.04) Ability to determine and/or interpret the following as they apply to (EPE 10) HIGH SECONDARY CONTAINMENT AREA RADIATION LEVELS: (CFR: 41.10 / 43.5 / 45.13) Emergency plan | 3.6 | A2 | 295033
23 | (295011AK3.01) Knowledge of the reasons for the following responses or actions as they apply to (APE 11) HIGH CONTAINMENT TEMPERATURE (MARK III CONTAINMENT ONLY): (CFR: 41.5 / 45.6) Increased containment cooling | 3.6 | K3 | 295011
24 | (295014AA1.02) Ability to operate and/or monitor the following as they apply to (APE 14) INADVERTENT REACTIVITY ADDITION: (CFR: 41.7 / 45.6) Recirculation flow control system | 4.2 | A1 | 295014
25 | (295032EK2.06) Knowledge of the relationship between the (EPE 9) HIGH SECONDARY CONTAINMENT AREA TEMPERATURE and the following systems or components: (CFR: 41.7 / 45.8) Area temperature monitoring system | 3.4 | K2 | 295032
26 | (295017AK1.04) Knowledge of the operational implications and/or cause and effect relationships of the following concepts as they apply to the (APE 17) ABNORMAL OFFSITE RELEASE RATE: (CFR: 41.8 to 41.10) Elevated vs. ground level release | 3.7 | K1 | 295017
27 | (239002K1.01) Knowledge of the physical connections and/or cause and effect relationships between the (SF3 SRV) SAFETY RELIEF VALVES and the following systems: (CFR: 41.2 to 41.9 / 45.7 / 45.8) Reactor vessel and internals | 3.6 | K1 | 239002
28 | (262002K5.02) Knowledge of the operational implications or cause and effect relationships of the following concepts as they apply to the (SF6 UPS) UNINTERRUPTABLE POWER SUPPLY (AC/DC): (CFR: 41.5 / 45.3) Motor generator operation | 3.1 | K5 | 262002
29 | (264000K4.06) Knowledge of (SF6 EGE) EMERGENCY GENERATORS (DIESEL/JET) design features and/or interlocks that provide for the following: (CFR: 41.7) Governor control | 3.6 | K4 | 264000
30 | (215005K2.02) (SF7 PRMS) AVERAGE POWER RANGE MONITOR/LOCAL POWER RANGE MONITOR Knowledge of electrical power supplies to the following: (CFR: 41.7) APRM channels | 3.7 | K2 | 215005
31 | (400000) (SF8 CCS) COMPONENT COOLING WATER SYSTEM (G2.2.42) EQUIPMENT CONTROL Ability to recognize system parameters that are entry-level conditions for technical specifications (CFR: 41.7 / 41.10 / 43.2 / 43.3 / 45.3) | 3.9 | G | 400000
32 | (223002A1.03) Ability to predict and/or monitor changes in parameters associated with operation of the (SF5 PCIS) PRIMARY CONTAINMENT ISOLATION SYSTEM / NUCLEAR STEAM SUPPLY SHUTOFF including: (CFR: 41.5 / 45.5) Plant process computer/parameter display systems | 3.3 | A1 | 223002
33 | (262001A2.05) Ability to (a) predict the impacts of the following on the (SF6 AC) AC ELECTRICAL DISTRIBUTION and (b) based on those predictions, use procedures to correct, control, or mitigate the consequences of those abnormal operations: (CFR: 41.5 / 43.5 / 45.6) Bus grounds /faults | 3.8 | A2 | 262001
34 | (510000A3.02) Ability to monitor automatic operation of the (SF4 SWS*) SERVICE WATER SYSTEM including: (CFR: 41.7 / 45.5) Valve alignment | 3.3 | A3 | 510000
35 | (263000K3.02) Knowledge of the effect that a loss or malfunction of the (SF6 DC) DC ELECTRICAL DISTRIBUTION will have on the following systems or system parameters: (CFR: 41.7 / 45.4) Operationally significant systems using DC control power | 4.2 | K3 | 263000
36 | (211000K6.01) Knowledge of the effect of the following plant conditions, system malfunctions, or component malfunctions on the (SF1 SLCS) STANDBY LIQUID CONTROL SYSTEM: (CFR: 41.7 / 45.7) Plant air systems | 2.5 | K6 | 211000
37 | (217000A4.12) Ability to manually operate and/or monitor the (SF2, SF4 RCIC) REACTOR CORE ISOLATION COOLING SYSTEM (BWR 3, 4, 5, 6) in the control room: (CFR: 41.7 / 45.5 to 45.8) | 3.9 | A4 | 217000
38 | (215004K1.06) Knowledge of the physical connections and/or cause and effect relationships between the (SF7 SRMS) SOURCE RANGE MONITOR SYSTEM and the following systems: (CFR: 41.2 to 41.9 / 45.7 / 45.8) Reactor vessel and internals | 3.1 | K1 | 215004
39 | (259002K5.07) Knowledge of the operational implications or cause and effect relationships of the following concepts as they apply to the (SF2 RWLCS) REACTOR WATER LEVEL CONTROL SYSTEM: (CFR: 41.5 / 45.3) Turbine speed control mechanisms: TDRFP | 3.3 | K5 | 259002
40 | (212000K4.08) Knowledge of (SF7 RPS) REACTOR PROTECTION SYSTEM design features and/or interlocks that provide for the following: (CFR: 41.7) SCRAM reset time delay | 3.3 | K4 | 212000
41 | (218000K2.01) (SF3 ADS) AUTOMATIC DEPRESSURIZATION SYSTEM Knowledge of electrical power supplies to the following: (CFR: 41.7) ADS logic | 4 | K2 | 218000
42 | (209002) (SF2, SF4 HPCS) HIGH PRESSURE CORE SPRAY SYSTEM (291001K1.03) VALVES (CFR: 41.3) The relationship of valve position to flow rate and back pressure | 2.8 | C | 209002
43 | (209001A1.10) Ability to predict and/or monitor changes in parameters associated with operation of the (SF2, SF4 LPCS) LOW PRESSURE CORE SPRAY SYSTEM including: (CFR: 41.5 / 45.5) Suppression pool temperature | 3.3 | A1 | 209001
44 | (205000A2.03) Ability to (a) predict the impacts of the following on the (SF4 SCS) SHUTDOWN COOLING SYSTEM (RHR SHUTDOWN COOLING MODE) and (b) based on those predictions, use procedures to correct, control, or mitigate the consequences of those abnormal operations: (CFR: 41.5 / 45.6) Loss of AC power | 3.9 | A2 | 205000
45 | (300000A3.04) Ability to monitor automatic operation of the (SF8 IA) INSTRUMENT AIR SYSTEM including: (CFR: 41.8 / 45.7) Automatic isolation | 3.4 | A3 | 300000
46 | (203000K3.02) Knowledge of the effect that a loss or malfunction of the (SF2, SF4 RHR/LPCI) RHR/LPCI: INJECTION MODE (BWR 3, 4, 5, 6) will have on the following systems or system parameters: (CFR: 41.7 / 45.4) Suppression pool level | 3.4 | K3 | 203000
47 | (261000K6.04) Knowledge of the effect of the following plant conditions, system malfunctions, or component malfunctions on the (SF9 SGTS) STANDBY GAS TREATMENT SYSTEM : (CFR: 41.7 / 45.7) Radiation monitoring system | 3.4 | K6 | 261000
48 | (215003A4.01) Ability to manually operate and/or monitor the (SF7 IRM) INTERMEDIATE RANGE MONITOR SYSTEM in the control room: (CFR: 41.7 / 45.5 to 45.8) IRM recorder indication | 3.6 | A4 | 215003
49 | (239002K1.04) Knowledge of the physical connections and/or cause and effect relationships between the (SF3 SRV) SAFETY RELIEF VALVES and the following systems: (CFR: 41.2 to 41.9 / 45.7 / 45.8) Main steam system | 3.8 | K1 | 239002
50 | (262002K5.01) Knowledge of the operational implications or cause and effect relationships of the following concepts as they apply to the (SF6 UPS) UNINTERRUPTABLE POWER SUPPLY (AC/DC): (CFR: 41.5 / 45.3) Static switch/inverter operation | 3.3 | K5 | 262002
51 | (264000K4.10) Knowledge of (SF6 EGE) EMERGENCY GENERATORS (DIESEL/JET) design features and/or interlocks that provide for the following: (CFR: 41.7) Automatic start logic | 4.2 | K4 | 264000
52 | (215005K2.03) (SF7 PRMS) AVERAGE POWER RANGE MONITOR/LOCAL POWER RANGE MONITOR Knowledge of electrical power supplies to the following: (CFR: 41.7) OPRM channels | 3.6 | K2 | 215005
53 | (271000K6.16) Knowledge of the effect of the following plant conditions, system malfunctions, or component malfunctions on the (SF9 OG) OFFGAS SYSTEM: (CFR: 41.5 / 41.7 / 45.7) Hydrogen water chemistry system | 2.7 | K6 | 271000
54 | (223001A4.16) Ability to manually operate and/or monitor the (SF5 PCS) PRIMARY CONTAINMENT SYSTEM AND AUXILIARIES in the control room: (CFR: 41.7 / 45.5 to 45.8) Suppression pool cleanup system | 2.5 | A4 | 223001
55 | (226001K1.05) Knowledge of the physical connections and/or cause and effect relationships between the (SF5 RHR CSS) RHR/LPCI: CONTAINMENT SPRAY MODE SYSTEM MODE and the following systems: (CFR: 41.2 to 41.9 / 45.7 / 45.8) Keep fill system | 3.2 | K1 | 226001
56 | (234000K5.02) Knowledge of the operational implications or cause and effect relationships of the following concepts as they apply to the (SF8 FH) FUEL HANDLING: (CFR: 41.5 / 45.3) FH equipment interlocks | 3.6 | K5 | 234000
57 | (201001K4.13) Knowledge of (SF1 CRDH) CRD HYDRAULIC SYSTEM design features and/or interlocks that provide for the following: (CFR: 41.2-3 / 41.6-7 / 41.10 / 41.12 / 45.1-6) Motor cooling | 2.7 | K4 | 201001
58 | (290002K5.10) Knowledge of the operational implications or cause and effect relationships of the following concepts as they apply to the (SF4 RVI) REACTOR VESSEL INTERNALS: (CFR: 41.5 / 45.3) Offsite radiation levels | 3.2 | K2 | 290002
59 | (239001) (SF3, SF4 MRSS) MAIN AND REHEAT STEAM SYSTEM (G2.4.3) EMERGENCY PROCEDURES / PLAN Ability to identify post-accident instrumentation (CFR: 41.6 / 45.4) | 3.7 | G | 239001
60 | (241000A1.20) Ability to predict and/or monitor changes in parameters associated with operation of the (SF3 RTPRS) REACTOR/TURBINE PRESSURE REGULATING SYSTEM including: (CFR: 41.5 / 45.5) Servo valve position | 2.5 | A1 | 241000
61 | (215001A2.04) Ability to (a) predict the impacts of the following on the (SF7 TIP) TRAVERSING IN CORE PROBE and (b) based on those predictions, use procedures to correct, control, or mitigate the consequences of those abnormal operations: (CFR: 41.5 / 45.6) Loss of AC electrical distribution | 2.8 | A2 | 215001
62 | (286000A3.01) Ability to monitor automatic operation of the (SF8 FPS) FIRE PROTECTION SYSTEM including: (CFR: 41.7 / 45.7) Fire water pump start | 3.4 | A3 | 286000
63 | (245000K3.03) Knowledge of the effect that a loss or malfunction of the (SF4 MTGEN) MAIN TURBINE GENERATOR AND AUXILIARY SYSTEMS will have on the following systems or system parameters: (CFR: 41.7 / 45.4) Reactor power | 4 | K3 | 245000
64 | (G2.1.3) CONDUCT OF OPERATIONS Knowledge of shift or short-term relief turnover practices (CFR: 41.10 / 45.13) | 3.7 | G2.1 | G2.1
65 | (G2.1.29) CONDUCT OF OPERATIONS Knowledge of how to conduct system lineups, such as valves, breakers, or switches (CFR: 41.10 / 45.1 / 45.12) | 4.1 | G2.1 | G2.1
66 | (G2.2.13) EQUIPMENT CONTROL Knowledge of tagging and clearance procedures (CFR: 41.10 / 43.1 / 45.13) | 4.1 | G2.2 | G2.2
67 | (G2.2.39) EQUIPMENT CONTROL Knowledge of less than or equal to 1 hour technical specification action statements (This K/A does not include action statements of 1 hour or less that follow the expiration of a completion time for a technical specification condition for which an action statement has already been entered.) (CFR: 41.7 / 41.10 / 43.2 / 45.13) | 3.9 | G2.2 | G2.2
68 | (G2.3.11) RADIATION CONTROL Ability to control radiation releases (CFR: 41.11 / 43.4 / 45.10) | 3.8 | G2.3 | G2.3
69 | (G2.4.42) EMERGENCY PROCEDURES / PLAN Knowledge of emergency response facilities (CFR: 41.10 / 45.11) | 2.6 | G2.4 | G2.4
70 | (292004K1.10) REACTIVITY COEFFICIENTS (CFR: 41.1) Define the void coefficient of reactivity | 3.2 | R | 292004
71 | (292006K1.03) FISSION PRODUCT POISONS (CFR: 41.1) Describe the production of xenon-135 | 2.9 | R | 292006
72 | (292008K1.12) REACTOR OPERATIONAL PHYSICS (CFR: 41.1) (INTERMEDIATE RANGE OPERATION) Describe reactor power and period response prior to reaching the POAH | 3.7 | R | 292008
73 | (293008K1.28) THERMAL HYDRAULICS (CFR: 41.14) (RECIRCULATION SYSTEM) Describe the factors affecting single- and two-phase flow resistance | 2.5 | T | 293008
74 | (293007K1.02) HEAT TRANSFER (CFR: 41.14) (HEAT TRANSFER) Describe thermal conductivity | 2.6 | T | 293007
75 | (293005K1.03) THERMODYNAMIC CYCLES (CFR: 41.14) Describe the steam quality/moisture effects on turbine integrity and efficiency | 2.7 | T | 293005
76 | (295018AA2.03) Ability to determine and/or interpret the following as they apply to (APE 18) PARTIAL OR COMPLETE LOSS OF COMPONENT COOLING WATER (CCW): (CFR: 41.10 / 43.5 / 45.13) Partial or complete loss | 3.5 | A2 | 295018
77 | (295038) (EPE 15) HIGH OFFSITE RADIOACTIVITY RELEASE RATE (G2.1.23) CONDUCT OF OPERATIONS Ability to perform general or normal operating procedures during any plant condition (CFR: 41.10 / 43.5 / 45.2 / 45.6) | 4.4 | G | 295038
78 | (295024EA2.08) Ability to determine and/or interpret the following as they apply to (EPE 1) HIGH DRYWELL PRESSURE: (CFR: 41.10 / 43.5 / 45.13) Drywell radiation levels | 3.6 | A2 | 295024
79 | (295023) (APE 23) REFUELING ACCIDENTS (G2.1.27) CONDUCT OF OPERATIONS Knowledge of system purpose and/or function (CFR: 41.7) | 4 | G | 295023
80 | (295003AA2.02) Ability to determine and/or interpret the following as they apply to (APE 3) PARTIAL OR COMPLETE LOSS OF AC POWER: (CFR: 41.10 / 43.5 / 45.13) Reactor power, pressure, and level | 4.3 | A2 | 295003
81 | (295019) (APE 19) PARTIAL OR COMPLETE LOSS OF INSTRUMENT AIR (G2.4.41) EMERGENCY PROCEDURES / PLAN: Knowledge of the emergency action level thresholds and classifications (CFR: 41.10 / 43.5 / 45.11). | 4.6 | G | 295019
82 | (295006AA2.02) Ability to determine and/or interpret the following as they apply to (APE 6) SCRAM: (CFR: 41.10 / 43.5 / 45.13) Control rod position | 4.5 | A2 | 295006
83 | (295034EA2.02) Ability to determine and/or interpret the following as they apply to (EPE 11) SECONDARY CONTAINMENT VENTILATION HIGH RADIATION: (CFR: 41.10 / 43.5 / 45.13) Source of high radiation levels | 3.6 | A2 | 295034
84 | (295035) (EPE 12) SECONDARY CONTAINMENT HIGH DIFFERENTIAL PRESSURE (G2.1.18) CONDUCT OF OPERATIONS Ability to make accurate, clear, and concise logs, records, status boards, and reports (CFR: 41.10 / 45.12 / 45.13) | 3.8 | G | 295035
85 | (295002AA2.04) Ability to determine and/or interpret the following as they apply to (APE 2) LOSS OF MAIN CONDENSER VACUUM: (CFR: 41.10 / 43.5 / 45.13) Offgas system flow | 3.6 | A2 | 295002
86 | (400000A2.02) Ability to (a) predict the impacts of the following on the (SF8 CCS) COMPONENT COOLING WATER SYSTEM and (b) based on those predictions, use procedures to correct, control, or mitigate the consequences of those abnormal operations: (CFR: 41.5 / 43.5 / 45.6) High/low surge tank level | 3.2 | A2 | 400000
87 | (223002) (SF5 PCIS) PRIMARY CONTAINMENT ISOLATION SYSTEM / NUCLEAR STEAM SUPPLY SHUTOFF (G2.4.49) EMERGENCY PROCEDURES / PLAN Ability to perform without reference to procedures those actions that require immediate operation of system components and controls (CFR: 41.10 / 43.2 / 45.6) | 4.4 | G | 223002
88 | (262001A2.12) Ability to (a) predict the impacts of the following on the (SF6 AC) AC ELECTRICAL DISTRIBUTION and (b) based on those predictions, use procedures to correct, control, or mitigate the consequences of those abnormal operations: (CFR: 41.5 / 43.5 / 45.6) Station blackout | 4.5 | A2 | 262001
89 | (510000) (SF4 SWS*) SERVICE WATER SYSTEM (G2.4.19) EMERGENCY PROCEDURES / PLAN Knowledge of emergency and abnormal operating procedures layout, symbols, and icons (CFR: 41.10 / 45.13) | 4.1 | G | 510000
90 | (263000A2.01) Ability to (a) predict the impacts of the following on the (SF6 DC) DC ELECTRICAL DISTRIBUTION and (b) based on those predictions, use procedures to correct, control, or mitigate the consequences of those abnormal operations: (CFR: 41.5 / 43.5 / 45.6) Grounds/faults | 3.2 | A2 | 263000
91 | (201003) (SF1 CRDM) CONTROL ROD AND DRIVE MECHANISM (G2.4.16) EMERGENCY PROCEDURES / PLAN Knowledge of emergency and abnormal operating procedures implementation hierarchy and coordination with other support procedures or guidelines such as, operating procedures, abnormal operating procedures, or severe accident management guidelines (CFR: 41.10 / 43.5 / 45.13) | 4.4 | G | 201003
92 | (202002A2.09) Ability to (a) predict the impacts of the following on the (SF1 RSCTL) RECIRCULATION FLOW CONTROL SYSTEM and (b) based on those predictions, use procedures to correct, control, or mitigate the consequences of those abnormal operations: (CFR: 41.5 / 43.5 / 45.6) Recirculation flow instrumentation | 3.3 | A2 | 202002
93 | (230000) (SF5 RHR SPS) RHR/LPCI: TORUS/SUPPRESSION POOL SPRAY MODE (G2.2.45) EQUIPMENT CONTROL Ability to determine or interpret technical specifications with action statements of greater than 1 hour (SRO Only) (CFR: 43.2 / 43.5 / 45.3) | 4.7 | G | 230000
94 | (G2.1.20) CONDUCT OF OPERATIONS Ability to interpret and execute procedure steps (CFR: 41.10 / 43.5 / 45.12) | 4.6 | G2.1 | G2.1
95 | (G2.1.14) CONDUCT OF OPERATIONS Knowledge of criteria or conditions that require plantwide announcements, such as pump starts, reactor trips, and mode changes (CFR: 41.10 / 43.5 / 45.12) | 3.1 | G2.1 | G2.1
96 | (G2.2.12) EQUIPMENT CONTROL Knowledge of surveillance procedures (CFR: 41.10 / 43.2 / 45.13) | 4.1 | G2.2 | G2.2
97 | (G2.2.14) EQUIPMENT CONTROL Knowledge of the process for controlling equipment configuration or status (CFR: 41.10 / 43.3 / 45.13) | 4.3 | G2.2 | G2.2
98 | (G2.3.6) RADIATION CONTROL Ability to approve liquid or gaseous release permits (CFR: 41.13 / 43.4 / 45.10) | 3.8 | G2.3 | G2.3
99 | (G2.4.45) EMERGENCY PROCEDURES / PLAN Ability to prioritize and interpret the significance of each annunciator or alarm (CFR: 41.10 / 43.5 / 45.3 / 45.12) | 4.3 | G2.4 | G2.4
100 | (G2.4.43) EMERGENCY PROCEDURES / PLAN Knowledge of emergency communications systems and techniques (CFR: 41.10 / 43.5 / 45.13) | 3.8 | G2.4 | G2.4