## Sheet1
Question Number | Topic Title | Topic Importance | K/A Category | System
1 | (295030EK1.05) Knowledge of the operational implications and/or cause and effect relationships of the following concepts as they apply to the (EPE 7) LOW SUPPRESSION POOL WATER LEVEL: (CFR: 41.8 to 41.10) SRV discharge submergence | 4 | K1 | 295030
2 | (295026EK3.02) Knowledge of the reasons for the following responses or actions as they apply to (EPE 3) SUPPRESSION POOL HIGH WATER TEMPERATURE: (CFR: 41.5 / 45.6) Suppression pool cooling | 3.8 | K3 | 295026
3 | (295019AK2.06) Knowledge of the relationship between the (APE 19) PARTIAL OR COMPLETE LOSS OF INSTRUMENT AIR and the following systems or components: (CFR: 41.7 / 45.8) Offgas system | 3.2 | K2 | 295019
4 | (295031EA1.03) Ability to operate and/or monitor the following as they apply to (EPE 8) REACTOR LOW WATER LEVEL: (CFR: 41.7 / 45.6) Low-pressure core spray | 4.3 | A1 | 295031
5 | (600000) (APE 24) PLANT FIRE ON SITE (G2.4.21) EMERGENCY PROCEDURES / PLAN Knowledge of the parameters and logic used to assess the status of emergency operating procedures critical safety functions or shutdown critical safety functions (CFR: 41.7 / 43.5 / 45.12) | 4 | G | 600000
6 | (295025EA2.06) Ability to determine and/or interpret the following as they apply to (EPE 2) HIGH REACTOR PRESSURE: (CFR: 41.10 / 43.5 / 45.13) Reactor water level | 4.2 | A2 | 295025
7 | (700000AK1.04) Knowledge of the operational implications and/or cause and effect relationships of the following concepts as they apply to the (APE 25) GENERATOR VOLTAGE AND ELECTRIC GRID DISTURBANCES: (CFR: 41.4 / 41.5 / 41.7 / 41.10 / 45.8) Frequency changes | 3.2 | K1 | 700000
8 | (295005AK3.07) Knowledge of the reasons for the following responses or actions as they apply to (APE 5) MAIN TURBINE GENERATOR TRIP: (CFR: 41.5 / 45.6) Turbine bypass valve operation | 3.9 | K3 | 295005
9 | (295021AK2.08) Knowledge of the relationship between the (APE 21) LOSS OF SHUTDOWN COOLING and the following systems or components: (CFR: 41.7 / 45.8) Alternate decay heat removal systems | 3.9 | K2 | 295021
10 | (295027EA1.05) Ability to operate and/or monitor the following as they apply to (EPE 4) HIGH CONTAINMENT TEMPERATURE (MARK III CONTAINMENT ONLY): (CFR: 41.7 / 45.6) Hydrogen recombiners | 3.1 | A1 | 295027
11 | (295023) (APE 23) REFUELING ACCIDENTS (G2.4.6) EMERGENCY PROCEDURES / PLAN Knowledge of emergency and abnormal operating procedures major action categories (CFR: 41.10 / 43.5 / 45.13) | 3.7 | G | 295023
12 | (295018AA2.01) Ability to determine and/or interpret the following as they apply to (APE 18) PARTIAL OR COMPLETE LOSS OF COMPONENT COOLING WATER (CCW): (CFR: 41.10 / 43.5 / 45.13) Component temperatures | 3.7 | A2 | 295018
13 | (295037EK1.04) Knowledge of the operational implications and/or cause and effect relationships of the following concepts as they apply to the (EPE 14) SCRAM CONDITION PRESENT AND REACTOR POWER ABOVE APRM DOWNSCALE OR UNKNOWN: (CFR: 41.8 to 41.10) Hot shutdown boron weight | 3.7 | K1 | 295037
14 | (295004AK3.01) Knowledge of the reasons for the following responses or actions as they apply to (APE 4) PARTIAL OR COMPLETE LOSS OF DC POWER: (CFR: 41.5 / 45.6) Load shedding | 3.9 | K3 | 295004
15 | (295016AK2.11) Knowledge of the relationship between the (APE 16) CONTROL ROOM ABANDONMENT and the following systems or components: (CFR: 41.7 / 45.8) Main and reheat steam system | 2.7 | K2 | 295016
16 | (295006AA1.03) Ability to operate and/or monitor the following as they apply to (APE 6) SCRAM: (CFR: 41.7 / 45.6) Reactor/turbine pressure regulating system | 4.2 | A1 | 295006
17 | (295003) (APE 3) PARTIAL OR COMPLETE LOSS OF AC POWER (G2.2.41) EQUIPMENT CONTROL Ability to obtain and interpret station electrical and mechanical drawings (reference potential) (CFR: 41.10 / 45.12 / 45.13) | 3.5 | G | 295003
18 | (295024EA2.04) Ability to determine and/or interpret the following as they apply to (EPE 1) HIGH DRYWELL PRESSURE: (CFR: 41.10 / 43.5 / 45.13) Suppression chamber pressure | 4.3 | A2 | 295024
19 | (295038EK1.06) Knowledge of the operational implications and/or cause and effect relationships of the following concepts as they apply to the (EPE 15) HIGH OFFSITE RADIOACTIVITY RELEASE RATE: (CFR: 41.8 to 41.10) Filtered vs. nonfiltered release | 3.8 | K1 | 295038
20 | (295001AK3.01) Knowledge of the reasons for the following responses or actions as they apply to (APE 1) PARTIAL OR COMPLETE LOSS OF FORCED CORE FLOW CIRCULATION: (CFR: 41.5 / 41.6) Reactor water level response | 3.7 | K3 | 295001
21 | (295017AA1.06) Ability to operate and/or monitor the following as they apply to (APE 17) ABNORMAL OFFSITE RELEASE RATE: (CFR: 41.7 / 45.6) Condenser air removal system | 3.3 | A1 | 295017
22 | (295008) (APE 8) HIGH REACTOR WATER LEVEL (G2.1.19) CONDUCT OF OPERATIONS Ability to use available indications to evaluate system or component status (CFR: 41.10 / 45.12) | 3.9 | G | 295008
23 | (295034EA2.02) Ability to determine and/or interpret the following as they apply to (EPE 11) SECONDARY CONTAINMENT VENTILATION HIGH RADIATION: (CFR: 41.10 / 43.5 / 45.13) Source of high radiation levels | 3.6 | A2 | 295034
24 | (295009AK1.03) Knowledge of the operational implications and/or cause and effect relationships of the following concepts as they apply to the (APE 9) LOW REACTOR WATER LEVEL: (CFR: 41.8 to 41.10) Jet pump net positive suction head | 3.2 | K1 | 295009
25 | (295013AK3.02) Knowledge of the reasons for the following responses or actions as they apply to (APE 13) HIGH SUPPRESSION POOL TEMPERATURE.: (CFR: 41.5 / 45.6) Limiting heat additions | 3.9 | K3 | 295013
26 | (295007AK2.07) Knowledge of the relationship between the (APE 7) HIGH REACTOR PRESSURE and the following systems or components: (CFR: 41.7 / 45.8) RPS | 4.4 | K2 | 295007
27 | (209002K1.12) Knowledge of the physical connections and/or cause and effect relationships between the (SF2, SF4 HPCS) HIGH PRESSURE CORE SPRAY SYSTEM and the following systems: (CFR: 41.2 to 41.9 / 45.7 / 45.8) Reactor vessel and internals | 3.7 | K1 | 209002
28 | (510000K5.02) Knowledge of the operational implications or cause and effect relationships of the following concepts as they apply to the (SF4 SWS*) SERVICE WATER SYSTEM: (CFR: 41.4 / 41.7 / 45.5) Radiation alarm response | 3 | K5 | 510000
29 | (211000A1.09) Ability to predict and/or monitor changes in parameters associated with operation of the (SF1 SLCS) STANDBY LIQUID CONTROL SYSTEM including: (CFR: 41.5 / 45.5) SLCS lineup | 3.8 | A1 | 211000
30 | (263000K4.03) Knowledge of (SF6 DC) DC ELECTRICAL DISTRIBUTION design features and/or interlocks that provide for the following: (CFR: 41.7) Ground detection | 2.9 | K4 | 263000
31 | (264000K6.08) Knowledge of the effect of the following plant conditions, system malfunctions, or component malfunctions on the (SF6 EGE) EMERGENCY GENERATORS (DIESEL/JET): (CFR: 41.7 / 45.7) AC electrical distribution system | 4 | K6 | 264000
32 | (259002K2.03) (SF2 RWLCS) REACTOR WATER LEVEL CONTROL SYSTEM Knowledge of electrical power supplies to the following: (CFR: 41.7) Feedwater controllers | 3.1 | K2 | 259002
33 | (262002K3.14) Knowledge of the effect that a loss or malfunction of the (SF6 UPS) UNINTERRUPTABLE POWER SUPPLY (AC/DC) will have on the following systems or system parameters: (CFR: 41.7 / 45.4) Reactor power | 3.3 | K3 | 262002
34 | (209001A2.06) Ability to (a) predict the impacts of the following on the (SF2, SF4 LPCS) LOW PRESSURE CORE SPRAY SYSTEM and (b) based on those predictions, use procedures to correct, control, or mitigate the consequences of those abnormal operations: (CFR: 41.5 / 43.5 / 45.6) Inadequate system flow | 4.3 | A2 | 209001
35 | (215003A3.04) Ability to monitor automatic operation of the (SF7 IRM) INTERMEDIATE RANGE MONITOR SYSTEM including: (CFR: 41.7 / 45.7) Control rod block signals | 3.9 | A3 | 215003
36 | (215004) (SF7 SRMS) SOURCE RANGE MONITOR SYSTEM (G2.2.14) EQUIPMENT CONTROL Knowledge of the process for controlling equipment configuration or status (CFR: 41.10 / 43.3 / 45.13) | 3.9 | G | 215004
37 | (239002A4.04) Ability to manually operate and/or monitor the (SF3 SRV) SAFETY RELIEF VALVES in the control room: (CFR: 41.7 / 45.5 to 45.8) Suppression pool temperature | 4.2 | A4 | 239002
38 | (300000K1.04) Knowledge of the physical connections and/or cause and effect relationships between the (SF8 IA) INSTRUMENT AIR SYSTEM and the following systems: (CFR: 41.4 / 41.5 / 41.7 to 41.9 / 45.6 / 45.8) Component cooling water system | 3.2 | K1 | 300000
39 | (203000K5.04) Knowledge of the operational implications or cause and effect relationships of the following concepts as they apply to the (SF2, SF4 RHR/LPCI) RHR/LPCI: INJECTION MODE (BWR 3, 4, 5, 6): (CFR: 41.5 / 45.3) NPSH limits | 3.4 | K5 | 203000
40 | (400000A1.04) Ability to predict and/or monitor changes in parameters associated with operation of the (SF8 CCS) COMPONENT COOLING WATER SYSTEM including: (CFR: 41.5 / 45.5) Surge tank level | 3 | A1 | 400000
41 | (223002K4.01) Knowledge of (SF5 PCIS) PRIMARY CONTAINMENT ISOLATION SYSTEM / NUCLEAR STEAM SUPPLY SHUTOFF design features and/or interlocks that provide for the following: (CFR: 41.7) Redundancy | 3.8 | K4 | 223002
42 | (217000K6.10) Knowledge of the effect of the following plant conditions, system malfunctions, or component malfunctions on the (SF2, SF4 RCIC) REACTOR CORE ISOLATION COOLING SYSTEM (BWR 3, 4, 5, 6) : (CFR: 41.7 / 45.7) High turbine exhaust pressure | 3.7 | K6 | 217000
43 | (212000K2.01) (SF7 RPS) REACTOR PROTECTION SYSTEM Knowledge of electrical power supplies to the following: (CFR: 41.7) RPS motor-generator sets | 3.8 | K2 | 212000
44 | (215005K3.07) Knowledge of the effect that a loss or malfunction of the (SF7 PRMS) AVERAGE POWER RANGE MONITOR/LOCAL POWER RANGE MONITOR will have on the following systems or system parameters: (CFR: 41.7 / 45.4) ROD BLOCK MONITOR SYSTEM (BWR 3, 4, 5) | 3.7 | K3 | 215005
45 | (262001A2.05) Ability to (a) predict the impacts of the following on the (SF6 AC) AC ELECTRICAL DISTRIBUTION and (b) based on those predictions, use procedures to correct, control, or mitigate the consequences of those abnormal operations: (CFR: 41.5 / 43.5 / 45.6) Bus grounds /faults | 3.8 | A2 | 262001
46 | (261000A3.03) Ability to monitor automatic operation of the (SF9 SGTS) STANDBY GAS TREATMENT SYSTEM including: (CFR: 41.7 / 45.7) Valve/damper operation | 3.7 | A3 | 261000
47 | (205000) (SF4 SCS) SHUTDOWN COOLING SYSTEM (RHR SHUTDOWN COOLING MODE) (291002K1.13) SENSORS AND DETECTORS (CFR: 41.7) (PRESSURE) Modes of failure | 3.1 | C | 205000
48 | (218000A4.03) Ability to manually operate and/or monitor the (SF3 ADS) AUTOMATIC DEPRESSURIZATION SYSTEM in the control room: (CFR: 41.7 / 45.5 to 45.8) ADS logic reset | 3.9 | A4 | 218000
49 | (209002K1.09) Knowledge of the physical connections and/or cause and effect relationships between the (SF2, SF4 HPCS) HIGH PRESSURE CORE SPRAY SYSTEM and the following systems: (CFR: 41.2 to 41.9 / 45.7 / 45.8) Leak detection | 3.2 | K1 | 209002
50 | (510000K5.01) Knowledge of the operational implications or cause and effect relationships of the following concepts as they apply to the (SF4 SWS*) SERVICE WATER SYSTEM: (CFR: 41.4 / 41.7 / 45.5) Intake/traveling screen high differential pressure/ differential level | 3.3 | K5 | 510000
51 | (211000A1.05) Ability to predict and/or monitor changes in parameters associated with operation of the (SF1 SLCS) STANDBY LIQUID CONTROL SYSTEM including: (CFR: 41.5 / 45.5) Pump amps | 2.9 | A1 | 211000
52 | (263000K4.05) Knowledge of (SF6 DC) DC ELECTRICAL DISTRIBUTION design features and/or interlocks that provide for the following: (CFR: 41.7) Coping time | 3.6 | K4 | 263000
53 | (202001) (SF1, SF4 RS) RECIRCULATION SYSTEM (G2.3.5) RADIATION CONTROL Ability to use radiation monitoring systems, such as fixed radiation monitors and alarms or personnel monitoring equipment (CFR: 41.11 / 41.12 / 43.4 / 45.9) | 2.9 | G | 202001
54 | (288000A4.04) Ability to manually operate and/or monitor the (SF9 PVS) PLANT VENTILATION SYSTEMS in the control room: (CFR: 41.4 / 41.7 / 45.5 to 45.8) Building differential pressure | 3.3 | A4 | 288000
55 | (290002K1.02) Knowledge of the physical connections and/or cause and effect relationships between the (SF4 RVI) REACTOR VESSEL INTERNALS and the following systems: (CFR: 41.2 to 41.9 / 45.7 / 45.8) Recirculation system | 4.1 | K1 | 290002
56 | (268000K5.03) Knowledge of the operational implications or cause and effect relationships of the following concepts as they apply to the (SF9 RW) RADWASTE SYSTEM: (CFR: 41.5 / 45.3) Dilution flow for releases | 2.9 | K5 | 268000
57 | (216000A1.02) Ability to predict and/or monitor changes in parameters associated with operation of the (SF7 NBI) NUCLEAR BOILER INSTRUMENTATION including: (CFR: 41.5 / 45.5) Removing or returning a sensor (transmitter) to service | 3.1 | A1 | 216000
58 | (226001K4.11) Knowledge of (SF5 RHR CSS) RHR/LPCI: CONTAINMENT SPRAY MODE SYSTEM MODE design features and/or interlocks that provide for the following: (CFR: 41.7) Prevention of leakage to the environment through system heat exchanger | 3.2 | K4 | 226001
59 | (245000K6.04) Knowledge of the effect of the following plant conditions, system malfunctions, or component malfunctions on the (SF4 MTGEN) MAIN TURBINE GENERATOR AND AUXILIARY SYSTEMS: (CFR: 41.7 / 45.7) Hydrogen cooling | 3.1 | K6 | 245000
60 | (290001K2.02) (SF5 SC) SECONDARY CONTAINMENT Knowledge of electrical power supplies to the following: (CFR: 41.7) HVAC isolation dampers | 2.8 | K2 | 290001
61 | (286000K3.07) Knowledge of the effect that a loss or malfunction of the (SF8 FPS) FIRE PROTECTION SYSTEM will have on the following systems or system parameters: (CFR: 41.7 / 45.4) Main generator/exciter systems | 2.7 | K3 | 286000
62 | (271000A2.09) Ability to (a) predict the impacts of the following on the (SF9 OG) OFFGAS SYSTEM and (b) based on those predictions, use procedures to correct, control, or mitigate the consequences of those abnormal operations: (CFR: 41.5 / 43.5 / 45.6 / 45.8) Abnormal valve positions | 3.5 | A2 | 271000
63 | (239001A3.02) Ability to monitor automatic operation of the (SF3, SF4 MRSS) MAIN AND REHEAT STEAM SYSTEM including: (CFR: 41.7 / 45.7) Opening and closing of drain valves as turbine load changes | 2.6 | A3 | 239001
64 | (G2.1.44) CONDUCT OF OPERATIONS Knowledge of RO duties in the control room during fuel handling, such as responding to alarms from the fuel handling area, communication with fuel handling personnel, operating systems from the control room in support of fueling operations, or supporting instrumentation (CFR: 41.10 / 43.7 / 45.12) | 3.9 | G2.1 | G2.1
65 | (G2.1.8) CONDUCT OF OPERATIONS Ability to coordinate personnel activities outside the control room (CFR: 41.10 / 43.1 / 45.5 / 45.12 / 45.13) | 3.4 | G2.1 | G2.1
66 | (G2.2.39) EQUIPMENT CONTROL Knowledge of less than or equal to 1 hour technical specification action statements (This K/A does not include action statements of 1 hour or less that follow the expiration of a completion time for a technical specification condition for which an action statement has already been entered.) (CFR: 41.7 / 41.10 / 43.2 / 45.13) | 3.9 | G2.2 | G2.2
67 | (G2.2.1) EQUIPMENT CONTROL Ability to perform pre-startup procedures for the facility, including operating those controls associated with plant equipment that could affect reactivity (CFR: 41.5 / 41.10 / 43.5 / 43.6 / 45.1) | 4.5 | G2.2 | G2.2
68 | (G2.3.11) RADIATION CONTROL Ability to control radiation releases (CFR: 41.11 / 43.4 / 45.10) | 3.8 | G2.3 | G2.3
69 | (G2.4.28) EMERGENCY PROCEDURES / PLAN Knowledge of procedures relating to a security event (ensure that the test item includes no safeguards information) (CFR: 41.10 / 43.5 / 45.13) | 3.2 | G2.4 | G2.4
70 | (292006K1.03) FISSION PRODUCT POISONS (CFR: 41.1) Describe the production of xenon-135 | 2.9 | R | 292006
71 | (292003K1.09) REACTOR KINETICS AND NEUTRON SOURCES (CFR: 41.1) Define doubling time and calculate it using the power | 2.6 | R | 292003
72 | (292008K1.19) REACTOR OPERATIONAL PHYSICS (CFR: 41.1) (POWER OPERATION) Explain transient and steady-state effects of a control rod withdrawal on reactor power and void fraction content | 3.2 | R | 292008
73 | (293004K1.12) THERMODYNAMIC PROCESS (CFR: 41.14) (CONDENSERS) Describe the process of condensate depression (subcooling) and its effect on plant operation | 3.1 | T | 293004
74 | (293006K1.06) FLUID STATICS AND DYNAMICS (CFR: 41.14) Discuss methods of prevention of fluid/water hammer | 3.2 | T | 293006
75 | (293005K1.06) THERMODYNAMIC CYCLES (CFR: 41.14) Describe how changes in system parameters affect thermodynamic efficiency | 2.6 | T | 293005
76 | (295030) (EPE 7) LOW SUPPRESSION POOL WATER LEVEL (G2.1.36) CONDUCT OF OPERATIONS Knowledge of procedures and limitations involved in core alterations (CFR: 41.10 / 43.6 / 45.7) | 4.1 | G | 295030
77 | (295026EA2.03) Ability to determine and/or interpret the following as they apply to (EPE 3) SUPPRESSION POOL HIGH WATER TEMPERATURE: (CFR: 41.10 / 43.5 / 45.13) Reactor pressure | 3.7 | A2 | 295026
78 | (295019) (APE 19) PARTIAL OR COMPLETE LOSS OF INSTRUMENT AIR (G2.4.46) EMERGENCY PROCEDURES / PLAN Ability to verify that the alarms are consistent with the plant conditions (CFR: 41.10 / 43.5 / 45.3 / 45.12) | 4.2 | G | 295019
79 | (295031EA2.03) Ability to determine and/or interpret the following as they apply to (EPE 8) REACTOR LOW WATER LEVEL: (CFR: 41.10 / 43.5 / 45.13) Reactor pressure | 4 | A2 | 295031
80 | (600000) (APE 24) PLANT FIRE ON SITE (G2.1.39) CONDUCT OF OPERATIONS Knowledge of conservative decision-making practices (CFR: 41.10 / 43.5 / 45.12) | 4.3 | G | 600000
81 | (295025EA2.03) Ability to determine and/or interpret the following as they apply to (EPE 2) HIGH REACTOR PRESSURE: (CFR: 41.10 / 43.5 / 45.13) Suppression pool temperature | 3.5 | A2 | 295025
82 | (700000) (APE 25) GENERATOR VOLTAGE AND ELECTRIC GRID DISTURBANCES (G2.2.17) EQUIPMENT CONTROL Knowledge of the process for managing maintenance activities during power operations, such as risk assessments, work prioritization, and coordination with the transmission system operator (CFR: 41.10 / 43.5 / 45.13) | 3.8 | G | 700000
83 | (295035) (EPE 12) SECONDARY CONTAINMENT HIGH DIFFERENTIAL PRESSURE (G2.4.16) EMERGENCY PROCEDURES / PLAN Knowledge of emergency and abnormal operating procedures implementation hierarchy and coordination with other support procedures or guidelines such as, operating procedures, abnormal operating procedures, or severe accident management guidelines (CFR: 41.10 / 43.5 / 45.13) | 4.4 | G | 295035
84 | (295011AA2.01) Ability to determine and/or interpret the following as they apply to (APE 11) HIGH CONTAINMENT TEMPERATURE (MARK III CONTAINMENT ONLY): (CFR: 41.10 / 43.5 / 45.13) Containment temperature | 4 | A2 | 295011
85 | (295012) (APE 12) HIGH DRYWELL TEMPERATURE (G2.2.12) EQUIPMENT CONTROL Knowledge of surveillance procedures (CFR: 41.10 / 43.2 / 45.13) | 4.1 | G | 295012
86 | (264000) (SF6 EGE) EMERGENCY GENERATORS (DIESEL/JET) (G2.4.52) EMERGENCY PROCEDURES / PLAN Knowledge of the lines of authority during implementation of the emergency plan, emergency plan implementing procedures, emergency operating procedures, or severe accident guidelines (CFR: 41.10 / 45.13) | 4 | G | 264000
87 | (259002A2.08) Ability to (a) predict the impacts of the following on the (SF2 RWLCS) REACTOR WATER LEVEL CONTROL SYSTEM and (b) based on those predictions, use procedures to correct, control, or mitigate the consequences of those abnormal operations: (CFR: 41.5 / 43.5 / 45.6) Receipt of an ECCS initiation signal: FWCI | 3.7 | A2 | 259002
88 | (262002) (SF6 UPS) UNINTERRUPTABLE POWER SUPPLY (AC/DC) (G2.4.44) EMERGENCY PROCEDURES / PLAN Knowledge of emergency plan implementing procedures protective action recommendations (SRO Only) (CFR: 41.10 / 41.12 / 43.5 / 45.11) | 4.4 | G | 262002
89 | (209001A2.12) Ability to (a) predict the impacts of the following on the (SF2, SF4 LPCS) LOW PRESSURE CORE SPRAY SYSTEM and (b) based on those predictions, use procedures to correct, control, or mitigate the consequences of those abnormal operations: (CFR: 41.5 / 43.5 / 45.6) Inadvertent system initiation | 4.3 | A2 | 209001
90 | (215003) (SF7 IRM) INTERMEDIATE RANGE MONITOR SYSTEM (G2.2.20) EQUIPMENT CONTROL Knowledge of the process for managing troubleshooting activities (CFR: 41.10 / 43.5 / 45.13) | 3.8 | G | 215003
91 | (202002A2.05) Ability to (a) predict the impacts of the following on the (SF1 RSCTL) RECIRCULATION FLOW CONTROL SYSTEM and (b) based on those predictions, use procedures to correct, control, or mitigate the consequences of those abnormal operations: (CFR: 41.5 / 43.5 / 45.6) Scoop tube lockup (BWR 2, 3, 4) | 3.7 | A2 | 202002
92 | (204000) (SF2 RWCU) REACTOR WATER CLEANUP SYSTEM (G2.2.18) EQUIPMENT CONTROL Knowledge of the process for managing maintenance activities during shutdown operations, such as risk assessments and work prioritization (CFR: 41.10 / 43.5 / 45.13) | 3.9 | G | 204000
93 | (510001A2.04) Ability to (a) predict the impacts of the following on the (SF8 CWS*) CIRCULATING WATER SYSTEM and (b) based on those predictions, use procedures to correct, control, or mitigate the consequences of those abnormal operations: (CFR: 41.1 / 41.5 / 43.5 / 45.3 / 45.6 / 45.13) System leakage/rupture | 3.5 | A2 | 510001
94 | (G2.1.32) CONDUCT OF OPERATIONS Ability to explain and apply system precautions, limitations, notes, or cautions (CFR: 41.10 / 43.2 / 45.12) | 4 | G2.1 | G2.1
95 | (G2.1.31) CONDUCT OF OPERATIONS Ability to locate control room switches, controls, and indications, and to determine that they correctly reflect the desired plant lineup (CFR: 41.10 / 45.12) | 4.3 | G2.1 | G2.1
96 | (G2.2.21) EQUIPMENT CONTROL Knowledge of pre- and post-maintenance operability requirements (CFR: 41.10 / 43.2) | 4.1 | G2.2 | G2.2
97 | (G2.2.3) EQUIPMENT CONTROL (Multi-unit license) Knowledge of the design, procedural, or operational differences between units (CFR: 41.5 / 41.6 / 41.7 / 41.10 / 45.12) | 3.9 | G2.2 | G2.2
98 | (G2.3.6) RADIATION CONTROL Ability to approve liquid or gaseous release permits (CFR: 41.13 / 43.4 / 45.10) | 3.8 | G2.3 | G2.3
99 | (G2.4.47) EMERGENCY PROCEDURES / PLAN Ability to diagnose and recognize trends in an accurate and timely manner using the appropriate control room reference material (reference potential) (CFR: 41.10 / 43.5 / 45.12) | 4.2 | G2.4 | G2.4
100 | (G2.4.25) EMERGENCY PROCEDURES / PLAN Knowledge of fire protection procedures (CFR: 41.10 / 43.5 / 45.13) | 3.7 | G2.4 | G2.4