## Sheet1
Question Number | Topic Title | Topic Importance | K/A Category | System
1 | (600000AK3.04) Knowledge of the reasons for the following responses or actions as they apply to (APE 24) PLANT FIRE ON SITE: (CFR: 41.5 / 41.10 / 45.6 / 45.13) Actions contained in the fire response procedures for a plant fire on site | 3.6 | K3 | 600000
2 | (295031EK1.01) Knowledge of the operational implications and/or cause and effect relationships of the following concepts as they apply to the (EPE 8) REACTOR LOW WATER LEVEL: (CFR: 41.8 to 41.10) Adequate core cooling | 4.7 | K1 | 295031
3 | (295021AK2.07) Knowledge of the relationship between the (APE 21) LOSS OF SHUTDOWN COOLING and the following systems or components: (CFR: 41.7 / 45.8) Reactor recirculation | 3.5 | K2 | 295021
4 | (295024) (EPE 1) HIGH DRYWELL PRESSURE (G2.1.39) CONDUCT OF OPERATIONS Knowledge of conservative decision-making practices (CFR: 41.10 / 43.5 / 45.12) | 3.6 | G | 295024
5 | (295027EA2.03) Ability to determine and/or interpret the following as they apply to (EPE 4) HIGH CONTAINMENT TEMPERATURE (MARK III CONTAINMENT ONLY): (CFR: 41.10 / 43.5 / 45.13) Reactor pressure | 4.1 | A2 | 295027
6 | (295025EA1.06) Ability to operate and/or monitor the following as they apply to (EPE 2) HIGH REACTOR PRESSURE: (CFR: 41.7 / 45.6) Isolation condenser (Nine Mile Point 1, Dresden) | 4.1 | A1 | 295025
7 | (295004AK3.02) Knowledge of the reasons for the following responses or actions as they apply to (APE 4) PARTIAL OR COMPLETE LOSS OF DC POWER: (CFR: 41.5 / 45.6) Ground isolation/fault determination | 3.3 | K3 | 295004
8 | (295023AK1.01) Knowledge of the operational implications and/or cause and effect relationships of the following concepts as they apply to the (APE 23) REFUELING ACCIDENTS:(CFR: 41.8 to 41.10) Radiation exposure hazards | 3.9 | K1 | 295023
9 | (295026EK2.08) Knowledge of the relationship between the (EPE 3) SUPPRESSION POOL HIGH WATER TEMPERATURE and the following systems or components: (CFR: 41.7 / 45.8) RCIC | 3.8 | K2 | 295026
10 | (295018) (APE 18) PARTIAL OR COMPLETE LOSS OF COMPONENT COOLING WATER (CCW) (G2.1.20) CONDUCT OF OPERATIONS Ability to interpret and execute procedure steps (CFR: 41.10 / 43.5 / 45.12) | 4.6 | G | 295018
11 | (295016AA2.06) Ability to determine and/or interpret the following as they apply to (APE 16) CONTROL ROOM ABANDONMENT: (CFR: 41.10 / 43.5 / 45.13) Cooldown rate | 3.9 | A2 | 295016
12 | (295019AA1.01) Ability to operate and/or monitor the following as they apply to (APE 19) PARTIAL OR COMPLETE LOSS OF INSTRUMENT AIR: (CFR: 41.7 / 45.6) Backup air supply | 3.4 | A1 | 295019
13 | (295037EK3.08) Knowledge of the reasons for the following responses or actions as they apply to (EPE 14) SCRAM CONDITION PRESENT AND REACTOR POWER ABOVE APRM DOWNSCALE OR UNKNOWN: (CFR: 41.5 / 41.7 / 45.6) Initiation of ATWS circuitry | 4.1 | K3 | 295037
14 | (295030EK1.02) Knowledge of the operational implications and/or cause and effect relationships of the following concepts as they apply to the (EPE 7) LOW SUPPRESSION POOL WATER LEVEL: (CFR: 41.8 to 41.10) Pump NPSH | 3.9 | K1 | 295030
15 | (295006AK2.05) Knowledge of the relationship between the (APE 6) SCRAM and the following systems or components: (CFR: 41.7 / 45.8) CRD mechanism | 3.4 | K2 | 295006
16 | (295005) (APE 5) MAIN TURBINE GENERATOR TRIP (G2.4.37) EMERGENCY PROCEDURES / PLAN Knowledge of the lines of authority during implementation of the emergency plan implementing procedures (CFR: 41.10 / 45.13) | 3 | G | 295005
17 | (295003AA2.03) Ability to determine and/or interpret the following as they apply to (APE 3) PARTIAL OR COMPLETE LOSS OF AC POWER: (CFR: 41.10 / 43.5 / 45.13) Battery status | 3.9 | A2 | 295003
18 | (295038EA1.03) Ability to operate and/or monitor the following as they apply to (EPE 15) HIGH OFFSITE RADIOACTIVITY RELEASE RATE: (CFR: 41.7 / 45.6) Process radiation monitoring system | 3.8 | A1 | 295038
19 | (700000AK3.01) Knowledge of the reasons for the following responses or actions as they apply to (APE 25) GENERATOR VOLTAGE AND ELECTRIC GRID DISTURBANCES: (CFR: 41.4 / 41.5 / 41.7 / 41.10 / 45.8) Reactor and turbine trip criteria | 3.8 | K3 | 700000
20 | (295001AK1.02) Knowledge of the operational implications and/or cause and effect relationships of the following concepts as they apply to the (APE 1) PARTIAL OR COMPLETE LOSS OF FORCED CORE FLOW CIRCULATION: (CFR: 41.8 to 41.10) Power/flow distribution | 3.7 | K1 | 295001
21 | (295020) (APE 20) INADVERTENT CONTAINMENT ISOLATION (G2.1.14) CONDUCT OF OPERATIONS Knowledge of criteria or conditions that require plantwide announcements, such as pump starts, reactor trips, and mode changes (CFR: 41.10 / 43.5 / 45.12) | 3.1 | G | 295020
22 | (295034EA2.02) Ability to determine and/or interpret the following as they apply to (EPE 11) SECONDARY CONTAINMENT VENTILATION HIGH RADIATION: (CFR: 41.10 / 43.5 / 45.13) Source of high radiation levels | 3.6 | A2 | 295034
23 | (295009AA1.06) Ability to operate and/or monitor the following as they apply to (APE 9) LOW REACTOR WATER LEVEL: (CFR: 41.7 / 45.6) CRD system | 3.1 | A1 | 295009
24 | (295014AK3.02) Knowledge of the reasons for the following responses or actions as they apply to (APE 14) INADVERTENT REACTIVITY ADDITION: (CFR: 41.5 / 45.6) Control rod blocks | 4 | K3 | 295014
25 | (295033EK1.03) Knowledge of the operational implications and/or cause and effect relationships of the following concepts as they apply to the (EPE 10) HIGH SECONDARY CONTAINMENT AREA RADIATION LEVELS: (CFR: 41.8 to 41.10) Radiation releases | 4.1 | K1 | 295033
26 | (295013AK2.03) Knowledge of the relationship between the (APE 13) HIGH SUPPRESSION POOL TEMPERATURE. and the following systems or components: (CFR: 41.7 / 45.8) RCIC/HPCI operation | 4 | K2 | 295013
27 | (261000K1.02) Knowledge of the physical connections and/or cause and effect relationships between the (SF9 SGTS) STANDBY GAS TREATMENT SYSTEM and the following systems: (CFR: 41.4 to 41.9 / 45.7 / 45.8) Primary containment system and auxiliaries | 3.7 | K1 | 261000
28 | (212000K5.02) Knowledge of the operational implications or cause and effect relationships of the following concepts as they apply to the (SF7 RPS) REACTOR PROTECTION SYSTEM : (CFR: 41.5 / 45.3) Logic channel arrangements | 4.1 | K5 | 212000
29 | (239002K4.08) Knowledge of (SF3 SRV) SAFETY RELIEF VALVES design features and/or interlocks that provide for the following: (CFR: 41.7) Opening of the SRV from either an electrical or mechanical signal | 3.9 | K4 | 239002
30 | (203000K2.02) (SF2, SF4 RHR/LPCI) RHR/LPCI: INJECTION MODE (BWR 3, 4, 5, 6) Knowledge of electrical power supplies to the following: (CFR: 41.7) Valves | 3.7 | K2 | 203000
31 | (263000A3.03) Ability to monitor automatic operation of the (SF6 DC) DC ELECTRICAL DISTRIBUTION including: (CFR: 41.7 / 45.7) Transfers | 3.3 | A3 | 263000
32 | (262001A1.04) Ability to predict and/or monitor changes in parameters associated with operation of the (SF6 AC) AC ELECTRICAL DISTRIBUTION including: (CFR: 41.5 / 45.5) Load currents | 3.2 | A1 | 262001
33 | (259002K6.08) Knowledge of the effect of the following plant conditions, system malfunctions, or component malfunctions on the (SF2 RWLCS) REACTOR WATER LEVEL CONTROL SYSTEM: (CFR: 41.7 / 45.7) Loss of differential pressure across startup level control bypass valve | 2.7 | K6 | 259002
34 | (209001) (SF2, SF4 LPCS) LOW PRESSURE CORE SPRAY SYSTEM (G2.4.50) EMERGENCY PROCEDURES / PLAN Ability to verify system alarm setpoints and operate controls identified in the alarm response procedure (CFR: 41.10 / 43.5 / 45.3) | 4.2 | G | 209001
35 | (217000K3.05) Knowledge of the effect that a loss or malfunction of the (SF2, SF4 RCIC) REACTOR CORE ISOLATION COOLING SYSTEM (BWR 3, 4, 5, 6) will have on the following systems or system parameters: (CFR: 41.7 / 45.4) Suppression pool level | 3.3 | K3 | 217000
36 | (215005A4.04) Ability to manually operate and/or monitor the (SF7 PRMS) AVERAGE POWER RANGE MONITOR/LOCAL POWER RANGE MONITOR in the control room: (CFR: 41.7 / 45.5 to 45.8) LPRM back panel switches, meters, and indicating lights | 3.4 | A4 | 215005
37 | (400000A2.13) Ability to (a) predict the impacts of the following on the (SF8 CCS) COMPONENT COOLING WATER SYSTEM and (b) based on those predictions, use procedures to correct, control, or mitigate the consequences of those abnormal operations: (CFR: 41.5 / 43.5 / 45.6) | 4 | A2 | 400000
38 | (218000K1.03) Knowledge of the physical connections and/or cause and effect relationships between the (SF3 ADS) AUTOMATIC DEPRESSURIZATION SYSTEM and the following systems: (CFR: 41.2 to 41.9 / 45.7 / 45.8) Nuclear boiler instrumentation | 3.9 | K1 | 218000
39 | (223002K5.02) Knowledge of the operational implications or cause and effect relationships of the following concepts as they apply to the (SF5 PCIS) PRIMARY CONTAINMENT ISOLATION SYSTEM / NUCLEAR STEAM SUPPLY SHUTOFF : (CFR: 41.5 / 45.3) Secondary containment integrity | 3.9 | K5 | 223002
40 | (510000K4.02) Knowledge of (SF4 SWS*) SERVICE WATER SYSTEM design features and/or interlocks that provide for the following: (CFR: 41.7) Automatic valve alignments | 3.5 | K4 | 510000
41 | (211000K2.02) (SF1 SLCS) STANDBY LIQUID CONTROL SYSTEM Knowledge of electrical power supplies to the following: (CFR: 41.7) Squib valves | 3.5 | K2 | 211000
42 | (205000A3.02) Ability to monitor automatic operation of the (SF4 SCS) SHUTDOWN COOLING SYSTEM (RHR SHUTDOWN COOLING MODE) including: (CFR: 41.7 / 45.7) Pump operation | 3.7 | A3 | 205000
43 | (264000A1.03) Ability to predict and/or monitor changes in parameters associated with operation of the (SF6 EGE) EMERGENCY GENERATORS (DIESEL/JET) including: (CFR: 41.5 / 45.5) Operating voltages, currents, and temperatures | 3.6 | A1 | 264000
44 | (300000K6.14) Knowledge of the effect of the following plant conditions, system malfunctions, or component malfunctions on the (SF8 IA) INSTRUMENT AIR SYSTEM: (CFR: 41.8 / 45.7) Component cooling water system | 3.1 | K6 | 300000
45 | (215004) (SF7 SRMS) SOURCE RANGE MONITOR SYSTEM (291005K1.05) MOTORS AND GENERATORS (CFR: 41.7) Explain the difference between starting current and operating (running) current in a motor | 2.7 | C | 215004
46 | (215003K3.02) Knowledge of the effect that a loss or malfunction of the (SF7 IRM) INTERMEDIATE RANGE MONITOR SYSTEM will have on the following systems or system parameters: (CFR: 41.7 / 45.4) Reactor manual control | 3.8 | K3 | 215003
47 | (209002A4.05) Ability to manually operate and/or monitor the (SF2, SF4 HPCS) HIGH PRESSURE CORE SPRAY SYSTEM in the control room: (CFR: 41.7 / 45.5 to 45.8) Manual initiation controls | 4.3 | A4 | 209002
48 | (262002A2.03) Ability to (a) predict the impacts of the following on the (SF6 UPS) UNINTERRUPTABLE POWER SUPPLY (AC/DC) and (b) based on those predictions, use procedures to correct, control, or mitigate the consequences of those abnormal operations: (CFR: 41.5 / 43.5 / 45.6) Frequency malfunctions in the system | 3 | A2 | 262002
49 | (261000K1.01) Knowledge of the physical connections and/or cause and effect relationships between the (SF9 SGTS) STANDBY GAS TREATMENT SYSTEM and the following systems: (CFR: 41.4 to 41.9 / 45.7 / 45.8) Plant ventilation systems | 3.5 | K1 | 261000
50 | (212000A2.10) Ability to (a) predict the impacts of the following on the (SF7 RPS) REACTOR PROTECTION SYSTEM and (b) based on those predictions, use procedures to correct, control, or mitigate the consequences of those abnormal operations: (CFR: 41.5 / 45.6) Reactor/turbine pressure regulating system low hydraulic pressure | 4.1 | K5 | 212000
51 | (239002K4.07) Knowledge of (SF3 SRV) SAFETY RELIEF VALVES design features and/or interlocks that provide for the following: (CFR: 41.7) Minimum steam pressure required to keep SRV open or to open SRV | 3.6 | K4 | 239002
52 | (203000K2.03) (SF2, SF4 RHR/LPCI) RHR/LPCI: INJECTION MODE (BWR 3, 4, 5, 6) Knowledge of electrical power supplies to the following: (CFR: 41.7) Initiation logic | 3.7 | K2 | 203000
53 | (290001A4.12) Ability to manually operate and/or monitor the (SF5 SC) SECONDARY CONTAINMENT in the control room: (CFR: 41.7 / 45.5 to 45.8) Surveillance testing | 2.9 | A4 | 290001
54 | (239001A2.04) Ability to (a) predict the impacts of the following on the (SF3, SF4 MRSS) MAIN AND REHEAT STEAM SYSTEM and (b) based on those predictions, use procedures to correct, control, or mitigate the consequences of those abnormal operations: (CFR: 41.5 / 43.5 / 45.6) Main steam line low pressure | 4.2 | A2 | 239001
55 | (215001K1.08) Knowledge of the physical connections and/or cause and effect relationships between the (SF7 TIP) TRAVERSING IN CORE PROBE and the following systems: (CFR: 41.2 to 41.9 / 45.7 / 45.8) Reactor vessel and internals | 3.2 | K1 | 215001
56 | (201005K5.15) Knowledge of the operational implications or cause and effect relationships of the following concepts as they apply to the (SF1, SF7 RCIS) ROD CONTROL AND INFORMATION SYSTEM (BWR 6): (CFR: 41.5 to 41.7 / 45.3 / 45.5) Changes in reactor power | 4.2 | K5 | 201005
57 | (230000K4.08) Knowledge of (SF5 RHR SPS) RHR/LPCI: TORUS/SUPPRESSION POOL SPRAY MODE design features and/or interlocks that provide for the following: (CFR: 41.7) Adequate pump net positive suction head | 3.4 | K4 | 230000
58 | (268000K2.01) (SF9 RW) RADWASTE SYSTEM Knowledge of electrical power supplies to the following: (CFR: 41.7) Radiological release isolation valves | 2.7 | K2 | 268000
59 | (245000A3.10) Ability to monitor automatic operation of the (SF4 MTGEN) MAIN TURBINE GENERATOR AND AUXILIARY SYSTEMS including: (CFR: 41.7 / 45.7) Voltage regulator | 3.1 | A3 | 245000
60 | (234000A1.03) Ability to predict and/or monitor changes in parameters associated with operation of the (SF8 FH) FUEL HANDLING including: (CFR: 41.5 / 45.5) Core reactivity level | 3.7 | A1 | 234000
61 | (271000K6.16) Knowledge of the effect of the following plant conditions, system malfunctions, or component malfunctions on the (SF9 OG) OFFGAS SYSTEM: (CFR: 41.5 / 41.7 / 45.7) Hydrogen water chemistry system | 2.7 | K6 | 271000
62 | (288000) (SF9 PVS) PLANT VENTILATION SYSTEMS (G2.4.35) EMERGENCY PROCEDURES / PLAN Knowledge of nonlicensed operator responsibilities during an emergency (CFR: 41.10 / 43.1/ 43.5 / 45.13) | 3.8 | G | 288000
63 | (272000K3.05) Knowledge of the effect that a loss or malfunction of the (SF7, SF9 RMS) RADIATION MONITORING SYSTEM will have on the following systems or system parameters: (CFR: 41.5 / 45.3) Offgas system | 3.6 | K3 | 272000
64 | (G2.1.19) CONDUCT OF OPERATIONS Ability to use available indications to evaluate system or component status (CFR: 41.10 / 45.12) | 3.9 | G2.1 | G2.1
65 | (G2.1.2) CONDUCT OF OPERATIONS Knowledge of operator responsibilities during any mode of plant operation (CFR: 41.10 / 43.1 / 45.13) | 4.1 | G2.1 | G2.1
66 | (G2.2.3) EQUIPMENT CONTROL (Multi-unit license) Knowledge of the design, procedural, or operational differences between units (CFR: 41.5 / 41.6 / 41.7 / 41.10 / 45.12) | 3.8 | G2.2 | G2.2
67 | (G2.2.23) EQUIPMENT CONTROL Ability to track technical specification limiting conditions for operation (CFR: 41.10 / 43.2 / 45.13) | 3.1 | G2.2 | G2.2
68 | (G2.3.11) RADIATION CONTROL Ability to control radiation releases (CFR: 41.11 / 43.4 / 45.10) | 3.8 | G2.3 | G2.3
69 | (G2.4.6) EMERGENCY PROCEDURES / PLAN Knowledge of emergency and abnormal operating procedures major action categories (CFR: 41.10 / 43.5 / 45.13) | 3.7 | G2.4 | G2.4
70 | (292003K1.01) REACTOR KINETICS AND NEUTRON SOURCES (CFR: 41.1) Explain the concept of subcritical multiplication | 3 | R | 292003
71 | (292007K1.03) FUEL DEPLETION AND BURNABLE POISONS (CFR: 41.1) Given a curve of K-effective versus core age, state the reasons for maximum, minimum, and inflection points | 2.7 | R | 292007
72 | (292002K1.14) NEUTRON LIFE CYCLE (CFR: 41.1) Evaluate change in shutdown margin due to changes in plant parameters | 2.9 | R | 292002
73 | (293008K1.32) THERMAL HYDRAULICS (CFR: 41.14) (CORE ORIFICING) Describe core bypass flow | 2.6 | T | 293008
74 | (293007K1.13) HEAT TRANSFER (CFR: 41.14) (CORE THERMAL POWER) Calculate core thermal power using a simplified heat | 2.9 | T | 293007
75 | (293004K1.12) THERMODYNAMIC PROCESS (CFR: 41.14) (CONDENSERS) Describe the process of condensate depression (subcooling) and its effect on plant operation | 3.1 | T | 293004
76 | (600000) (APE 24) PLANT FIRE ON SITE (G2.4.32) EMERGENCY PROCEDURES / PLAN Knowledge of operator response to loss of annunciators (CFR: 41.10 / 43.5 / 45.13) | 4 | G | 600000
77 | (295031EA2.01) Ability to determine and/or interpret the following as they apply to (EPE 8) REACTOR LOW WATER LEVEL: (CFR: 41.10 / 43.5 / 45.13) Reactor water level | 4.6 | A2 | 295031
78 | (295021) (APE 21) LOSS OF SHUTDOWN COOLING (G2.4.49) EMERGENCY PROCEDURES / PLAN Ability to perform without reference to procedures those actions that require immediate operation of system components and controls (CFR: 41.10 / 43.2 / 45.6) | 4.4 | G | 295021
79 | (295024EA2.11) Ability to determine and/or interpret the following as they apply to (EPE 1) HIGH DRYWELL PRESSURE: (CFR: 41.10 / 43.5 / 45.13) Drywell integrity | 4.4 | A2 | 295024
80 | (295027) (EPE 4) HIGH CONTAINMENT TEMPERATURE (MARK III CONTAINMENT ONLY) (G2.2.19) EQUIPMENT CONTROL Knowledge of maintenance work order requirements (CFR: 41.10 / 43.5 / 45.13) | 3.4 | G | 295027
81 | (295025EA2.01) Ability to determine and/or interpret the following as they apply to (EPE 2) HIGH REACTOR PRESSURE: (CFR: 41.10 / 43.5 / 45.13) Reactor pressure | 4.3 | A2 | 295025
82 | (295004) (APE 4) PARTIAL OR COMPLETE LOSS OF DC POWER (G2.1.15) CONDUCT OF OPERATIONS Knowledge of administrative requirements for temporary management direction, such as standing orders, night orders, or operations memoranda (CFR: 41.10 / 45.12) | 3.4 | G | 295004
83 | (295012) (APE 12) HIGH DRYWELL TEMPERATURE (G2.1.8) CONDUCT OF OPERATIONS Ability to coordinate personnel activities outside the control room (CFR: 41.10 / 43.1 / 45.5 / 45.12 / 45.13) | 4.1 | G | 295012
84 | (295032EA2.02) Ability to determine and/or interpret the following as they apply to (EPE 9) HIGH SECONDARY CONTAINMENT AREA TEMPERATURE: (CFR: 41.10 / 43.5 / 45.13) Equipment operability | 3.5 | A2 | 295032
85 | (295008) (APE 8) HIGH REACTOR WATER LEVEL (G2.1.9) CONDUCT OF OPERATIONS Ability to direct licensed personnel activities inside the control room (SRO Only) (CFR: 43.1 / 45.5 / 45.12 / 45.13) | 4.5 | G | 295008
86 | (263000) (SF6 DC) DC ELECTRICAL DISTRIBUTION (G2.1.25) CONDUCT OF OPERATIONS Ability to interpret reference materials, such as graphs, curves, and tables (reference potential) (CFR: 41.10 / 43.5 / 45.12) | 4.2 | G | 263000
87 | (262001A2.03) Ability to (a) predict the impacts of the following on the (SF6 AC) AC ELECTRICAL DISTRIBUTION and (b) based on those predictions, use procedures to correct, control, or mitigate the consequences of those abnormal operations: (CFR: 41.5 / 43.5 / 45.6) Loss of/degraded offsite power | 4.3 | A2 | 262001
88 | (259002) (SF2 RWLCS) REACTOR WATER LEVEL CONTROL SYSTEM (G2.4.40) EMERGENCY PROCEDURES / PLAN Knowledge of SRO responsibilities in emergency plan implementing procedures (SRO Only) (CFR: 43.5 / 45.11) | 4.5 | G | 259002
89 | (209001A2.06) Ability to (a) predict the impacts of the following on the (SF2, SF4 LPCS) LOW PRESSURE CORE SPRAY SYSTEM and (b) based on those predictions, use procedures to correct, control, or mitigate the consequences of those abnormal operations: (CFR: 41.5 / 43.5 / 45.6) Inadequate system flow | 3.7 | A2 | 209001
90 | (217000) (SF2, SF4 RCIC) REACTOR CORE ISOLATION COOLING SYSTEM (G2.2.42) EQUIPMENT CONTROL Ability to recognize system parameters that are entry-level conditions for technical specifications (CFR: 41.7 / 41.10 / 43.2 / 43.3 / 45.3) | 4.6 | G | 217000
91 | (202002A2.03) Ability to (a) predict the impacts of the following on the (SF1 RSCTL) RECIRCULATION FLOW CONTROL SYSTEM and (b) based on those predictions, use procedures to correct, control, or mitigate the consequences of those abnormal operations: (CFR: 41.5 / 43.5 / 45.6) Loss of DC electrical power | 3.3 | A2 | 202002
92 | (259001) (SF2 FWS) FEEDWATER SYSTEM (G2.2.15) EQUIPMENT CONTROL Ability to determine the expected plant configuration using design and configuration control documentation, such as drawings, lineups or, tagouts (reference potential) (CFR: 41.10 / 43.3 / 45.13) | 4.3 | G | 259001
93 | (201003A2.03) Ability to (a) predict the impacts of the following on the (SF1 CRDM) CONTROL ROD AND DRIVE MECHANISM and (b) based on those predictions, use procedures to correct, control, or mitigate the consequences of those abnormal operations: (CFR: 41.1-6 / 45.1-6) Drifting rod | 4.2 | A2 | 201003
94 | (G2.1.7) CONDUCT OF OPERATIONS Ability to evaluate plant performance and make operational judgments based on operating characteristics, reactor behavior, and instrument interpretation (CFR: 41.5 / 43.5 / 45.12 / 45.13) | 4.7 | G2.1 | G2.1
95 | (G2.1.6) CONDUCT OF OPERATIONS Ability to manage the control room crew during plant transients (SRO Only) (CFR: 43.5 / 45.12 / 45.13) | 4.8 | G2.1 | G2.1
96 | (G2.2.41) EQUIPMENT CONTROL Ability to obtain and interpret station electrical and mechanical drawings (reference potential) (CFR: 41.10 / 45.12 / 45.13) | 3.9 | G2.2 | G2.2
97 | (G2.2.13) EQUIPMENT CONTROL Knowledge of tagging and clearance procedures (CFR: 41.10 / 43.1 / 45.13) | 4.3 | G2.2 | G2.2
98 | (G2.3.12) RADIATION CONTROL Knowledge of radiological safety principles and procedures pertaining to licensed operator duties, such as response to radiation monitor alarms, containment entry requirements, fuel handling responsibilities, access to locked high-radiation areas, or alignment of filters (CFR: 41.12 / 43.4 / 45.9 / 45.10) | 3.7 | G2.3 | G2.3
99 | (G2.4.45) EMERGENCY PROCEDURES / PLAN Ability to prioritize and interpret the significance of each annunciator or alarm (CFR: 41.10 / 43.5 / 45.3 / 45.12) | 4.3 | G2.4 | G2.4
100 | (G2.4.51) EMERGENCY PROCEDURES / PLAN Knowledge of emergency operating procedure exit conditions (e.g., emergency condition no longer exists or severe accident guideline entry is required) (CFR: 41.10 / 43.5 / 45.13) | 4 | G2.4 | G2.4