## Sheet1
Question Number | Topic Title | Topic Importance | K/A Category | System
1 | (295006) (APE 6) SCRAM (G2.1.8) CONDUCT OF OPERATIONS Ability to coordinate personnel activities outside the control room (CFR: 41.10 / 43.1 / 45.5 / 45.12 / 45.13) | 3.4 | G | 295006
2 | (700000AK2.08) Knowledge of the relationship between the (APE 25) GENERATOR VOLTAGE AND ELECTRIC GRID DISTURBANCES and the following systems or components: (CFR: 41.4 / 41.5 / 41.7 / 41.10 / 45.8) Main turbine generator and auxiliary systems | 3.1 | K2 | 700000
3 | (295027EA2.02) Ability to determine and/or interpret the following as they apply to (EPE 4) HIGH CONTAINMENT TEMPERATURE (MARK III CONTAINMENT ONLY): (CFR: 41.10 / 43.5 / 45.13) Containment pressure | 4.5 | A2 | 295027
4 | (295003AK3.03) Knowledge of the reasons for the following responses or actions as they apply to (APE 3) PARTIAL OR COMPLETE LOSS OF AC POWER: (CFR: 41.5 / 45.6 ) Load shedding | 3.8 | K3 | 295003
5 | (295016AK2.12) Knowledge of the relationship between the (APE 16) CONTROL ROOM ABANDONMENT and the following systems or components: (CFR: 41.7 / 45.8) Emergency generators | 3.9 | K1 | 295016
6 | (295023AA1.07) Ability to operate and/or monitor the following as they apply to (APE 23) REFUELING ACCIDENTS: (CFR: 41.7 / 45.6) SGTS/FRVS | 4 | A1 | 295023
7 | (295021) (APE 21) LOSS OF SHUTDOWN COOLING (G2.4.32) EMERGENCY PROCEDURES / PLAN Knowledge of operator response to loss of annunciators (CFR: 41.10 / 43.5 / 45.13) | 3.6 | G | 295021
8 | (295031EK2.03) Knowledge of the relationship between the (EPE 8) REACTOR LOW WATER LEVEL and the following systems or components: (CFR: 41.7 / 45.8) Low-pressure core spray | 4.3 | K2 | 295031
9 | (295025EA2.02) Ability to determine and/or interpret the following as they apply to (EPE 2) HIGH REACTOR PRESSURE: (CFR: 41.10 / 43.5 / 45.13) Reactor power | 4.4 | A2 | 295025
10 | (295001AK3.01) Knowledge of the reasons for the following responses or actions as they apply to (APE 1) PARTIAL OR COMPLETE LOSS OF FORCED CORE FLOW CIRCULATION: (CFR: 41.5 / 41.6) Reactor water level response | 3.7 | K3 | 295001
11 | (295026EK1.05) Knowledge of the operational implications and/or cause and effect relationships of the following concepts as they apply to the (EPE 3) SUPPRESSION POOL HIGH WATER TEMPERATURE: (CFR: 41.8 to 41.10) Suppression pool cooling | 3.8 | K1 | 295026
12 | (295030EA1.02) Ability to operate and/or monitor the following as they apply to (EPE 7) LOW SUPPRESSION POOL WATER LEVEL: (CFR: 41.7 / 45.6) RCIC | 3.8 | A1 | 295030
13 | (295018) (APE 18) PARTIAL OR COMPLETE LOSS OF COMPONENT COOLING WATER (CCW) (G2.2.39) EQUIPMENT CONTROL Knowledge of less than or equal to 1 hour technical specification action statements (This K/A does not include action statements of 1 hour or less that follow the expiration of a completion time for a technical specification condition for which an action statement has already been entered.) (CFR: 41.7 / 41.10 / 43.2 / 45.13) | 3.9 | G | 295018
14 | (295005AK2.03) Knowledge of the relationship between the (APE 5) MAIN TURBINE GENERATOR TRIP and the following systems or components: (CFR: 41.7 / 45.8) Recirculation system | 3.5 | K2 | 295005
15 | (295024EA2.05) Ability to determine and/or interpret the following as they apply to (EPE 1) HIGH DRYWELL PRESSURE: (CFR: 41.10 / 43.5 / 45.13) Suppression chamber air-space temperature | 3.3 | A2 | 295024
16 | (295004AK3.01) Knowledge of the reasons for the following responses or actions as they apply to (APE 4) PARTIAL OR COMPLETE LOSS OF DC POWER: (CFR: 41.5 / 45.6) Load shedding | 3.9 | K3 | 295004
17 | (295019AK2.03) Knowledge of the relationship between the (APE 19) PARTIAL OR COMPLETE LOSS OF INSTRUMENT AIR and the following systems or components: (CFR: 41.7 / 45.8) Feedwater system | 3.7 | K1 | 295019
18 | (295037EA1.17) Ability to operate and/or monitor the following as they apply to (EPE 14) SCRAM CONDITION PRESENT AND REACTOR POWER ABOVE APRM DOWNSCALE OR UNKNOWN: (CFR: 41.7 / 45.5 to 45.8) Rod worth minimizer | 3.5 | A1 | 295037
19 | (295038) (EPE 15) HIGH OFFSITE RADIOACTIVITY RELEASE RATE (G2.2.13) EQUIPMENT CONTROL Knowledge of tagging and clearance procedures (CFR: 41.10 / 43.1 / 45.13) | 4.1 | G | 295038
20 | (600000AK2.05) Knowledge of the relationship between the (APE 24) PLANT FIRE ON SITE and the following systems or components: (CFR: 41.7 / 45.7) Fire alarm panels | 3.4 | K2 | 600000
21 | (295011AK3.01) Knowledge of the reasons for the following responses or actions as they apply to (APE 11) HIGH CONTAINMENT TEMPERATURE (MARK III CONTAINMENT ONLY): (CFR: 41.5 / 45.6) Increased containment cooling | 3.6 | K3 | 295011
22 | (295009AK1.05) Knowledge of the operational implications and/or cause and effect relationships of the following concepts as they apply to the (APE 9) LOW REACTOR WATER LEVEL: (CFR: 41.8 to 41.10) Natural circulation | 3.5 | K1 | 295009
23 | (295020AA1.01) Ability to operate and/or monitor the following as they apply to (APE 20) INADVERTENT CONTAINMENT ISOLATION: (CFR: 41.7 / 45.6) PCIS/NSSSS | 3.9 | A1 | 295020
24 | (295032) (EPE 9) HIGH SECONDARY CONTAINMENT AREA TEMPERATURE (G2.4.49) EMERGENCY PROCEDURES / PLAN Ability to perform without reference to procedures those actions that require immediate operation of system components and controls (CFR: 41.10 / 43.2 / 45.6) | 4.6 | G | 295032
25 | (295036EK2.04) Knowledge of the relationship between the (EPE 13) SECONDARY CONTAINMENT HIGH SUMP/AREA WATER LEVEL and the following systems or components: (CFR: 41.7 / 45.8) Area/room/sump level indicators | 3.5 | K2 | 295036
26 | (500000EA2.01) Ability to determine and/or interpret the following as they apply to (EPE 16) HIGH CONTAINMENT HYDROGEN CONCENTRATION: (CFR: 41.10 / 43.5 / 45.13) Hydrogen monitoring availability | 3.4 | A2 | 500000
27 | (215004A1.03) Ability to predict and/or monitor changes in parameters associated with operation of the (SF7 SRMS) SOURCE RANGE MONITOR SYSTEM including: (CFR: 41.5 / 45.5) RPS status | 3.3 | A1 | 215004
28 | (261000A3.01) Ability to monitor automatic operation of the (SF9 SGTS) STANDBY GAS TREATMENT SYSTEM including: (CFR: 41.7 / 45.7) System flow | 3.6 | A3 | 261000
29 | (510000K6.08) Knowledge of the effect of the following plant conditions, system malfunctions, or component malfunctions on the (SF4 SWS*) SERVICE WATER SYSTEM: (CFR: 41.7 / 45.7) Loss of coolant accident | 3.7 | K6 | 510000
30 | (400000K2.01) (SF8 CCS) COMPONENT COOLING WATER SYSTEM Knowledge of electrical power supplies to the following: (CFR: 41.7) CCW pumps | 3.4 | K2 | 400000
31 | (262001A2.12) Ability to (a) predict the impacts of the following on the (SF6 AC) AC ELECTRICAL DISTRIBUTION and (b) based on those predictions, use procedures to correct, control, or mitigate the consequences of those abnormal operations: (CFR: 41.5 / 43.5 / 45.6) Station blackout | 4.6 | A2 | 262001
32 | (203000K4.04) Knowledge of (SF2, SF4 RHR/LPCI) RHR/LPCI: INJECTION MODE (BWR 3, 4, 5, 6) design features and/or interlocks that provide for the following: (CFR: 41.7) Pump seal cooler | 2.7 | K4 | 203000
33 | (239002K3.04) Knowledge of the effect that a loss or malfunction of the (SF3 SRV) SAFETY RELIEF VALVES will have on the following systems or system parameters: (CFR: 41.7 / 45.4) Automatic depressurization system | 4.5 | K3 | 239002
34 | (205000K1.18) Knowledge of the physical connections and/or cause and effect relationships between the (SF4 SCS) SHUTDOWN COOLING SYSTEM (RHR SHUTDOWN COOLING MODE) and the following systems: (CFR: 41.2 to 41.9 / 45.7 / 45.8) Feedwater system (BWR 6) | 3.2 | K1 | 205000
35 | (263000K5.01) Knowledge of the operational implications or cause and effect relationships of the following concepts as they apply to the (SF6 DC) DC ELECTRICAL DISTRIBUTION: (CFR: 41.5 / 45.3) Hydrogen generation | 3.1 | K5 | 263000
36 | (215003) (SF7 IRM) INTERMEDIATE RANGE MONITOR SYSTEM (G2.1.20) CONDUCT OF OPERATIONS Ability to interpret and execute procedure steps (CFR: 41.10 / 43.5 / 45.12) | 4.6 | G | 215003
37 | (223002A4.03) Ability to manually operate and/or monitor the (SF5 PCIS) PRIMARY CONTAINMENT ISOLATION SYSTEM / NUCLEAR STEAM SUPPLY SHUTOFF in the control room: (CFR: 41.7 / 45.5 to 45.8) Reset of system isolations | 4 | A4 | 223002
38 | (217000A1.01) Ability to predict and/or monitor changes in parameters associated with operation of the (SF2, SF4 RCIC) REACTOR CORE ISOLATION COOLING SYSTEM (BWR 3, 4, 5, 6) including: (CFR: 41.5 / 45.5) RCIC flow | 4.1 | A1 | 217000
39 | (259002A3.06) Ability to monitor automatic operation of the (SF2 RWLCS) REACTOR WATER LEVEL CONTROL SYSTEM including: (CFR: 41.7 / 45.7) Reactor water level setpoint setdown following a reactor SCRAM | 3.6 | A3 | 259002
40 | (300000K6.15) Knowledge of the effect of the following plant conditions, system malfunctions, or component malfunctions on the (SF8 IA) INSTRUMENT AIR SYSTEM: (CFR: 41.8 / 45.7) Low instrument air pressure | 3.6 | K6 | 300000
41 | (215005K2.03) (SF7 PRMS) AVERAGE POWER RANGE MONITOR/LOCAL POWER RANGE MONITOR Knowledge of electrical power supplies to the following: (CFR: 41.7) OPRM channels | 3.6 | K2 | 215005
42 | (209001A2.02) Ability to (a) predict the impacts of the following on the (SF2, SF4 LPCS) LOW PRESSURE CORE SPRAY SYSTEM and (b) based on those predictions, use procedures to correct, control, or mitigate the consequences of those abnormal operations: (CFR: 41.5 / 43.5 / 45.6) Valve closures due to malfunction(s) | 3.9 | A2 | 209001
43 | (211000K4.04) Knowledge of (SF1 SLCS) STANDBY LIQUID CONTROL SYSTEM design features and/or interlocks that provide for the following: (CFR: 41.7) Indication of a fault in squib valves firing circuits | 3.7 | K4 | 211000
44 | (262002K3.21) Knowledge of the effect that a loss or malfunction of the (SF6 UPS) UNINTERRUPTABLE POWER SUPPLY (AC/DC) will have on the following systems or system parameters: (CFR: 41.7 / 45.4) APRM/LPRM/OPRM system | 3.3 | K3 | 262002
45 | (218000K1.07) Knowledge of the physical connections and/or cause and effect relationships between the (SF3 ADS) AUTOMATIC DEPRESSURIZATION SYSTEM and the following systems: (CFR: 41.2 to 41.9 / 45.7 / 45.8) Reactor vessel and internals | 3.2 | K1 | 218000
46 | (209002K5.04) Knowledge of the operational implications or cause and effect relationships of the following concepts as they apply to the (SF2, SF4 HPCS) HIGH PRESSURE CORE SPRAY SYSTEM : (CFR: 41.5 / 45.3) Adequate core cooling | 4.5 | K5 | 209002
47 | (212000) (SF7 RPS) REACTOR PROTECTION SYSTEM (291002K1.23) SENSORS AND DETECTORS (CFR: 41.7) (RADIATION DETECTION) Theory and operation of ion chambers, Geiger-Mueller tubes, and scintillation detectors | 2.9 | C | 212000
48 | (264000A4.02) Ability to manually operate and/or monitor the (SF6 EGE) EMERGENCY GENERATORS (DIESEL/JET) in the control room: (CFR: 41.7 / 45.5 to 45.8) Synchroscope | 3.9 | A4 | 264000
49 | (215004A1.02) Ability to predict and/or monitor changes in parameters associated with operation of the (SF7 SRMS) SOURCE RANGE MONITOR SYSTEM including: (CFR: 41.5 / 45.5) Reactor power | 4 | A1 | 215004
50 | (261000A3.04) Ability to monitor automatic operation of the (SF9 SGTS) STANDBY GAS TREATMENT SYSTEM including: (CFR: 41.7 / 45.7) System temperature | 3.1 | A3 | 261000
51 | (510000K6.09) Knowledge of the effect of the following plant conditions, system malfunctions, or component malfunctions on the (SF4 SWS*) SERVICE WATER SYSTEM: (CFR: 41.7 / 45.7) Loss of ultimate heat sink | 3.9 | K6 | 510000
52 | (400000K2.02) (SF8 CCS) COMPONENT COOLING WATER SYSTEM Knowledge of electrical power supplies to the following: (CFR: 41.7) CCW valves | 2.8 | K2 | 400000
53 | (268000) (SF9 RW) RADWASTE SYSTEM (G2.3.12) RADIATION CONTROL Knowledge of radiological safety principles and procedures pertaining to licensed operator duties, such as response to radiation monitor alarms, containment entry requirements, fuel handling responsibilities, access to locked high-radiation areas, or alignment of filters (CFR: 41.12 / 43.4 / 45.9 / 45.10) | 3.2 | G | 268000
54 | (290003A4.03) Ability to manually operate and/or monitor the (SF9 CRV) CONTROL ROOM VENTILATION in the control room: (CFR: 41.7 / 45.5 to 45.8) Dampers | 3 | A4 | 290003
55 | (215001A1.01) Ability to predict and/or monitor changes in parameters associated with operation of the (SF7 TIP) TRAVERSING IN CORE PROBE including: (CFR: 41.5 / 45.5) Area radiation levels | 3.1 | A1 | 215001
56 | (230000A3.01) Ability to monitor automatic operation of the (SF5 RHR SPS) RHR/LPCI: TORUS/SUPPRESSION POOL SPRAY MODE including: (CFR: 41.7 / 45.7) Valve operation | 3.8 | A3 | 230000
57 | (286000K6.07) Knowledge of the effect of the following plant conditions, system malfunctions, or component malfunctions on the (SF8 FPS) FIRE PROTECTION SYSTEM : (CFR: 41.7 / 45.7) Diesel-driven fire pump | 3.4 | K6 | 286000
58 | (239003K2.01) (SF9 MSVLCS) MAIN STEAM ISOLATION VALVE LEAKAGE CONTROL SYSTEM (BWR 4, 5, 6) Knowledge of electrical power supplies to the following: (CFR: 41.7) Motor-operated valves | 2.7 | K2 | 239003
59 | (202002A2.13) Ability to (a) predict the impacts of the following on the (SF1 RSCTL) RECIRCULATION FLOW CONTROL SYSTEM and (b) based on those predictions, use procedures to correct, control, or mitigate the consequences of those abnormal operations: (CFR: 41.5 / 43.5 / 45.6) Loss of loop flow signal | 3.8 | A2 | 202002
60 | (290001K4.02) Knowledge of (SF5 SC) SECONDARY CONTAINMENT design features and/or interlocks that provide for the following: (CFR: 41.7) Protection against overpressurization | 3.3 | K4 | 290001
61 | (201003K3.04) Knowledge of the effect that a loss or malfunction of the (SF1 CRDM) CONTROL ROD AND DRIVE MECHANISM will have on the following systems or system parameters: (CFR: 41.1-2 / 41.7 / 41.10 / 45.1-6 / 4) Rod position and indicating system (BWR 2, 3, 4, 5) | 3.8 | K3 | 201003
62 | (223001K1.03) Knowledge of the physical connections and/or cause and effect relationships between the (SF5 PCS) PRIMARY CONTAINMENT SYSTEM AND AUXILIARIES and the following systems: (CFR: 41.2 to 41.9 / 45.7 / 45.8) Containment/drywell atmosphere control system | 3.7 | K1 | 223001
63 | (234000K5.11) Knowledge of the operational implications or cause and effect relationships of the following concepts as they apply to the (SF8 FH) FUEL HANDLING: (CFR: 41.5 / 45.3) Area radiation monitors response to fuel handling event | 3.6 | K5 | 234000
64 | (G2.1.7) CONDUCT OF OPERATIONS Ability to evaluate plant performance and make operational judgments based on operating characteristics, reactor behavior, and instrument interpretation (CFR: 41.5 / 43.5 / 45.12 / 45.13) | 4.4 | G2.1 | G2.1
65 | (G2.1.15) CONDUCT OF OPERATIONS Knowledge of administrative requirements for temporary management direction, such as standing orders, night orders, or operations memoranda (CFR: 41.10 / 45.12) | 2.7 | G2.1 | G2.1
66 | (G2.2.35) EQUIPMENT CONTROL Ability to determine technical specification mode of operation (CFR: 41.7 / 41.10 / 43.2 / 45.13) | 3.6 | G2.2 | G2.2
67 | (G2.2.36) EQUIPMENT CONTROL Ability to analyze the effect of maintenance activities, such as degraded power sources, on the status of limiting conditions for operation (CFR: 41.10 / 43.2 / 45.13) | 3.1 | G2.2 | G2.2
68 | (G2.3.11) RADIATION CONTROL Ability to control radiation releases (CFR: 41.11 / 43.4 / 45.10) | 3.8 | G2.3 | G2.3
69 | (G2.4.23) EMERGENCY PROCEDURES / PLAN Knowledge of the bases for prioritizing emergency operating procedures implementation (CFR: 41.10 / 43.5 / 45.13) | 3.4 | G2.4 | G2.4
70 | (292001K1.04) NEUTRONS (CFR: 41.1) Describe neutron moderation | 3.2 | R | 292001
71 | (292008K1.14) REACTOR OPERATIONAL PHYSICS (CFR: 41.1) (HEATUP OPERATION) Describe three parameters to be monitored and controlled during heatup | 3.5 | R | 292008
72 | (292004K1.03) REACTIVITY COEFFICIENTS (CFR: 41.1) Explain resonance absorption | 2.7 | R | 292004
73 | (293008K1.01) THERMAL HYDRAULICS (CFR: 41.14) (BOILING HEAT TRANSFER) Distinguish between boiling processes and other heat transfer mechanisms | 2.8 | T | 293008
74 | (293004K1.14) THERMODYNAMIC PROCESS (CFR: 41.14) (CONDENSERS) Explain the condensing process | 2.7 | T | 293004
75 | (293005K1.03) THERMODYNAMIC CYCLES (CFR: 41.14) Describe the steam quality/moisture effects on turbine integrity and efficiency | 2.7 | T | 293005
76 | (295006) (APE 6) SCRAM (G2.1.35) CONDUCT OF OPERATIONS Knowledge of the fuel handling responsibilities of SROs (SRO Only) (CFR: 43.7) | 3.9 | G | 295006
77 | (700000AA2.09) Ability to determine and/or interpret the following as they apply to (APE 25) GENERATOR VOLTAGE AND ELECTRIC GRID DISTURBANCES: (CFR: 41.5 / 43.5 / 45.5 / 45.7 / 45.8) Operational status of emergency diesel generators | 4.2 | A2 | 700000
78 | (295027) (EPE 4) HIGH CONTAINMENT TEMPERATURE (MARK III CONTAINMENT ONLY) (G2.1.43) CONDUCT OF OPERATIONS Ability to use an online power distribution monitoring system and/or procedures to determine the effects on reactivity of plant changes, such as RCS temperature, secondary plant, or fuel depletion (CFR: 41.10 / 43.6 / 45.6) | 4.3 | G | 295027
79 | (295003AA2.04) Ability to determine and/or interpret the following as they apply to (APE 3) PARTIAL OR COMPLETE LOSS OF AC POWER: (CFR: 41.10 / 43.5 / 45.13) System lineups | 3.6 | A2 | 295003
80 | (295016) (APE 16) CONTROL ROOM ABANDONMENT (G2.4.18) EMERGENCY PROCEDURES / PLAN Knowledge of the specific bases for emergency and abnormal operating procedures (CFR: 41.10 / 43.1 / 45.13) | 4 | G | 295016
81 | (295023AA2.04) Ability to determine and/or interpret the following as they apply to (APE 23) REFUELING ACCIDENTS: (CFR: 41.10 / 43.5 / 45.13) Occurrence of fuel handling accident | 3.6 | A2 | 295023
82 | (295021) (APE 21) LOSS OF SHUTDOWN COOLING (G2.2.45) EQUIPMENT CONTROL Ability to determine or interpret technical specifications with action statements of greater than 1 hour (SRO Only) (CFR: 43.2 / 43.5 / 45.3) | 4.7 | G | 295021
83 | (295035) (EPE 12) SECONDARY CONTAINMENT HIGH DIFFERENTIAL PRESSURE (G2.2.15) EQUIPMENT CONTROL Ability to determine the expected plant configuration using design and configuration control documentation, such as drawings, lineups or, tagouts (reference potential) (CFR: 41.10 / 43.3 / 45.13) | 4.3 | G | 295035
84 | (295014AA2.03) Ability to determine and/or interpret the following as they apply to (APE 14) INADVERTENT REACTIVITY ADDITION: (CFR: 41.10 / 43.5 / 45.13) Cause of reactivity addition | 4.2 | A2 | 295014
85 | (295007) (APE 7) HIGH REACTOR PRESSURE (G2.3.6) RADIATION CONTROL Ability to approve liquid or gaseous release permits (CFR: 41.13 / 43.4 / 45.10) | 3.8 | G | 295007
86 | (262001) (SF6 AC) AC ELECTRICAL DISTRIBUTION (G2.4.3) EMERGENCY PROCEDURES / PLAN Ability to identify post-accident instrumentation (CFR: 41.6 / 45.4) | 3.9 | G | 262001
87 | (203000A2.02) Ability to (a) predict the impacts of the following on the (SF2, SF4 RHR/LPCI) RHR/LPCI: INJECTION MODE (BWR 3, 4, 5, 6) and (b) based on those predictions, use procedures to correct, control, or mitigate the consequences of those abnormal operations: (CFR: 41.5 / 43.5 / 45.6) Pump trips | 3.9 | A2 | 203000
88 | (239002) (SF3 SRV) SAFETY RELIEF VALVES (G2.4.45) EMERGENCY PROCEDURES / PLAN Ability to prioritize and interpret the significance of each annunciator or alarm (CFR: 41.10 / 43.5 / 45.3 / 45.12) | 4.3 | G | 239002
89 | (205000A2.10) Ability to (a) predict the impacts of the following on the (SF4 SCS) SHUTDOWN COOLING SYSTEM (RHR SHUTDOWN COOLING MODE) and (b) based on those predictions, use procedures to correct, control, or mitigate the consequences of those abnormal operations: (CFR: 41.5 / 45.6) Abnormal valve position | 3.4 | A2 | 205000
90 | (263000) (SF6 DC) DC ELECTRICAL DISTRIBUTION (G2.4.52) EMERGENCY PROCEDURES / PLAN Knowledge of the lines of authority during implementation of the emergency plan, emergency plan implementing procedures, emergency operating procedures, or severe accident guidelines (CFR: 41.10 / 45.13) | 4 | G | 263000
91 | (216000A2.06) Ability to (a) predict the impacts of the following on the (SF7 NBI) NUCLEAR BOILER INSTRUMENTATION and (b) based on those predictions, use procedures to correct, control, or mitigate the consequences of those abnormal operations: (CFR: 41.5 / 43.5 / 45.6) Loss of power supply | 3.4 | A2 | 216000
92 | (272000) (SF7, SF9 RMS) RADIATION MONITORING SYSTEM (G2.4.38) EMERGENCY PROCEDURES / PLAN Ability to take actions required by the facility emergency plan implementing procedures, including supporting or acting as emergency coordinator (CFR: 41.10 / 43.5 / 45.11) | 4.4 | G | 272000
93 | (226001A2.03) Ability to (a) predict the impacts of the following on the (SF5 RHR CSS) RHR/LPCI: CONTAINMENT SPRAY MODE SYSTEM MODE and (b) based on those predictions, use procedures to correct, control, or mitigate the consequences of those abnormal operations: (CFR: 41.5 / 43.5 / 45.6) Valve closures due to malfunction(s) | 3.8 | A2 | 226001
94 | (G2.1.5) CONDUCT OF OPERATIONS Ability to use procedures related to shift staffing, such as minimum crew complement or overtime limitations (reference potential) (CFR: 41.10 / 43.5 / 45.12) | 3.9 | G2.1 | G2.1
95 | (G2.1.32) CONDUCT OF OPERATIONS Ability to explain and apply system precautions, limitations, notes, or cautions (CFR: 41.10 / 43.2 / 45.12) | 4 | G2.1 | G2.1
96 | (G2.2.20) EQUIPMENT CONTROL Knowledge of the process for managing troubleshooting activities (CFR: 41.10 / 43.5 / 45.13) | 3.8 | G2.2 | G2.2
97 | (G2.2.4) EQUIPMENT CONTROL (Multi-unit license) Ability to explain the variations in control room layouts, systems, instrumentation, or procedural actions between units at a facility (CFR: 41.6 / 41.7 / 41.10 / 45.1 / 45.13) | 3.6 | G2.2 | G2.2
98 | (G2.3.5) RADIATION CONTROL Ability to use radiation monitoring systems, such as fixed radiation monitors and alarms or personnel monitoring equipment (CFR: 41.11 / 41.12 / 43.4 / 45.9) | 2.9 | G2.3 | G2.3
99 | (G2.4.14) EMERGENCY PROCEDURES / PLAN Knowledge of general guidelines for emergency and abnormal operating procedures usage (CFR: 41.10 / 43.1 / 45.13) | 4.5 | G2.4 | G2.4
100 | (G2.4.42) EMERGENCY PROCEDURES / PLAN Knowledge of emergency response facilities (CFR: 41.10 / 45.11) | 3.8 | G2.4 | G2.4