## Sheet1
Question Number | Topic Title | Topic Importance | K/A Category | System
1 | (600000) (APE 24) PLANT FIRE ON SITE (G2.2.23) EQUIPMENT CONTROL Ability to track technical specification limiting conditions for operation (CFR: 41.10 / 43.2 / 45.13) | 3.1 | G | 600000
2 | (295030EA1.07) Ability to operate and/or monitor the following as they apply to (EPE 7) LOW SUPPRESSION POOL WATER LEVEL: (CFR: 41.7 / 45.6) Plant process computer/parameter display systems | 2.9 | A1 | 295030
3 | (700000AA2.05) Ability to determine and/or interpret the following as they apply to (APE 25) GENERATOR VOLTAGE AND ELECTRIC GRID DISTURBANCES: (CFR: 41.5 / 43.5 / 45.5 / 45.7 / 45.8) Operational status of offsite circuit | 3.3 | A2 | 700000
4 | (295027EK1.01) Knowledge of the operational implications and/or cause and effect relationships of the following concepts as they apply to the (EPE 4) HIGH CONTAINMENT TEMPERATURE (MARK III CONTAINMENT ONLY): (CFR: 41.8 to 41.10) Equipment environmental qualifications | 3.2 | K1 | 295027
5 | (295026EK2.12) Knowledge of the relationship between the (EPE 3) SUPPRESSION POOL HIGH WATER TEMPERATURE and the following systems or components: (CFR: 41.7 / 45.8) Suppression pool makeup | 2.8 | K2 | 295026
6 | (295004AK3.01) Knowledge of the reasons for the following responses or actions as they apply to (APE 4) PARTIAL OR COMPLETE LOSS OF DC POWER: (CFR: 41.5 / 45.6) Load shedding | 3.9 | K3 | 295004
7 | (295037) (EPE 14) SCRAM CONDITION PRESENT AND REACTOR POWER ABOVE APRM DOWNSCALE OR UNKNOWN (G2.4.42) EMERGENCY PROCEDURES / PLAN Knowledge of emergency response facilities (CFR: 41.10 / 45.11) | 2.6 | G | 295037
8 | (295018AA1.03) Ability to operate and/or monitor the following as they apply to (APE 18) PARTIAL OR COMPLETE LOSS OF COMPONENT COOLING WATER (CCW): (CFR: 41.7 / 45.6) Affected systems so as to isolate damaged portions | 3.3 | A1 | 295018
9 | (295021AA2.07) Ability to determine and/or interpret the following as they apply to (APE 21) LOSS OF SHUTDOWN COOLING: (CFR: 41.10 / 43.5 / 45.13) Reactor recirculation flow | 3.8 | A2 | 295021
10 | (295016AK3.02) Knowledge of the reasons for the following responses or actions as they apply to (APE 16) CONTROL ROOM ABANDONMENT: (CFR: 41.5 / 45.6) Turbine trip | 3.6 | K1 | 295016
11 | (295006AK2.01) Knowledge of the relationship between the (APE 6) SCRAM and the following systems or components: (CFR: 41.7 / 45.8) RPS | 4.5 | K2 | 295006
12 | (295025EK3.07) Knowledge of the reasons for the following responses or actions as they apply to (EPE 2) HIGH REACTOR PRESSURE: (CFR: 41.5 / 45.6) RFCS initiation | 3.8 | K3 | 295025
13 | (295003) (APE 3) PARTIAL OR COMPLETE LOSS OF AC POWER (G2.1.38) CONDUCT OF OPERATIONS Knowledge of the station’s requirements for verbal communications when implementing procedures (CFR: 41.10 / 45.13) | 3.7 | G | 295003
14 | (295024EA1.24) Ability to operate and/or monitor the following as they apply to (EPE 1) HIGH DRYWELL PRESSURE: (CFR: 41.7 / 45.6) Drywell cooling | 3.6 | A1 | 295024
15 | (295005AA2.06) Ability to determine and/or interpret the following as they apply to (APE 5) MAIN TURBINE GENERATOR TRIP: (CFR: 41.10 / 43.5 / 45.13) Feedwater temperature | 3.5 | A2 | 295005
16 | (295031EK1.01) Knowledge of the operational implications and/or cause and effect relationships of the following concepts as they apply to the (EPE 8) REACTOR LOW WATER LEVEL: (CFR: 41.8 to 41.10) Adequate core cooling | 4.7 | K1 | 295031
17 | (295038EK2.13) Knowledge of the relationship between the (EPE 15) HIGH OFFSITE RADIOACTIVITY RELEASE RATE and the following systems or components: (CFR: 41.7 / 45.8) SGTS/FRVS | 4 | K2 | 295038
18 | (295001AK3.07) Knowledge of the reasons for the following responses or actions as they apply to (APE 1) PARTIAL OR COMPLETE LOSS OF FORCED CORE FLOW CIRCULATION: (CFR: 41.5 / 41.6) Recirculation pump discharge/suction valve manipulation | 3.3 | K3 | 295001
19 | (295019) (APE 19) PARTIAL OR COMPLETE LOSS OF INSTRUMENT AIR (G2.1.28) CONDUCT OF OPERATIONS Knowledge of the purpose and function of major system components and controls (CFR: 41.7) | 4.1 | G | 295019
20 | (295023AA1.05) Ability to operate and/or monitor the following as they apply to (APE 23) REFUELING ACCIDENTS: (CFR: 41.7 / 45.6) Fuel transfer system | 2.7 | A1 | 295023
21 | (295014AK1.09) Knowledge of the operational implications and/or cause and effect relationships of the following concepts as they apply to the (APE 14) INADVERTENT REACTIVITY ADDITION: (CFR: 41.8 to 41.10) Reactor power | 4.4 | K1 | 295014
22 | (295036EK2.04) Knowledge of the relationship between the (EPE 13) SECONDARY CONTAINMENT HIGH SUMP/AREA WATER LEVEL and the following systems or components: (CFR: 41.7 / 45.8) Area/room/sump level indicators | 3.5 | K2 | 295036
23 | (295017AK3.04) Knowledge of the reasons for the following responses or actions as they apply to (APE 17) ABNORMAL OFFSITE RELEASE RATE: (CFR: 41.5 / 45.6) Power reduction | 3.7 | K3 | 295017
24 | (295032) (EPE 9) HIGH SECONDARY CONTAINMENT AREA TEMPERATURE (G2.1.40) CONDUCT OF OPERATIONS Knowledge of refueling administrative requirements (CFR: 41.10 / 43.5 / 43.6 / 45.13) | 2.8 | G | 295032
25 | (295010AA1.08) Ability to operate and/or monitor the following as they apply to (APE 10) HIGH DRYWELL PRESSURE: (CFR: 41.7 / 45.6) Component cooling water | 3.3 | A1 | 295010
26 | (295007AA2.01) Ability to determine and/or interpret the following as they apply to (APE 7) HIGH REACTOR PRESSURE: (CFR: 41.10 / 43.5 / 45.13) Reactor pressure | 4.6 | A2 | 295007
27 | (223002K4.04) Knowledge of (SF5 PCIS) PRIMARY CONTAINMENT ISOLATION SYSTEM / NUCLEAR STEAM SUPPLY SHUTOFF design features and/or interlocks that provide for the following: (CFR: 41.7) Automatic bypassing of selected isolations during specified plant conditions | 3.8 | K4 | 223002
28 | (218000) (SF3 ADS) AUTOMATIC DEPRESSURIZATION SYSTEM (G2.1.46) CONDUCT OF OPERATIONS Ability to use integrated control systems to operate plant systems or components (CFR: 41.10/ 45.12 / 45.13) | 4 | G | 218000
29 | (212000K6.12) Knowledge of the effect of the following plant conditions, system malfunctions, or component malfunctions on the (SF7 RPS) REACTOR PROTECTION SYSTEM : (CFR: 41.7 / 45.7) Main steam system | 3.5 | K6 | 212000
30 | (400000A3.03) Ability to monitor automatic operation of the (SF8 CCS) COMPONENT COOLING WATER SYSTEM including: (CFR: 41.7 / 45.7) Spent fuel pool cooling | 3.8 | A3 | 400000
31 | (262001A4.03) Ability to manually operate and/or monitor the (SF6 AC) AC ELECTRICAL DISTRIBUTION in the control room: (CFR: 41.7 / 45.5 to 45.8) Local operation of breakers | 3 | A4 | 262001
32 | (209002K2.02) (SF2, SF4 HPCS) HIGH PRESSURE CORE SPRAY SYSTEM Knowledge of electrical power supplies to the following: (CFR: 41.7) Valves | 3.9 | K2 | 209002
33 | (264000A1.03) Ability to predict and/or monitor changes in parameters associated with operation of the (SF6 EGE) EMERGENCY GENERATORS (DIESEL/JET) including: (CFR: 41.5 / 45.5) Operating voltages, currents, and temperatures | 3.6 | A1 | 264000
34 | (215005A2.10) Ability to (a) predict the impacts of the following on the (SF7 PRMS) AVERAGE POWER RANGE MONITOR/LOCAL POWER RANGE MONITOR and (b) based on those predictions, use procedures to correct, control, or mitigate the consequences of those abnormal operations: (CFR: 41.5 / 43.5 / 45.6) Changes in void concentration | 3.3 | A2 | 215005
35 | (262002K5.01) Knowledge of the operational implications or cause and effect relationships of the following concepts as they apply to the (SF6 UPS) UNINTERRUPTABLE POWER SUPPLY (AC/DC): (CFR: 41.5 / 45.3) Static switch/inverter operation | 3.3 | K5 | 262002
36 | (300000K3.12) Knowledge of the effect that a loss or malfunction of the (SF8 IA) INSTRUMENT AIR SYSTEM will have on the following systems or system parameters: (CFR: 41.7 / 45.6) Feedwater system | 3.5 | K3 | 300000
37 | (215004K1.06) Knowledge of the physical connections and/or cause and effect relationships between the (SF7 SRMS) SOURCE RANGE MONITOR SYSTEM and the following systems: (CFR: 41.2 to 41.9 / 45.7 / 45.8) Reactor vessel and internals | 3.1 | K1 | 215004
38 | (215003K4.04) Knowledge of (SF7 IRM) INTERMEDIATE RANGE MONITOR SYSTEM design features and/or interlocks that provide for the following: (CFR: 41.7) Ranging IRMs | 3.8 | K4 | 215003
39 | (259002) (SF2 RWLCS) REACTOR WATER LEVEL CONTROL SYSTEM (291002K1.16) SENSORS AND DETECTORS (CFR: 41.7) (POSITION DETECTORS) Failure modes of reed switches, LVDTs, limit switches, and potentiometers | 2.7 | C | 259002
40 | (217000K6.08) Knowledge of the effect of the following plant conditions, system malfunctions, or component malfunctions on the (SF2, SF4 RCIC) REACTOR CORE ISOLATION COOLING SYSTEM (BWR 3, 4, 5, 6) : (CFR: 41.7 / 45.7) Reactor water level | 4.1 | K6 | 217000
41 | (211000A3.09) Ability to monitor automatic operation of the (SF1 SLCS) STANDBY LIQUID CONTROL SYSTEM including: (CFR: 41.7 / 45.7) Pump trip | 3.8 | A3 | 211000
42 | (203000A4.06) Ability to manually operate and/or monitor the (SF2, SF4 RHR/LPCI) RHR/LPCI: INJECTION MODE (BWR 3, 4, 5, 6) in the control room: (CFR: 41.7 / 45.5 to 45.8) System reset following automatic initiation | 3.6 | A4 | 203000
43 | (510000K2.02) (SF4 SWS*) SERVICE WATER SYSTEM Knowledge of electrical power supplies to the following: (CFR: 41.7) Service water system valves (Class 1E) | 3.4 | K2 | 510000
44 | (263000A1.03) Ability to predict and/or monitor changes in parameters associated with operation of the (SF6 DC) DC ELECTRICAL DISTRIBUTION including: (CFR: 41.5 / 45.5) Voltage | 3.5 | A1 | 263000
45 | (239002A2.06) Ability to (a) predict the impacts of the following on the (SF3 SRV) SAFETY RELIEF VALVES and (b) based on those predictions, use procedures to correct, control, or mitigate the consequences of those abnormal operations: (CFR: 41.5 / 43.5 / 45.6) Reactor high pressure | 4.6 | A2 | 239002
46 | (209001K5.04) Knowledge of the operational implications or cause and effect relationships of the following concepts as they apply to the (SF2, SF4 LPCS) LOW PRESSURE CORE SPRAY SYSTEM : (CFR: 41.5 / 45.3) Heat removal (transfer) mechanisms | 3.2 | K5 | 209001
47 | (205000K3.03) Knowledge of the effect that a loss or malfunction of the (SF4 SCS) SHUTDOWN COOLING SYSTEM (RHR SHUTDOWN COOLING MODE) will have on the following systems or system parameters: (CFR: 41.7 / 45.4) Temperatures | 4.2 | K3 | 205000
48 | (261000K1.06) Knowledge of the physical connections and/or cause and effect relationships between the (SF9 SGTS) STANDBY GAS TREATMENT SYSTEM and the following systems: (CFR: 41.4 to 41.9 / 45.7 / 45.8) HIGH-PRESSURE COOLANT INJECTION SYSTEM (BWR 2, 3, 4) | 2.8 | K1 | 261000
49 | (223002K4.03) Knowledge of (SF5 PCIS) PRIMARY CONTAINMENT ISOLATION SYSTEM / NUCLEAR STEAM SUPPLY SHUTOFF design features and/or interlocks that provide for the following: (CFR: 41.7) Manual initiation capability | 3.9 | K4 | 223002
50 | (218000) (SF3 ADS) AUTOMATIC DEPRESSURIZATION SYSTEM (G2.2.6) EQUIPMENT CONTROL Knowledge of the process for making changes to procedures (CFR: 41.10 / 43.3 / 45.13) | 3 | G | 218000
51 | (212000K6.01) Knowledge of the effect of the following plant conditions, system malfunctions, or component malfunctions on the (SF7 RPS) REACTOR PROTECTION SYSTEM : (CFR: 41.7 / 45.7) AC electrical distribution | 3.9 | K6 | 212000
52 | (400000A3.02) Ability to monitor automatic operation of the (SF8 CCS) COMPONENT COOLING WATER SYSTEM including: (CFR: 41.7 / 45.7) Containment isolation | 3.6 | A3 | 400000
53 | (259001K3.08) Knowledge of the effect that a loss or malfunction of the (SF2 FWS) FEEDWATER SYSTEM will have on the following systems or system parameters: (CFR: 41.7 / 45.4) RCIC | 3.4 | K3 | 259001
54 | (201001K1.05) Knowledge of the physical connections and/or cause and effect relationships between the (SF1 CRDH) CRD HYDRAULIC SYSTEM and the following systems: (CFR: 41.1-3 to 41.5-8 / 45.1-6 / 45.8) CRD return to the vessel | 3.2 | K1 | 201001
55 | (230000K4.10) Knowledge of (SF5 RHR SPS) RHR/LPCI: TORUS/SUPPRESSION POOL SPRAY MODE design features and/or interlocks that provide for the following: (CFR: 41.7) Prevention of leakage to the environment through system heat exchanger | 3.2 | K4 | 230000
56 | (204000) (SF2 RWCU) REACTOR WATER CLEANUP SYSTEM (291005K1.09) MOTORS AND GENERATORS (CFR: 41.7) Interrelations of the following: VARs, watts, amps, volts, power factor | 2.6 | C | 204000
57 | (234000K6.08) Knowledge of the effect of the following plant conditions, system malfunctions, or component malfunctions on the (SF8 FH) FUEL HANDLING: (CFR: 41.7 / 45.7) Fuel pool cooling and cleanup system | 3.1 | K6 | 234000
58 | (239001A3.05) Ability to monitor automatic operation of the (SF3, SF4 MRSS) MAIN AND REHEAT STEAM SYSTEM including: (CFR: 41.7 / 45.7) MSR drain tank level control | 2.9 | A3 | 239001
59 | (271000A4.02) Ability to manually operate and/or monitor the (SF9 OG) OFFGAS SYSTEM in the control room: (CFR: 41.7 / 45.5 to 45.8) System flows | 3.3 | A4 | 271000
60 | (510001K2.02) (SF8 CWS*) CIRCULATING WATER SYSTEM Knowledge of electrical power supplies to the following: (CFR: 41.7) System valves | 2.6 | K2 | 510001
61 | (201005A1.02) Ability to predict and/or monitor changes in parameters associated with operation of the (SF1, SF7 RCIS) ROD CONTROL AND INFORMATION SYSTEM (BWR 6) including: (CFR: 41.5 / 45.5) Reactor power | 4.1 | A1 | 201005
62 | (233000A2.04) Ability to (a) predict the impacts of the following on the (SF9 FPCCU) FUEL POOL COOLING/CLEANUP and (b) based on those predictions, use procedures to correct, control, or mitigate the consequences of those abnormal operations: (CFR: 41.5 / 43.5 / 45.6) Pump trip | 3.6 | A2 | 233000
63 | (241000K5.03) Knowledge of the operational implications or cause and effect relationships of the following concepts as they apply to the (SF3 RTPRS) REACTOR/TURBINE PRESSURE REGULATING SYSTEM: (CFR: 41.5 / 45.3) Reactor power vs. reactor pressure | 4.2 | K5 | 241000
64 | (G2.1.18) CONDUCT OF OPERATIONS Ability to make accurate, clear, and concise logs, records, status boards, and reports (CFR: 41.10 / 45.12 / 45.13) | 3.6 | G2.1 | G2.1
65 | (G2.1.32) CONDUCT OF OPERATIONS Ability to explain and apply system precautions, limitations, notes, or cautions (CFR: 41.10 / 43.2 / 45.12) | 3.8 | G2.1 | G2.1
66 | (G2.2.13) EQUIPMENT CONTROL Knowledge of tagging and clearance procedures (CFR: 41.10 / 43.1 / 45.13) | 4.1 | G2.2 | G2.2
67 | (G2.2.39) EQUIPMENT CONTROL Knowledge of less than or equal to 1 hour technical specification action statements (This K/A does not include action statements of 1 hour or less that follow the expiration of a completion time for a technical specification condition for which an action statement has already been entered.) (CFR: 41.7 / 41.10 / 43.2 / 45.13) | 3.9 | G2.2 | G2.2
68 | (G2.3.5) RADIATION CONTROL Ability to use radiation monitoring systems, such as fixed radiation monitors and alarms or personnel monitoring equipment (CFR: 41.11 / 41.12 / 43.4 / 45.9) | 2.9 | G2.3 | G2.3
69 | (G2.4.49) EMERGENCY PROCEDURES / PLAN Ability to perform without reference to procedures those actions that require immediate operation of system components and controls (CFR: 41.10 / 43.2 / 45.6) | 4.6 | G2.4 | G2.4
70 | (292002K1.09) NEUTRON LIFE CYCLE (CFR: 41.1) Define K-excess (excess reactivity) | 2.6 | R | 292002
71 | (292005K1.10) CONTROL RODS (CFR: 41.1) State the purpose of flux shaping | 3.3 | R | 292005
72 | (292001K1.02) NEUTRONS (CFR: 41.1) Define prompt and delayed neutrons | 3.1 | R | 292001
73 | (293006K1.20) FLUID STATICS AND DYNAMICS (CFR: 41.14) (PUMPS AND PUMP CHARACTERISTICS) Describe the problems that will occur in emergency core cooling systems if the pumps are operated at lower than design flow for extended periods of time | 2.9 | T | 293006
74 | (293010K1.06) BRITTLE FRACTURE AND VESSEL THERMAL STRESS (CFR: 41.14) State the operational concerns of uncontrolled cooldown | 4.1 | T | 293010
75 | (293009K1.39) CORE THERMAL LIMITS (CFR: 41.14) For the following plant operating or accident condition, identify which of the three core thermal limits are most limiting: Full power operation | 3.2 | T | 293009
76 | (600000) (APE 24) PLANT FIRE ON SITE (G2.2.43) EQUIPMENT CONTROL Knowledge of the process used to track inoperable alarms (CFR: 41.10 / 43.5 / 45.13) | 3.3 | G | 600000
77 | (295030EA2.06) Ability to determine and/or interpret the following as they apply to (EPE 7) LOW SUPPRESSION POOL WATER LEVEL: (CFR: 41.10 / 43.5 / 45.13) Suppression chamber pressure | 3.5 | A2 | 295030
78 | (700000) (APE 25) GENERATOR VOLTAGE AND ELECTRIC GRID DISTURBANCES (G2.1.34) CONDUCT OF OPERATIONS Knowledge of RCS or balance of plant chemistry controls, including parameters measured and reasons for the control (CFR: 41.10 / 43.5 / 45.12) | 3.5 | G | 700000
79 | (295027EA2.02) Ability to determine and/or interpret the following as they apply to (EPE 4) HIGH CONTAINMENT TEMPERATURE (MARK III CONTAINMENT ONLY): (CFR: 41.10 / 43.5 / 45.13) Containment pressure | 4.1 | A2 | 295027
80 | (295026) (EPE 3) SUPPRESSION POOL HIGH WATER TEMPERATURE (G2.1.6) CONDUCT OF OPERATIONS Ability to manage the control room crew during plant transients (SRO Only) (CFR: 43.5 / 45.12 / 45.13) | 4.8 | G | 295026
81 | (295004AA2.04) Ability to determine and/or interpret the following as they apply to (APE 4) PARTIAL OR COMPLETE LOSS OF DC POWER: (CFR: 41.10 / 43.5 / 45.13) System lineups | 3.5 | A2 | 295004
82 | (295037) (EPE 14) SCRAM CONDITION PRESENT AND REACTOR POWER ABOVE APRM DOWNSCALE OR UNKNOWN (G2.1.41) CONDUCT OF OPERATIONS Knowledge of the refueling process (CFR: 41.2 / 41.10 / 43.6 / 45.13) | 3.7 | G | 295037
83 | (295002) (APE 2) LOSS OF MAIN CONDENSER VACUUM (G2.3.11) RADIATION CONTROL Ability to control radiation releases (CFR: 41.11 / 43.4 / 45.10) | 4.3 | G | 295002
84 | (295020AA2.05) Ability to determine and/or interpret the following as they apply to (APE 20) INADVERTENT CONTAINMENT ISOLATION: (CFR: 41.10 / 43.5 / 45.13) Reactor water level | 3.8 | A2 | 295020
85 | (295034) (EPE 11) SECONDARY CONTAINMENT VENTILATION HIGH RADIATION (G2.4.12) EMERGENCY PROCEDURES / PLAN Knowledge of operating crew responsibilities during emergency and abnormal operations (CFR: 41.10 / 45.12) | 4.3 | G | 295034
86 | (262001) (SF6 AC) AC ELECTRICAL DISTRIBUTION (G2.4.22) EMERGENCY PROCEDURES / PLAN Knowledge of the bases for prioritizing safety functions during abnormal/emergency operations (CFR: 41.7 / 41.10 / 43.5 / 45.12) | 4.4 | G | 262001
87 | (209002A2.02) Ability to (a) predict the impacts of the following on the (SF2, SF4 HPCS) HIGH PRESSURE CORE SPRAY SYSTEM and (b) based on those predictions, use procedures to correct, control, or mitigate the consequences of those abnormal operations: (CFR: 41.5 / 43.5 / 45.6) Pump trips | 3.9 | A2 | 209002
88 | (264000) (SF6 EGE) EMERGENCY GENERATORS (DIESEL/JET) (G2.4.17) EMERGENCY PROCEDURES / PLAN Knowledge of emergency and abnormal operating procedures terms and definitions (CFR: 41.10 / 45.13) | 4.3 | G | 264000
89 | (215005A2.11) Ability to (a) predict the impacts of the following on the (SF7 PRMS) AVERAGE POWER RANGE MONITOR/LOCAL POWER RANGE MONITOR and (b) based on those predictions, use procedures to correct, control, or mitigate the consequences of those abnormal operations: (CFR: 41.5 / 43.5 / 45.6) Recirculation vortex event | 2.7 | A2 | 215005
90 | (262002) (SF6 UPS) UNINTERRUPTABLE POWER SUPPLY (AC/DC) (G2.1.29) CONDUCT OF OPERATIONS Knowledge of how to conduct system lineups, such as valves, breakers, or switches (CFR: 41.10 / 45.1 / 45.12) | 4 | G | 262002
91 | (290003A2.06) Ability to (a) predict the impacts of the following on the (SF9 CRV) CONTROL ROOM VENTILATION and (b) based on those predictions, use procedures to correct, control, or mitigate the consequences of those abnormal operations: (CFR: 41.5 / 43.5 / 45.6) Breaches of control room envelope | 3.7 | A2 | 290003
92 | (226001) (SF5 RHR CSS) RHR/LPCI: CONTAINMENT SPRAY MODE SYSTEM MODE (G2.2.42) EQUIPMENT CONTROL Ability to recognize system parameters that are entry-level conditions for technical specifications (CFR: 41.7 / 41.10 / 43.2 / 43.3 / 45.3) | 4.6 | G | 226001
93 | (216000A2.09) Ability to (a) predict the impacts of the following on the (SF7 NBI) NUCLEAR BOILER INSTRUMENTATION and (b) based on those predictions, use procedures to correct, control, or mitigate the consequences of those abnormal operations: (CFR: 41.5 / 43.5 / 45.6) Jet pump malfunction | 3.3 | A2 | 216000
94 | (G2.1.36) CONDUCT OF OPERATIONS Knowledge of procedures and limitations involved in core alterations (CFR: 41.10 / 43.6 / 45.7) | 4.1 | G2.1 | G2.1
95 | (G2.1.31) CONDUCT OF OPERATIONS Ability to locate control room switches, controls, and indications, and to determine that they correctly reflect the desired plant lineup (CFR: 41.10 / 45.12) | 4.3 | G2.1 | G2.1
96 | (G2.2.15) EQUIPMENT CONTROL Ability to determine the expected plant configuration using design and configuration control documentation, such as drawings, lineups or, tagouts (reference potential) (CFR: 41.10 / 43.3 / 45.13) | 4.3 | G2.2 | G2.2
97 | (G2.2.3) EQUIPMENT CONTROL (Multi-unit license) Knowledge of the design, procedural, or operational differences between units (CFR: 41.5 / 41.6 / 41.7 / 41.10 / 45.12) | 3.9 | G2.2 | G2.2
98 | (G2.3.6) RADIATION CONTROL Ability to approve liquid or gaseous release permits (CFR: 41.13 / 43.4 / 45.10) | 3.8 | G2.3 | G2.3
99 | (G2.4.52) EMERGENCY PROCEDURES / PLAN Knowledge of the lines of authority during implementation of the emergency plan, emergency plan implementing procedures, emergency operating procedures, or severe accident guidelines (CFR: 41.10 / 45.13) | 4 | G2.4 | G2.4
100 | (G2.4.14) EMERGENCY PROCEDURES / PLAN Knowledge of general guidelines for emergency and abnormal operating procedures usage (CFR: 41.10 / 43.1 / 45.13) | 4.5 | G2.4 | G2.4