## Sheet1
Question Number | Topic Title | Topic Importance | K/A Category | System
1 | (295026EK2.10) Knowledge of the relationship between the (EPE 3) SUPPRESSION POOL HIGH WATER TEMPERATURE and the following systems or components: (CFR: 41.7 / 45.8) LPCS | 3.7 | K2 | 295026
2 | (295005AA2.06) Ability to determine and/or interpret the following as they apply to (APE 5) MAIN TURBINE GENERATOR TRIP: (CFR: 41.10 / 43.5 / 45.13) Feedwater temperature | 3.5 | A2 | 295005
3 | (600000AK3.02) Knowledge of the reasons for the following responses or actions as they apply to (APE 24) PLANT FIRE ON SITE: (CFR: 41.5 / 41.10 / 45.6 / 45.13) Steps called out in the site fire protection plant, fire protection system manual, and fire zone manual | 3.3 | K3 | 600000
4 | (295021AA1.05) Ability to operate and/or monitor the following as they apply to (APE 21) LOSS OF SHUTDOWN COOLING: (CFR: 41.7 / 45.6) Reactor recirculation | 3.6 | A1 | 295021
5 | (295023AK1.03) Knowledge of the operational implications and/or cause and effect relationships of the following concepts as they apply to the (APE 23) REFUELING ACCIDENTS:(CFR: 41.8 to 41.10) Inadvertent criticality | 3.8 | K1 | 295023
6 | (295030) (EPE 7) LOW SUPPRESSION POOL WATER LEVEL (G2.4.19) EMERGENCY PROCEDURES / PLAN Knowledge of emergency and abnormal operating procedures layout, symbols, and icons (CFR: 41.10 / 45.13) | 3.4 | G | 295030
7 | (295018AK2.03) Knowledge of the relationship between the (APE 18) PARTIAL OR COMPLETE LOSS OF COMPONENT COOLING WATER (CCW) and the following systems or components: (CFR: 41.7 / 45.8) Reactor water cleanup system | 3.5 | K2 | 295018
8 | (295037EA2.03) Ability to determine and/or interpret the following as they apply to (EPE 14) SCRAM CONDITION PRESENT AND REACTOR POWER ABOVE APRM DOWNSCALE OR UNKNOWN: (CFR: 41.10 / 43.5 / 45.13) Standby liquid control system tank level | 3.8 | A2 | 295037
9 | (700000AK3.02) Knowledge of the reasons for the following responses or actions as they apply to (APE 25) GENERATOR VOLTAGE AND ELECTRIC GRID DISTURBANCES: (CFR: 41.4 / 41.5 / 41.7 / 41.10 / 45.8) Actions contained in abnormal operating procedure for voltage and grid disturbances | 3.8 | K3 | 700000
10 | (295004AA1.03) Ability to operate and/or monitor the following as they apply to (APE 4) PARTIAL OR COMPLETE LOSS OF DC POWER: (CFR: 41.7 / 45.6) AC electrical distribution | 3.5 | A1 | 295004
11 | (295016AA1.14) Ability to operate and/or monitor the following as they apply to (APE 16) CONTROL ROOM ABANDONMENT: (CFR: 41.7 / 45.6) | 2.7 | K1 | 295016
12 | (295019) (APE 19) PARTIAL OR COMPLETE LOSS OF INSTRUMENT AIR (G2.4.35) EMERGENCY PROCEDURES / PLAN Knowledge of nonlicensed operator responsibilities during an emergency (CFR: 41.10 / 43.1/ 43.5 / 45.13) | 3.8 | G | 295019
13 | (295001AK2.01) Knowledge of the relationship between the (APE 1) PARTIAL OR COMPLETE LOSS OF FORCED CORE FLOW CIRCULATION and the following systems or components: (CFR: 41.7 / 45.8) Recirculation system | 4.1 | K2 | 295001
14 | (295038EA2.02) Ability to determine and/or interpret the following as they apply to (EPE 15) HIGH OFFSITE RADIOACTIVITY RELEASE RATE: (CFR: 41.10 / 43.5 / 45.13) Total number of curies released or release rate/duration | 3.2 | A2 | 295038
15 | (295006AK3.02) Knowledge of the reasons for the following responses or actions as they apply to (APE 6) SCRAM: (CFR: 41.5 / 45.6) Reactor power response | 4.2 | K3 | 295006
16 | (295024EA1.08) Ability to operate and/or monitor the following as they apply to (EPE 1) HIGH DRYWELL PRESSURE: (CFR: 41.7 / 45.6) ADS | 4.1 | A1 | 295024
17 | (295027EK1.01) Knowledge of the operational implications and/or cause and effect relationships of the following concepts as they apply to the (EPE 4) HIGH CONTAINMENT TEMPERATURE (MARK III CONTAINMENT ONLY): (CFR: 41.8 to 41.10) Equipment environmental qualifications | 3.2 | K1 | 295027
18 | (295003) (APE 3) PARTIAL OR COMPLETE LOSS OF AC POWER (G2.4.21) EMERGENCY PROCEDURES / PLAN Knowledge of the parameters and logic used to assess the status of emergency operating procedures critical safety functions or shutdown critical safety functions (CFR: 41.7 / 43.5 / 45.12) | 4 | G | 295003
19 | (295025EK2.08) Knowledge of the relationship between the (EPE 2) HIGH REACTOR PRESSURE and the following systems or components: (CFR: 41.7 / 45.8) Reactor/turbine pressure regulating system | 3.7 | K2 | 295025
20 | (295031EA2.04) Ability to determine and/or interpret the following as they apply to (EPE 8) REACTOR LOW WATER LEVEL: (CFR: 41.10 / 43.5 / 45.13) Adequate core cooling | 4.9 | A2 | 295031
21 | (295014AA1.02) Ability to operate and/or monitor the following as they apply to (APE 14) INADVERTENT REACTIVITY ADDITION: (CFR: 41.7 / 45.6) Recirculation flow control system | 4.2 | A1 | 295014
22 | (295034EK1.02) Knowledge of the operational implications and/or cause and effect relationships of the following concepts as they apply to the (EPE 11) SECONDARY CONTAINMENT VENTILATION HIGH RADIATION: (CFR: 41.8 to 41.10) Radiation releases | 3.9 | K1 | 295034
23 | (500000) (EPE 16) HIGH CONTAINMENT HYDROGEN CONCENTRATION (G2.4.31) EMERGENCY PROCEDURES / PLAN Knowledge of annunciator alarms, indications, or response procedures (CFR: 41.10 / 45.3) | 4.2 | G | 500000
24 | (295010AK2.08) Knowledge of the relationship between the (APE 10) HIGH DRYWELL PRESSURE and the following systems or components: (CFR: 41.7 / 45.8) Plant ventilation systems | 3.2 | K2 | 295010
25 | (295035EA2.02) Ability to determine and/or interpret the following as they apply to (EPE 12) SECONDARY CONTAINMENT HIGH DIFFERENTIAL PRESSURE: (CFR: 41.8 to 41.10) Radiation release rate | 4.1 | A2 | 295035
26 | (295033EK3.02) Knowledge of the reasons for the following responses or actions as they apply to (EPE 10) HIGH SECONDARY CONTAINMENT AREA RADIATION LEVELS: (CFR: 41.5 / 45.6) Reactor shutdown/SCRAM | 4.1 | K3 | 295033
27 | (209001A4.01) Ability to manually operate and/or monitor the (SF2, SF4 LPCS) LOW PRESSURE CORE SPRAY SYSTEM in the control room: (CFR: 41.7 / 45.5 to 45.8) Core spray pump | 4.3 | A4 | 209001
28 | (263000K4.04) Knowledge of (SF6 DC) DC ELECTRICAL DISTRIBUTION design features and/or interlocks that provide for the following: (CFR: 41.7) Battery charging methods | 2.9 | K4 | 263000
29 | (215003K1.07) Knowledge of the physical connections and/or cause and effect relationships between the (SF7 IRM) INTERMEDIATE RANGE MONITOR SYSTEM and the following systems: (CFR: 41.2 to 41.9 / 45.7 / 45.8) Reactor vessel and internals | 3 | K1 | 215003
30 | (203000K6.02) Knowledge of the effect of the following plant conditions, system malfunctions, or component malfunctions on the (SF2, SF4 RHR/LPCI) RHR/LPCI: INJECTION MODE (BWR 3, 4, 5, 6): (CFR: 41.7 / 45.7) DC electrical power | 3.8 | K6 | 203000
31 | (215005) (SF7 PRMS) AVERAGE POWER RANGE MONITOR/LOCAL POWER RANGE MONITOR (G2.1.30) CONDUCT OF OPERATIONS Ability to locate and operate components, including local controls (CFR: 41.7 / 45.7) | 4.4 | G | 215005
32 | (264000A3.05) Ability to monitor automatic operation of the (SF6 EGE) EMERGENCY GENERATORS (DIESEL/JET) including: (CFR: 41.7 / 45.7) Load shedding and sequencing | 3.9 | A3 | 264000
33 | (209002A1.02) Ability to predict and/or monitor changes in parameters associated with operation of the (SF2, SF4 HPCS) HIGH PRESSURE CORE SPRAY SYSTEM including: (CFR: 41.5 / 45.5) System pressure | 3.9 | A1 | 209002
34 | (261000K5.04) Knowledge of the operational implications or cause and effect relationships of the following concepts as they apply to the (SF9 SGTS) STANDBY GAS TREATMENT SYSTEM : (CFR: 41.5 / 45.3) Secondary containment pressure changes | 3.4 | K5 | 261000
35 | (205000K3.02) Knowledge of the effect that a loss or malfunction of the (SF4 SCS) SHUTDOWN COOLING SYSTEM (RHR SHUTDOWN COOLING MODE) will have on the following systems or system parameters: (CFR: 41.7 / 45.4) Reactor water level | 3.7 | K3 | 205000
36 | (223002A2.13) Ability to (a) predict the impacts of the following on the (SF5 PCIS) PRIMARY CONTAINMENT ISOLATION SYSTEM / NUCLEAR STEAM SUPPLY SHUTOFF and (b) based on those predictions, use procedures to correct, control, or mitigate the consequences of those abnormal operations: (CFR: 41.5 / 45.6) Leak detection system failures | 3.3 | A2 | 223002
37 | (262001K2.02) (SF6 AC) AC ELECTRICAL DISTRIBUTION Knowledge of electrical power supplies to the following: (CFR: 41.7) AC breaker control power | 3.7 | K2 | 262001
38 | (262002A4.01) Ability to manually operate and/or monitor the (SF6 UPS) UNINTERRUPTABLE POWER SUPPLY (AC/DC) in the control room: (CFR: 41.7 / 45.5 to 45.8) Transfer of power sources | 3.1 | A4 | 262002
39 | (217000K4.13) Knowledge of (SF2, SF4 RCIC) REACTOR CORE ISOLATION COOLING SYSTEM (BWR 3, 4, 5, 6) design features and/or interlocks that provide for the following: (CFR: 41.7) Turbine speed control | 3.6 | K4 | 217000
40 | (212000K1.09) Knowledge of the physical connections and/or cause and effect relationships between the (SF7 RPS) REACTOR PROTECTION SYSTEM and the following systems: (CFR: 41.2 to 41.9 / 45.7 / 45.8) Plant process computer/parameter display systems | 2.8 | K1 | 212000
41 | (215004K6.01) Knowledge of the effect of the following plant conditions, system malfunctions, or component malfunctions on the (SF7 SRMS) SOURCE RANGE MONITOR SYSTEM : (CFR: 41.7 / 45.7) RPS | 3.3 | K6 | 215004
42 | (510000) (SF4 SWS*) SERVICE WATER SYSTEM (291002K1.25) SENSORS AND DETECTORS (CFR: 41.7) (RADIATION DETECTION) Effects of core voiding on neutron detection | 3.5 | C | 510000
43 | (259002A3.07) Ability to monitor automatic operation of the (SF2 RWLCS) REACTOR WATER LEVEL CONTROL SYSTEM including: (CFR: 41.7 / 45.7) FWRV lockup | 3.5 | A3 | 259002
44 | (239002A1.05) Ability to predict and/or monitor changes in parameters associated with operation of the (SF3 SRV) SAFETY RELIEF VALVES including: (CFR: 41.5 / 45.5) Reactor water level | 4.2 | A1 | 239002
45 | (300000K5.15) Knowledge of the operational implications or cause and effect relationships of the following concepts as they apply to the (SF8 IA) INSTRUMENT AIR SYSTEM: (CFR: 41.5 / 45.3) High moisture content in instrument air | 3.1 | K5 | 300000
46 | (218000K3.01) Knowledge of the effect that a loss or malfunction of the (SF3 ADS) AUTOMATIC DEPRESSURIZATION SYSTEM will have on the following systems or system parameters: (CFR: 41.7 / 45.4) Reactor water level | 4.1 | K3 | 218000
47 | (400000A2.16) Ability to (a) predict the impacts of the following on the (SF8 CCS) COMPONENT COOLING WATER SYSTEM and (b) based on those predictions, use procedures to correct, control, or mitigate the consequences of those abnormal operations: (CFR: 41.5 / 43.5 / 45.6) Loss of cooling to alternate decay heat removal system | 3.7 | A2 | 400000
48 | (211000K2.01) (SF1 SLCS) STANDBY LIQUID CONTROL SYSTEM Knowledge of electrical power supplies to the following: (CFR: 41.7) SLCS pumps | 3.6 | K2 | 211000
49 | (209001A4.02) Ability to manually operate and/or monitor the (SF2, SF4 LPCS) LOW PRESSURE CORE SPRAY SYSTEM in the control room: (CFR: 41.7 / 45.5 to 45.8) Valves | 4.2 | A4 | 209001
50 | (263000K4.05) Knowledge of (SF6 DC) DC ELECTRICAL DISTRIBUTION design features and/or interlocks that provide for the following: (CFR: 41.7) Coping time | 3.6 | K4 | 263000
51 | (215003K1.05) Knowledge of the physical connections and/or cause and effect relationships between the (SF7 IRM) INTERMEDIATE RANGE MONITOR SYSTEM and the following systems: (CFR: 41.2 to 41.9 / 45.7 / 45.8) Display control system | 3.2 | K1 | 215003
52 | (203000K6.10) Knowledge of the effect of the following plant conditions, system malfunctions, or component malfunctions on the (SF2, SF4 RHR/LPCI) RHR/LPCI: INJECTION MODE (BWR 3, 4, 5, 6): (CFR: 41.7 / 45.7) Component cooling water systems | 2.8 | K6 | 203000
53 | (230000A2.13) Ability to (a) predict the impacts of the following on the (SF5 RHR SPS) RHR/LPCI: TORUS/SUPPRESSION POOL SPRAY MODE and (b) based on those predictions, use procedures to correct, control, or mitigate the consequences of those abnormal operations: (CFR: 41.5 / 43.5 / 45.6) High suppression pool level | 3.6 | A2 | 230000
54 | (215001K2.02) (SF7 TIP) TRAVERSING IN CORE PROBE Knowledge of electrical power supplies to the following: (CFR: 41.7) Ball valves (BWR 2, 3, 4, 5) | 3 | K2 | 215001
55 | (223001A4.18) Ability to manually operate and/or monitor the (SF5 PCS) PRIMARY CONTAINMENT SYSTEM AND AUXILIARIES in the control room: (CFR: 41.7 / 45.5 to 45.8) Containment spray system (Mark III) | 4.2 | A4 | 223001
56 | (286000K4.09) Knowledge of (SF8 FPS) FIRE PROTECTION SYSTEM design features and/or interlocks that provide for the following: (CFR: 41.5 / 41.7 / 45.3 to 45.8) Fire detection and alarm | 3.4 | K4 | 286000
57 | (239003K1.09) Knowledge of the physical connections and/or cause and effect relationships between the (SF9 MSVLCS) MAIN STEAM ISOLATION VALVE LEAKAGE CONTROL SYSTEM (BWR 4, 5, 6) and the following systems: (CFR: 41.2 to 41.9 / 45.7 / 45.8) Condensate system | 2.5 | K1 | 239003
58 | (234000K6.03) Knowledge of the effect of the following plant conditions, system malfunctions, or component malfunctions on the (SF8 FH) FUEL HANDLING: (CFR: 41.7 / 45.7) RCIS | 3.5 | K6 | 234000
59 | (216000) (SF7 NBI) NUCLEAR BOILER INSTRUMENTATION (G2.4.34) EMERGENCY PROCEDURES / PLAN Knowledge of RO responsibilities outside the main control room during an emergency (CFR: 41.10 / 43.5 / 45.13) | 4.2 | G | 216000
60 | (245000A3.05) Ability to monitor automatic operation of the (SF4 MTGEN) MAIN TURBINE GENERATOR AND AUXILIARY SYSTEMS including: (CFR: 41.7 / 45.7) Control valve operation | 3.2 | A3 | 245000
61 | (239001A1.06) Ability to predict and/or monitor changes in parameters associated with operation of the (SF3, SF4 MRSS) MAIN AND REHEAT STEAM SYSTEM including: (CFR: 41.5 / 45.5) Offgas process radiation | 3.3 | A1 | 239001
62 | (510001K5.03) Knowledge of the operational implications or cause and effect relationships of the following concepts as they apply to the (SF8 CWS*) CIRCULATING WATER SYSTEM: (CFR: 41.4 / 41.7 / 45.5) Pipe rupture | 3.3 | K5 | 510001
63 | (256000K3.20) Knowledge of the effect that a loss or malfunction of the (SF2 CDS) CONDENSATE SYSTEM will have on the following systems or system parameters: (CFR: 41.7 / 45.4) Oxygen injection system | 2.5 | K3 | 256000
64 | (G2.1.39) CONDUCT OF OPERATIONS Knowledge of conservative decision-making practices (CFR: 41.10 / 43.5 / 45.12) | 3.6 | G2.1 | G2.1
65 | (G2.1.5) CONDUCT OF OPERATIONS Ability to use procedures related to shift staffing, such as minimum crew complement or overtime limitations (reference potential) (CFR: 41.10 / 43.5 / 45.12) | 2.9 | G2.1 | G2.1
66 | (G2.2.3) EQUIPMENT CONTROL (Multi-unit license) Knowledge of the design, procedural, or operational differences between units (CFR: 41.5 / 41.6 / 41.7 / 41.10 / 45.12) | 3.8 | G2.2 | G2.2
67 | (G2.2.39) EQUIPMENT CONTROL Knowledge of less than or equal to 1 hour technical specification action statements (This K/A does not include action statements of 1 hour or less that follow the expiration of a completion time for a technical specification condition for which an action statement has already been entered.) (CFR: 41.7 / 41.10 / 43.2 / 45.13) | 3.9 | G2.2 | G2.2
68 | (G2.3.5) RADIATION CONTROL Ability to use radiation monitoring systems, such as fixed radiation monitors and alarms or personnel monitoring equipment (CFR: 41.11 / 41.12 / 43.4 / 45.9) | 2.9 | G2.3 | G2.3
69 | (G2.4.46) EMERGENCY PROCEDURES / PLAN Ability to verify that the alarms are consistent with the plant conditions (CFR: 41.10 / 43.5 / 45.3 / 45.12) | 4.2 | G2.4 | G2.4
70 | (292006K1.06) FISSION PRODUCT POISONS (CFR: 41.1) Describe the following processes and state their effect on reactor operations: --Transient xenon | 2.7 | R | 292006
71 | (292005K1.05) CONTROL RODS (CFR: 41.1) Define rod density | 2.6 | R | 292005
72 | (292008K1.18) REACTOR OPERATIONAL PHYSICS (CFR: 41.1) (POWER OPERATION) Describe the means by which reactor power will be increased to rated power | 3.8 | R | 292008
73 | (293005K1.03) THERMODYNAMIC CYCLES (CFR: 41.14) Describe the steam quality/moisture effects on turbine integrity and efficiency | 2.7 | T | 293005
74 | (293004K1.14) THERMODYNAMIC PROCESS (CFR: 41.14) (CONDENSERS) Explain the condensing process | 2.7 | T | 293004
75 | (293007K1.09) HEAT TRANSFER (CFR: 41.14) (CONDENSER APPLICATIONS OF HEAT TRANSFER) Discuss operational implications of condensate | 2.7 | T | 293007
76 | (295026) (EPE 3) SUPPRESSION POOL HIGH WATER TEMPERATURE (G2.1.28) CONDUCT OF OPERATIONS Knowledge of the purpose and function of major system components and controls (CFR: 41.7) | 4.1 | G | 295026
77 | (295005AA2.07) Ability to determine and/or interpret the following as they apply to (APE 5) MAIN TURBINE GENERATOR TRIP: (CFR: 41.10 / 43.5 / 45.13) Reactor water level | 3.9 | A2 | 295005
78 | (600000) (APE 24) PLANT FIRE ON SITE (G2.1.1) CONDUCT OF OPERATIONS Knowledge of conduct of operations requirements (CFR: 41.10 / 43.10 / 45.13) | 4.2 | G | 600000
79 | (295021AA2.01) Ability to determine and/or interpret the following as they apply to (APE 21) LOSS OF SHUTDOWN COOLING: (CFR: 41.10 / 43.5 / 45.13) Containment/drywell temperature | 2.8 | A2 | 295021
80 | (295023) (APE 23) REFUELING ACCIDENTS (G2.1.47) CONDUCT OF OPERATIONS Ability to direct nonlicensed personnel activities inside the control room (CFR: 41.10 / 43.5 / 45.5 / 45.12 / 45.13) | 3.2 | G | 295023
81 | (295030EA2.05) Ability to determine and/or interpret the following as they apply to (EPE 7) LOW SUPPRESSION POOL WATER LEVEL: (CFR: 41.10 / 43.5 / 45.13) | 3.4 | A2 | 295030
82 | (295018) (APE 18) PARTIAL OR COMPLETE LOSS OF COMPONENT COOLING WATER (CCW) (G2.4.22) EMERGENCY PROCEDURES / PLAN Knowledge of the bases for prioritizing safety functions during abnormal/emergency operations (CFR: 41.7 / 41.10 / 43.5 / 45.12) | 4.4 | G | 295018
83 | (295022) (APE 22) LOSS OF CONTROL ROD DRIVE PUMPS (G2.4.23) EMERGENCY PROCEDURES / PLAN Knowledge of the bases for prioritizing emergency operating procedures implementation (CFR: 41.10 / 43.5 / 45.13) | 4.4 | G | 295022
84 | (295012AA2.04) Ability to determine and/or interpret the following as they apply to (APE 12) HIGH DRYWELL TEMPERATURE: (CFR: 41.10 / 43.5 / 45.13) System/component operating limitations | 3.6 | A2 | 295012
85 | (295009) (APE 9) LOW REACTOR WATER LEVEL (G2.2.2) EQUIPMENT CONTROL Ability to manipulate the console controls as required to operate the facility between shutdown and designated power levels (CFR: 41.6 / 41.7 / 45.2) | 4.1 | G | 295009
86 | (215005) (SF7 PRMS) AVERAGE POWER RANGE MONITOR/LOCAL POWER RANGE MONITOR (G2.2.13) EQUIPMENT CONTROL Knowledge of tagging and clearance procedures (CFR: 41.10 / 43.1 / 45.13) | 4.3 | G | 215005
87 | (264000A2.13) Ability to (a) predict the impacts of the following on the (SF6 EGE) EMERGENCY GENERATORS (DIESEL/JET) and (b) based on those predictions, use procedures to correct, control, or mitigate the consequences of those abnormal operations: (CFR: 41.5 / 43.5 / 45.6) Loss of starting air | 3.9 | A2 | 264000
88 | (209002) (SF2, SF4 HPCS) HIGH PRESSURE CORE SPRAY SYSTEM (G2.2.12) EQUIPMENT CONTROL Knowledge of surveillance procedures (CFR: 41.10 / 43.2 / 45.13) | 4.1 | G | 209002
89 | (261000A2.11) Ability to (a) predict the impacts of the following on the (SF9 SGTS) STANDBY GAS TREATMENT SYSTEM and (b) based on those predictions, use procedures to correct, control, or mitigate the consequences of those abnormal operations: (CFR: 41.5 / 43.5 / 45.6) High containment pressure | 3.2 | A2 | 261000
90 | (205000) (SF4 SCS) SHUTDOWN COOLING SYSTEM (RHR SHUTDOWN COOLING MODE) (G2.3.11) RADIATION CONTROL Ability to control radiation releases (CFR: 41.11 / 43.4 / 45.10) | 4.3 | G | 205000
91 | (271000A2.03) Ability to (a) predict the impacts of the following on the (SF9 OG) OFFGAS SYSTEM and (b) based on those predictions, use procedures to correct, control, or mitigate the consequences of those abnormal operations: (CFR: 41.5 / 43.5 / 45.6 / 45.8) Main steam line high radiation | 3.3 | A2 | 271000
92 | (201005) (SF1, SF7 RCIS) ROD CONTROL AND INFORMATION SYSTEM (G2.2.25) EQUIPMENT CONTROL Knowledge of the bases in technical specifications for limiting conditions for operation and safety limits (SRO Only) (CFR: 43.2) | 4.2 | G | 201005
93 | (219000A2.06) Ability to (a) predict the impacts of the following on the (SF5 RHR SPC) RHR/LPCI: TORUS/SUPPRESSION POOL COOLING MODE and (b) based on those predictions, use procedures to correct, control, or mitigate the consequences of those abnormal operations: (CFR: 41.5 / 43.5 / 45.6) DC electrical failures | 3.5 | A2 | 219000
94 | (G2.1.40) CONDUCT OF OPERATIONS Knowledge of refueling administrative requirements (CFR: 41.10 / 43.5 / 43.6 / 45.13) | 3.9 | G2.1 | G2.1
95 | (G2.1.37) CONDUCT OF OPERATIONS Knowledge of procedures, guidelines, or limitations associated with reactivity management (CFR: 41.1 / 41.5 / 41.10 / 43.6 / 45.6) | 4.6 | G2.1 | G2.1
96 | (G2.2.43) EQUIPMENT CONTROL Knowledge of the process used to track inoperable alarms (CFR: 41.10 / 43.5 / 45.13) | 3.3 | G2.2 | G2.2
97 | (G2.2.45) EQUIPMENT CONTROL Ability to determine or interpret technical specifications with action statements of greater than 1 hour (SRO Only) (CFR: 43.2 / 43.5 / 45.3) | 4.7 | G2.2 | G2.2
98 | (G2.3.6) RADIATION CONTROL Ability to approve liquid or gaseous release permits (CFR: 41.13 / 43.4 / 45.10) | 3.8 | G2.3 | G2.3
99 | (G2.4.3) EMERGENCY PROCEDURES / PLAN Ability to identify post-accident instrumentation (CFR: 41.6 / 45.4) | 3.9 | G2.4 | G2.4
100 | (G2.4.47) EMERGENCY PROCEDURES / PLAN Ability to diagnose and recognize trends in an accurate and timely manner using the appropriate control room reference material (reference potential) (CFR: 41.10 / 43.5 / 45.12) | 4.2 | G2.4 | G2.4