## Sheet1
Question Number | Topic Title | Topic Importance | K/A Category | System
1 | (295024EA1.11) Ability to operate and/or monitor the following as they apply to (EPE 1) HIGH DRYWELL PRESSURE: (CFR: 41.7 / 45.6) Drywell spray (Mark I, II) | 4.4 | A1 | 295024
2 | (295021AA2.03) Ability to determine and/or interpret the following as they apply to (APE 21) LOSS OF SHUTDOWN COOLING: (CFR: 41.10 / 43.5 / 45.13) Reactor water level | 4.4 | A2 | 295021
3 | (295003AK3.03) Knowledge of the reasons for the following responses or actions as they apply to (APE 3) PARTIAL OR COMPLETE LOSS OF AC POWER: (CFR: 41.5 / 45.6 ) Load shedding | 3.8 | K3 | 295003
4 | (700000) (APE 25) GENERATOR VOLTAGE AND ELECTRIC GRID DISTURBANCES (G2.2.39) EQUIPMENT CONTROL Knowledge of less than or equal to 1 hour technical specification action statements (This K/A does not include action statements of 1 hour or less that follow the expiration of a completion time for a technical specification condition for which an action statement has already been entered.) (CFR: 41.7 / 41.10 / 43.2 / 45.13) | 3.9 | G | 700000
5 | (295037EK1.06) Knowledge of the operational implications and/or cause and effect relationships of the following concepts as they apply to the (EPE 14) SCRAM CONDITION PRESENT AND REACTOR POWER ABOVE APRM DOWNSCALE OR UNKNOWN: (CFR: 41.8 to 41.10) Cooldown effects on reactor power | 4.1 | K1 | 295037
6 | (295001AK2.02) Knowledge of the relationship between the (APE 1) PARTIAL OR COMPLETE LOSS OF FORCED CORE FLOW CIRCULATION and the following systems or components: (CFR: 41.7 / 45.8) Nuclear boiler instrumentation | 3.6 | K2 | 295001
7 | (295016AA1.01) Ability to operate and/or monitor the following as they apply to (APE 16) CONTROL ROOM ABANDONMENT: (CFR: 41.7 / 45.6) RPS | 3.8 | A1 | 295016
8 | (295027EA2.02) Ability to determine and/or interpret the following as they apply to (EPE 4) HIGH CONTAINMENT TEMPERATURE (MARK III CONTAINMENT ONLY): (CFR: 41.10 / 43.5 / 45.13) Containment pressure | 4.5 | A2 | 295027
9 | (295025EK3.09) Knowledge of the reasons for the following responses or actions as they apply to (EPE 2) HIGH REACTOR PRESSURE: (CFR: 41.5 / 45.6) Low-low set initiation | 3.9 | K3 | 295025
10 | (295026) (EPE 3) SUPPRESSION POOL HIGH WATER TEMPERATURE (G2.1.44) CONDUCT OF OPERATIONS Knowledge of RO duties in the control room during fuel handling, such as responding to alarms from the fuel handling area, communication with fuel handling personnel, operating systems from the control room in support of fueling operations, or supporting instrumentation (CFR: 41.10 / 43.7 / 45.12) | 3.9 | G | 295026
11 | (295018AA1.07) Ability to operate and/or monitor the following as they apply to (APE 18) PARTIAL OR COMPLETE LOSS OF COMPONENT COOLING WATER (CCW): (CFR: 41.7 / 45.6) Fuel pool cooling and cleanup system | 3.6 | K1 | 295018
12 | (295005AK2.12) Knowledge of the relationship between the (APE 5) MAIN TURBINE GENERATOR TRIP and the following systems or components: (CFR: 41.7 / 45.8) REACTOR MANUAL CONTROL SYSTEM (BWR 2, 3, 4, 5) | 2.9 | K2 | 295005
13 | (295038EA1.03) Ability to operate and/or monitor the following as they apply to (EPE 15) HIGH OFFSITE RADIOACTIVITY RELEASE RATE: (CFR: 41.7 / 45.6) Process radiation monitoring system | 3.8 | A1 | 295038
14 | (295019AA2.01) Ability to determine and/or interpret the following as they apply to (APE 19) PARTIAL OR COMPLETE LOSS OF INSTRUMENT AIR: (CFR: 41.10 / 43.5 / 45.13) Instrument air pressure | 4.1 | A2 | 295019
15 | (295006AK3.03) Knowledge of the reasons for the following responses or actions as they apply to (APE 6) SCRAM: (CFR: 41.5 / 45.6) Reactor pressure response | 4 | K3 | 295006
16 | (295030) (EPE 7) LOW SUPPRESSION POOL WATER LEVEL (G2.4.34) EMERGENCY PROCEDURES / PLAN Knowledge of RO responsibilities outside the main control room during an emergency (CFR: 41.10 / 43.5 / 45.13) | 4.2 | G | 295030
17 | (295023AK1.02) Knowledge of the operational implications and/or cause and effect relationships of the following concepts as they apply to the (APE 23) REFUELING ACCIDENTS:(CFR: 41.8 to 41.10) Shutdown margin | 3.5 | K1 | 295023
18 | (600000AK2.10) Knowledge of the relationship between the (APE 24) PLANT FIRE ON SITE and the following systems or components: (CFR: 41.7 / 45.7) Plant ventilation systems | 3.2 | K2 | 600000
19 | (295031EA1.02) Ability to operate and/or monitor the following as they apply to (EPE 8) REACTOR LOW WATER LEVEL: (CFR: 41.7 / 45.6) High-pressure coolant injection | 4.2 | A1 | 295031
20 | (295004AA2.01) Ability to determine and/or interpret the following as they apply to (APE 4) PARTIAL OR COMPLETE LOSS OF DC POWER: (CFR: 41.10 / 43.5 / 45.13) Partial or complete loss of DC power | 4 | A2 | 295004
21 | (295032) (EPE 9) HIGH SECONDARY CONTAINMENT AREA TEMPERATURE (G2.4.17) EMERGENCY PROCEDURES / PLAN Knowledge of emergency and abnormal operating procedures terms and definitions (CFR: 41.10 / 45.13) | 3.9 | G | 295032
22 | (295014AK1.03) Knowledge of the operational implications and/or cause and effect relationships of the following concepts as they apply to the (APE 14) INADVERTENT REACTIVITY ADDITION: (CFR: 41.8 to 41.10) Shutdown margin | 3.8 | K1 | 295014
23 | (295029EK2.08) Knowledge of the relationship between the (EPE 6) HIGH SUPPRESSION POOL WATER LEVEL and the following systems or components: (CFR: 41.7 / 45.8) Drywell/suppression chamber ventilation | 3.5 | K2 | 295029
24 | (500000EA1.02) Ability to operate and/or monitor the following as they apply to (EPE 16) HIGH CONTAINMENT HYDROGEN CONCENTRATION: (CFR: 41.7 / 45.6) Primary containment oxygen instrumentation | 3.6 | A1 | 500000
25 | (295002AA2.04) Ability to determine and/or interpret the following as they apply to (APE 2) LOSS OF MAIN CONDENSER VACUUM: (CFR: 41.10 / 43.5 / 45.13) Offgas system flow | 3.9 | A2 | 295002
26 | (295007AK3.06) Knowledge of the reasons for the following responses or actions as they apply to (APE 7) HIGH REACTOR PRESSURE: (CFR: 41.5 / 45.6) Reactor/turbine pressure regulating system operation | 4 | K3 | 295007
27 | (209002A2.21) Ability to (a) predict the impacts of the following on the (SF2, SF4 HPCS) HIGH PRESSURE CORE SPRAY SYSTEM and (b) based on those predictions, use procedures to correct, control, or mitigate the consequences of those abnormal operations: (CFR: 41.5 / 43.5 / 45.6) Inadvertent initiation | 4 | A2 | 209002
28 | (205000K6.03) Knowledge of the effect of the following plant conditions, system malfunctions, or component malfunctions on the (SF4 SCS) SHUTDOWN COOLING SYSTEM (RHR SHUTDOWN COOLING MODE): (CFR: 41.7 / 45.7) Recirculation system | 3.4 | K6 | 205000
29 | (212000K3.02) Knowledge of the effect that a loss or malfunction of the (SF7 RPS) REACTOR PROTECTION SYSTEM will have on the following systems or system parameters: (CFR: 41.7 / 45.4) PCIS/NSSSS | 3.9 | K3 | 212000
30 | (211000A3.09) Ability to monitor automatic operation of the (SF1 SLCS) STANDBY LIQUID CONTROL SYSTEM including: (CFR: 41.7 / 45.7) Pump trip | 3.8 | A3 | 211000
31 | (262001A1.07) Ability to predict and/or monitor changes in parameters associated with operation of the (SF6 AC) AC ELECTRICAL DISTRIBUTION including: (CFR: 41.5 / 45.5) System frequency | 3.2 | A1 | 262001
32 | (215004K2.01) (SF7 SRMS) SOURCE RANGE MONITOR SYSTEM Knowledge of electrical power supplies to the following: (CFR: 41.7) SRMS channels/detectors | 3.3 | K2 | 215004
33 | (217000K1.14) Knowledge of the physical connections and/or cause and effect relationships between the (SF2, SF4 RCIC) REACTOR CORE ISOLATION COOLING SYSTEM (BWR 3, 4, 5, 6) and the following systems: (CFR: 41.2 to 41.9 / 45.7 / 45.8) Primary containment isolation system | 3.9 | K1 | 217000
34 | (510000A4.02) Ability to manually operate and/or monitor the (SF4 SWS*) SERVICE WATER SYSTEM in the control room: (CFR: 41.7 / 45.5 to 45.8) Valve operations | 3.6 | A4 | 510000
35 | (261000K5.01) Knowledge of the operational implications or cause and effect relationships of the following concepts as they apply to the (SF9 SGTS) STANDBY GAS TREATMENT SYSTEM : (CFR: 41.5 / 45.3) Heat removal mechanisms | 3 | K5 | 261000
36 | (203000) (SF2, SF4 RHR/LPCI) RHR/LPCI: INJECTION MODE (G2.1.28) CONDUCT OF OPERATIONS Knowledge of the purpose and function of major system components and controls (CFR: 41.7) | 4.1 | G | 203000
37 | (264000K4.08) Knowledge of (SF6 EGE) EMERGENCY GENERATORS (DIESEL/JET) design features and/or interlocks that provide for the following: (CFR: 41.7) Automatic startup | 4.2 | K4 | 264000
38 | (259002A2.02) Ability to (a) predict the impacts of the following on the (SF2 RWLCS) REACTOR WATER LEVEL CONTROL SYSTEM and (b) based on those predictions, use procedures to correct, control, or mitigate the consequences of those abnormal operations: (CFR: 41.5 / 43.5 / 45.6) Loss of any number of reactor feedwater flow inputs | 3.8 | A2 | 259002
39 | (263000K6.03) Knowledge of the effect of the following plant conditions, system malfunctions, or component malfunctions on the (SF6 DC) DC ELECTRICAL DISTRIBUTION: (CFR: 41.7 / 45.7) Grounds | 3 | K6 | 263000
40 | (218000K3.02) Knowledge of the effect that a loss or malfunction of the (SF3 ADS) AUTOMATIC DEPRESSURIZATION SYSTEM will have on the following systems or system parameters: (CFR: 41.7 / 45.4) Reactor pressure | 4.3 | K3 | 218000
41 | (215003A3.01) Ability to monitor automatic operation of the (SF7 IRM) INTERMEDIATE RANGE MONITOR SYSTEM including: (CFR: 41.7 / 45.7) Meters and recorders | 3.6 | A3 | 215003
42 | (209001A1.01) Ability to predict and/or monitor changes in parameters associated with operation of the (SF2, SF4 LPCS) LOW PRESSURE CORE SPRAY SYSTEM including: (CFR: 41.5 / 45.5) Core spray flow | 4.1 | A1 | 209001
43 | (262002K2.01) (SF6 UPS) UNINTERRUPTABLE POWER SUPPLY (AC/DC) Knowledge of electrical power supplies to the following: (CFR: 41.7) Static switch/inverter | 3.3 | K2 | 262002
44 | (223002K1.13) Knowledge of the physical connections and/or cause and effect relationships between the (SF5 PCIS) PRIMARY CONTAINMENT ISOLATION SYSTEM / NUCLEAR STEAM SUPPLY SHUTOFF and the following systems: (CFR: 41.2 to 41.9 / 45.7 / 45.8) Traversing in-core probe system | 3.1 | K1 | 223002
45 | (300000A4.03) Ability to manually operate and/or monitor the (SF8 IA) INSTRUMENT AIR SYSTEM in the control room: (CFR: 41.8 / 45.5 to 45.8) Manual isolations | 3.2 | A4 | 300000
46 | (215005K5.01) Knowledge of the operational implications or cause and effect relationships of the following concepts as they apply to the (SF7 PRMS) AVERAGE POWER RANGE MONITOR/LOCAL POWER RANGE MONITOR: (CFR: 41.5 / 45.3) LPRM detector operation | 3.5 | K5 | 215005
47 | (239002) (SF3 SRV) SAFETY RELIEF VALVES (291004K1.06) PUMPS (CFR: 41.3) (CENTRIFUGAL) Need for net positive suction head (NPSH); effects of loss of suction | 3.3 | C | 239002
48 | (400000K4.06) Knowledge of (SF8 CCS) COMPONENT COOLING WATER SYSTEM design features and/or interlocks that provide for the following: (CFR: 41.7) System protection due to reactor coolant system in‑leakage | 3.2 | K4 | 400000
49 | (209002A2.01) Ability to (a) predict the impacts of the following on the (SF2, SF4 HPCS) HIGH PRESSURE CORE SPRAY SYSTEM and (b) based on those predictions, use procedures to correct, control, or mitigate the consequences of those abnormal operations: (CFR: 41.5 / 43.5 / 45.6) Automatic system initiation | 4.5 | A2 | 209002
50 | (205000K6.02) Knowledge of the effect of the following plant conditions, system malfunctions, or component malfunctions on the (SF4 SCS) SHUTDOWN COOLING SYSTEM (RHR SHUTDOWN COOLING MODE): (CFR: 41.7 / 45.7) DC electrical distribution | 3.5 | K6 | 205000
51 | (212000K3.07) Knowledge of the effect that a loss or malfunction of the (SF7 RPS) REACTOR PROTECTION SYSTEM will have on the following systems or system parameters: (CFR: 41.7 / 45.4) Reactor power | 4.1 | K3 | 212000
52 | (211000A3.06) Ability to monitor automatic operation of the (SF1 SLCS) STANDBY LIQUID CONTROL SYSTEM including: (CFR: 41.7 / 45.7) RWCU system isolation | 4.1 | A3 | 211000
53 | (239001) (SF3, SF4 MRSS) MAIN AND REHEAT STEAM SYSTEM (G2.1.36) CONDUCT OF OPERATIONS Knowledge of procedures and limitations involved in core alterations (CFR: 41.10 / 43.6 / 45.7) | 3 | G | 239001
54 | (202001K4.02) Knowledge of (SF1, SF4 RS) RECIRCULATION SYSTEM design features and/or interlocks that provide for the following: (CFR: 41.7) Adequate recirculation pump NPSH | 3.8 | K4 | 202001
55 | (204000A2.05) Ability to (a) predict the impacts of the following on the (SF2 RWCU) REACTOR WATER CLEANUP SYSTEM and (b) based on those predictions, use procedures to correct, control, or mitigate the consequences of those abnormal operations: (CFR: 41.5 / 43.5 / 45.6) Abnormal valve position | 3.2 | A2 | 204000
56 | (226001K6.08) Knowledge of the effect of the following plant conditions, system malfunctions, or component malfunctions on the (SF5 RHR CSS) RHR/LPCI: CONTAINMENT SPRAY MODE SYSTEM MODE : (CFR: 41.7 / 45.7) Nuclear boiler instrumentation | 3.4 | K6 | 226001
57 | (201001K3.03) Knowledge of the effect that a loss or malfunction of the (SF1 CRDH) CRD HYDRAULIC SYSTEM will have on the following systems or system parameters: (CFR: 41.5-7 / 45.1-3 / 45.5-6 / 45.8 / 45.10 / 45.12) Control rod drive mechanisms | 3.7 | K3 | 201001
58 | (259001A3.07) Ability to monitor automatic operation of the (SF2 FWS) FEEDWATER SYSTEM including: (CFR: 41.7 / 45.7) FWRV position | 3.8 | A3 | 259001
59 | (239003A1.03) Ability to predict and/or monitor changes in parameters associated with operation of the (SF9 MSVLCS) MAIN STEAM ISOLATION VALVE LEAKAGE CONTROL SYSTEM (BWR 4, 5, 6) including: (CFR: 41.5 / 45.5) Dilution air flow | 2.8 | A1 | 239003
60 | (290003K2.02) (SF9 CRV) CONTROL ROOM VENTILATION Knowledge of electrical power supplies to the following: (CFR: 41.7) Chiller units | 3.1 | K2 | 290003
61 | (272000K1.03) Knowledge of the physical connections and/or cause and effect relationships between the (SF7, SF9 RMS) RADIATION MONITORING SYSTEM and the following systems: (CFR: 41.2 to 41.9 / 45.7 / 45.8) Stack gas | 3.7 | K1 | 272000
62 | (290001A4.01) Ability to manually operate and/or monitor the (SF5 SC) SECONDARY CONTAINMENT in the control room: (CFR: 41.7 / 45.5 to 45.8) Reactor building differential pressure | 3.9 | A4 | 290001
63 | (245000K5.08) Knowledge of the operational implications or cause and effect relationships of the following concepts as they apply to the (SF4 MTGEN) MAIN TURBINE GENERATOR AND AUXILIARY SYSTEMS: (CFR: 41.5 / 45.3) Generator cooling | 3.1 | K5 | 245000
64 | (G2.1.39) CONDUCT OF OPERATIONS Knowledge of conservative decision-making practices (CFR: 41.10 / 43.5 / 45.12) | 3.6 | G2.1 | G2.1
65 | (G2.1.19) CONDUCT OF OPERATIONS Ability to use available indications to evaluate system or component status (CFR: 41.10 / 45.12) | 3.9 | G2.1 | G2.1
66 | (G2.2.21) EQUIPMENT CONTROL Knowledge of pre- and post-maintenance operability requirements (CFR: 41.10 / 43.2) | 2.9 | G2.2 | G2.2
67 | (G2.2.17) EQUIPMENT CONTROL Knowledge of the process for managing maintenance activities during power operations, such as risk assessments, work prioritization, and coordination with the transmission system operator (CFR: 41.10 / 43.5 / 45.13) | 2.6 | G2.2 | G2.2
68 | (G2.3.12) RADIATION CONTROL Knowledge of radiological safety principles and procedures pertaining to licensed operator duties, such as response to radiation monitor alarms, containment entry requirements, fuel handling responsibilities, access to locked high-radiation areas, or alignment of filters (CFR: 41.12 / 43.4 / 45.9 / 45.10) | 3.2 | G2.3 | G2.3
69 | (G2.4.5) EMERGENCY PROCEDURES / PLAN Knowledge of the organization of the operating procedures network for normal, abnormal, and emergency evolutions (CFR: 41.10 / 43.5 / 45.13) | 3.7 | G2.4 | G2.4
70 | (292001K1.03) NEUTRONS (CFR: 41.1) Define thermal neutrons | 2.7 | R | 292001
71 | (292006K1.13) FISSION PRODUCT POISONS (CFR: 41.1) Plot the curve and explain the reasoning for the reactivity insertion by Xenon-135 versus time for the following: --Reactor shutdown | 2.6 | R | 292006
72 | (292002K1.11) NEUTRON LIFE CYCLE (CFR: 41.1) Define reactivity | 3.3 | R | 292002
73 | (293003K1.07) STEAM (CFR: 41.14) Define the following term: Saturated liquid | 2.8 | T | 293003
74 | (293007K1.10) HEAT TRANSFER (CFR: 41.14) (CORE THERMAL POWER) Define core thermal power | 2.9 | T | 293007
75 | (293005K1.06) THERMODYNAMIC CYCLES (CFR: 41.14) Describe how changes in system parameters affect thermodynamic efficiency | 2.6 | T | 293005
76 | (295024EA2.01) Ability to determine and/or interpret the following as they apply to (EPE 1) HIGH DRYWELL PRESSURE: (CFR: 41.10 / 43.5 / 45.13) Drywell pressure | 4.4 | A2 | 295024
77 | (295021) (APE 21) LOSS OF SHUTDOWN COOLING (G2.4.19) EMERGENCY PROCEDURES / PLAN Knowledge of emergency and abnormal operating procedures layout, symbols, and icons (CFR: 41.10 / 45.13) | 4.1 | G | 295021
78 | (295003AA2.03) Ability to determine and/or interpret the following as they apply to (APE 3) PARTIAL OR COMPLETE LOSS OF AC POWER: (CFR: 41.10 / 43.5 / 45.13) Battery status | 3.9 | A2 | 295003
79 | (700000) (APE 25) GENERATOR VOLTAGE AND ELECTRIC GRID DISTURBANCES (G2.2.18) EQUIPMENT CONTROL Knowledge of the process for managing maintenance activities during shutdown operations, such as risk assessments and work prioritization (CFR: 41.10 / 43.5 / 45.13) | 3.9 | G | 700000
80 | (295037EA2.03) Ability to determine and/or interpret the following as they apply to (EPE 14) SCRAM CONDITION PRESENT AND REACTOR POWER ABOVE APRM DOWNSCALE OR UNKNOWN: (CFR: 41.10 / 43.5 / 45.13) Standby liquid control system tank level | 4.1 | A2 | 295037
81 | (295001) (APE 1) PARTIAL OR COMPLETE LOSS OF FORCED CORE FLOW CIRCULATION (G2.1.43) CONDUCT OF OPERATIONS Ability to use an online power distribution monitoring system and/or procedures to determine the effects on reactivity of plant changes, such as RCS temperature, secondary plant, or fuel depletion (CFR: 41.10 / 43.6 / 45.6) | 4.3 | G | 295001
82 | (295016AA2.04) Ability to determine and/or interpret the following as they apply to (APE 16) CONTROL ROOM ABANDONMENT: (CFR: 41.10 / 43.5 / 45.13) Suppression pool temperature | 3.8 | A2 | 295016
83 | (295010AA2.03) Ability to determine and/or interpret the following as they apply to (APE 10) HIGH DRYWELL PRESSURE: (CFR: 41.10 / 43.5 / 45.13) Drywell radiation levels | 3.6 | A2 | 295010
84 | (295020) (APE 20) INADVERTENT CONTAINMENT ISOLATION (G2.1.4) CONDUCT OF OPERATIONS Knowledge of individual licensed operator responsibilities related to shift staffing, such as medical requirements, “no-solo” operation, maintenance of active license status, 10 CFR Part 55 (CFR: 41.10 / 43.2) | 3.8 | G | 295020
85 | (295017AA2.02) Ability to determine and/or interpret the following as they apply to (APE 17) ABNORMAL OFFSITE RELEASE RATE: (CFR: 41.10 / 43.5 / 45.13) Total number of curies released or release rate/duration | 3.3 | A2 | 295017
86 | (262001A2.05) Ability to (a) predict the impacts of the following on the (SF6 AC) AC ELECTRICAL DISTRIBUTION and (b) based on those predictions, use procedures to correct, control, or mitigate the consequences of those abnormal operations: (CFR: 41.5 / 43.5 / 45.6) Bus grounds /faults | 3.6 | A2 | 262001
87 | (215004) (SF7 SRMS) SOURCE RANGE MONITOR SYSTEM (G2.1.30) CONDUCT OF OPERATIONS Ability to locate and operate components, including local controls (CFR: 41.7 / 45.7) | 4 | G | 215004
88 | (217000A2.05) Ability to (a) predict the impacts of the following on the (SF2, SF4 RCIC) REACTOR CORE ISOLATION COOLING SYSTEM (BWR 3, 4, 5, 6) and (b) based on those predictions, use procedures to correct, control, or mitigate the consequences of those abnormal operations: (CFR: 41.5 / 43.5 / 45.6) DC power loss | 3.9 | A2 | 217000
89 | (510000) (SF4 SWS*) SERVICE WATER SYSTEM (G2.1.21) CONDUCT OF OPERATIONS Ability to verify that a copy of a controlled procedure is the proper revision (CFR: 41.10 / 45.10 / 45.13) | 3.6 | G | 510000
90 | (261000A2.10) Ability to (a) predict the impacts of the following on the (SF9 SGTS) STANDBY GAS TREATMENT SYSTEM and (b) based on those predictions, use procedures to correct, control, or mitigate the consequences of those abnormal operations: (CFR: 41.5 / 43.5 / 45.6) Low reactor water level | 3.4 | A2 | 261000
91 | (290002) (SF4 RVI) REACTOR VESSEL INTERNALS (G2.2.41) EQUIPMENT CONTROL Ability to obtain and interpret station electrical and mechanical drawings (reference potential) (CFR: 41.10 / 45.12 / 45.13) | 3.9 | G | 290002
92 | (223001A2.03) Ability to (a) predict the impacts of the following on the (SF5 PCS) PRIMARY CONTAINMENT SYSTEM AND AUXILIARIES and (b) based on those predictions, use procedures to correct, control, or mitigate the consequences of those abnormal operations: (CFR: 41.5 / 45.6) Safety/relief valve leaking or stuck-open | 4 | A2 | 223001
93 | (233000) (SF9 FPCCU) FUEL POOL COOLING/CLEANUP (G2.4.21) EMERGENCY PROCEDURES / PLAN Knowledge of the parameters and logic used to assess the status of emergency operating procedures critical safety functions or shutdown critical safety functions (CFR: 41.7 / 43.5 / 45.12) | 4.6 | G | 233000
94 | (G2.1.7) CONDUCT OF OPERATIONS Ability to evaluate plant performance and make operational judgments based on operating characteristics, reactor behavior, and instrument interpretation (CFR: 41.5 / 43.5 / 45.12 / 45.13) | 4.7 | G2.1 | G2.1
95 | (G2.1.15) CONDUCT OF OPERATIONS Knowledge of administrative requirements for temporary management direction, such as standing orders, night orders, or operations memoranda (CFR: 41.10 / 45.12) | 3.4 | G2.1 | G2.1
96 | (G2.2.35) EQUIPMENT CONTROL Ability to determine technical specification mode of operation (CFR: 41.7 / 41.10 / 43.2 / 45.13) | 4.5 | G2.2 | G2.2
97 | (G2.2.15) EQUIPMENT CONTROL Ability to determine the expected plant configuration using design and configuration control documentation, such as drawings, lineups or, tagouts (reference potential) (CFR: 41.10 / 43.3 / 45.13) | 4.3 | G2.2 | G2.2
98 | (G2.3.6) RADIATION CONTROL Ability to approve liquid or gaseous release permits (CFR: 41.13 / 43.4 / 45.10) | 3.8 | G2.3 | G2.3
99 | (G2.4.28) EMERGENCY PROCEDURES / PLAN Knowledge of procedures relating to a security event (ensure that the test item includes no safeguards information) (CFR: 41.10 / 43.5 / 45.13) | 4.1 | G2.4 | G2.4
100 | (G2.4.23) EMERGENCY PROCEDURES / PLAN Knowledge of the bases for prioritizing emergency operating procedures implementation (CFR: 41.10 / 43.5 / 45.13) | 4.4 | G2.4 | G2.4