## Sheet1
Question Number | Topic Title | Topic Importance | K/A Category | System
1 | (WE12EK2.07) Knowledge of the relationship between (W E12) UNCONTROLLED DEPRESSURIZATION OF ALL STEAM GENERATORS and the following systems or components (CFR: 41.7 / 41.8 / 45.2 / 45.4): ITM | 3.7 | K2 | 395012
2 | (056AK1.05) Knowledge of the operational implications and/or cause and effect relationships of the following concepts as they apply to (APE 56) Loss of Offsite Power (CFR: 41.8 / 41.10 / 45.3): Load shedding/sequencer | 3.9 | K1 | 395015
3 | (025AA1.29) Ability to operate and/or monitor the following as they apply to (APE 25) LOSS OF RESIDUAL Heat Removal System (CFR: 41.7 / 45.5 / 45.6): CVCS | 3.6 | A1 | 395007
4 | (395016) 000057 (APE 57) Loss of Vital AC Instrument Bus (G2.2.2) EQUIPMENT CONTROL: Ability to manipulate the console controls as required to operate the facility between shutdown and designated power levels (CFR: 41.6 / 41.7 / 45.2) | 4.6 | G | 395016
5 | (BE02EA2.15) Ability to determine and/or interpret the following as they apply to (BW E02) VITAL SYSTEM STATUS VERIFICATION (CFR: 41.10 / 43.5 / 45.13): PZR steam space integrity | 4 | A2 | 395001
6 | (029EK3.08) Knowledge of the reasons for the following responses and/or actions as they apply to (EPE 29) ANTICIPATED TRANSIENT WITHOUT SCRAM (ATWS) (CFR: 41.5 / 41.10 / 45.6 / 45.13): Closing the MSIVs | 3.7 | K3 | 395010
7 | (WE05EK2.03) Knowledge of the relationship between (W E05) Loss of Secondary Heat Sink and the following systems or components (CFR: 41.7 / 41.8 / 45.2 / 45.4): AC electrical distribution system | 3.5 | K2 | 395023
8 | (026AK1.05) Knowledge of the operational implications and/or cause and effect relationships of the following concepts as they apply to (APE 26) LOSS OF Component Cooling Water (CFR: 41.5 / 41.7 / 45.7 / 45.8): Loss of CCWS to RHR | 3.8 | K1 | 395008
9 | (062AA1.01) Ability to operate and/or monitor the following as they apply to (APE 62) LOSS OF SERVICE WATER (CFR: 41.7 / 45.5 / 45.6): Service water temperature indications | 3.4 | A1 | 395018
10 | (395002) 000008 (APE 8) Pressurizer Vapor Space Accident (G2.1.17) CONDUCT OF OPERATIONS: Ability to make accurate, clear, and concise verbal reports (CFR: 41.10 / 45.12 / 45.13) | 3.9 | G | 395002
11 | (011EA2.10) Ability to determine and/or interpret the following as they apply to (EPE 11) LARGE-Break LOCA (CFR: 43.5 / 45.13): Adequate core cooling | 4.6 | A2 | 395004
12 | (022AK3.07) Knowledge of the reasons for the following responses and/or actions as they apply to (APE 22) LOSS OF REACTOR Coolant Makeup (CFR: 41.5 / 41.10 / 45.6 / 45.13): Isolating charging | 3.4 | K3 | 395006
13 | (058AK2.03) Knowledge of the relationship between (APE 58) LOSS OF DC Power and the following systems or components (CFR: 41.7 / 45.7): Battery | 3.7 | K2 | 395017
14 | (CE06EK1.11) Knowledge of the operational implications and/or cause and effect relationships of the following concepts as they apply to (CE E06) LOSS OF FEEDWATER (CFR: 41.5 / 41.7 / 45.7 to 45.9): Consequences of exceeding the TS cooldown rate | 3.4 | K1 | 395013
15 | (027AA1.01) Ability to operate and/or monitor the following as they apply to (APE 27) PRESSURIZER PRESSURE Control System Malfunction (CFR: 41.7 / 45.5 / 45.6): PZR heaters, sprays, and PORVs | 3.8 | A1 | 395009
16 | (395019) 000065 (APE 65) Loss of Instrument Air (G2.4.47) EMERGENCY PROCEDURES/PLAN: Ability to diagnose and recognize trends in an accurate and timely manner using the appropriate control room reference material (reference potential) (CFR: 41.10 / 43.5 / 45.12) | 4.2 | G | 395019
17 | (077AA2.10) Ability to determine and/or interpret the following as they apply to (APE 77) GENERATOR VOLTAGE AND ELECTRIC Grid Disturbances (CFR: 41.5 / 43.5 / 45.5 / 45.7 / 45.8): Generator overheating | 3.7 | A2 | 395020
18 | (WE11EK3.09) Knowledge of the reasons for the following responses and/or actions as they apply to (W E11) LOSS OF EMERGENCY Coolant Recirculation (CFR: 41.5 / 41.10 / 45.6 / 45.13): Initiating RCS cooldown to cold shutdown | 3.6 | K3 | 395022
19 | (WE03EK2.12) Knowledge of the relationship between (W E03) LOCA COOLDOWN AND Depressurization and the following systems or components (CFR: 41.7 / 41.8 / 45.2 / 45.4): RCS | 3.6 | K2 | 395053
20 | (003AK1.19) Knowledge of the operational implications and/or cause and effect relationships of the following concepts as they apply to (APE 3) DROPPED Control Rod (CFR: 41.8 / 41.10 / 45.3): Rod worth | 3.2 | K1 | 395025
21 | (WE15EA1.08) Ability to operate and/or monitor the following as they apply to (W E15) Containment Flooding (CFR: 41.5 to 41.8 / 45.5. to 45.8): RHRS | 3.5 | A1 | 395045
22 | (395036) 000061 (APE 61) Area Radiation Monitoring System Alarms (G2.4.17) EMERGENCY PROCEDURES/PLAN: Knowledge of emergency and abnormal operating procedures terms and definitions (CFR: 41.10 / 45.13) | 3.9 | G | 395036
23 | (005AA2.07) Ability to determine and/or interpret the following as they apply to (APE 5) INOPERABLE/STUCK Control Rod (CFR: 43.5 / 45.13): RPI | 3.7 | A2 | 395026
24 | (036AK3.07) Knowledge of the reasons for the following responses and/or actions as they apply to (APE 36) FUEL HANDLING INCIDENTS (CFR: 41.10 / 45.6 / 45.13): Refueling water level | 3.6 | K3 | 395031
25 | (059AK2.03) Knowledge of the relationship between (APE 59) ACCIDENTAL LIQUID Radwaste Release and the following systems or components (CFR: 41.7 / 45.7): Liquid radwaste release isolation and/or flow control valves | 3.6 | K2 | 395034
26 | (BE09EK1.08) Knowledge of the operational implications and/or cause and effect relationships of the following concepts as they apply to (BW E09) NATURAL CIRCULATION COOLDOWN (CFR: 41.5 / 41.7 / 45.7 / 45.8): Adequate SCM | 4 | K1 | 395054
27 | (012A1.01) Ability to predict and/or monitor changes in parameters associated with operation of the (SF7 RPS) REACTOR PROTECTION SYSTEM, including (CFR: 41.5 / 45.5): Trip setpoint adjustment | 3.5 | A1 | 400012
28 | (013K1.01) Knowledge of the physical connections and/or cause and effect relationships between the (SF2 ESFAS) ENGINEERED SAFETY FEATURES ACTUATION SYSTEM and the following systems (CFR: 41.2 to 41.9 / 45.7 / 45.8): ESF initiation signals | 4.5 | K1 | 400013
29 | (400063) 063 (SF6 ED DC) DC ELECTRICAL DISTRIBUTION SYSTEM (G2.2.18) EQUIPMENT CONTROL: Knowledge of the process for managing maintenance activities during shutdown operations, such as risk assessments and work prioritization (CFR: 41.10 / 43.5 / 45.13) | 2.6 | G | 400063
30 | (007K6.11) Knowledge of the effect of the following plant conditions, system malfunctions, or component malfunctions on the (SF5 PRTS) PRESSURIZER RELIEF/QUENCH TANK SYSTEM (CFR: 41.7 / 45.7): Leakage collection | 2.8 | K6 | 400007
31 | (078A2.03) Ability to (a) predict the impacts of the following on the (SF8 IAS) INSTRUMENT AIR SYSTEM and (b) based on those predictions, use procedures to correct, control, or mitigate the consequences of those abnormal operations (CFR: 41.5 / 43.5 / 45.3 / 45.13): Cooling water malfunction | 2.5 | A2 | 400078
32 | (003K3.02) Knowledge of the effect that a loss or malfunction of the (SF4P RCP) REACTOR COOLANT PUMP SYSTEM will have on the following systems or system parameters (CFR: 41.7 / 45.6): S/G | 3.9 | K3 | 400003
33 | (039K2.01) Knowledge of electrical power supplies to the following (CFR: 41.7): (SF4S MSS) MAIN AND REHEAT STEAM SYSTEM Safety‑related MRSS valves | 3.1 | K2 | 400039
34 | (061K5.06) Knowledge of the operational implications or cause and effect relationships of the following concepts as they apply to the (SF4S AFW) AUXILIARY/EMERGENCY FEEDWATER SYSTEM (CFR: 41.5 / 45.7): Natural circulation flow | 3.8 | K5 | 400061
35 | (004A3.09) Ability to monitor automatic features of the (SF1; SF2 CVCS) CHEMICAL AND VOLUME CONTROL SYSTEM, including (CFR: 41.7 / 45.5): VCT level | 3.7 | A3 | 400004
36 | (026K4.07) Knowledge of (SF5 CSS) CONTAINMENT SPRAY SYSTEM design features and/or interlocks that provide for the following (CFR: 41.7): Adequate level in containment sump for suction | 3.8 | K4 | 400026
37 | (006A4.10) Ability to manually operate and/or monitor the (SF2; SF3 ECCS) EMERGENCY CORE COOLING SYSTEM in the control room (CFR: 41.7 / 45.5 to 45.8): SPDSs | 3.6 | A4 | 400006
38 | (005A1.03) Ability to predict and/or monitor changes in parameters associated with operation of the (SF4P RHR) RESIDUAL HEAT REMOVAL SYSTEM, including (CFR: 41.5 / 45.5): CCWS flow rate and temperature | 3.3 | A1 | 400005
39 | (010K1.02) Knowledge of the physical connections and/or cause and effect relationships between the (SF3 PZR PCS) PRESSURIZER PRESSURE CONTROL SYSTEM and the following systems (CFR: 41.2 to 41.9 / 45.7 / 45.8): ESFAS | 4.3 | K1 | 400010
40 | (400064) 064 (SF6 EDG) EMERGENCY DIESEL GENERATOR SYSTEM (191008K1.10) BREAKERS, RELAYS, AND DISCONNECTS (CFR: 41.7): Function, control, and precautions associated with disconnects | 3.1 | C | 400064
41 | (059K6.19) Knowledge of the effect of the following plant conditions, system malfunctions, or component malfunctions on the (SF4S MFW) MAIN FEEDWATER SYSTEM (CFR: 41.7 / 45.7): MFW preheating malfunctions | 2.8 | K6 | 400059
42 | (073A2.01) Ability to (a) predict the impacts of the following on the (SF7 PRM) PROCESS RADIATION MONITORING SYSTEM and (b) based on those predictions, use procedures to correct, control, or mitigate the consequences of those abnormal operations (CFR: 41.5 / 43.5 / 45.3 / 45.13 / 8-9): PRM component failures | 3.9 | A2 | 400073
43 | (103K3.04) Knowledge of the effect that a loss or malfunction of the (SF5 CNT) CONTAINMENT SYSTEM will have on the following systems or system parameters (CFR: 41.7 / 45.6): Shield building vent system | 3 | K3 | 400103
44 | (076K2.07) Knowledge of electrical power supplies to the following: (SF4S SW) SERVICE WATER SYSTEM (CFR: 41.7) Cooling tower fans | 2.5 | K2 | 400076
45 | (022K5.01) Knowledge of the operational implications or cause and effect relationships of the following concepts as they apply to the (SF5 CCS) CONTAINMENT COOLING SYSTEM (CFR: 41.5 / 45.7): Postaccident pressure reduction | 2.8 | K5 | 400022
46 | (008A3.05) Ability to monitor automatic features of the (SF8 CCW) COMPONENT COOLING WATER SYSTEM, including (CFR: 41.7 / 45.5): Automatic isolation valves in the CCWS | 3.6 | A3 | 400008
47 | (062K4.05) Knowledge of (SF6 ED AC) AC ELECTRICAL DISTRIBUTION SYSTEM design features and/or interlocks that provide for the following (CFR: 41.7): Paralleling of AC sources (synchroscope) | 3.6 | K4 | 400062
48 | (012A4.06) Ability to manually operate and/or monitor the (SF7 RPS) REACTOR PROTECTION SYSTEM in the control room (CFR: 41.7 / 45.5 to 45.8): Reactor trip breakers | 4.2 | A4 | 400012
49 | (013A1.14) Ability to predict and/or monitor changes in parameters associated with operation of the (SF2 ESFAS) ENGINEERED SAFETY FEATURES ACTUATION SYSTEM, including (CFR: 41.3 to 41.7 / 45.5): EDG | 3.8 | A1 | 400013
50 | (063K1.05) Knowledge of the physical connections and/or cause and effect relationships between the (SF6 ED DC) DC ELECTRICAL DISTRIBUTION SYSTEM and the following systems (CFR: 41.3 to 41.8 / 45.7 / 45.8): EDG | 4.4 | K1 | 400063
51 | (400007) 007 (SF5 PRTS) PRESSURIZER RELIEF/QUENCH TANK SYSTEM (G2.2.44) EQUIPMENT CONTROL: Ability to interpret control room indications to verify the status and operation of a system and understand how operator actions and directives affect plant and system conditions (CFR: 41.5 / 43.5 / 45.12) | 4.2 | G | 400007
52 | (078K6.09) Knowledge of the effect of the following plant conditions, system malfunctions, or component malfunctions on the (SF8 IAS) INSTRUMENT AIR SYSTEM (CFR: 41.7 / 45.7): Controllers and positioners | 2.9 | K6 | 400078
53 | (003A2.05) Ability to (a) predict the impacts of the following on the (SF4P RCP) REACTOR COOLANT PUMP SYSTEM and (b) based on those predictions, use procedures to correct, control, or mitigate the consequences of those abnormal operations (CFR: 41.5 / 43.5 / 45.3 / 45.13): Effects of VCT pressure on RCP seal leakoff flows | 3.1 | A2 | 400003
54 | (039K3.04) Knowledge of the effect that a loss or malfunction of the (SF4S MSS) MAIN AND REHEAT STEAM SYSTEM will have on the following systems or system parameters (CFR: 41.7 / 45.6): MFW system | 3.4 | K3 | 400039
55 | (028A1.04) Ability to predict and/or monitor changes in parameters associated with operation of the (SF5 HRPS) HYDROGEN RECOMBINER AND PURGE CONTROL SYSTEM, including (CFR: 41.5 / 45.5): Lights and alarms | 2.8 | A1 | 400028
56 | (029K1.05) Knowledge of the physical connections and/or cause and effect relationships between the (SF8 CPS) CONTAINMENT PURGE SYSTEM and the following systems (CFR: 41.7 to 41.9 / 45.8): Containment air cleanup and recirculation system | 2.9 | K1 | 400029
57 | (400056) 056 (SF4S CDS) CONDENSATE SYSTEM (191002K1.10) SENSORS AND DETECTORS (CFR: 41.7): (PRESSURE) Theory and operation of pressure detectors (bourdon tubes, diaphragms, bellows, forced balance, variable capacitance, and D/P cell) | 2.5 | C | 400056
58 | (033K6.02) Knowledge of the effect of the following plant conditions, system malfunctions, or component malfunctions on the (SF8 SFPCS) SPENT FUEL POOL COOLING SYSTEM (CFR: 41.7 / 45.7): SFPCS heat exchanger | 3.5 | K6 | 400033
59 | (027K1.01) Knowledge of the physical connections and/or cause and effect relationships between the (SF5 CIRS) CONTAINMENT IODINE REMOVAL SYSTEM and the following systems (CFR: 41.7 to 41.9 / 45.7 / 45.8): CSS | 3.2 | A2 | 400027
60 | (001K3.02) Knowledge of the effect that a loss or malfunction of the (SF1 CRDS) CONTROL ROD DRIVE SYSTEM will have on the following systems or system parameters (CFR: 41.6): RCS | 3.4 | K3 | 400001
61 | (055K1.04) Knowledge of the physical connections and/or cause and effect relationships between the (SF4S CARS) CONDENSER AIR REMOVAL SYSTEM and the following systems (CFR: 41.4 to 41.7 / 45.7 / 45.8): S/G | 2.8 | K2 | 400055
62 | (002K5.08) Knowledge of the operational implications or cause and effect relationships of the following concepts as they apply to the (SF2; SF4P RCS) REACTOR COOLANT SYSTEM (CFR: 41.5 / 45.7): The reason why the PZR level should be kept within the programmed band | 3.5 | K5 | 400002
63 | (017K3.03) Knowledge of the effect that a loss or malfunction of the (SF7 ITM) IN CORE TEMPERATURE MONITOR SYSTEM will have on the following systems or system parameters (CFR: 41.7 / 45.6): SPDS | 3.6 | A3 | 400017
64 | (G2.1.2) CONDUCT OF OPERATIONS: Knowledge of operator responsibilities during any mode of plant operation (CFR: 41.10 / 43.1 / 45.13) | 4.1 | G2.1 | G2.1
65 | (G2.1.5) CONDUCT OF OPERATIONS: Ability to use procedures related to shift staffing, such as minimum crew complement or overtime limitations (reference potential) (CFR: 41.10 / 43.5 / 45.12) | 2.9 | G2.1 | G2.1
66 | (G2.2.21) EQUIPMENT CONTROL: Knowledge of pre- and post-maintenance operability requirements (CFR: 41.10 / 43.2) | 2.9 | G2.2 | G2.2
67 | (G2.2.13) EQUIPMENT CONTROL: Knowledge of tagging and clearance procedures (CFR: 41.10 / 43.1 / 45.13) | 4.1 | G2.2 | G2.2
68 | (G2.3.5) RADIATION CONTROL: Ability to use RMSs, such as fixed radiation monitors and alarms or personnel monitoring equipment (CFR: 41.11 / 41.12 / 43.4 / 45.9) | 2.9 | G2.3 | G2.3
69 | (G2.4.6) EMERGENCY PROCEDURES/PLAN: Knowledge of emergency and abnormal operating procedures major action categories (CFR: 41.10 / 43.5 / 45.13) | 3.7 | G2.4 | G2.4
70 | (192004K1.10) REACTIVITY COEFFICIENTS (CFR: 41.1): Describe the effects on fuel temperature (Doppler) coefficient of reactivity for changes in the following: -- moderator temperature | 2.9 | R | 192004
71 | (192003K1.05) REACTOR KINETICS AND NEUTRON SOURCES (CFR: 41.1): Define the startup rate | 2.8 | R | 192003
72 | (192007K1.01) FUEL DEPLETION AND BURNABLE POISONS (CFR: 41.1): Define burnable poison and state its use in the reactor | 2.5 | R | 192007
73 | (193003K1.12) STEAM (CFR: 41.14): Define the following term: -- moisture content | 2.8 | T | 193003
74 | (193008K1.25) THERMAL HYDRAULICS (CFR: 41.14): (NATURAL CIRCULATION) Describe how gas binding affects natural circulation | 3.4 | T | 193008
75 | (193005K1.03) THERMODYNAMIC CYCLES (CFR: 41.14): Describe how changes in system parameters affect thermodynamic efficiency | 2.6 | T | 193005
76 | (395003) 000009 (EPE 9) Small Break LOCA (G2.3.14) RADIATION CONTROL: Knowledge of radiation or contamination hazards that may arise during normal, abnormal, or emergency conditions or activities, such as analysis and interpretation of radiation and activity readings as they pertain to administrative, normal, abnormal, and emergency procedures or to analysis and interpretation of coolant activity, including comparison to emergency plan or regulatory limits (SRO Only) (CFR: 43.4 / 45.10) | 3.8 | G | 395003
77 | (015AA2.07) Ability to determine and/or interpret the following as they apply to (APE 15) REACTOR COOLANT Pump Malfunctions (CFR: 43.5 / 45.13): Expected values of flow or temperature in the RCS and/or loop with the RCP secured | 3.2 | A2 | 395005
78 | (395014) 000055 (EPE 55) Station Blackout (G2.2.3) EQUIPMENT CONTROL: (Multi-unit license) Knowledge of the design, procedural, and/or operational differences between units (CFR: 41.5 / 41.6 / 41.7 / 41.10 / 45.12) | 3.9 | G | 395014
79 | (WE04EA2.03) Ability to determine and/or interpret the following as they apply to (W E04) LOCA Outside Containment (CFR: 41.10 / 43.5 / 45.13): RCS pressure | 3.8 | A2 | 395021
80 | (395011) 000038 (EPE 38) Steam Generator Tube Rupture (G2.4.49) EMERGENCY PROCEDURES/PLAN: Ability to perform without reference to procedures those actions that require immediate operation of system components and controls (CFR: 41.10 / 43.2 / 45.6) | 4.4 | G | 395011
81 | (WE12EA2.03) Ability to determine and/or interpret the following as they apply to (W E12) UNCONTROLLED DEPRESSURIZATION OF ALL STEAM GENERATORS (CFR: 41.10 / 43.5 / 45.13): SDM | 3.8 | A2 | 395012
82 | (395044) (W E13) Steam Generator Overpressure (G2.4.26) EMERGENCY PROCEDURES/PLAN: Knowledge of facility protection requirements, including fire brigade and portable firefighting equipment usage (CFR: 41.10 / 43.5 / 45.12) | 3.6 | G | 395044
83 | (069AA2.02) Ability to determine and/or interpret the following as they apply to (APE 69) LOSS OF Containment Integrity (CFR: 43.5 / 45.13): Verification of automatic and/or manual means of restoring integrity | 4 | A2 | 395039
84 | (395035) 000060 (APE 60) Accidental Gaseous Radwaste Release (G2.4.16) EMERGENCY PROCEDURES/PLAN: Knowledge of emergency and abnormal operating procedures implementation hierarchy and coordination with other support procedures or guidelines, such as operating procedures, abnormal operating procedures, or severe accident management guidelines (CFR: 41.10 / 43.5 / 45.13) | 4.4 | G | 395035
85 | (BA06AA2.10) Ability to determine and/or interpret the following as they apply to (BW A06) SHUTDOWN OUTSIDE CONTROL ROOM (CFR: 41.10 / 43.5 / 45.13): EDG (voltage, frequency, and/or loading) | 4.2 | A2 | 395038
86 | (400061) 061 (SF4S AFW) AUXILIARY / EMERGENCY FEEDWATER SYSTEM (G2.4.20) EMERGENCY PROCEDURES/PLAN: Knowledge of the operational implications of emergency and abnormal operating procedures warnings, cautions, and notes (CFR: 41.10 / 43.5 / 45.13) | 4.3 | G | 400061
87 | (004A2.16) Ability to (a) predict the impacts of the following on the (SF1; SF2 CVCS) CHEMICAL AND VOLUME CONTROL SYSTEM and (b) based on those predictions, use procedures to correct, control, or mitigate the consequences of those abnormal operations (CFR: 41.5 to 41.7 / 43.5 / 45.3 / 45.5): T-ave. and T-ref. deviations | 3.5 | A2 | 400004
88 | (400026) 026 (SF5 CSS) CONTAINMENT SPRAY SYSTEM (G2.2.25) EQUIPMENT CONTROL: Knowledge of the bases in TS for limiting conditions for operation and safety limits (SRO Only) (CFR: 43.2) | 4.2 | G | 400026
89 | (006A2.02) Ability to (a) predict the impacts of the following on the (SF2; SF3 ECCS) EMERGENCY CORE COOLING SYSTEM and (b) based on those predictions, use procedures to correct, control, or mitigate the consequences of those abnormal operations (CFR: 41.5 / 45.3 to 45.5): Loss of flowpath | 3.8 | A2 | 400006
90 | (400005) 005 (SF4P RHR) RESIDUAL HEAT REMOVAL SYSTEM (G2.1.7) CONDUCT OF OPERATIONS: Ability to evaluate plant performance and make operational judgments based on operating characteristics, reactor behavior, and instrument interpretation (CFR: 41.5 / 43.5 / 45.12 / 45.13) | 4.7 | G | 400005
91 | (035A2.02) Ability to (a) predict the impacts of the following on the (SF4P SG) STEAM GENERATOR SYSTEM and (b) based on those predictions, use procedures to correct, control, or mitigate the consequences of those abnormal operations (CFR: 41.5 / 43.5 / 45.3 / 45.5): Reactor trip/turbine trip | 4.2 | A2 | 400035
92 | (400045) 045 (SF4S MTG) MAIN TURBINE GENERATOR SYSTEM (G2.2.35) EQUIPMENT CONTROL: Ability to determine TS for mode of operation (CFR: 41.7 / 41.10 / 43.2 / 45.13) | 4.5 | G | 400045
93 | (015A2.01) Ability to (a) predict the impacts of the following on the (SF7 NI) NUCLEAR INSTRUMENTATION SYSTEM and (b) based on those predictions, use procedures to correct, control, or mitigate the consequences of those abnormal operations (CFR: 41.5 / 43.5 / 45.3 / 45.5): Power supply loss or erratic operation | 3.7 | A2 | 400015
94 | (G2.1.23) CONDUCT OF OPERATIONS: Ability to perform general and/or normal operating procedures during any plant condition (CFR: 41.10 / 43.5 / 45.2 / 45.6) | 4.4 | G2.1 | G2.1
95 | (G2.1.34) CONDUCT OF OPERATIONS: Knowledge of RCS or balance-of-plant chemistry controls, including parameters measured and reasons for the control (CFR: 41.10 / 43.5 / 45.12) | 3.5 | G2.1 | G2.1
96 | (G2.2.37) EQUIPMENT CONTROL: Ability to determine operability or availability of safety‑related equipment (SRO Only) (CFR: 43.2 / 43.5 / 45.12) | 4.6 | G2.2 | G2.2
97 | (G2.2.41) EQUIPMENT CONTROL: Ability to obtain and interpret station electrical and mechanical drawings (reference potential) (CFR: 41.10 / 45.12 / 45.13) | 3.9 | G2.2 | G2.2
98 | (G2.3.11) RADIATION CONTROL: Ability to control radiation releases (CFR: 41.11 / 43.4 / 45.10) | 4.3 | G2.3 | G2.3
99 | (G2.4.31) EMERGENCY PROCEDURES/PLAN: Knowledge of annunciator alarms, indications, or response procedures (CFR: 41.10 / 45.3) | 4.1 | G2.4 | G2.4
100 | (G2.4.52) EMERGENCY PROCEDURES/PLAN: Knowledge of the lines of authority during implementation of the emergency plan, emergency plan implementing procedures, emergency operating procedures, or severe accident guidelines (CFR: 41.10 / 45.13) | 4 | G2.4 | G2.4