## Sheet1
Question Number | Topic Title | Topic Importance | K/A Category | System
1 | (022AK2.12) Knowledge of the relationship between (APE 22) LOSS OF REACTOR Coolant Makeup and the following systems or components (CFR: 41.7 / 45.7): RWST | 3.3 | K2 | 395006
2 | (CE06EK1.05) Knowledge of the operational implications and/or cause and effect relationships of the following concepts as they apply to (CE E06) LOSS OF FEEDWATER (CFR: 41.5 / 41.7 / 45.7 to 45.9): Conserving S/G inventory | 4 | K1 | 395013
3 | (040AA2.07) Ability to determine and/or interpret the following as they apply to (APE 40) STEAM LINE RUPTURE (CFR: 41.10 / 43.5 / 45.13): Occurrence of an ATWS during a steamline rupture event | 3.1 | A2 | 395012
4 | (395003) 000009 (EPE 9) Small Break LOCA (G2.4.35) EMERGENCY PROCEDURES/PLAN: Knowledge of nonlicensed operator responsibilities during an emergency (CFR: 41.10 / 43.1 / 43.5 / 45.13) | 3.8 | G | 395003
5 | (026AA1.06) Ability to operate and/or monitor the following as they apply to (APE 26) LOSS OF Component Cooling Water (CFR: 41.5 / 41.7 / 45.5 to 45.8): Control of flow rates to components cooled by the CCWS | 3.1 | A1 | 395008
6 | (056AK3.02) Knowledge of the reasons for the following responses and/or actions as they apply to (APE 56) Loss of Offsite Power (CFR: 41.5 / 41.10 / 45.6 / 45.13): Actions contained in AOPs | 4.1 | K3 | 395015
7 | (077AK2.08) Knowledge of the relationship between (APE 77) GENERATOR VOLTAGE AND ELECTRIC Grid Disturbances and the following systems or components (CFR: 41.4 / 41.5 / 41.7 / 41.10 / 45.8): RCPs | 3.5 | K2 | 395020
8 | (WE04EK1.04) Knowledge of the operational implications and/or cause and effect relationships of the following concepts as they apply to (W E04) LOCA Outside Containment (CFR: 41.5 / 41.7 / 45.7 / 45.8): Component failures required to establish a LOCA outside containment | 3.8 | K1 | 395021
9 | (BE10EA2.10) Ability to determine and/or interpret the following as they apply to (BW E10) POST-TRIP STABILIZATION (CFR: 41.10 / 43.5 / 45.13): RCS temperature | 4.3 | A2 | 395001
10 | (395017) 000058 (APE 58) Loss of DC Power (G2.4.43) EMERGENCY PROCEDURES/PLAN: Knowledge of emergency communications systems and techniques (CFR: 41.10 / 43.5 / 45.13) | 3.2 | G | 395017
11 | (011EA1.18) Ability to operate and/or monitor the following as they apply to (EPE 11) LARGE-Break LOCA (CFR: 41.7 / 45.5 / 45.6): Service water pumps | 3.7 | A1 | 395004
12 | (062AK3.02) Knowledge of the reasons for the following responses and/or actions as they apply to (APE 62) LOSS OF SERVICE WATER (CFR: 41.4 / 41.8 / 45.7): The automatic actions (alignments) within the service water resulting from the actuation of the ESFAS | 3.9 | K3 | 395018
13 | (027AK2.10) Knowledge of the relationship between (APE 27) PRESSURIZER PRESSURE Control System Malfunction and the following systems or components (CFR: 41.7 / 45.7): PZR pressure transmitters | 3.7 | K2 | 395009
14 | (BE04EK1.05) Knowledge of the operational implications and/or cause and effect relationships of the following concepts as they apply to (BW E04) INADEQUATE HEAT TRANSFER (CFR: 41.5 / 41.7 / 45.7 / 45.8): Secondary pressure control | 4 | K1 | 395023
15 | (008AA2.05) Ability to determine and/or interpret the following as they apply to (APE 8) PRESSURIZER VAPOR Space Accident (CFR: 43.5 / 45.13): PORV block valve position | 3.5 | A2 | 395002
16 | (395014) 000055 (EPE 55) Station Blackout (G2.1.23) CONDUCT OF OPERATIONS: Ability to perform general and/or normal operating procedures during any plant condition (CFR: 41.10 / 43.5 / 45.2 / 45.6) | 4.3 | G | 395014
17 | (057AA1.04) Ability to operate and/or monitor the following as they apply to (APE 57) LOSS OF VITAL AC ELECTRICALINSTRUMENT BUS (CFR: 41.7 / 45.5 / 45.6): RWST and VCT valves | 3.8 | A1 | 395016
18 | (038EK3.14) Knowledge of the reasons for the following responses and/or actions as they apply to (EPE 38) STEAM GENERATOR Tube Rupture (CFR: 41.5 / 41.10 / 45.6 / 45.13): Restoring instrument air to containment | 3.1 | K3 | 395011
19 | (059AK2.06) Knowledge of the relationship between (APE 59) ACCIDENTAL LIQUID Radwaste Release and the following systems or components (CFR: 41.7 / 45.7): LRS | 3.1 | K2 | 395034
20 | (068AK1.02) Knowledge of the operational implications and/or cause and effect relationships of the following concepts as they apply to (APE 68) Control Room Evacuation (CFR: 41.8 / 41.10 / 45.3): Control room habitability | 4.1 | K1 | 395038
21 | (WE06EA2.08) Ability to determine and/or interpret the following as they apply to (W E06) DEGRADED CORE COOLING (CFR: 41.10 / 43.5 / 45.13): VCT pressure | 2.8 | A2 | 395040
22 | (395036) 000061 (APE 61) Area Radiation Monitoring System Alarms (G2.4.51) EMERGENCY PROCEDURES/PLAN: Knowledge of emergency operating procedure exit conditions (e.g., emergency condition no longer exists or severe accident guideline entry is required) (CFR: 41.10 / 43.5 /45.13) | 3 | G | 395036
23 | (WE14EA1.06) Ability to operate and/or monitor the following as they apply to (W E14) HIGH CONTAINMENT PRESSURE (CFR: 41.5 to 41.8 / 45.5 to 45.8): CSS | 4.2 | A1 | 395039
24 | (028AK3.02) Knowledge of the reasons for the following responses and/or actions as they apply to (APE 28) PRESSURIZER (PZR) Level Control Malfunction (CFR: 41.5 / 41.10 / 45.6 / 45.13): PZR pressure change from reactor charging/letdown imbalance | 3.2 | K3 | 395028
25 | (033AK2.03) Knowledge of the relationship between (APE 33) LOSS OF INTERMEDIATE RANGE Nuclear Instrumentation and the following systems or components (CFR: 41.7 / 45.7): RPS | 3.8 | K2 | 395030
26 | (037AK1.05) Knowledge of the operational implications and/or cause and effect relationships of the following concepts as they apply to (APE 37) STEAM Generator Tube Leak (CFR: 41.5 / 41.10 / 45.3): Cooldown rate and/or depressurization rate limits (reference potential) | 3.6 | K1 | 395032
27 | (400063) 063 (SF6 ED DC) DC ELECTRICAL DISTRIBUTION SYSTEM (G2.2.7) EQUIPMENT CONTROL: Knowledge of the process for conducting infrequently performed tests or evolutions (CFR: 41.10 / 43.3 / 45.13) | 2.9 | G | 400063
28 | (076A1.04) Ability to predict and/or monitor changes in parameters associated with operation of the (SF4S SW) SERVICE WATER SYSTEM, including (CFR: 41.5 / 45.5): SWS temperatures | 3.3 | A1 | 400076
29 | (007K4.06) Knowledge of (SF5 PRTS) PRESSURIZER RELIEF/QUENCH TANK SYSTEM design features and/or interlocks that provide for the following (CFR: 41.7): Venting PRT/quench tank | 2.6 | K4 | 400007
30 | (013A3.04) Ability to monitor automatic features of the (SF2 ESFAS) ENGINEERED SAFETY FEATURES ACTUATION SYSTEM, including (CFR: 41.6 to 41.8 / 45.5): ESF HVAC | 3.1 | A3 | 400013
31 | (003K5.07) Knowledge of the operational implications or cause and effect relationships of the following concepts as they apply to the (SF4P RCP) REACTOR COOLANT PUMP SYSTEM (CFR: 41.5 / 45.7): Starting one or more RCPs under various plant conditions | 3.5 | K5 | 400003
32 | (064K3.02) Knowledge of the effect that a loss or malfunction of the (SF6 EDG) EMERGENCY DIESEL GENERATOR SYSTEM will have on the following systems or system parameters (CFR: 41.7 / 45.6): ESFAS controlled or actuated systems | 4.3 | K3 | 400064
33 | (022K1.05) Knowledge of the physical connections and/or cause and effect relationships between the (SF5 CCS) CONTAINMENT COOLING SYSTEM and the following systems (CFR: 41.9 / 45.7 / 45.8): ESFAS | 4.1 | K1 | 400022
34 | (010K2.01) Knowledge of electrical power supplies to the following: (SF3 PZR PCS) PRESSURIZER PRESSURE CONTROL SYSTEM (CFR: 41.7) PZR heaters | 3.4 | K2 | 400010
35 | (026A4.05) Ability to manually operate and/or monitor the (SF5 CSS) CONTAINMENT SPRAY SYSTEM in the control room (CFR: 41.7 / 45.5 to 45.8): Containment spray actuation and/or reset switches | 4 | A4 | 400026
36 | (078A2.01) Ability to (a) predict the impacts of the following on the (SF8 IAS) INSTRUMENT AIR SYSTEM and (b) based on those predictions, use procedures to correct, control, or mitigate the consequences of those abnormal operations (CFR: 41.5 / 43.5 / 45.3 / 45.13): Air dryer and filter malfunctions | 3.3 | A2 | 400078
37 | (008K6.08) Knowledge of the effect of the following plant conditions, system malfunctions, or component malfunctions on the (SF8 CCW) COMPONENT COOLING WATER SYSTEM (CFR: 41.7 / 45.7): Power supply to CCWS pumps and/or valves | 3.7 | K6 | 400008
38 | (400062) 062 (SF6 ED AC) AC ELECTRICAL DISTRIBUTION SYSTEM (191002K1.22) SENSORS AND DETECTORS (CFR: 41.7): (RADIATION DETECTION) Theory and operation of ion chambers, Geiger‑Müller tubes, and scintillation detectors | 2.8 | C | 400062
39 | (012A1.04) Ability to predict and/or monitor changes in parameters associated with operation of the (SF7 RPS) REACTOR PROTECTION SYSTEM, including (CFR: 41.5 / 45.5): Single and multiple channel trip indicators | 3.8 | A1 | 400012
40 | (059K4.22) Knowledge of (SF4S MFW) MAIN FEEDWATER SYSTEM design features and/or interlocks that provide for the following (CFR: 41.7): S/G water LCS | 3.8 | K4 | 400059
41 | (004A3.06) Ability to monitor automatic features of the (SF1; SF2 CVCS) CHEMICAL AND VOLUME CONTROL SYSTEM, including (CFR: 41.7 / 45.5): T-ave. and T-ref. | 3.6 | A3 | 400004
42 | (061K5.07) Knowledge of the operational implications or cause and effect relationships of the following concepts as they apply to the (SF4S AFW) AUXILIARY/EMERGENCY FEEDWATER SYSTEM (CFR: 41.5 / 45.7): Back leakage through discharge check valves | 3.1 | K5 | 400061
43 | (073K3.05) Knowledge of the effect that a loss or malfunction of the (SF7 PRM) PROCESS RADIATION MONITORING SYSTEM will have on the following systems or system parameters (CFR: 41.7 / 41.8 / 45.6 / 45.8 / 45.9): S/GB | 3.4 | K3 | 400073
44 | (103K1.16) Knowledge of the physical connections and/or cause and effect relationships between the (SF5 CNT) CONTAINMENT SYSTEM and the following systems (CFR: 41.9 / 45.7 / 45.8): HRPS | 3 | K1 | 400103
45 | (039K2.01) Knowledge of electrical power supplies to the following (CFR: 41.7): (SF4S MSS) MAIN AND REHEAT STEAM SYSTEM Safety‑related MRSS valves | 3.1 | K2 | 400039
46 | (005A4.02) Ability to manually operate and/or monitor the (SF4P RHR) RESIDUAL HEAT REMOVAL SYSTEM in the control room (CFR: 41.7 / 45.5 to 45.8): RHR heat exchanger temperature/bypass control valves | 3.9 | A4 | 400005
47 | (006A2.15) Ability to (a) predict the impacts of the following on the (SF2; SF3 ECCS) EMERGENCY CORE COOLING SYSTEM and (b) based on those predictions, use procedures to correct, control, or mitigate the consequences of those abnormal operations (CFR: 41.5 / 45.3 to 45.5): Vortex/cavitation | 3.3 | A2 | 400006
48 | (063K6.07) Knowledge of the effect of the following plant conditions, system malfunctions, or component malfunctions on the (SF6 ED DC) DC ELECTRICAL DISTRIBUTION SYSTEM (CFR: 41.7 / 45.7): Loss of all AC power | 4.3 | K6 | 400063
49 | (400076) 076 (SF4S SW) SERVICE WATER SYSTEM (G2.4.5) EMERGENCY PROCEDURES/PLAN: Knowledge of the organization of the operating procedures network for normal, abnormal, and emergency evolutions (CFR: 41.10 / 43.5 / 45.13) | 3.7 | G | 400076
50 | (007A1.04) Ability to predict and/or monitor changes in parameters associated with operation of the (SF5 PRTS) PRESSURIZER RELIEF/QUENCH TANK SYSTEM, including (CFR: 41.5 / 45.5): PZR tail pipe temperatures | 3.9 | A1 | 400007
51 | (013K4.06) Knowledge of (SF2 ESFAS) ENGINEERED SAFETY FEATURES ACTUATION SYSTEM design features and/or interlocks that provide for the following (CFR: 41.2 / 41.6 / 41.7): Recirculation actuation/reset | 4.1 | K4 | 400013
52 | (003A3.05) Ability to monitor automatic features of the (SF4P RCP) REACTOR COOLANT PUMP SYSTEM, including (CFR: 41.7 / 45.7): RCP lube oil and bearing lift pumps | 3 | A3 | 400003
53 | (064K5.05) Knowledge of the operational implications or cause and effect relationships of the following concepts as they apply to the (SF6 EDG) EMERGENCY DIESEL GENERATOR SYSTEM (CFR: 41.5 / 45.7): Parallel operation of EDGs | 3.9 | K5 | 400064
54 | (022K3.04) Knowledge of the effect that a loss or malfunction of the (SF5 CCS) CONTAINMENT COOLING SYSTEM will have on the following systems or system parameters (CFR: 41.7 / 45.6): CNT | 3.9 | K3 | 400022
55 | (400028) 028 (SF5 HRPS) HYDROGEN RECOMBINER AND PURGE CONTROL SYSTEM (191001K1.08) VALVES (CFR: 41.3): Operation of valves and verification of their position | 3.4 | C | 400028
56 | (068A1.04) Ability to predict and/or monitor changes in parameters associated with operation of the (SF9 LRS) LIQUID RADWASTE SYSTEM, including (CFR: 41.5 / 45.8 / 45.9): LRS radiation levels | 3.1 | A1 | 400068
57 | (035K4.03) Knowledge of (SF4P SG) STEAM GENERATOR SYSTEM design features and/or interlocks that provide for the following (CFR: 41.7): Automatic S/GB system and sample line isolation and reset | 3.1 | K4 | 400035
58 | (050A3.01) Ability to monitor automatic features of the (SF9 CRV) CONTROL ROOM VENTILATION, including (CFR: 41.7 / 45.7): Initiation/reconfiguration | 3.7 | A3 | 400050
59 | (055K5.04) Knowledge of the operational implications or cause and effect relationships of the following concepts as they apply to the (SF4S CARS) CONDENSER AIR REMOVAL SYSTEM (CFR: 41.5 / 45.7): S/G chemistry related to main condenser air in-leakage | 2.9 | K5 | 400055
60 | (015K3.02) Knowledge of the effect that a loss or malfunction of the (SF7 NI) NUCLEAR INSTRUMENTATION SYSTEM will have on the following systems or system parameters (CFR: 41.7 / 45.6): CRDS | 3.7 | K3 | 400015
61 | (034K1.05) Knowledge of the physical connections and/or cause and effect relationships between the (SF8 FHS) FUEL HANDLING EQUIPMENT SYSTEM and the following systems (CFR: 41.2 to 41.7 / 41.9 / 43.6 / 43.7 / 45.7 / 45.8): Shutdown monitor system | 3.3 | K1 | 400034
62 | (072K1.05) Knowledge of the physical connections and/or cause and effect relationships between the (SF7 ARM) AREA RADIATION MONITORING SYSTEM and the following systems (CFR: 41.7 to 41.9 / 45.8 / 9 / 11): MRSS | 3.3 | K2 | 400072
63 | (002A4.03) Ability to manually operate and/or monitor the (SF2; SF4P RCS) REACTOR COOLANT SYSTEM in the control room (CFR: 41.7 / 45.5 to 45.8): Indications and controls necessary to recognize and correct saturation conditions | 4 | A4 | 400002
64 | (G2.1.7) CONDUCT OF OPERATIONS: Ability to evaluate plant performance and make operational judgments based on operating characteristics, reactor behavior, and instrument interpretation (CFR: 41.5 / 43.5 / 45.12 / 45.13) | 4.4 | G2.1 | G2.1
65 | (G2.1.2) CONDUCT OF OPERATIONS: Knowledge of operator responsibilities during any mode of plant operation (CFR: 41.10 / 43.1 / 45.13) | 4.1 | G2.1 | G2.1
66 | (G2.2.21) EQUIPMENT CONTROL: Knowledge of pre- and post-maintenance operability requirements (CFR: 41.10 / 43.2) | 2.9 | G2.2 | G2.2
67 | (G2.2.41) EQUIPMENT CONTROL: Ability to obtain and interpret station electrical and mechanical drawings (reference potential) (CFR: 41.10 / 45.12 / 45.13) | 3.5 | G2.2 | G2.2
68 | (G2.3.5) RADIATION CONTROL: Ability to use RMSs, such as fixed radiation monitors and alarms or personnel monitoring equipment (CFR: 41.11 / 41.12 / 43.4 / 45.9) | 2.9 | G2.3 | G2.3
69 | (G2.4.34) EMERGENCY PROCEDURES/PLAN: Knowledge of RO responsibilities outside the main control room during an emergency (CFR: 41.10 / 43.5 / 45.13) | 4.2 | G2.4 | G2.4
70 | (192001K1.02) NEUTRONS (CFR: 41.1): Define prompt and delayed neutrons | 2.5 | R | 192001
71 | (192003K1.07) REACTOR KINETICS AND NEUTRON SOURCES (CFR: 41.1): Explain the effect of delayed neutrons on reactor control | 3 | R | 192003
72 | (192007K1.04) FUEL DEPLETION AND BURNABLE POISONS (CFR: 41.1): Describe how and why boron concentration changes over core life | 3.4 | R | 192007
73 | (193001K1.01) THERMODYNAMIC UNITS AND PROPERTIES (CFR: 41.14): Convert between absolute and gauge pressure and vacuum scales | 2.7 | T | 193001
74 | (193004K1.15) THERMODYNAMIC PROCESS (CFR: 41.14): (THROTTLING AND THE THROTTLING PROCESS) Determine the exit conditions for a throttling process based on the use of steam and/or water | 2.8 | T | 193004
75 | (193006K1.12) FLUID STATICS AND DYNAMICS (CFR: 41.14): Define or explain the following term or concept: -- cavitation | 3.3 | T | 193006
76 | (395007) 000025 (APE 25) Loss of Residual Heat Removal System (G2.1.30) CONDUCT OF OPERATIONS: Ability to locate and operate components, including local controls (CFR: 41.7 / 45.7) | 4 | G | 395007
77 | (WE11EA2.16) Ability to determine and/or interpret the following as they apply to (W E11) LOSS OF EMERGENCY Coolant Recirculation (CFR: 41.10 / 43.5 / 45.13): Reactor vessel level | 3.7 | A2 | 395022
78 | (395019) 000065 (APE 65) Loss of Instrument Air (G2.4.42) EMERGENCY PROCEDURES/PLAN: Knowledge of emergency response facilities (CFR: 41.10 / 45.11) | 3.8 | G | 395019
79 | (015AA2.01) Ability to determine and/or interpret the following as they apply to (APE 15) REACTOR COOLANT Pump Malfunctions (CFR: 43.5 / 45.13): Cause of RCP failure | 3.5 | A2 | 395005
80 | (395010) 000029 (EPE 29) Anticipated Transient Without Scram (G2.1.46) CONDUCT OF OPERATIONS: Ability to use integrated control systems to operate plant systems or components (CFR: 41.10 / 45.12 / 45.13) | 3.3 | G | 395010
81 | (022AA2.06) Ability to determine and/or interpret the following as they apply to (APE 22) LOSS OF REACTOR Coolant Makeup (CFR: / 43.5 / 45.13): CVCS charging pump ammeters | 3.3 | A2 | 395006
82 | (395026) 000005 (APE 5) Inoperable/Stuck Control Rod (G2.1.19) CONDUCT OF OPERATIONS: Ability to use available indications to evaluate system or component status (CFR: 41.10 / 45.12) | 3.8 | G | 395026
83 | (001AA2.09) Ability to determine and/or interpret the following as they apply to (APE 1) CONTINUOUS Rod Withdrawal (CFR: 43.5 / 45.13): RPI | 3.8 | A2 | 395024
84 | (395045) (W E15) Containment Flooding (G2.4.44) EMERGENCY PROCEDURES/PLAN: Knowledge of emergency plan implementing procedures protective action recommendations (SRO Only) (CFR: 41.10 / 41.12 / 43.5 / 45.11) | 4.4 | G | 395045
85 | (BA08AA2.04) Ability to determine and/or interpret the following as they apply to (BW A08) REFUELING CANAL LEVEL DECREASE (CFR: 41.10 / 43.5 / 45.13): Radiation levels | 4.1 | A2 | 395031
86 | (400010) 010 (SF3 PZR PCS) PRESSURIZER PRESSURE CONTROL SYSTEM (G2.4.40) EMERGENCY PROCEDURES/PLAN: Knowledge of SRO responsibilities in emergency plan implementing procedures (SRO Only) (CFR: 43.5 / 45.11) | 4.5 | G | 400010
87 | (026A2.07) Ability to (a) predict the impacts of the following on the (SF5 CSS) CONTAINMENT SPRAY SYSTEM and (b) based on those predictions, use procedures to correct, control, or mitigate the consequences of those abnormal operations (CFR: 41.5 / 43.5 / 45.3 / 45.13): Loss of containment spray pump suction when in recirculation mode | 3.9 | A2 | 400026
88 | (400078) 078 (SF8 IAS) INSTRUMENT AIR SYSTEM (G2.2.38) EQUIPMENT CONTROL: Knowledge of conditions and limitations in the facility license (CFR: 41.7 / 41.10 / 43.1 / 45.13) | 4.5 | G | 400078
89 | (008A2.02) Ability to (a) predict the impacts of the following on the (SF8 CCW) COMPONENT COOLING WATER SYSTEM and (b) based on those predictions, use procedures to correct, control, or mitigate the consequences of those abnormal operations (CFR: 41.5 / 43.5 / 45.3 / 45.13): High/low surge tank level | 3.7 | A2 | 400008
90 | (400062) 062 (SF6 ED AC) AC ELECTRICAL DISTRIBUTION SYSTEM (G2.4.30) EMERGENCY PROCEDURES/PLAN: Knowledge of events related to system operation/status that must be reported to internal organizations or external agencies, such as the State, the NRC, or the transmission system operator (CFR: 41.10 / 43.5 / 45.11) | 4.1 | G | 400062
91 | (086A2.03) Ability to (a) predict the impacts of the following on the (SF8 FPS) FIRE PROTECTION SYSTEM and (b) based on those predictions, use procedures to correct, control, or mitigate the consequences of those abnormal operations (CFR: 41.5 / 43.5 / 45.3 / 45.13): Inadvertent actuation of the FPS | 2.9 | A2 | 400086
92 | (400016) 016 (SF7 NNI) NONNUCLEAR INSTRUMENTATION SYSTEM (G2.2.40) EQUIPMENT CONTROL: Ability to apply TS with action statements of less than or equal to 1 hour (CFR: 41.10 / 43.2 / 43.5 / 45.3) | 4.7 | G | 400016
93 | (011A2.10) Ability to (a) predict the impacts of the following on the (SF2 PZR LCS) PRESSURIZER LEVEL CONTROL SYSTEM and (b) based on those predictions, use procedures to correct, control, or mitigate the consequences of those abnormal operations (CFR: 41.5 / 43.5 / 45.3 / 45.13): Failure of PZR level instrument – high | 3.7 | A2 | 400011
94 | (G2.1.21) CONDUCT OF OPERATIONS: Ability to verify that a copy of a controlled procedure is the proper revision (CFR: 41.10 / 45.10 / 45.13) | 3.6 | G2.1 | G2.1
95 | (G2.1.29) CONDUCT OF OPERATIONS: Knowledge of how to conduct system lineups, such as valves, breakers, or switches (CFR: 41.10 / 45.1 / 45.12) | 4 | G2.1 | G2.1
96 | (G2.2.4) EQUIPMENT CONTROL: (Multi-unit license) Ability to explain the variations in control room layouts, systems, instrumentation, and/or procedural actions between units at a facility (CFR: 41.6 / 41.7 / 41.10 / 45.1 / 45.13) | 3.6 | G2.2 | G2.2
97 | (G2.2.17) EQUIPMENT CONTROL: Knowledge of the process for managing maintenance activities during power operations, such as risk assessments, work prioritization, and coordination with the transmission system operator (CFR: 41.10 / 43.5 / 45.13) | 3.8 | G2.2 | G2.2
98 | (G2.3.11) RADIATION CONTROL: Ability to control radiation releases (CFR: 41.11 / 43.4 / 45.10) | 4.3 | G2.3 | G2.3
99 | (G2.4.29) EMERGENCY PROCEDURES/PLAN: Knowledge of the emergency plan implementing procedures (CFR: 41.10 / 43.5 / 45.11) | 4.4 | G2.4 | G2.4
100 | (G2.4.37) EMERGENCY PROCEDURES/PLAN: Knowledge of the lines of authority during implementation of the emergency plan implementing procedures (CFR: 41.10 / 45.13) | 4.1 | G2.4 | G2.4