## Sheet1
Question Number | Topic Title | Topic Importance | K/A Category | System
1 | (077AK2.10) Knowledge of the relationship between (APE 77) GENERATOR VOLTAGE AND ELECTRIC Grid Disturbances and the following systems or components (CFR: 41.4 / 41.5 / 41.7 / 41.10 / 45.8): EDGs | 4 | K2 | 395020
2 | (058AK3.01) Knowledge of the reasons for the following responses and/or actions as they apply to (APE 58) LOSS OF DC Power (CFR: 41.5 / 41.10 / 45.6 / 45.13): Operation of the EDGs | 4 | K3 | 395017
3 | (395009) 000027 (APE 27) Pressurizer Pressure Control System Malfunction (G2.1.21) CONDUCT OF OPERATIONS: Ability to verify that a copy of a controlled procedure is the proper revision (CFR: 41.10 / 45.10 / 45.13) | 3.5 | G | 395009
4 | (057AA2.13) Ability to determine and/or interpret the following as they apply to (APE 57) LOSS OF VITAL AC ELECTRICALINSTRUMENT BUS (CFR: 43.5 / 45.13): VCT level and pressure | 3.5 | A2 | 395016
5 | (054AK1.02) Knowledge of the operational implications and/or cause and effect relationships of the following concepts as they apply to (APE 54) LOSS OF Main Feedwater (CFR: 41.8 / 41.10 / 45.3): Effects of feedwater introduction on a dry S/G | 4 | K1 | 395013
6 | (007EA1.10) Ability to operate and/or monitor the following as they apply to (EPE 7) REACTOR TRIP, STABILIZATION, RECOVERY (CFR: 41.7 / 45.5 / 45.6): SGS | 3.5 | A1 | 395001
7 | (062AK2.08) Knowledge of the relationship between (APE 62) LOSS OF SERVICE WATER and the following systems or components (CFR: 41.7 / 45.7): PRMS | 3 | K2 | 395018
8 | (WE11EK3.12) Knowledge of the reasons for the following responses and/or actions as they apply to (W E11) LOSS OF EMERGENCY Coolant Recirculation (CFR: 41.5 / 41.10 / 45.6 / 45.13): Manually transferring high-head SI pump suction source to RWST | 3.5 | K3 | 395022
9 | (395006) 000022 (APE 22) Loss of Reactor Coolant Makeup (G2.2.36) EQUIPMENT CONTROL: Ability to analyze the effect of maintenance activities, such as degraded power sources, on the status of limiting conditions for operation (CFR: 41.10 / 43.2 / 45.13) | 3.1 | G | 395006
10 | (015AA2.12) Ability to determine and/or interpret the following as they apply to (APE 15) REACTOR COOLANT Pump Malfunctions (CFR: 43.5 / 45.13): RCS flow | 3.8 | A2 | 395005
11 | (009EK1.01) Knowledge of the operational implications and/or cause and effect relationships of the following concepts as they apply to (EPE 9) SMALL-Break LOCA (CFR: 41.8 / 41.10 / 45.3): Natural circulation and cooling, including reflux boiling | 3.8 | K1 | 395003
12 | (065AA1.05) Ability to operate and/or monitor the following as they apply to (APE 65) LOSS OF Instrument Air (CFR: 41.7 / 45.5 / 45.6): RPS | 3.2 | A1 | 395019
13 | (056AK2.13) Knowledge of the relationship between (APE 56) Loss of Offsite Power and the following systems or components (CFR: 41.7 / 45.7): MRSS/atmospheric relief valves | 3.9 | K2 | 395015
14 | (038EK3.16) Knowledge of the reasons for the following responses and/or actions as they apply to (EPE 38) STEAM GENERATOR Tube Rupture (CFR: 41.5 / 41.10 / 45.6 / 45.13): Actions necessary if S/G goes solid and water enters steamline | 3.7 | K3 | 395011
15 | (395021) (W E04) LOCA Outside Containment (G2.1.32) CONDUCT OF OPERATIONS: Ability to explain and apply system precautions, limitations, notes, or cautions (CFR: 41.10 / 43.2 / 45.12) | 3.8 | G | 395021
16 | (029EA2.14) Ability to determine and/or interpret the following as they apply to (EPE 29) ANTICIPATED TRANSIENT WITHOUT SCRAM (ATWS) (CFR: 43.5 / 45.13): Occurrence of a reactor trip | 4.6 | A2 | 395010
17 | (WE12EK1.06) Knowledge of the operational implications and/or cause and effect relationships of the following concepts as they apply to (W E12) UNCONTROLLED DEPRESSURIZATION OF ALL STEAM GENERATORS (CFR: 41.5 / 41.7 / 45.7 / 45.8): Effect on automatic transfer of high-head SI pump suction to RWST after SI reset | 3.5 | K1 | 395012
18 | (011EA1.09) Ability to operate and/or monitor the following as they apply to (EPE 11) LARGE-Break LOCA (CFR: 41.7 / 45.5 / 45.6): Safety injection tanks | 4 | A1 | 395004
19 | (005AK2.09) Knowledge of the relationship between (APE 5) INOPERABLE/STUCK Control Rod and the following systems or components (CFR: 41.7 / 45.7): MT/G | 2.9 | K2 | 395026
20 | (BE09EK3.15) Knowledge of the reasons for the following responses and/or actions as they apply to (BW E09) NATURAL CIRCULATION COOLDOWN (CFR: 41.5 / 41.10 / 45.6 / 45.13): Control RCS inventory with HPI | 3.9 | K3 | 395054
21 | (395056) (CE A11**; W E08) RCS Overcooling – Pressurized Thermal Shock (G2.4.23) EMERGENCY PROCEDURES/PLAN: Knowledge of the bases for prioritizing emergency operating procedures implementation (CFR: 41.10 / 43.5 / 45.13) | 3.4 | G | 395056
22 | (037AA2.05) Ability to determine and/or interpret the following as they apply to (APE 37) STEAM Generator Tube Leak (CFR: 41.7 / 41.10 / 43.5 / 45.13): Past history of leakage with current problem | 3.4 | A2 | 395032
23 | (069AK1.01) Knowledge of the operational implications and/or cause and effect relationships of the following concepts as they apply to (APE 69) LOSS OF Containment Integrity (CFR: 41.8 / 41.10 / 45.3): Effect of pressure on leak rate | 3.3 | K1 | 395039
24 | (WE06EA1.15) Ability to operate and/or monitor the following as they apply to (W E06) DEGRADED CORE COOLING (CFR: 41.5 to 41.8 / 45.5 to 45.8): IAS | 2.9 | A1 | 395040
25 | (036AK2.08) Knowledge of the relationship between (APE 36) FUEL HANDLING INCIDENTS and the following systems or components (CFR: 41.7 / 45.7): CPS | 3.4 | K2 | 395031
26 | (059AK3.01) Knowledge of the reasons for the following responses and/or actions as they apply to (APE 59) ACCIDENTAL LIQUID Radwaste Release (CFR: 41.5 / 41.10 / 45.6 / 45.13): Termination of a release of radioactive liquid | 3.7 | K3 | 395034
27 | (061K3.02) Knowledge of the effect that a loss or malfunction of the (SF4S AFW) AUXILIARY/EMERGENCY FEEDWATER SYSTEM will have on the following systems or system parameters (CFR: 41.5 / 41.7 / 45.6): S/G system | 4.3 | K3 | 400061
28 | (073A1.02) Ability to predict and/or monitor changes in parameters associated with operation of the (SF7 PRM) PROCESS RADIATION MONITORING SYSTEM, including (CFR: 41.5 / 8-9): Lights and alarms | 3.2 | A1 | 400073
29 | (008K2.01) Knowledge of electrical power supplies to the following (CFR: 41.7): (SF8 CCW) COMPONENT COOLING WATER SYSTEM CCW valves | 3 | K2 | 400008
30 | (400006) 006 (SF2; SF3 ECCS) EMERGENCY CORE COOLING SYSTEM (G2.1.4) CONDUCT OF OPERATIONS: Knowledge of individual licensed operator responsibilities related to shift staffing, such as medical requirements, “no-solo” operation, and maintenance of active license status, 10 CFR Part 55 (CFR: 41.10 / 43.2) | 3.3 | G | 400006
31 | (012A3.06) Ability to monitor automatic features of the (SF7 RPS) REACTOR PROTECTION SYSTEM, including (CFR: 41.6 / 41.7 / 45.5): Trip logic | 4.1 | A3 | 400012
32 | (064A2.28) Ability to (a) predict the impacts of the following on the (SF6 EDG) EMERGENCY DIESEL GENERATOR SYSTEM and (b) based on those predictions, use procedures to correct, control, or mitigate the consequences of those abnormal operations (CFR: 41.5 / 43.5 / 45.3 / 45.13): FPS actuation | 2.6 | A2 | 400064
33 | (007K6.10) Knowledge of the effect of the following plant conditions, system malfunctions, or component malfunctions on the (SF5 PRTS) PRESSURIZER RELIEF/QUENCH TANK SYSTEM (CFR: 41.7 / 45.7): LRS | 2.6 | K6 | 400007
34 | (076K1.06) Knowledge of the physical connections and/or cause and effect relationships between the (SF4S SW) SERVICE WATER SYSTEM and the following systems (CFR: 41.4 to 41.8 / 45.7 / 45.8): Switch gear room coolers | 3 | K1 | 400076
35 | (078A4.03) Ability to manually operate and/or monitor the (SF8 IAS) INSTRUMENT AIR SYSTEM in the control room (CFR: 41.7 / 45.5 to 45.8): Isolation/restoration of instrument air to isolated components/systems | 3.2 | A4 | 400078
36 | (010K4.03) Knowledge of (SF3 PZR PCS) PRESSURIZER PRESSURE CONTROL SYSTEM design features and/or interlocks that provide for the following (CFR: 41.7): Overpressure control | 3.9 | K4 | 400010
37 | (063K5.02) Knowledge of the operational implications or cause and effect relationships of the following concepts as they apply to the (SF6 ED DC) DC ELECTRICAL DISTRIBUTION SYSTEM (CFR: 41.5 / 45.7): Hydrogen generation during battery charging | 2.8 | K5 | 400063
38 | (039K3.04) Knowledge of the effect that a loss or malfunction of the (SF4S MSS) MAIN AND REHEAT STEAM SYSTEM will have on the following systems or system parameters (CFR: 41.7 / 45.6): MFW system | 3.4 | K3 | 400039
39 | (059A1.15) Ability to predict and/or monitor changes in parameters associated with operation of the (SF4S MFW) MAIN FEEDWATER SYSTEM, including (CFR: 41.5 / 45.5): MFW pump lube oil system | 2.9 | A1 | 400059
40 | (062K2.02) Knowledge of electrical power supplies to the following: (SF6 ED AC) AC ELECTRICAL DISTRIBUTION SYSTEM (CFR: 41.7) Breaker control power | 3.5 | K2 | 400062
41 | (400013) 013 (SF2 ESFAS) ENGINEERED SAFETY FEATURES ACTUATION SYSTEM (191003K1.03) CONTROLLERS AND POSITIONERS (CFR: 41.7): Operation of valve controllers in manual and automatic modes, including seal-in features | 3.1 | C | 400013
42 | (026A3.01) Ability to monitor automatic features of the (SF5 CSS) CONTAINMENT SPRAY SYSTEM, including (CFR: 41.7 / 45.5): Pump starts and correct valve positioning | 4.1 | A3 | 400026
43 | (005A2.03) Ability to (a) predict the impacts of the following on the (SF4P RHR) RESIDUAL HEAT REMOVAL SYSTEM and (b) based on those predictions, use procedures to correct, control, or mitigate the consequences of those abnormal operations (CFR: 41.5 / 43.5 / 45.3 / 45.13): RHR pump/motor malfunction | 3.8 | A2 | 400005
44 | (004K6.01) Knowledge of the effect of the following plant conditions, system malfunctions, or component malfunctions on the (SF1; SF2 CVCS) CHEMICAL AND VOLUME CONTROL SYSTEM (CFR: 41.5 to 41.7 / 45.7): Spray/heater combination in PZR to ensure uniform boron concentration | 3.1 | K6 | 400004
45 | (003K1.07) Knowledge of the physical connections and/or cause and effect relationships between the (SF4P RCP) REACTOR COOLANT PUMP SYSTEM and the following systems (CFR: 41.2 to 41.9 / 45.7 / 45.8): RCP vibration monitoring | 3.4 | K1 | 400003
46 | (022A4.02) Ability to manually operate and/or monitor the (SF5 CCS) CONTAINMENT COOLING SYSTEM in the control room (CFR: 41.7 / 45.5 to 45.8): CCS pumps | 3.6 | A4 | 400022
47 | (103K4.07) Knowledge of (SF5 CNT) CONTAINMENT SYSTEM design features and/or interlocks that provide for the following (CFR: 41.7): Electrical penetrations | 3 | K4 | 400103
48 | (061K5.05) Knowledge of the operational implications or cause and effect relationships of the following concepts as they apply to the (SF4S AFW) AUXILIARY/EMERGENCY FEEDWATER SYSTEM (CFR: 41.5 / 45.7): Feedline voiding and water hammer | 3.4 | K5 | 400061
49 | (073K3.02) Knowledge of the effect that a loss or malfunction of the (SF7 PRM) PROCESS RADIATION MONITORING SYSTEM will have on the following systems or system parameters (CFR: 41.7 / 41.8 / 45.6 / 45.8 / 45.9): Systems served by PRMs | 3.5 | K3 | 400073
50 | (008A1.01) Ability to predict and/or monitor changes in parameters associated with operation of the (SF8 CCW) COMPONENT COOLING WATER SYSTEM, including (CFR: 41.5 / 45.7): CCW flow rate | 3.2 | A1 | 400008
51 | (006K2.01) Knowledge of electrical power supplies to the following: (SF2; SF3 ECCS) EMERGENCY CORE COOLING SYSTEM (CFR: 41.7) ECCS pumps | 4.1 | K2 | 400006
52 | (400012) 012 (SF7 RPS) REACTOR PROTECTION SYSTEM (G2.4.6) EMERGENCY PROCEDURES/PLAN: Knowledge of emergency and abnormal operating procedures major action categories (CFR: 41.10 / 43.5 / 45.13) | 3.7 | G | 400012
53 | (064A3.13) Ability to monitor automatic features of the (SF6 EDG) EMERGENCY DIESEL GENERATOR SYSTEM, including (CFR: 41.7 / 45.5): Opening/closing EDG output breaker | 3.8 | A3 | 400064
54 | (007A2.08) Ability to (a) predict the impacts of the following on the (SF5 PRTS) PRESSURIZER RELIEF/QUENCH TANK SYSTEM and (b) based on those predictions, use procedures to correct, control, or mitigate the consequences of those abnormal operations (CFR: 41.5 / 43.5 / 45.3 / 45.13): Abnormal level in the PRT/quench tank | 3.1 | A2 | 400007
55 | (050K3.05) Knowledge of the effect that a loss or malfunction of the (SF9 CRV) CONTROL ROOM VENTILATION will have on the following systems or system parameters (CFR: 41.7 / 45.6): Control room humidity | 2.7 | K3 | 400050
56 | (011A1.09) Ability to predict and/or monitor changes in parameters associated with operation of the (SF2 PZR LCS) PRESSURIZER LEVEL CONTROL SYSTEM, including (CFR: 41.5 / 45.5): Seal flow | 3.3 | A1 | 400011
57 | (035K6.03) Knowledge of the effect of the following plant conditions, system malfunctions, or component malfunctions on the (SF4P SG) STEAM GENERATOR SYSTEM (CFR: 41.7 / 45.7): S/G level, S/G pressure, or steam flow detector | 3.8 | K2 | 400035
58 | (400068) 068 (SF9 LRS) LIQUID RADWASTE SYSTEM (191007K1.08) DEMINERALIZERS AND ION EXCHANGERS (CFR: 41.3): Demineralizer characteristics that can cause a change in boron concentration | 3.2 | C | 400068
59 | (041A3.03) Ability to monitor automatic features of the (SF4S SDS) STEAM DUMP/TURBINE BYPASS CONTROL SYSTEM, including (CFR: 41.7 / 45.5): Steam flow | 3.2 | A3 | 400041
60 | (002A2.04) Ability to (a) predict the impacts of the following on the (SF2; SF4P RCS) REACTOR COOLANT SYSTEM and (b) based on those predictions, use procedures to correct, control, or mitigate the consequences of those abnormal operations (CFR: 41.5 / 43.5 / 45.3 / 45.5): Loss of heat sinks | 4.5 | A2 | 400002
61 | (016K6.02) Knowledge of the effect of the following plant conditions, system malfunctions, or component malfunctions on the (SF7 NNI) NONNUCLEAR INSTRUMENTATION SYSTEM (CFR: 41.7 / 45.7): Secondary system input sensors and detectors | 3.1 | K6 | 400016
62 | (017K1.03) Knowledge of the physical connections and/or cause and effect relationships between the (SF7 ITM) IN CORE TEMPERATURE MONITOR SYSTEM and the following systems (CFR: 41.2 to 41.9 / 45.7 / 45.8): SPDS | 3.8 | K1 | 400017
63 | (033A4.03) Ability to manually operate and/or monitor the (SF8 SFPCS) SPENT FUEL POOL COOLING SYSTEM in the control room (CFR: 41.7 / 45.5 to 45.8): Support systems for fill and transfer of SFPCS water | 3 | A4 | 400033
64 | (G2.1.1) CONDUCT OF OPERATIONS: Knowledge of conduct of operations requirements (CFR: 41.10 / 43.10 / 45.13) | 3.8 | G2.1 | G2.1
65 | (G2.1.29) CONDUCT OF OPERATIONS: Knowledge of how to conduct system lineups, such as valves, breakers, or switches (CFR: 41.10 / 45.1 / 45.12) | 4.1 | G2.1 | G2.1
66 | (G2.2.22) EQUIPMENT CONTROL: Knowledge of limiting conditions for operation and safety limits (CFR: 41.5 / 43.2 / 45.2) | 4 | G2.2 | G2.2
67 | (G2.2.12) EQUIPMENT CONTROL: Knowledge of surveillance procedures (CFR: 41.10 / 43.2 / 45.13) | 3.7 | G2.2 | G2.2
68 | (G2.3.11) RADIATION CONTROL: Ability to control radiation releases (CFR: 41.11 / 43.4 / 45.10) | 3.8 | G2.3 | G2.3
69 | (G2.4.16) EMERGENCY PROCEDURES/PLAN: Knowledge of emergency and abnormal operating procedures implementation hierarchy and coordination with other support procedures or guidelines, such as operating procedures, abnormal operating procedures, or severe accident management guidelines (CFR: 41.10 / 43.5 / 45.13) | 3.5 | G2.4 | G2.4
70 | (192001K1.02) NEUTRONS (CFR: 41.1): Define prompt and delayed neutrons | 2.5 | R | 192001
71 | (192003K1.01) REACTOR KINETICS AND NEUTRON SOURCES (CFR: 41.1): Explain the concept of subcritical multiplication | 2.8 | R | 192003
72 | (192004K1.14) REACTIVITY COEFFICIENTS (CFR: 41.1): Describe the effect on boron reactivity worth from changes in the following: -- boron concentration | 2.9 | R | 192004
73 | (193001K1.01) THERMODYNAMIC UNITS AND PROPERTIES (CFR: 41.14): Convert between absolute and gauge pressure and vacuum scales | 2.7 | T | 193001
74 | (193009K1.08) CORE THERMAL LIMITS (CFR: 41.14): Describe axial flux imbalance, including long-range effects | 3.3 | T | 193009
75 | (193005K1.03) THERMODYNAMIC CYCLES (CFR: 41.14): Describe how changes in system parameters affect thermodynamic efficiency | 2.6 | T | 193005
76 | (395008) 000026 (APE 26) Loss of Component Cooling Water (G2.2.38) EQUIPMENT CONTROL: Knowledge of conditions and limitations in the facility license (CFR: 41.7 / 41.10 / 43.1 / 45.13) | 4.5 | G | 395008
77 | (025AA2.05) Ability to determine and/or interpret the following as they apply to (APE 25) LOSS OF RESIDUAL Heat Removal System (CFR: 43.5 / 45.13): Limitations on RHR flow and temperature rates of change | 3.5 | A2 | 395007
78 | (395023) (BW E04; W E05) Inadequate Heat Transfer – Loss of Secondary Heat Sink (G2.2.45) EQUIPMENT CONTROL: Ability to determine and/or interpret TS with action statements of greater than 1 hour (SRO Only) (CFR: 43.2 / 43.5 / 45.3) | 4.7 | G | 395023
79 | (055EA2.04) Ability to determine and/or interpret the following as they apply to (EPE 55) Station Blackout (CFR: 43.5 / 45.13): Instruments and controls operable with only DC battery power available | 3.9 | A2 | 395014
80 | (395002) 000008 (APE 8) Pressurizer Vapor Space Accident (G2.4.3) EMERGENCY PROCEDURES/PLAN: Ability to identify post-accident instrumentation (CFR: 41.6 / 45.4) | 3.9 | G | 395002
81 | (077AA2.09) Ability to determine and/or interpret the following as they apply to (APE 77) GENERATOR VOLTAGE AND ELECTRIC Grid Disturbances (CFR: 41.5 / 43.5 / 45.5 / 45.7 / 45.8): Status of EDGs | 3.9 | A2 | 395020
82 | (395038) 000068 (APE 68; BW A06) Control Room Evacuation (G2.2.40) EQUIPMENT CONTROL: Ability to apply TS with action statements of less than or equal to 1 hour (CFR: 41.10 / 43.2 / 43.5 / 45.3) | 4.7 | G | 395038
83 | (028AA2.17) Ability to determine and/or interpret the following as they apply to (APE 28) PRESSURIZER (PZR) Level Control Malfunction (CFR: 43.5 / 45.13): Evaluate the TS for PZR level control malfunction | 3.8 | A2 | 395028
84 | (395029) 000032 (APE 32) Loss of Source Range Nuclear Instrumentation (G2.4.46) EMERGENCY PROCEDURES/PLAN: Ability to verify that the alarms are consistent with the plant conditions (CFR: 41.10 / 43.5 / 45.3 / 45.12) | 4.2 | G | 395029
85 | (WE15EA2.01) Ability to determine and/or interpret the following as they apply to (W E15) Containment Flooding (CFR: 41.10 / 43.5 / 45.13): Facility conditions and selection of appropriate procedures during abnormal and emergency operations | 3.8 | A2 | 395045
86 | (400076) 076 (SF4S SW) SERVICE WATER SYSTEM (G2.4.45) EMERGENCY PROCEDURES/PLAN: Ability to prioritize and interpret the significance of each annunciator or alarm (CFR: 41.10 / 43.5 / 45.3 / 45.12) | 4.3 | G | 400076
87 | (078A2.02) Ability to (a) predict the impacts of the following on the (SF8 IAS) INSTRUMENT AIR SYSTEM and (b) based on those predictions, use procedures to correct, control, or mitigate the consequences of those abnormal operations (CFR: 41.5 / 43.5 / 45.3 / 45.13): Low instrument air pressure | 3.8 | A2 | 400078
88 | (400010) 010 (SF3 PZR PCS) PRESSURIZER PRESSURE CONTROL SYSTEM (G2.2.42) EQUIPMENT CONTROL: Ability to recognize system parameters that are entry-level conditions for TS (CFR: 41.7 / 41.10 / 43.2 / 43.3 / 45.3) | 4.6 | G | 400010
89 | (063A2.01) Ability to (a) predict the impacts of the following on the (SF6 ED DC) DC ELECTRICAL DISTRIBUTION SYSTEM and (b) based on those predictions, use procedures to correct, control, or mitigate the consequences of those abnormal operations (CFR: 41.5 / 43.5 / 45.3 / 45.13): Grounds | 2.8 | A2 | 400063
90 | (400039) 039 (SF4S MSS) MAIN AND REHEAT STEAM SYSTEM (G2.4.50) EMERGENCY PROCEDURES/PLAN: Ability to verify system alarm setpoints and operate controls identified in the alarm response procedure (CFR: 41.10 / 43.5 / 45.3) | 4 | G | 400039
91 | (027K1.01) Knowledge of the physical connections and/or cause and effect relationships between the (SF5 CIRS) CONTAINMENT IODINE REMOVAL SYSTEM and the following systems (CFR: 41.7 to 41.9 / 45.7 / 45.8): CSS | 3.2 | A2 | 400027
92 | (400071) 071 (SF9 WGS) WASTE GAS DISPOSAL SYSTEM (G2.2.6) EQUIPMENT CONTROL: Knowledge of the process for making changes to procedures (CFR: 41.10 / 43.3 / 45.13) | 3.6 | G | 400071
93 | (072A2.01) Ability to (a) predict the impacts of the following on the (SF7 ARM) AREA RADIATION MONITORING SYSTEM and (b) based on those predictions, use procedures to correct, control, or mitigate the consequences of those abnormal operations (CFR: 41.5 / 43.3 / 43.5 / 45.13 / 9): ARM component failures | 3.3 | A2 | 400072
94 | (G2.1.6) CONDUCT OF OPERATIONS: Ability to manage the control room crew during plant transients (SRO Only) (CFR: 43.5 / 45.12 / 45.13) | 4.8 | G2.1 | G2.1
95 | (G2.1.31) CONDUCT OF OPERATIONS: Ability to locate control room switches, controls, and indications and to determine whether they correctly reflect the desired plant lineup (CFR: 41.10 / 45.12) | 4.3 | G2.1 | G2.1
96 | (G2.2.3) EQUIPMENT CONTROL: (Multi-unit license) Knowledge of the design, procedural, and/or operational differences between units (CFR: 41.5 / 41.6 / 41.7 / 41.10 / 45.12) | 3.9 | G2.2 | G2.2
97 | (G2.2.21) EQUIPMENT CONTROL: Knowledge of pre- and post-maintenance operability requirements (CFR: 41.10 / 43.2) | 4.1 | G2.2 | G2.2
98 | (G2.3.12) RADIATION CONTROL: Knowledge of radiological safety principles and procedures pertaining to licensed operator duties, such as response to radiation monitor alarms, containment entry requirements, fuel handling responsibilities, access to locked high-radiation areas, or alignment of filters (CFR: 41.12 / 43.4 / 45.9 / 45.10) | 3.7 | G2.3 | G2.3
99 | (G2.4.38) EMERGENCY PROCEDURES/PLAN: Ability to take actions required by the facility emergency plan implementing procedures, including supporting or acting as emergency coordinator (CFR: 41.10 / 43.5 / 45.11) | 4.4 | G2.4 | G2.4
100 | (G2.4.14) EMERGENCY PROCEDURES/PLAN: Knowledge of general guidelines for emergency and abnormal operating procedures usage (CFR: 41.10 / 43.1 / 45.13) | 4.5 | G2.4 | G2.4