## Sheet1
Question Number | Topic Title | Topic Importance | K/A Category | System
1 | (058AK1.04) Knowledge of the operational implications and/or cause and effect relationships of the following concepts as they apply to (APE 58) LOSS OF DC Power (CFR: 41.8 / 41.10 / 45.3 ): Loss of breaker protection | 3.7 | K1 | 395017
2 | (056AA1.15) Ability to operate and/or monitor the following as they apply to (APE 56) Loss of Offsite Power (CFR: 41.7 / 45.5 / 45.6): Service water booster pump | 2.8 | A1 | 395015
3 | (027AA2.10) Ability to determine and/or interpret the following as they apply to (APE 27) PRESSURIZER PRESSURE Control System Malfunction (CFR: 43.5 / 45.13): PZR heater energized/deenergized condition | 3.8 | A2 | 395009
4 | (WE05EK2.07) Knowledge of the relationship between (W E05) Loss of Secondary Heat Sink and the following systems or components (CFR: 41.7 / 41.8 / 45.2 / 45.4): SDS | 3.6 | K2 | 395023
5 | (395011) 000038 (EPE 38) Steam Generator Tube Rupture (G2.2.44) EQUIPMENT CONTROL: Ability to interpret control room indications to verify the status and operation of a system and understand how operator actions and directives affect plant and system conditions (CFR: 41.5 / 43.5 / 45.12) | 4.2 | G | 395011
6 | (065AK3.07) Knowledge of the reasons for the following responses and/or actions as they apply to (APE 65) LOSS OF Instrument Air (CFR: 41.5 / 41.10 / 45.6 / 45.13): Backup of compressor cooling water | 3 | K3 | 395019
7 | (CE02EK1.08) Knowledge of the operational implications and/or cause and effect relationships of the following concepts as they apply to (CE E02) STANDARD POST‑TRIP ACTIONS AND REACTOR TRIP RECOVERY (CFR: 41.5 / 41.7 / 45.7 to 45.9): Knowledge of checking safety functions against acceptance criteria along with contingency actions that can be performed for those safety functions that are not met | 4.4 | K1 | 395001
8 | (029EA1.16) Ability to operate and/or monitor the following as they apply to (EPE 29) ANTICIPATED TRANSIENT WITHOUT SCRAM (ATWS) (CFR: 41.7 / 45.5 / 45.6): CVCS | 3.6 | A1 | 395010
9 | (077AA2.07) Ability to determine and/or interpret the following as they apply to (APE 77) GENERATOR VOLTAGE AND ELECTRIC Grid Disturbances (CFR: 41.5 / 43.5 / 45.5 / 45.7 / 45.8): Status of ESFs | 3.9 | A2 | 395020
10 | (WE11EK2.07) Knowledge of the relationship between (W E11) LOSS OF EMERGENCY Coolant Recirculation and the following systems or components (CFR: 41.7 / 41.8 / 45.2 / 45.4): RCS | 3.7 | K2 | 395022
11 | (395003) 000009 (EPE 9) Small Break LOCA (G2.2.4) EQUIPMENT CONTROL: (Multi-unit license) Ability to explain the variations in control room layouts, systems, instrumentation, and/or procedural actions between units at a facility (CFR: 41.6 / 41.7 / 41.10 / 45.1 / 45.13) | 3.6 | G | 395003
12 | (054AK3.01) Knowledge of the reasons for the following responses and/or actions as they apply to (APE 54) LOSS OF Main Feedwater (CFR: 41.5 / 41.10 / 45.6 / 45.13): Reactor and/or turbine trip, manual and automatic | 4.3 | K3 | 395013
13 | (026AK1.01) Knowledge of the operational implications and/or cause and effect relationships of the following concepts as they apply to (APE 26) LOSS OF Component Cooling Water (CFR: 41.5 / 41.7 / 45.7 / 45.8): Leakage into or out of the CCWS | 3.6 | K1 | 395008
14 | (022AA1.07) Ability to operate and/or monitor the following as they apply to (APE 22) LOSS OF REACTOR Coolant Makeup (CFR: 41.7 / 45.5 / 45.6): Excess letdown containment isolation valves | 3.1 | A1 | 395006
15 | (015AA2.08) Ability to determine and/or interpret the following as they apply to (APE 15) REACTOR COOLANT Pump Malfunctions (CFR: 43.5 / 45.13): RCP high bearing temperature | 3.4 | A2 | 395005
16 | (WE04EK2.03) Knowledge of the relationship between (W E04) LOCA Outside Containment and the following systems or components (CFR: 41.7 / 41.8 / 45.2 / 45.4): RCS | 3.8 | K2 | 395021
17 | (395016) 000057 (APE 57) Loss of Vital AC Instrument Bus (G2.2.35) EQUIPMENT CONTROL: Ability to determine TS for mode of operation (CFR: 41.7 / 41.10 / 43.2 / 45.13) | 3.6 | G | 395016
18 | (011EK3.08) Knowledge of the reasons for the following responses and/or actions as they apply to (EPE 11) LARGE-Break LOCA (CFR: 41.5 / 41.10 / 45.6 / 45.13): Containment sump recirculation | 4.3 | K3 | 395004
19 | (051AK1.02) Knowledge of the operational implications and/or cause and effect relationships of the following concepts as they apply to (APE 51) LOSS OF Condenser Vacuum (CFR: 41.8 / 41.10 / 45.3): Relationship of condenser and MT/G operation | 3.7 | K1 | 395033
20 | (WE08EA1.12) Ability to operate and/or monitor the following as they apply to (W E08) Pressurized Thermal Shock (CFR: 41.5 to 41.8 / 45.5 to 45.8): ECCS | 3.9 | A1 | 395056
21 | (001AA2.08) Ability to determine and/or interpret the following as they apply to (APE 1) CONTINUOUS Rod Withdrawal (CFR: 43.5 / 45.13): Megawatt electric | 2.6 | A2 | 395024
22 | (061AK2.01) Knowledge of the relationship between (APE 61) AREA RADIATION MONITORING (ARM) System Alarms and the following systems or components (CFR: 41.7 / 45.7): Areas or systems monitored by the ARM system | 3.1 | K2 | 395036
23 | (395040) 000074 (EPE 74; W E06 & E07) Inadequate Core Cooling (G2.4.28) EMERGENCY PROCEDURES/PLAN: Knowledge of procedures relating to a security event (ensure that the test item includes no safeguards information) (CFR: 41.10 / 43.5 / 45.13) | 3.2 | G | 395040
24 | (076AK3.03) Knowledge of the reasons for the following responses and/or actions as they apply to (APE 76) HIGH REACTOR COOLANT ACTIVITY (CFR: 41.5 / 41.10 / 45.6 / 45.13): Reducing letdown flow rates | 2.9 | K3 | 395041
25 | (BE08EK1.07) Knowledge of the operational implications and/or cause and effect relationships of the following concepts as they apply to (BW E08) LOCA COOLDOWN (CFR: 41.5 / 41.7 / 45.7 / 45.8): Primary pressure control | 4.1 | K1 | 395053
26 | (005AA1.07) Ability to operate and/or monitor the following as they apply to (APE 5) INOPERABLE/STUCK Control Rod (CFR: 41.7 / 45.5 / 45.6): MT/G | 2.9 | A1 | 395026
27 | (078K3.02) Knowledge of the effect that a loss or malfunction of the (SF8 IAS) INSTRUMENT AIR SYSTEM will have on the following systems or system parameters (CFR: 41.7 / 45.6): Systems having pneumatic valves and controls | 3.4 | K3 | 400078
28 | (039K6.12) Knowledge of the effect of the following plant conditions, system malfunctions, or component malfunctions on the (SF4S MSS) MAIN AND REHEAT STEAM SYSTEM (CFR: 41.7 / 45.7): MSIVs | 3.8 | K6 | 400039
29 | (008A1.03) Ability to predict and/or monitor changes in parameters associated with operation of the (SF8 CCW) COMPONENT COOLING WATER SYSTEM, including (CFR: 41.5 / 45.7): CCW pressure | 3.1 | A1 | 400008
30 | (007K1.01) Knowledge of the physical connections and/or cause and effect relationships between the (SF5 PRTS) PRESSURIZER RELIEF/QUENCH TANK SYSTEM and the following systems (CFR: 41.2 to 41.9 / 45.7 / 45.8): CNT | 3.5 | K1 | 400007
31 | (063A2.04) Ability to (a) predict the impacts of the following on the (SF6 ED DC) DC ELECTRICAL DISTRIBUTION SYSTEM and (b) based on those predictions, use procedures to correct, control, or mitigate the consequences of those abnormal operations (CFR: 41.5 / 43.5 / 45.3 / 45.13): Battery malfunctions | 3.9 | A2 | 400063
32 | (006K2.04) Knowledge of electrical power supplies to the following: (SF2; SF3 ECCS) EMERGENCY CORE COOLING SYSTEM (CFR: 41.7) ESFAS-operated valves | 3.7 | K2 | 400006
33 | (026K4.02) Knowledge of (SF5 CSS) CONTAINMENT SPRAY SYSTEM design features and/or interlocks that provide for the following (CFR: 41.7): Corrosion control and/or iodine reduction/scavenging via the CSS | 3.5 | K4 | 400026
34 | (012A4.05) Ability to manually operate and/or monitor the (SF7 RPS) REACTOR PROTECTION SYSTEM in the control room (CFR: 41.7 / 45.5 to 45.8): Channel defeat controls | 3.8 | A4 | 400012
35 | (073K1.09) Knowledge of the physical connections and/or cause and effect relationships between the (SF7 PRM) PROCESS RADIATION MONITORING SYSTEM and the following systems (CFR: 41.7 to 41.9 / 41.11 / 45.8 / 45.9): PVS | 3.1 | A3 | 400073
36 | (400064) 064 (SF6 EDG) EMERGENCY DIESEL GENERATOR SYSTEM (G2.1.28) CONDUCT OF OPERATIONS: Knowledge of the purpose and function of major system components and controls (CFR: 41.7) | 4.1 | G | 400064
37 | (103K5.02) Knowledge of the operational implications or cause and effect relationships of the following concepts as they apply to the (SF5 CNT) CONTAINMENT SYSTEM (CFR: 41.5 / 45.7): Hydrogen concentration inside containment | 3.5 | K5 | 400103
38 | (013K3.11) Knowledge of the effect that a loss or malfunction of the (SF2 ESFAS) ENGINEERED SAFETY FEATURES ACTUATION SYSTEM will have on the following systems or system parameters (CFR: 41.3 to 41.7 / 45.6): CVCS | 3.7 | K3 | 400013
39 | (022K6.08) Knowledge of the effect of the following plant conditions, system malfunctions, or component malfunctions on the (SF5 CCS) CONTAINMENT COOLING SYSTEM (CFR: 41.7 / 45.7): Heat exchangers and/or coolers | 3.3 | K6 | 400022
40 | (010A1.12) Ability to predict and/or monitor changes in parameters associated with operation of the (SF3 PZR PCS) PRESSURIZER PRESSURE CONTROL SYSTEM, including (CFR: 41.5 / 45.5): Alarms and lights | 3.3 | A1 | 400010
41 | (062K1.02) Knowledge of the physical connections and/or cause and effect relationships between the (SF6 ED AC) AC ELECTRICAL DISTRIBUTION SYSTEM and the following systems (CFR: 41.4 to 41.8): EDG system | 4.4 | K1 | 400062
42 | (004A2.21) Ability to (a) predict the impacts of the following on the (SF1; SF2 CVCS) CHEMICAL AND VOLUME CONTROL SYSTEM and (b) based on those predictions, use procedures to correct, control, or mitigate the consequences of those abnormal operations (CFR: 41.5 to 41.7 / 43.5 / 45.3 / 45.5): Excessive letdown flow, pressure, and temperatures on ion exchange resins | 2.9 | A2 | 400004
43 | (059K2.01) Knowledge of electrical power supplies to the following: (SF4S MFW) MAIN FEEDWATER SYSTEM (CFR: 41.7) MFW system pumps | 3.2 | K2 | 400059
44 | (061K4.13) Knowledge of (SF4S AFW) AUXILIARY/EMERGENCY FEEDWATER SYSTEM design features and/or interlocks that provide for the following (CFR: 41.7): Initiation of cooling water and lube oil | 3.1 | K4 | 400061
45 | (005A4.05) Ability to manually operate and/or monitor the (SF4P RHR) RESIDUAL HEAT REMOVAL SYSTEM in the control room (CFR: 41.7 / 45.5 to 45.8): Raising or lowering refueling cavity level | 3.4 | A4 | 400005
46 | (003A3.05) Ability to monitor automatic features of the (SF4P RCP) REACTOR COOLANT PUMP SYSTEM, including (CFR: 41.7 / 45.7): RCP lube oil and bearing lift pumps | 3 | A3 | 400003
47 | (400076) 076 (SF4S SW) SERVICE WATER SYSTEM (191005K1.02) MOTORS AND GENERATORS (CFR: 41.7): Potential consequences of overheating motor insulation or motor bearings | 2.9 | C | 400076
48 | (078K5.03) Knowledge of the operational implications or cause and effect relationships of the following concepts as they apply to the (SF8 IAS) INSTRUMENT AIR SYSTEM (CFR: 41.5 / 45.7): Loss of instrument air | 3.9 | K5 | 400078
49 | (039K3.01) Knowledge of the effect that a loss or malfunction of the (SF4S MSS) MAIN AND REHEAT STEAM SYSTEM will have on the following systems or system parameters (CFR: 41.7): MT/G | 3.6 | K3 | 400039
50 | (008K6.11) Knowledge of the effect of the following plant conditions, system malfunctions, or component malfunctions on the (SF8 CCW) COMPONENT COOLING WATER SYSTEM (CFR: 41.7 / 45.7): CCW pump discharge pressure instrument | 2.6 | K6 | 400008
51 | (007A1.02) Ability to predict and/or monitor changes in parameters associated with operation of the (SF5 PRTS) PRESSURIZER RELIEF/QUENCH TANK SYSTEM, including (CFR: 41.5 / 45.5): PRT/quench tank pressure | 3.1 | A1 | 400007
52 | (063K1.05) Knowledge of the physical connections and/or cause and effect relationships between the (SF6 ED DC) DC ELECTRICAL DISTRIBUTION SYSTEM and the following systems (CFR: 41.3 to 41.8 / 45.7 / 45.8): EDG | 4.4 | K1 | 400063
53 | (006A2.02) Ability to (a) predict the impacts of the following on the (SF2; SF3 ECCS) EMERGENCY CORE COOLING SYSTEM and (b) based on those predictions, use procedures to correct, control, or mitigate the consequences of those abnormal operations (CFR: 41.5 / 45.3 to 45.5): Loss of flowpath | 3.9 | A2 | 400006
54 | (026K2.02) Knowledge of electrical power supplies to the following (CFR: 41.7): (SF5 CSS) CONTAINMENT SPRAY SYSTEM Motor-operated valves | 3.6 | K2 | 400026
55 | (016K3.04) Knowledge of the effect that a loss or malfunction of the (SF7 NNI) NONNUCLEAR INSTRUMENTATION SYSTEM will have on the following systems or system parameters (CFR: 41.7 / 45.6): MFW system | 3.3 | K3 | 400016
56 | (033K6.10) Knowledge of the effect of the following plant conditions, system malfunctions, or component malfunctions on the (SF8 SFPCS) SPENT FUEL POOL COOLING SYSTEM (CFR: 41.7 / 45.7): PVS | 2.5 | K6 | 400033
57 | (050A1.01) Ability to predict and/or monitor changes in parameters associated with operation of the (SF9 CRV) CONTROL ROOM VENTILATION, including (CFR: 41.5 / 45.5): Filter D/P | 2.5 | A1 | 400050
58 | (071K1.01) Knowledge of the physical connections and/or cause and effect relationships between the (SF9 WGS) WASTE GAS DISPOSAL SYSTEM and the following systems (CFR: 41.2 to 41.9 / 45.7 / 45.11): Nitrogen system | 2.7 | K1 | 400071
59 | (045A2.07) Ability to (a) predict the impacts of the following on the (SF4S MTG) MAIN TURBINE GENERATOR SYSTEM and (b) based on those predictions, use procedures to correct, control, or mitigate the consequences of those abnormal operations (CFR: 41.5 / 43.5 / 45.3 / 45.5): Unsuccessful turbine latching | 2.5 | A2 | 400045
60 | (014K2.04) Knowledge of electrical power supplies to the following (CFR: 41.7): (SF1 RPI) ROD POSITION INDICATION SYSTEM Rod position main control room display panel | 3 | K2 | 400014
61 | (011K4.05) Knowledge of (SF2 PZR LCS) PRESSURIZER LEVEL CONTROL SYSTEM design features and/or interlocks that provide for the following (CFR: 41.7): PZR level inputs to RPS | 3.8 | K4 | 400011
62 | (028A4.01) Ability to manually operate and/or monitor the (SF5 HRPS) HYDROGEN RECOMBINER AND PURGE CONTROL SYSTEM in the control room (CFR: 41.7 / 45.5 to 45.8): HRPS controls | 2.8 | A4 | 400028
63 | (056A3.01) Ability to monitor automatic features of the (SF4S CDS) CONDENSATE SYSTEM, including (CFR: 41.7 / 45.5): Automatic hotwell level control | 2.9 | A3 | 400056
64 | (G2.1.36) CONDUCT OF OPERATIONS: Knowledge of procedures and limitations involved in core alterations (CFR: 41.10 / 43.6 / 45.7) | 3 | G2.1 | G2.1
65 | (G2.1.21) CONDUCT OF OPERATIONS: Ability to verify that a copy of a controlled procedure is the proper revision (CFR: 41.10 / 45.10 / 45.13) | 3.5 | G2.1 | G2.1
66 | (G2.2.39) EQUIPMENT CONTROL: Knowledge of less than or equal to 1 hour TS action statements (does not include action statements of 1 hour or less that follow the expiration of a completion time for a TS condition for which an action statement has already been entered) (CFR: 41.7 / 41.10 / 43.2 / 45.13) | 3.9 | G2.2 | G2.2
67 | (G2.2.13) EQUIPMENT CONTROL: Knowledge of tagging and clearance procedures (CFR: 41.10 / 43.1 / 45.13) | 4.1 | G2.2 | G2.2
68 | (G2.3.11) RADIATION CONTROL: Ability to control radiation releases (CFR: 41.11 / 43.4 / 45.10) | 3.8 | G2.3 | G2.3
69 | (G2.4.3) EMERGENCY PROCEDURES/PLAN: Ability to identify post-accident instrumentation (CFR: 41.6 / 45.4) | 3.7 | G2.4 | G2.4
70 | (192005K1.16) CONTROL RODS (CFR: 41.1): Explain the effects of full and/or part length rods on delta I (flux distribution) | 3.5 | R | 192005
71 | (192006K1.12) FISSION PRODUCT POISONS (CFR: 41.1): Plot the curve and explain the reasoning for the reactivity insertion by xenon-135 versus time for the following: -- reactor trip | 3.1 | R | 192006
72 | (192002K1.10) NEUTRON LIFE CYCLE (CFR: 41.1): Define SDM | 3.6 | R | 192002
73 | (193009K1.02) CORE THERMAL LIMITS (CFR: 41.14): Explain axial peaking factor | 2.8 | T | 193009
74 | (193004K1.11) THERMODYNAMIC PROCESS (CFR: 41.14): (CONDENSERS) Describe the process of condensate depression (subcooling) and its effect on plant operation | 2.5 | T | 193004
75 | (193005K1.03) THERMODYNAMIC CYCLES (CFR: 41.14): Describe how changes in system parameters affect thermodynamic efficiency | 2.6 | T | 193005
76 | (008AA2.03) Ability to determine and/or interpret the following as they apply to (APE 8) PRESSURIZER VAPOR Space Accident (CFR: 43.5 / 45.13): PZR PORV and/or safety valve position | 4 | A2 | 395002
77 | (395014) 000055 (EPE 55) Station Blackout (G2.2.38) EQUIPMENT CONTROL: Knowledge of conditions and limitations in the facility license (CFR: 41.7 / 41.10 / 43.1 / 45.13) | 4.5 | G | 395014
78 | (062AA2.02) Ability to determine and/or interpret the following as they apply to (APE 62) LOSS OF SERVICE WATER (CFR: 43.5 / 45.13): The cause of possible SWS loss | 3.3 | A2 | 395018
79 | (395007) 000025 (APE 25) Loss of Residual Heat Removal System (G2.1.3) CONDUCT OF OPERATIONS: Knowledge of shift or short-term relief turnover practices (CFR: 41.10 / 45.13) | 3.9 | G | 395007
80 | (WE12EA2.06) Ability to determine and/or interpret the following as they apply to (W E12) UNCONTROLLED DEPRESSURIZATION OF ALL STEAM GENERATORS (CFR: 41.10 / 43.5 / 45.13): Core exit temperatures and/or subcooling | 3.8 | A2 | 395012
81 | (395017) 000058 (APE 58) Loss of DC Power (G2.4.35) EMERGENCY PROCEDURES/PLAN: Knowledge of nonlicensed operator responsibilities during an emergency (CFR: 41.10 / 43.1 / 43.5 / 45.13) | 4 | G | 395017
82 | (033AA2.07) Ability to determine and/or interpret the following as they apply to (APE 33) LOSS OF INTERMEDIATE RANGE Nuclear Instrumentation (CFR: 43.5 / 45.13): Confirmation of reactor trip | 4.1 | A2 | 395030
83 | (395034) 000059 (APE 59) Accidental Liquid Radwaste Release (G2.4.25) EMERGENCY PROCEDURES/PLAN: Knowledge of fire protection procedures (CFR: 41.10 / 43.5 / 45.13) | 3.7 | G | 395034
84 | (024AA2.11) Ability to determine and/or interpret the following as they apply to (APE 24) EMERGENCY Boration (CFR: 43.5 / 45.13): T‑ave. | 3.6 | A2 | 395027
85 | (395035) 000060 (APE 60) Accidental Gaseous Radwaste Release (G2.2.14) EQUIPMENT CONTROL: Knowledge of the process for controlling equipment configuration or status (CFR: 41.10 / 43.3 / 45.13) | 4.3 | G | 395035
86 | (012A2.05) Ability to (a) predict the impacts of the following on the (SF7 RPS) REACTOR PROTECTION SYSTEM and (b) based on those predictions, use procedures to correct, control, or mitigate the consequences of those abnormal operations (CFR: 41.5 / 43.5 / 45.3 / 45.5): Faulty or erratic operation of detectors and function generators | 3.4 | A2 | 400012
87 | (400073) 073 (SF7 PRM) PROCESS RADIATION MONITORING SYSTEM (G2.4.41) EMERGENCY PROCEDURES/PLAN: Knowledge of the emergency action level thresholds and classifications (SRO Only) (CFR: 43.5 / 45.11) | 4.6 | G | 400073
88 | (064A2.29) Ability to (a) predict the impacts of the following on the (SF6 EDG) EMERGENCY DIESEL GENERATOR SYSTEM and (b) based on those predictions, use procedures to correct, control, or mitigate the consequences of those abnormal operations (CFR: 41.5 / 43.5 / 45.3 / 45.13): ESFAS actuation | 4.3 | A2 | 400064
89 | (400103) 103 (SF5 CNT) CONTAINMENT SYSTEM (G2.4.18) EMERGENCY PROCEDURES/PLAN: Knowledge of the specific bases for emergency and abnormal operating procedures (CFR: 41.10 / 43.1 / 45.13) | 4 | G | 400103
90 | (013A2.11) Ability to (a) predict the impacts of the following on the (SF2 ESFAS) ENGINEERED SAFETY FEATURES ACTUATION SYSTEM and (b) based on those predictions, use procedures to correct, control, or mitigate the consequences of those abnormal operations (CFR: 41.5 / 41.7 / 41.10 / 43.5 / 45.3 / 45.13): S/G tube rupture | 4.3 | A2 | 400013
91 | (400027) 027 (SF5 CIRS) CONTAINMENT IODINE REMOVAL SYSTEM (G2.3.14) RADIATION CONTROL: Knowledge of radiation or contamination hazards that may arise during normal, abnormal, or emergency conditions or activities, such as analysis and interpretation of radiation and activity readings as they pertain to administrative, normal, abnormal, and emergency procedures or to analysis and interpretation of coolant activity, including comparison to emergency plan or regulatory limits (SRO Only) (CFR: 43.4 / 45.10) | 3.8 | G | 400027
92 | (041A2.07) Ability to (a) predict the impacts of the following on the (SF4S SDS) STEAM DUMP/TURBINE BYPASS CONTROL SYSTEM and (b) based on those predictions, use procedures to correct, control, or mitigate the consequences of those abnormal operations (CFR: 41.5 / 43.5 / 45.3 / 45.13): Failure of the steam dump controller | 3.7 | A2 | 400041
93 | (400035) 035 (SF4P SG) STEAM GENERATOR SYSTEM (G2.4.38) EMERGENCY PROCEDURES/PLAN: Ability to take actions required by the facility emergency plan implementing procedures, including supporting or acting as emergency coordinator (CFR: 41.10 / 43.5 / 45.11) | 4.4 | G | 400035
94 | (G2.1.35) CONDUCT OF OPERATIONS: Knowledge of the fuel handling responsibilities of SROs (SRO Only) (CFR: 43.7) | 3.9 | G2.1 | G2.1
95 | (G2.1.20) CONDUCT OF OPERATIONS: Ability to interpret and execute procedure steps (CFR: 41.10 / 43.5 / 45.12) | 4.6 | G2.1 | G2.1
96 | (G2.2.3) EQUIPMENT CONTROL: (Multi-unit license) Knowledge of the design, procedural, and/or operational differences between units (CFR: 41.5 / 41.6 / 41.7 / 41.10 / 45.12) | 3.9 | G2.2 | G2.2
97 | (G2.2.12) EQUIPMENT CONTROL: Knowledge of surveillance procedures (CFR: 41.10 / 43.2 / 45.13) | 4.1 | G2.2 | G2.2
98 | (G2.3.5) RADIATION CONTROL: Ability to use RMSs, such as fixed radiation monitors and alarms or personnel monitoring equipment (CFR: 41.11 / 41.12 / 43.4 / 45.9) | 2.9 | G2.3 | G2.3
99 | (G2.4.5) EMERGENCY PROCEDURES/PLAN: Knowledge of the organization of the operating procedures network for normal, abnormal, and emergency evolutions (CFR: 41.10 / 43.5 / 45.13) | 4.3 | G2.4 | G2.4
100 | (G2.4.6) EMERGENCY PROCEDURES/PLAN: Knowledge of emergency and abnormal operating procedures major action categories (CFR: 41.10 / 43.5 / 45.13) | 4.7 | G2.4 | G2.4