## Sheet1
Question Number | Topic Title | Topic Importance | K/A Category | System
1 | (395011) 000038 (EPE 38) Steam Generator Tube Rupture (G2.1.18) CONDUCT OF OPERATIONS: Ability to make accurate, clear, and concise logs, records, status boards, and reports (CFR: 41.10 / 45.12 / 45.13) | 3.6 | G | 395011
2 | (056AK2.13) Knowledge of the relationship between (APE 56) Loss of Offsite Power and the following systems or components (CFR: 41.7 / 45.7): MRSS/atmospheric relief valves | 3.9 | K2 | 395015
3 | (027AK1.03) Knowledge of the operational implications and/or cause and effect relationships of the following concepts as they apply to (APE 27) PRESSURIZER PRESSURE Control System Malfunction (CFR: 41.7 / 41.8 / 41.10 / 45.3): Latent heat of vaporization / condensation | 3.2 | K1 | 395009
4 | (057AK3.01) Knowledge of the reasons for the following responses and/or actions as they apply to (APE 57) LOSS OF VITAL AC ELECTRICALINSTRUMENT BUS (CFR: 41.5 / 41.10 / 45.6 / 45.13): Actions contained in AOPs for the loss of a vital AC electrical instrument bus | 4.1 | K3 | 395016
5 | (077AA2.11) Ability to determine and/or interpret the following as they apply to (APE 77) GENERATOR VOLTAGE AND ELECTRIC Grid Disturbances (CFR: 41.5 / 43.5 / 45.5 / 45.7 / 45.8): Excessive stepup transformer neutral DC ground current | 2.8 | A2 | 395020
6 | (055EA1.11) Ability to operate and/or monitor the following as they apply to (EPE 55) Station Blackout (CFR: 41.7 / 45.5 / 45.6): AC electrical distribution system | 4 | A1 | 395014
7 | (395005) 000015 (APE 15) Reactor Coolant Pump Malfunctions (G2.1.3) CONDUCT OF OPERATIONS: Knowledge of shift or short-term relief turnover practices (CFR: 41.10 / 45.13) | 3.7 | G | 395005
8 | (025AK2.01) Knowledge of the relationship between (APE 25) LOSS OF RESIDUAL Heat Removal System and the following systems or components (CFR: 41.7 / 45.7): RHR | 4 | K2 | 395007
9 | (CE06EK1.09) Knowledge of the operational implications and/or cause and effect relationships of the following concepts as they apply to (CE E06) LOSS OF FEEDWATER (CFR: 41.5 / 41.7 / 45.7 to 45.9): Methods for restoring offsite power | 3.4 | K1 | 395013
10 | (065AK3.11) Knowledge of the reasons for the following responses and/or actions as they apply to (APE 65) LOSS OF Instrument Air (CFR: 41.5 / 41.10 / 45.6 / 45.13): Aligning air-operated equipment to pressurized header with cross‑connects | 3.2 | K3 | 395019
11 | (009EA2.34) Ability to determine and/or interpret the following as they apply to (EPE 9) SMALL-Break LOCA (CFR: 43.5 / 45.13): Conditions for throttling or stopping HPI | 3.8 | A2 | 395003
12 | (026AA1.05) Ability to operate and/or monitor the following as they apply to (APE 26) LOSS OF Component Cooling Water (CFR: 41.5 / 41.7 / 45.5 to 45.8): The CCWS surge tank, including level control, level alarms, and a radiation alarm | 3.5 | A1 | 395008
13 | (395017) 000058 (APE 58) Loss of DC Power (G2.2.35) EQUIPMENT CONTROL: Ability to determine TS for mode of operation (CFR: 41.7 / 41.10 / 43.2 / 45.13) | 3.6 | G | 395017
14 | (008AK2.08) Knowledge of the relationship between (APE 8) PRESSURIZER VAPOR Space Accident and the following systems or components (CFR: 41.7 / 45.7): PZR PCS | 3.8 | K2 | 395002
15 | (BE05EK1.05) Knowledge of the operational implications and/or cause and effect relationships of the following concepts as they apply to (BW E05) Excessive Heat Transfer (CFR: 41.5 / 41.7 / 45.7 / 45.8): Secondary pressure control | 3.8 | K1 | 395012
16 | (011EK3.17) Knowledge of the reasons for the following responses and/or actions as they apply to (EPE 11) LARGE-Break LOCA (CFR: 41.5 / 41.10 / 45.6 / 45.13): Starting service water pumps | 3.8 | K3 | 395004
17 | (022AA2.08) Ability to determine and/or interpret the following as they apply to (APE 22) LOSS OF REACTOR Coolant Makeup (CFR: / 43.5 / 45.13): RCP seal flows, temperatures, pressures, and vibrations | 3 | A2 | 395006
18 | (062AA1.04) Ability to operate and/or monitor the following as they apply to (APE 62) LOSS OF SERVICE WATER (CFR: 41.7 / 45.5 / 45.6): CRDM high-temperature alarm system | 3.1 | A1 | 395018
19 | (395039) 000069 (APE 69; W E14) Loss of Containment Integrity (G2.4.26) EMERGENCY PROCEDURES/PLAN: Knowledge of facility protection requirements, including fire brigade and portable firefighting equipment usage (CFR: 41.10 / 43.5 / 45.12) | 3.1 | G | 395039
20 | (067AK2.10) Knowledge of the relationship between (APE 67) PLANT Fire On Site and the following systems or components (CFR: 41.7 / 45.7): PVS | 3.2 | K2 | 395037
21 | (CE09EK1.12) Knowledge of the operational implications and/or cause and effect relationships of the following concepts as they apply to (CE E09) FUNCTIONAL RECOVERY (CFR: 41.5 / 41.7 / 45.7 to 45.9): Feed rates associated with a faulted or ruptured S/G | 3.7 | K1 | 395058
22 | (024AK3.02) Knowledge of the reasons for the following responses and/or actions as they apply to (APE 24) EMERGENCY Boration (CFR: 41.5 / 41.10 / 45.6 / 45.13): Actions contained in EOPs/AOPs for emergency boration | 4.1 | K3 | 395027
23 | (061AA2.06) Ability to determine and/or interpret the following as they apply to (APE 61) AREA RADIATION MONITORING (ARM) System Alarms (CFR: 43.5 / 45.13): Required actions if the alarm channel is out of service | 3.4 | A2 | 395036
24 | (036AA1.04) Ability to operate and/or monitor the following as they apply to (APE 36) FUEL HANDLING INCIDENTS (CFR: 41.7 / 45.5 / 45.6): Fuel handling equipment during an incident | 3.3 | A1 | 395031
25 | (395059) (CE E13*) Loss of Forced Circulation/LOOP/Blackout (G2.4.14) EMERGENCY PROCEDURES/PLAN: Knowledge of general guidelines for emergency and abnormal operating procedures usage (CFR: 41.10 / 43.1 / 45.13) | 3.8 | G | 395059
26 | (003AK2.08) Knowledge of the relationship between (APE 3) DROPPED Control Rod and the following systems or components (CFR: 41.7 / 45.7): NIS | 3.9 | K2 | 395025
27 | (012K1.04) Knowledge of the physical connections and/or cause and effect relationships between the (SF7 RPS) REACTOR PROTECTION SYSTEM and the following systems (CFR: 41.2 to 41.9 / 45.7 / 45.8): RPIS | 3.8 | K1 | 400012
28 | (004A2.02) Ability to (a) predict the impacts of the following on the (SF1; SF2 CVCS) CHEMICAL AND VOLUME CONTROL SYSTEM and (b) based on those predictions, use procedures to correct, control, or mitigate the consequences of those abnormal operations (CFR: 41.5 to 41.7 / 43.5 / 45.3 / 45.5): Loss of PZR level instrument(s) | 4.3 | A2 | 400004
29 | (010A3.05) Ability to monitor automatic features of the (SF3 PZR PCS) PRESSURIZER PRESSURE CONTROL SYSTEM, including (CFR: 41.7 / 45.5): PORV and block valve operation | 3.8 | A3 | 400010
30 | (063K5.02) Knowledge of the operational implications or cause and effect relationships of the following concepts as they apply to the (SF6 ED DC) DC ELECTRICAL DISTRIBUTION SYSTEM (CFR: 41.5 / 45.7): Hydrogen generation during battery charging | 2.8 | K5 | 400063
31 | (006K4.18) Knowledge of (SF2; SF3 ECCS) EMERGENCY CORE COOLING SYSTEM design features and/or interlocks that provide for the following (CFR: 41.7 / 41.8): Valves normally isolated from their control power | 3.3 | K4 | 400006
32 | (022A4.01) Ability to manually operate and/or monitor the (SF5 CCS) CONTAINMENT COOLING SYSTEM in the control room (CFR: 41.7 / 45.5 to 45.8): CCS fans | 3.7 | A4 | 400022
33 | (400076) 076 (SF4S SW) SERVICE WATER SYSTEM (G2.1.20) CONDUCT OF OPERATIONS: Ability to interpret and execute procedure steps (CFR: 41.10 / 43.5 / 45.12) | 4.6 | G | 400076
34 | (061K3.01) Knowledge of the effect that a loss or malfunction of the (SF4S AFW) AUXILIARY/EMERGENCY FEEDWATER SYSTEM will have on the following systems or system parameters (CFR: 41.5 / 41.7 / 45.6): RCS | 4.3 | K3 | 400061
35 | (073A1.01) Ability to predict and/or monitor changes in parameters associated with operation of the (SF7 PRM) PROCESS RADIATION MONITORING SYSTEM, including (CFR: 41.5 / 8-9): Radiation levels | 3.5 | A1 | 400073
36 | (005K2.03) Knowledge of electrical power supplies to the following (CFR: 41.7): (SF4P RHR) RESIDUAL HEAT REMOVAL SYSTEM RCS pressure boundary motor‑operated valves | 3.4 | K2 | 400005
37 | (103K6.08) Knowledge of the effect of the following plant conditions, system malfunctions, or component malfunctions on the (SF5 CNT) CONTAINMENT SYSTEM (CFR: 41.7 / 45.7): Containment vacuum system | 3.4 | K6 | 400103
38 | (039K1.11) Knowledge of the physical connections and/or cause and effect relationships between the (SF4S MSS) MAIN AND REHEAT STEAM SYSTEM and the following systems (CFR: 41.2 to 41.9 / 45.7 / 45.8): CDS | 3.1 | K1 | 400039
39 | (007A2.01) Ability to (a) predict the impacts of the following on the (SF5 PRTS) PRESSURIZER RELIEF/QUENCH TANK SYSTEM and (b) based on those predictions, use procedures to correct, control, or mitigate the consequences of those abnormal operations (CFR: 41.5 / 43.5 / 45.3 / 45.13): A PORV that is stuck open, or code safety valve | 4.5 | A2 | 400007
40 | (026A3.02) Ability to monitor automatic features of the (SF5 CSS) CONTAINMENT SPRAY SYSTEM, including (CFR: 41.7 / 45.5): Verification that cooling water is supplied to the containment spray heat exchanger | 3.5 | A3 | 400026
41 | (059K5.06) Knowledge of the operational implications or cause and effect relationships of the following concepts as they apply to the (SF4S MFW) MAIN FEEDWATER SYSTEM (CFR: 41.5 / 45.7): Characteristics of level, flow, and pressure indications | 3.1 | K5 | 400059
42 | (062K4.05) Knowledge of (SF6 ED AC) AC ELECTRICAL DISTRIBUTION SYSTEM design features and/or interlocks that provide for the following (CFR: 41.7): Paralleling of AC sources (synchroscope) | 3.6 | K4 | 400062
43 | (078A4.03) Ability to manually operate and/or monitor the (SF8 IAS) INSTRUMENT AIR SYSTEM in the control room (CFR: 41.7 / 45.5 to 45.8): Isolation/restoration of instrument air to isolated components/systems | 3.2 | A4 | 400078
44 | (400013) 013 (SF2 ESFAS) ENGINEERED SAFETY FEATURES ACTUATION SYSTEM (191002K1.13) SENSORS AND DETECTORS (CFR: 41.7): (TEMPERATURE) Theory and operation of thermocouple, RTD, thermostats, and/or thermometers (expanding fluid) | 2.8 | C | 400013
45 | (003K3.01) Knowledge of the effect that a loss or malfunction of the (SF4P RCP) REACTOR COOLANT PUMP SYSTEM will have on the following systems or system parameters (CFR: 41.7 / 45.6): RCS | 4.2 | K3 | 400003
46 | (008A1.03) Ability to predict and/or monitor changes in parameters associated with operation of the (SF8 CCW) COMPONENT COOLING WATER SYSTEM, including (CFR: 41.5 / 45.7): CCW pressure | 3.1 | A1 | 400008
47 | (064K2.01) Knowledge of electrical power supplies to the following: (SF6 EDG) EMERGENCY DIESEL GENERATOR SYSTEM (CFR: 41.7) Starting air compressor | 3 | K2 | 400064
48 | (012K6.03) Knowledge of the effect of the following plant conditions, system malfunctions, or component malfunctions on the (SF7 RPS) REACTOR PROTECTION SYSTEM (CFR: 41.7 / 45.7): Trip logic circuits | 4 | K6 | 400012
49 | (004K1.19) Knowledge of the physical connections and/or cause and effect relationships between the (SF1; SF2 CVCS) CHEMICAL AND VOLUME CONTROL SYSTEM and the following systems (CFR: 41.3 / 41.5 to 41.8 / 41.10): Primary grade water supply | 3.2 | K1 | 400004
50 | (010A2.02) Ability to (a) predict the impacts of the following on the (SF3 PZR PCS) PRESSURIZER PRESSURE CONTROL SYSTEM and (b) based on those predictions, use procedures to correct, control, or mitigate the consequences of those abnormal operations (CFR: 41.5 / 43.5 / 45.3 / 45.13): Spray valve failures | 4.5 | A2 | 400010
51 | (063A3.02) Ability to monitor automatic features of the (SF6 ED DC) DC ELECTRICAL DISTRIBUTION SYSTEM, including (CFR: 41.7 / 45.5): Battery charger undervoltage stripping | 3.1 | A3 | 400063
52 | (006K5.16) Knowledge of the operational implications or cause and effect relationships of the following concepts as they apply to the (SF2; SF3 ECCS) EMERGENCY CORE COOLING SYSTEM (CFR: 41.5 / 45.7): LPI ECCS pumps for CSS | 3.7 | K5 | 400006
53 | (022K4.06) Knowledge of (SF5 CCS) CONTAINMENT COOLING SYSTEM design features and/or interlocks that provide for the following (CFR: 41.7): Containment pipe chase cooling | 2.8 | K4 | 400022
54 | (076A4.01) Ability to manually operate and/or monitor the (SF4S SW) SERVICE WATER SYSTEM in the control room (CFR: 41.7 / 45.5 to 45.8): SWS pumps | 3.9 | A4 | 400076
55 | (008K1.02) Knowledge of the physical connections and/or cause and effect relationships between the (SF8 CCW) COMPONENT COOLING WATER SYSTEM and the following systems (CFR: 41.2 (BW) / 41.3 to 41.9 / 45.7 to 45.9): Loads cooled by CCWS | 4 | K1 | 400008
56 | (012A2.02) Ability to (a) predict the impacts of the following on the (SF7 RPS) REACTOR PROTECTION SYSTEM and (b) based on those predictions, use procedures to correct, control, or mitigate the consequences of those abnormal operations (CFR: 41.5 / 43.5 / 45.3 / 45.5): Loss of instrument power | 3.9 | A2 | 400012
57 | (013A3.13) Ability to monitor automatic features of the (SF2 ESFAS) ENGINEERED SAFETY FEATURES ACTUATION SYSTEM, including (CFR: 41.6 to 41.8 / 45.5): MFW isolation | 3.9 | A3 | 400013
58 | (007K5.01) Knowledge of the operational implications or cause and effect relationships of the following concepts as they apply to the (SF5 PRTS) PRESSURIZER RELIEF/QUENCH TANK SYSTEM (CFR: 41.5 / 45.7): Principles of steam quenching | 3 | K5 | 400007
59 | (103K4.02) Knowledge of (SF5 CNT) CONTAINMENT SYSTEM design features and/or interlocks that provide for the following (CFR: 41.7): Containment penetration cooling | 2.7 | K4 | 400103
60 | (003A4.09) Ability to manually operate and/or monitor the (SF4P RCP) REACTOR COOLANT PUMP SYSTEM in the control room (CFR: 41.7 / 45.5 to 45.8): RCS flow, motor current, or seal D/P | 3.6 | A4 | 400003
61 | (400062) 062 (SF6 ED AC) AC ELECTRICAL DISTRIBUTION SYSTEM (G2.1.29) CONDUCT OF OPERATIONS: Knowledge of how to conduct system lineups, such as valves, breakers, or switches (CFR: 41.10 / 45.1 / 45.12) | 4.1 | G | 400062
62 | (025K3.01) Knowledge of the effect that a loss or malfunction of the (SF5 ICE) ICE CONDENSER SYSTEM will have on the following systems or system parameters (CFR: 41.7 / 45.6): Containment | 4.3 | K3 | 400025
63 | (010A1.12) Ability to predict and/or monitor changes in parameters associated with operation of the (SF3 PZR PCS) PRESSURIZER PRESSURE CONTROL SYSTEM, including (CFR: 41.5 / 45.5): Alarms and lights | 3.3 | A1 | 400010
64 | (G2.1.28) CONDUCT OF OPERATIONS: Knowledge of the purpose and function of major system components and controls (CFR: 41.7) | 4.1 | G2.1 | G2.1
65 | (G2.1.39) CONDUCT OF OPERATIONS: Knowledge of conservative decision-making practices (CFR: 41.10 / 43.5 / 45.12) | 3.6 | G2.1 | G2.1
66 | (G2.2.15) EQUIPMENT CONTROL: Ability to determine the expected plant configuration using design and configuration control documentation, such as drawings, lineups, or tagouts (reference potential) (CFR: 41.10 / 43.3 / 45.13) | 3.9 | G2.2 | G2.2
67 | (G2.2.14) EQUIPMENT CONTROL: Knowledge of the process for controlling equipment configuration or status (CFR: 41.10 / 43.3 / 45.13) | 3.9 | G2.2 | G2.2
68 | (G2.3.5) RADIATION CONTROL: Ability to use RMSs, such as fixed radiation monitors and alarms or personnel monitoring equipment (CFR: 41.11 / 41.12 / 43.4 / 45.9) | 2.9 | G2.3 | G2.3
69 | (G2.4.43) EMERGENCY PROCEDURES/PLAN: Knowledge of emergency communications systems and techniques (CFR: 41.10 / 43.5 / 45.13) | 3.2 | G2.4 | G2.4
70 | (192005K1.10) CONTROL RODS (CFR: 41.1): State the purpose of flux shaping | 2.9 | R | 192005
71 | (192008K1.01) REACTOR OPERATIONAL PHYSICS (CFR: 41.1): (STARTUP AND APPROACH TO CRITICALITY) List parameters that should be monitored and controlled during the approach to criticality | 3.5 | R | 192008
72 | (192001K1.02) NEUTRONS (CFR: 41.1): Define prompt and delayed neutrons | 2.5 | R | 192001
73 | (193009K1.01) CORE THERMAL LIMITS (CFR: 41.14): Explain radial peaking factor | 2.8 | T | 193009
74 | (193007K1.08) HEAT TRANSFER (CFR: 41.14): (CORE THERMAL POWER) Calculate core thermal power using a simplified heat balance | 3.4 | T | 193007
75 | (193006K1.07) FLUID STATICS AND DYNAMICS (CFR: 41.14): Define or explain the following term or concept: -- two-phase flow | 2.9 | T | 193006
76 | (395001) 000007 (EPE 7; BW E02 & E10; CE E02) Reactor Trip, Stabilization, Recovery (G2.2.2) EQUIPMENT CONTROL: Ability to manipulate the console controls as required to operate the facility between shutdown and designated power levels (CFR: 41.6 / 41.7 / 45.2) | 4.1 | G | 395001
77 | (029EA2.13) Ability to determine and/or interpret the following as they apply to (EPE 29) ANTICIPATED TRANSIENT WITHOUT SCRAM (ATWS) (CFR: 43.5 / 45.13): RCS cooldown or heatup | 3.9 | A2 | 395010
78 | (395011) 000038 (EPE 38) Steam Generator Tube Rupture (G2.1.25) CONDUCT OF OPERATIONS: Ability to interpret reference materials, such as graphs, curves, and tables (reference potential) (CFR: 41.10 / 43.5 / 45.12) | 4.2 | G | 395011
79 | (056AA2.86) Ability to determine and/or interpret the following as they apply to (APE 56) Loss of Offsite Power (CFR: 43.5 / 45.13): Main steam pressure | 3.3 | A2 | 395015
80 | (395009) 000027 (APE 27) Pressurizer Pressure Control System Malfunction (G2.2.17) EQUIPMENT CONTROL: Knowledge of the process for managing maintenance activities during power operations, such as risk assessments, work prioritization, and coordination with the transmission system operator (CFR: 41.10 / 43.5 / 45.13) | 3.8 | G | 395009
81 | (057AA2.12) Ability to determine and/or interpret the following as they apply to (APE 57) LOSS OF VITAL AC ELECTRICALINSTRUMENT BUS (CFR: 43.5 / 45.13): PZR level controller, instrumentation, and heaters | 3.7 | A2 | 395016
82 | (395035) 000060 (APE 60) Accidental Gaseous Radwaste Release (G2.2.23) EQUIPMENT CONTROL: Ability to track TS limiting conditions for operation (CFR: 41.10 / 43.2 / 45.13) | 4.6 | G | 395035
83 | (028AA2.11) Ability to determine and/or interpret the following as they apply to (APE 28) PRESSURIZER (PZR) Level Control Malfunction (CFR: 43.5 / 45.13): Leak in PZR | 3.7 | A2 | 395028
84 | (395034) 000059 (APE 59) Accidental Liquid Radwaste Release (G2.2.12) EQUIPMENT CONTROL: Knowledge of surveillance procedures (CFR: 41.10 / 43.2 / 45.13) | 4.1 | G | 395034
85 | (032AA2.06) Ability to determine and/or interpret the following as they apply to (APE 32) LOSS OF SOURCE RANGE Nuclear Instrumentation (CFR: 43.5 / 45.13): Confirmation of reactor trip | 4.1 | A2 | 395029
86 | (400061) 061 (SF4S AFW) AUXILIARY / EMERGENCY FEEDWATER SYSTEM (G2.2.21) EQUIPMENT CONTROL: Knowledge of pre- and post-maintenance operability requirements (CFR: 41.10 / 43.2) | 4.1 | G | 400061
87 | (073A2.01) Ability to (a) predict the impacts of the following on the (SF7 PRM) PROCESS RADIATION MONITORING SYSTEM and (b) based on those predictions, use procedures to correct, control, or mitigate the consequences of those abnormal operations (CFR: 41.5 / 43.5 / 45.3 / 45.13 / 8-9): PRM component failures | 3.1 | A2 | 400073
88 | (400005) 005 (SF4P RHR) RESIDUAL HEAT REMOVAL SYSTEM (G2.1.36) CONDUCT OF OPERATIONS: Knowledge of procedures and limitations involved in core alterations (CFR: 41.10 / 43.6 / 45.7) | 4.1 | G | 400005
89 | (103A2.03) Ability to (a) predict the impacts of the following on the (SF5 CNT) CONTAINMENT SYSTEM and (b) based on those predictions, use procedures to correct, control, or mitigate the consequences of those abnormal operations (CFR: 41.5 / 43.5 / 45.3 / 45.13): Containment isolation signal | 4 | A2 | 400103
90 | (400039) 039 (SF4S MSS) MAIN AND REHEAT STEAM SYSTEM (G2.4.42) EMERGENCY PROCEDURES/PLAN: Knowledge of emergency response facilities (CFR: 41.10 / 45.11) | 3.8 | G | 400039
91 | (039A2.04) Ability to (a) predict the impacts of the following on the (SF4S MSS) MAIN AND REHEAT STEAM SYSTEM and (b) based on those predictions, use procedures to correct, control, or mitigate the consequences of those abnormal operations (CFR: 41.5 / 43.5 / 45.3 / 45.13): Malfunctioning steam dump | 3.7 | A2 | 400039
92 | (400078) 078 (SF8 IAS) INSTRUMENT AIR SYSTEM (G2.4.41) EMERGENCY PROCEDURES/PLAN: Knowledge of the emergency action level thresholds and classifications (SRO Only) (CFR: 43.5 / 45.11) | 4.6 | G | 400078
93 | (061A2.07) Ability to (a) predict the impacts of the following on the (SF4S AFW) AUXILIARY/EMERGENCY FEEDWATER SYSTEM and (b) based on those predictions, use procedures to correct, control, or mitigate the consequences of those abnormal operations (CFR: 41.5 / 45.6): Air-operated valve, solenoid-operated valve, or motor-operated valve failure | 3.5 | A2 | 400061
94 | (G2.1.21) CONDUCT OF OPERATIONS: Ability to verify that a copy of a controlled procedure is the proper revision (CFR: 41.10 / 45.10 / 45.13) | 3.6 | G2.1 | G2.1
95 | (G2.1.37) CONDUCT OF OPERATIONS: Knowledge of procedures, guidelines, or limitations associated with reactivity management (CFR: 41.1 / 41.5 / 41.10 / 43.6 / 45.6) | 4.6 | G2.1 | G2.1
96 | (G2.2.13) EQUIPMENT CONTROL: Knowledge of tagging and clearance procedures (CFR: 41.10 / 43.1 / 45.13) | 4.3 | G2.2 | G2.2
97 | (G2.2.7) EQUIPMENT CONTROL: Knowledge of the process for conducting infrequently performed tests or evolutions (CFR: 41.10 / 43.3 / 45.13) | 3.6 | G2.2 | G2.2
98 | (G2.3.6) RADIATION CONTROL: Ability to approve liquid or gaseous release permits (CFR: 41.13 / 43.4 / 45.10) | 3.8 | G2.3 | G2.3
99 | (G2.4.20) EMERGENCY PROCEDURES/PLAN: Knowledge of the operational implications of emergency and abnormal operating procedures warnings, cautions, and notes (CFR: 41.10 / 43.5 / 45.13) | 4.3 | G2.4 | G2.4
100 | (G2.4.45) EMERGENCY PROCEDURES/PLAN: Ability to prioritize and interpret the significance of each annunciator or alarm (CFR: 41.10 / 43.5 / 45.3 / 45.12) | 4.3 | G2.4 | G2.4