## Sheet1
Question Number | Topic Title | Topic Importance | K/A Category | System
1 | (025AA1.01) Ability to operate and/or monitor the following as they apply to (APE 25) LOSS OF RESIDUAL Heat Removal System (CFR: 41.7 / 45.5 / 45.6): ITM | 3.8 | A1 | 395007
2 | (027AK1.03) Knowledge of the operational implications and/or cause and effect relationships of the following concepts as they apply to (APE 27) PRESSURIZER PRESSURE Control System Malfunction (CFR: 41.7 / 41.8 / 41.10 / 45.3): Latent heat of vaporization / condensation | 3.2 | K1 | 395009
3 | (009EK2.03) Knowledge of the relationship between (EPE 9) SMALL-Break LOCA and the following systems or components (CFR: 41.7 / 45.7): S/Gs | 3.9 | K2 | 395003
4 | (395001) 000007 (EPE 7; BW E02 & E10; CE E02) Reactor Trip, Stabilization, Recovery (G2.2.38) EQUIPMENT CONTROL: Knowledge of conditions and limitations in the facility license (CFR: 41.7 / 41.10 / 43.1 / 45.13) | 3.6 | G | 395001
5 | (058AA2.03) Ability to determine and/or interpret the following as they apply to (APE 58) LOSS OF DC Power (CFR: 43.5 / 45.13): Impact on ability to operate and monitor plant systems | 4 | A2 | 395017
6 | (015AK3.07) Knowledge of the reasons for the following responses and/or actions as they apply to (APE 15) REACTOR COOLANT Pump Malfunctions (CFR: 41.5 / 41.10 / 45.6 / 45.13): Ensuring that S/G levels are controlled properly for natural circulation enhancement | 3.7 | K3 | 395005
7 | (038EA1.09) Ability to operate and/or monitor the following as they apply to (EPE 38) STEAM GENERATOR Tube Rupture (CFR: 41.7 / 45.5 / 45.6): PZR LCS | 3.7 | A1 | 395011
8 | (029EK1.01) Knowledge of the operational implications and/or cause and effect relationships of the following concepts as they apply to (EPE 29) ANTICIPATED TRANSIENT WITHOUT SCRAM (ATWS) (CFR: 41.8 / 41.10 / 45.3): Reactor nucleonic and thermohydraulic behavior | 3.8 | K1 | 395010
9 | (056AK2.10) Knowledge of the relationship between (APE 56) Loss of Offsite Power and the following systems or components (CFR: 41.7 / 45.7): AC distribution system | 4.3 | K2 | 395015
10 | (395004) 000011 (EPE 11) Large Break LOCA (G2.1.47) CONDUCT OF OPERATIONS: Ability to direct nonlicensed personnel activities inside the control room (CFR: 41.10 / 43.5 / 45.5 / 45.12 / 45.13) | 3.2 | G | 395004
11 | (008AA2.02) Ability to determine and/or interpret the following as they apply to (APE 8) PRESSURIZER VAPOR Space Accident (CFR: 43.5 / 45.13): PZR spray valve position | 3 | A2 | 395002
12 | (057AK3.01) Knowledge of the reasons for the following responses and/or actions as they apply to (APE 57) LOSS OF VITAL AC ELECTRICALINSTRUMENT BUS (CFR: 41.5 / 41.10 / 45.6 / 45.13): Actions contained in AOPs for the loss of a vital AC electrical instrument bus | 4.1 | K3 | 395016
13 | (054AA1.06) Ability to operate and/or monitor the following as they apply to (APE 54) LOSS OF Main Feedwater (CFR: 41.7 / 45.5 / 45.6): CDS pumps | 3 | A1 | 395013
14 | (055EK1.05) Knowledge of the operational implications and/or cause and effect relationships of the following concepts as they apply to (EPE 55) Station Blackout (CFR: 41.8 / 41.10 / 45.3): Load shedding | 3.8 | K1 | 395014
15 | (026AK2.04) Knowledge of the relationship between (APE 26) LOSS OF Component Cooling Water and the following systems or components (CFR: 41.8 / 41.10 / 45.3): SFPCS | 3.6 | K2 | 395008
16 | (395019) 000065 (APE 65) Loss of Instrument Air (G2.4.18) EMERGENCY PROCEDURES/PLAN: Knowledge of the specific bases for emergency and abnormal operating procedures (CFR: 41.10 / 43.1 / 45.13) | 3.3 | G | 395019
17 | (022AA2.02) Ability to determine and/or interpret the following as they apply to (APE 22) LOSS OF REACTOR Coolant Makeup (CFR: / 43.5 / 45.13): Charging pump problems | 3.5 | A2 | 395006
18 | (062AK3.02) Knowledge of the reasons for the following responses and/or actions as they apply to (APE 62) LOSS OF SERVICE WATER (CFR: 41.4 / 41.8 / 45.7): The automatic actions (alignments) within the service water resulting from the actuation of the ESFAS | 3.9 | K3 | 395018
19 | (CE09EA1.23) Ability to operate and/or monitor the following as they apply to (CE E09) FUNCTIONAL RECOVERY (CFR: 41.5 / 41.7 / 45.5 / 45.8): ARMs and PRMs | 3.5 | A1 | 395058
20 | (WE14EK1.05) Knowledge of the operational implications and/or cause and effect relationships of the following concepts as they apply to (W E14) HIGH CONTAINMENT PRESSURE (CFR: 41.5 / 41.7 / 45.7 / 45.8): Priority for containment spray pump operation if ECA‑1.1, “Loss of Emergency Recirculation,” is in effect | 3.9 | K1 | 395039
21 | (028AK2.12) Knowledge of the relationship between (APE 28) PRESSURIZER (PZR) Level Control Malfunction and the following systems or components (CFR: 41.7 / 45.7): CVCS | 3.7 | K2 | 395028
22 | (395027) 000024 (APE 24) Emergency Boration (G2.1.30) CONDUCT OF OPERATIONS: Ability to locate and operate components, including local controls (CFR: 41.7 / 45.7) | 4.4 | G | 395027
23 | (078AA2.11) Ability to determine and/or interpret the following as they apply to (APE 78) REACTOR COOLANT SYSTEM LEAK (CFR: 43.5 / 45.13): SDM | 3 | A2 | 395042
24 | (CE13EK3.05) Knowledge of the reasons for the following responses and/or actions as they apply to (CE E13) LOSS OF FORCED CIRCULATION AND/OR LOOP AND/OR A BLACKOUT (CFR: 41.5 / 41.10 / 45.6 / 45.13): Protecting RCP seals | 3.7 | K3 | 395059
25 | (037AA1.13) Ability to operate and/or monitor the following as they apply to (APE 37) STEAM Generator Tube Leak (CFR: 41.7 / 41.10 / 45.5 / 45.6): S/GB radiation monitors | 3.4 | A1 | 395032
26 | (051AK1.02) Knowledge of the operational implications and/or cause and effect relationships of the following concepts as they apply to (APE 51) LOSS OF Condenser Vacuum (CFR: 41.8 / 41.10 / 45.3): Relationship of condenser and MT/G operation | 3.7 | K1 | 395033
27 | (103K5.02) Knowledge of the operational implications or cause and effect relationships of the following concepts as they apply to the (SF5 CNT) CONTAINMENT SYSTEM (CFR: 41.5 / 45.7): Hydrogen concentration inside containment | 3.5 | K5 | 400103
28 | (039A4.05) Ability to manually operate and/or monitor the (SF4S MSS) MAIN AND REHEAT STEAM SYSTEM in the control room (CFR: 41.7 / 45.5 to 45.8): Moisture separator reheater startup | 2.6 | A4 | 400039
29 | (400062) 062 (SF6 ED AC) AC ELECTRICAL DISTRIBUTION SYSTEM (G2.2.14) EQUIPMENT CONTROL: Knowledge of the process for controlling equipment configuration or status (CFR: 41.10 / 43.3 / 45.13) | 3.9 | G | 400062
30 | (013K3.07) Knowledge of the effect that a loss or malfunction of the (SF2 ESFAS) ENGINEERED SAFETY FEATURES ACTUATION SYSTEM will have on the following systems or system parameters (CFR: 41.3 to 41.7 / 45.6): ECCS | 4.3 | K3 | 400013
31 | (003A2.02) Ability to (a) predict the impacts of the following on the (SF4P RCP) REACTOR COOLANT PUMP SYSTEM and (b) based on those predictions, use procedures to correct, control, or mitigate the consequences of those abnormal operations (CFR: 41.5 / 43.5 / 45.3 / 45.13): Conditions that exist for an abnormal shutdown of an RCP compared to a normal shutdown of an RCP | 3.5 | A2 | 400003
32 | (063K4.04) Knowledge of (SF6 ED DC) DC ELECTRICAL DISTRIBUTION SYSTEM design features and/or interlocks that provide for the following (CFR: 41.7): Battery charger trip/shutdown (high voltage) | 3.1 | K4 | 400063
33 | (059A3.03) Ability to monitor automatic features of the (SF4S MFW) MAIN FEEDWATER SYSTEM, including (CFR: 41.7 / 45.5): Feedwater pump suction flow/pressure | 3.3 | A3 | 400059
34 | (005K2.02) Knowledge of electrical power supplies to the following (CFR: 41.7): (SF4P RHR) RESIDUAL HEAT REMOVAL SYSTEM Containment isolation valves | 3.3 | K2 | 400005
35 | (061K1.07) Knowledge of the physical connections and/or cause and effect relationships between the (SF4S AFW) AUXILIARY/EMERGENCY FEEDWATER SYSTEM and the following systems (CFR: 41.2 to 41.8 / 45.7 / 45.8): Emergency water source | 4.2 | K1 | 400061
36 | (073K6.01) Knowledge of the effect of the following plant conditions, system malfunctions, or component malfunctions on the (SF7 PRM) PROCESS RADIATION MONITORING SYSTEM (CFR: 41.7 / 8-9): PRM component failures | 3.2 | K6 | 400073
37 | (026A1.01) Ability to predict and/or monitor changes in parameters associated with operation of the (SF5 CSS) CONTAINMENT SPRAY SYSTEM, including (CFR: 41.5 / 45.5): Containment pressure | 4 | A1 | 400026
38 | (007K5.01) Knowledge of the operational implications or cause and effect relationships of the following concepts as they apply to the (SF5 PRTS) PRESSURIZER RELIEF/QUENCH TANK SYSTEM (CFR: 41.5 / 45.7): Principles of steam quenching | 3 | K5 | 400007
39 | (064A4.03) Ability to manually operate and/or monitor the (SF6 EDG) EMERGENCY DIESEL GENERATOR SYSTEM in the control room (CFR: 41.7 / 45.5 to 45.8): Synchroscope | 3.8 | A4 | 400064
40 | (400022) 022 (SF5 CCS) CONTAINMENT COOLING SYSTEM (191008K1.08) BREAKERS, RELAYS, AND DISCONNECTS (CFR: 41.7): Effects of closing breakers with the current out of phase, different frequencies, high‑voltage differential, low current, or too much load | 3.5 | C | 400022
41 | (006K3.03) Knowledge of the effect that a loss or malfunction of the (SF2; SF3 ECCS) EMERGENCY CORE COOLING SYSTEM will have on the following systems or system parameters (CFR: 41.7 / 45.3 / 45.4 / 45.6): CSS | 3.8 | K3 | 400006
42 | (010A2.09) Ability to (a) predict the impacts of the following on the (SF3 PZR PCS) PRESSURIZER PRESSURE CONTROL SYSTEM and (b) based on those predictions, use procedures to correct, control, or mitigate the consequences of those abnormal operations (CFR: 41.5 / 43.5 / 45.3 / 45.13): RPS failure | 4.4 | A2 | 400010
43 | (008K4.06) Knowledge of (SF8 CCW) COMPONENT COOLING WATER SYSTEM design features and/or interlocks that provide for the following (CFR: 41.7): CCWS isolation (e.g., containment isolation, tank levels, and radiation monitors) | 3.5 | K4 | 400008
44 | (076A3.06) Ability to monitor automatic features of the (SF4S SW) SERVICE WATER SYSTEM, including (CFR: 41.7 / 45.5): ESFAS | 3.9 | A3 | 400076
45 | (004K2.02) Knowledge of electrical power supplies to the following: (SF1; SF2 CVCS) CHEMICAL AND VOLUME CONTROL SYSTEM (CFR: 41.6 / 41.7) Pumps used to makeup to CVCS | 3 | K2 | 400004
46 | (078K1.09) Knowledge of the physical connections and/or cause and effect relationships between the (SF8 IAS) INSTRUMENT AIR SYSTEM and the following systems (CFR: 41.3 to 41.8 / 45.7 / 45.8): CDS | 2.7 | K1 | 400078
47 | (012K6.03) Knowledge of the effect of the following plant conditions, system malfunctions, or component malfunctions on the (SF7 RPS) REACTOR PROTECTION SYSTEM (CFR: 41.7 / 45.7): Trip logic circuits | 4 | K6 | 400012
48 | (103A1.01) Ability to predict and/or monitor changes in parameters associated with operation of the (SF5 CNT) CONTAINMENT SYSTEM, including (CFR: 41.5 / 45.5): Containment pressure, temperature, and/or humidity | 3.9 | A1 | 400103
49 | (039K5.01) Knowledge of the operational implications or cause and effect relationships of the following concepts as they apply to the (SF4S MSS) MAIN AND REHEAT STEAM SYSTEM (CFR: 41.5 / 45.7): Water hammer | 3.5 | K5 | 400039
50 | (062A4.08) Ability to manually operate and/or monitor the (SF6 ED AC) AC ELECTRICAL DISTRIBUTION SYSTEM in the control room (CFR: 41.7 / 45.5 to 45.8): Safety‑related actuations that have failed or require manual actions to complete | 4 | A4 | 400062
51 | (400013) 013 (SF2 ESFAS) ENGINEERED SAFETY FEATURES ACTUATION SYSTEM (G2.1.28) CONDUCT OF OPERATIONS: Knowledge of the purpose and function of major system components and controls (CFR: 41.7) | 4.1 | G | 400013
52 | (003K3.04) Knowledge of the effect that a loss or malfunction of the (SF4P RCP) REACTOR COOLANT PUMP SYSTEM will have on the following systems or system parameters (CFR: 41.7 / 45.6): RPS | 4.2 | K3 | 400003
53 | (063A2.04) Ability to (a) predict the impacts of the following on the (SF6 ED DC) DC ELECTRICAL DISTRIBUTION SYSTEM and (b) based on those predictions, use procedures to correct, control, or mitigate the consequences of those abnormal operations (CFR: 41.5 / 43.5 / 45.3 / 45.13): Battery malfunctions | 3.9 | A2 | 400063
54 | (059K4.05) Knowledge of (SF4S MFW) MAIN FEEDWATER SYSTEM design features and/or interlocks that provide for the following (CFR: 41.7): Control of speed of MFW pump turbine | 3.6 | K4 | 400059
55 | (003K5.02) Knowledge of the operational implications or cause and effect relationships of the following concepts as they apply to the (SF4P RCP) REACTOR COOLANT PUMP SYSTEM (CFR: 41.5 / 45.7): Effects of RCP coastdown on RCS parameters | 3.4 | K5 | 400003
56 | (059A4.11) Ability to manually operate and/or monitor the (SF4S MFW) MAIN FEEDWATER SYSTEM in the control room (CFR: 41.7 / 45.5 to 45.8): Recovery from automatic MFW isolation | 3.6 | A4 | 400059
57 | (400012) 012 (SF7 RPS) REACTOR PROTECTION SYSTEM (191004K1.22) PUMPS (CFR: 41.3): (POSITIVE DISPLACEMENT) NPSH requirements for a positive displacement pump | 2.8 | C | 400012
58 | (078K3.21) Knowledge of the effect that a loss or malfunction of the (SF8 IAS) INSTRUMENT AIR SYSTEM will have on the following systems or system parameters (CFR: 41.7 / 45.6): CVCS | 3.3 | K3 | 400078
59 | (064A2.29) Ability to (a) predict the impacts of the following on the (SF6 EDG) EMERGENCY DIESEL GENERATOR SYSTEM and (b) based on those predictions, use procedures to correct, control, or mitigate the consequences of those abnormal operations (CFR: 41.5 / 43.5 / 45.3 / 45.13): ESFAS actuation | 4.3 | A2 | 400064
60 | (063K4.05) Knowledge of (SF6 ED DC) DC ELECTRICAL DISTRIBUTION SYSTEM design features and/or interlocks that provide for the following (CFR: 41.7): Ground detection | 2.6 | K4 | 400063
61 | (073K1.05) Knowledge of the physical connections and/or cause and effect relationships between the (SF7 PRM) PROCESS RADIATION MONITORING SYSTEM and the following systems (CFR: 41.7 to 41.9 / 41.11 / 45.8 / 45.9): CCWS | 3.1 | A3 | 400073
62 | (103K4.06) Knowledge of (SF5 CNT) CONTAINMENT SYSTEM design features and/or interlocks that provide for the following (CFR: 41.7): Containment isolation | 4.1 | K2 | 400103
63 | (076K1.20) Knowledge of the physical connections and/or cause and effect relationships between the (SF4S SW) SERVICE WATER SYSTEM and the following systems (CFR: 41.4 to 41.8 / 45.7 / 45.8): AFW system | 3.5 | K1 | 400076
64 | (G2.1.4) CONDUCT OF OPERATIONS: Knowledge of individual licensed operator responsibilities related to shift staffing, such as medical requirements, “no-solo” operation, and maintenance of active license status, 10 CFR Part 55 (CFR: 41.10 / 43.2) | 3.3 | G2.1 | G2.1
65 | (G2.1.18) CONDUCT OF OPERATIONS: Ability to make accurate, clear, and concise logs, records, status boards, and reports (CFR: 41.10 / 45.12 / 45.13) | 3.6 | G2.1 | G2.1
66 | (G2.2.36) EQUIPMENT CONTROL: Ability to analyze the effect of maintenance activities, such as degraded power sources, on the status of limiting conditions for operation (CFR: 41.10 / 43.2 / 45.13) | 3.1 | G2.2 | G2.2
67 | (G2.2.39) EQUIPMENT CONTROL: Knowledge of less than or equal to 1 hour TS action statements (does not include action statements of 1 hour or less that follow the expiration of a completion time for a TS condition for which an action statement has already been entered) (CFR: 41.7 / 41.10 / 43.2 / 45.13) | 3.9 | G2.2 | G2.2
68 | (G2.3.12) RADIATION CONTROL: Knowledge of radiological safety principles and procedures pertaining to licensed operator duties, such as response to radiation monitor alarms, containment entry requirements, fuel handling responsibilities, access to locked high-radiation areas, or alignment of filters (CFR: 41.12 / 43.4 / 45.9 / 45.10) | 3.2 | G2.3 | G2.3
69 | (G2.4.21) EMERGENCY PROCEDURES/PLAN: Knowledge of the parameters and logic used to assess the status of emergency operating procedures critical safety functions or shutdown critical safety functions (CFR: 41.7 / 43.5 / 45.12) | 4 | G2.4 | G2.4
70 | (192004K1.17) REACTIVITY COEFFICIENTS (CFR: 41.1): Explain differences between reactivity coefficients and reactivity defects | 2.7 | R | 192004
71 | (192006K1.13) FISSION PRODUCT POISONS (CFR: 41.1): Plot the curve and explain the reasoning for the reactivity insertion by xenon-135 versus time for the following: -- reactor shutdown | 3 | R | 192006
72 | (192002K1.14) NEUTRON LIFE CYCLE (CFR: 41.1): Evaluate change in SDM due to changes in plant parameters | 3.9 | R | 192002
73 | (193001K1.01) THERMODYNAMIC UNITS AND PROPERTIES (CFR: 41.14): Convert between absolute and gauge pressure and vacuum scales | 2.7 | T | 193001
74 | (193009K1.06) CORE THERMAL LIMITS (CFR: 41.14): Describe the function of the core protection calculator (thermal margin calculator) | 3.7 | T | 193009
75 | (193010K1.02) BRITTLE FRACTURE AND VESSEL THERMAL STRESS (CFR: 41.14): State the definition of the nil-ductility transition temperature | 2.5 | T | 193010
76 | (BE05EA2.04) Ability to determine and/or interpret the following as they apply to (BW E05) Excessive Heat Transfer (CFR: 41.10 / 43.5 / 45.13): PZR level | 3.8 | A2 | 395012
77 | (395020) 000077 (APE 77) Generator Voltage and Electric Grid Disturbances (G2.1.39) CONDUCT OF OPERATIONS: Knowledge of conservative decision-making practices (CFR: 41.10 / 43.5 / 45.12) | 4.3 | G | 395020
78 | (025AA2.11) Ability to determine and/or interpret the following as they apply to (APE 25) LOSS OF RESIDUAL Heat Removal System (CFR: 43.5 / 45.13): Letdown flow | 3.3 | A2 | 395007
79 | (395009) 000027 (APE 27) Pressurizer Pressure Control System Malfunction (G2.4.37) EMERGENCY PROCEDURES/PLAN: Knowledge of the lines of authority during implementation of the emergency plan implementing procedures (CFR: 41.10 / 45.13) | 4.1 | G | 395009
80 | (009EA2.37) Ability to determine and/or interpret the following as they apply to (EPE 9) SMALL-Break LOCA (CFR: 43.5 / 45.13): Existence of adequate natural circulation | 3.9 | A2 | 395003
81 | (395001) 000007 (EPE 7; BW E02 & E10; CE E02) Reactor Trip, Stabilization, Recovery (G2.2.35) EQUIPMENT CONTROL: Ability to determine TS for mode of operation (CFR: 41.7 / 41.10 / 43.2 / 45.13) | 4.5 | G | 395001
82 | (061AA2.03) Ability to determine and/or interpret the following as they apply to (APE 61) AREA RADIATION MONITORING (ARM) System Alarms (CFR: 43.5 / 45.13): Alarm conditions | 3.4 | A2 | 395036
83 | (395034) 000059 (APE 59) Accidental Liquid Radwaste Release (G2.4.22) EMERGENCY PROCEDURES/PLAN: Knowledge of the bases for prioritizing safety functions during abnormal and emergency operations (CFR: 41.7 / 41.10 / 43.5 / 45.12) | 4.4 | G | 395034
84 | (076AA2.04) Ability to determine and/or interpret the following as they apply to (APE 76) HIGH REACTOR COOLANT ACTIVITY (CFR: 43.5 / 45.13): High process radiation levels | 3.5 | A2 | 395041
85 | (395029) 000032 (APE 32) Loss of Source Range Nuclear Instrumentation (G2.2.3) EQUIPMENT CONTROL: (Multi-unit license) Knowledge of the design, procedural, and/or operational differences between units (CFR: 41.5 / 41.6 / 41.7 / 41.10 / 45.12) | 3.9 | G | 395029
86 | (005A2.03) Ability to (a) predict the impacts of the following on the (SF4P RHR) RESIDUAL HEAT REMOVAL SYSTEM and (b) based on those predictions, use procedures to correct, control, or mitigate the consequences of those abnormal operations (CFR: 41.5 / 43.5 / 45.3 / 45.13): RHR pump/motor malfunction | 3.9 | A2 | 400005
87 | (400061) 061 (SF4S AFW) AUXILIARY / EMERGENCY FEEDWATER SYSTEM (G2.4.41) EMERGENCY PROCEDURES/PLAN: Knowledge of the emergency action level thresholds and classifications (SRO Only) (CFR: 43.5 / 45.11) | 4.6 | G | 400061
88 | (073A2.01) Ability to (a) predict the impacts of the following on the (SF7 PRM) PROCESS RADIATION MONITORING SYSTEM and (b) based on those predictions, use procedures to correct, control, or mitigate the consequences of those abnormal operations (CFR: 41.5 / 43.5 / 45.3 / 45.13 / 8-9): PRM component failures | 3.1 | A2 | 400073
89 | (400026) 026 (SF5 CSS) CONTAINMENT SPRAY SYSTEM (G2.4.32) EMERGENCY PROCEDURES/PLAN: Knowledge of operator response to loss of annunciators (CFR: 41.10 / 43.5 / 45.13) | 4 | G | 400026
90 | (007A2.03) Ability to (a) predict the impacts of the following on the (SF5 PRTS) PRESSURIZER RELIEF/QUENCH TANK SYSTEM and (b) based on those predictions, use procedures to correct, control, or mitigate the consequences of those abnormal operations (CFR: 41.5 / 43.5 / 45.3 / 45.13): Overpressurization of the PZR | 3.4 | A2 | 400007
91 | (400005) 005 (SF4P RHR) RESIDUAL HEAT REMOVAL SYSTEM (G2.4.20) EMERGENCY PROCEDURES/PLAN: Knowledge of the operational implications of emergency and abnormal operating procedures warnings, cautions, and notes (CFR: 41.10 / 43.5 / 45.13) | 4.3 | G | 400005
92 | (025A2.05) Ability to (a) predict the impacts of the following on the (SF5 ICE) ICE CONDENSER SYSTEM and (b) based on those predictions, use procedures to correct, control, or mitigate the consequences of those abnormal operations (CFR: 41.5 / 43.5 / 45.3 / 45.13): Abnormal glycol expansion tank level | 3.7 | A2 | 400025
93 | (400039) 039 (SF4S MSS) MAIN AND REHEAT STEAM SYSTEM (G2.1.8) CONDUCT OF OPERATIONS: Ability to coordinate personnel activities outside the control room (CFR: 41.10 / 43.1 / 45.5 / 45.12 / 45.13) | 4.1 | G | 400039
94 | (G2.1.35) CONDUCT OF OPERATIONS: Knowledge of the fuel handling responsibilities of SROs (SRO Only) (CFR: 43.7) | 3.9 | G2.1 | G2.1
95 | (G2.1.17) CONDUCT OF OPERATIONS: Ability to make accurate, clear, and concise verbal reports (CFR: 41.10 / 45.12 / 45.13) | 4 | G2.1 | G2.1
96 | (G2.2.1) EQUIPMENT CONTROL: Ability to perform pre-startup procedures for the facility, including operating those controls associated with plant equipment that could affect reactivity (CFR: 41.5 / 41.10 / 43.5 / 43.6 / 45.1) | 4.4 | G2.2 | G2.2
97 | (G2.2.40) EQUIPMENT CONTROL: Ability to apply TS with action statements of less than or equal to 1 hour (CFR: 41.10 / 43.2 / 43.5 / 45.3) | 4.7 | G2.2 | G2.2
98 | (G2.3.11) RADIATION CONTROL: Ability to control radiation releases (CFR: 41.11 / 43.4 / 45.10) | 4.3 | G2.3 | G2.3
99 | (G2.4.51) EMERGENCY PROCEDURES/PLAN: Knowledge of emergency operating procedure exit conditions (e.g., emergency condition no longer exists or severe accident guideline entry is required) (CFR: 41.10 / 43.5 /45.13) | 4 | G2.4 | G2.4
100 | (G2.4.26) EMERGENCY PROCEDURES/PLAN: Knowledge of facility protection requirements, including fire brigade and portable firefighting equipment usage (CFR: 41.10 / 43.5 / 45.12) | 3.6 | G2.4 | G2.4