## Sheet1
Question Number | Topic Title | Topic Importance | K/A Category | System
1 | (015AA2.15) Ability to determine and/or interpret the following as they apply to (APE 15) REACTOR COOLANT Pump Malfunctions (CFR: 43.5 / 45.13): Natural circulation flow | 3.2 | A2 | 395005
2 | (054AK3.01) Knowledge of the reasons for the following responses and/or actions as they apply to (APE 54) LOSS OF Main Feedwater (CFR: 41.5 / 41.10 / 45.6 / 45.13): Reactor and/or turbine trip, manual and automatic | 4.3 | K3 | 395013
3 | (395004) 000011 (EPE 11) Large Break LOCA (G2.2.2) EQUIPMENT CONTROL: Ability to manipulate the console controls as required to operate the facility between shutdown and designated power levels (CFR: 41.6 / 41.7 / 45.2) | 4.6 | G | 395004
4 | (022AK2.07) Knowledge of the relationship between (APE 22) LOSS OF REACTOR Coolant Makeup and the following systems or components (CFR: 41.7 / 45.7): CCWS | 3.2 | K2 | 395006
5 | (026AA1.02) Ability to operate and/or monitor the following as they apply to (APE 26) LOSS OF Component Cooling Water (CFR: 41.5 / 41.7 / 45.5 to 45.8): Loads on the CCWS in the control room | 3.5 | A1 | 395008
6 | (038EK1.05) Knowledge of the operational implications and/or cause and effect relationships of the following concepts as they apply to (EPE 38) STEAM GENERATOR Tube Rupture (CFR: 41.5 / 41.7 / 45.7 to 45.9): S/G PORV or main steam safety valve failing open or main steamline break on the ruptured S/G | 4.1 | K1 | 395011
7 | (062AA2.04) Ability to determine and/or interpret the following as they apply to (APE 62) LOSS OF SERVICE WATER (CFR: 43.5 / 45.13): The normal values and upper limits for the temperatures of the components cooled by SWS | 3 | A2 | 395018
8 | (029EK3.12) Knowledge of the reasons for the following responses and/or actions as they apply to (EPE 29) ANTICIPATED TRANSIENT WITHOUT SCRAM (ATWS) (CFR: 41.5 / 41.10 / 45.6 / 45.13): Actions contained in an EOP for ATWS | 4.3 | K3 | 395010
9 | (395002) 000008 (APE 8) Pressurizer Vapor Space Accident (G2.1.40) CONDUCT OF OPERATIONS: Knowledge of refueling administrative requirements (CFR: 41.10 / 43.5 / 43.6 / 45.13) | 2.8 | G | 395002
10 | (BE04EK2.10) Knowledge of the relationship between (BW E04) INADEQUATE HEAT TRANSFER and the following systems or components (CFR: 41.8 / 41.10 / 45.3): EFICs | 4.4 | K2 | 395023
11 | (027AA1.05) Ability to operate and/or monitor the following as they apply to (APE 27) PRESSURIZER PRESSURE Control System Malfunction (CFR: 41.7 / 45.5 / 45.6): Transfer of heaters to a backup power supply | 3.3 | A1 | 395009
12 | (056AK1.07) Knowledge of the operational implications and/or cause and effect relationships of the following concepts as they apply to (APE 56) Loss of Offsite Power (CFR: 41.8 / 41.10 / 45.3): Long‑term core cooling | 4 | K1 | 395015
13 | (BE10EA2.14) Ability to determine and/or interpret the following as they apply to (BW E10) POST-TRIP STABILIZATION (CFR: 41.10 / 43.5 / 45.13): Feedwater flow | 3.9 | A2 | 395001
14 | (WE04EK3.05) Knowledge of the reasons for the following responses and/or actions as they apply to (W E04) LOCA Outside Containment (CFR: 41.5 / 41.10 / 45.6 / 45.13): Verifying proper valve alignment | 3.8 | K3 | 395021
15 | (395020) 000077 (APE 77) Generator Voltage and Electric Grid Disturbances (G2.1.43) CONDUCT OF OPERATIONS: Ability to use an online power distribution monitoring system and/or procedures to determine the effects on reactivity of plant changes, such as RCS temperature, secondary plant, or fuel depletion | 4.1 | G | 395020
16 | (065AK2.11) Knowledge of the relationship between (APE 65) LOSS OF Instrument Air and the following systems or components (CFR: 41.7 / 45.7): RHRS | 3.6 | K2 | 395019
17 | (CE05EA1.10) Ability to operate and/or monitor the following as they apply to (CE E05) EXCESS STEAM DEMAND (CFR: 41.7 / 45.5 / 45.6): HPSI and LPSI systems | 3.9 | A1 | 395012
18 | (009EK1.01) Knowledge of the operational implications and/or cause and effect relationships of the following concepts as they apply to (EPE 9) SMALL-Break LOCA (CFR: 41.8 / 41.10 / 45.3): Natural circulation and cooling, including reflux boiling | 3.8 | K1 | 395003
19 | (078AA2.11) Ability to determine and/or interpret the following as they apply to (APE 78) REACTOR COOLANT SYSTEM LEAK (CFR: 43.5 / 45.13): SDM | 3 | A2 | 395042
20 | (001AK3.04) Knowledge of the reasons for the following responses and/or actions as they apply to (APE 1) CONTINUOUS Rod Withdrawal (CFR: 41.5 / 41.10 / 45.6 / 45.13): Matching T-ave. and T-ref. | 3.5 | K3 | 395024
21 | (395040) 000074 (EPE 74; W E06 & E07) Inadequate Core Cooling (G2.4.46) EMERGENCY PROCEDURES/PLAN: Ability to verify that the alarms are consistent with the plant conditions (CFR: 41.10 / 43.5 / 45.3 / 45.12) | 4.2 | G | 395040
22 | (WE16EK2.05) Knowledge of the relationship between (W E16) HIGH Containment Radiation and the following systems or components (CFR: 41.7 / 41.8 / 45.2 / 45.4): ARM system | 3.4 | K2 | 395046
23 | (WE03EA1.18) Ability to operate and/or monitor the following as they apply to (W E03) LOCA COOLDOWN AND Depressurization (CFR: 41.5 to 41.8 / 45.5 to 45.8): CNT | 3.4 | A1 | 395053
24 | (061AK1.02) Knowledge of the operational implications and/or cause and effect relationships of the following concepts as they apply to (APE 61) AREA RADIATION MONITORING (ARM) System Alarms (CFR: 41.8 / 41.10 / 45.3): Adverse containment conditions | 3.6 | K1 | 395036
25 | (037AA2.06) Ability to determine and/or interpret the following as they apply to (APE 37) STEAM Generator Tube Leak (CFR: 41.7 / 41.10 / 43.5 / 45.13): S/G tube failure | 4.1 | A2 | 395032
26 | (005AK3.01) Knowledge of the reasons for the following responses and/or actions as they apply to (APE 5) INOPERABLE/STUCK Control Rod (CFR: 41.5 / 41.10 / 45.6 / 45.13): Boration and/or emergency boration in the event of a stuck rod during trip or normal evolutions | 4.1 | K3 | 395026
27 | (073A1.02) Ability to predict and/or monitor changes in parameters associated with operation of the (SF7 PRM) PROCESS RADIATION MONITORING SYSTEM, including (CFR: 41.5 / 8-9): Lights and alarms | 3.2 | A1 | 400073
28 | (012K1.03) Knowledge of the physical connections and/or cause and effect relationships between the (SF7 RPS) REACTOR PROTECTION SYSTEM and the following systems (CFR: 41.2 to 41.9 / 45.7 / 45.8): CRDS | 4.1 | K1 | 400012
29 | (007A4.01) Ability to manually operate and/or monitor the (SF5 PRTS) PRESSURIZER RELIEF/QUENCH TANK SYSTEM in the control room (CFR: 41.5 / 41.7 / 45.5 / 45.7 / 45.8): PRT/quench tank makeup valve | 2.8 | A4 | 400007
30 | (005K3.03) Knowledge of the effect that a loss or malfunction of the (SF4P RHR) RESIDUAL HEAT REMOVAL SYSTEM will have on the following systems or system parameters (CFR: 41.7 / 45.6): CVCS | 3.2 | K3 | 400005
31 | (078K5.04) Knowledge of the operational implications or cause and effect relationships of the following concepts as they apply to the (SF8 IAS) INSTRUMENT AIR SYSTEM (CFR: 41.5 / 45.7): High moisture content in instrument air | 2.9 | K5 | 400078
32 | (004A3.17) Ability to monitor automatic features of the (SF1; SF2 CVCS) CHEMICAL AND VOLUME CONTROL SYSTEM, including (CFR: 41.7 / 45.5): Interpretation of ion exchanger status light | 2.7 | A3 | 400004
33 | (063A2.03) Ability to (a) predict the impacts of the following on the (SF6 ED DC) DC ELECTRICAL DISTRIBUTION SYSTEM and (b) based on those predictions, use procedures to correct, control, or mitigate the consequences of those abnormal operations (CFR: 41.5 / 43.5 / 45.3 / 45.13): Malfunction of battery chargers | 3.9 | A2 | 400063
34 | (026K2.01) Knowledge of electrical power supplies to the following (CFR: 41.7): (SF5 CSS) CONTAINMENT SPRAY SYSTEM Containment spray pumps | 3.9 | K2 | 400026
35 | (400064) 064 (SF6 EDG) EMERGENCY DIESEL GENERATOR SYSTEM (G2.2.14) EQUIPMENT CONTROL: Knowledge of the process for controlling equipment configuration or status (CFR: 41.10 / 43.3 / 45.13) | 3.9 | G | 400064
36 | (006K4.07) Knowledge of (SF2; SF3 ECCS) EMERGENCY CORE COOLING SYSTEM design features and/or interlocks that provide for the following (CFR: 41.7 / 41.8): Normal water supply for ECCS | 3.8 | K4 | 400006
37 | (039K6.13) Knowledge of the effect of the following plant conditions, system malfunctions, or component malfunctions on the (SF4S MSS) MAIN AND REHEAT STEAM SYSTEM (CFR: 41.7 / 45.7): CDS | 2.9 | K6 | 400039
38 | (062A1.08) Ability to predict and/or monitor changes in parameters associated with operation of the (SF6 ED AC) AC ELECTRICAL DISTRIBUTION SYSTEM, including (CFR: 41.5 / 45.5): Vital AC bus amperage | 3.3 | A1 | 400062
39 | (003K1.10) Knowledge of the physical connections and/or cause and effect relationships between the (SF4P RCP) REACTOR COOLANT PUMP SYSTEM and the following systems (CFR: 41.2 to 41.9 / 45.7 / 45.8): RCS | 3.9 | K1 | 400003
40 | (008A4.07) Ability to manually operate and/or monitor the (SF8 CCW) COMPONENT COOLING WATER SYSTEM in the control room (CFR: 41.7 / 45.5): Control of minimum level in the CCWS surge tank | 3.2 | A4 | 400008
41 | (013K3.20) Knowledge of the effect that a loss or malfunction of the (SF2 ESFAS) ENGINEERED SAFETY FEATURES ACTUATION SYSTEM will have on the following systems or system parameters (CFR: 41.3 to 41.7 / 45.6): Auxiliary building HVAC | 3 | K3 | 400013
42 | (010K5.06) Knowledge of the operational implications or cause and effect relationships of the following concepts as they apply to the (SF3 PZR PCS) PRESSURIZER PRESSURE CONTROL SYSTEM (CFR: 41.5 / 45.7): Hard PZR bubble | 3.4 | K5 | 400010
43 | (103A3.01) Ability to monitor automatic features of the (SF5 CNT) CONTAINMENT SYSTEM, including (CFR: 41.7 / 45.5): Containment isolation | 4.2 | A3 | 400103
44 | (076A2.05) Ability to (a) predict the impacts of the following on the (SF4S SW) SERVICE WATER SYSTEM and (b) based on those predictions, use procedures to correct, control, or mitigate the consequences of those abnormal operations (CFR: 41.1 / 41.5 / 43.5 / 45.3 / 45.6 / 45.13): Sensor and detector failure | 2.6 | A2 | 400076
45 | (061K2.02) Knowledge of electrical power supplies to the following: (SF4S AFW) AUXILIARY/EMERGENCY FEEDWATER SYSTEM AFW (CFR: 41.7) electric-driven pumps | 4.1 | K2 | 400061
46 | (400022) 022 (SF5 CCS) CONTAINMENT COOLING SYSTEM (191003K1.10) CONTROLLERS AND POSITIONERS (CFR: 41.7): Function and characteristics of air-operated valves, including failure modes | 2.8 | C | 400022
47 | (059K4.08) Knowledge of (SF4S MFW) MAIN FEEDWATER SYSTEM design features and/or interlocks that provide for the following (CFR: 41.7): Feedwater regulatory valve operation (on basis of steam flow and feed flow mismatch) | 3.9 | K4 | 400059
48 | (073K6.01) Knowledge of the effect of the following plant conditions, system malfunctions, or component malfunctions on the (SF7 PRM) PROCESS RADIATION MONITORING SYSTEM (CFR: 41.7 / 8-9): PRM component failures | 3.2 | K6 | 400073
49 | (012A1.04) Ability to predict and/or monitor changes in parameters associated with operation of the (SF7 RPS) REACTOR PROTECTION SYSTEM, including (CFR: 41.5 / 45.5): Single and multiple channel trip indicators | 3.8 | A1 | 400012
50 | (007K1.05) Knowledge of the physical connections and/or cause and effect relationships between the (SF5 PRTS) PRESSURIZER RELIEF/QUENCH TANK SYSTEM and the following systems (CFR: 41.2 to 41.9 / 45.7 / 45.8): Makeup/fill water | 2.7 | K1 | 400007
51 | (005A4.01) Ability to manually operate and/or monitor the (SF4P RHR) RESIDUAL HEAT REMOVAL SYSTEM in the control room (CFR: 41.7 / 45.5 to 45.8): Controls and indication for RHR pumps | 4 | A4 | 400005
52 | (078K3.02) Knowledge of the effect that a loss or malfunction of the (SF8 IAS) INSTRUMENT AIR SYSTEM will have on the following systems or system parameters (CFR: 41.7 / 45.6): Systems having pneumatic valves and controls | 3.4 | K3 | 400078
53 | (004K5.40) Knowledge of the operational implications or cause and effect relationships of the following concepts as they apply to the (SF1; SF2 CVCS) CHEMICAL AND VOLUME CONTROL SYSTEM (CFR: 41.5 / 45.7): Response of PRT/quench tank during bubble formation in PZR: an increase in tank pressure when cycling PORVs shows that complete steam bubbles do not exist and that significant noncondensable gas is still present. | 2.8 | K5 | 400004
54 | (063A3.03) Ability to monitor automatic features of the (SF6 ED DC) DC ELECTRICAL DISTRIBUTION SYSTEM, including (CFR: 41.7 / 45.5): Inverter swap to backup | 3.3 | A3 | 400063
55 | (075A1.07) Ability to predict and/or monitor changes in parameters associated with operation of the (SF8 CW) CIRCULATING WATER SYSTEM, including (CFR: 41.5 / 45.5): Circulating water pump motor current and pump discharge pressure | 2.6 | A1 | 400075
56 | (068K1.09) Knowledge of the physical connections and/or cause and effect relationships between the (SF9 LRS) LIQUID RADWASTE SYSTEM and the following systems (CFR: 41.7 to 41.9 / 45.7 / 45.8): CVCS | 2.9 | K1 | 400068
57 | (029A4.03) Ability to manually operate and/or monitor the (SF8 CPS) CONTAINMENT PURGE SYSTEM in the control room (CFR: 41.7 / 45.5 / 45.8): Inlet filtration and heating system | 2.5 | A4 | 400029
58 | (001K3.05) Knowledge of the effect that a loss or malfunction of the (SF1 CRDS) CONTROL ROD DRIVE SYSTEM will have on the following systems or system parameters (CFR: 41.6): RPS | 3.8 | K3 | 400001
59 | (050K5.01) Knowledge of the operational implications or cause and effect relationships of the following concepts as they apply to the (SF9 CRV) CONTROL ROOM VENTILATION (CFR: 41.5 / 45.3): Airborne contamination (e.g., radiological, toxic gas, and smoke) control | 3.6 | K5 | 400050
60 | (034A3.01) Ability to monitor automatic features of the (SF8 FHS) FUEL HANDLING EQUIPMENT SYSTEM, including (CFR: 41.7 / 45.5): Travel limits | 3 | A3 | 400034
61 | (015A2.04) Ability to (a) predict the impacts of the following on the (SF7 NI) NUCLEAR INSTRUMENTATION SYSTEM and (b) based on those predictions, use procedures to correct, control, or mitigate the consequences of those abnormal operations (CFR: 41.5 / 43.5 / 45.3 / 45.5): Effects on axial flux density of control rod alignment and sequencing, xenon production and decay, and boron versus control rod reactivity changes | 3 | A2 | 400015
62 | (017K5.05) Knowledge of the operational implications or cause and effect relationships of the following concepts as they apply to the (SF7 ITM) IN CORE TEMPERATURE MONITOR SYSTEM (CFR: 41.5 / 45.7): Thermocouple open and short circuits | 3.3 | K2 | 400017
63 | (400027) 027 (SF5 CIRS) CONTAINMENT IODINE REMOVAL SYSTEM (G2.4.30) EMERGENCY PROCEDURES/PLAN: Knowledge of events related to system operation/status that must be reported to internal organizations or external agencies, such as the State, the NRC, or the transmission system operator (CFR: 41.10 / 43.5 / 45.11) | 2.7 | G | 400027
64 | (G2.1.19) CONDUCT OF OPERATIONS: Ability to use available indications to evaluate system or component status (CFR: 41.10 / 45.12) | 3.9 | G2.1 | G2.1
65 | (G2.1.29) CONDUCT OF OPERATIONS: Knowledge of how to conduct system lineups, such as valves, breakers, or switches (CFR: 41.10 / 45.1 / 45.12) | 4.1 | G2.1 | G2.1
66 | (G2.2.44) EQUIPMENT CONTROL: Ability to interpret control room indications to verify the status and operation of a system and understand how operator actions and directives affect plant and system conditions (CFR: 41.5 / 43.5 / 45.12) | 4.2 | G2.2 | G2.2
67 | (G2.2.36) EQUIPMENT CONTROL: Ability to analyze the effect of maintenance activities, such as degraded power sources, on the status of limiting conditions for operation (CFR: 41.10 / 43.2 / 45.13) | 3.1 | G2.2 | G2.2
68 | (G2.3.11) RADIATION CONTROL: Ability to control radiation releases (CFR: 41.11 / 43.4 / 45.10) | 3.8 | G2.3 | G2.3
69 | (G2.4.16) EMERGENCY PROCEDURES/PLAN: Knowledge of emergency and abnormal operating procedures implementation hierarchy and coordination with other support procedures or guidelines, such as operating procedures, abnormal operating procedures, or severe accident management guidelines (CFR: 41.10 / 43.5 / 45.13) | 3.5 | G2.4 | G2.4
70 | (192004K1.13) REACTIVITY COEFFICIENTS (CFR: 41.1): Describe the components of the power coefficient | 3.1 | R | 192004
71 | (192005K1.06) CONTROL RODS (CFR: 41.1): Explain the shape of curves for differential and integral rod worth versus rod position | 2.9 | R | 192005
72 | (192007K1.05) FUEL DEPLETION AND BURNABLE POISONS (CFR: 41.1): Describe the effects of boration/dilution on reactivity during forced-flow and natural circulation conditions | 3.2 | R | 192007
73 | (193004K1.15) THERMODYNAMIC PROCESS (CFR: 41.14): (THROTTLING AND THE THROTTLING PROCESS) Determine the exit conditions for a throttling process based on the use of steam and/or water | 2.8 | T | 193004
74 | (193010K1.06) BRITTLE FRACTURE AND VESSEL THERMAL STRESS (CFR: 41.14): Define PTS | 3.8 | T | 193010
75 | (193001K1.01) THERMODYNAMIC UNITS AND PROPERTIES (CFR: 41.14): Convert between absolute and gauge pressure and vacuum scales | 2.7 | T | 193001
76 | (395022) (W E11) Loss of Emergency Coolant Recirculation (G2.4.25) EMERGENCY PROCEDURES/PLAN: Knowledge of fire protection procedures (CFR: 41.10 / 43.5 / 45.13) | 3.7 | G | 395022
77 | (025AA2.13) Ability to determine and/or interpret the following as they apply to (APE 25) LOSS OF RESIDUAL Heat Removal System (CFR: 43.5 / 45.13): RHR flow | 3.9 | A2 | 395007
78 | (395016) 000057 (APE 57) Loss of Vital AC Instrument Bus (G2.4.6) EMERGENCY PROCEDURES/PLAN: Knowledge of emergency and abnormal operating procedures major action categories (CFR: 41.10 / 43.5 / 45.13) | 4.7 | G | 395016
79 | (058AA2.03) Ability to determine and/or interpret the following as they apply to (APE 58) LOSS OF DC Power (CFR: 43.5 / 45.13): Impact on ability to operate and monitor plant systems | 4 | A2 | 395017
80 | (395014) 000055 (EPE 55) Station Blackout (G2.4.43) EMERGENCY PROCEDURES/PLAN: Knowledge of emergency communications systems and techniques (CFR: 41.10 / 43.5 / 45.13) | 3.8 | G | 395014
81 | (015AA2.13) Ability to determine and/or interpret the following as they apply to (APE 15) REACTOR COOLANT Pump Malfunctions (CFR: 43.5 / 45.13): RCP ammeter | 2.9 | A2 | 395005
82 | (395034) 000059 (APE 59) Accidental Liquid Radwaste Release (G2.1.5) CONDUCT OF OPERATIONS: Ability to use procedures related to shift staffing, such as minimum crew complement or overtime limitations (reference potential) (CFR: 41.10 / 43.5 / 45.12) | 3.9 | G | 395034
83 | (WE02EA2.14) Ability to determine and/or interpret the following as they apply to (W E02) SI TERMINATION (CFR: 41.10 / 43.5 / 45.13): S/G level, pressure, and/or feedwater flow | 3.5 | A2 | 395043
84 | (395027) 000024 (APE 24) Emergency Boration (G2.2.23) EQUIPMENT CONTROL: Ability to track TS limiting conditions for operation (CFR: 41.10 / 43.2 / 45.13) | 4.6 | G | 395027
85 | (076AA2.09) Ability to determine and/or interpret the following as they apply to (APE 76) HIGH REACTOR COOLANT ACTIVITY (CFR: 43.5 / 45.13): Implement emergency plan for failed fuel | 4.1 | A2 | 395041
86 | (400026) 026 (SF5 CSS) CONTAINMENT SPRAY SYSTEM (G2.4.41) EMERGENCY PROCEDURES/PLAN: Knowledge of the emergency action level thresholds and classifications (SRO Only) (CFR: 43.5 / 45.11) | 4.6 | G | 400026
87 | (064A2.23) Ability to (a) predict the impacts of the following on the (SF6 EDG) EMERGENCY DIESEL GENERATOR SYSTEM and (b) based on those predictions, use procedures to correct, control, or mitigate the consequences of those abnormal operations (CFR: 41.5 / 43.5 / 45.3 / 45.13): Starting air system failure | 3.8 | A2 | 400064
88 | (400006) 006 (SF2; SF3 ECCS) EMERGENCY CORE COOLING SYSTEM (G2.4.31) EMERGENCY PROCEDURES/PLAN: Knowledge of annunciator alarms, indications, or response procedures (CFR: 41.10 / 45.3) | 4.1 | G | 400006
89 | (039A2.06) Ability to (a) predict the impacts of the following on the (SF4S MSS) MAIN AND REHEAT STEAM SYSTEM and (b) based on those predictions, use procedures to correct, control, or mitigate the consequences of those abnormal operations (CFR: 41.5 / 43.5 / 45.3 / 45.13): Atmospheric relief valve malfunctions | 3.7 | A2 | 400039
90 | (400062) 062 (SF6 ED AC) AC ELECTRICAL DISTRIBUTION SYSTEM (G2.2.19) EQUIPMENT CONTROL: Knowledge of maintenance work order requirements (CFR: 41.10 / 43.5 / 45.13) | 3.4 | G | 400062
91 | (071A2.04) Ability to (a) predict the impacts of the following on the (SF9 WGS) WASTE GAS DISPOSAL SYSTEM and (b) based on those predictions, use procedures to correct, control, or mitigate the consequences of those abnormal operations (CFR: 41.5 / 43.5 / 45.3 / 45.8 / 45.9 / 45.13): Loss of cover gas | 2.6 | A2 | 400071
92 | (400011) 011 (SF2 PZR LCS) PRESSURIZER LEVEL CONTROL SYSTEM (G2.2.43) EQUIPMENT CONTROL: Knowledge of the process used to track inoperable alarms (CFR: 41.10 / 43.5 / 45.13) | 3.3 | G | 400011
93 | (035A2.08) Ability to (a) predict the impacts of the following on the (SF4P SG) STEAM GENERATOR SYSTEM and (b) based on those predictions, use procedures to correct, control, or mitigate the consequences of those abnormal operations (CFR: 41.5 / 43.5 / 45.3 / 45.5): Recognition that increasing radiation levels in secondary systems may mean leaking and possibly ruptured S/G tubes | 4.3 | A2 | 400035
94 | (G2.1.20) CONDUCT OF OPERATIONS: Ability to interpret and execute procedure steps (CFR: 41.10 / 43.5 / 45.12) | 4.6 | G2.1 | G2.1
95 | (G2.1.9) CONDUCT OF OPERATIONS: Ability to direct licensed personnel activities inside the control room (SRO Only) (CFR: 43.1 / 45.5 / 45.12 / 45.13) | 4.5 | G2.1 | G2.1
96 | (G2.2.5) EQUIPMENT CONTROL: Knowledge of the process for making design or operating changes to the facility, such as 10 CFR 50.59, “Changes, Tests and Experiments,” screening and evaluation processes, administrative processes for temporary modifications, disabling annunciators, or installation of temporary equipment (CFR: 41.10 /43.3 / 45.13) | 3.2 | G2.2 | G2.2
97 | (G2.2.25) EQUIPMENT CONTROL: Knowledge of the bases in TS for limiting conditions for operation and safety limits (SRO Only) (CFR: 43.2) | 4.2 | G2.2 | G2.2
98 | (G2.3.6) RADIATION CONTROL: Ability to approve liquid or gaseous release permits (CFR: 41.13 / 43.4 / 45.10) | 3.8 | G2.3 | G2.3
99 | (G2.4.21) EMERGENCY PROCEDURES/PLAN: Knowledge of the parameters and logic used to assess the status of emergency operating procedures critical safety functions or shutdown critical safety functions (CFR: 41.7 / 43.5 / 45.12) | 4.6 | G2.4 | G2.4
100 | (G2.4.40) EMERGENCY PROCEDURES/PLAN: Knowledge of SRO responsibilities in emergency plan implementing procedures (SRO Only) (CFR: 43.5 / 45.11) | 4.5 | G2.4 | G2.4