## Sheet1
Question Number | Topic Title | Topic Importance | K/A Category | System
1 | (295031EK3.01) Knowledge of the reasons for the following responses or actions as they apply to (EPE 8) REACTOR LOW WATER LEVEL: (CFR: 41.5 / 45.6) Automatic depressurization system actuation | 4.3 | K3 | 295031
2 | (295025EK1.03) Knowledge of the operational implications and/or cause and effect relationships of the following concepts as they apply to the (EPE 2) HIGH REACTOR PRESSURE: (CFR: 41.8 to 41.10) Safety/relief valve tailpipe temperature/pressure relationships | 4.1 | K1 | 295025
3 | (295018AA2.02) Ability to determine and/or interpret the following as they apply to (APE 18) PARTIAL OR COMPLETE LOSS OF COMPONENT COOLING WATER (CCW): (CFR: 41.10 / 43.5 / 45.13) Cooling water temperature | 3.7 | A2 | 295018
4 | (295030EK2.06) Knowledge of the relationship between the (EPE 7) LOW SUPPRESSION POOL WATER LEVEL and the following systems or components: (CFR: 41.7 / 45.8) Suppression pool makeup system(s) | 3.5 | K2 | 295030
5 | (295037) (EPE 14) SCRAM CONDITION PRESENT AND REACTOR POWER ABOVE APRM DOWNSCALE OR UNKNOWN (G2.4.3) EMERGENCY PROCEDURES / PLAN Ability to identify post-accident instrumentation (CFR: 41.6 / 45.4) | 3.7 | G | 295037
6 | (295001AA1.02) Ability to operate and/or monitor the following as they apply to (APE 1) PARTIAL OR COMPLETE LOSS OF FORCED CORE FLOW CIRCULATION: (CFR: 41.7 / 45.6) RPS | 3.8 | A1 | 295001
7 | (600000AK3.04) Knowledge of the reasons for the following responses or actions as they apply to (APE 24) PLANT FIRE ON SITE: (CFR: 41.5 / 41.10 / 45.6 / 45.13) Actions contained in the fire response procedures for a plant fire on site | 3.6 | K3 | 600000
8 | (295023AK1.01) Knowledge of the operational implications and/or cause and effect relationships of the following concepts as they apply to the (APE 23) REFUELING ACCIDENTS:(CFR: 41.8 to 41.10) Radiation exposure hazards | 3.9 | K1 | 295023
9 | (295021AA2.07) Ability to determine and/or interpret the following as they apply to (APE 21) LOSS OF SHUTDOWN COOLING: (CFR: 41.10 / 43.5 / 45.13) Reactor recirculation flow | 3.8 | A2 | 295021
10 | (295024EK2.08) Knowledge of the relationship between the (EPE 1) HIGH DRYWELL PRESSURE and the following systems or components: (CFR: 41.7 / 45.8) ADS | 4.2 | K2 | 295024
11 | (295019) (APE 19) PARTIAL OR COMPLETE LOSS OF INSTRUMENT AIR (G2.2.18) EQUIPMENT CONTROL Knowledge of the process for managing maintenance activities during shutdown operations, such as risk assessments and work prioritization (CFR: 41.10 / 43.5 / 45.13) | 2.6 | G | 295019
12 | (295038EA1.03) Ability to operate and/or monitor the following as they apply to (EPE 15) HIGH OFFSITE RADIOACTIVITY RELEASE RATE: (CFR: 41.7 / 45.6) Process radiation monitoring system | 3.8 | A1 | 295038
13 | (295005AK3.06) Knowledge of the reasons for the following responses or actions as they apply to (APE 5) MAIN TURBINE GENERATOR TRIP: (CFR: 41.5 / 45.6) Realignment of electrical distribution | 3.6 | K3 | 295005
14 | (295016AK2.11) Knowledge of the relationship between the (APE 16) CONTROL ROOM ABANDONMENT and the following systems or components: (CFR: 41.7 / 45.8) Main and reheat steam system | 2.7 | K1 | 295016
15 | (295006AA2.04) Ability to determine and/or interpret the following as they apply to (APE 6) SCRAM: (CFR: 41.10 / 43.5 / 45.13) Reactor pressure | 4.3 | A2 | 295006
16 | (295026EK2.11) Knowledge of the relationship between the (EPE 3) SUPPRESSION POOL HIGH WATER TEMPERATURE and the following systems or components: (CFR: 41.7 / 45.8) Safety/relief valves | 3.9 | K2 | 295026
17 | (295027) (EPE 4) HIGH CONTAINMENT TEMPERATURE (MARK III CONTAINMENT ONLY) (G2.4.17) EMERGENCY PROCEDURES / PLAN Knowledge of emergency and abnormal operating procedures terms and definitions (CFR: 41.10 / 45.13) | 3.9 | G | 295027
18 | (700000AA1.07) Ability to operate and/or monitor the following as they apply to (APE 25) GENERATOR VOLTAGE AND ELECTRIC GRID DISTURBANCES: (CFR: 41.5 / 41.10 / 45.5 / 45.7 / 45.8) Emergency generators (diesel/jet) | 3.8 | A1 | 700000
19 | (295003AK3.06) Knowledge of the reasons for the following responses or actions as they apply to (APE 3) PARTIAL OR COMPLETE LOSS OF AC POWER: (CFR: 41.5 / 45.6 ) Containment isolation | 3.5 | K3 | 295003
20 | (295004AK1.06) Knowledge of the operational implications and/or cause and effect relationships of the following concepts as they apply to the (APE 4) PARTIAL OR COMPLETE LOSS OF DC POWER:(CFR: 41.8 to 41.10) Prevention of inadvertent system(s) actuation upon restoration of DC power | 3.7 | K1 | 295004
21 | (295013AK2.03) Knowledge of the relationship between the (APE 13) HIGH SUPPRESSION POOL TEMPERATURE. and the following systems or components: (CFR: 41.7 / 45.8) RCIC/HPCI operation | 4 | K2 | 295013
22 | (295029) (EPE 6) HIGH SUPPRESSION POOL WATER LEVEL (G2.1.14) CONDUCT OF OPERATIONS Knowledge of criteria or conditions that require plantwide announcements, such as pump starts, reactor trips, and mode changes (CFR: 41.10 / 43.5 / 45.12) | 3.1 | G | 295029
23 | (295033EA1.02) Ability to operate and/or monitor the following as they apply to (EPE 10) HIGH SECONDARY CONTAINMENT AREA RADIATION LEVELS: (CFR: 41.7 / 45.6) Process radiation monitoring system | 3.6 | A1 | 295033
24 | (295035EK3.02) Knowledge of the reasons for the following responses or actions as they apply to (EPE 12) SECONDARY CONTAINMENT HIGH DIFFERENTIAL PRESSURE: (CFR: 41.5 / 45.6) Secondary containment ventilation alignment | 3.7 | K3 | 295035
25 | (295017AK1.06) Knowledge of the operational implications and/or cause and effect relationships of the following concepts as they apply to the (APE 17) ABNORMAL OFFSITE RELEASE RATE: (CFR: 41.8 to 41.10) Filtered vs. nonfiltered release | 3.6 | K1 | 295017
26 | (295008AA2.02) Ability to determine and/or interpret the following as they apply to (APE 8) HIGH REACTOR WATER LEVEL: (CFR: 41.10 / 43.5 / 45.13) Steam flow/feedflow mismatch | 3.9 | A2 | 295008
27 | (205000A3.01) Ability to monitor automatic operation of the (SF4 SCS) SHUTDOWN COOLING SYSTEM (RHR SHUTDOWN COOLING MODE) including: (CFR: 41.7 / 45.7) Valve operation | 3.7 | A3 | 205000
28 | (203000A2.04) Ability to (a) predict the impacts of the following on the (SF2, SF4 RHR/LPCI) RHR/LPCI: INJECTION MODE (BWR 3, 4, 5, 6) and (b) based on those predictions, use procedures to correct, control, or mitigate the consequences of those abnormal operations: (CFR: 41.5 / 43.5 / 45.6) AC failures | 3.9 | A2 | 203000
29 | (215003K1.03) Knowledge of the physical connections and/or cause and effect relationships between the (SF7 IRM) INTERMEDIATE RANGE MONITOR SYSTEM and the following systems: (CFR: 41.2 to 41.9 / 45.7 / 45.8) RCIS (BWR 6) | 4 | K1 | 215003
30 | (263000K6.02) Knowledge of the effect of the following plant conditions, system malfunctions, or component malfunctions on the (SF6 DC) DC ELECTRICAL DISTRIBUTION: (CFR: 41.7 / 45.7) Battery ventilation | 2.9 | K6 | 263000
31 | (239002K4.10) Knowledge of (SF3 SRV) SAFETY RELIEF VALVES design features and/or interlocks that provide for the following: (CFR: 41.7) Methods for determining position of SRV | 4.1 | K4 | 239002
32 | (510000A4.01) Ability to manually operate and/or monitor the (SF4 SWS*) SERVICE WATER SYSTEM in the control room: (CFR: 41.7 / 45.5 to 45.8) Pump operations | 3.7 | A4 | 510000
33 | (223002K5.02) Knowledge of the operational implications or cause and effect relationships of the following concepts as they apply to the (SF5 PCIS) PRIMARY CONTAINMENT ISOLATION SYSTEM / NUCLEAR STEAM SUPPLY SHUTOFF : (CFR: 41.5 / 45.3) Secondary containment integrity | 3.9 | K5 | 223002
34 | (209001A1.02) Ability to predict and/or monitor changes in parameters associated with operation of the (SF2, SF4 LPCS) LOW PRESSURE CORE SPRAY SYSTEM including: (CFR: 41.5 / 45.5) Core spray pressure | 3.9 | A1 | 209001
35 | (215004K3.04) Knowledge of the effect that a loss or malfunction of the (SF7 SRMS) SOURCE RANGE MONITOR SYSTEM will have on the following systems or system parameters: (CFR: 41.7 / 45.4) Reactor power indication | 4 | K3 | 215004
36 | (262001K2.02) (SF6 AC) AC ELECTRICAL DISTRIBUTION Knowledge of electrical power supplies to the following: (CFR: 41.7) AC breaker control power | 3.7 | K2 | 262001
37 | (215005) (SF7 PRMS) AVERAGE POWER RANGE MONITOR/LOCAL POWER RANGE MONITOR (G2.1.17) CONDUCT OF OPERATIONS Ability to make accurate, clear, and concise verbal reports (CFR: 41.10 / 45.12 / 45.13) | 3.9 | G | 215005
38 | (300000A3.03) Ability to monitor automatic operation of the (SF8 IA) INSTRUMENT AIR SYSTEM including: (CFR: 41.8 / 45.7) Compressor automatic starts/trips | 3.5 | A3 | 300000
39 | (218000A2.06) Ability to (a) predict the impacts of the following on the (SF3 ADS) AUTOMATIC DEPRESSURIZATION SYSTEM and (b) based on those predictions, use procedures to correct, control, or mitigate the consequences of those abnormal operations: (CFR: 41.5 / 43.5 / 45.6) ADS initiation signals present | 4.5 | A2 | 218000
40 | (261000K1.10) Knowledge of the physical connections and/or cause and effect relationships between the (SF9 SGTS) STANDBY GAS TREATMENT SYSTEM and the following systems: (CFR: 41.4 to 41.9 / 45.7 / 45.8) Instrument air system | 3 | K1 | 261000
41 | (259002K6.07) Knowledge of the effect of the following plant conditions, system malfunctions, or component malfunctions on the (SF2 RWLCS) REACTOR WATER LEVEL CONTROL SYSTEM: (CFR: 41.7 / 45.7) High drywell pressure | 2.9 | K6 | 259002
42 | (211000K4.05) Knowledge of (SF1 SLCS) STANDBY LIQUID CONTROL SYSTEM design features and/or interlocks that provide for the following: (CFR: 41.7) Dispersal of boron upon injection into the vessel | 3.3 | K4 | 211000
43 | (264000A4.03) Ability to manually operate and/or monitor the (SF6 EGE) EMERGENCY GENERATORS (DIESEL/JET) in the control room: (CFR: 41.7 / 45.5 to 45.8) Transfer of emergency control between manual and automatic | 3.6 | A4 | 264000
44 | (212000K5.02) Knowledge of the operational implications or cause and effect relationships of the following concepts as they apply to the (SF7 RPS) REACTOR PROTECTION SYSTEM : (CFR: 41.5 / 45.3) Logic channel arrangements | 4.1 | K5 | 212000
45 | (217000A1.04) Ability to predict and/or monitor changes in parameters associated with operation of the (SF2, SF4 RCIC) REACTOR CORE ISOLATION COOLING SYSTEM (BWR 3, 4, 5, 6) including: (CFR: 41.5 / 45.5) Reactor pressure | 4.1 | A1 | 217000
46 | (209002K3.09) Knowledge of the effect that a loss or malfunction of the (SF2, SF4 HPCS) HIGH PRESSURE CORE SPRAY SYSTEM will have on the following systems or system parameters: (CFR: 41.7 / 45.4) Override of drywell pressure interlock | 3.6 | K3 | 209002
47 | (400000K2.02) (SF8 CCS) COMPONENT COOLING WATER SYSTEM Knowledge of electrical power supplies to the following: (CFR: 41.7) CCW valves | 2.8 | K2 | 400000
48 | (262002) (SF6 UPS) UNINTERRUPTABLE POWER SUPPLY (AC/DC) (291002K1.09) SENSORS AND DETECTORS (CFR: 41.7) (LEVEL) Modes of failure | 3.3 | C | 262002
49 | (205000A3.02) Ability to monitor automatic operation of the (SF4 SCS) SHUTDOWN COOLING SYSTEM (RHR SHUTDOWN COOLING MODE) including: (CFR: 41.7 / 45.7) Pump operation | 3.7 | A3 | 205000
50 | (203000A2.19) Ability to (a) predict the impacts of the following on the (SF2, SF4 RHR/LPCI) RHR/LPCI: INJECTION MODE (BWR 3, 4, 5, 6) and (b) based on those predictions, use procedures to correct, control, or mitigate the consequences of those abnormal operations: (CFR: 41.5 / 43.5 / 45.6) Low suppression pool level | 3.7 | A2 | 203000
51 | (215003K1.04) Knowledge of the physical connections and/or cause and effect relationships between the (SF7 IRM) INTERMEDIATE RANGE MONITOR SYSTEM and the following systems: (CFR: 41.2 to 41.9 / 45.7 / 45.8) Plant process computer/parameter display systems | 3 | K1 | 215003
52 | (263000K6.01) Knowledge of the effect of the following plant conditions, system malfunctions, or component malfunctions on the (SF6 DC) DC ELECTRICAL DISTRIBUTION: (CFR: 41.7 / 45.7) AC electrical distribution | 3.8 | K6 | 263000
53 | (290002K6.03) Knowledge of the effect of the following plant conditions, system malfunctions, or component malfunctions on the (SF4 RVI) REACTOR VESSEL INTERNALS: (CFR: 41.7 / 45.7) Recirculation system | 3.9 | K2 | 290002
54 | (510001) (SF8 CWS*) CIRCULATING WATER SYSTEM (G2.1.47) CONDUCT OF OPERATIONS Ability to direct nonlicensed personnel activities inside the control room (CFR: 41.10 / 43.5 / 45.5 / 45.12 / 45.13) | 3.2 | G | 510001
55 | (290003A3.02) Ability to monitor automatic operation of the (SF9 CRV) CONTROL ROOM VENTILATION including: (CFR: 41.7 / 45.7) Initiation/failure of fire protection system | 3 | A3 | 290003
56 | (201001A2.08) Ability to (a) predict the impacts of the following on the (SF1 CRDH) CRD HYDRAULIC SYSTEM and (b) based on those predictions, use procedures to correct, control, or mitigate the consequences of those abnormal operations: (CFR: 41.2 / 41.5-7 / 41.10 / 41.12-13 / 45.1-6) Inadequate system flow | 3.8 | A2 | 201001
57 | (204000K1.08) Knowledge of the physical connections and/or cause and effect relationships between the (SF2 RWCU) REACTOR WATER CLEANUP SYSTEM and the following systems: (CFR: 41.2 to 41.9 / 45.7 / 45.8) SLCS | 3.6 | K1 | 204000
58 | (202002K6.11) Knowledge of the effect of the following plant conditions, system malfunctions, or component malfunctions on the (SF1 RSCTL) RECIRCULATION FLOW CONTROL SYSTEM: (CFR: 41.7 / 45.7) Flow controller failure | 3.9 | K6 | 202002
59 | (234000K4.08) Knowledge of (SF8 FH) FUEL HANDLING design features and/or interlocks that provide for the following: (CFR: 41.7) Preventing draining of water from the inclined fuel transfer system | 3.3 | K4 | 234000
60 | (271000A4.09) Ability to manually operate and/or monitor the (SF9 OG) OFFGAS SYSTEM in the control room: (CFR: 41.7 / 45.5 to 45.8) Offgas system controls/components | 3 | A4 | 271000
61 | (216000K5.09) Knowledge of the operational implications or cause and effect relationships of the following concepts as they apply to the (SF7 NBI) NUCLEAR BOILER INSTRUMENTATION: (CFR: 41.5 / 45.3) Recirculation flow effects on level indications | 3.4 | K5 | 216000
62 | (272000A1.03) Ability to predict and/or monitor changes in parameters associated with operation of the (SF7, SF9 RMS) RADIATION MONITORING SYSTEM including: (CFR: 41.5 / 45.5) Radiations levels | 3.7 | A1 | 272000
63 | (233000K3.06) Knowledge of the effect that a loss or malfunction of the (SF9 FPCCU) FUEL POOL COOLING/CLEANUP will have on the following systems or system parameters: (CFR: 41.7 / 45.6) Area radiation levels | 3.4 | K3 | 233000
64 | (G2.1.7) CONDUCT OF OPERATIONS Ability to evaluate plant performance and make operational judgments based on operating characteristics, reactor behavior, and instrument interpretation (CFR: 41.5 / 43.5 / 45.12 / 45.13) | 4.4 | G2.1 | G2.1
65 | (G2.1.28) CONDUCT OF OPERATIONS Knowledge of the purpose and function of major system components and controls (CFR: 41.7) | 4.1 | G2.1 | G2.1
66 | (G2.2.35) EQUIPMENT CONTROL Ability to determine technical specification mode of operation (CFR: 41.7 / 41.10 / 43.2 / 45.13) | 3.6 | G2.2 | G2.2
67 | (G2.2.2) EQUIPMENT CONTROL Ability to manipulate the console controls as required to operate the facility between shutdown and designated power levels (CFR: 41.6 / 41.7 / 45.2) | 4.6 | G2.2 | G2.2
68 | (G2.3.5) RADIATION CONTROL Ability to use radiation monitoring systems, such as fixed radiation monitors and alarms or personnel monitoring equipment (CFR: 41.11 / 41.12 / 43.4 / 45.9) | 2.9 | G2.3 | G2.3
69 | (G2.4.26) EMERGENCY PROCEDURES / PLAN Knowledge of facility protection requirements, including fire brigade and portable firefighting equipment usage (CFR: 41.10 / 43.5 / 45.12) | 3.1 | G2.4 | G2.4
70 | (292008K1.10) REACTOR OPERATIONAL PHYSICS (CFR: 41.1) (INTERMEDIATE RANGE OPERATION) Explain procedures for adjusting reactor period during the intermediate phase of startup | 3.6 | R | 292008
71 | (292002K1.10) NEUTRON LIFE CYCLE (CFR: 41.1) Define shutdown margin | 3.5 | R | 292002
72 | (292007K1.01) FUEL DEPLETION AND BURNABLE POISONS (CFR: 41.1) Define burnable poison and state its use in the reactor | 3.1 | R | 292007
73 | (293010K1.02) BRITTLE FRACTURE AND VESSEL THERMAL STRESS (CFR: 41.14) State the definition of nil-ductility transition temperature | 2.7 | T | 293010
74 | (293007K1.10) HEAT TRANSFER (CFR: 41.14) (CORE THERMAL POWER) Define core thermal power | 2.9 | T | 293007
75 | (293009K1.42) CORE THERMAL LIMITS (CFR: 41.14) For the following plant operating or accident condition, identify which of the three core thermal limits are most limiting: Increase in reactor pressure | 3.3 | T | 293009
76 | (295031) (EPE 8) REACTOR LOW WATER LEVEL (G2.4.45) EMERGENCY PROCEDURES / PLAN Ability to prioritize and interpret the significance of each annunciator or alarm (CFR: 41.10 / 43.5 / 45.3 / 45.12) | 4.3 | G | 295031
77 | (295025EA2.06) Ability to determine and/or interpret the following as they apply to (EPE 2) HIGH REACTOR PRESSURE: (CFR: 41.10 / 43.5 / 45.13) Reactor water level | 3.7 | A2 | 295025
78 | (295018) (APE 18) PARTIAL OR COMPLETE LOSS OF COMPONENT COOLING WATER (CCW) (G2.1.31) CONDUCT OF OPERATIONS Ability to locate control room switches, controls, and indications, and to determine that they correctly reflect the desired plant lineup (CFR: 41.10 / 45.12) | 4.3 | G | 295018
79 | (295030EA2.03) Ability to determine and/or interpret the following as they apply to (EPE 7) LOW SUPPRESSION POOL WATER LEVEL: (CFR: 41.10 / 43.5 / 45.13) Reactor pressure | 3.7 | A2 | 295030
80 | (295037) (EPE 14) SCRAM CONDITION PRESENT AND REACTOR POWER ABOVE APRM DOWNSCALE OR UNKNOWN (G2.4.51) EMERGENCY PROCEDURES / PLAN Knowledge of emergency operating procedure exit conditions (e.g., emergency condition no longer exists or severe accident guideline entry is required) (CFR: 41.10 / 43.5 / 45.13) | 4 | G | 295037
81 | (295001AA2.10) Ability to determine and/or interpret the following as they apply to (APE 1) PARTIAL OR COMPLETE LOSS OF FORCED CORE FLOW CIRCULATION: (CFR: 41.10 / 43.5 / 45.13) Recirculation system/RPV differential temperatures | 3.7 | A2 | 295001
82 | (600000) (APE 24) PLANT FIRE ON SITE (G2.4.44) EMERGENCY PROCEDURES / PLAN Knowledge of emergency plan implementing procedures protective action recommendations (SRO Only) (CFR: 41.10 / 41.12 / 43.5 / 45.11) | 4.4 | G | 600000
83 | (295009) (APE 9) LOW REACTOR WATER LEVEL (G2.4.22) EMERGENCY PROCEDURES / PLAN Knowledge of the bases for prioritizing safety functions during abnormal/emergency operations (CFR: 41.7 / 41.10 / 43.5 / 45.12) | 4.4 | G | 295009
84 | (295010AA2.01) Ability to determine and/or interpret the following as they apply to (APE 10) HIGH DRYWELL PRESSURE: (CFR: 41.10 / 43.5 / 45.13) Leak rates | 3.7 | A2 | 295010
85 | (295034) (EPE 11) SECONDARY CONTAINMENT VENTILATION HIGH RADIATION (G2.4.42) EMERGENCY PROCEDURES / PLAN Knowledge of emergency response facilities (CFR: 41.10 / 45.11) | 3.8 | G | 295034
86 | (239002) (SF3 SRV) SAFETY RELIEF VALVES (G2.4.49) EMERGENCY PROCEDURES / PLAN Ability to perform without reference to procedures those actions that require immediate operation of system components and controls (CFR: 41.10 / 43.2 / 45.6) | 4.4 | G | 239002
87 | (510000A2.08) Ability to (a) predict the impacts of the following on the (SF4 SWS*) SERVICE WATER SYSTEM and (b) based on those predictions, use procedures to correct, control, or mitigate the consequences of those abnormal operations: (CFR: 41.1 / 41.5 / 43.5 / 45.3 / 45.6 / 45.13) Abnormal intake water level | 3.6 | A2 | 510000
88 | (223002) (SF5 PCIS) PRIMARY CONTAINMENT ISOLATION SYSTEM / NUCLEAR STEAM SUPPLY SHUTOFF (G2.4.14) EMERGENCY PROCEDURES / PLAN Knowledge of general guidelines for emergency and abnormal operating procedures usage (CFR: 41.10 / 43.1 / 45.13) | 4.5 | G | 223002
89 | (209001A2.03) Ability to (a) predict the impacts of the following on the (SF2, SF4 LPCS) LOW PRESSURE CORE SPRAY SYSTEM and (b) based on those predictions, use procedures to correct, control, or mitigate the consequences of those abnormal operations: (CFR: 41.5 / 43.5 / 45.6) AC failures | 4 | A2 | 209001
90 | (215004) (SF7 SRMS) SOURCE RANGE MONITOR SYSTEM (G2.1.32) CONDUCT OF OPERATIONS Ability to explain and apply system precautions, limitations, notes, or cautions (CFR: 41.10 / 43.2 / 45.12) | 4 | G | 215004
91 | (223001A2.11) Ability to (a) predict the impacts of the following on the (SF5 PCS) PRIMARY CONTAINMENT SYSTEM AND AUXILIARIES and (b) based on those predictions, use procedures to correct, control, or mitigate the consequences of those abnormal operations: (CFR: 41.5 / 45.6) Abnormal suppression pool level | 3.7 | A2 | 223001
92 | (286000) (SF8 FPS) FIRE PROTECTION SYSTEM (G2.1.34) CONDUCT OF OPERATIONS Knowledge of RCS or balance of plant chemistry controls, including parameters measured and reasons for the control (CFR: 41.10 / 43.5 / 45.12) | 3.5 | G | 286000
93 | (215001A2.02) Ability to (a) predict the impacts of the following on the (SF7 TIP) TRAVERSING IN CORE PROBE and (b) based on those predictions, use procedures to correct, control, or mitigate the consequences of those abnormal operations: (CFR: 41.5 / 45.6) High primary containment/drywell pressure (BWR 2, 3, 4, 5) | 3.3 | A2 | 215001
94 | (G2.1.30) CONDUCT OF OPERATIONS Ability to locate and operate components, including local controls (CFR: 41.7 / 45.7) | 4 | G2.1 | G2.1
95 | (G2.1.43) CONDUCT OF OPERATIONS Ability to use an online power distribution monitoring system and/or procedures to determine the effects on reactivity of plant changes, such as RCS temperature, secondary plant, or fuel depletion (CFR: 41.10 / 43.6 / 45.6) | 4.3 | G2.1 | G2.1
96 | (G2.2.22) EQUIPMENT CONTROL Knowledge of limiting conditions for operation and safety limits (CFR: 41.5 / 43.2 / 45.2) | 4.7 | G2.2 | G2.2
97 | (G2.2.3) EQUIPMENT CONTROL (Multi-unit license) Knowledge of the design, procedural, or operational differences between units (CFR: 41.5 / 41.6 / 41.7 / 41.10 / 45.12) | 3.9 | G2.2 | G2.2
98 | (G2.3.11) RADIATION CONTROL Ability to control radiation releases (CFR: 41.11 / 43.4 / 45.10) | 4.3 | G2.3 | G2.3
99 | (G2.4.32) EMERGENCY PROCEDURES / PLAN Knowledge of operator response to loss of annunciators (CFR: 41.10 / 43.5 / 45.13) | 4 | G2.4 | G2.4
100 | (G2.4.21) EMERGENCY PROCEDURES / PLAN Knowledge of the parameters and logic used to assess the status of emergency operating procedures critical safety functions or shutdown critical safety functions (CFR: 41.7 / 43.5 / 45.12) | 4.6 | G2.4 | G2.4