## Sheet1
Question Number | Topic Title | Topic Importance | K/A Category | System
1 | (295006) (APE 6) SCRAM (G2.3.12) RADIATION CONTROL Knowledge of radiological safety principles and procedures pertaining to licensed operator duties, such as response to radiation monitor alarms, containment entry requirements, fuel handling responsibilities, access to locked high-radiation areas, or alignment of filters (CFR: 41.12 / 43.4 / 45.9 / 45.10) | 3.2 | G | 295006
2 | (295037EK3.02) Knowledge of the reasons for the following responses or actions as they apply to (EPE 14) SCRAM CONDITION PRESENT AND REACTOR POWER ABOVE APRM DOWNSCALE OR UNKNOWN: (CFR: 41.5 / 41.7 / 45.6) Boron injection | 4.2 | K3 | 295037
3 | (295038EA1.15) Ability to operate and/or monitor the following as they apply to (EPE 15) HIGH OFFSITE RADIOACTIVITY RELEASE RATE: (CFR: 41.7 / 45.6) Condenser air removal system | 3.3 | A1 | 295038
4 | (295018AK3.06) Knowledge of the reasons for the following responses or actions as they apply to (APE 18) PARTIAL OR COMPLETE LOSS OF COMPONENT COOLING WATER (CCW): (CFR: 41.5 / 45.6) Increasing cooling water flow to heat exchangers | 3.3 | K1 | 295018
5 | (295025EA2.04) Ability to determine and/or interpret the following as they apply to (EPE 2) HIGH REACTOR PRESSURE: (CFR: 41.10 / 43.5 / 45.13) Suppression pool level | 4 | A2 | 295025
6 | (295027EK2.02) Knowledge of the relationship between the (EPE 4) HIGH CONTAINMENT TEMPERATURE (MARK III CONTAINMENT ONLY) and the following systems or components: (CFR: 41.7 / 45.8) Components internal to the containment | 3.3 | K2 | 295027
7 | (295005) (APE 5) MAIN TURBINE GENERATOR TRIP (G2.1.32) CONDUCT OF OPERATIONS Ability to explain and apply system precautions, limitations, notes, or cautions (CFR: 41.10 / 43.2 / 45.12) | 3.8 | G | 295005
8 | (295019AK3.01) Knowledge of the reasons for the following responses or actions as they apply to (APE 19) PARTIAL OR COMPLETE LOSS OF INSTRUMENT AIR: (CFR: 41.5 / 45.6) Alignment of backup air systems | 3.6 | K3 | 295019
9 | (295021AA1.03) Ability to operate and/or monitor the following as they apply to (APE 21) LOSS OF SHUTDOWN COOLING: (CFR: 41.7 / 45.6) Component cooling water systems | 3.4 | A1 | 295021
10 | (295001AK1.02) Knowledge of the operational implications and/or cause and effect relationships of the following concepts as they apply to the (APE 1) PARTIAL OR COMPLETE LOSS OF FORCED CORE FLOW CIRCULATION: (CFR: 41.8 to 41.10) Power/flow distribution | 3.7 | K1 | 295001
11 | (295024EA2.11) Ability to determine and/or interpret the following as they apply to (EPE 1) HIGH DRYWELL PRESSURE: (CFR: 41.10 / 43.5 / 45.13) Drywell integrity | 4.2 | A2 | 295024
12 | (700000AK2.10) Knowledge of the relationship between the (APE 25) GENERATOR VOLTAGE AND ELECTRIC GRID DISTURBANCES and the following systems or components: (CFR: 41.4 / 41.5 / 41.7 / 41.10 / 45.8) Emergency generators (diesel/jet) | 3.9 | K2 | 700000
13 | (295004) (APE 4) PARTIAL OR COMPLETE LOSS OF DC POWER (G2.1.27) CONDUCT OF OPERATIONS Knowledge of system purpose and/or function (CFR: 41.7) | 3.9 | G | 295004
14 | (295016AK3.04) Knowledge of the reasons for the following responses or actions as they apply to (APE 16) CONTROL ROOM ABANDONMENT: (CFR: 41.5 / 45.6) Abandonment criteria | 4.1 | K3 | 295016
15 | (295023AA1.07) Ability to operate and/or monitor the following as they apply to (APE 23) REFUELING ACCIDENTS: (CFR: 41.7 / 45.6) SGTS/FRVS | 4 | A1 | 295023
16 | (295003AK1.08) Knowledge of the operational implications and/or cause and effect relationships of the following concepts as they apply to the (APE 3) PARTIAL OR COMPLETE LOSS OF AC POWER:(CFR: 41.8 to 41.10) Emergency diesel generator load limits | 4 | K1 | 295003
17 | (600000AA2.04) Ability to determine and/or interpret the following as they apply to (APE 24) PLANT FIRE ON SITE: (CFR: 41.10 / 43.5 / 45.13) The fire’s extent of potential operational damage to plant equipment | 3.9 | A2 | 600000
18 | (295030EK2.02) Knowledge of the relationship between the (EPE 7) LOW SUPPRESSION POOL WATER LEVEL and the following systems or components: (CFR: 41.7 / 45.8) RCIC | 3.7 | K2 | 295030
19 | (295031) (EPE 8) REACTOR LOW WATER LEVEL (G2.4.28) EMERGENCY PROCEDURES / PLAN Knowledge of procedures relating to a security event (ensure that the test item includes no safeguards information) (CFR: 41.10 / 43.5 / 45.13) | 3.2 | G | 295031
20 | (295026EK3.02) Knowledge of the reasons for the following responses or actions as they apply to (EPE 3) SUPPRESSION POOL HIGH WATER TEMPERATURE: (CFR: 41.5 / 45.6) Suppression pool cooling | 3.8 | K3 | 295026
21 | (295007AK1.01) Knowledge of the operational implications and/or cause and effect relationships of the following concepts as they apply to the (APE 7) HIGH REACTOR PRESSURE: (CFR: 41.5 / 41.10) Pump shutoff head | 3.6 | K1 | 295007
22 | (295014AA2.01) Ability to determine and/or interpret the following as they apply to (APE 14) INADVERTENT REACTIVITY ADDITION: (CFR: 41.10 / 43.5 / 45.13) Reactor power | 4.7 | A2 | 295014
23 | (295033EK2.03) Knowledge of the relationship between the (EPE 10) HIGH SECONDARY CONTAINMENT AREA RADIATION LEVELS and the following systems or components: (CFR: 41.7 / 45.8) Secondary containment ventilation | 3.6 | K2 | 295033
24 | (295020) (APE 20) INADVERTENT CONTAINMENT ISOLATION (G2.1.5) CONDUCT OF OPERATIONS Ability to use procedures related to shift staffing, such as minimum crew complement or overtime limitations (reference potential) (CFR: 41.10 / 43.5 / 45.12) | 2.9 | G | 295020
25 | (295002AK3.05) Knowledge of the reasons for the following responses or actions as they apply to (APE 2) LOSS OF MAIN CONDENSER VACUUM: (CFR: 41.5 / 45.6) Main steam isolation valve closure | 3.8 | K3 | 295002
26 | (295032EA1.06) Ability to operate and/or monitor the following as they apply to (EPE 9) HIGH SECONDARY CONTAINMENT AREA TEMPERATURE: (CFR: 41.7 / 45.6) PCIS/NSSSS | 3.7 | A1 | 295032
27 | (203000) (SF2, SF4 RHR/LPCI) RHR/LPCI: INJECTION MODE (G2.1.36) CONDUCT OF OPERATIONS Knowledge of procedures and limitations involved in core alterations (CFR: 41.10 / 43.6 / 45.7) | 3 | G | 203000
28 | (400000K3.12) Knowledge of the effect that a loss or malfunction of the (SF8 CCS) COMPONENT COOLING WATER SYSTEM will have on the following systems or system parameters: (CFR: 41.7 / 45.6) Fuel pool cooling and cleanup system | 3.7 | K3 | 400000
29 | (239002A2.06) Ability to (a) predict the impacts of the following on the (SF3 SRV) SAFETY RELIEF VALVES and (b) based on those predictions, use procedures to correct, control, or mitigate the consequences of those abnormal operations: (CFR: 41.5 / 43.5 / 45.6) Reactor high pressure | 4.6 | A2 | 239002
30 | (259002K4.13) Knowledge of (SF2 RWLCS) REACTOR WATER LEVEL CONTROL SYSTEM design features and/or interlocks that provide for the following: (CFR: 41.7) FWRV lockup | 3.7 | K4 | 259002
31 | (264000K1.07) Knowledge of the physical connections and/or cause and effect relationships between the (SF6 EGE) EMERGENCY GENERATORS (DIESEL/JET) and the following systems: (CFR: 41.2 to 41.9 / 45.7 / 45.8) Emergency core cooling systems | 4.4 | K1 | 264000
32 | (212000A1.04) Ability to predict and/or monitor changes in parameters associated with operation of the (SF7 RPS) REACTOR PROTECTION SYSTEM including: (CFR: 41.5 / 45.5) RPS bus status | 3.7 | A1 | 212000
33 | (205000A4.01) Ability to manually operate and/or monitor the (SF4 SCS) SHUTDOWN COOLING SYSTEM (RHR SHUTDOWN COOLING MODE) in the control room: (CFR: 41.7 / 45.5 to 45.8) SDC/RHR pumps | 3.9 | A4 | 205000
34 | (211000K5.01) Knowledge of the operational implications or cause and effect relationships of the following concepts as they apply to the (SF1 SLCS) STANDBY LIQUID CONTROL SYSTEM: (CFR: 41.5 / 45.3) Effects of the moderator temperature coefficient of reactivity on boron | 3 | K5 | 211000
35 | (209001A3.02) Ability to monitor automatic operation of the (SF2, SF4 LPCS) LOW PRESSURE CORE SPRAY SYSTEM including: (CFR: 41.7 / 45.7) Pump start | 4.3 | A3 | 209001
36 | (218000K2.01) (SF3 ADS) AUTOMATIC DEPRESSURIZATION SYSTEM Knowledge of electrical power supplies to the following: (CFR: 41.7) ADS logic | 4 | K2 | 218000
37 | (261000K6.04) Knowledge of the effect of the following plant conditions, system malfunctions, or component malfunctions on the (SF9 SGTS) STANDBY GAS TREATMENT SYSTEM : (CFR: 41.7 / 45.7) Radiation monitoring system | 3.4 | K6 | 261000
38 | (510000) (SF4 SWS*) SERVICE WATER SYSTEM (291002K1.01) SENSORS AND DETECTORS (CFR: 41.7) (FLOW) Operational characteristics of venturis and orifices | 2.5 | C | 510000
39 | (217000K3.02) Knowledge of the effect that a loss or malfunction of the (SF2, SF4 RCIC) REACTOR CORE ISOLATION COOLING SYSTEM (BWR 3, 4, 5, 6) will have on the following systems or system parameters: (CFR: 41.7 / 45.4) Reactor vessel pressure | 3.9 | K3 | 217000
40 | (215005A2.13) Ability to (a) predict the impacts of the following on the (SF7 PRMS) AVERAGE POWER RANGE MONITOR/LOCAL POWER RANGE MONITOR and (b) based on those predictions, use procedures to correct, control, or mitigate the consequences of those abnormal operations: (CFR: 41.5 / 43.5 / 45.6) | 4 | A2 | 215005
41 | (263000K4.05) Knowledge of (SF6 DC) DC ELECTRICAL DISTRIBUTION design features and/or interlocks that provide for the following: (CFR: 41.7) Coping time | 3.6 | K4 | 263000
42 | (215004K1.06) Knowledge of the physical connections and/or cause and effect relationships between the (SF7 SRMS) SOURCE RANGE MONITOR SYSTEM and the following systems: (CFR: 41.2 to 41.9 / 45.7 / 45.8) Reactor vessel and internals | 3.1 | K1 | 215004
43 | (262001A1.06) Ability to predict and/or monitor changes in parameters associated with operation of the (SF6 AC) AC ELECTRICAL DISTRIBUTION including: (CFR: 41.5 / 45.5) Lights and alarms | 3.4 | A1 | 262001
44 | (300000A4.03) Ability to manually operate and/or monitor the (SF8 IA) INSTRUMENT AIR SYSTEM in the control room: (CFR: 41.8 / 45.5 to 45.8) Manual isolations | 3.2 | A4 | 300000
45 | (215003K5.03) Knowledge of the operational implications or cause and effect relationships of the following concepts as they apply to the (SF7 IRM) INTERMEDIATE RANGE MONITOR SYSTEM: (CFR: 41.5 / 45.3) Changing detector position | 3.3 | K5 | 215003
46 | (262002A3.01) Ability to monitor automatic operation of the (SF6 UPS) UNINTERRUPTABLE POWER SUPPLY (AC/DC) including: (CFR: 41.7 / 45.7) Transfer of power sources | 3.4 | A3 | 262002
47 | (223002K2.01) (SF5 PCIS) PRIMARY CONTAINMENT ISOLATION SYSTEM / NUCLEAR STEAM SUPPLY SHUTOFF Knowledge of electrical power supplies to the following: (CFR: 41.7) Logic power supplies | 3.6 | K2 | 223002
48 | (209002K6.03) Knowledge of the effect of the following plant conditions, system malfunctions, or component malfunctions on the (SF2, SF4 HPCS) HIGH PRESSURE CORE SPRAY SYSTEM : (CFR: 41.7 / 45.7) Component cooling water systems | 3.1 | K6 | 209002
49 | (203000) (SF2, SF4 RHR/LPCI) RHR/LPCI: INJECTION MODE (G2.1.19) CONDUCT OF OPERATIONS Ability to use available indications to evaluate system or component status (CFR: 41.10 / 45.12) | 3.9 | G | 203000
50 | (400000K3.05) Knowledge of the effect that a loss or malfunction of the (SF8 CCS) COMPONENT COOLING WATER SYSTEM will have on the following systems or system parameters: (CFR: 41.7 / 45.6) Control rod drive hydraulic system | 3.4 | K3 | 400000
51 | (239002A2.02) Ability to (a) predict the impacts of the following on the (SF3 SRV) SAFETY RELIEF VALVES and (b) based on those predictions, use procedures to correct, control, or mitigate the consequences of those abnormal operations: (CFR: 41.5 / 43.5 / 45.6) Leaking SRV | 3.7 | A2 | 239002
52 | (259002K4.17) Knowledge of (SF2 RWLCS) REACTOR WATER LEVEL CONTROL SYSTEM design features and/or interlocks that provide for the following: (CFR: 41.7) Simultaneous manual and automatic operation of the system (i.e., 1 RFP in automatic, 1 RFP in manual) | 3.5 | K4 | 259002
53 | (230000K2.03) (SF5 RHR SPS) RHR/LPCI: TORUS/SUPPRESSION POOL SPRAY MODE Knowledge of electrical power supplies to the following: (CFR: 41.7) Control logic | 3.7 | K2 | 230000
54 | (288000K6.05) Knowledge of the effect of the following plant conditions, system malfunctions, or component malfunctions on the (SF9 PVS) PLANT VENTILATION SYSTEMS : (CFR: 41.7 / 45.7) Heating, ventilation, and air conditioning system cooling water systems | 2.6 | K6 | 288000
55 | (234000) (SF8 FH) FUEL HANDLING (291008K1.09) BREAKERS, RELAYS, AND DISCONNECTS (CFR: 41.7) Effect of racking out breakers on control and indicating circuits and removal of control power on breaker operation | 3.5 | C | 234000
56 | (239003K3.01) Knowledge of the effect that a loss or malfunction of the (SF9 MSVLCS) MAIN STEAM ISOLATION VALVE LEAKAGE CONTROL SYSTEM (BWR 4, 5, 6) will have on the following systems or system parameters: (CFR: 41.5 / 45.3) Radiation monitoring system | 3 | K3 | 239003
57 | (202002A2.13) Ability to (a) predict the impacts of the following on the (SF1 RSCTL) RECIRCULATION FLOW CONTROL SYSTEM and (b) based on those predictions, use procedures to correct, control, or mitigate the consequences of those abnormal operations: (CFR: 41.5 / 43.5 / 45.6) Loss of loop flow signal | 3.8 | A2 | 202002
58 | (219000K4.03) Knowledge of (SF5 RHR SPC) RHR/LPCI: TORUS/SUPPRESSION POOL COOLING MODE design features and/or interlocks that provide for the following: (CFR: 41.7) Diverting flow from the RPV to the containment during accident conditions | 4.1 | K4 | 219000
59 | (215001K1.10) Knowledge of the physical connections and/or cause and effect relationships between the (SF7 TIP) TRAVERSING IN CORE PROBE and the following systems: (CFR: 41.2 to 41.9 / 45.7 / 45.8) Radiation monitoring system | 2.7 | K1 | 215001
60 | (271000A1.15) Ability to predict and/or monitor changes in parameters associated with operation of the (SF9 OG) OFFGAS SYSTEM including: (CFR: 41.5 / 45.3 / 45.5) Steam supply pressures | 2.7 | A1 | 271000
61 | (290002K3.02) Knowledge of the effect that a loss or malfunction of the (SF4 RVI) REACTOR VESSEL INTERNALS will have on the following systems or system parameters: (CFR: 41.7 / 45.4) Reactor pressure | 4 | A4 | 290002
62 | (233000K5.09) Knowledge of the operational implications or cause and effect relationships of the following concepts as they apply to the (SF9 FPCCU) FUEL POOL COOLING/CLEANUP: (CFR: 41.5 / 45.3) Refueling operations | 3.4 | K5 | 233000
63 | (226001A3.01) Ability to monitor automatic operation of the (SF5 RHR CSS) RHR/LPCI: CONTAINMENT SPRAY MODE SYSTEM MODE including: (CFR: 41.7 / 45.7) Valve operation | 3.8 | A3 | 226001
64 | (G2.1.40) CONDUCT OF OPERATIONS Knowledge of refueling administrative requirements (CFR: 41.10 / 43.5 / 43.6 / 45.13) | 2.8 | G2.1 | G2.1
65 | (G2.1.21) CONDUCT OF OPERATIONS Ability to verify that a copy of a controlled procedure is the proper revision (CFR: 41.10 / 45.10 / 45.13) | 3.5 | G2.1 | G2.1
66 | (G2.2.44) EQUIPMENT CONTROL Ability to interpret control room indications to verify the status and operation of a system and understand how operator actions and directives affect plant and system conditions (CFR: 41.5 / 43.5 / 45.12) | 4.2 | G2.2 | G2.2
67 | (G2.2.39) EQUIPMENT CONTROL Knowledge of less than or equal to 1 hour technical specification action statements (This K/A does not include action statements of 1 hour or less that follow the expiration of a completion time for a technical specification condition for which an action statement has already been entered.) (CFR: 41.7 / 41.10 / 43.2 / 45.13) | 3.9 | G2.2 | G2.2
68 | (G2.3.5) RADIATION CONTROL Ability to use radiation monitoring systems, such as fixed radiation monitors and alarms or personnel monitoring equipment (CFR: 41.11 / 41.12 / 43.4 / 45.9) | 2.9 | G2.3 | G2.3
69 | (G2.4.47) EMERGENCY PROCEDURES / PLAN Ability to diagnose and recognize trends in an accurate and timely manner using the appropriate control room reference material (reference potential) (CFR: 41.10 / 43.5 / 45.12) | 4.2 | G2.4 | G2.4
70 | (292006K1.01) FISSION PRODUCT POISONS (CFR: 41.1) Define fission product poison | 2.8 | R | 292006
71 | (292001K1.02) NEUTRONS (CFR: 41.1) Define prompt and delayed neutrons | 3.1 | R | 292001
72 | (292007K1.03) FUEL DEPLETION AND BURNABLE POISONS (CFR: 41.1) Given a curve of K-effective versus core age, state the reasons for maximum, minimum, and inflection points | 2.7 | R | 292007
73 | (293007K1.08) HEAT TRANSFER (CFR: 41.14) (CONDENSER APPLICATIONS OF HEAT TRANSFER) List functions of the main condenser in a power plant | 3.1 | T | 293007
74 | (293004K1.04) THERMODYNAMIC PROCESS (CFR: 41.14) (NOZZLES) Describe the functions of nozzles in air ejectors | 2.6 | T | 293004
75 | (293003K1.12) STEAM (CFR: 41.14) Define the following term: Quality | 2.6 | T | 293003
76 | (295006) (APE 6) SCRAM (G2.4.52) EMERGENCY PROCEDURES / PLAN Knowledge of the lines of authority during implementation of the emergency plan, emergency plan implementing procedures, emergency operating procedures, or severe accident guidelines (CFR: 41.10 / 45.13) | 4 | G | 295006
77 | (295037EA2.05) Ability to determine and/or interpret the following as they apply to (EPE 14) SCRAM CONDITION PRESENT AND REACTOR POWER ABOVE APRM DOWNSCALE OR UNKNOWN: (CFR: 41.10 / 43.5 / 45.13) Control rod position | 4.5 | A2 | 295037
78 | (295038) (EPE 15) HIGH OFFSITE RADIOACTIVITY RELEASE RATE (G2.4.4) EMERGENCY PROCEDURES / PLAN Ability to recognize abnormal indications for system operating parameters that are entry-level conditions for emergency and abnormal operating procedures (CFR: 41.10 / 43.2 / 45.6) | 4.7 | G | 295038
79 | (295018AA2.05) Ability to determine and/or interpret the following as they apply to (APE 18) PARTIAL OR COMPLETE LOSS OF COMPONENT COOLING WATER (CCW): (CFR: 41.10 / 43.5 / 45.13) System pressure | 3.2 | A2 | 295018
80 | (295025) (EPE 2) HIGH REACTOR PRESSURE (G2.4.46) EMERGENCY PROCEDURES / PLAN Ability to verify that the alarms are consistent with the plant conditions (CFR: 41.10 / 43.5 / 45.3 / 45.12) | 4.2 | G | 295025
81 | (295027EA2.02) Ability to determine and/or interpret the following as they apply to (EPE 4) HIGH CONTAINMENT TEMPERATURE (MARK III CONTAINMENT ONLY): (CFR: 41.10 / 43.5 / 45.13) Containment pressure | 4.1 | A2 | 295027
82 | (295005) (APE 5) MAIN TURBINE GENERATOR TRIP (G2.4.23) EMERGENCY PROCEDURES / PLAN Knowledge of the bases for prioritizing emergency operating procedures implementation (CFR: 41.10 / 43.5 / 45.13) | 4.4 | G | 295005
83 | (295013) (APE 13) HIGH SUPPRESSION POOL TEMPERATURE. (G2.2.14) EQUIPMENT CONTROL Knowledge of the process for controlling equipment configuration or status (CFR: 41.10 / 43.3 / 45.13) | 4.3 | G | 295013
84 | (295034EA2.01) Ability to determine and/or interpret the following as they apply to (EPE 11) SECONDARY CONTAINMENT VENTILATION HIGH RADIATION: (CFR: 41.10 / 43.5 / 45.13) Ventilation radiation levels | 4 | A2 | 295034
85 | (500000) (EPE 16) HIGH CONTAINMENT HYDROGEN CONCENTRATION (G2.1.39) CONDUCT OF OPERATIONS Knowledge of conservative decision-making practices (CFR: 41.10 / 43.5 / 45.12) | 4.3 | G | 500000
86 | (264000) (SF6 EGE) EMERGENCY GENERATORS (DIESEL/JET) (G2.4.20) EMERGENCY PROCEDURES / PLAN Knowledge of the operational implications of emergency and abnormal operating procedures warnings, cautions, and notes (CFR: 41.10 / 43.5 / 45.13) | 4.3 | G | 264000
87 | (212000A2.11) Ability to (a) predict the impacts of the following on the (SF7 RPS) REACTOR PROTECTION SYSTEM and (b) based on those predictions, use procedures to correct, control, or mitigate the consequences of those abnormal operations: (CFR: 41.5 / 45.6) | 4.1 | A2 | 212000
88 | (205000) (SF4 SCS) SHUTDOWN COOLING SYSTEM (RHR SHUTDOWN COOLING MODE) (G2.1.14) CONDUCT OF OPERATIONS Knowledge of criteria or conditions that require plantwide announcements, such as pump starts, reactor trips, and mode changes (CFR: 41.10 / 43.5 / 45.12) | 3.1 | G | 205000
89 | (211000A2.04) Ability to (a) predict the impacts of the following on the (SF1 SLCS) STANDBY LIQUID CONTROL SYSTEM and (b) based on those predictions, use procedures to correct, control, or mitigate the consequences of those abnormal operations: (CFR: 41.5 / 43.5 / 45.6) Inadequate SLCS system flow | 3.8 | A2 | 211000
90 | (209001) (SF2, SF4 LPCS) LOW PRESSURE CORE SPRAY SYSTEM (G2.1.15) CONDUCT OF OPERATIONS Knowledge of administrative requirements for temporary management direction, such as standing orders, night orders, or operations memoranda (CFR: 41.10 / 45.12) | 3.4 | G | 209001
91 | (286000A2.01) Ability to (a) predict the impacts of the following on the (SF8 FPS) FIRE PROTECTION SYSTEM and (b) based on those predictions, use procedures to correct, control, or mitigate the consequences of those abnormal operations: (CFR: 41.5 / 45.6) System logic failure | 3.1 | A2 | 286000
92 | (202001) (SF1, SF4 RS) RECIRCULATION SYSTEM (G2.2.4) EQUIPMENT CONTROL (Multi-unit license) Ability to explain the variations in control room layouts, systems, instrumentation, or procedural actions between units at a facility (CFR: 41.6 / 41.7 / 41.10 / 45.1 / 45.13) | 3.6 | G | 202001
93 | (272000A2.07) Ability to (a) predict the impacts of the following on the (SF7, SF9 RMS) RADIATION MONITORING SYSTEM and (b) based on those predictions, use procedures to correct, control, or mitigate the consequences of those abnormal operations: (CFR: 41.5 / 45.6) Hydrogen injection operation | 3 | A2 | 272000
94 | (G2.1.37) CONDUCT OF OPERATIONS Knowledge of procedures, guidelines, or limitations associated with reactivity management (CFR: 41.1 / 41.5 / 41.10 / 43.6 / 45.6) | 4.6 | G2.1 | G2.1
95 | (G2.1.38) CONDUCT OF OPERATIONS Knowledge of the station’s requirements for verbal communications when implementing procedures (CFR: 41.10 / 45.13) | 3.8 | G2.1 | G2.1
96 | (G2.2.7) EQUIPMENT CONTROL Knowledge of the process for conducting infrequently performed tests or evolutions (CFR: 41.10 / 43.3 / 45.13) | 3.6 | G2.2 | G2.2
97 | (G2.2.3) EQUIPMENT CONTROL (Multi-unit license) Knowledge of the design, procedural, or operational differences between units (CFR: 41.5 / 41.6 / 41.7 / 41.10 / 45.12) | 3.9 | G2.2 | G2.2
98 | (G2.3.6) RADIATION CONTROL Ability to approve liquid or gaseous release permits (CFR: 41.13 / 43.4 / 45.10) | 3.8 | G2.3 | G2.3
99 | (G2.4.43) EMERGENCY PROCEDURES / PLAN Knowledge of emergency communications systems and techniques (CFR: 41.10 / 43.5 / 45.13) | 3.8 | G2.4 | G2.4
100 | (G2.4.3) EMERGENCY PROCEDURES / PLAN Ability to identify post-accident instrumentation (CFR: 41.6 / 45.4) | 3.9 | G2.4 | G2.4