## Sheet1
Question Number | Topic Title | Topic Importance | K/A Category | System
1 | (295031EA1.04) Ability to operate and/or monitor the following as they apply to (EPE 8) REACTOR LOW WATER LEVEL: (CFR: 41.7 / 45.6) High-pressure core spray | 4.3 | A1 | 295031
2 | (295023) (APE 23) REFUELING ACCIDENTS (G2.1.44) CONDUCT OF OPERATIONS Knowledge of RO duties in the control room during fuel handling, such as responding to alarms from the fuel handling area, communication with fuel handling personnel, operating systems from the control room in support of fueling operations, or supporting instrumentation (CFR: 41.10 / 43.7 / 45.12) | 3.9 | G | 295023
3 | (295024EA2.12) Ability to determine and/or interpret the following as they apply to (EPE 1) HIGH DRYWELL PRESSURE: (CFR: 41.10 / 43.5 / 45.13) Safety/relief valves | 3.9 | A2 | 295024
4 | (295004AK1.02) Knowledge of the operational implications and/or cause and effect relationships of the following concepts as they apply to the (APE 4) PARTIAL OR COMPLETE LOSS OF DC POWER:(CFR: 41.8 to 41.10) Redundant DC power supplies | 3.8 | K1 | 295004
5 | (295006AK2.05) Knowledge of the relationship between the (APE 6) SCRAM and the following systems or components: (CFR: 41.7 / 45.8) CRD mechanism | 3.4 | K2 | 295006
6 | (295016AK3.04) Knowledge of the reasons for the following responses or actions as they apply to (APE 16) CONTROL ROOM ABANDONMENT: (CFR: 41.5 / 45.6) Abandonment criteria | 4.1 | K3 | 295016
7 | (295037EA1.18) Ability to operate and/or monitor the following as they apply to (EPE 14) SCRAM CONDITION PRESENT AND REACTOR POWER ABOVE APRM DOWNSCALE OR UNKNOWN: (CFR: 41.7 / 45.5 to 45.8) RPIS | 3.8 | A1 | 295037
8 | (295019) (APE 19) PARTIAL OR COMPLETE LOSS OF INSTRUMENT AIR (G2.4.17) EMERGENCY PROCEDURES / PLAN Knowledge of emergency and abnormal operating procedures terms and definitions (CFR: 41.10 / 45.13) | 3.9 | G | 295019
9 | (295027EA2.03) Ability to determine and/or interpret the following as they apply to (EPE 4) HIGH CONTAINMENT TEMPERATURE (MARK III CONTAINMENT ONLY): (CFR: 41.10 / 43.5 / 45.13) Reactor pressure | 4.1 | A2 | 295027
10 | (295021AK1.04) Knowledge of the operational implications and/or cause and effect relationships of the following concepts as they apply to the (APE 21) LOSS OF SHUTDOWN COOLING:(CFR: 41.8 to 41.10) Natural circulation | 3.9 | K1 | 295021
11 | (295005AK2.11) Knowledge of the relationship between the (APE 5) MAIN TURBINE GENERATOR TRIP and the following systems or components: (CFR: 41.7 / 45.8) Recirculation flow control system | 3 | K2 | 295005
12 | (295025EK3.04) Knowledge of the reasons for the following responses or actions as they apply to (EPE 2) HIGH REACTOR PRESSURE: (CFR: 41.5 / 45.6) Isolation condenser initiation (Nine Mile Point 1, Dresden) | 4 | K3 | 295025
13 | (295030EA1.01) Ability to operate and/or monitor the following as they apply to (EPE 7) LOW SUPPRESSION POOL WATER LEVEL: (CFR: 41.7 / 45.6) ECCSs | 4 | A1 | 295030
14 | (600000) (APE 24) PLANT FIRE ON SITE (G2.2.40) EQUIPMENT CONTROL Ability to apply technical specifications with action statements of less than or equal to 1 hour (CFR: 41.10 / 43.2 / 43.5 / 45.3) | 3.4 | G | 600000
15 | (295003AA2.01) Ability to determine and/or interpret the following as they apply to (APE 3) PARTIAL OR COMPLETE LOSS OF AC POWER: (CFR: 41.10 / 43.5 / 45.13) Partial or complete loss of AC power | 4 | A2 | 295003
16 | (295026EK1.02) Knowledge of the operational implications and/or cause and effect relationships of the following concepts as they apply to the (EPE 3) SUPPRESSION POOL HIGH WATER TEMPERATURE: (CFR: 41.8 to 41.10) Heat capacity | 4.1 | K1 | 295026
17 | (295038EK2.08) Knowledge of the relationship between the (EPE 15) HIGH OFFSITE RADIOACTIVITY RELEASE RATE and the following systems or components: (CFR: 41.7 / 45.8) Plant process computer/parameter display systems | 3.2 | K2 | 295038
18 | (295001AK3.08) Knowledge of the reasons for the following responses or actions as they apply to (APE 1) PARTIAL OR COMPLETE LOSS OF FORCED CORE FLOW CIRCULATION: (CFR: 41.5 / 41.6) | 3.7 | K3 | 295001
19 | (295018AA1.07) Ability to operate and/or monitor the following as they apply to (APE 18) PARTIAL OR COMPLETE LOSS OF COMPONENT COOLING WATER (CCW): (CFR: 41.7 / 45.6) Fuel pool cooling and cleanup system | 3.6 | A1 | 295018
20 | (700000) (APE 25) GENERATOR VOLTAGE AND ELECTRIC GRID DISTURBANCES (G2.2.22) EQUIPMENT CONTROL Knowledge of limiting conditions for operation and safety limits (CFR: 41.5 / 43.2 / 45.2) | 4 | G | 700000
21 | (500000EK1.01) Knowledge of the operational implications and/or cause and effect relationships of the following concepts as they apply to the (EPE 16) HIGH CONTAINMENT HYDROGEN CONCENTRATION: (CFR: 41.8 to 41.10) Containment integrity | 4 | K1 | 500000
22 | (295033EK2.07) Knowledge of the relationship between the (EPE 10) HIGH SECONDARY CONTAINMENT AREA RADIATION LEVELS and the following systems or components: (CFR: 41.7 / 45.8) Systems required for adequate core cooling | 4.2 | K2 | 295033
23 | (295034EK3.03) Knowledge of the reasons for the following responses or actions as they apply to (EPE 11) SECONDARY CONTAINMENT VENTILATION HIGH RADIATION: (CFR: 41.5 / 45.6) Personnel evacuation | 3.8 | K3 | 295034
24 | (295012AA1.03) Ability to operate and/or monitor the following as they apply to (APE 12) HIGH DRYWELL TEMPERATURE: (CFR: 41.7 / 45.6) Drywell pressure | 4.2 | A1 | 295012
25 | (295008) (APE 8) HIGH REACTOR WATER LEVEL (G2.2.7) EQUIPMENT CONTROL Knowledge of the process for conducting infrequently performed tests or evolutions (CFR: 41.10 / 43.3 / 45.13) | 2.9 | G | 295008
26 | (295017AA2.03) Ability to determine and/or interpret the following as they apply to (APE 17) ABNORMAL OFFSITE RELEASE RATE: (CFR: 41.10 / 43.5 / 45.13) Radiation levels | 3.7 | A2 | 295017
27 | (259002K5.03) Knowledge of the operational implications or cause and effect relationships of the following concepts as they apply to the (SF2 RWLCS) REACTOR WATER LEVEL CONTROL SYSTEM: (CFR: 41.5 / 45.3) Water level measurement | 3.7 | K5 | 259002
28 | (223002) (SF5 PCIS) PRIMARY CONTAINMENT ISOLATION SYSTEM / NUCLEAR STEAM SUPPLY SHUTOFF (G2.4.37) EMERGENCY PROCEDURES / PLAN Knowledge of the lines of authority during implementation of the emergency plan implementing procedures (CFR: 41.10 / 45.13) | 3 | G | 223002
29 | (261000K1.01) Knowledge of the physical connections and/or cause and effect relationships between the (SF9 SGTS) STANDBY GAS TREATMENT SYSTEM and the following systems: (CFR: 41.4 to 41.9 / 45.7 / 45.8) Plant ventilation systems | 3.5 | K1 | 261000
30 | (510000A3.01) Ability to monitor automatic operation of the (SF4 SWS*) SERVICE WATER SYSTEM including: (CFR: 41.7 / 45.5) Pump starts | 3.5 | A3 | 510000
31 | (239002A1.06) Ability to predict and/or monitor changes in parameters associated with operation of the (SF3 SRV) SAFETY RELIEF VALVES including: (CFR: 41.5 / 45.5) Reactor power | 4.1 | A1 | 239002
32 | (209001K6.06) Knowledge of the effect of the following plant conditions, system malfunctions, or component malfunctions on the (SF2, SF4 LPCS) LOW PRESSURE CORE SPRAY SYSTEM : (CFR: 41.7 / 45.7) Pump motor cooler(s) | 2.9 | K6 | 209001
33 | (205000K4.02) Knowledge of (SF4 SCS) SHUTDOWN COOLING SYSTEM (RHR SHUTDOWN COOLING MODE) design features and/or interlocks that provide for the following: (CFR: 41.7) High pressure isolation | 3.9 | K4 | 205000
34 | (211000K3.04) Knowledge of the effect that a loss or malfunction of the (SF1 SLCS) STANDBY LIQUID CONTROL SYSTEM will have on the following systems or system parameters: (CFR: 41.7 / 45.4) Jet pump differential pressure (BWR 3, 4, 5, 6) | 2.8 | K3 | 211000
35 | (215003A4.03) Ability to manually operate and/or monitor the (SF7 IRM) INTERMEDIATE RANGE MONITOR SYSTEM in the control room: (CFR: 41.7 / 45.5 to 45.8) IRM range switches | 3.9 | A4 | 215003
36 | (209002K2.03) (SF2, SF4 HPCS) HIGH PRESSURE CORE SPRAY SYSTEM Knowledge of electrical power supplies to the following: (CFR: 41.7) Initiation logic | 4.2 | K2 | 209002
37 | (217000A2.09) Ability to (a) predict the impacts of the following on the (SF2, SF4 RCIC) REACTOR CORE ISOLATION COOLING SYSTEM (BWR 3, 4, 5, 6) and (b) based on those predictions, use procedures to correct, control, or mitigate the consequences of those abnormal operations: (CFR: 41.5 / 43.5 / 45.6) Loss of vacuum pump | 3 | A2 | 217000
38 | (212000K5.02) Knowledge of the operational implications or cause and effect relationships of the following concepts as they apply to the (SF7 RPS) REACTOR PROTECTION SYSTEM : (CFR: 41.5 / 45.3) Logic channel arrangements | 4.1 | K5 | 212000
39 | (203000) (SF2, SF4 RHR/LPCI) RHR/LPCI: INJECTION MODE (291007K1.02) DEMINERALIZERS AND ION EXCHANGERS (CFR: 41.3) Reason for sampling inlet and outlet of demineralizer | 2.6 | C | 203000
40 | (263000K1.03) Knowledge of the physical connections and/or cause and effect relationships between the (SF6 DC) DC ELECTRICAL DISTRIBUTION and the following systems: (CFR: 41.2 to 41.9 / 45.7 / 45.8) Plant ventilation systems | 2.8 | K1 | 263000
41 | (262001A3.06) Ability to monitor automatic operation of the (SF6 AC) AC ELECTRICAL DISTRIBUTION including: (CFR: 41.7 / 45.7) Tap changers | 2.9 | A3 | 262001
42 | (215005A1.03) Ability to predict and/or monitor changes in parameters associated with operation of the (SF7 PRMS) AVERAGE POWER RANGE MONITOR/LOCAL POWER RANGE MONITOR including: (CFR: 41.5 / 45.5) Control rod block status | 3.9 | A1 | 215005
43 | (215004K6.02) Knowledge of the effect of the following plant conditions, system malfunctions, or component malfunctions on the (SF7 SRMS) SOURCE RANGE MONITOR SYSTEM : (CFR: 41.7 / 45.7) 24/48 volt DC power | 3.4 | K6 | 215004
44 | (264000K4.08) Knowledge of (SF6 EGE) EMERGENCY GENERATORS (DIESEL/JET) design features and/or interlocks that provide for the following: (CFR: 41.7) Automatic startup | 4.2 | K4 | 264000
45 | (400000K3.06) Knowledge of the effect that a loss or malfunction of the (SF8 CCS) COMPONENT COOLING WATER SYSTEM will have on the following systems or system parameters: (CFR: 41.7 / 45.6) Recirculation system | 3.8 | K3 | 400000
46 | (218000A4.02) Ability to manually operate and/or monitor the (SF3 ADS) AUTOMATIC DEPRESSURIZATION SYSTEM in the control room: (CFR: 41.7 / 45.5 to 45.8) ADS logic initiation | 4.2 | A4 | 218000
47 | (300000K2.02) (SF8 IA) INSTRUMENT AIR SYSTEM Knowledge of electrical power supplies to the following: (CFR: 41.7) Emergency air compressor | 3.3 | K2 | 300000
48 | (262002A2.03) Ability to (a) predict the impacts of the following on the (SF6 UPS) UNINTERRUPTABLE POWER SUPPLY (AC/DC) and (b) based on those predictions, use procedures to correct, control, or mitigate the consequences of those abnormal operations: (CFR: 41.5 / 43.5 / 45.6) Frequency malfunctions in the system | 3 | A2 | 262002
49 | (259002K5.02) Knowledge of the operational implications or cause and effect relationships of the following concepts as they apply to the (SF2 RWLCS) REACTOR WATER LEVEL CONTROL SYSTEM: (CFR: 41.5 / 45.3) Controller operation | 3.8 | K5 | 259002
50 | (223002) (SF5 PCIS) PRIMARY CONTAINMENT ISOLATION SYSTEM / NUCLEAR STEAM SUPPLY SHUTOFF (G2.4.49) EMERGENCY PROCEDURES / PLAN Ability to perform without reference to procedures those actions that require immediate operation of system components and controls (CFR: 41.10 / 43.2 / 45.6) | 4.6 | G | 223002
51 | (261000K1.02) Knowledge of the physical connections and/or cause and effect relationships between the (SF9 SGTS) STANDBY GAS TREATMENT SYSTEM and the following systems: (CFR: 41.4 to 41.9 / 45.7 / 45.8) Primary containment system and auxiliaries | 3.7 | K1 | 261000
52 | (510000A3.03) Ability to monitor automatic operation of the (SF4 SWS*) SERVICE WATER SYSTEM including: (CFR: 41.7 / 45.5) Traveling screen operation | 2.8 | A3 | 510000
53 | (223001K2.10) (SF5 PCS) PRIMARY CONTAINMENT SYSTEM AND AUXILIARIES Knowledge of electrical power supplies to the following: (CFR: 41.7) Containment/drywell chillers | 3.1 | K2 | 223001
54 | (288000A2.06) Ability to (a) predict the impacts of the following on the (SF9 PVS) PLANT VENTILATION SYSTEMS and (b) based on those predictions, use procedures to correct, control, or mitigate the consequences of those abnormal operations: (CFR: 41.5 / 45.6) Secondary containment differential pressure malfunction | 3.5 | A2 | 288000
55 | (286000K5.03) Knowledge of the operational implications or cause and effect relationships of the following concepts as they apply to the (SF8 FPS) FIRE PROTECTION SYSTEM : (CFR: 41.5 / 45.3) Effect of water spray on electrical components | 3.4 | K5 | 286000
56 | (201003) (SF1 CRDM) CONTROL ROD AND DRIVE MECHANISM (291002K1.09) SENSORS AND DETECTORS (CFR: 41.7) (LEVEL) Modes of failure | 3.3 | C | 201003
57 | (268000K1.08) Knowledge of the physical connections and/or cause and effect relationships between the (SF9 RW) RADWASTE SYSTEM and the following systems: (CFR: 41.2 to 41.9 / 45.7 / 45.8) Fuel pool | 2.9 | K1 | 268000
58 | (256000A3.10) Ability to monitor automatic operation of the (SF2 CDS) CONDENSATE SYSTEM including: (CFR: 41.7 / 45.7) Pump trips | 3.7 | A3 | 256000
59 | (215001A1.01) Ability to predict and/or monitor changes in parameters associated with operation of the (SF7 TIP) TRAVERSING IN CORE PROBE including: (CFR: 41.5 / 45.5) Area radiation levels | 3.1 | A1 | 215001
60 | (241000K6.25) Knowledge of the effect of the following plant conditions, system malfunctions, or component malfunctions on the (SF3 RTPRS) REACTOR/TURBINE PRESSURE REGULATING SYSTEM: (CFR: 41.7 / 45.7) Reactor startup | 3.8 | K6 | 241000
61 | (290001K4.03) Knowledge of (SF5 SC) SECONDARY CONTAINMENT design features and/or interlocks that provide for the following: (CFR: 41.7) Fluid leakage collection | 2.9 | K4 | 290001
62 | (239001K3.16) Knowledge of the effect that a loss or malfunction of the (SF3, SF4 MRSS) MAIN AND REHEAT STEAM SYSTEM will have on the following systems or system parameters: (CFR: 41.7 / 45.4) Safety relief valves | 3.9 | K3 | 239001
63 | (245000A4.06) Ability to manually operate and/or monitor the (SF4 MTGEN) MAIN TURBINE GENERATOR AND AUXILIARY SYSTEMS in the control room: (CFR: 41.7 / 45.5 to 45.8) Turbine speed | 3.2 | A4 | 245000
64 | (G2.1.17) CONDUCT OF OPERATIONS Ability to make accurate, clear, and concise verbal reports (CFR: 41.10 / 45.12 / 45.13) | 3.9 | G2.1 | G2.1
65 | (G2.1.14) CONDUCT OF OPERATIONS Knowledge of criteria or conditions that require plantwide announcements, such as pump starts, reactor trips, and mode changes (CFR: 41.10 / 43.5 / 45.12) | 3.1 | G2.1 | G2.1
66 | (G2.2.1) EQUIPMENT CONTROL Ability to perform pre-startup procedures for the facility, including operating those controls associated with plant equipment that could affect reactivity (CFR: 41.5 / 41.10 / 43.5 / 43.6 / 45.1) | 4.5 | G2.2 | G2.2
67 | (G2.2.12) EQUIPMENT CONTROL Knowledge of surveillance procedures (CFR: 41.10 / 43.2 / 45.13) | 3.7 | G2.2 | G2.2
68 | (G2.3.12) RADIATION CONTROL Knowledge of radiological safety principles and procedures pertaining to licensed operator duties, such as response to radiation monitor alarms, containment entry requirements, fuel handling responsibilities, access to locked high-radiation areas, or alignment of filters (CFR: 41.12 / 43.4 / 45.9 / 45.10) | 3.2 | G2.3 | G2.3
69 | (G2.4.16) EMERGENCY PROCEDURES / PLAN Knowledge of emergency and abnormal operating procedures implementation hierarchy and coordination with other support procedures or guidelines such as, operating procedures, abnormal operating procedures, or severe accident management guidelines (CFR: 41.10 / 43.5 / 45.13) | 3.5 | G2.4 | G2.4
70 | (292005K1.01) CONTROL RODS (CFR: 41.1) Relate notch and rod position | 3.3 | R | 292005
71 | (292002K1.12) NEUTRON LIFE CYCLE (CFR: 41.1) State the relationship between reactivity and effective multiplication factor | 2.5 | R | 292002
72 | (292003K1.09) REACTOR KINETICS AND NEUTRON SOURCES (CFR: 41.1) Define doubling time and calculate it using the power | 2.6 | R | 292003
73 | (293009K1.09) CORE THERMAL LIMITS (CFR: 41.14) (LHGR) Define FLPD and MFLPD | 3.7 | T | 293009
74 | (293004K1.04) THERMODYNAMIC PROCESS (CFR: 41.14) (NOZZLES) Describe the functions of nozzles in air ejectors | 2.6 | T | 293004
75 | (293007K1.13) HEAT TRANSFER (CFR: 41.14) (CORE THERMAL POWER) Calculate core thermal power using a simplified heat | 2.9 | T | 293007
76 | (295031) (EPE 8) REACTOR LOW WATER LEVEL (G2.4.41) EMERGENCY PROCEDURES / PLAN: Knowledge of the emergency action level thresholds and classifications (CFR: 41.10 / 43.5 / 45.11). | 4.6 | G | 295031
77 | (295023AA2.01) Ability to determine and/or interpret the following as they apply to (APE 23) REFUELING ACCIDENTS: (CFR: 41.10 / 43.5 / 45.13) Radiation levels | 3.9 | A2 | 295023
78 | (295024) (EPE 1) HIGH DRYWELL PRESSURE (G2.4.29) EMERGENCY PROCEDURES / PLAN Knowledge of the emergency plan implementing procedures (CFR: 41.10 / 43.5 / 45.11) | 4.4 | G | 295024
79 | (295004AA2.03) Ability to determine and/or interpret the following as they apply to (APE 4) PARTIAL OR COMPLETE LOSS OF DC POWER: (CFR: 41.10 / 43.5 / 45.13) Battery parameters | 3.7 | A2 | 295004
80 | (295006) (APE 6) SCRAM (G2.2.37) EQUIPMENT CONTROL Ability to determine operability or availability of safety-related equipment (SRO Only) (CFR: 43.2 / 43.5 / 45.12) | 4.6 | G | 295006
81 | (295016AA2.05) Ability to determine and/or interpret the following as they apply to (APE 16) CONTROL ROOM ABANDONMENT: (CFR: 41.10 / 43.5 / 45.13) Drywell pressure | 3.6 | A2 | 295016
82 | (295037) (EPE 14) SCRAM CONDITION PRESENT AND REACTOR POWER ABOVE APRM DOWNSCALE OR UNKNOWN (G2.1.7) CONDUCT OF OPERATIONS Ability to evaluate plant performance and make operational judgments based on operating characteristics, reactor behavior, and instrument interpretation (CFR: 41.5 / 43.5 / 45.12 / 45.13) | 4.7 | G | 295037
83 | (295011) (APE 11) HIGH CONTAINMENT TEMPERATURE (MARK III CONTAINMENT ONLY) (G2.2.41) EQUIPMENT CONTROL Ability to obtain and interpret station electrical and mechanical drawings (reference potential) (CFR: 41.10 / 45.12 / 45.13) | 3.9 | G | 295011
84 | (295035EA2.01) Ability to determine and/or interpret the following as they apply to (EPE 12) SECONDARY CONTAINMENT HIGH DIFFERENTIAL PRESSURE: (CFR: 41.8 to 41.10) Secondary containment pressure | 3.9 | A2 | 295035
85 | (295007) (APE 7) HIGH REACTOR PRESSURE (G2.1.2) CONDUCT OF OPERATIONS Knowledge of operator responsibilities during any mode of plant operation (CFR: 41.10 / 43.1 / 45.13) | 4.4 | G | 295007
86 | (239002) (SF3 SRV) SAFETY RELIEF VALVES (G2.2.42) EQUIPMENT CONTROL Ability to recognize system parameters that are entry-level conditions for technical specifications (CFR: 41.7 / 41.10 / 43.2 / 43.3 / 45.3) | 4.6 | G | 239002
87 | (209001A2.12) Ability to (a) predict the impacts of the following on the (SF2, SF4 LPCS) LOW PRESSURE CORE SPRAY SYSTEM and (b) based on those predictions, use procedures to correct, control, or mitigate the consequences of those abnormal operations: (CFR: 41.5 / 43.5 / 45.6) Inadvertent system initiation | 4.3 | A2 | 209001
88 | (205000) (SF4 SCS) SHUTDOWN COOLING SYSTEM (RHR SHUTDOWN COOLING MODE) (G2.2.4) EQUIPMENT CONTROL (Multi-unit license) Ability to explain the variations in control room layouts, systems, instrumentation, or procedural actions between units at a facility (CFR: 41.6 / 41.7 / 41.10 / 45.1 / 45.13) | 3.6 | G | 205000
89 | (211000A2.05) Ability to (a) predict the impacts of the following on the (SF1 SLCS) STANDBY LIQUID CONTROL SYSTEM and (b) based on those predictions, use procedures to correct, control, or mitigate the consequences of those abnormal operations: (CFR: 41.5 / 43.5 / 45.6) Loss of SLCS tank heaters | 3 | A2 | 211000
90 | (215003) (SF7 IRM) INTERMEDIATE RANGE MONITOR SYSTEM (G2.4.21) EMERGENCY PROCEDURES / PLAN Knowledge of the parameters and logic used to assess the status of emergency operating procedures critical safety functions or shutdown critical safety functions (CFR: 41.7 / 43.5 / 45.12) | 4.6 | G | 215003
91 | (226001A2.02) Ability to (a) predict the impacts of the following on the (SF5 RHR CSS) RHR/LPCI: CONTAINMENT SPRAY MODE SYSTEM MODE and (b) based on those predictions, use procedures to correct, control, or mitigate the consequences of those abnormal operations: (CFR: 41.5 / 43.5 / 45.6) Pump(s) trips | 3.8 | A2 | 226001
92 | (510001) (SF8 CWS*) CIRCULATING WATER SYSTEM (G2.1.8) CONDUCT OF OPERATIONS Ability to coordinate personnel activities outside the control room (CFR: 41.10 / 43.1 / 45.5 / 45.12 / 45.13) | 4.1 | G | 510001
93 | (239003A2.04) Ability to (a) predict the impacts of the following on the (SF9 MSVLCS) MAIN STEAM ISOLATION VALVE LEAKAGE CONTROL SYSTEM (BWR 4, 5, 6) and (b) based on those predictions, use procedures to correct, control, or mitigate the consequences of those abnormal operations: (CFR: 41.5 / 45.6) Outboard system logic failure | 2.7 | A2 | 239003
94 | (G2.1.30) CONDUCT OF OPERATIONS Ability to locate and operate components, including local controls (CFR: 41.7 / 45.7) | 4 | G2.1 | G2.1
95 | (G2.1.6) CONDUCT OF OPERATIONS Ability to manage the control room crew during plant transients (SRO Only) (CFR: 43.5 / 45.12 / 45.13) | 4.8 | G2.1 | G2.1
96 | (G2.2.3) EQUIPMENT CONTROL (Multi-unit license) Knowledge of the design, procedural, or operational differences between units (CFR: 41.5 / 41.6 / 41.7 / 41.10 / 45.12) | 3.9 | G2.2 | G2.2
97 | (G2.2.25) EQUIPMENT CONTROL Knowledge of the bases in technical specifications for limiting conditions for operation and safety limits (SRO Only) (CFR: 43.2) | 4.2 | G2.2 | G2.2
98 | (G2.3.14) RADIATION CONTROL Knowledge of radiation or contamination hazards that may arise during normal, abnormal, or emergency conditions or activities, such as analysis and interpretation of radiation and activity readings as they pertain to administrative, normal, abnormal, and emergency procedures, or analysis and interpretation of coolant activity, including comparison to emergency plan or regulatory limits (SRO Only) (CFR: 43.4 / 45.10) | 3.8 | G2.3 | G2.3
99 | (G2.4.3) EMERGENCY PROCEDURES / PLAN Ability to identify post-accident instrumentation (CFR: 41.6 / 45.4) | 3.9 | G2.4 | G2.4
100 | (G2.4.52) EMERGENCY PROCEDURES / PLAN Knowledge of the lines of authority during implementation of the emergency plan, emergency plan implementing procedures, emergency operating procedures, or severe accident guidelines (CFR: 41.10 / 45.13) | 4 | G2.4 | G2.4