## Sheet1
Question Number | Topic Title | Topic Importance | K/A Category | System
1 | (295025EK3.10) Knowledge of the reasons for the following responses or actions as they apply to (EPE 2) HIGH REACTOR PRESSURE: (CFR: 41.5 / 45.6) Reactor SCRAM | 4.3 | K3 | 295025
2 | (295005) (APE 5) MAIN TURBINE GENERATOR TRIP (G2.1.45) CONDUCT OF OPERATIONS Ability to identify and interpret diverse indications to validate the response of another indication (CFR: 41.7 / 43.5 / 45.4) | 4.3 | G | 295005
3 | (295038EA2.02) Ability to determine and/or interpret the following as they apply to (EPE 15) HIGH OFFSITE RADIOACTIVITY RELEASE RATE: (CFR: 41.10 / 43.5 / 45.13) Total number of curies released or release rate/duration | 3.2 | A2 | 295038
4 | (295024EA1.22) Ability to operate and/or monitor the following as they apply to (EPE 1) HIGH DRYWELL PRESSURE: (CFR: 41.7 / 45.6) DC electrical distribution | 3.1 | A1 | 295024
5 | (295006AK1.02) Knowledge of the operational implications and/or cause and effect relationships of the following concepts as they apply to the (APE 6) SCRAM:(CFR: 41.8 to 41.10) Shutdown margin | 3.6 | K1 | 295006
6 | (295003AK2.01) Knowledge of the relationship between the (APE 3) PARTIAL OR COMPLETE LOSS OF AC POWER and the following systems or components: (CFR: 41.7 / 45.8) Station batteries | 4 | K2 | 295003
7 | (295030EK3.07) Knowledge of the reasons for the following responses or actions as they apply to (EPE 7) LOW SUPPRESSION POOL WATER LEVEL: (CFR: 41.5 / 45.6) NPSH/vortex limits | 3.8 | K3 | 295030
8 | (295016) (APE 16) CONTROL ROOM ABANDONMENT (G2.2.17) EQUIPMENT CONTROL Knowledge of the process for managing maintenance activities during power operations, such as risk assessments, work prioritization, and coordination with the transmission system operator (CFR: 41.10 / 43.5 / 45.13) | 2.6 | G | 295016
9 | (295023AA2.02) Ability to determine and/or interpret the following as they apply to (APE 23) REFUELING ACCIDENTS: (CFR: 41.10 / 43.5 / 45.13) Fuel pool level | 4.6 | A2 | 295023
10 | (700000AA1.07) Ability to operate and/or monitor the following as they apply to (APE 25) GENERATOR VOLTAGE AND ELECTRIC GRID DISTURBANCES: (CFR: 41.5 / 41.10 / 45.5 / 45.7 / 45.8) Emergency generators (diesel/jet) | 3.8 | A1 | 700000
11 | (295031EK1.01) Knowledge of the operational implications and/or cause and effect relationships of the following concepts as they apply to the (EPE 8) REACTOR LOW WATER LEVEL: (CFR: 41.8 to 41.10) Adequate core cooling | 4.7 | K1 | 295031
12 | (295021AK2.08) Knowledge of the relationship between the (APE 21) LOSS OF SHUTDOWN COOLING and the following systems or components: (CFR: 41.7 / 45.8) Alternate decay heat removal systems | 3.9 | K2 | 295021
13 | (295004AK3.02) Knowledge of the reasons for the following responses or actions as they apply to (APE 4) PARTIAL OR COMPLETE LOSS OF DC POWER: (CFR: 41.5 / 45.6) Ground isolation/fault determination | 3.3 | K3 | 295004
14 | (295027) (EPE 4) HIGH CONTAINMENT TEMPERATURE (MARK III CONTAINMENT ONLY) (G2.2.23) EQUIPMENT CONTROL Ability to track technical specification limiting conditions for operation (CFR: 41.10 / 43.2 / 45.13) | 3.1 | G | 295027
15 | (600000AA2.16) Ability to determine and/or interpret the following as they apply to (APE 24) PLANT FIRE ON SITE: (CFR: 41.10 / 43.5 / 45.13) Vital equipment and control systems to be maintained and operated during a fire | 3.3 | A2 | 600000
16 | (295001AA1.02) Ability to operate and/or monitor the following as they apply to (APE 1) PARTIAL OR COMPLETE LOSS OF FORCED CORE FLOW CIRCULATION: (CFR: 41.7 / 45.6) RPS | 3.8 | A1 | 295001
17 | (295037EK1.01) Knowledge of the operational implications and/or cause and effect relationships of the following concepts as they apply to the (EPE 14) SCRAM CONDITION PRESENT AND REACTOR POWER ABOVE APRM DOWNSCALE OR UNKNOWN: (CFR: 41.8 to 41.10) Reactor pressure effects on reactor power | 4.3 | K1 | 295037
18 | (295018AK2.06) Knowledge of the relationship between the (APE 18) PARTIAL OR COMPLETE LOSS OF COMPONENT COOLING WATER (CCW) and the following systems or components: (CFR: 41.7 / 45.8) Fuel pool cooling and cleanup system | 3.8 | K2 | 295018
19 | (295019AK3.01) Knowledge of the reasons for the following responses or actions as they apply to (APE 19) PARTIAL OR COMPLETE LOSS OF INSTRUMENT AIR: (CFR: 41.5 / 45.6) Alignment of backup air systems | 3.6 | K3 | 295019
20 | (295026) (EPE 3) SUPPRESSION POOL HIGH WATER TEMPERATURE (G2.4.42) EMERGENCY PROCEDURES / PLAN Knowledge of emergency response facilities (CFR: 41.10 / 45.11) | 2.6 | G | 295026
21 | (295020AA1.07) Ability to operate and/or monitor the following as they apply to (APE 20) INADVERTENT CONTAINMENT ISOLATION: (CFR: 41.7 / 45.6) Reactor pressure | 3.8 | A1 | 295020
22 | (295022AK1.02) Knowledge of the operational implications and/or cause and effect relationships of the following concepts as they apply to the (APE 22) LOSS OF CONTROL ROD DRIVE PUMPS: (CFR: 41.8 to 41.10) Reactivity control | 3.9 | K1 | 295022
23 | (295009AK2.03) Knowledge of the relationship between the (APE 9) LOW REACTOR WATER LEVEL and the following systems or components: (CFR: 41.7 / 45.8) Recirculation system | 3.5 | K2 | 295009
24 | (295007AK3.08) Knowledge of the reasons for the following responses or actions as they apply to (APE 7) HIGH REACTOR PRESSURE: (CFR: 41.5 / 45.6) Reducing reactor power | 3.9 | K3 | 295007
25 | (295033) (EPE 10) HIGH SECONDARY CONTAINMENT AREA RADIATION LEVELS (G2.1.15) CONDUCT OF OPERATIONS Knowledge of administrative requirements for temporary management direction, such as standing orders, night orders, or operations memoranda (CFR: 41.10 / 45.12) | 2.7 | G | 295033
26 | (295012AA2.02) Ability to determine and/or interpret the following as they apply to (APE 12) HIGH DRYWELL TEMPERATURE: (CFR: 41.10 / 43.5 / 45.13) Drywell pressure | 4.3 | A2 | 295012
27 | (209001A2.08) Ability to (a) predict the impacts of the following on the (SF2, SF4 LPCS) LOW PRESSURE CORE SPRAY SYSTEM and (b) based on those predictions, use procedures to correct, control, or mitigate the consequences of those abnormal operations: (CFR: 41.5 / 43.5 / 45.6) Valve openings due to malfunction(s) | 3.9 | A2 | 209001
28 | (400000K4.03) Knowledge of (SF8 CCS) COMPONENT COOLING WATER SYSTEM design features and/or interlocks that provide for the following: (CFR: 41.7) Spent fuel pool cooling | 3.6 | K4 | 400000
29 | (264000K1.07) Knowledge of the physical connections and/or cause and effect relationships between the (SF6 EGE) EMERGENCY GENERATORS (DIESEL/JET) and the following systems: (CFR: 41.2 to 41.9 / 45.7 / 45.8) Emergency core cooling systems | 4.4 | K1 | 264000
30 | (239002K5.03) Knowledge of the operational implications or cause and effect relationships of the following concepts as they apply to the (SF3 SRV) SAFETY RELIEF VALVES: (CFR: 41.5 / 45.3) Acoustical monitoring | 3.2 | K5 | 239002
31 | (259002K6.03) Knowledge of the effect of the following plant conditions, system malfunctions, or component malfunctions on the (SF2 RWLCS) REACTOR WATER LEVEL CONTROL SYSTEM: (CFR: 41.7 / 45.7) Main steam flow input | 3.7 | K6 | 259002
32 | (212000A4.01) Ability to manually operate and/or monitor the (SF7 RPS) REACTOR PROTECTION SYSTEM in the control room: (CFR: 41.7 / 45.5 to 45.8) System actuation | 4.3 | A4 | 212000
33 | (215004A1.06) Ability to predict and/or monitor changes in parameters associated with operation of the (SF7 SRMS) SOURCE RANGE MONITOR SYSTEM including: (CFR: 41.5 / 45.5) Lights and alarms | 3.4 | A1 | 215004
34 | (218000K3.02) Knowledge of the effect that a loss or malfunction of the (SF3 ADS) AUTOMATIC DEPRESSURIZATION SYSTEM will have on the following systems or system parameters: (CFR: 41.7 / 45.4) Reactor pressure | 4.3 | K3 | 218000
35 | (217000A3.01) Ability to monitor automatic operation of the (SF2, SF4 RCIC) REACTOR CORE ISOLATION COOLING SYSTEM (BWR 3, 4, 5, 6) including: (CFR: 41.7 / 45.7) Valve operation | 3.9 | A3 | 217000
36 | (205000) (SF4 SCS) SHUTDOWN COOLING SYSTEM (RHR SHUTDOWN COOLING MODE) (G2.4.19) EMERGENCY PROCEDURES / PLAN Knowledge of emergency and abnormal operating procedures layout, symbols, and icons (CFR: 41.10 / 45.13) | 3.4 | G | 205000
37 | (215005K2.02) (SF7 PRMS) AVERAGE POWER RANGE MONITOR/LOCAL POWER RANGE MONITOR Knowledge of electrical power supplies to the following: (CFR: 41.7) APRM channels | 3.7 | K2 | 215005
38 | (262002A2.01) Ability to (a) predict the impacts of the following on the (SF6 UPS) UNINTERRUPTABLE POWER SUPPLY (AC/DC) and (b) based on those predictions, use procedures to correct, control, or mitigate the consequences of those abnormal operations: (CFR: 41.5 / 43.5 / 45.6) Abnormal voltage | 3.2 | A2 | 262002
39 | (510000K4.03) Knowledge of (SF4 SWS*) SERVICE WATER SYSTEM design features and/or interlocks that provide for the following: (CFR: 41.7) Cooling tower makeup water | 2.9 | K4 | 510000
40 | (263000K1.03) Knowledge of the physical connections and/or cause and effect relationships between the (SF6 DC) DC ELECTRICAL DISTRIBUTION and the following systems: (CFR: 41.2 to 41.9 / 45.7 / 45.8) Plant ventilation systems | 2.8 | K1 | 263000
41 | (209002K5.04) Knowledge of the operational implications or cause and effect relationships of the following concepts as they apply to the (SF2, SF4 HPCS) HIGH PRESSURE CORE SPRAY SYSTEM : (CFR: 41.5 / 45.3) Adequate core cooling | 4.5 | K5 | 209002
42 | (211000K6.04) Knowledge of the effect of the following plant conditions, system malfunctions, or component malfunctions on the (SF1 SLCS) STANDBY LIQUID CONTROL SYSTEM: (CFR: 41.7 / 45.7) Core spray system | 2.8 | K6 | 211000
43 | (261000A4.09) Ability to manually operate and/or monitor the (SF9 SGTS) STANDBY GAS TREATMENT SYSTEM in the control room: (CFR: 41.7 / 45.5 to 45.8) SGTS valves/dampers | 3.6 | A4 | 261000
44 | (203000A1.03) Ability to predict and/or monitor changes in parameters associated with operation of the (SF2, SF4 RHR/LPCI) RHR/LPCI: INJECTION MODE (BWR 3, 4, 5, 6) including: (CFR: 41.5 / 45.5) System flow | 4 | A1 | 203000
45 | (300000K3.17) Knowledge of the effect that a loss or malfunction of the (SF8 IA) INSTRUMENT AIR SYSTEM will have on the following systems or system parameters: (CFR: 41.7 / 45.6) Heater drain system | 3.1 | K3 | 300000
46 | (223002A3.02) Ability to monitor automatic operation of the (SF5 PCIS) PRIMARY CONTAINMENT ISOLATION SYSTEM / NUCLEAR STEAM SUPPLY SHUTOFF including: (CFR: 41.7 / 45.7) Valve closures | 4.3 | A3 | 223002
47 | (215003) (SF7 IRM) INTERMEDIATE RANGE MONITOR SYSTEM (291003K1.01) CONTROLLERS AND POSITIONERS (CFR: 41.7) Function and operation of flow controller in manual and automatic modes | 3.7 | C | 215003
48 | (262001K2.02) (SF6 AC) AC ELECTRICAL DISTRIBUTION Knowledge of electrical power supplies to the following: (CFR: 41.7) AC breaker control power | 3.7 | K2 | 262001
49 | (209001A2.09) Ability to (a) predict the impacts of the following on the (SF2, SF4 LPCS) LOW PRESSURE CORE SPRAY SYSTEM and (b) based on those predictions, use procedures to correct, control, or mitigate the consequences of those abnormal operations: (CFR: 41.5 / 43.5 / 45.6) Low suppression pool level | 3.8 | A2 | 209001
50 | (400000K4.05) Knowledge of (SF8 CCS) COMPONENT COOLING WATER SYSTEM design features and/or interlocks that provide for the following: (CFR: 41.7) Surge tank level control | 2.9 | K4 | 400000
51 | (264000K1.04) Knowledge of the physical connections and/or cause and effect relationships between the (SF6 EGE) EMERGENCY GENERATORS (DIESEL/JET) and the following systems: (CFR: 41.2 to 41.9 / 45.7 / 45.8) Component cooling water system | 3.4 | K1 | 264000
52 | (239002K5.05) Knowledge of the operational implications or cause and effect relationships of the following concepts as they apply to the (SF3 SRV) SAFETY RELIEF VALVES: (CFR: 41.5 / 45.3) Discharge line quencher operation | 3.2 | K5 | 239002
53 | (241000) (SF3 RTPRS) REACTOR/TURBINE PRESSURE REGULATING SYSTEM (G2.2.6) EQUIPMENT CONTROL Knowledge of the process for making changes to procedures (CFR: 41.10 / 43.3 / 45.13) | 3 | G | 241000
54 | (215001K2.01) (SF7 TIP) TRAVERSING IN CORE PROBE Knowledge of electrical power supplies to the following: (CFR: 41.7) Shear valves (BWR 2, 3, 4, 5) | 3.1 | K2 | 215001
55 | (223001A2.13) Ability to (a) predict the impacts of the following on the (SF5 PCS) PRIMARY CONTAINMENT SYSTEM AND AUXILIARIES and (b) based on those predictions, use procedures to correct, control, or mitigate the consequences of those abnormal operations: (CFR: 41.5 / 45.6) High containment temperature (Mark III) | 4 | A2 | 223001
56 | (268000K4.01) Knowledge of (SF9 RW) RADWASTE SYSTEM design features and/or interlocks that provide for the following: (CFR: 41.7) Automatic isolation of radiological release isolation valves | 3 | K4 | 268000
57 | (510001K1.09) Knowledge of the physical connections and/or cause and effect relationships between the (SF8 CWS*) CIRCULATING WATER SYSTEM and the following systems: (CFR: 41.4 to 41.8 / 45.7 / 45.8) Radiation monitoring system | 2.5 | K1 | 510001
58 | (234000K5.06) Knowledge of the operational implications or cause and effect relationships of the following concepts as they apply to the (SF8 FH) FUEL HANDLING: (CFR: 41.5 / 45.3) Fuel | 3 | K5 | 234000
59 | (290002K6.15) Knowledge of the effect of the following plant conditions, system malfunctions, or component malfunctions on the (SF4 RVI) REACTOR VESSEL INTERNALS: (CFR: 41.7 / 45.7) Automatic depressurization system | 3.8 | K6 | 290002
60 | (239001A4.02) Ability to manually operate and/or monitor the (SF3, SF4 MRSS) MAIN AND REHEAT STEAM SYSTEM in the control room: (CFR: 41.7 / 45.5 to 45.8) Main steam line drain valves | 3.4 | A4 | 239001
61 | (233000A1.02) Ability to predict and/or monitor changes in parameters associated with operation of the (SF9 FPCCU) FUEL POOL COOLING/CLEANUP including: (CFR: 41.5 / 45.5) Fuel pool level | 3.6 | A1 | 233000
62 | (272000K3.13) Knowledge of the effect that a loss or malfunction of the (SF7, SF9 RMS) RADIATION MONITORING SYSTEM will have on the following systems or system parameters: (CFR: 41.5 / 45.3) Continuous air monitoring/post‑accident air monitoring systems | 2.9 | K3 | 272000
63 | (219000A3.01) Ability to monitor automatic operation of the (SF5 RHR SPC) RHR/LPCI: TORUS/SUPPRESSION POOL COOLING MODE including: (CFR: 41.7 / 45.7) Valve operation | 3.9 | A3 | 219000
64 | (G2.1.34) CONDUCT OF OPERATIONS Knowledge of RCS or balance of plant chemistry controls, including parameters measured and reasons for the control (CFR: 41.10 / 43.5 / 45.12) | 2.7 | G2.1 | G2.1
65 | (G2.1.18) CONDUCT OF OPERATIONS Ability to make accurate, clear, and concise logs, records, status boards, and reports (CFR: 41.10 / 45.12 / 45.13) | 3.6 | G2.1 | G2.1
66 | (G2.2.18) EQUIPMENT CONTROL Knowledge of the process for managing maintenance activities during shutdown operations, such as risk assessments and work prioritization (CFR: 41.10 / 43.5 / 45.13) | 2.6 | G2.2 | G2.2
67 | (G2.2.20) EQUIPMENT CONTROL Knowledge of the process for managing troubleshooting activities (CFR: 41.10 / 43.5 / 45.13) | 2.6 | G2.2 | G2.2
68 | (G2.3.5) RADIATION CONTROL Ability to use radiation monitoring systems, such as fixed radiation monitors and alarms or personnel monitoring equipment (CFR: 41.11 / 41.12 / 43.4 / 45.9) | 2.9 | G2.3 | G2.3
69 | (G2.4.37) EMERGENCY PROCEDURES / PLAN Knowledge of the lines of authority during implementation of the emergency plan implementing procedures (CFR: 41.10 / 45.13) | 3 | G2.4 | G2.4
70 | (292006K1.14) FISSION PRODUCT POISONS (CFR: 41.1) Explain the process and reasons for the reactor operator to compensate for the time dependent behavior of xenon-135 concentration in the reactor | 3.2 | R | 292006
71 | (292003K1.06) REACTOR KINETICS AND NEUTRON SOURCES (CFR: 41.1) Explain the effect of delayed neutrons on reactor period | 3.7 | R | 292003
72 | (292008K1.20) REACTOR OPERATIONAL PHYSICS (CFR: 41.1) (POWER OPERATION) Explain transient and steady-state effects of an increase in core flow on reactor power and void fraction | 3.4 | R | 292008
73 | (293007K1.02) HEAT TRANSFER (CFR: 41.14) (HEAT TRANSFER) Describe thermal conductivity | 2.6 | T | 293007
74 | (293003K1.07) STEAM (CFR: 41.14) Define the following term: Saturated liquid | 2.8 | T | 293003
75 | (293009K1.11) CORE THERMAL LIMITS (CFR: 41.14) (MAPLHGR) Explain the basis of the limiting condition for APLGHR | 3.6 | T | 293009
76 | (295025EA2.06) Ability to determine and/or interpret the following as they apply to (EPE 2) HIGH REACTOR PRESSURE: (CFR: 41.10 / 43.5 / 45.13) Reactor water level | 3.7 | A2 | 295025
77 | (295005) (APE 5) MAIN TURBINE GENERATOR TRIP (G2.2.14) EQUIPMENT CONTROL Knowledge of the process for controlling equipment configuration or status (CFR: 41.10 / 43.3 / 45.13) | 4.3 | G | 295005
78 | (295038EA2.04) Ability to determine and/or interpret the following as they apply to (EPE 15) HIGH OFFSITE RADIOACTIVITY RELEASE RATE: (CFR: 41.10 / 43.5 / 45.13) Source of offsite release | 3.9 | A2 | 295038
79 | (295024) (EPE 1) HIGH DRYWELL PRESSURE (G2.4.44) EMERGENCY PROCEDURES / PLAN Knowledge of emergency plan implementing procedures protective action recommendations (SRO Only) (CFR: 41.10 / 41.12 / 43.5 / 45.11) | 4.4 | G | 295024
80 | (295006AA2.01) Ability to determine and/or interpret the following as they apply to (APE 6) SCRAM: (CFR: 41.10 / 43.5 / 45.13) Reactor power | 4.4 | A2 | 295006
81 | (295003) (APE 3) PARTIAL OR COMPLETE LOSS OF AC POWER (G2.1.2) CONDUCT OF OPERATIONS Knowledge of operator responsibilities during any mode of plant operation (CFR: 41.10 / 43.1 / 45.13) | 4.4 | G | 295003
82 | (295030EA2.01) Ability to determine and/or interpret the following as they apply to (EPE 7) LOW SUPPRESSION POOL WATER LEVEL: (CFR: 41.10 / 43.5 / 45.13) Suppression pool level | 4.1 | A2 | 295030
83 | (295013AA2.01) Ability to determine and/or interpret the following as they apply to (APE 13) HIGH SUPPRESSION POOL TEMPERATURE.: (CFR: 41.10 / 43.5 / 45.13) Suppression pool temperature | 4.2 | A2 | 295013
84 | (295008) (APE 8) HIGH REACTOR WATER LEVEL (G2.4.45) EMERGENCY PROCEDURES / PLAN Ability to prioritize and interpret the significance of each annunciator or alarm (CFR: 41.10 / 43.5 / 45.3 / 45.12) | 4.3 | G | 295008
85 | (295002AA2.07) Ability to determine and/or interpret the following as they apply to (APE 2) LOSS OF MAIN CONDENSER VACUUM: (CFR: 41.10 / 43.5 / 45.13) Turbine limitations | 3.4 | A2 | 295002
86 | (259002A2.02) Ability to (a) predict the impacts of the following on the (SF2 RWLCS) REACTOR WATER LEVEL CONTROL SYSTEM and (b) based on those predictions, use procedures to correct, control, or mitigate the consequences of those abnormal operations: (CFR: 41.5 / 43.5 / 45.6) Loss of any number of reactor feedwater flow inputs | 3.6 | A2 | 259002
87 | (212000) (SF7 RPS) REACTOR PROTECTION SYSTEM (G2.2.3) EQUIPMENT CONTROL (Multi-unit license) Knowledge of the design, procedural, or operational differences between units (CFR: 41.5 / 41.6 / 41.7 / 41.10 / 45.12) | 3.9 | G | 212000
88 | (215004A2.01) Ability to (a) predict the impacts of the following on the (SF7 SRMS) SOURCE RANGE MONITOR SYSTEM and (b) based on those predictions, use procedures to correct, control, or mitigate the consequences of those abnormal operations: (CFR: 41.5 / 43.5 / 45.6) Degraded power supply | 2.8 | A2 | 215004
89 | (218000) (SF3 ADS) AUTOMATIC DEPRESSURIZATION SYSTEM (G2.2.25) EQUIPMENT CONTROL Knowledge of the bases in technical specifications for limiting conditions for operation and safety limits (SRO Only) (CFR: 43.2) | 4.2 | G | 218000
90 | (217000A2.09) Ability to (a) predict the impacts of the following on the (SF2, SF4 RCIC) REACTOR CORE ISOLATION COOLING SYSTEM (BWR 3, 4, 5, 6) and (b) based on those predictions, use procedures to correct, control, or mitigate the consequences of those abnormal operations: (CFR: 41.5 / 43.5 / 45.6) Loss of vacuum pump | 2.7 | A2 | 217000
91 | (259001) (SF2 FWS) FEEDWATER SYSTEM (G2.4.22) EMERGENCY PROCEDURES / PLAN Knowledge of the bases for prioritizing safety functions during abnormal/emergency operations (CFR: 41.7 / 41.10 / 43.5 / 45.12) | 4.4 | G | 259001
92 | (288000A2.08) Ability to (a) predict the impacts of the following on the (SF9 PVS) PLANT VENTILATION SYSTEMS and (b) based on those predictions, use procedures to correct, control, or mitigate the consequences of those abnormal operations: (CFR: 41.5 / 45.6) Loss of component cooling water system | 2.7 | A2 | 288000
93 | (256000) (SF2 CDS) CONDENSATE SYSTEM (G2.2.1) EQUIPMENT CONTROL Ability to perform pre-startup procedures for the facility, including operating those controls associated with plant equipment that could affect reactivity (CFR: 41.5 / 41.10 / 43.5 / 43.6 / 45.1) | 4.4 | G | 256000
94 | (G2.1.25) CONDUCT OF OPERATIONS Ability to interpret reference materials, such as graphs, curves, and tables (reference potential) (CFR: 41.10 / 43.5 / 45.12) | 4.2 | G2.1 | G2.1
95 | (G2.1.9) CONDUCT OF OPERATIONS Ability to direct licensed personnel activities inside the control room (SRO Only) (CFR: 43.1 / 45.5 / 45.12 / 45.13) | 4.5 | G2.1 | G2.1
96 | (G2.2.45) EQUIPMENT CONTROL Ability to determine or interpret technical specifications with action statements of greater than 1 hour (SRO Only) (CFR: 43.2 / 43.5 / 45.3) | 4.7 | G2.2 | G2.2
97 | (G2.2.7) EQUIPMENT CONTROL Knowledge of the process for conducting infrequently performed tests or evolutions (CFR: 41.10 / 43.3 / 45.13) | 3.6 | G2.2 | G2.2
98 | (G2.3.12) RADIATION CONTROL Knowledge of radiological safety principles and procedures pertaining to licensed operator duties, such as response to radiation monitor alarms, containment entry requirements, fuel handling responsibilities, access to locked high-radiation areas, or alignment of filters (CFR: 41.12 / 43.4 / 45.9 / 45.10) | 3.7 | G2.3 | G2.3
99 | (G2.4.20) EMERGENCY PROCEDURES / PLAN Knowledge of the operational implications of emergency and abnormal operating procedures warnings, cautions, and notes (CFR: 41.10 / 43.5 / 45.13) | 4.3 | G2.4 | G2.4
100 | (G2.4.35) EMERGENCY PROCEDURES / PLAN Knowledge of nonlicensed operator responsibilities during an emergency (CFR: 41.10 / 43.1/ 43.5 / 45.13) | 4 | G2.4 | G2.4